## OSD Tool
Blacktown City Council - On-site Detention Deemed to Comply Tool
Select project to Load or Delete:
v1.9
Project Details:
| Project Title | GV220716
| Address | 62-66 Pank Pde, BLACKTOWN
| Reference Number | 220716
General Site Data:
| Site Area (m2) | 1675.5
| Area Draining to OSD (m2) | 1497.5
On-Site Detention Data:
| OSD Location | Below Ground
| OSD Discharge Location | Council Drainage Pit
| RL of Bottom of OSD Storage Area | 52.68
| RL of Top of OSD Storage Area | 53.85
| Length of Emergency Overflow Weir (m) | 1.8
Filter Cartridges:
| Will filter cartridges be used to manage water quality? | No
Discharge Data:
| RL of 1.5 Year ARI Orifice Centreline | 52.77
| Number of Orifices | 1
| RL of 100 Year ARI Orifice Centreline | 52.725
| Number of Orifices | 1
| RL of Invert of Discharge to Council Drainage Pit | 52.145
| RL of obvert of Pit outlet pipe | 52.52
Below Ground OSD Summary with calculated values
Site:
| Site Area | 1675.5
| Site Area NOT Draining to OSD | 178
Reduced Levels (AHD):
| RL of Top of Tank | 53.85
| RL of Bottom of OSD Tank | 52.68
| RL of 1.5 Year ARI Overflow Weir | 53.395
| RL of Emergency Overflow Weir | 53.765
| RL of 1.5 Year ARI Orifice Centerline | 52.77
| RL of 100 Year ARI Orifice Centreline | 52.725
| RL of Invert of Discharge to Council Drainage Pit | 52.145
| RL of obvert of Pit outlet pipe | 52.52
| Minium RL of Garage Floor | 53.94
| Minium RL of House Floor | 54.04
OSD Volume:
| Required Storage BELOW 1.5 Year ARI Overflow Weir | 50.265
| Required Storage BELOW Emergency Overflow Weir | 76.2352
Discharge Details:
| Using Filter Cartridges to Manage Water Quality | No
| Discharge Location | Council Drainage Pit
| Length of Emergency Overflow Weir | 1.8
| Maximum 1.5 Year ARI Site Discharge | 5.634
| 1.5 Year ARI Orifice Discharge | 5.634
| Maximum 100 Year ARI Site Discharge | 21.8665
| 100 Year ARI Orifice Discharge | 21.8665
0
0
Orifice Details:
| Number of 1.5 Year ARI Orifices | 1
| Number of 100 Year ARI Orifices | 1
| 1.5 Year ARI Orifice Size (mm) | 58
| 100 Year ARI Orifice Size (mm) | 100.5
Notifications:
Access grates to be provided such that the maximum reach from any point in the tank to the neaest grate is 3.0m.
Start New Project
Save Current Project
Print Current Project
Load Project
Delete Project

## ¦ (hidden)
Discharge Location | Filter Cartridges
Council Drainage Pit | Yes
Back Of Kerb | No
Above Ground
Below Ground

## Saved Projects (hidden)
Select project to Load or Delete: