[image: image2.png]






9

NOTICE OF DETERMINATION OF A DEVELOPMENT APPLICATION

	Application number
	DA-2/2025

PAN-501094


	Applicant
	Hopepoint Christian School Limited



	Description of development 
	Demolition of Block D and associated tree removal, construction of new Block F (two-storey classroom building) with associated landscaping and site infrastructure, increase student numbers to 400 and staff to 33, and installation and removal of portable classroom building during demolition and construction periods.  

Note: This application is an Integrated Development and requires approval from Heritage Council of NSW under the Heritage Act 1977, and this application, being for community infrastructure and having a Capital Investment Value greater than $5m, will be determined by the Sydney South Planning Panel on behalf of Council.



	Property
	42A Beale Street, GEORGES HALL  NSW  2198

Lot 101 DP 827530



	Determination


	Approved
Consent Authority  
· Sydney South Planning Panel 



	Date of determination
	1 September 2025


	Date on which the consent lapses 
	1 September 2030


	Approval bodies that have given general terms of approval
	Heritage NSW


Under section 4.18(1) of the EP&A Act, notice is given that the above development application has been determined by the granting of consent using the power in section 4.16(1)(a) of the EP&A Act, subject to the conditions specified in this notice.  

Reasons for approval

The development application was assessed under Section 4.15 of the Environmental Planning and Assessment Act 1979 and was found to be satisfactory. Council considered the views of the community.  In light of the relevant planning controls, the matters raised by the community did not warrant amendments to the development or the imposition of specific conditions of consent.

Right of appeal / request a review of the determination 
If you are dissatisfied with this determination:

Request a review 
You may request a review of the consent authority’s decision under section 8.3(1) of the EP&A Act. The application must be made to the consent authority within 6 months from the date that you received the original determination notice provided that an appeal under section 8.7 of the EP&A Act has not been disposed of by the Court.
Rights to appeal  
You have a right under section 8.7 of the EP&A Act to appeal to the Court within 6 month after the date on which the determination appealed against is notified or registered on the NSW planning portal. 
Objector’s right of appeal against the determination 

An objector who is dissatisfied with the consent authority’s determination to grant consent, has the right to appeal to the Court against the determination under section 8.8 of the EP&A Act within 28 days after the date that the objector was notified of the determination appealed against.

The Dictionary at the end of this consent defines words and expressions for the purposes of this determination.

[image: image1.png]



Sophie Griffiths
DEVELOPMENT ASSESSMENT OFFICER

Person on behalf of the consent authority

For further information, please contact 9707 9028.
Terms and Reasons for Conditions

Under section 88(1)(c) of the EP&A Regulation, the consent authority must provide the terms of all conditions and reasons for imposing the conditions other than the conditions prescribed under section 4.17(11) of the EP&A Act. The terms of the conditions and reasons are set out below. 
HERITAGE NSW
	Number
	Condition

	
	In accordance with Section 4.47 of the Environmental Planning and Assessment Act 1979, the following general terms of approval are granted:

	1. 
	Approved Development

	
	Development must be in accordance with:

a) Architectural drawings, prepared by Leaf Architecture as listed below:
Approved plans 

DWG No 

Dwg Title 

Date    

Rev 

Project Name: Proposed Block F at Hopepoint Christian School
DAOOO

Cover Sheet

29/05/2025

7

DAOIO

Existing Site Plan

29/05/2025

9

DAOII

Demolition Site Plan

29/05/2025

9

DA012

Proposed Site Plan

29/05/2025

9

DA013

Site Plans (Existing, enabling works & proposed)

29/05/2025

7

DA020

Site Analysis

29/05/2025

7

DA021

Streetscape Elevation

29/05/2025

7

DA030

Height Study

29/05/2025

7

DA040

Line of Buildings Comparison

29/05/2025

DAIOO

Demolition Plan - Ground Floor Plan

29/05/2025

10

DAIOI

Proposed Plan - Ground Floor - Sheet 1

29/05/2025

10

DA102

Proposed Plan - Ground Floor - Sheet 2

29/05/2025

2

DA103

Proposed Plan - Level 1

29/05/2025

9

DA 104

Proposed Plan - Roof

29/05/2025

9

DA200

Proposed Sections

29/05/2025

9

DA210

Proposed Elevations & External Colours & Finishes

29/05/2025

9

DA211

Proposed Elevations & External Colours & Finishes

29/05/2025

9

DA810

Proposed Block F - Signage Plan

29/05/2025

5

DA820

Proposed Block F - Artist's Impression

29/05/2025

7

DA900

Proposed Demountable for Enabling Works

29/05/2025

4

b) Landscape drawings, prepared by Space Landscape Designs as listed below:

DWG No 

Dwg Title 

Date    

Rev 

Project Name: Proposed Block F
L-IOO

Landscape Plan

02/06/2025

L-200

Planting Plan - Sheet 1

02/06/2025

L-300

Planting Plan - Sheet 2

02/06/2025

D

L-400

Landscape Details and Specifications

02/06/2025

c) Statement of Heritage Impact, prepared by JPA&D, dated 2 June 2025.

d) Statement of Environmental Effects, prepared by EPM Projects, dated 20 December 2024.

e) Aboricultural Impact Assessment Report, prepared by Rain Tree Consulting, dated 24 June 2025.
f) Archaeological Assessment, prepared by CRM, dated May 2025.

g) Research Design for Archaeology, prepared by CRM, dated June 2025.



	
	EXCEPT AS AMENDED by the General Terms of approval:

	2. 
	Heritage consultant



	
	A suitably qualified and experienced heritage consultant must be nominated for this project. The nominated heritage consultant must provide input into the detailed design, provide heritage information to be imparted to all tradespeople during site inductions, and oversee the works to minimise impacts to heritage values. The nominated heritage consultant must be involved in the selection of appropriate tradespersons and must be satisfied that all work has been carried out in accordance with the conditions of this consent.

	
	Reason: So that appropriate heritage advice is provided to support best practice conservation and ensure works are undertaken in accordance with this approval.

	3. 
	Specialist tradespersons

	
	All work to, or affecting, significant fabric shall be carried out by suitably qualified tradespersons with practical experience in conservation and restoration of similar heritage structures, materials and construction methods.

	
	Reason: So that the construction, conservation and repair of significant fabric follows best heritage practice.

	4. 
	Site protection

	
	Significant built and landscape elements are to be protected during site preparation and the works from potential damage. Protection systems must ensure significant fabric, including landscape elements, is not damaged or removed.

	
	Reason: To ensure significant fabric including vegetation is protected during construction.

	5. 
	Historical archaeology

	
	The Applicant shall submit with the Section 60 application an addendum to Research Design for Archaeology: Hopepoint Christian School, 42A Beale Street, Georges Hall, Sydney, prepared by CRM, dated June 2025 (CRM 2025). This must provide a staged test and potential salvage excavation program with clear hold points for detailed design consultation based on the results of the test excavation. This will be undertaken by a suitably qualified and experienced historical archaeologist.

	
	Reason: The report prepared by CRM (2025) does not include measures to avoid impacts to any significant archaeology that may be identified. It is unclear how the test excavation results will be used to inform redesign options to avoid or lessen impacts to any significant archaeology that may be identified.

	6. 
	Historical archaeology

	
	The applicant shall submit the name of a nominated Excavation Director suitable to satisfy the Excavation Director Criteria of the Heritage Council of NSW for the proposed activity and significance level.

	
	Reason: To ensure the significant archaeological resource at the site is appropriately managed.

	7. 
	Historical archaeology

	
	Following the receipt of the addendum to Research Design for Archaeology: Hopepoint Christian School, 42A Beale Street, Georges Hall, Sydney, prepared by CRM, dated June 2025, the Heritage Council of NSW reserves the right to issue Archaeological Conditions as part of the Section 60Approval to manage the archaeology. Matters such as (but not limited to) redesign to avoid impacts to significant archaeology, fieldwork methodology, artefact analysis, and final reporting, may be included as part of these archaeological conditions.

	
	Reason: To ensure the significant archaeological resource at the site is appropriately managed.

	8. 
	Unexpected historical archaeological relics

	
	The Applicant must ensure that if unexpected archaeological deposits or relics not identified and considered in the supporting documents for this approval are discovered, work must cease in the affected area(s) and the Heritage Council of NSW must be notified. Additional assessment and approval may be required prior to works continuing in the affected area(s) based on the nature of the discovery.

	
	Reason: This is a standard condition to identify to the applicant how to proceed if historical archaeological deposits or relics are unexpectedly identified during works.

	9. 
	Aboriginal objects

	
	Should any Aboriginal objects be uncovered by the work which is not covered by a valid Aboriginal Heritage Impact Permit, excavation or disturbance of the area is to stop immediately and Heritage NSW is to be informed in accordance with the National Parks and Wildlife Act 1974. Works affecting Aboriginal objects on the site must not continue until Heritage NSW has been informed and the appropriate approvals are in place. Aboriginal objects must be managed in accordance with the National Parks and Wildlife Act 1974.

	
	Reason: This is a standard condition to identify to the applicant how to proceed if Aboriginal objects are unexpectedly identified during works.

	10. 
	Compliance

	
	If requested, the applicant and any nominated heritage consultant may be required to participate in audits of Heritage Council of NSW approvals to confirm compliance with conditions of consent.

	
	Reason: To ensure that the proposed works are completed as approved.

	11. 
	Section 60 application

	
	An application under section 60 of the Heritage Act 1977 must be submitted to, and approved by, the Heritage Council of NSW (or delegate), prior to work commencing

	
	Reason: To meet legislative requirements.

	
	Advice 

	
	Section 148 of the Heritage Act 1977 (the Act), allows people authorised by the Minister to enter and inspect, for the purposes of the Act, with respect to buildings, works, relics, moveable objects, places or items that is or contains an item of environmental heritage. Reasonable notice must be given for the inspection.

	
	Right of appeal

	
	If you are dissatisfied with this determination, section 70A of the Act gives you the right of appeal to the Land and Environment Court.


GENERAL CONDITIONS

	Number
	Condition

	12. 
	Approved Plans and supporting documentation   

	
	Approved plans and supporting documentation Development must be carried out in accordance with the following approved plans and documents, except where the conditions of this consent expressly require otherwise.
Approved plans 

Plan number 

Revision number

Plan title    

Drawn by 

Date of plan 

DAOOO
7
Cover Sheet
Leaf Architecture 
29/05/2025
DAOIO
9
Existing Site Plan
Leaf Architecture
29/05/2025
DAOII
9
Demolition Site Plan
Leaf Architecture
29/05/2025
DA012
9
Proposed Site Plan
Leaf Architecture
29/05/2025
DA013
7
Site Plans (Existing, enabling works & proposed)
Leaf Architecture
29/05/2025
DA020
7
Site Analysis
Leaf Architecture
29/05/2025
DA021
7
Streetscape Elevation
Leaf Architecture
29/05/2025
DA030
7
Height Study
Leaf Architecture
29/05/2025
DA040
1
Line of Buildings Comparison
Leaf Architecture
29/05/2025
DAIOO
10
Demolition Plan - Ground Floor Plan
Leaf Architecture
29/05/2025
DAIOI
10
Proposed Plan - Ground Floor - Sheet 1
Leaf Architecture
29/05/2025
DA102
2
Proposed Plan - Ground Floor - Sheet 2
Leaf Architecture
29/05/2025
DA103
9
Proposed Plan - Level 1
Leaf Architecture
29/05/2025
DA 104
9
Proposed Plan - Roof
Leaf Architecture
29/05/2025
DA200
9
Proposed Sections
Leaf Architecture
29/05/2025
DA210
9
Proposed Elevations & External Colours & Finishes
Leaf Architecture
29/05/2025
DA211
9
Proposed Elevations & External Colours & Finishes
Leaf Architecture
29/05/2025
DA810
5
Proposed Block F - Signage Plan
Leaf Architecture
29/05/2025
DA820

7
Proposed Block F - Artist's Impression

Leaf Architecture
29/05/2025
DA900

4
Proposed Demountable for Enabling Works

Leaf Architecture
29/05/2025
In the event of any inconsistency between the approved plans and documents, the approved plans prevail. In the event of any inconsistency with the approved plans and a condition of this consent, the condition prevails.
1.101.S   

	
	Condition reason:   To ensure the development is built and remains consistent with approved plans and documentation.

	13. 
	Additional Signage Requires a Separate Application

	14. 
	A separate application shall be submitted to Council before the erection of any additional signage A separate application shall be submitted to Council before the erection of any additional signage unless the proposed signage is "exempt development" in accordance with the relevant legislation.   

1.201

	15. 
	Condition reason:   To protect and enhance the amenity of the occupants of the development site and the occupants of adjoining sites.              

	16. 
	Acoustic Report

	
	The acoustic report submitted in support of this application prepared by Rodney Stevens Acoustics, titled ‘Noise Impact Assessment Proposed Block F 42A Beale Street, Georges Hall’, reference number R240587R1, dated 14 November 2024 and all the recommendations stated within the report, form part of the development consent.



	
	Condition reason:   Condition reason: To ensure the development is built and remains consistent with approved plans and documentation.

	17. 
	Plan of Management

	
	The plan of management submitted in support of this application prepared by HopePoint Christian School, dated, November 2024, forms part of the development consent. In the event of any inconsistency, the conditions of this consent will prevail over the plan of management.

	
	Condition reason:  To ensure the development is built and remains consistent with approved plans and documentation.


DEMOLITION WORK

	18. 
	Demolition conditions

	
	The demolition must be undertaken in accordance with all the following: 

a. Written notice must be issued to adjoining residents a minimum of seven (7) days before the commencement of demolition advising of the commencement date,

b. Written notice must be issued to Council for inspection a minimum of (7) days before the commencement of demolition. Written notice must include the date when demolition work will commence and details of the name, address, contact telephone number and licence number of the demolition contractor,

c. Inspections being undertaken by Council including: 

i. A pre-commencement demolition inspection when all site works required as part of this Determination Notice are installed on the site and before demolition work commencing, and

ii. A final demolition inspection when the demolition work has been completed to ensure that the site is left in a satisfactory manner, in accordance with the conditions of this Determination Notice,

d. Payment of an inspection fee at Council’s current rate must be paid before inspection. Council requires 48 hours’ notice to carry out an inspection,

e. A sign must be erected at the front of the property showing the name of the licenced demolition contractor, the licence number and a telephone number on which that person can be contact outside of working hours,

f. All demolition work must be carried out in accordance with Australian Standard 2601 – ‘The Demolition of Structures’,

g. Where asbestos containing materials are to be removed, demolition must be carried out by contractors who have a current SafeWork NSW licence in asbestos removal,

h. An asbestos clearance certificate issued under the Work Health and Safety Act 2011 must be submitted to Council after the completion of demolition work,

i. Hazardous and intractable wastes arising from the demolition process must be removed and disposed of in accordance with the requirements of SafeWork NSW and the NSW Environment Protection Authority, 

j. Demolition procedures must maximise the reuse and recycling of demolished materials to reduce the environmental impacts of waste disposal,

k. Adhere to the requirements stipulated in the approved Waste Management Plan, and

l. Demolition may only be carried out between 7.00 am and 5.00 pm on Monday to Saturday and no building work/s is to be carried out at any time on a Sunday or a public holiday.

A copy of the final demolition inspection report must be submitted to the principal certifier before the commencement of any building work.

3.201 

	
	Condition reason:  To ensure compliance with the relevant Canterbury Bankstown policy.


BUILDING WORK

BEFORE ISSUE OF A CONSTRUCTION CERTIFICATE

	
	

	19. 
	Development Contributions, Section 7.12  

	
	Development Contributions of $84,510.00 must be paid for this development before the issue of any construction certificate. The contributions are levied and applied under the Canterbury Bankstown Local Infrastructure Contributions Plan 2022 and Section 7.12 of the Environmental Planning and Assessment Act 1979. The contributions will be used to provide, extend or augment public amenities or public services.
Indexing of the contribution amount to be paid: The development contribution payable will be adjusted, at the time of payment, to reflect Consumer Price Index increases which have occurred since the “Consent to operate from date” which appears on the front page of this Determination Notice.

No construction certificate is to be issued and no construction is to commence until payment of development contributions. The contribution must be paid to Council before the issue of any construction certificate. Construction of the development may NOT commence until the development contributions are paid.

A copy of the development contributions plan is available for inspection on Council's website and at Council's Administration offices in Bankstown and Campsie.
NOTE:  Development contribution amounts are non-refundable if you don’t proceed with your development. 
2.102

	
	Condition reason:  To ensure compliance with the relevant New South Wales legislation.

	
	Condition Reason:  To require contributions towards the provision of regional infrastructure.

	20. 
	Payment of Fees 

	
	Before Issuing a construction certificate, all the following must be paid to the relevant authority/entity and written evidence of these payments must be provided to the certifier. 

a. Levies

b. Bonds

c. Contributions

d. inspection fees 

2.103.S   

	
	Condition reason:   To ensure compliance with the relevant New South Wales legislation.

	21. 
	Long Service Levy

	
	Before the issue of the relevant construction certificate, payment of the long service levy is required, under the Building and Construction industry Long Service Payments Act 1986, section 34.  Evidence of the payment is to be provided to the Certifier. Payment can be calculated using the Levy Portal Calculator at https://longservice.force.com/bci/s/levy-calculator. Payment must be made via the Long Service Levy Portal at https://www.longservice.nsw.gov.au.

2.104.S   

	
	Condition reason:   To ensure compliance with the relevant New South Wales legislation.

	22. 
	Car Parking Details

	
	Before the issue of the relevant construction certificate, a suitably qualified engineer must review the plans which relate to parking facilities and provide written evidence, to the certifier’s satisfaction, that it complies with the relevant parts of AS 2890 – ‘Parking Facilities - Off-Street Carparking’ and Council’s development control plan.

2.110.S   

	
	Condition reason:   To provide and maintain orderly and safe areas for vehicular and pedestrian movement / parking.

	23. 
	Submit Plans to Sydney Water

	
	The Council approved plans, including demolition plans, must be submitted to Sydney Water for assessment. This will determine if the proposed structure(s) will affect any Sydney Water infrastructure or if there are additional requirements. Building plan approvals can be submitted online via Sydney Water Tap inTM.

Refer to www.sydneywater.com.au/tapin for Sydney Water’s Guidelines for building over or next to assets, visit www.sydneywater.com.au ‘Plumbing, building & developing’ then ‘Building Plan Approvals’ or call 13000 TAPINTM.

Sydney Water must issue either a Building Plan Assessment letter which states that the application is approved, or the appropriate plans must be stamped by a Water Servicing Coordinator.

2.202.S   

	
	Condition Reason To protect existing public and private infrastructure and building works during demolition, construction and ongoing use of the development.

	24. 
	Fire Safety Provisions

	
	The building must comply with the Category 1 fire safety provisions ​​​​​​​​​as are applicable to the building's proposed use.

Note: The obligation to comply with the Category 1 fire safety provisions may require building work to be carried out even though none is proposed or required in relation to this Determination Notice.
2.204

	
	Condition reason:  To ensure compliance with the relevant New South Wales legislation.

	25. 
	Mobility Access

	
	The building must be designed and constructed to provide access and facilities for people with a physical disability in accordance with the Building Code of Australia.

If, in complying with this condition, amendments to the development are required, the design changes must be submitted to and approved by Council through a modification application before a construction certificate being issued.

2.208

	
	Condition reason:  To ensure compliance with the relevant Australian Standard and National Construction Code.

	26. 
	Erosion and Sediment Control Plan

	
	Before the issue of a construction certificate, the consent holder is to ensure that an erosion and sediment control plan is prepared in accordance with the following documents before it is provided to and approved by the certifier:

a. Council’s development control plan,

b. the guidelines set out in the NSW Department of Housing manual ‘Managing Urban Stormwater: Soils and Construction Certificate’ (the Blue Book), and

c. the ‘Do it Right On-Site, Soil and Water Management for the Construction Industry' (Southern Sydney Regional Organisation of Councils and the Natural Heritage Trust).

The consent holder must ensure the erosion and sediment control plan is kept onsite at all times during site works and construction.

2.211.S   

	
	Condition reason:   To protect existing public and private infrastructure and building works during demolition, construction and ongoing use of the development.

	27. 
	Retaining Walls

	
	Where Council approved cut or fill exceeds 200mm and stable batter of 1 vertical to 3 horizontal maximum grade cannot be achieved, then a masonry or other proprietary material retaining wall, intended and suitable for that purpose, shall be constructed within the development site. Note, filling of the site needs specific approval from Council. 

a. The retaining wall shall be located so that it will not impede or obstruct the natural flow of stormwater. Retaining walls exceeding 600mm in height shall be designed by an appropriately qualified person as defined in the Building and Development Certifiers Regulation 2020. Plans and details prepared and signed by an appropriately qualified person as defined in the Building and Development Certifiers Regulation 2020 are to be submitted to the certifier before the issue of the construction certificate.

b. All works associated with the construction of the wall, including backfilling and drainage, is to be located wholly within the allotment boundaries.

2.301   

	
	Condition reason:   To ensure works undertaken are carried out in a safe manner in accordance with relevant policies.  

	28. 
	Apply for Work Permit for Engineering Works

	
	The consent holder shall apply for a Work Permit and obtain approval from Council, for any of the following applicable engineering works in front of the site, at their own expense:

a. Drainage connection to Council’s pipeline within drainage easement system. 

b. Repair of any damage to the public road including the footway occurring during building works and,

c. Removal of all driveway surfaces, reinstatement of laybacks to kerb and gutter and reshaping of the footway, all associated with redundant VFCs,

d. Reinstatement of the footway reserve and adjustment or relocation of existing public utility services to match the footway design levels as proposed on the approved Work Permit. Adjustment or relocation to any public utility services shall be carried out to the requirements of the public utility authority.

Note: Council is required to prepare a site survey and design in order to determine the necessary information. The consent holder should make application and payment for the Work Permit at least twenty-one (21) days before the information being required and before the issue of the construction certificate. The Work Permit must be approved before any works commencing within the Council Road Reserve or on Council’s assets.

2.302   

	
	Condition reason:  To provide  and maintain orderly and safe areas for vehicular and pedestrian movement / parking.

	29. 
	Works Requiring a Work Permit

	
	As any works within, or use of, the footway or public road for construction purposes requires separate Council approval under Section 138 of the Roads Act 1993 and/or Section 68 of the Local Government Act 1993, Council requires the consent holder to obtain a Works Permit and or a Roadway / Footpath Building Occupation Permit  before the issue of any construction certificate for this development being issued where one or more of the following will occur, within, on or over the public footway or public road:

A PRIVATE CERTIFIER CANNOT ISSUE THESE PERMITS

WORKS REQUIRING A 'WORKS PERMIT'

a. Dig up, disturb, or clear the surface of a public footway or public road, 

b. Remove or interfere with a structure or tree (or any other vegetation) on a public footway or public road,

c. Connect a road (whether public or private) to a classified road, 

d. Undertake footway, paving, vehicular crossing (driveway), landscaping or stormwater drainage works within a public footway or public road,

e. Install utilities in, under or over a public road,

f. Pump water into a public footway or public road from any land adjoining the public road, 

g. Erect a structure or carry out a work in, on or over a public road,

h. Require a work zone on the public road for the unloading and or loading of vehicles,

i. Pump concrete from within a public road,

j. Stand a mobile crane within a public road,

k. Store waste and recycling containers, skips, bins and/or building materials on any part of the public road,

l. The work is greater than $25,000, and

m. Demolition is proposed.

The consent holder shall construct all works approved within the public road and footway under the supervision and to the satisfaction of Council and shall arrange for necessary inspections by Council whilst the work is in progress. 

The consent holder shall ensure that the person or company carrying out the work will carry public liability insurance to a minimum value of twenty million dollars and shall provide proof of the policy to Council, before commencing any work approved by the Work Permit including the Road Opening Permit. The policy must remain valid for the duration of the works. 

2.304   

	
	Condition reason:  To ensure the development is built and remains consistent with approved plans and documentation.

	30. 
	Finished surface levels

	
	Finished surface levels of all internal works and at the street boundary, including driveways, landscaping and drainage structures, must be as shown on relevant construction certificate plans. The levels at the street boundary must be consistent with the Street Boundary Alignment Levels issued by Council.

2.305 

	
	Condition reason:  To ensure the development is built and remains consistent with approved plans and documentation.

	31. 
	Stormwater Drainage

	
	Stormwater drainage from the development shall be designed so as to comply with Council's Bankstown Development Engineering Standards. A final detailed stormwater drainage design shall be prepared by an appropriately qualified person as defined in the Building and Development Certifiers Regulation 2020 in accordance with the above requirements and shall generally be in accordance with the approved concept stormwater plan as shown in the table below. The final plan shall be certified by an appropriately qualified person as defined in the Building and Development Certifiers Regulation 2020 that it complies with Council's Development Engineering Standards and the relevant Australian Standards.

Plan Name
Number
Date
Prepared By
Cover Sheet
24024-C000

Revision C
14.11.2024
AYCE Engineers
Area Calculations

24024-C001

Revision C
14.11.2024
AYCE Engineers
Demolition

24024-C002

Revision B
14.11.2024
AYCE Engineers
Ground Floor Plan

24024-C100

Revision C
14.11.2024
AYCE Engineers
First Floor Plan

24024-C101

Revision C
14.11.2024
AYCE Engineers
Roof Plan

24024-C102

Revision C
14.11.2024
AYCE Engineers
OSD Model Drains Results 

24024-C200

Revision C
14.11.2024
AYCE Engineers
Details Sheet

24024-C300

Revision B
14.11.2024
AYCE Engineers
Sediment & Erosion Control Plan

24024-C400

Revision C
14.11.2024
AYCE Engineers
2.306   

	
	Condition reason:   To ensure compliance with the relevant Australian Standard and National Construction Code.

	32. 
	On-site Stormwater Detention System

	
	For this development, Council requires that the stormwater runoff from within the development site shall be collected and controlled by means of an on-site stormwater detention system, in accordance with Council's Development Engineering Standards. The developer shall engage a suitably qualified engineer to prepare a final stormwater drainage and on-site detention system plan to be generally in accordance with the concept plan in the table below, and in accordance with the requirements contained in Council's Bankstown Development Engineering Standards. The Engineer shall certify that the design and plans comply with Council's Bankstown Development Engineering Standards and the relevant Australian Standards. 

Plan Name

Number

Date

Prepared By

Cover Sheet
24024-C000

Revision C
14.11.2024
AYCE Engineers
Area Calculations
24024-C001

Revision C
14.11.2024
AYCE Engineers
Demolition Plan
24024-C002

Revision B
14.11.2024
AYCE Engineers
Ground Floor Plan
24024-C100

Revision C
14.11.2024
AYCE Engineers
First Floor Plan
24024-C101

Revision C
14.11.2024
AYCE Engineers
Roof Plan
24024-C102

Revision C
14.11.2024
AYCE Engineers
OSD Model Drains Results
24024-C200

Revision C
14.11.2024
AYCE Engineers
Details Sheet
24024-C300

Revision B
14.11.2024
AYCE Engineers
Sediment & Erosion Control Plan
24024-C400

Revision C
14.11.2024
AYCE Engineers
2.310

	
	Condition reason:  To ensure the development is built and remains consistent with approved plans and documentation.

	33. 
	Pavement Design

	
	An all-weather pavement shall be designed to withstand the anticipated wheel loads for all areas subjected to vehicular movements. Internal pavements specification prepared and certified by a qualified professional Civil Engineer to comply with the relevant Australian Standards, shall be submitted to the certifier for approval before the issue of a construction certificate.

2.314

	
	Condition reason:  To ensure compliance with the relevant Australian Standard and National Construction Code.

	34. 
	Traffic Management Plan

	
	Before the issue of any construction certificate for this development, the consent holder must obtain approval from Council’s Traffic Section for a Site, Pedestrian and Traffic Management Plan (SPTMP). This Plan must address the measures that will be implemented for pedestrian safety and traffic management as specified below. 

A PRIVATE CERTIFIER CANNOT APPROVE YOUR SITE, PEDESTRIAN & TRAFFIC MANAGEMENT PLAN 

This plan shall include details of the following:

a. Proposed ingress and egress points for vehicles to and from the construction site;

b. Proposed protection of pedestrians, adjacent to the constructions site;

c. Proposed pedestrian management whilst vehicles are entering/exiting the construction site;

d. Proposed method of loading and unloading excavation machines, building material, construction materials and waste containers during the construction period;

e. Proposed traffic control measures such as advanced warning signs, barricades, warning lights, after hours contact numbers etc. are required to be displayed and shall be in accordance with Council's and the NSW Roads and Maritime Services requirements and AS1742.3.

f. Proposed route for transportation of bulk and excavation materials to and from the development site. 

The route for transportation to and from the development site of bulk construction and excavation materials shall be by the shortest practical route to the nearest "State  Road", with every effort to avoid school zones on public roads. Alternate longer routes will only be considered in order to bypass school zones during school zone hours. If school zones cannot be avoided no heavy construction vehicle movements are to arrive or depart the site during signposted school zone periods 8:00am - 9:30am and 2:30pm - 4:00pm on school days.  The consent holder shall nominate the routes for approval by Council before commencement of any work on the site. All vehicles are to enter the on-street Works Zone adjacent to the site in a forward direction. U-turn and right-turn movements into the site, are generally not permitted.

An Agreement to Council's satisfaction, signed by the consent holder/owner specifying the approved route and acknowledging responsibility to pay Council for damages to public property adjacent to the site and for local roads along the transportation routes shall be lodged with Council before release of any Construction Certificate. All damage must be rectified upon completion of work.

Damage will be rectified as required by Council to remove unsafe conditions. All damage must be rectified upon completion of work to the satisfaction of Council.

The approved Site, Pedestrian and Traffic Management Plan is to be implemented before the commencement of any works on the construction site.

In addition, a TfNSW (formerly RMS) Approval / Road Occupancy Licence will be required for works on Regional or State Roads or within 100m of a traffic facility including roundabouts and traffic signals. Refer to Council's Development Engineering Standards for a list of Regional and State Roads.

Note: Approval by Council of a SPTMP may take up to six (6) moths. Accordingly, it is recommended the application to Council be submitted well in advance of the need for a construction certificate.

2.318

	
	Condition reason:  To provide and maintain orderly and safe areas for vehicular and pedestrian movement / parking.

	35. 
	Construction Site Management Plan

	
	Before the issue of a construction certificate, a Construction Site Management Plan (CSMP) must be prepared and approved by the certifier. The plan must include the following matters:
a. The location and materials for protective fencing and hoardings on the perimeter of the site; 

b. Provisions for public safety; 

c. Pedestrian and vehicular site access points and construction activity zones; 

d. Details of construction traffic management including:

i. Proposed truck movements to and from the site; 

ii. Estimated frequency of truck movements; and
iii.  Measures to ensure pedestrian safety near the site; 
e. Details of bulk earthworks to be carried out; 

f. The location of site storage areas and sheds; 

g. The equipment used to carry out works; 

h. The location of a garbage container with a tight-fitting lid; 

i. Dust, noise and vibration control measures;

j. The location of temporary toilets; 

k. The protective measures for the preservation of trees on-site and in adjoining public areas including measures in accordance with:

i. AS 4970 – Protection of trees on development sites;

ii. An applicable Development Control Plan;
iii. An arborist’s report approved as part of this consent A copy of the construction site management plan must be kept on-site at all times while work is being carried out.
A copy of the construction site management plan must be kept on-site at all times while work is being carried out.
2.401

	
	Condition reason:  To provide and maintain orderly and safe areas for vehicular and pedestrian movement / parking.

	36. 
	Work Vehicle Route

	
	The route for transportation to and from the development site of bulk and excavation materials shall generally be by the shortest possible route to the nearest "regional road", with every effort to avoid school zones on public roads. The consent holder shall nominate the route for approval by Council before commencement of any work on the site. An "Agreement" to Council's satisfaction, signed by consent holder specifying the approved route and acknowledging responsibility to pay Council for damages to public property adjacent to the site shall be lodged with Council before release of any construction certificate. All damage must be rectified before the issue of any occupation certificate.

2.402

	
	Condition reason:  To provide and maintain orderly and safe areas for vehicular and pedestrian movement / parking.

	37. 
	Sight Triangles on Plans

	
	Sight triangles are to be marked on relevant plans, being provided at the intersection of the driveway and the property boundary in accordance with AS 2890.1: ‘Figure 3.3 – Minimum Sight Lines for Pedestrian Safety’.  A splay extending 2 metres from the driveway edge along the front boundary and 2.5 metres from the boundary along the driveway shall be provided to give clear sight lines of pedestrians from vehicles exiting the site and is to be kept clear of any obstacles. Any structures, plantings or fencing within these triangles is to be a maximum height of 600mm to ensure sight lines are kept clear of any obstacles.  This shall be illustrated on plans submitted with the construction certificate.

2.406

	
	Condition reason:  To provide and maintain orderly and safe areas for vehicular and pedestrian movement / parking.

	38. 
	Waste Management Plan

	
	Before the issue of a construction certificate, a Waste Management Plan (WMP) must be prepared and provided to the certifier. The plan must include the following matters:
The plan must be prepared 
a. in accordance with: 

i. the Environment Protection Authority’s Waste Classification Guidelines as in force from time to time, and

ii. a development control plan that provides for waste management that applies to the land on which the work or the clearing of vegetation is carried out, and 

b. include the following information—

i. the contact details of the person removing waste, 

ii. an estimate of the type and quantity of waste, 

iii. whether waste is expected to be reused, recycled or sent to landfill, 

iv. the address of the disposal location for waste. 

A copy of the waste management plan must be kept on-site at all times while work approved under the development consent is being carried out.
2.502   

	
	Condition reason:  To protect and enhance the amenity of the occupants of the development site and the occupants of adjoining sites.

	39. 
	Plans to Include Bin Storage Area

	
	The construction certificate plans shall include details of the waste bin storage area. The bin storage area shall not be visible from the street. The bin storage area shall be located within the building or screened from the street by dense landscaping.

2.503

	
	Condition reason:   To ensure compliance with the relevant Canterbury Bankstown policy.

	40. 
	Protection of Environment

	
	The use and operation of the premises must be designed so as to not cause the emission of any odours that, by reason of its level, nature, character or quality is likely to be harmful to or interfere unreasonably with the comfort or repose of person who is outside the premises.

There are to be no emissions or discharges from the premises which will give rise to an offence under the Protection of the Environment Operations Act 1997 and Regulations.

Emission control equipment must be provided in the mechanical exhaust system serving the appliances, to effectively minimise the emission of odours, vapours and oils. Details of the proposed emission control equipment must be provided in the relevant plans and specifications for the construction certificate for the subject works.

Details demonstrating compliance with the requirements of this condition are to be submitted to the satisfaction of the certifier before the issue of any construction certificate.
2.608

	
	Condition reason:  To protect and enhance the amenity of the occupants of the development site and the occupants of adjoining sites.

	41. 
	Trade Waste Agreement

	
	A Trade Waste Agreement shall be obtained from Sydney Water before the discharge of trade wastewater to the sewer system. Wastewater treatment equipment is to be bunded and where systems are placed outside, they are to be roofed to ensure that no rainwater can enter the bund. All wastewater treatment devices shall be regularly maintained in order to remain effective. All solid and liquid wastes collected from the device must be disposed of in accordance with the Protection of the Environment Operations Act 1997.

2.612

	
	Condition reason: To protect and enhance the amenity of the occupants of the development site and the occupants of adjoining sites.

	42. 
	Landscaping Plan

	
	Landscaping shall be installed in accordance with the approved landscape plan.
2.701  

	
	Condition reason:   To ensure compliance with the relevant Canterbury Bankstown policy.

	43. 
	Council’s Tree Management Order

	44. 
	Approval in accordance with Council’s Tree Management Order (TMO) is granted to lop or remove only those trees identified to be lopped or removed on the approved plans. If not indicated on the approved plans, separate approval must be obtained to prune or remove trees on adjoining properties or other trees located on the site. A person(s) who contravenes or causes or permits the TMO to be breached shall be guilty of an offence and liable for prosecution.

2.801 

	45. 
	Condition reason:   To ensure compliance with the relevant Canterbury Bankstown policy.

	46. 
	Utility Services: Underground

	
	Underground services should use common trenches outside the Tree Protection Zone.  If services need to be run within the Tree Protection Zone then all utility pipes and similar are to be installed using appropriate directional boring techniques.  No tree roots are to be severed or damaged during this work.



	
	Condition reason:  To protect the natural environment of the development site and adjoining lands.

	47. 
	Utility Services: Overhead General

	
	The applicant shall ensure all overhead electrical wires between the power pole and approved structures are located outside the crowns of existing trees and in accordance with the clearances specified by the energy authority. The overhead wires are also to be located to avoid future conflict with any trees planted in accordance with the development consent.



	
	Condition reason:  To protect the natural environment of the development site and adjoining lands.


BEFORE BUILDING WORK COMMENCES

	48. 
	Certifier details

	
	A construction certificate is required for the erection of a building in accordance with this Determination Notice. 

This Determination Notice does not authorise building work until a principal certifier has been appointed as the principal certifier for the work by (or with the approval of) the consent holder.
The following requirements apply before the commencement of building work in accordance with this Determination Notice: 

a. the principal certifier has, no later than two (2) days before the building work commences, notified the Consent Authority and the Council (if the council is not the Consent Authority) of their appointment as the principal certifier,

b. the principal certifier has, no later than two (2) days before the building work commences, notified the consent holder of any inspections that are required to be carried out in respect of the building work,

c. the person carrying out the building work has notified the principal certifier that the person will carry out the building work as an owner-builder, if that is the case,

d. the consent holder, if not carrying out the work as an owner-builder, has: 

i. appointed a principal contractor for the building work who must be the holder of a contractor licence if any residential building work is involved, and

ii. notified the principal certifier of the appointment, and

iii. unless that person is the principal contractor, notified the principal contractor of any inspections that are required to be carried out in respect of the building work,

e. the consent holder has given at least a 2-day notice to the Council, and the principal certifier if not the Council, of the person’s intention to commence the erection of the building.

3.202 

	
	Condition reason:  To ensure compliance with the relevant New South Wales legislation.

	49. 
	Section 73 Compliance Certificate

	
	A Section 73 Compliance Certificate under the Sydney Water Act 1994 must be obtained from Sydney Water. It is recommended that the consent holder apply early for the certificate, as there may be water and sewer pipes to be built and this can take some time. This can also impact on other services and building, driveway or landscape design. Application can be made through an authorised Water Servicing Coordinator. For help either visit www.sydneywater.com.au > Plumbing, building and developing > Developing > Section 73 Compliance Certificates, or telephone 13 20 92.

3.203

	
	Condition reason:   To protect existing public and private infrastructure and building works during demolition, construction and ongoing use of the development.

	50. 
	Temporary fence or hoarding

	
	A fence must be erected around the area of the development site, except where an existing 1.8 metres high boundary fence is in good condition and can secure the area. Any new fencing must be temporary and at least 1.8 metres high. All fencing must be maintained throughout the construction period to ensure that the work area is secured.

Where the work is located within 3.6m of a public place, then a Type A or Type B hoarding must be constructed appropriate to the work proposed. An application for a Work Permit for such hoarding must be submitted to Council for approval before the commencement of building work/s. 

3.204 

	
	Condition reason:  To ensure works undertaken are carried out in a safe manner in accordance with relevant policies.

	51. 
	WC temporary toilet facilities on site

	
	Before the commencement of work, the consent holder must provide a temporary on-site toilet if access to existing toilets on site is not adequate/available. Temporary on-site toilet facilities must be installed and be adequately maintained throughout the construction period.

3.206

	
	Condition reason:  To ensure compliance with the relevant New South Wales legislation.

	52. 
	Install Erosion control

	
	Before the commencement of any site or building work, the principal certifier must be satisfied the erosion and sediment controls in the erosion and sediment control plan, (as approved by the principal certifier) are in place until the site is rectified (at least 70% ground cover achieved over any bare ground on site). 

3.207

	
	Condition reason:  To protect existing public and private infrastructure and building works during demolition, construction and ongoing use of the development.

	53. 
	Soil and water management warning sign

	
	Council’s warning sign for Soil and Water Management must be displayed throughout the construction period at the most prominent point of the site, visible to both the street and site.

3.208

	
	Condition reason:  To protect existing public and private infrastructure and building works during demolition, construction and ongoing use of the development.

	54. 
	Sign with principal certifier details

	
	A sign must be erected in a prominent position on any site on which building work or demolition work is being carried out:

a. showing the name, address and telephone number of the principal certifier for the work, and

b. showing the name of the principal contractor (if any) for any building work and a telephone number on which that person may be contacted outside working hours, and

c. stating that unauthorised entry to the work site is prohibited.

Any such sign is to be maintained while the building work or demolition work is being carried out and must be removed when the work has been completed.
Note: This does not apply in relation to building work or demolition work that is carried out inside an existing building that does not affect the external walls of the building.
3.209.P

	
	Condition reason:  Prescribed condition under section 70 of the Environmental Planning and Assessment Regulation 2021.

	55. 
	Assess for Hazardous Materials

	
	Before demolition, the entire site (including any structures) is to be assessed for hazardous materials, especially asbestos. A Hazardous Materials (HAZMAT) Report is to be prepared by a Type “A” inspection body accredited by NATA. 

All recommendations in the above-mentioned report are to be implemented and a clearance certificate issued by an appropriately qualified occupational hygienist is to be submitted to Council before the commencement of demolition works.
3.601

	
	Condition reason:  To ensure works undertaken are carried out in a safe manner in accordance with relevant policies.

	56. 
	Tree protection measures

	57. 
	Before the commencement of any site or building work, the principal certifier must ensure the measures for tree protection detailed in the construction site management plan are in place.

3.801.S

	58. 
	Condition reason:  To protect the natural environment of the development site and adjoining lands.

	59. 
	Tree Removal: On-Site

	60. 
	Approval is granted for the removal of the following trees:

· Any tree/s where the base of the trunk of the tree is located within 3 metres of the external wall of an approved dwelling;

· Any declared noxious plant. The applicant, builder and all contractors are to ensure that all noxious plants are properly identified, controlled and/or removed on this site without injury or death of any protected plants;

· Any tree species listed under clause 2.4 of Bankstown Development Control Plan 2015 Part B11 – Tree Management Order;

· Any of the following tree/s:
·  As per Arboricultural Impact Assessment Report (APPENDIX- D) 

All tree removal works must comply with the Amenity Tree Industry – Code of Practice, 1998 (Workcover, NSW) and Guide to Managing Risks of Tree Trimming and Removal Work (Safe Work Australia 2016).

All other vegetation not specifically identified above, and protected by Councils Tree Management Order, is to be retained and protected from construction damage and pruning. The Tree Management Order protects trees over 5m in height.

	61. 
	Condition reason:  To protect the natural environment of the development site and adjoining lands.


DURING BUILDING WORK
	62. 
	Procedure for Critical Stage Inspections

	
	While building work is being carried out, the work must not continue after each critical stage inspection unless the principal certifier is satisfied the work may proceed in accordance with this consent and the relevant construction certificate.

4.101.S

	
	Condition reason:  To ensure the development is built and remains consistent with approved plans and documentation.

	63. 
	Works in accordance with Building Code of Australia (BCA)

	
	Building work must be carried out in accordance with the requirements of the Building Code of Australia (BCA).

4.201.P

	
	Condition reason:   Prescribed condition - EP&A Regulation clause 98(1)(a).

	64. 
	Affixing of signage

	
	The construction and fixing of the signage is to be carried out in accordance with details prepared by a suitably qualified practising structural engineer, in accordance with the structural provisions of the Building Code of Australia (BCA).

4.202

	
	Condition reason:   To ensure compliance with the relevant Australian Standard and National Construction Code.

	65. 
	Hours of Work

	
	Site work must only be carried out between the following times –

a. 7.00 am and 5.00 pm on Monday to Saturday.

b. No construction is to be carried out at any time on a Sunday or a public holiday.

Site work is not to be carried out outside of these times except where there is an emergency, or for urgent work directed by a police officer or a public authority.

4.204.S

	
	Condition reason:   To protect and enhance the amenity of the occupants of the development site and the occupants of adjoining sites.

	66. 
	Noise and Vibration

	
	While site work is being carried out, noise generated from the site must be controlled in accordance with the requirements of the approved documentation. 

Where no noise and vibration management plan is approved under this consent, the certifier is to ensure that any noise caused by demolition, vegetation removal or construction does not exceed an LAeq (15 min) of 5dB(A) above background noise, when measured at any lot boundary of the property where the site work is being carried out.
4.205.S

	
	Condition reason:  To ensure the development is built and remains consistent with approved plans and documentation.

	67. 
	Surveys by a registered surveyor

	
	While building work is being carried out, the positions of the following must be measured and marked by a registered surveyor and provided to the principal certifier: 
a. All footings / foundations in relation to the site boundaries and any registered and proposed easements 

b. At other stages of construction – any marks that are required by the principal certifier.

4.206.S

	
	Condition reason:  To ensure the development is built and remains consistent with approved plans and documentation.

	68. 
	Civil and Hydraulic engineering works

	
	All civil and hydraulic engineering works on site must be carried out in accordance with Council's Development Engineering Standards.  All Civil and Hydraulic engineering works associated with Council's assets and infrastructure must be carried out in accordance with Council's Work Permit requirements and to Council's satisfaction.

4.301

	
	Condition reason:  To ensure compliance with the relevant Canterbury Bankstown policy.

	69. 
	Stormwater drainage system

	
	The stormwater drainage system shall be constructed in accordance with Council's Development Engineering Standards and the engineering plans and details approved by the principal certifier. Should the consent holder encounter any existing, live, underground stormwater drainage pipes, which carry flow from upstream properties, then they must maintain the stormwater flow and re-route the stormwater pipes around the subject building or structures at their own expense.
4.302

	
	Condition reason:  To ensure compliance with the relevant Canterbury Bankstown policy.

	70. 
	Responsibility for Changes to Public Infrastructure

	
	While site work is being carried out, any costs incurred as a result of the approved removal, relocation or reconstruction of infrastructure (including ramps, footpaths, kerb and gutter, light poles, kerb inlet pits, service provider pits, street trees or any other infrastructure in the street footpath area) must be paid as directed by the consent authority.

4.307.S

	
	Condition reason:  To protect existing public and private infrastructure and building works during demolition, construction and ongoing use of the development.

	71. 
	Excavated safety

	
	All excavations and backfilling must be executed safely and in accordance with the relevant Australian Standards. 

If the development involves an excavation that extends below the level of the base of the footings of a building, structure or work (including any structure or work within a road or rail corridor) on adjoining land, the consent holder must, at their own expense:

a. Protect and support the building, structure or work from possible damage from the excavation, and

b. Where necessary, underpin the building, structure or work to prevent any such damage.

This consent condition does not apply if the consent holder owns the adjoining land or the owner of the adjoining land has given consent in writing to that condition not applying.

The owner of any affected buildings is not liable for any part of the cost of work carried out for the purposes of this clause, whether carried out on the allotment of land being excavated or on an adjoining allotment of land.

4.308

	
	Condition reason:  To ensure compliance with the relevant Australian Standard and National Construction Code.

	72. 
	Shoring and adequacy of adjoining properties

	
	If the development involves an excavation that extends below the level of the base of the footings of a building, structure or work on adjoining land (including any structure or work within a road or rail corridor), the consent holder must, at their own expense —

a. Protect and support the building, structure or work from possible damage from the excavation, and

b. Where necessary, underpin the building, structure or work to prevent any such damage.

This condition does not apply if the consent holder owns the adjoining land or the owner of the adjoining land has given consent in writing to that condition not applying.
4.309.P

	
	Condition reason:   Prescribed condition under section 74 of the Environmental Planning and Assessment Regulation 2021.

	73. 
	Retaining walls

	
	If soil conditions require it, retaining walls or other approved methods of preventing movement of the soil must be provided, and adequate provisions must be made for drainage. Should it be required, separate approval must be obtained for retaining walls.  
4.310

	
	Condition reason:  To ensure works undertaken are carried out in a safe manner in accordance with relevant policies.  

	74. 
	Waste management

	
	While site work is being carried out:

a. all waste management must be undertaken in accordance with the waste management plan, and 

b. upon disposal of waste, records of the disposal must be compiled and provided to , detailing the following:

i. The contact details of the person(s) who removed the waste

ii.  The waste carrier vehicle registration

iii.  The date and time of waste collection

iv.  A description of the waste (type of waste and estimated quantity) and whether the waste is to be reused, recycled or go to landfill

v. The address of the disposal location(s) where the waste was taken 

vi. The corresponding tip docket/receipt from the site(s) to which the waste is transferred, noting date and time of delivery, description (type and quantity) of waste.

If waste has been removed from the site under an EPA Resource Recovery Order or Exemption, records in relation to that Order or Exemption must be maintained and provided to the principal certifier and council. 

4.502.S

	
	Condition reason:   To protect and enhance the amenity of the occupants of the development site and the occupants of adjoining sites.

	75. 
	Comply with Waste management plan

	
	The requirements of the submitted Waste Management Plan shall be complied with at all times that work is being carried out. Without limiting the foregoing, compliance shall include the following:

a. The disposal of any demolition and construction waste must be undertaken in accordance with the requirements of the Protection of Environment Operations Act 1997; and

b. All waste on site is to be stored, handled and disposed of in such a manner as to not create air pollution, offensive noise or pollution of land and water as defined by the Protection of Environment Operations Act 1997; and

c. Generation, storage, treatment and disposal of hazardous waste is conducted in accordance with the relevant waste legislation administered by the EPA and relevant Occupational Health and Safety legislation administered by WorkCover NSW; and

d. All waste generated (including excavated materials) which cannot be reused or recycled must be transported to a facility which can lawfully accept it; and

e. Records are required regarding the details and location of the disposal of all demolition and construction waste (including excavated material), description of waste and are to be kept on site as evidences of lawful disposal. Records are to include receipts and weighbridge dockets which verify material types and volumes, time and date of disposal, waste vehicle rego, and confirmation of the waste disposal facility. Records/ details are also to be kept of person removing the waste; and 

f. All materials and resources that are to be stored on site during construction works are contained on the site; and

g. The provisions of the Protection of Environment Operations Act 1997 must be complied with when placing/stock piling loose material, disposal of concrete waste or activities which have potential to pollute drains and water courses; and

h. The storage of waste and recycling containers must be within the boundaries of the development site at all times. Public footways and roads must not be used for the storage of any waste and must be kept clear of obstructions during all construction works. 

4.503

	
	Condition reason:  To protect and enhance the amenity of the occupants of the development site and the occupants of adjoining sites.

	76. 
	No Stockpiling

	
	There must not be any stockpiling of building spoil, materials, or storage of equipment on the public road during the construction period. The footway and the road reserve must always be maintained in a safe condition. No work can be carried out on the public road, including the footway, unless a Work Permit authorised by Council has been obtained. 

4.605

	
	Condition reason:  To ensure compliance with the relevant New South Wales legislation.

	77. 
	Implementation of the site management plans

	
	While site work is being carried out: 

a. the measures required by the construction site management plan (where approved) and the erosion and sediment control plan must be implemented at all times, and

b. a copy of these plans must be kept on site at all times and made available to council officers upon request.

4.701.S

	
	Condition reason:  To ensure the development is built and remains consistent with approved plans and documentation.

	78. 
	Tree protection during work

	
	While site work is being carried out, all required tree protection measures must be maintained in good condition in accordance with: 

a. the construction site management plan (where approved) under this consent, 

b. the relevant requirements of AS 4970 Protection of trees on development sites, 

c. Council’s relevant development control plan (in force as at the date of determination of this consent) and d)any arborist’s report approved under this consent. 

This includes maintaining adequate soil grades and ensuring all machinery, builders refuse, spoil and materials remain outside tree protection zones
4.807.S

	
	Condition reason:  To protect the natural environment of the development site and adjoining lands.

	79. 
	Tree protection

	
	All work carried out on or around protected trees during demolition, clearing and construction shall comply with Australian Standard AS 4373 – ‘Pruning of amenity trees’ and Australian Standard AS 4970 – ‘Protection of trees on development sites’. Site specific conditions relating to tree protection shall take precedence over this requirement.
4.806

	
	Condition reason:  To protect the natural environment of the development site and adjoining lands.

	80. 
	Trees to be retained and protected: On-site

	
	The following tree/s shall be retained and protected from removal and damage for the duration of the development:


 As per Arboricultural Impact Assessment Report (APPENDIX- D)
* TPZ and SRZ in metres measured from the centre of the trunk of the tree.

Tree protection measures shall comply with Australian Standard AS4970-2009 Protection of trees on development sites, together with the following conditions:

· The tree/s to be retained and protected together with their relevant Tree Protection Zone (TPZ) and Structural Root Zone (SRZ) shall be marked on all demolition and construction drawings.

· All contractors and workers on site shall be briefed on the tree protection and management procedures in place as part of their site induction. A written record of the induction process is to be kept on site.

· A designated Tree Protection Zone shall be created on site by erecting a tree protection fence at a 4 metre radius from the trunk of the Jacaranda mimosifolia (jacaranda). The fence is to be constructed of chain wire mesh 1.80 metres high supported by steel posts. The fence is to be installed prior to demolition / construction, shall not be removed or altered, and is to remain in place for the duration of the site works;

· The applicant will display in a prominent location on the tree protection fence a durable, weather resistant sign of a similar design, layout and type size as per Appendix C, Australian Standard AS4970-2009 Protection of trees on development sites clearly showing:

a. The Development Consent number;

b. The name and contact phone number of the site manager;

c. The purpose of the protection zone;

d. The penalties for disregarding the protection zone;

· No vehicular access, excavations for construction or installation of services shall be carried out within the fenced Tree Protection Zone.

· All utility services, pipes, stormwater lines and pits shall be located outside the fenced Tree Protection Zone.

· Building materials, chemical storage, site sheds, wash out areas, and similar shall not be located within the fenced Tree Protection Zone.

· Trees marked for retention must not be damaged or used to display signage, or as fence or cable supports for any reason.

· If tree roots are exposed during approved works, roots with a diameter less than 25mm are to be pruned cleanly using sharp hand tools and not torn or ripped by machinery. Tree roots greater than 25mm in diameter are to be assessed by a qualified arborist - minimum Australian Qualification Framework (AQF) Level 4 or equivalent – before any pruning work is undertaken. If necessary, changes in design or relocation of works may be required.

· No ripping or rotary hoeing within the Tree Protection Zone of trees to be retained is permitted.

· Any approved excavation within the Tree Protection Zone of protected trees must be carried out by hand under the care and control of a qualified arborist - minimum Australian Qualification Framework (AQF) Level 4 or equivalent - to avoid unnecessary damage to tree roots.

· In exceptional circumstances, the tree protection fencing may be temporarily relocated to allow site access for construction purposes subject to the prior approval of the project arborist, the installation of ground protection measures as detailed below, and following the clearly identified tagging of all protected trees, provided such fencing is immediately replaced on completion of the works.  No damage to root systems or soil compaction will be accepted during such works.

· If the approving authority consents to materials, machinery or access over specifically nominated areas of the tree protection zone, the roots and surface soil within this area shall be mulched to a minimum depth of 100mm of hardwood wood chip overlaid with rumble boards, steel plates, or similar. This ground protection measure must be maintained for the duration of the site works.

· The trees are to be watered during dry spells, i.e. two to three weeks without adequate rainfall.  The root zone should be thoroughly watered and then left to drain.  A temporary/permanent irrigation system is to be installed on site where works longer than one month in duration are expected and when appropriate shall be part of the landscaping works.

· Any pruning works shall be carried out by a qualified arborist and shall comply with Australian Standard AS4373-2007 Pruning of Amenity Trees, the Amenity Tree Industry – Code of Practice, 1998 (Workcover, NSW), and Guide to Managing Risks of Tree Trimming and Removal Work (Safe Work Australia 2016).

All other vegetation not specifically identified above, and protected by Councils Tree Management Order, is to be retained and protected from Construction damage and pruning. The Tree Management Order protects trees over 5m in height.

	
	Condition reason:  To protect the natural environment of the development site and adjoining lands.

	81. 
	Discovery of relics and Aboriginal objects

	
	While site work is being carried out, if a person reasonably suspects a relic of Aboriginal object is discovered:

a. the work in the area of the discovery must cease immediately; 

b. the following must be notified 

i. for a relic – the Heritage Council; or

ii. for an Aboriginal object – the person who is the authority for the protection of Aboriginal objects and Aboriginal places in New South Wales under the National Parks and Wildlife Act 1974, section 85.

Site work may recommence at a time confirmed in writing by:

a. for a relic – the Heritage Council; or 

b. for an Aboriginal object – the person who is the authority for the protection of Aboriginal objects and Aboriginal places in New South Wales under the National Parks and Wildlife Act 1974, section 85.

In this condition:

“relic” means any deposit, artefact, object or material evidence that:

 relates to the settlement of the area that comprises New South Wales, not being Aboriginal settlement, and

 is of State or local heritage significance; and 
“Aboriginal object” means any deposit, object or material evidence (not being a handicraft made for sale) relating to the Aboriginal habitation of the area that comprises New South Wales, being habitation before or concurrent with (or both) the occupation of that area by persons of non-Aboriginal extraction and includes Aboriginal remains.
4.901.S

	
	Condition reason:   To ensure the protection of objects of potential significance during works.

	82. 
	Compliance with AS4373 – 2007 and AS4970 – 2009

	
	All work carried out on or around protected trees during demolition, clearing and construction shall comply with Australian Standard AS4373-2007 Pruning of amenity trees and Australian Standard AS4970-2009 Protection of trees on development sites. Site specific conditions relating to tree protection shall take precedence over this requirement.



	
	Condition reason:   To ensure the protection of objects of potential significance during works.

	83. 
	Tree Preservation Conflicts

	
	If any trees to be retained and protected are threatened by demolition, building or other site works through accidental omission or unforeseen circumstances, the approving authority is to be notified immediately in writing before such work is continued so that this issue can be resolved. 



	
	Condition reason:   To ensure the protection of objects of potential significance during works.

	84. 
	Monitor for acid sulfate soils 

	
	Any excavation works carried out on site should be closely monitored to ensure no signs of potential acid sulfate soil or actual acid sulfate soil are observed. Indicators may include grey to greenish blue clays, unusual gold-yellow mottling or 'rotten egg' odours. If any of these indicators are observed, excavation of the site must be stopped, and Council is to be notified immediately. A suitably qualified environmental consultant must be contracted to further assess the site.



	
	Condition reason:  To protect the natural environment of the development site and adjoining lands.

	85. 
	Soil assessment

	
	Any soils to be excavated and disposed of from the site must be analysed and classified by a suitably qualified environmental consultant, in accordance with relevant NSW EPA guidelines including Part 4 of the ‘Waste Classification Guidelines’ (NSW EPA, 2014) before off-site disposal.

Any waste material is to be transported to an appropriately licensed waste facility by an EPA licensed waste contractor in accordance with relevant NSW EPA guidelines.



	
	Condition reason:  To ensure compliance with the relevant New South Wales legislation.



	86. 
	Demolition and Construction Waste

	
	All waste material generated during demolition and construction must be disposed of at an appropriately licensed waste facility for the specific waste. 

All waste must be transported by a contractor licensed to transport the specific waste, and in vehicles capable of carting the waste without spillage and meeting relevant requirements and standards. All loads must be covered prior to vehicles leaving the site.

	
	Condition reason: To ensure that the development complies with Council’s Environmental Health Policies.

	87. 
	Importing of fill

	
	Any fill imported onto the site must be virgin excavated natural material or excavated natural material, classified as such in accordance the ‘Waste Classification Guidelines’ (NSW EPA, 2014) or excavated natural material meeting the requirements of the Excavated Natural Material Exemption (NSW EPA, 2014). 

Certificates verifying that imported fill is virgin excavated natural material or excavated natural material must be provided to Council before the issue of an occupation certificate.

All imported fill must be compatible with the existing soil characteristics of the site. 



	
	Condition reason:  To protect the natural environment of the development site and adjoining lands.

	88. 
	Duty to report

	
	If the Duty to Report contamination to the NSW EPA under Section 60 of the Contaminated Land Management Act 1997 is triggered, Council must be notified within seven (7) days of the notification to the NSW EPA.



	
	Condition reason:  To ensure compliance with the relevant New South Wales legislation.


BEFORE ISSUE OF AN OCCUPATION CERTIFICATE
	89. 
	Occupation certificate

	
	The occupation or use of the building must not commence unless an occupation certificate has been issued.

5.201

	
	Condition reason:  To ensure compliance with the relevant New South Wales legislation.

	90. 
	Allocation of car parking spaces

	
	Ninety-One (91) off-street car spaces being provided in accordance with the submitted plans. This shall comprise:

Note: Car parking spaces are to be provided for people with mobility impairment in accordance with AS 2890.1. All car parking spaces shall be allocated and marked according to these requirements.
5.106

	
	Condition reason:  To ensure the development is built and remains consistent with approved plans and documentation.

	91. 
	Slab certification

	
	A report as prepared by a registered surveyor must be submitted to the principal certifier verifying that the reduced level (RL) of the finished floor level at each level, the height of external walls, the maximum reduced level (RL) of roof structures / roof eaves overhangs and the external wall setbacks to the property boundaries all conform with the approved plans.

5.203

	
	Condition reason:  To ensure the development is built and remains consistent with approved plans and documentation.

	92. 
	Preservation of survey marks

	
	Before the issue of an occupation certificate, a registered surveyor must submit documentation to the principal certifier which demonstrates that:

a. no existing survey mark(s) have been removed, damaged, destroyed, obliterated or defaced, or 

b. any survey mark(s) that were damaged, destroyed, obliterated or defaced have been re-established in accordance with the Surveyor General’s Direction No. 11 – Preservation of Survey Infrastructure.

5.204.S

	
	Condition reason:   To protect existing public and private infrastructure and building works during demolition, construction and ongoing use of the development.  

	93. 
	Completion of Public Utility Services

	
	Before the issue of the relevant occupation certificate, confirmation must be obtained from the relevant authority that any adjustment or augmentation of any public utility services including gas, water, sewer, electricity, street lighting and telecommunications, required as a result of the development, have been completed and this confirmation must be provided to the principal certifier.

5.207.S

	
	Condition reason:  To protect existing public and private infrastructure and building works during demolition, construction and ongoing use of the development.

	94. 
	Section 73 certificate

	
	The Section 73 compliance certificate under the Sydney Water Act 1994 must be submitted to the principal certifier before the issue of an occupation certificate.

5.208

	
	Condition reason:  To ensure compliance with the relevant New South Wales legislation.

	95. 
	Work Permit Compliance required

	
	An occupation certificate must not be issued until all conditions relating to demolition, building and subdivision works have been satisfied and Council has issued a Work Permit Compliance Certificate (where applicable).

5.301

	
	Condition reason:  To ensure the development is built and remains consistent with approved plans and documentation.

	96. 
	Repair of infrastructure

	
	Before the issue of an occupation certificate:

a. any public infrastructure damaged as a result of the carrying out of work approved under this consent (including damage caused by, but not limited to, delivery vehicles, waste collection, contractors, sub-contractors, concreting vehicles) must be fully repaired to the written satisfaction of council, and at no cost to council, or

b. if the works in (a) are not carried out to council’s satisfaction, council may carry out the works required and the costs of any such works must be paid as directed by council and in the first instance will be paid using the security deposit required to be paid under this consent.

5.302.S

	
	Condition reason:  To protect existing public and private infrastructure and building works during demolition, construction and ongoing use of the development.

	97. 
	Agreement with Council

	
	Before the issue of any occupation certificate, an agreement must be entered into with Council on terms satisfactory to Council for the collection of waste.

5.502

	
	Condition reason:  To ensure compliance with the relevant Canterbury Bankstown policy.

	98. 
	Works-As-Executed plans and any other Documentary Evidence 

	
	Before the issue of the relevant occupation certificate,  works-as-executed plans, any compliance certificates and any other evidence confirming the following completed works must be submitted to the satisfaction of the principal certifier:

a. All stormwater drainage systems and storage systems, and 
b. The following matters that council requires to be documented in accordance with the Councils relevant Development Control Plan. 
c. A copy of the plans must be provided to council with the occupation certificate. 


	
	Condition reason:  To ensure the development is built and remains consistent with approved plans and documentation.

	99. 
	Restriction of use / covenant

	
	The developer shall register, on the title of the subject property, a Restriction on the Use of Land and Positive Covenant, in accordance with the standard terms for "Registration of OSD on title", as outlined in Council's Bankstown Development Engineering Standards and in accordance with the appropriate provisions of the Conveyancing Act 1919. 

Where subdivision is not proposed, the surveyor shall show the location of the "On-Site Stormwater Detention System" on an A4 size site plan attached to the Section 88E Instrument to be registered, on the title of the subject property, before the issue of the Final occupation certificate. Alternatively, where subdivision is proposed, the developer shall register, on the title of the subject property, a Restriction on the Use of Land and Positive Covenant, in accordance with the standard terms for "Registration of OSD on title", as outlined in Council’s Bankstown Development Engineering Standards and in accordance with the appropriate provisions of the Conveyancing Act. The surveyor shall show the location of the "On-Site Stormwater Detention System" on the plan of subdivision. The developer shall submit evidence of the final registration of the Restriction and Positive Covenant on the title of the property, to Council.



	
	Condition reason:  To protect existing public and private infrastructure and building works during demolition, construction and ongoing use of the development.

	100. 
	Removal of Waste Upon Completion

	
	Before the issue of an occupation certificate: 

a. all refuse, spoil and material unsuitable for use on-site must be removed from the site and disposed of in accordance with the waste management plan, and
b. written evidence of the waste removal must be provided to the satisfaction of the principal certifier
5.503.S

	
	Condition reason:  To protect and enhance the amenity of the occupants of the development site and the occupants of adjoining sites.

	101. 
	Completion of Landscape and Tree Works

	
	Before the issue of an occupation certificate, the principal certifier must be satisfied all landscape and tree-works have been completed in accordance with approved plans and documents and any relevant conditions of this consent.

5.701.S

	
	Condition reason:  To protect the natural environment of the development site and adjoining lands and to ensure the development is built and remains consistent with approved plans and documentation.

	102. 
	Design of lighting

	
	Any lighting on the site shall be designed so as not to cause nuisance to other residences in the area or to motorists on nearby public roads and to ensure no adverse impact on the amenity of the surrounding area by light overspill. All lighting shall comply with the Interim Australian Standard AS 4282 – ‘The Control of the Obtrusive Effects of Outdoor Lighting’.

5.907

	
	Condition reason:  To protect and enhance the amenity of the occupants of the development site and the occupants of adjoining sites and to ensure compliance with the relevant Australian Standard and National Construction Code.

	103. 
	Emergency Response Management Plan

	
	An Emergency Response Management Plan shall be prepared and submitted to Council's satisfaction. The Plan shall include the following:
a. List of chemicals and maximum quantities to be stored at the site;

b. Identification of potentially hazardous situations;

c. Procedure for incident reporting;

d. Details of spill stations and signage;

e. Containment and clean-up facilities and procedures; and 

f. The roles of all staff in the plan and details of staff training.



	
	Condition reason:   To protect and enhance the amenity of the occupants of the development site and the occupants of adjoining sites. 


OCCUPATION AND ONGOING USE

	
	

	104. 
	Site loading / Unloading

	
	All loading and unloading operations associated with servicing the site must be carried out within the confines of the site, at all times and must not obstruct other properties/units or the public way.

At all times the service vehicle docks, car parking spaces and access driveways must be kept clear of goods and must not be used for storage purposes, including garbage storage.
7.115

	
	Condition reason:  To provide and maintain orderly and safe areas for vehicular and pedestrian movement / parking.

	105. 
	Car parking not for storage

	
	The approved car parking spaces, driveways and manoeuvring areas are to be used for employees and visitors’ vehicles only and not for the storage of new or used materials, finished goods or commercial vehicles.

7.301

	
	Condition reason:  To ensure the development is built and remains consistent with approved plans and documentation and to provide and maintain orderly and safe areas for vehicular and pedestrian movement / parking.

	106. 
	Stormwater Detention

	
	The on-site stormwater detention storage system within the site as constructed shall not be altered and shall be maintained in good working order to the satisfaction of Council.
7.302

	
	Condition reason:  To protect existing public and private infrastructure and building works during demolition, construction and ongoing use of the development.

	107. 
	Maintenance of wastewater and stormwater treatment device

	
	During occupation and ongoing use of the building, all wastewater and stormwater treatment devices (including drainage systems, sumps and traps, and on-site detention) must be regularly maintained to remain effective and in accordance with any positive covenant (if applicable).

7.303.S

	
	Condition reason:  To protect existing public and private infrastructure and building works during demolition, construction and ongoing use of the development.

	108. 
	Enter / Exit in forward direction

	
	All vehicles associated with the development are to enter and exit the site in a forward direction.

7.402

	
	Condition reason:  To provide and maintain orderly and safe areas for vehicular and pedestrian movement / parking.  

	109. 
	Waste Management Plan

	
	The requirements of the submitted Waste Management Plan shall be complied with at all times that the approved development is being carried out.

7.501

	
	Condition reason:  To protect and enhance the amenity of the occupants of the development site and the occupants of adjoining sites. 

	110. 
	Commercial waste contract

	
	The consent holder shall enter into a commercial contract for the collection of wastes and recycling. A copy of the commercial waste and recycling contract shall be lodged with Council and invoices should be available for inspection at any time.  

7.502

	
	Condition reason: To protect and enhance the amenity of the occupants of the development site and the occupants of adjoining sites.

	111. 
	Waste generated on site

	
	All waste generated on the site is to be stored, handled and disposed of in such a manner as to not create offensive odour, offensive noise or pollution of land and/or water as defined under the Protection of the Environment Operations Act 1997. All waste generated shall be removed and disposed of by an authorised waste removal contractor. A copy of the waste removal agreement and receipts shall be made available to Council on request.  

7.504

	
	Condition reason:  To protect and enhance the amenity of the occupants of the development site and the occupants of adjoining sites.

	112. 
	Waste containers

	
	No waste storage containers are to be located or placed outside the approved waste storage area at any time except for collection purposes.

7.507

	
	Condition reason: To protect and enhance the amenity of the occupants of the development site and the occupants of adjoining sites

	113. 
	Maintenance of landscaping

	
	The approved landscaping and external work must be maintained post occupation and must not be altered or changed without Council approval or unless the altered work is carried out in accordance with the relevant provisions of the State Environmental Planning Policy (Exempt and Complying Development Codes) 2008.

7.701

	
	Condition reason:  To ensure the development is built and remains consistent with approved plans and documentation.

	114. 
	Emergency response

	
	Instructions concerning procedures to be adopted in the event of an emergency are to be clearly displayed on the premises for both public and staff information at all times.

7.632

	
	Condition reason:   To protect and enhance the amenity of the occupants of the development site and the occupants of adjoining sites

	115. 
	Activities contained inside

	
	All industrial activities are to be confined within the building and no such activity shall occur externally to the building and this shall include loading and unloading, also storage of new and used materials.

7.116

	
	Condition reason:  To protect and enhance the amenity of the occupants of the development site and the occupants of adjoining sites. 

	116. 
	Further Acoustic Assessment

	
	Following occupation of the building/premises, should it be found that the measures recommended in the acoustic assessment are not sufficient, or have been incorrectly installed or a noise issue (relating to the development) not previously identified arises (through complaint or otherwise), the owner/ occupier must, upon request by Council, employ the services of a qualified acoustic consultant who has not previously been involved with the development to undertake a post-occupation assessment of the development and complete an acoustic report with recommendations to rectify the situation. A copy of this acoustic assessment report must be submitted to Council for approval and from there noise attenuation works must be implemented. Submission of the acoustic report must be within 30 days from the date requested by Council.

	
	Condition reason:   To protect and enhance the amenity of the occupants of the development site and the occupants of adjoining sites

	117. 
	General Amenity

	
	The operation of the development must not adversely affect the amenity of the neighbourhood or interfere unreasonably with the comfort or repose of a person who is outside the premises by reason of the emission or discharge of noise, fumes, vapour, odour, steam, soot, ash, dust, wastewater, waste products, grit, oil or other harmful products.

	
	Condition reason:   To protect and enhance the amenity of the occupants of the development site and the occupants of adjoining sites

	118. 
	Signage

	
	Any lighting on the site shall be designed so as not to cause nuisance to other residences in the area or to motorists on nearby roads and to ensure no adverse impact on the amenity of the surrounding area by light overspill.  All lighting shall comply with the Australian Standard 4282-2019 Control of the Obtrusive Effects of Outdoor Lighting.

No flashing, moving or intermittent lighting, visible from any public place may be installed on the premises or external sign associated with the development

The use of floodlighting or the like, to advertise or attract attention or for the convenience of patrons must be controlled so as not to cause any distraction or disturbance to nearby or adjacent residents, pedestrians or motorists. The use of flashing lights is strictly prohibited. 

The implementation of this development shall not adversely affect the amenity of the neighbourhood or interfere unreasonably with the comfort or repose of a person who is outside the premises.

	
	Condition reason:  To ensure compliance with the relevant Australian Standard and National Construction Code.

	119. 
	POEO – General

	
	Any activity carried out in accordance with this approval must not give rise to offensive odour, offensive noise or pollution of air, land or water as defined in the Protection of the Environment Operations Act 1997 and Regulations.

	
	Condition reason:   To ensure compliance with the relevant New South Wales legislation.

	120. 
	Acoustic Assessment

	
	Should a noise issue (relating to the development) not previously identified arise (through complaint or otherwise), the owner/occupier must, upon request by Council, employ the services of a suitably qualified acoustic consultant who has not previously been involved with the development to undertake a post-occupation assessment of the development and complete an acoustic report with recommendations to rectify the noise issue. A copy of this acoustic assessment report must be submitted to Council for approval and from there noise attenuation works must be implemented. Submission of the acoustic report must be within 30 days from the date requested by Council.

Note: Suitably Qualified Acoustic Consultant means a consultant who possesses the qualifications to render them eligible for membership of the Australian Acoustical Society, Institution of Engineers Australia or the Association of Australian Acoustical Consultants at the grade of member.



	
	Condition reason:   To protect and enhance the amenity of the occupants of the development site and the occupants of adjoining sites.

	121. 
	Amplified Music

	
	Music and other amplified sound played on the premises must not give rise to offensive noise as defined under the provisions of the Protection of the Environment Operations Act 1997. The sound level output must not exceed five (5) dB(A) above the ambient background level at the boundary of the premises.

Speakers must not be installed, and music must not be played in any of the outdoor areas associated with the premises including the public domain. Speakers located within the premises must not be placed to direct the playing of music towards the outdoor areas associated with the premises.

	
	Condition reason:   To protect and enhance the amenity of the occupants of the development site and the occupants of adjoining sites

	122. 
	Compliance with Noise Control Legislation

	
	The applicant must ensure that all activities within the premises comply with the relevant sections of the Protection of the Environment Operations Act 1997 and Regulations and the Noise Policy for Industry (NSW EPA, 2017).

	
	Condition reason:   To protect and enhance the amenity of the occupants of the development site and the occupants of adjoining sites.

	
	


General advisory notes

This consent contains the conditions imposed by the consent authority which are to be complied with when carrying out the approved development. However, this consent is not an exhaustive list of all obligations which may relate to the carrying out of the development under the EP&A Act, EP&A Regulation and other legislation. Some of these additional obligations are set out in the Conditions of development consent: advisory notes. The consent should be read together with the Conditions of development consent: advisory notes to ensure the development is carried out lawfully.

The approved development must be carried out in accordance with the conditions of this consent. It is an offence under the EP&A Act to carry out development that is not in accordance with this consent.

Building work or subdivision work must not be carried out until a construction certificate or subdivision works certificate, respectively, has been issued and a principal certifier has been appointed. 

A document referred to in this consent is taken to be a reference to the version of that document which applies at the date the consent is issued, unless otherwise stated in the conditions of this consent. 

Dictionary
The following terms have the following meanings for the purpose of this determination (except where the context clearly indicates otherwise): 
Approved plans and documents means the plans and documents endorsed by the consent authority, a copy of which is included in this notice of determination. 

AS means Australian Standard published by Standards Australia International Limited and means the current standard which applies at the time the consent is issued. 

Building work means any physical activity involved in the erection of a building. 

Certifier means a council or a person that is registered to carry out certification work under the Building and Development Certifiers Act 2018.

Construction certificate means a certificate to the effect that building work completed in accordance with specified plans and specifications or standards will comply with the requirements of the EP&A Regulation and Environmental Planning and Assessment (Development Certification and Fire Safety) Regulation 2021. 

Council means Canterbury Bankstown Council. 

Court means the Land and Environment Court of NSW.

EPA means the NSW Environment Protection Authority.

EP&A Act means the Environmental Planning and Assessment Act 1979. 
EP&A Regulation means the Environmental Planning and Assessment Regulation 2021. 
Independent Planning Commission means Independent Planning Commission of New South Wales constituted by section 2.7 of the EP&A Act.

Local planning panel means Canterbury Bankstown Local Planning Panel.

Occupation certificate means a certificate that authorises the occupation and use of a new building or a change of building use for an existing building in accordance with this consent.

Principal certifier means the certifier appointed as the principal certifier for building work or subdivision work under section 6.6(1) or 6.12(1) of the EP&A Act respectively. 

Site work means any work that is physically carried out on the land to which the development the subject of this development consent is to be carried out, including but not limited to building work, subdivision work, demolition work, clearing of vegetation or remediation work.

Stormwater drainage system means all works and facilities relating to: 

the collection of stormwater, 

the reuse of stormwater, 

the detention of stormwater, 

the controlled release of stormwater, and 

connections to easements and public stormwater systems. 

Strata certificate means a certificate in the approved form issued under Part 4 of the Strata Schemes Development Act 2015 that authorises the registration of a strata plan, strata plan of subdivision or notice of conversion.

Subdivision certificate means a certificate that authorises the registration of a plan of subdivision under Part 23 of the Conveyancing Act 1919. 
Subdivision works certificate means a certificate to the effect that subdivision work completed in accordance with specified plans and specifications will comply with the requirements of the EP&A Regulation.

Sydney District or Regional Planning Panel means Sydney South Planning Panel.
INDCOM
DA-2/2025 

1
INDCOM
DA-2/2025 
39

