22nd October, 2021

971 RICHMOND ROAD, MARSDEN PARK (JOB 2435)

SCHEDULE OF AMENDMENTS MADE (05.10.21)

Cover Sheet

- Silver Level apartment numbers amended.

- 10 x Residential Car Spaces replaced with 10 x EV Charging Stations, bringing the total number of EV Charging Stations to 12. Parking Provision table updated accordingly.

Unit Breakdown – Solar & Cross Vent Calculation Sheet

- Silver Level apartment numbers amended.

Overall Site Plan

- Rainwater Tank size amended.

- Stormwater Tank sizes amended.

- Drainage pits amended to reflect updated Civil Drawings.

Basement Level 3

- Motorbike Parking Spaces numbered.

Basement Level 2

- Motorbike Parking Spaces numbered.

- 5 x Resident Parking Spaces replaced with 5 x EV Charging Stations.

Basement Level 1

- Motorbike Parking Spaces numbered.

- 5 x Resident Parking Spaces replaced with 5 x EV Charging Stations.

- Walls to Waste Collection area amended.

- Pedestrian ramp within Waste collection area relocated.

- 1.8m wide roller shutters added to Residential Waste and Recycle Collection rooms.

- Rainwater Tank size amended.

- Stormwater Tank sizes amended.

Ground Floor Plan

- Ambulant WCs allocated to Public amenity blocks and Gym amenities.

- RH WC layouts to Retail units R102 and R106 have been mirror reversed to LH WC layouts to provide an even distribution through the development.

- Shower provided to Child Care Centre Accessible WC.

- Pedestrian ramp to Block C lobby amended.

- Rainwater Tank size amended.

- Stormwater Tank sizes amended.

- Drainage pits amended to reflect updated Civil Drawings.

Level 2

- Common Open Space between Blocks D and E have been allocated to Block E for clarification.

Levels 5-8

- Bedroom Window in Units D506/D606/D706/D806 relocated to eastern wall.

- Silver level allocation removed from Units D506/D606/D706/D806.

Roof Plan

- RH WC layout to Block D Common Open Space has been mirror reversed to become a LH WC layout.

Level 02 – Block D

- Common Open Space between Blocks D and E have been allocated to Block E for clarification.

Level 05 – Block D

- Bedroom Window in Unit D506 relocated to eastern wall.

- Silver level allocation removed from Unit D506.

Level 06-08 – Block D

- Bedroom Window in Units D606/D706/D806 relocated to eastern wall.

- Silver level allocation removed from Units D606/D706/D806.

Roof Level – Block D

- RH WC layout to Common Open Space has been mirror reversed to become a LH WC layout.

Level 02 – Block E

- Common Open Space between Blocks D and E have been allocated to Block D for clarification.

Elevations

- Maximum building height line amended from 26m to 28m

3D Building Height Plane

- Maximum building height line amended from 26m to 28m

Sections

- Maximum building height line amended from 26m to 28m

Driveway Sections

- Walls in Waste collection area amended.

- 1.8m wide roller shutters provided to Resident Waste and Recycle collection rooms.

Site Details 1

- Double 920mm wide doors provided to Waste rooms.

Site Details 2

- Double 920mm wide doors provided to Waste rooms.

Site Details 3

- Walls in Waste Collection area amended.

- 1.8m wide roller shutters provided to Resident Waste and Recycle collection rooms.

- Double 920mm wide doors provided to Retail Bins and Child Care Centre Bins store/collection rooms.

- Double 920mm wide doors provided to Bulky Waste area.

- Pedestrian ramp in Waste collection area relocated.

3D Study – Block D

- Bedroom Window in Units D506/D606/D706/D806 relocated to eastern wall.