ATTACHMENT 1

389/2017/DA-RA

Recommended Conditions of Consent

DEFERRED COMMENCEMENT CONDITIONS

- An updated Conservation Works Schedule shall be provided for Council’s approval prior to the issue of an operational development consent, to reflect the changes to the condition of the property since the preparation of the original Conservation Works Schedule.

- A fencing plan for the site shall be submitted to Council for the written approval of Council’s Executive Manager Urban Centres that is sensitive to the site’s heritage values and complies with the requirements of the Campbelltown Sustainable City Development Control Plan 2015.

- An arborist report shall be submitted to Council for the written approval of Council’s Executive Manager Urban Centres that demonstrates compliance with the provisions of the Campbelltown Sustainable City Development Control Plan 2015.

- A subdivision plan for the development shall be prepared by a Registered Surveyor and submitted to Council for the written approval of Council’s Executive Manager Urban Centres. The subdivision plan shall indicate that all dwellings and the Raith House building shall be part of the Community Title Scheme.

- The non-cyclical works relating to the planning/design of landscaping, trees, gardens and weeding identified in the Conservation Works Schedule shall be undertaken, and the landscape plan for the development shall be updated to reflect the outcome of these works.

- A heritage interpretation that enhances the ‘sense of place’ shall be designed and integrated into the all of the site’s communal open space areas. The designs shall be submitted to Council for the written approval of Council’s Executive Manager Urban Centres.

- A Waste Management Plan for the development prepared by an experienced waste management professional shall be prepared for the written approval of Council’s Domestic Waste Service Coordinator. If the Waste Management Plan requires amendments to the plans, then these amended plans shall be submitted to Council for the written approval of Council’s Executive Manager Urban Centres.

- The location of pits titled Pit 1 and Pit 27698 in the DRAINS model shall be marked on the stormwater plans drawn by United Consulting Engineers Issue E dated 26/04/21.

- The connection details of the new stormwater pipeline in Fern avenue connecting into the existing stormwater pipe shall be provided. The connection and alignment of the proposed pipe shall make an efficient hydraulic connection to the existing network and shall avoid unnecessarily crossing the Fern Avenue carriageway.

- The drainage network connecting to the On-site detention (OSD) shall be included in the modelling and demonstration is required that the on-site detention system is functioning as proposed.

- The roughness coefficient adopted for grassed area in the catchment parameters shall be in accordance with the value range recommended by DRAINS.

- The overland flow paths on Fern Avenue shall be modelled as a road section.

- The downstream pipeline shall not be smaller than the upstream pipe sizes within the site and outside the site in the public way.

- The sub-catchment title “Existing” shall be modelled applied to Pit 5, rather than flows applied as a base flow to the pit.

- Council does not consider Rainwater tanks as water quality treatment devices, and in this regard the MUSIC model shall be redesigned without rainwater tanks.

- The MUSIC modelling using Liverpool City Council’s MUSIC Link shall be changed to comply with Campbelltown City Council’s “Draft MUSIC Modelling Guide”.

- The proposed stormwater quality devices shall meet Campbelltown City Council’s water quality targets. The Spel Filter does not meet Council’s specified targets.

- The percentage of pervious and impervious areas used in the DRAINS and MUSIC models shall be consistent.

- The traffic report shall be amended to incorporate the requirements below:

- The recommended standard arrival departure splits 15/85 AM and 60/40 PM shall be adopted.

- The trip distribution at intersection AM peak 90/10 (N/S) and PM peak 10/90 (N/S) shall be adopted.

- The extent of the modelled road network for the SIDRA analysis shall include the road intersections at Appin Road/Oxley Street/The Parkway/Narellan Road and Appin Road/St Johns Road.

GENERAL CONDITIONS

The following conditions have been applied to ensure that the use of the land and/or building is carried out in such a manner that is consistent with the aims and objectives of the planning instrument affecting the land.

For the purpose of these conditions, the term ‘applicant’ means any person who has the authority to act on or benefit of the development consent.

Approved Development

The development shall be carried out in accordance with the approved plans and documents listed in the table below, and all associated documentation supporting this consent, except as modified in red by Council and/or any conditions within.

| Plan Detail | Job Number | Prepared by | Date |
| --- | --- | --- | --- |
| Site/roof plan - DA-0101 Issue T | CAP18075 | Integrated Design Group | 24 June 2021 |
| Basement plan - DA-0103 Issue S | CAP18075 | Integrated Design Group | 17 May 2021 |
| Site elevations and sections - DA-0104 - Issue N | CAP18075 | Integrated Design Group | 17 May 2021 |
| Dwelling Typology - DA-0105 Issue I | CAP18075 | Integrated Design Group | 8 July 2021 |
| Photomontage - DA-0106 Issue G | CAP18075 | Integrated Design Group | 17 May 2021 |
| Photomontage - DA-0107 Issue A | CAP18075 | Integrated Design Group | 17 May 2021 |
| Waste Management Plan - DA-9302 Issue J | CAP18075 | Integrated Design Group | 17 May 2021 |
| Indicative subdivision plan - DA-9303 Issue H | CAP18075 | Integrated Design Group | 9 June 2021 |
| Staging Plan - DA-9304 Issue G | CAP18075 | Integrated Design Group | 17 May 2021 |
| Finishes Schedule - DA-9600 Issue G | CAP18075 | Integrated Design Group | 17 December 2020 |
| AD 1, 2, 3 - DA-AD100 Issue J | CAP18075 | Integrated Design Group | 9 July 2021 |
| AD1 Ground floor plan - DA-AD101 Issue P | CAP18075 | Integrated Design Group | 17 May 2021 |
| AD1 Elevations - DA-AD102 Issue M | CAP18075 | Integrated Design Group | 17 May 2021 |
| AD2 Ground floor plan - DA-AD103 issue P | CAP18075 | Integrated Design Group | 17 May 2021 |
| AD2 Elevations - DA-AD104 Issue M | CAP18075 | Integrated Design Group | 17 May 2021 |
| AD3 Ground floor plan & elevations DA-AD106 Issue M | CAP18075 | Integrated Design Group | 17 May 2021 |
| AD1 & AD2 Typical floor plans and section - DA-AD108 Issue L | CAP18075 | Integrated Design Group | 17 May 2021 |
| AD4 General arrangement - DA-AD113 Issue F | CAP18075 | Integrated Design Group | 8 July 2021 |
| AD5 General arrangement - DA-AD114 - Issue F | CAP18075 | Integrated Design Group | 9 June 2021 |
| AD6 General arrangement - DA-AD115 Issue E | CAP18075 | Integrated Design Group | 17 May 2021 |
| AD5 & AD6 Internal street elevations - DA-AD116 Issue A | CAP18075 | Integrated Design Group | 10 June 2021 |
| APT1 Ground & typical floor plan - DA-APT102 Issue N | CAP18075 | Integrated Design Group | 8 July 2021 |
| APT1 Typical floor plan - DA-APT103 Issue F | CAP18075 | Integrated Design Group | 8 July 2021 |
| APT1 Elevations - DA-APT104 Issue M | CAP18075 | Integrated Design Group | 8 July 2021 |
| APT1 Elevations - DA-APT105 Issue I | CAP18075 | Integrated Design Group | 21 May 2021 |
| APT1 Basement plan - DA-APT106 Issue T | CAP18075 | Integrated Design Group | 8 July 2021 |
| Apartment sections - DA-APT107 Issue M | CAP18075 | Integrated Design Group | 17 May 2021 |
| APT2 Ground floor plan - DA-APT110 Issue H | CAP18075 | Integrated Design Group | 17 December 2020 |
| APT2 General arrangement - DA-APT111 Issue J | CAP18075 | Integrated Design Group | 17 December 2020 |
| APT2 Elevations - DA-APT112 Issue L | CAP18075 | Integrated Design Group | 17 May 2021 |
| Raith House Precinct - DA-R001 Issue G | CAP18075 | Integrated Design Group | 17 December 2020 |
| Raith floor plans - DA-R002 Issue G | CAP18075 | Integrated Design Group | 17 December 2020 |
| Existing dwelling 01 Issue A | CAP18075 | Integrated Design Group | 17 May 2021 |
| Existing dwelling 02 Issue B | CAP18075 | Integrated Design Group | 8 July 2021 |
| Landscape masterplan - LA-01 Revision 2 |  | Paterson Design Studio | 15 December 2020 |
| Enlargement local park - LA-02 Revision 2 |  | Paterson Design Studio | 15 December 2020 |
| Enlargement neighbourhood park - LA-03 Revision 2 |  | Paterson Design Studio | 15 December 2020 |
| Enlargement communal open space - LA-04 Revision 2 |  | Paterson Design Studio | 15 December 2020 |
| Plant schedule - LA-05 Revision 2 |  | Paterson Design Studio | 15 December 2020 |
| Plant schedule - LA-06 Revision 2 |  | Paterson Design Studio | 15 December 2020 |
| Landscape details - LA-07 Revision 2 |  | Paterson Design Studio | 15 December 2020 |
| Amended Conservation works schedule | TBD | TBD | TBD |
| Conservation Management Plan |  | Integrated Design Associates | November 2018 |
| Detailed Site Investigation | DSI-BRAD | Raw Earth Environmental | March 2021 |
| Remedial Action Plan | RAP-BRAD-01 | Raw Earth Environmental | 7 April 2021 |
| Acoustical Report V3 | 4552 | Koikas Acoustics | 22 February 2021 |

Implementation of conservation works to Raith House shall be consistent with the approved Conservation Works Schedule (including timeframe).

Amended Plans

The development is to incorporate the following amendments and the amended plans are to be submitted to the Principal Certifier, for approval, prior to the issuing of a Construction Certificate:

- A bbq/outdoor dining area with a minimum area of 50sqm shall be provided for the apartment buildings.

- The locations of any additional required electrical substations shall be shown on the site plan. No additional substations shall be located within the core setting of Raith identified by the red border in the diagram on page 53 of the Conservation Management Plan prepared by Paul Davies dated November 2014.

- The landscape plan shall be amended so that plantings are placed around the existing substations and hydrant fronting Fern Avenue so as to reduce their visual impact upon the streetscape and communal open space area.

Raith House Vacancy

While Raith House remains vacant, security measures are to be put in place and details are to be provided to Council in this regard within two weeks of the date of this development consent.

Timing of Conservation Works

In accordance with the Conservation Works Schedule, the November 2018 base cost shall be undertaken (in conservation and maintenance) in the financial year 2021/22.

The conservation works to the house shall commence in conjunction with the development of the site except for items with time frame ‘immediate’, regular and cyclical. These are to be implemented within three months of the date of this development consent. A record of all inspections and maintenance, as per the Conservation Works Schedule, shall be logged and submitted to Council.

If development of the site is delayed beyond the 2021/22 financial year, then a comprehensive inspection shall be arranged by a suitably qualified heritage consultant to update the Conservation Works Schedule in the 2021/22 financial year.

Building Code of Australia

All building work must be carried out in accordance with the provisions of the Building Code of Australia. In this clause, a reference to the Building Code of Australia is a reference to that Code as in force on the date the application for the relevant construction certificate is made.

Contract of Insurance (residential building work)

In the case of residential building work for which the Home Building Act 1989 requires there to be a contract of insurance in force in accordance with Part 6 of that Act, that such a contract of insurance is in force before any building work authorised to be carried out by the consent commences.

This clause does not apply:

- To the extent to which an exemption is in force under Clause 187 or 188 of the Environmental Planning and Assessment Regulation 2000, subject to the terms of any condition or requirement referred to in Clause 187(6) or 188(4) of that regulation, or

- To the erection of a temporary building.

Notification of Home Building Act 1989 Requirements

Residential building work within the meaning of the Home Building Act 1989 must not be carried out unless the appointed Principal Certifier for the development to which the work relates (not being Council) has given Council written notice of the following information:

- In the case of work for which a principal contractor is required to be appointed:

    - The name and licence number of the principal contractor, and

    - The name of the insurer by which the work is insured under Part 6 of that Act.

- In the case of work to be done by an owner-builder:

    - The name of the owner-builder, and

    - If the owner-builder is required to hold an owner-builder permit under that Act, the number of the owner-builder permit.

If arrangements for doing the residential building work are changed while the work is in progress so that the information notified becomes out of date, further work must not be carried out unless the appointed Principal Certifier for the development to which the work relates (not being Council) has given Council written notification of the updated information.

Landscaping

The provision and maintenance of landscaping shall be in accordance with the approved landscape plan containing Council’s approved development stamp including the engagement of a suitably qualified landscape consultant/ contractor for landscaping works. The landscape design shall incorporate a significant portion of native, low water demand plants consistent with BASIX requirements.

Conservation works to Raith’s gardens and grounds shall be included in the landscape works for the full site development.

Raith’s inner curtilage landscape shall be retained within the landscape management of the wider integrated development.

External Finishes

The external finishes shall be in accordance with the approved plans and the schedule of finishes submitted with this application. Any proposed alterations to these finishes are considered to be a modification to the development consent and require separate approval by Council.

Garbage Room

The garbage storage room identified on the approved plans shall:

- Be fully enclosed and shall be provided with a concrete floor (at least 75mm thick), with concrete or cement rendered walls coved to the floor, with a ramp to the doorway where necessary.

- Have the floor graded to a Sydney Water approved sewer connection incorporating a sump and galvanised grate cover or basket.

- Have coving at all wall and floor intersections

- Be finished with a smooth-faced non-absorbent material in a light colour and capable of being easily cleaned.

- Be provided with an adequate supply of hot and cold water mixed through a centralised mixing valve with hose cock.

- Have a self-closing door openable from within the room.

- Be constructed in such a manner to prevent the entry of vermin.

- Have adequate access arrangements with waste collection contractors.

- Be ventilated by:

- a mechanical exhaust ventilation system; or

- permanent, unobstructed natural ventilation openings having direct access to external air, and a total area of not less than one-twentieth (1/20th) of the floor area of the room.

Fencing

A 1.8 metre high fence shall be erected on the site’s boundary with 72 Fern Avenue (in consultation with the owner of this property) and between each required courtyard at the sole cost of the developer. ‘Colorbond’ style metal fences that face a public space are not permitted.

Switchboards/Utilities/Air Conditioning Units

Switchboards, air conditioning units, garbage storage areas and storage for other utilities shall not be attached to the front elevations of the building or side elevations that can be seen from a public place.

Driveway

The gradients of driveways and manoeuvring areas shall be designed in accordance with Australian Standard AS 2890.1 and AS 2890.2.

Driveways shall be constructed using decorative paving materials such as pattern stencilled concrete, coloured stamped concrete or paving bricks.  The finishes of the paving surfaces are to be non-slip and plain concrete is not acceptable.

All driveways in excess of 20 metres in length shall be separated from the landscaped areas by the construction of a minimum 150mm high kerb, dwarf wall or barrier fencing.

Deliveries and Ongoing Operations

Vehicles servicing the site shall comply with the following requirements:

a.	All vehicular entries and exits shall be made in a forward direction.

b.	All vehicles awaiting loading, unloading or servicing shall be parked on site and not on

adjacent or nearby public roads.

c.	All deliveries to the premises shall be made to the loading bay/s provided.

A traffic sign shall be placed adjacent to the driveway at the entrance of the property advising drivers of the above information.  Should the sign be damaged or removed, it shall be replaced within 48 hours.

Lighting

Illumination of the site is to be arranged to provide an appropriate level of lighting and in accordance with the requirements of Australian Standard 4282 (as amended) so as not to impact upon the amenity of the occupants of adjoining and nearby residential premises or traffic.

Graffiti Removal

In accordance with the environmental maintenance objectives of 'Crime Prevention Through Environmental Design', the owner/lessee of the building shall be responsible for the removal of any graffiti which appears on the buildings, fences, signs and other surfaces of the property within 48 hours of its application.

Unreasonable Noise, Dust and Vibration

The development, including operation of vehicles, shall be conducted so as to avoid the generation of unreasonable noise, dust or vibration and cause no interference to adjoining or nearby occupants. Special precautions must be taken to avoid nuisance in neighbouring residential areas, particularly from machinery, vehicles, warning sirens, public address systems and the like.

In the event of a noise related issue arising during construction, the person in charge of the premises shall when instructed by Council, cause to be carried out an acoustic investigation by an appropriate acoustical consultant and submit the results to Council. If required by Council, the person in charge of the premises shall implement any or all of the recommendations of the consultant and any additional requirements of Council to its satisfaction.

Engineering Design Works

The design of all engineering works shall be carried out in accordance with the requirements set out in Council’s ‘Engineering Design Guide for Development’ (as amended) and the applicable development control plan.

Rubbish/Recycling Bin Storage

The rubbish and recycling bins shall not be stored within vehicle parking, vehicle manoeuvring areas or landscaped areas.

The bin(s) shall only be stored in accordance with the approved plans.

Shoring and Adequacy of Adjoining Property

If the development referred to in this development consent involves an excavation that extends below the level of the base of the footings of a building on adjoining land, the person having the benefit of the development consent must at the person’s own expense:

- Protect and support the adjoining premises from possible damage from the excavation,

- Where necessary, underpin the adjoining premises to prevent any such damage.

This condition does not apply if the person having the benefit of the development consent owns the adjoining land or the owner of the adjoining land has given consent in writing to that condition not applying.

Rain Water Tank(s)

Rain water tank/s shall be installed on site for the collection and storage of stormwater for irrigation and reuse purposes (eg the flushing of toilets), in accordance with the approved plans.

Construction Certificate

Prior to the commencement of any works that require a construction certificate:

- the applicant shall appoint a Principal Certifier;

- the applicant shall obtain a construction certificate for the particular works; and

- when Council is not the Principal Certifier, the appointed Principal Certifier shall notify Council of their appointment no less than two days prior to the commencement of any works.

Aboriginal Cultural Significance

The site is not identified as being within an Aboriginal Archaeological Sensitivity Zone and does not include any identification or assessment of Aboriginal cultural significance. Assessment is limited to a due diligence archaeological assessment.

The following legislation and codes must be adhered to if Aboriginal objects are encountered during demolition and excavation:

- Part 6 of the National Parks and Wildlife Act 1974.

- Due Diligence Code of Practice for the Protection of Aboriginal Objects in NSW.

If any suspected human remains are discovered during any activity you must:

- Immediately cease all work in the vicinity and not further move or disturb the remains

- Notify the NSW Police and DPIE’s Environmental line on 131 555 as soon as practicable and provide details of the remains and their location.

- Not recommence works at that location unless authorised in writing by NSW Police and Heritage NSW

Additional archaeological assessment may be required prior to works continuing in the affected area/s based on the nature of the discovery.

Management and Supervision of Conservation Works

All conservation works are to be managed and supervised by a suitably qualified and experienced Heritage Consultant, who must provide input into the detailed design and supervise the works to minimise impacts to heritage values.  All work shall be carried out by suitably qualified tradespersons with practical experience in conservation and restoration of similar heritage items.

Protection of Raith house

Significant elements are to be adequately protected during the works from potential damage. Protection systems must ensure historic fabric is not damaged or removed.

PRIOR TO THE ISSUE OF A CONSTRUCTION CERTIFICATE

The following conditions of consent must be complied with prior to the issue of a construction certificate by either Campbelltown City Council or the appointed Principal Certifier.  All necessary information to comply with the following conditions of consent must be submitted with the application for a construction certificate.

Geotechnical Report

Prior to Council or the appointed Principal Certifier issuing a construction certificate, a geotechnical report prepared by a NATA registered lab shall be submitted which indicates that the land will not be subject to subsidence, slip, slope failure or erosion where excavation and/or filling exceeds 900mm in depth or identified as filled land.

Soil and Water Management Plan

Prior to Council or the appointed Principal Certifier issuing a construction certificate, a detailed soil and water management plan shall be submitted for approval.

Classification of Residential Lots (Development with dwelling construction)

Prior to the appointed Principal Certifier issuing a construction certificate for any dwellings approved under this consent, all proposed residential lots are to be individually classified in accordance with guidelines contained in the Australian Standard for Residential Slabs and Footings - AS2870.1996 (as amended).

All slabs and footings shall be designed in accordance with the relevant site classifications and recommendations resulting from a geotechnical investigation of the site. The designing structural engineer shall certify that the design of all slabs and footings is in accordance with the geotechnical investigation and soil classification for the site.

Stormwater Management Plan

Prior to Council or appointed Principal certifier issuing a construction certificate, a plan indicating all engineering details and calculations relevant to site regrading and the collection and disposal of stormwater from the site, buildings and adjacent catchment, shall be submitted for approval. The plan shall be consistent with the plan that is approved by Council in satisfaction of the Deferred Commencement conditions within this consent.

Floor levels of all buildings shall be a minimum of 150mm above the adjacent finished site levels. All proposals shall comply with Council’s ‘Engineering Design for Developments guide’ (as amended) and the applicable development control plan.

The stormwater pipeline in the Public way shall be RCP minimum Class 3, size of downstream pipeline shall not be less than size of upstream pipeline. Minimum pipe used in Public way shall be 375mm in diameter.

Dilapidation Report

Prior to Council or appointed Principal certifier issuing a construction certificate, the applicant shall submit a dilapidation report for all assets and buildings on lands that adjoin the subject works.

Security Bond for Heritage Conservation Work

Prior to the issue of any construction certificate, a security bond shall be lodged with Council for the full value of the required conservation work identified in the approved Conservation Works Schedule. The value of these works currently identified is $407,053.18, however the exact amount will be adjusted when the Conservation Works Schedule is updated in accordance with Schedule A of this consent and adjusted for indexation.

The security bond will be released when all heritage conservation works identified in the Conservation Works Schedule have been completed to the written satisfaction of the heritage consultant and Council’s Executive Manager Urban Centres.

Universal Design Features

Prior to the issue of a construction certificate for any residential flat building, the certifier shall be satisfied that the development will achieve a benchmark of 20% of the total apartments incorporating the Liveable Housing Guideline's silver level universal design features.

Noise Management

Prior to the release of any construction certificate for any approved dwelling, the certifier shall be satisfied that the construction certificate plans demonstrate compliance with the recommendations of the ‘Acoustical Report’ prepared by Koikas Acoustics, File Reference 4552R20210203mj74FernAvenueBradbury_DAV3 and dated 22 February 2021.

External Lighting Plan

An external lighting plan shall be prepared by a suitably qualified person and submitted to the Principal Certifying Authority.

Civil Works under S138 Roads Act

Prior to Council or appointed Principal certifier issuing any construction certificate, a S138 Roads Act (use ‘Land use application form S138’ available on Council website) application, including payment of plan design assessment and inspection fees shall be lodged with Campbelltown City Council. Plans shall include detailed design:

- Construction of new Layback and crossover, minimum clearance shall be supplied from existing street infrastructure to crossover and laybacks.

- New RCP pipeline (minimum Class 3, minimum 375mm diameter) in Fern Avenue,

- Connection details into existing Stormwater pit,

- Design of new stormwater pits in Fern Avenue

- Reconstruction and restoration of kerb & gutter,

- Reconstruction and restoration of any damaged layback & crossovers,

- Road pavement reconstruction, this shall be based on Geotechnical investigation for subgrade CBR value and ESA value from Council’s Engineering design for developments guide.

- Adjustment of public services infrastructure in road reserve to suit new design,

- Restoration of road reserve.

- Design submission and construction of any works in Public way that are required as a result of satisfactory approval of deferred commencement conditions from Council.

Design shall be in compliance with Council’s Engineering design for developments guide and Council’s Specifications for construction of Subdivisional road and drainage works. Detailed engineering plans for the proposed works shall be submitted to Council for assessment and approval. All works shall be carried out in accordance with Roads Act approval.

Utility Servicing Provisions

Prior to Council or the appointed Principal Certifier issuing a construction certificate, the applicant shall obtain a letter from both the relevant electricity authority and the relevant telecommunications authority stating that satisfactory arrangements have been made to service the proposed development.

Note: The applicant should also contact the relevant water servicing authority to determine whether the development will affect the authorities water or sewer infrastructure.

Section 94A Developer Contribution - Community Facilities and Services

Prior to Council or the appointed Principal Certifier issuing a Complying Development Certificate or a Construction Certificate (or where a Construction Certificate is not required, a Subdivision Certificate), the applicant shall provide a receipt for the payment to Council of a community facilities and services contribution in accordance with the provisions of the Campbelltown City Council Section 94A Development Contributions Plan.

For the purposes of calculating the required S94A contribution, where the value of the total development cost exceeds $100,000, the applicant is required to include with the application for the respective certificate, a report setting out a cost estimate of the proposed development in accordance with the following:

- where the value of the proposed development is greater than $100,000 but less than $500,000, provide a Cost Summary Report by a person who, in the opinion of the Council, is suitably qualified to provide a Cost Summary Report (Cost Summary Report Template 1). All Cost Summaries will be subject to indexation on a quarterly basis relative to the Consumer Price Index - All Groups (Sydney) where the contribution amount will be based on the indexed value of the development applicable at the time of payment; or

- where the value of the proposed development is $500,000 or more, provide a detailed development cost report completed by a quantity surveyor who is a registered member of the Australian Institute of Quantity Surveyors (Quantity Surveyors Estimate Report Template 2). Payment of contribution fees will not be accepted unless the amount being paid is based on a Quantity Surveyors Estimate Report (QS Report) that has been issued within 90 days of the date of payment. Where the QS Report is older than 90 days, the applicant shall provide an updated QS Report that has been indexed in accordance with clause 25J(4) of the Environmental Planning and Assessment Regulation 2000 to ensure quarterly variations in the Consumer Price Index All Group Index Number for Sydney have been incorporated in the updated QS Report.

Copies of the Cost Summary Report - Template 1 and the Quantity Surveyors Estimate Report - Template 2 are located under "Developer Contributions" on Council's web site (www.campbelltown.nsw.gov.au) or can be collected from Council's Planning and Environment Division during normal business hours.

On calculation of the applicable contributions, all amounts payable will be confirmed by Council in writing.

Payment of Section 94A Developer Contributions will only be accepted by way of Cash, Credit Card or Bank Cheque issued by an Australian bank.  Payment by any other means will not be accepted unless otherwise approved in writing by Council.

Note: This condition is only applicable where the total development value exceeds $100,000.

Telecommunications Infrastructure

a.	If the development is likely to disturb or impact upon telecommunications infrastructure, written confirmation from the service provider that they have agreed to proposed works must be submitted to the appointed Principal Certifier prior to the issue of a Construction Certificate or any works commencing, whichever occurs first; and

b.	The arrangements and costs associated with any adjustment to telecommunications infrastructure shall be borne in full by the applicant/developer.

Sydney Water

Prior to Council or the appointed Principal Certifier issuing a construction certificate, the approved plans must be submitted to Sydney Water via the Sydney Water Tap In service, to determine whether the development will affect any Sydney Water wastewater and water mains, stormwater drains and/or easements, and if any requirements need to be met.

An approval receipt will be issued if the building plans have been approved. The approval receipt shall be submitted to the appointed Principal Certifier prior to issue of a construction certificate.

The Sydney Water Tap In service can be accessed at www.sydneywater.com.au.

Remediation of Land

- The part of the site within Stage 3 that has been identified as contaminated is to be remediated to be suitable for ‘residential with minimal opportunity for soil access’ prior to the release of any construction certificate for that stage. The remediation is to be generally in accordance with the remediation action plan prepared by Raw Earth Environmental and dated April 2021 (report number RAP-BRAD-01).

- A Site Auditor shall be appointed for the project. The site auditor must be a person accredited under the Contaminated Land Management Act, 1997. Council shall be notified of the appointment of the site auditor at least 2 business days prior to the commencement of any remediation works. This notification requirement is in addition to the requirements of SEPP 55.

- The heritage listed buildings, vegetation and/or other features of the site are to be suitably protected throughout the remediation works. All contractors engaged in undertaking remediation works are to be briefed on the located and sensitivities of the site from a heritage perspective to reduce the risk of accidental damage.

- Development authorised by this consent shall not commence prior to the Site Auditor issuing a category “A1” site audit statement for the whole of Stage 3 specifying that it is suitable for ‘residential with minimal opportunity for soil access’.

- Any person having benefit of this consent may not replace a site auditor appointed under a condition of this consent without the approval of Council. The power for Council to approve the appointment of a new site auditor is a power created by this condition and is not a reference to a need for further development consent under the EP&A Act. Council may withhold approval under this condition unless it is satisfied that the previously appointed site auditor is unwilling or unable to continue servicing the project.

PRIOR TO THE COMMENCEMENT OF ANY WORKS

The following conditions of consent have been imposed to ensure that the administration and amenities relating to the proposed development comply with all relevant requirements.  These conditions are to be complied with prior to the commencement of any works on site.

Erosion and Sediment Control

Prior to the commencement of any works on the land, adequate/approved erosion and sediment control measures shall be fully installed/implemented.

Erection of Construction Sign

Prior to the commencement of any works on the land, signs must be erected in prominent positions on the site:

- Showing the name of the principal contractor (if any) for any building work and a telephone number on which that person may be contacted outside working hours

- Stating that unauthorised entry to the work site is prohibited

- Pollution warning sign promoting the protection of waterways (a digital copy is provided with this consent that can be printed, laminated and affixed to the site or a corflute sign is available for free pick up at Council’s administration office)

- Stating the approved construction hours in which all works can occur

- Showing the name, address and telephone number of the principal certifying authority for the work.

Any such signs are to be maintained while the building work, subdivision work or demolition work is being carried out, but must be removed when the work has been completed.

Toilet on Construction Site

Prior to the commencement of any works on the land, toilet facilities are to be provided, at or in the vicinity of the work site on which work involved in the erection or demolition of a building is being carried out, at the rate of one toilet for every 20 persons or part thereof.  Each toilet provided must be a standard flushing toilet and be connected to:

- A public sewer, or

- If connection to a public sewer is not practicable, to an accredited sewage management facility approved by Council, or

- If connection to a public sewer or an accredited sewage management facility is not practicable, to some other management facility approved by Council.

Trade Waste

Prior to the commencement of any works on the land, a trade waste facility shall be provided on-site to store all waste pending disposal.  The facility shall be screened, regularly cleaned and accessible to collection vehicles.

Vehicular Access during Construction

Prior to the commencement of any works on the land, a single vehicle/plant access to the site shall be provided, to minimise ground disturbance and prevent the transportation of soil onto any public road system. Single sized aggregate, 40mm or larger placed 150mm deep, extending from the kerb and gutter to the property boundary, shall be provided as a minimum requirement or utilise existing vehicular crossover

Public Property

Prior to the commencement of any works on site, the applicant shall advise Council of any damage to property which is controlled by Council which adjoins the site, including kerbs, gutters, footpaths, and the like.  Failure to identify existing damage may result in all damage detected after completion of the development being repaired at the applicant’s expense.

Demolition Works

Demolition works shall be carried out in accordance with the following:

- Prior to the commencement of any works on the land, a detailed demolition work plan designed in accordance with Clause 1.7.3 of Australian Standard AS 2601-2001 – The Demolition of Structures, prepared by a suitably qualified person with suitable expertise or experience, shall be submitted to and approved by the PCA and shall include the identification of any hazardous materials, method of demolition, precautions to be employed to minimise any dust nuisance and the disposal methods for hazardous materials.

- Prior to commencement of any works on the land, the demolition Contractor(s) licence details must be provided to Council.

- The handling or removal of any asbestos product from the building/site must be carried out by a NSW Work Cover licensed contractor irrespective of the size or nature of the works.  Under no circumstances shall any asbestos on site be handled or removed by a non-licensed person.  The licensed contractor shall carry out all works in accordance with NSW Work Cover requirements.

- An appropriate fence preventing public access to the site shall be erected for the duration of demolition works

- Immediately prior to the commencement of the demolition or handling of any building or structure that contains asbestos, the applicant shall request that the principal certifying authority attend the site to ensure that all appropriate safety measures are in place.  The applicant shall also notify the occupants of the adjoining premises and Workcover NSW prior to the commencement of any works.

Hoarding / Fence

Prior to the commencement of any works, a hoarding or fence must be erected between the work site and a public place if the work involved in the development is likely to cause pedestrian or vehicular traffic in a public place to be obstructed or rendered inconvenient, or if the building involves the enclosure of a public place in accordance with Work Cover requirements.

The work site must be kept lit between sunset and sunrise if it is likely to be hazardous to persons in the public place.

A separate land use application under Section 68 of the Local Government Act 1993 shall be submitted to and approved by Council prior to the erection of any hoarding on public land.

Fencing

An appropriate fence preventing public access to the site shall be erected for the duration of construction works.

DEVELOPMENT REQUIREMENTS DURING CONSTRUCTION

The following conditions of consent have been imposed to ensure that the administration and amenities relating to the proposed development comply with all relevant requirements. These conditions are to be complied with during the construction of the development on site.

Construction Work Hours

All work on site shall only occur between the following hours:

Monday to Friday	7.00 am to 6.00 pm

Saturday	8.00 am to 5.00 pm

Sunday and public holidays	No Work.

Erosion and Sediment Control

Erosion and sediment control measures shall be provided and maintained throughout the construction period, in accordance with the requirements of the manual – Soils and Construction (2004) (Bluebook), the approved plans, Council specifications and to the satisfaction of the principal certifying authority. The erosion and sedimentation control devices shall remain in place until the site has been stabilised and revegetated.

Note:  On the spot penalties up to $8,000 will be issued for any non-compliance with this requirement without any further notification or warning.

Work Zones

All loading, unloading and other activities undertaken during construction shall be accommodated on the development site.

Where it is not practical to load, unload or undertake specific activities on the site during construction, the provision of a ‘Work Zone’ external to the site may be approved by Council following an application being submitted to Council’s Traffic Unit outlining the proposal for the work zone.  The application is required to be made prior to the commencement of any works and is to include a suitable ‘Traffic / Pedestrian Management and Control Plan’ for the area of the work zone that will be affected. All costs of approved traffic/pedestrian control measures, including relevant fees, shall be borne by the applicant.

Protection of Existing Trees

During construction, no trees are to be cut down, lopped, destroyed or removed without the separate written approval of Council unless those trees are within three metres of the footprint of a building that has been approved by Council.

All trees that are to be retained are to be protected by fencing, firmly staked within the drip line/ canopy of the tree and maintained during the duration of the works.  The area within the fencing must not be used for stockpiling of any material, nor for vehicle or pedestrian convenience.

All useable trees and shrubs shall be salvaged for re-use, either in log form, or as woodchip mulch for erosion control or garden beds or site rehabilitation.  Non-salvable materials such as roots and stumps shall be disposed of to a waste management centre or other approved form.

Excavation and Backfilling

All excavations and backfilling associated with the approved works must be executed safely and in accordance with appropriate professional standards. All excavations must be properly guarded and protected to prevent them from being dangerous to life or property.

If an excavation associated with the approved works extends below the level of the base of the footings of a building on an adjoining allotment of land, the person causing the excavation to be made:

- Must preserve and protect the building from damage; and

- If necessary, must underpin and support the building in an approved manner, and

- Must at least 7 days before excavating below the level of the base of the footings of a building on an adjoining allotment of land, give notice of intention to do so to the owner of the adjoining allotment of land and furnish particulars of the excavation to the owner of the building being erected or demolished.

The owner of the adjoining allotment of land is not liable for any part of the cost of work carried out, whether carried out on the allotment of land being excavated or on the adjoining allotment of land.

Fill Compaction Requirements

Any filling carried out in accordance with this consent shall maintain a minimum requirement of 98 per cent standard compaction.

Any lot filling operations carried out in accordance with this consent shall be tested to establish the field dry density every 300mm rise in vertical height.  Test sites shall be located randomly across the fill site with 1 test per 500m2 (minimum 1 test per 300mm layer) certified by a qualified geotechnical engineer.

Fill Contamination

Any landfill used on the site is to be validated in accordance with the Environment Protection Authority’s guidelines for consultants reporting on contaminated sites.  The validation report shall state in an end statement that the fill material is suitable for the proposed use on the land.

Dust Nuisance

Measures shall be implemented to minimise wind erosion and dust nuisance in accordance with the requirements of the manual – ‘Soils and Construction (2004) (Bluebook).  Construction areas shall be treated/regularly watered to the satisfaction of the appointed Principal Certifier.

Excess Material

All excess material is to be removed from the site. The spreading of excess material or stockpiling on site will not be permitted without prior written approval from Council.

Earth Works/Filling Works

All earthworks, including stripping, filling, and compaction shall be:

- Undertaken in accordance with Council's 'Specification for Construction of Subdivisional Roads and Drainage Works' (as amended), AS 3798 'Guidelines for Earthworks for Commercial and Residential Development' (as amended), and approved construction drawings;

- Supervised, monitored, inspected, tested and reported in accordance with AS 3798 Appendix B 2(a) Level 1 and Appendix C by a NATA registered laboratory appointed by the applicant. Two collated copies of the report and fill plan shall be forwarded to Council; and

- Certified by the laboratory upon completion as complying, so far as it has been able to determine, with Council's specification and AS 3798.

Public Safety

Any works undertaken in a public place are to be maintained in a safe condition at all times. In this regard, the applicant shall ensure that a safe, fully signposted passage, minimum 1.2m wide, separated from the works and moving vehicles by suitable barriers and lights, is maintained for pedestrians, including disabled pedestrians, at all times. The applicant shall ensure that traffic control is undertaken and maintained strictly in accordance with AS 1742.3, the requirements set out in the State Roads Authority manual "Traffic Control at Work Sites" (as amended), all applicable Traffic Management and/or Traffic Control Plans. The contractor shall also ensure that all Work Cover Authority requirements are complied with. Council may at any time and without prior notification make safe any such works that be considered to be unsafe, and recover all reasonable costs incurred from the applicant.

Compliance with Council Specification

All design and construction work shall be in accordance with:

- Council's specification for Construction of Subdivisional Road and Drainage Works (as amended);

- Council’s Engineering Design for Developments guide;

c.	Campbelltown (Sustainable City) DCP - Volumes 1 (as amended);

d.	‘Soils and Construction (2004) (Bluebook); and

e.	Relevant Australian standards and State Government publications.

Footpath

The footpath adjoining the subject land shall be regraded, topsoiled and returfed in accordance with levels to be obtained from Council, and concrete foot path/pavers shall be reconstructed in accordance with Council's Specification for Construction of Subdivisional Road and Drainage Works (as amended), Council’s Engineering Design for Developments guide and with the design requirements of the Campbelltown (Sustainable City) DCP - Volumes 1 (as amended. The footpath formation may need to be extended beyond the site boundary to provide an acceptable transition to existing footpath levels.

Associated Works

The applicant shall undertake any works external to the development, that are made necessary by the development, including additional road and drainage works or any civil works directed by Council, to make a smooth junction with existing work.

Redundant Laybacks

All redundant layback/s shall be reinstated to conventional kerb and gutter to Council's Specification for Construction of Subdivisional Road and Drainage Works (as amended) and with the design requirements of the Campbelltown (Sustainable City) DCP - Volumes 1 (as amended).

Completion of Construction Works

Unless otherwise specified in this consent, all construction works associated with the approved development shall be completed within 12 months of the date of the notice of the intention to commence construction works under Section 81A of the Act.

In the event that construction works are not continually ongoing, the applicant shall appropriately screen the construction site from public view with architectural devices and landscaping to Council's written satisfaction.

PRIOR TO THE ISSUE OF AN OCCUPATION CERTIFICATE

The following conditions of consent must be complied with prior to the issue of an occupation certificate by the appointed Principal Certifier.  All necessary information to comply with the following conditions of consent must be submitted with the application for an occupation certificate.

PRIOR TO THE ISSUE OF A SUBDIVISION CERTIFICATE

The following conditions of consent must be complied with prior to the issue of a subdivision certificate by either Campbelltown City Council or the appointed Principal Certifier. All necessary information to comply with the following conditions of consent must be submitted with the application for a subdivision certificate.

Completion of Conservation Works

Conservation works to Raith house shall commence in conjunction with the development of the site, and shall be fully completed prior to the issue of any occupation certificate or subdivision certificate for any stage of the development, and shall be fully funded by the person having benefit of this development consent.

In this regard, the written satisfaction of the heritage consultant and Council’s Executive Manager Urban Centres shall be obtained in respect of the heritage conservation works prior to the issue of any occupation certificate or subdivision certificate for any stage of the development.

Photographic archival records shall be lodged with Council at the completion of conservation works.

Security Bond for Perpetual Maintenance of Heritage Item

Prior to the issue of any occupation certificate or any subdivision certificate for any stage of the development, a security bond shall be lodged with Council for a sum representing 20 years of indexed cyclical costs associated with the perpetual maintenance of Raith house. The exact sum shall reflect the cyclical costs identified in the amended Conservation Works Schedule required under Schedule A of this consent.

The security bond will be released when all allotments associated with the approved development have been created. The staged release of the security bond may be negotiated as stages of the development are completed.

Funding Arrangements for Perpetual Maintenance of Raith House

Prior to the issue of any occupation certificate or subdivision certificate for any stage of the development, a restriction shall be registered on the title of the land that:

- Creates a sinking fund for the perpetual maintenance of Raith house in accordance with the Conservation Management Plan approved under this consent.

- Specifies that the owner’s corporation shall be responsible for all financial contributions towards the ongoing maintenance of Raith house.

- Apportions the indexed cyclical costs to each allotment.

- Specifies that the developer/owner of the residue lot/undeveloped land is responsible for the balance of the cost of ongoing maintenance required under the Conservation Management Plan that is not covered by the owners of the new allotments, until all approved allotments are created.

Until such time as an owner’s corporation/community title scheme is created on the property that is linked to the approved Conservation Management Plan, the owner of the site shall be responsible for all ongoing maintenance works.

Evidence of the creation of the sinking fund referred to above shall be provided to Council prior to the issue of any occupation/subdivision certificates.

Subdivision of Raith House

No subdivision certificate that severs or separates Raith House from a Community Title scheme that finances all of the ongoing maintenance of Raith House under the approved Conservation Management Plan and Conservation Works Schedule shall be approved.

Section 73 Certificate

Prior to the appointed Principal Certifier issuing an occupation certificate, a Section 73 Compliance Certificate under the Sydney Water Act 1994 must be obtained from Sydney Water Corporation. Early application for the certificate is suggested as this can also impact on other services and building, driveway or landscape design.

Application must be made through an authorised Water Servicing Coordinator.

For help either visit www.sydneywater.com.au > Building and developing > Developing your Land > Water Servicing Coordinator or telephone 13 20 92.

The Section 73 Certificate must be submitted to the appointed Principal Certifier prior to the issue of an occupation certificate.

Structural Engineering Certificate

Prior to the appointed Principal Certifier issuing an occupation certificate, the submission of a certificate from a practising structural engineer certifying that the building has been erected in compliance with the approved structural drawings, the relevant Standards Association of Australia Codes and is structurally adequate.

Linen Plan Registration

Prior to the appointed Principal Certifier issuing an occupation Certificate, the plan of subdivision approved under this development application shall be registered with Land and Property Information NSW.

Maintenance Security Bond

Prior to the appointed Principal Certifier issuing an Occupation Certificate, a maintenance security bond of 5% of the contract value or $5000, whichever is the greater, shall be lodged with Council.  This security will be held in full for a period of six months from the date of release of the Occupation Certificate.

The applicant is responsible for applying to Council for the return of the bond.  Should no request be made to Council for the return of the bond six years after the issue of the subdivision certificate, Council will surrender the bond to the Office of State Revenue.

Classification of Residential Lots

Prior to Council issuing a subdivision certificate, all proposed residential lots are to be individually classified in accordance with guidelines contained in the Australian Standard for Residential Slabs and Footings - AS2870.1996 (as amended).

Final Inspection – Works as Executed Plans

Prior to the principal certifying authority issuing a subdivision certificate, the applicant shall submit to Council the following documents:

a.	Two complete sets of fully marked up and certified work as executed plans in accordance with Council's Specification for Construction of Subdivisional Road and Drainage Works (as amended) and with the design requirements of the Campbelltown (Sustainable City) DCP - Volumes 1 (as amended) and one additional separate fully marked up copy of the plan sheet(s) and the line marking/signposting plan(s).

b.	Two copies of lot classification reports, geotechnical stability reports, dispersion tests, earthworks and fill placement reports, concrete core tests, sub grade and pavement density reports, structural and all other testing undertaken.

c.	Two copies of all compliance certificates in accordance with consent authority requirements, including supply of pipes and precast units, supply of sub-base material, supply of base course material, supply of concrete, and supply of bituminous materials.

All reports/certificates shall be prepared by a N.A.T.A. registered laboratory or qualified engineer in accordance with Council's Specification for Construction of Subdivisional Road and Drainage Works (as amended) and with the design requirements of the Campbelltown (Sustainable City) DCP - Volumes 1 (as amended) and shall list the relevant compliance standard(s) and certify that the whole of the area of works or materials tested comply with the above specification.  All reports/certificates shall be complete, fully referenced, clearly indicate the area or material tested, the location and required/actual values of all tests and retesting, and be collated and suitably bound.

Engineering Documentation

Prior to Council or appointed Principal Certifier issuing an Occupation Certificate, the applicant shall submit to Council the following documents:

a.	Two copies of geotechnical stability reports, dispersion tests, earthworks and fill placement reports, concrete core tests, sub grade, subbase, base and pavement density reports, structural compliance reports,

b.	Two copies of all compliance certificates, including supply of pipes and precast units, supply of subgrade, sub-base material, supply of base course material, supply of concrete, and supply of bituminous materials.

All reports/certificates shall be prepared by a N.A.T.A. registered laboratory or qualified engineer in accordance with Council's Specification for Construction of Subdivisional Road and Drainage Works (as amended) and with the design requirements detailed in the Campbelltown City Council Engineering Design for Development (as amended) and shall list the relevant compliance standard(s) and certify that the whole of the area of works or materials tested comply with the above specification. All reports/certificates shall be complete, fully referenced, clearly indicate the area or material tested, the location and required/actual values of all tests and retesting, and be collated and suitably bound.

Restoration of Public Roads

Prior to the appointed Principal Certifier issuing an Occupation certificate, any adjustments to public utilities, required as a result of the development, shall be completed to the satisfaction of the relevant authority and at the applicant's expense.

Public Utilities

Prior to the appointed Principal Certifier issuing an occupation certificate, any adjustments to public utilities, required as a result of the development, shall be completed to the satisfaction of the relevant authority and at the applicant's expense.

Service Authorities

To ensure that an adequate level of services and infrastructure is provided to this development, prior to the appointed Principal Certifier issuing an Occupation Certificate the following is required:

- Energy supplier – A Notice of Arrangement for the provision of distribution of electricity from Endeavour Energy to service the proposed development

- Telecommunications – Evidence demonstrating that satisfactory arrangements have been made with a telecommunications carrier to service the proposed development

- Gas supplier (if relevant)- Evidence demonstrating that satisfactory arrangements have been made with a gas supplier to service the proposed development; and

- Water supplier – A Section 73 Compliance Certificate demonstrating that satisfactory arrangements have been made with a water supply provider to service the proposed development.

All construction work shall conform to the relevant authorities’ specifications.

The final seal shall be deferred pending installation of all services.  In this regard the applicant shall provide a temporary seal and lodge with Council as security, the amount to be determined by Council, to cover the cost of trench restoration by Council and the placement of the final asphaltic concrete seal.

Lot/House Numbers

Prior to the appointed principal certifier issuing an occupation/subdivision certificate all lot/house numbers shall be stencilled onto the kerb at appropriate locations with black letters/numbers 75mm high on a white background using approved pavement marking grade paint.

For all new additional lots created, please contact Council’s Land Information Unit on 4645 4465 to ensure the correct house number is stencilled.

BASIX

Prior to the appointed principal certifier issuing an occupation certificate, completion of all requirements listed in the relevant BASIX certificate for the subject development shall be completed/installed.

Creation of Allotments for Attached Dwellings

Prior to the issue of an occupation certificate for any attached dwelling, the allotments that that the attached dwelling would be situated upon is required to be created by registration of the approved subdivision with NSW Land Registry Services.

Release of any subdivision certificates for attached dwellings shall not occur until all dwellings that are the subject of the subdivision certificate have reached lockup stage.

Noise Management

Prior to the release of any occupation certificate for any approved dwelling, the certifier shall be satisfied that the dwelling has been constructed in compliance with the recommendations of the ‘Acoustical Report’ prepared by Koikas Acoustics, File Reference 4552R20210203mj74FernAvenueBradbury_DAV3 and dated 22 February 2021.

Council Fees and Charges

Prior to the appointed Principal Certifier issuing an Occupation certificate, the applicant shall obtain written confirmation from Council that all applicable Council fees and charges associated with the development have been paid in full.  Written confirmation will be provided to the applicant following Council's final inspection and satisfactory clearance of the public area adjacent the site.

Compliance Certificate

All the works on public area in relation to the development shall be completed as per the Council approved plans. A compliance certificate, approving the works, shall be obtained from Council prior to the appointed principal certifier issuing an Occupation Certificate.

Public Indemnity Insurance – Onsite Waste Collection

The applicant to the development application indemnifies Council and its contractors and agents against any claims, proceedings, actions or demands arising from or in relation to any damage howsoever caused to the road surface, paving or drainage within the Development by the operation by Council or its contractors or agents in the collection of domestic waste except to the extent that such damage results from any misconduct or negligent act or omission of Council or its contractors or agents.

Prior to the issue of an occupation certificate, the applicant shall provide Council with a copy of its public liability insurance policy valid for 12 months to satisfy Council that in the event that such a claim arises, a public liability insurance policy is in place to respond to any claim arising. Each year the body corporate must furnish Council with a copy of its renewed public liability insurance policy valid for the next 12 months to satisfy Council that in the event that such a claim arises, a public liability insurance policy is in place to respond to any claim arising.

Positive Covenant

The applicant shall create positive covenant and appropriate restriction on the use of land under Section 88B of the Conveyancing Act over the On-Site Detention facility prior to the appointed principal certifier issuing an occupation certificate.

The applicant shall liaise with Council regarding the required wording. The authority empowered to release, vary or modify these restrictions on the use of land shall be the Council of the City of Campbelltown. The cost and expense of any such release, variation or modification shall be borne by the person or corporation requesting the same in all respects.

ADVISORY NOTES

The following information is provided for your assistance to ensure compliance with the Environmental Planning and Assessment Act 1979, Environmental Planning and Assessment Regulation 2000, other relevant Council Policy/s and other relevant requirements.  This information does not form part of the conditions of development consent pursuant to Section 4.17 of the Act.

Advice 	Environmental Planning and Assessment Act 1979 Requirements

The Environmental Planning and Assessment Act 1979 requires you to:

a.	Obtain a construction certificate prior to the commencement of any works.  Enquiries regarding the issue of a construction certificate can be made to Council’s Customer Service Centre on 4645 4608.

b.	Nominate a Principal Certifier and notify Council of that appointment prior to the commencement of any works.

c.	Give Council at least two days notice prior to the commencement of any works.

d.	Have mandatory inspections of nominated stages of the construction inspected.

e.	Obtain an occupation certificate before occupying any building or commencing the use of the land.

Advice 	Tree Preservation Order

To ensure the maintenance and protection of the existing natural environment, you are not permitted to ringbark, cut down, top, lop, remove, wilfully injure or destroy a tree outside three metres of the building envelope unless you have obtained prior written consent from Council.  Fines may be imposed if you choose to contravene Council’s Tree Preservation Order.

A tree is defined as a perennial plant with self supporting stems that are more than three metres or has a trunk diameter more than 150mm measured one metre above ground level, and excludes any tree declared under the NSW Biosecurity Act 2015 or included within the NSW Governments Greater Sydney Strategic Management Plan 2017-2022.

Advice 	Provision of Equitable Access

Nothing in this consent is to be taken to imply that the development meets the requirements of the Disability Discrimination Act 1992 (DDA1992) or Disability (Access to Premises – Buildings) Standards 2010 (Premises Standards).

Where a Construction Certificate is required for the approved works, due regard is to be given to the requirements of the Building Code of Australia (BCA) & the Premises Standards. In this regard it is the sole responsibility of the certifier, building developer and building manager to ensure compliance with the Premises Standards.

Where no building works are proposed and a Construction Certificate is not required, it is the sole responsibility of the applicant and building owner to ensure compliance with the DDA1992.

Advice 	Smoke Alarms

All NSW residents are required to have at least one working smoke alarm installed on each level of their home. This includes owner occupier, rental properties, relocatable homes and any other residential building where people sleep.

The installation of smoke alarms is required to be carried out in accordance with AS 3786. The licensed electrical contractor is required to submit to the appointed Principal Certifier a certificate certifying compliance with AS 3000 and AS 3786.

Advice 	Buried Waste

Should buried materials/wastes or the like be uncovered during the excavation of footings or trenches on site works, Council is to be contacted immediately for advice on the treatment/removal methods required to be implemented.

Advice 	Covenants

The land upon which the subject building is to be constructed may be affected by restrictive covenants.  Council issues this approval without enquiry as to whether any restrictive covenant affecting the land would be breached by the construction of the building, the subject of this permit.  Persons to whom this permit is issued rely on their own enquiries as to whether or not the building breaches any such covenant.

Advice 	Inspection within Public Areas

All works within public areas are required to be inspected at all stages of construction and approved by Council prior to the principal certifying authority releasing the Occupation Certificate.

Advice 	Adjustment to Public Utilities

Adjustment to any public utilities necessitated by the development is required to be completed prior to the occupation of the premises and in accordance with the requirements of the relevant Authority.  Any costs associated with these adjustments are to be borne by the applicant.

Advice 	Linen Plan Checking Fee

Where Council is the principal certifying authority a linen plan checking fee is payable on submission of the linen plan of subdivision to Council. The exact amount will be calculated at the rate applicable at the time of release of the linen plans for each lot of the subdivision including any residue lots.

Advice 	Salinity

Please note that Campbelltown is an area of known salinity potential.  As such any salinity issues should be addressed as part of the construction certificate application. Further information regarding salinity management is available within Campbelltown (Sustainable City) DCP - Volumes 1 (as amended) and Council’s Engineering Design for Developments guide.

Advice 11.	Asbestos Warning

Should asbestos or asbestos products be encountered during construction or demolition works you are advised to seek advice and information prior to disturbing the material. It is recommended that a contractor holding an asbestos-handling permit (issued by Work Cover NSW), be engaged to manage the proper disposal and handling of the material. Further information regarding the safe handling and removal of asbestos can be found at:

www.environment.nsw.gov.au

www.nsw.gov.au/fibro

www.adfa.org.au

www.workcover.nsw.gov.au

Alternatively, call Work Cover Asbestos and Demolition Team on 8260 5885.

Advice 12.	Rain Water Tank

It is recommended that water collected within any rainwater tank as part of the development be limited to non-potable uses.  NSW Health recommends that the use of rainwater tanks for drinking purposes not occur where a reticulated potable water supply is available.

Advice 13.	Dial before you Dig

Underground assets may exist in the area that is subject to your application. In the interests of health and safety and in order to protect damage to third party assets please contact Dial before you dig at www.1100.com.au or telephone on 1100 before excavating or erecting structures (This is the law in NSW). If alterations are required to the configuration, size, form or design of the development upon contacting the Dial before you dig service, an amendment to the development consent (or a new development application) may be necessary. Individuals owe asset owners a duty of care that must be observed when working in the vicinity of plant or assets. It is the individual’s responsibility to anticipate and request the nominal location of plant or assets on the relevant property via contacting the Dial before you dig service in advance of any construction or planning activities.

Advice 14.	Bonds and Bank Guarantees

All bonds are to be provided in the form of a written Bank Guarantee from an Australian Banking Institution. Bonds will not be accepted in any other form or from any other institution.

Advice 15.	Telecommunications Act 1997 (Commonwealth)

Telstra (and its authorised contractors) are the only companies that are permitted to conduct works on Telstra’s network and assets. Any persons interfering with a facility or installation owned by Telstra is committing an offence under the Criminal Code Act 1995 (Cth) and is liable for prosecution.

Furthermore, damage to Telstra’s infrastructure may result in interruption to the provision of essential services and significant costs. If you are aware of any works or proposed works which may affect or impact on Telstra’s assets in any way, you are required to contact: Telstra’s Network Integrity Team on phone number 1800 810 443.

END OF CONDITIONS