2018SSW018: RECOMMENDED CONDITIONS OF CONSENT

ATTACHMENT 1: Conditions of Approval

CONDITIONS:

The following conditions have been imposed to achieve the objectives of the relevant planning instruments and policies:

A.	THE DEVELOPMENT

Approved Plans

- Development the subject of this determination notice must be carried out strictly in accordance with the following plans/reports marked, except where modified by the undermentioned conditions.

| Plan Name | Plan Number | Rev | Date | Prepared By |
| --- | --- | --- | --- | --- |
| Floor Plans – Location and Site | 857/DA/001 | D | 19/09/2019 | VT Architects |
| Floor Plan – Roof | 857/DA/002 | D | 19/09/2019 | VT Architects |
| Floor Plans – Lower and Ground | 857/DA/003 | D | 01/10/2019 | VT Architects |
| Floor Plan – Main Shrine | 857/DA/004 | D | 01/10/2019 | VT Architects |
| Floor Plan – WC Block & Kitchen | 857/DA/005 | D | 19/09/2019 | VT Architects |
| Demolition Plan | 857/DA/201 | D | 01/10/2019 | VT Architects |
| Alteration & Addition to Existing Dwelling | 857/DA/202 | D | 01/10/2019 | VT Architects |
| Elevations – North South East West | 857/DA/101 | E | 20/01/2020 | VT Architects |
| Site Section & Front Entrance Elevation | 857/DA/102 | E | 20/01/2020 | VT Architects |
| Schedule of Finishes | 857/DA/060 | A | 01/03/2018 | VT Architects |
| Perspective View | 857/DA/070 | A | 01/03/2018 | VT Architects |
| Landscape Concept | 4905 1 of 1 | - | 01/11/2017 | Monaco Designs |
| Overall Plan | 2706H 1 of 4 | D | 13/03/2019 | NiTmA Consulting |
| Drainage Plan Part 1 of 2 | 2706H 2 of 4 | D | 13/03/2019 | NiTmA Consulting |
| Drainage Plan Part 2 of 2 | 2706H 3 of 4 | D | 13/03/2019 | NiTmA Consulting |
| Basin and Head Wall Details | 2706H 4 of 4 | D | 13/03/2019 | NiTmA Consulting |

| Report Name | Date | Reference | Prepared By |
| --- | --- | --- | --- |
| Plan of Management | 09/11/2018 | 857 Rev. B | VT Architects |
| Aboriginal Cultural Heritage Assessment | January 2019 | Version 2 | Streat Archaeological Services |
| Due Diligence Aboriginal Archaeological Assessment | May 2018 | - | Streat Archaeological Services |
| Noise Impact Assessment | 15/11/2018 | R160627R1 Rev. 3 | Rodney Stevens Acoustics |
| Stage 1 Preliminary Site Investigation | August 2016 | EBG-02552 | EBG Environmental Geoscience |
| Traffic and Parking Impact Report | April 2019 | A1413964N 1d | ML Traffic Engineers |
| Overland Flood Assessment | July 2018 | Revision 1 | Catchment Simulation Solutions |
| Wastewater Management Plan | 06/09/2017 | 1816-002 | Whitehead & Associates |
| Servicing Report | 06/09/2017 | SY170553 Issue 03 | ACOR Consultants |
| Access Report | 18/09/2017 | 6994 Rev. 1 | AED Group |
| Preliminary Salinity Risk Assessment | 04/09/2017 | 1816-002 | Whitehead & Associates |
| BCA Assessment Report | 18/09/2017 | 6994 Rev. 1 | AED Group |
| Carpark Certification | March 2019 | A14139642N 1c | ML Traffic Engineers |

Works at no cost to Council

- All roadworks, drainage works and dedications, required to effect the consented development shall be undertaken at no cost to Liverpool City Council.

Comply with EP&A Act

- The requirements and provisions of the Environmental Planning & Assessment Act 1979 and Environmental Planning & Assessment Regulation 2000, must be fully complied with at all times.

Failure to comply with these legislative requirements is an offence and may result in the commencement of legal proceedings, issuing of ‘on-the-spot’ penalty infringements or service of a notice and order by Council.

Prescribed condition

- In accordance with Section 4.17(11) of the Environmental Planning & Assessment Act 1979 and clause 98 of the Environmental Planning & Assessment Regulation 2000, it is a prescribed condition that all building work must be carried out in accordance with the applicable Performance Requirements of the National Construction Code. Compliance with the Performance Requirements can only be achieved by:

- Complying with the Deemed to Satisfy Provisions, or

- Formulating an Alternative Solution, which complies with the Performance Requirements or is shown to be at least equivalent to the Deemed to Satisfy Provision, or a combination of (a) and (b).

B.	PRIOR TO ISSUE OF A CONSTRUCTION CERTIFICATE

The following conditions are to be complied with or addressed prior to issue of a Construction Certificate by the Principal Certifying Authority:

Fee Payments – Land Development

- Unless otherwise prescribed by this consent, all relevant fees or charges must be paid. Where Council does not collect these payments, copies of receipts must be provided. For the calculation of payments such as Long Service Levy, the payment must be based on the value specified with the Development Application/Construction Certificate. The following fees are applicable and payable:

- Damage Inspection Fee – relevant where the cost of building work is $20,000 or more, or a swimming pool is to be excavated by machinery,

- Fee associated with Application for Permit to Carry Out Work Within a Road, Park and Drainage Reserve, and

- Long Service Levy payment is applicable on building work having a value of $25,000 or more, at the rate of 0.35% of the cost of the works.  The required Long Service Levy payment, under the Building and Construction Industry Long Service Payments Act 1986, is to be forwarded to the Long Service Levy Corporation or the Council, prior to the issuing of a Construction Certificate, in accordance with Section 6.8 of the Environmental Planning & Assessment Act 1979.

These fees are reviewed annually and will be calculated accordingly.

Provision of Services

- Written clearance from Endeavour Energy, stating that electrical services have been made available to the development or that arrangements have been entered into for the provision of services to the development must be submitted to the PCA.

- The applicant is to arrange with the appropriate service provider for any above ground service riser or access point to be constructed clear of any proposed or existing pedestrian footways, and if possible, located in recessed unobtrusive locations. Should any service provider require and/or insist the applicant/developer build a service riser that would create an obstruction and pose a potential safety hazard, then the applicant/developer should refer the request to Council for negotiation directly with the Service Network Authority.

Access

- Access must be provided to the buildings for people with a disability in accordance with the relevant requirements of the Building Code of Australia, Disability (access to Premises – Buildings) Standard 2010 and Australian Standard – AS1428.1 (2009), Design for Access and Mobility – General requirements for new building work, to the satisfaction of the Certifying Authority.

Substation

- Should a Pad-mount Electrical Substation be required and is required to be located outside the building envelope, the location and any associated fire separation walls must comply with Endeavour Energy Substation Design Instruction Document No SDI 104 (Current Version).

Notification

- The certifying authority must advise Council, in writing of:

- The name and contractor licence number of the licensee who has contracted to do or intends to do the work, or

- The name and permit of the owner-builder who intends to do the work.

If these arrangements are changed, or if a contact is entered into for the work to be done by a different licensee, Council must be immediately informed.

Fire Safety - Cladding

- For all Buildings of Type A and B construction having finishes or Claddings other than concrete or masonry, a fire safety report prepared by an accredited C10 fire engineer, must be submitted to the Principal Certifying Authority prior to issue of a construction certificate, demonstrating that the proposed external wall Cladding material and system for the building complies with the NCC and relevant Australian Standards. The fire safety report is to include evidence of suitability of all proposed external wall Cladding materials as per clause A2.2 of the NCC.

Overland Flow

- The proposed development shall not have impact on the existing overland flow from adjoining properties.

- The post-development peak flow leaving the site shall not be greater than the pre-development flows as demonstrated in the Overland Flood Assessment prepared by Catchment Simulation Solutions dated July 2018.

On-Site Sewage Management System

- An application for Approval to Install an On-site Sewage Management System pursuant to Section 68 of the Local Government Act is to be submitted to Council for consideration and approval. The application is to be accompanied by a Waste Water Report prepared by a suitably qualified consultant, specifications of the proposed system and NSW Health accreditation details of proposed system.

Recommendations of acoustic report

- The recommendations provided in the approved acoustic report titled Noise Impact Assessment, prepared by Rodney Stevens Acoustics (Report Number R160627R1, Revision 3, dated 15 November 2018)  shall be implemented and incorporated into the design and construction of the development and be shown on plans accompanying the Construction Certificate application.

The construction methodology and plans accompanying the Construction Certificate application shall be assessed and certified in writing by a suitably qualified acoustic consultant to verify conformance with the requirements of the aforementioned acoustic report. The written certification from the suitably qualified acoustic consultant shall be submitted to and approved by the Principal Certifying Authority (PCA) prior to issue of the Construction Certificate.

Note: ‘Suitably qualified acoustic consultant’ means a consultant who possesses the qualifications to render them eligible for membership of the Australian Acoustical Society or employed by an Association of Australasian Acoustical Consultants (AAAC) member firm.

Construction Management Plan

- Prior to issue of a Construction Certificate, a Construction Environmental Management Plan (CEMP) for the development must be provided to the Principal Certifying Authority for approval. The environmental site management measures must remain in place and be maintained throughout the period of the development. The CEMP must address all environmental aspects of the development’s construction phases, and include, where relevant, but not be limited to, the following:

- Asbestos Management Plan;

- Project Contact Information;

- Site Security Details;

- Timing and Sequencing Information;

- Site Soil and Water Management Plan;

- Noise and Vibration Control Plan;

- Dust Control Plan;

- Air Monitoring;

- Odour Control Plan;

- Health and Safety Plan;

- Waste Management Plan;

- Incident management Contingency; and

- Unexpected Finds Protocol.

The CEMP must be kept on site for the duration of the works and must be made available to Council Officers upon request.

S138 Roads Act – Minor Works in the public road

- Prior to the issue of a Construction Certificate a S138 Roads Act application/s, including payment of fees shall be lodged with Liverpool City Council, as the Roads Authority for any works required in a public road.  These works may include but are not limited to the following:

- Vehicular crossings (including kerb reinstatement of redundant vehicular crossings)

- Road opening for utilities and stormwater (including stormwater connection to Council infrastructure)

- Road occupancy or road closures

All works shall be carried out in accordance with the Roads Act approval, the development consent including the stamped approved plans, and Liverpool City Council’s specifications.

S138 Roads Act – Roadworks requiring approval of civil drawings

- Prior to the issue of a Construction Certificate for building or subdivision works the Certifying Authority shall ensure that a S138 Roads Act application, including the payment of application and inspection fees, has been lodged with Liverpool City Council (being the Roads Authority under the Roads Act), for provision of the construction of road shoulder, kerb and gutter and footpath in Dwyer Road.

Engineering plans are to be prepared in accordance with the development consent, Liverpool City Council’s Design Guidelines and Construction Specification for Civil Works, Austroad Guidelines and best engineering practice.

Note – Where Liverpool City Council is the Certifying Authority for the development the Roads Act approval for the above works may be issued concurrently with the Construction Certificate.

Access, Car Parking and Manoeuvring – General

- Prior to the issue of a Construction Certificate the Certifying Authority shall ensure that vehicular access, circulation, manoeuvring, pedestrian and parking areas associated with the subject development are in accordance with AS 2890.1, AS2890.2, AS2890.6 and Liverpool City Council’s Development Control Plan.

- A detailed design plan showing proposed improvements, including localised widening at the driveway crossings and pavement resurfacing of the section fronting the site (both sides), repainting of existing linemarking is to be submitted to Traffic and Transport Section for review and approval

- Detailed design plans for the access driveways and car park including swept path analysis, line markings and sign posting in accordance with the DCP and AS2890 is to be submitted to Traffic and Transport Section for review and approval.  This is to include vehicle passing bays along the access route, and detailed design of traffic management measures such as type “B” treatment for the access point on Dwyer Road fronting the site, and lighting according to AS:1158 shall be provided along the Access route from Dwyer Road to the proposed place of worship.

Construction Traffic Management Plan

- A Construction Traffic Management Plan (CTMP) is to be submitted to Liverpool City Council’s Traffic & Transport Section for review and endorsement. The CTMP is to be prepared by a qualified project manager/engineer.  The construction activities are not to commence prior to Council endorsing the CTMP.

All construction vehicles must enter and exit in forward direction, and no construction materials are to be stored on affected road and footpath reserves.

The construction sites must install shakers to prevent mud spilling from the construction sites being transported onto the road network.  Any spillage on the public road network must be cleaned as soon as possible.

Retaining Walls on Boundary

- All retaining walls shall be of masonry construction and must be wholly within the property boundary, including footings and agricultural drainage lines.  Construction of retaining walls or associated drainage works along common boundaries shall not compromise the structural integrity of any existing structures.

Where a retaining wall exceeds 600mm in height, the wall shall be designed by a practicing structural engineer and a construction certificate must be obtained prior to commencement of works on the retaining wall.

On-site Detention

- On-Site Detention shall be provided generally in accordance with the concept plan/s lodged for development approval, prepared by Nitma Consulting, reference number 2706H, revision D, dated 13/03/2019.

The proposed development and stormwater drainage system shall be designed to ensure that stormwater runoff from upstream properties is conveyed through the site without adverse impact on the development or adjoining properties.

Engineering plans and supporting calculations for the on-site detention system are to be prepared by a suitably qualified person and shall accompany the application for a Construction Certificate.

Prior to the issue of a Construction Certificate the Certifying Authority shall ensure that the on-site detention system has been designed in accordance with Liverpool City Council’s Design Guidelines and Liverpool City Council’s On-Site Stormwater Detention policy and Technical Specification.

Water Quality

- Prior to the issue of a Construction Certificate the Principle Certifying Authority shall ensure that details of a stormwater pre-treatment system have been provided on the stormwater plans and that the design meets pollutant retention criteria in accordance Council’s Development Control Plan.

The Construction Certificate must be supported by:

- Specification & installation details of the stormwater pre-treatment system;

- The approval of an operation and maintenance manual/  schedule for the stormwater pre-treatment system; and

A copy of the approved operation and maintenance manual/ schedule shall be submitted to Liverpool City Council with notification of the Construction Certificate issue.

#### Dilapidation report

- Prior to the Commencement of Works a dilapidation report of all infrastructure fronting the development in Dwyer Road is to be submitted to Liverpool City Council.  The report is to include, but not limited to, the road pavement, kerb and gutter, footpath, services and street trees and is to extend 20m either side of the development.

Fencing

- Pool type fencing shall be shown around the On-Site Detention system and the existing dam prior to construction certificate approval.

Demolition

- Prior to the issue of a construction certificate or any demolition works occurring, the structures to be demolished are to be inspected by a suitably qualified and experienced person who is capable of determining whether any of the construction materials are likely to contain asbestos. If more than 10m2 of asbestos construction materials are identified as a result of this inspection, a licensed asbestos removal company must be engaged to undertake the removal and disposal of those materials.

Additionally, Council must be informed prior to the removal of the asbestos materials as to:

- The name, address and license details of the individual/company carrying out the asbestos removal

- The name and address of the licensed landfill to which the asbestos materials will be taken

All tip dockets and any other paperwork relating to the transport and tipping of asbestos contruction materials must be maintained on site during the construction process for inspection by a Council officer or by the Principal Certifying Authority.

Crime Prevention Through Environmental Design

- The following Crime Prevention Through Environmental Design principles are to be incorporated into the building and the Construction Certificate documentation:

- Back to base alarm systems shall be installed;

- Basement parking areas shall be painted a light colour;

- CCTV for the ground level, entry/exit points, car parks, lifts and the exterior of the building shall be implemented;

- ‘Way finding’ signage should be utilised at all major interchanges such as lifts and stair wells;

- Lighting is required to be designed in accordance with the Australian and New Zealand Lighting Standard AS 1158.  A lighting maintenance policy should be established.  Security lighting should be installed in and around the building, and such shall not impact on any adjoining premises.  The lighting should be vandal resistant, especially external lighting; and

- Access to the parking levels of the building shall be controlled via a security controlled device.

C.	PRIOR TO WORKS COMMENCING

The following conditions are to be complied with or addressed prior to works commencing on the subject site/s:

Demolition

- Demolition works shall be carried out in accordance with the following:

- Prior to the commencement of any works on the land, a detailed demolition work plan designed in accordance with the Australian Standard AS 2601-2001 – The Demolition of Structures, prepared by a suitably qualified person with suitable expertise or experience, shall be submitted to and approved by Council and shall include the identification of any hazardous materials, method of demolition, precautions to be employed to minimise any dust nuisance and the disposal methods for hazardous materials

- Prior to commencement of any works on the land, the demolition Contractor(s) licence details must be provided to Council, and

- The handling or removal of any asbestos product from the building/site must be carried out by a NSW Work Cover licensed contractor irrespective of the size or nature of the works. Under no circumstances shall any asbestos on site be handled or removed by a non-licensed person. The licensed contractor shall carry out all works in accordance with NSW Work Cover requirements.

Construction Certificates

- Any CC that may be issued in association with this development consent must ensure that any certified plans and designs are consistent (in terms of site layout, site levels, building location, size, external configuration and appearance) with the approved Development Application plans.

- Building work shall not commence prior to the issue of a Construction Certificate. Building work as defined under Section 1.4 of the Environmental Planning and Assessment Act, 1979 means any physical activity involved in the erection of a building and includes but is not limited to, the placement of any site shed/s or builders facilities, site grading, retaining walls, excavation, cutting trenches, installing formwork and steel reinforcement or, placing of plumbing lines.

- Prior to the commencement of any building works, the following requirements must be complied with:

- Construction Certificate must be obtained from the Council or an Accredited Certifier, in accordance with the provisions of the Environmental Planning & Assessment Act 1979,

- Where a Construction Certificate is obtained from an Accredited Certifier, the applicant shall advise Council of the name, address and contact number of the Accredited Certifier, in accordance with Section 4.19, 6.6, 6.7, 6.12, 6.13, 6.14 of the Act,

- A copy of the Construction Certificate, the approved development consent plans and consent conditions must be kept on the site at all times and be made available to the Council officers and all building contractors for assessment,

- A Principal Certifying Authority (PCA) must be appointed to carry out the necessary building inspections and to issue an occupation certificate, and

- The PCA must advise Council of the intended date to commence work which is the subject of this consent by completing a notice of commencement of building works or subdivision works form, available from Council’s Customer Service Centre.  A minimum period of two (2) working days’ notice must be given.

Sediment & Erosion Control

- Prior to commencement of works sediment and erosion control measures shall be installed in accordance with the approved Construction Certificate and to ensure compliance with the  Protection of the Environment Operations Act 1997 and Landcom’s publication “Managing Urban Stormwater – Soils and Construction (2004)” – also known as “The Blue Book”.

The erosion and sediment control measures shall remain in place and be maintained until all disturbed areas have been rehabilitated and stabilised.

Traffic Control Plan

- Prior to commencement of works, a Traffic Control Plan including details for pedestrian management, shall be prepared in accordance with AS1742.3 “Traffic Control Devices for Works on Roads” and the Roads and Traffic Authority’s publication “Traffic Control at Worksites” and certified by an appropriately accredited Roads and Traffic Authority Traffic Controller.

Traffic control measures shall be implemented during the construction phase of the development in accordance with the certified plan.  A copy of the plan shall be available on site at all times.

Note – A copy of the Traffic Control Plan shall accompany the Notice of Commencement to Liverpool City Council.

D.	DURING CONSTRUCTION

The following conditions are to be complied with or addressed during construction:

Building Work

- The building works must be inspected by the Principal Certifying Authority, in accordance with Sections 6.5 (3) of the Environmental Planning & Assessment Act 1979 and Clause 162A of the Environmental Planning & Assessment Regulation 2000, to monitor compliance with the relevant standards of construction, Council’s development consent and the construction certificate.

- The Principal Certifying Authority (PCA) must specify the relevant stages of construction to be inspected and a satisfactory inspection must be carried out, to the satisfaction of the PCA, prior to proceeding to the subsequent stages of construction or finalisation of the works.

Heritage

- All relevant on-site staff and contractors should be made aware of their statutory obligations for heritage under NSW National Parks and Wildlife Act 1974 and the NSW Heritage Act 1977. They are to be informed of what the potential heritage on the site will be and its significance. The site supervisor is to maintain a record of who has completed the heritage induction and this is to be provided to Council prior to Issue of Occupation Certificate.

- As required by the National Parks and Wildlife Service Act 1974 and the Heritage Act 1977, in the event that Aboriginal cultural heritage or historical cultural fabric or deposits are encountered/discovered where they are not expected, works must cease immediately and Council and the Heritage Division of the Office of Environment and Heritage (OEH) must be notified of the discovery.

In the event that archaeological resources are encountered, further archaeological work may be required before works can re-commence, including the statutory requirement under the Heritage Act 1977 to obtain the necessary approvals/permits from the Heritage Division of the OEH.

Note – The National Parks and Wildlife Service Act 1974 and the Heritage Act 1977 impose substantial penalty infringements and / or imprisonment for the unauthorised destruction of archaeological resources, regardless of whether or not such archaeological resources are known to exist on the site.

- In the event that skeletal remains are uncovered, work must cease immediately in that area and the area secured. NSW Police must be contacted and no further action taken until written advice has been provided by the NSW Police. If the remains are determined to be of Aboriginal origin, the Office of Environment and Heritage must be notified by ringing the Enviroline 131 555 and a management plan prior to works re-commencing must be developed in consultation with relevant Aboriginal stakeholders.

Identification Survey Report

- The building and external walls are not to proceed past ground floor/reinforcing steel level until such time as the PCA has been supplied with an identification survey report prepared by a registered surveyor certifying that the floor levels and external wall locations to be constructed, comply with the approved plans, finished floor levels and setbacks to boundary/boundaries. The slab shall not be poured, nor works continue, until the PCA has advised the builder/developer that the floor level and external wall setback details shown on the submitted survey are satisfactory.

In the event that Council is not the PCA, a copy of the survey shall be provided to Council within three (3) working days.

- On placement of the concrete, works again shall not continue until the PCA has issued a certificate stating that the condition of the approval has been complied with and that the slab has been poured at the approved levels.

Site Works

- A sign must be erected and maintained in a prominent position on the site, which contains the following details:

- name, address, contractor licence number and telephone number of the principal contractor, including a telephone number at which the person may be contacted outside working hours, or owner-builder permit details (as applicable)

- name, address and telephone number of the PCA

- a statement stating that ‘unauthorised entry to the work site is prohibited”.

Toilet Facilities

- Toilet facilities must be available or provided at the work site and must be maintained until the works are completed at a ratio of one toilet plus one additional toilet for every 20 persons employed at the site. Each toilet must:

- be a standard flushing toilet connected to a public sewer, or

- have an on-site effluent disposal system approved under the Local Government Act 1993, or

- be a temporary chemical closet approved under the Local Government Act 1993.

Craning and Hoardings

- Lifting or craning materials over a public footway or roadway is not permitted unless a “B” class construction hoarding has been installed in compliance with work cover authority requirements.

- If the work is likely to cause pedestrian or vehicular traffic in a public area to be obstructed or rendered inconvenient; or if craning of materials is to occur across a public or road reserve area, a separate Road Occupancy Certificate and/or Hoarding approval must be obtained from Liverpool City Council prior to undertaking the works.

Site Facilities

- Adequate refuse disposal methods and builders storage facilities shall be installed on the site. Builders’ wastes, materials or sheds are not to be placed on any property other than that which this approval relates to.

Security Fence

- A temporary security fence to WorkCover Authority requirements is to be provided to the property during the course of construction.

Note – Fencing is not to be located on Council’s reserve area

Hours of Construction Work

- Construction work/civil work/demolition work, including the delivery of materials, is only permitted on the site between the hours of 7:00am to 6:00pm Monday to Friday and 8:00am to 1:00pm on Saturday. No work will be permitted on Sundays or Public Holidays, unless otherwise approved by Council.

General Site Works

- Building operations such as brick cutting, mixing mortar and the washing of tools, paint brushes, form-work, concrete trucks and the like shall not be performed on the public footway or any other locations which may lead to the discharge of materials into Council’s stormwater drainage system.

- Dust screens shall be erected and maintained in good repair around the perimeter of the subject land during land clearing, demolition, and construction works.

- All topsoil, sand, aggregate, spoil or any other material shall be stored clear of any drainage line, easement, water body, stormwater drain, footpath, kerb or road surface and there shall be measures in place in accordance with the approved erosion and sediment control plan.

- Vehicular access to the site shall be controlled through the installation of wash down bays or shaker ramps to prevent tracking of sediment or dirt onto adjoining roadways. Where any sediment is deposited on adjoining roadways is shall be removed by means other than washing. All material is to be removed as soon as possible and the collected material is to be disposed of in a manner which will prevent its mobilisation.

- Where operations involve excavation, filling or grading of land, or removal of vegetation, including ground cover, dust is to be suppressed by regular watering until such time as the soil is stabilised to prevent airborne dust transport. Where wind velocity exceeds five knots the PCA may direct that such work is not to proceed.

- The loading and unloading of all vehicles associated with the development must be undertaken within the property boundary of the premises subject to this consent.

- Measures must be implemented to prevent tracking of sediment by vehicles onto roads. The developer is to maintain all adjoining public roads to the site in a clean and tidy state, free of excavated “spoil” material.

- All vehicles involved in the delivery, demolition or construction process departing from the property shall have their loads fully covered before entering the public roadway.

- All earthworks shall be undertaken in accordance with AS 3798 and Liverpool City Council’s Design Guidelines and Construction Specification for Civil Works.

Erosion and sediment control

- Erosion and sediment control measures shall remain in place and be maintained until all disturbed areas have been rehabilitated and stabilised.

Car Parking Areas

- Car parking spaces and driveways must be constructed of a minimum of two coat finish seal or better. The spaces must be clear of obstructions and columns, permanently line marked and provided with adequate manoeuvring facilities. The design of these spaces must comply with Council’s DCP 2008, and Australian Standard 2890.1 Parking Facilities – Off Street Car Parking.

All car parking areas to be appropriately line marked and sign posted in accordance with the approved plans.  All customer/visitor/staff parking areas are to be clearly signposted limiting car parking for customers/visitors/staff only. The applicant is to cover the costs of installation and maintenance of the signage.

The on-site parking spaces shown in the approved plans must be identified in accordance with A.S.2890.1 Parking Facilities – Off-Street Car Parking.

Traffic Management

- All works within the road reserve are to be at the applicant cost and all signage is to be in accordance with the RTA’s Traffic Control at Worksites Manual and the RTA’s Interim Guide to Signs and Markings.

- If a works zone is required, an application must be made to Council’s Transport Planning section.  The application is to indicate the exact location required and the applicable fee is to be included.  If parking restrictions are in place, an application to have the restrictions moved, will need to be made.

- Notice must be given to Council’s Transport Planning section of any interruption to pedestrian or vehicular traffic within the road reserve, caused by the construction of this development. A Traffic Control Plan, prepared by an accredited practitioner must be submitted for approval, 48 hours to prior to implementation. This includes temporary closures for delivery of materials, concrete pours etc.

- Applications must be made to Council’s Transport Planning section for any road closures. The applicant is to include a Traffic Control Plan, prepared by a suitably qualified person, which is to include the date and times of closures and any other relevant information.

Landscaping Works

- Planting is to be carried out generally in accordance with the Council approved landscaping proposal with reference to planting locations/ planting densities and general landscaping site management. Species chosen for planting shall be consistant with naturally occurring species of the surrounding area.

Waste

- All demolition and construction wastes associated with the construction of the place of worship and its subsidiary structures and parking are to be managed through the use of builders site bins and skips. The Council-issued residential waste bins that service the existing house on the property must not be used for disposing of any construction wastes, those bins are for residential waste from the house only.

Removal of dangerous and/or hazardous waste

- All dangerous and/or hazardous material shall be removed by a suitably qualified and experienced contractor licensed by SafeWork NSW. The removal of such material shall be carried out in accordance with the requirements of SafeWork NSW and the material shall be transported and disposed of in accordance with NSW Environment Protection Authority requirements.

Contamination

- The development, including all civil works and demolition, must comply with the requirements of the Contaminated Land Management Act, 1997, State Environmental Planning Policy No. 55 – Remediation of Land, and Managing Land Contamination – Planning Guidelines (Planning NSW/EPA 1998).

Fill

- Filling material must be limited to the following:

- Virgin excavated natural material (VENM)

- Excavated natural material (ENM) certified as such in accordance with Protection of the Environment Operations (Waste) Regulation 2014; and/or

- Material subject to a Waste Exemption under Clause 91 and 92 Protection of the Environment Operations (Waste) Regulation 2014 and recognised by the NSW Environment Protection Authority as being “fit for purpose” with respect to the development subject of this application.

Certificates proving that the material imported is ENM or VENM must be provided to the Principal Certifying Authority prior to filling. Certificates are to be provided to Council officers if and when requested.

Fill imported on to the site must be compatible with the existing soil characteristic for site drainage purposes.

- Records of the following must be submitted to the principal certifying authority monthly and at the completion of earth works:

  - The course (including the address and owner of the source site), nature and quantity of all incoming loads including the date, the name of the carrier, and the vehicle registration;

  - The results of a preliminary contamination assessment carried out on any fill material used in the development.

  - The results of any chemical testing of fill material.

Unidentified Contamination

- Any new information which comes to light during remediation, demolition or construction works which has the potential to alter previous conclusions about site contamination and remediation must be immediately notified to Council and the Principal Certifying Authority in writing.

A Section 4.55 Application under the EP&A Act shall be made for any proposed works outside the scope of the approved development consent.

Ventilation

- To ensure that adequate provision is made for ventilation of the building, the design, construction, installation and commissioning of the mechanical ventilation systems(s) shall be carried out in accordance with Australian Standard 1668 Parts 1 & 2.

The mechanical exhaust discharge point shall be designed and installed by an appropriately qualified person and shall be positioned to comply with AS 1668 Part 2, Section 3.7.

Major Filling/Earthworks

- All earthworks shall be undertaken in accordance with AS 3798 and Liverpool City Council’s Design Guidelines and Construction Specification for Civil Works.

The level of testing shall be determined by the Geotechnical Testing Authority/ Superintendent in consultation with the Principal Certifying Authority.

Street Lighting

- Street lighting is to be provided for all new and existing streets within the proposed subdivision to Liverpool City Council’s standards.

The developer shall submit a Public Lighting Design Brief to Council for approval for the provision of street lighting on all new public roads dedicated to Council.  A street lighting design plan must be prepared by an accredited service provider for approval prior to construction.  All street lighting must comply with the electricity service provider Street Lighting Policy and illumination requirements and Council’s Street Lighting policy.

All cost associated with the installation of street lighting shall be borne by the developer.

E.	PRIOR TO ISSUE OF OCCUPATION CERTIFICATE

The following conditions are to be complied with or addressed prior to issue of either an Interim or Final Occupation Certificate by the Principal Certifying Authority:

Certificates

- The premises shall not be utilised until an OC is issued by the PCA. Copies of all documents relied upon for the issue of the OC must be attached to the OC and registered with Council.

- Details of critical stage inspections carried out by the principal certifying authority together with any other certification relied upon must be provided to Council with the occupational certificate.

- A single and complete Fire Safety Certificate, certifying the installation and operation of all of the fire safety measures within the building must be submitted to Council with the Occupation Certificate.

- The Principal Certifying Authority (Building) and/or the Accredited Certifier (Subdivision) shall ensure that all compliance certificates required by this development consent are referenced to the condition consent number. The Compliance Certificate is to state that the works as constructed comply fully with the required condition of consent being acted on by the certifier.

Demolition of existing buildings

- Prior to the issue of an Occupation Certificate, confirmation and evidence that all structures identified to be demolished have been demolished, and that the land has been restored to its original state (grassed, landscaped, etc.), shall be submitted to Council for approval.

Operational Traffic Management Plan

- Prior to the issue of an Occupation Certificate, an Operational Traffic Management Plan (OPTM) which is to be prepared by a qualified traffic management practitioner to minimise the traffic / pedestrian impact during normal service operational hours or special events and show travel routes from/to the subject site and details of parking arrangements.  Details of sustainable transport options, and means of dealing with any overspill parking requirements also need to be addressed. The OPTM component is to be submitted to Council’s Traffic and Transport Section for approval.

Waste Management Plan

- The Waste Management Plan shall be submitted to and approved by the PCA prior to issue of the Occupation Certificate.  This must be adhered to at all times during the operation of the temple. Supporting documentation (receipts/dockets) of waste/recycling/disposal methods carried out, is to be kept and must be produced upon the request of Council or any other authorised officer.

Note – Any non-compliance with this requirement will result in penalties being issued.

Fire Safety – Cladding

- Prior to issuing an Occupation Certificate the Principal Certifying Authority must be satisfied that suitable evidence has been provided to demonstrate that the external wall cladding material and system is consistent with the consent documentation, NCC and relevant Australian Standards.

Landscaping

- Upon completion of the approved landscape works associated with the development and prior to the issue of any OC, an Implementation Report is to be submitted to the PCA attesting to the satisfactory completion of the landscape works in accordance with the approved landscape plan. The report is to be prepared by a suitably qualified person.

Crime Prevention Through Environmental Design

- Prior to the issue of an Occupation Certificate the following Crime Prevention Through Environmental Design principles are to be incorporated into the building:

- Back to base alarm systems shall be installed;

- Basement parking areas shall be painted a light colour;

- CCTV for the ground level, entry/exit points, car parks, lifts and the exterior of the building shall be implemented;

- ‘Way finding’ signage should be utilised at all major interchanges such as lifts and stair wells;

- Lighting is required to be designed in accordance with the Australian and New Zealand Lighting Standard AS 1158.  A lighting maintenance policy should be established.  Security lighting should be installed in and around the building, and such shall not impact on any adjoining premises.  The lighting should be vandal resistant, especially external lighting; and

- Access to the parking levels of the building shall be controlled via a security controlled device.

Liverpool City Council clearance – Roads Act/ Local Government Act

- Prior to the issue of an Occupation Certificate, the Principal Certifying Authority shall ensure that all works associated with a S138 Roads Act approval or S68 Local Government Act approval have been inspected and signed off by Liverpool City Council.

Works as executed - General

- Prior to the issue of an Occupation Certificate, works-as-executed drawings and compliance documentation shall be submitted to the Principal Certifying Authority in accordance with Liverpool City Council’s Design Guidelines and Construction Specification for Civil Works.

An original set of works-as-executed drawings and copies of compliance documentation shall also be submitted to Liverpool City Council with notification of the issue of the Occupation Certificate where Council is not the Principal Certifying Authority.

Stormwater Compliance

- Prior to the issue of an Occupation Certificate the Principal Certifying Authority shall ensure that the:

a) 	On-site detention system/s;

b) 	Stormwater pre-treatment system/s;

- Have been satisfactorily completed in accordance with the approved Construction Certificate and the requirements of this consent.

- Have met the design intent with regard to any construction variations to the approved design.

- Any remedial works required to been undertaken have been satisfactorily completed.

- Details of the approved and constructed system/s shall be provided as part of the Works-As-Executed drawings.

Restriction as to User and Positive Covenant

- Prior to the issue of an Occupation Certificate a restriction as to user and positive covenant relating to the:

a) 	On-site detention system/s;

b) 	Stormwater pre-treatment system/s;

Shall be registered on the title of the property. The restriction as to user and positive covenant shall be in Liverpool City Council’s standard wording as detailed in Liverpool City Council’s Design and Construction Guidelines and Construction Specification for Civil Works.

Rectification of Damage

- Prior to the issue of an Occupation Certificate any damage to Council infrastructure not identified in the dilapidation report, as a result of the development shall be rectified at no cost to Liverpool City Council.

Any rectification works within Dwyer Road will require a Roads Act application. The application is to be submitted and approved by Liverpool City Council prior to such works commencing.

Directional Signage

- Prior to the issue of an Occupation Certificate, directional signage and linemarking shall be installed indicating directional movements and the location of parking to the satisfaction of the Principal Certifying Authority.

Dilapidation Report

- Any rectification works required by Council regarding the condition of Council infrastructure shall be undertaken, at full cost to the developer.

Fencing

- Pool type fencing shall be installed surrounding the On-Site Detention system and the existing dam.

Recommendations of Acoustic Report

- Upon completion of works and prior to the issue of an Interim or Final Occupation Certificate, written certification prepared by a suitably qualified acoustic consultant shall be submitted to and approved by the Principal Certifying Authority (PCA). The written certification prepared by the suitably qualified acoustic consultant shall confirm that the development complies with all requirements and recommendations detailed within the approved acoustic report titled Noise Impact Assessment, prepared by Rodney Stevens Acoustics (Report Number R160627R1, Revision 3, dated 15 November 2018)  The acoustic consultant shall confirm that the development or use is capable of operating in accordance with the design criteria.

Note: ‘Suitably qualified acoustic consultant’ means a consultant who possesses the qualifications to render them eligible for membership of the Australian Acoustical Society or employed by an Association of Australasian Acoustical Consultants (AAAC) member firm.

Noise Management

- Prior to the issue of an Occupation Certificate, a Noise Management Plan and complaints’ handling procedure shall be prepared for the site activities in consultation with a suitably qualified and experienced acoustic consultant. The Noise Management Plan shall identify and implement strategies to minimise noise from the industry. The plan shall incorporate: methods for promoting noise awareness by staff; a complaint lodgement procedure to ensure that members of the public are able to report noise issues; and a plan for responding to noise complaints.

On-site Sewerage Managmenet System

- An Approval to Operate the On-Site Sewerage Management System is to be issued by Council in accordance with Section 68 of the Local Government Act.

F.	CONDITIONS RELATING TO USE

The following conditions relate to the ongoing use of the premises:

Visitor numbers

- The maximum number of visitors/parishioners permitted on the site at any one time shall be 95.

Hours of Operation

- The hours of operation of the premises are limited to 9am to 5pm, 7 days a week.

Operational Plan of Management

- The approved Plan of Management prepared by VT Architects, dated 09/11/2018, reference 857 Rev.B, and the approved Operational Traffic Management Plan are to be implemented and complied with during the operation of the place of worship at all times.

Use of premises

- The use of the dwelling and the extensions to the dwelling shall be limited to the occupiers of the dwelling, and no visitors to the place of worship shall use the dwelling or the facilities within or attached.

Car Parking/Loading

- A total of 50 off street car parking spaces must be provided onsite.  A minimum of 2 spaces must be designed and signposted/marked for the specific use of persons with a disability.

- All parking areas shown on the approved plans must be used solely for this purpose.

- The operator of the development must not permit the reversing of vehicles onto or away from the road reserve, with the exception of garbage and recycling collection vehicles.  All vehicles must be driven forward onto and away from the development and adequate space must be provided and maintained on the land to permit all vehicles to turn in accordance with AS 2890.1 Parking Facilities – Off Street Car Parking.

Lighting

- Illumination of the site is to be arranged in accordance with the requirements and specifications of Australian Standard 4282:1997 so as not to impact upon the amenity of the occupants of adjoining and nearby premises.

Landscaping

- Landscaping shall be maintained in accordance with the approved plan, in a healthy state and in perpetuity by the existing or future owners and occupiers of the development.

If any of the vegetation comprising the landscaping dies or is removed, it is to be replaced with vegetation of the same species, and similar maturity as the vegetation which has died or was removed.

An annual report shall be submitted to Council, for the 3 years following issue of the OC, certifying that the landscaping works have been satisfactorily maintained.

Waste

- All waste associated with the use of the shrine and the visitors to it must be removed through a private waste service providing their own waste bins, the residential waste bins associated with the house that is on the property must not be used for this purpose.

- The point of collection for the private bins servicing the shrine is to be within the property itself, bin collection for the shrine is not permitted to take place on the kerbside of Dwyer Road.

- All waste products associated with the use of the premises are to be placed in containers and stored within the designated areas.

- All waste materials generated as a result of the development are to be disposed at a facility licensed to receive such waste.

- Waste bins must be stored in designated and covered garbage/ trade refuse areas, which must be kept tidy at all times. Bins must not be stored or allowed to overflow in parking or landscaping areas, must not obstruct the exit of the building, and must not leave the site onto neighbouring public or private properties.

Signage is to be prominently displayed in each waste storage area, or waste service room, as appropriate, indicating that:

- Garbage is to be placed wholly within the garbage bins provided,

- Only recyclable materials accepted by Council are to be placed within the recycling bins,

- The area it to be kept tidy,

- A phone number for arranging disposal of bulky items, and

- Graphic illustrative content to be 50%.

- Waste collected by private contractors is to be collected between 7am and 9pm.

- Waste and recyclable material generated from the operations of the premises shall be managed in a satisfactory manner that does not give rise to offensive odour or encourage pest activity. All waste material shall be regularly removed from the premises. Waste shall not be permitted to accumulate near the waste storage bin

Unreasonable Noise and Vibration

- The operation of the site, including but not limited to the operation of vehicles, mechanical plant and equipment, shall be conducted so as to avoid unreasonable noise or vibration and cause no interference to adjoining or nearby occupations. Special precautions must be taken to avoid nuisance, particularly from machinery, plant, vehicles, warning sirens, public address systems and the like.

In the event of a noise or vibration problem arising at the time, the person in charge of the premises shall when instructed by Council, cause to be carried out, an acoustic investigation by a suitably qualified acoustic consultant and submit the results to Council. If required by Council, the person in charge of the premises shall implement any or all of the consultant’s recommendations and any additional requirements to the satisfaction of Liverpool City Council.

Note: ‘Suitably qualified acoustic consultant’ means a consultant who possesses the qualifications to render them eligible for membership of the Australian Acoustical Society or employed by an Association of Australasian Acoustical Consultants (AAAC) member firm.

Noise Complaints Register

- The operator shall keep a legible record of all complaints received in an up-to date Complaints Register. The Complaints Register must record, but not necessarily be limited to:

- the date and time, where relevant, of the complaint;

- the means by which the complaint was made (telephone, mail or email);

- any personal details of the complainant that were provided, or if no details were provided, a note to that effect;

- the nature of the complaint;

- any action(s) taken by the Applicant in relation to the complaint, including any follow-up contact with the complainant; and if no action was taken by the Applicant in relation to the complaint, the reason(s) why no action was taken.

- allocate an individual “complaint number” to each complaint received.

The Complaints Register must be made available for inspection when requested by Liverpool City Council.

The industry shall be operated in accordance with the approved Noise Management Plan and Complaints Handling Procedure at all times.

Noise

- Noise associated with the use of the premises, including mechanical plant and equipment, shall not give rise to any one or more of the following:

- The use of the premises including the cumulative operation of any mechanical plant, equipment, public address system or other amplified sound equipment shall not give rise to the emission of ‘offensive noise’ as defined by the Protection of the Environment Operations Act 1997.

b)	The operation of any mechanical plant, equipment, public address system or other amplified sound equipment installed on the premises shall not cause:

i. 	The emission of noise as measured over a 15 minute period (LAeq (15 minute)) that exceeds the LA90 (15 minute) background noise level by more than 5 dB(A) when measured at the most affected residential boundary. Modifying factor corrections must be applied for tonal, impulsive, low frequency or intermittent noise in accordance with the NSW Environment Protection Authority’s ‘Noise Policy for Industry’ (2017);

ii. 	An internal noise level in any adjoining occupancy that exceeds the recommended design sound levels specified in Australian/New Zealand Standard AS/NZS 2107:2016 Acoustics – Recommended design sound levels and reverberation times for building interiors;

iii. 	‘offensive noise’ as defined by the Protection of the Environment Operations Act 1997; and

iv. 	Transmission of vibration to any place of different occupancy greater than specified in AS 2670.

- Any alarm installed on the site is to be “silent back to base” type.

- No persons, such as those commonly known as ‘spruikers’ shall operate either with or without sound amplification equipment for the purpose of advertising the use of the premises, the sale and availability of goods, services, entertainment or the like.

Acoustic Report

- An acoustic report is to be prepared by a suitably qualified and experienced acoustic consultant and be submitted to Council for its assessment and approval within three (3) months of occupation/completion of the development. The report shall include but is not limited to the following information:

- Noise measurements taken at the nearest noise sensitive locations;

- Verification that noise levels at the nearest potentially affected receiver comply with all relevant assessment criteria;

- All complaints received from local residents in relation to the operation of the premises/development; and

- Where noise measurements required under point a) above indicate that the relevant assessment criteria are exceeded, recommendations shall be provided in relation to how noise emissions can be satisfactorily reduced to comply with the assessment criteria.

Following written approval from Liverpool City Council, any recommendations provided under point d) above shall be implemented fully.

#### Environment

- The use of the premises shall not give rise to the emission into the surrounding environment of gases, vapours, dusts or other impurities that are a nuisance, injurious or prejudicial to health.

#### Events

- The use of the site shall not give rise to the emission into the surrounding environment of gases, vapours, dusts or other impurities which are a nuisance, injurious or prejudicial to health. Should an odour nuisance arise, Council reserves the right to require all odour generating activities to cease.

The operations of the event shall be conducted in such a manner as not to cause air pollution (including odour), offensive noise or pollution of land and/or water as defined under the Protection of the Environment Operations Act 1997. Failure to comply may result in on-the-spot penalties of up to $4000 for an individual and $8000 for a corporation per breach. Higher penalties may apply if the matter proceeds to Court.

#### Advertising

- Advertising matter not approved in conjunction with this decision notice, must not be erected, painted or displayed without the prior approval of Council.  Any temporary signage is to be displayed in accordance with Liverpool Local Environmental Plan 2008.

G.	ADVISORY

- Sections 8.2, 8.3, 8.4 & 8.5 of the Environmental Planning and Assessment Act 1979 allow you to request the consent authority to review this determination notice if you are dissatisfied with it or the conditions contained within this determination notice.  This right must be exercised within six (6) months from the date of this notice with the appropriate fee.

- Under Sections 8.7 & 8.10 of the Environmental Planning and Assessment Act 1979 applicants who are dissatisfied with the outcome of a consent authority have a right of appeal to the Land and Environment Court. This right must be exercised within six (6) months from the date of this notice of determination.

- In accordance with Section 4.53 of the Environmental Planning and Assessment Act 1979, unless otherwise stated by a condition of this consent, this consent will lapse unless the development is commenced within five years of the date of this notice.

- To confirm the date upon which this consent becomes effective, refer to Section 4.20 of the Environmental Planning and Assessment Act, 1979. Generally the consent becomes effective from the determination date shown on the front of this notice. However if unsure applicants should rely on their own enquiries.

- To confirm the likelihood of consent lapsing, refer to Section 4.53 of the Act. Generally consent lapses if the development is not commenced within five years of the date of approval. However if a lesser period is stated in the conditions of consent, the lesser period applies. If unsure applicants should rely on their own enquiries.

- In accordance with Sections 8.8 and 8.10 of the Environmental Planning and Assessment Act 1979, an objector who is dissatisfied with the determination of a consent authority to grant consent to a Development Application for Designated Development (including Designated Development that is Integrated Development), may, within 28 days after the date on which the application is taken to have been determined, appeal to the Land and Environment Court.

- The approval of this application does not imply or infer compliance with the Disability Discrimination Act and that the developer should investigate their liability under the Act.

- The requirements of all authorities including the Environmental Protection Authority and the Work Cover Authority shall be met in regards to the operation of the building.

- “DIAL BEFORE YOU DIG”  DIAL 1100

Underground assets may exist in the area that is subject to your application. In the interest of health and safety and in order to protect damage to third party assets please contact Dial before you dig at www.1100.com.au or telephone 1100 before excavating or erecting structures (This is the law in NSW). If alterations are required to the configuration, size, form or design of the development upon contact the Dial before You Dig service, an amendment to the development consent (or a new development application) may be necessary. Individuals owe asset owners a duty of care that must be observed when working in the vicinity of plant or assets. It is the individual’s responsibility to anticipate and request the nominal location of plant or assets on the relevant property via contacting the Dial before you dig service in advance of any construction or planning activities.

- TELECOMMUNICATIONS ACT 1997 (COMMONWEALTH)

Telstra (and its authorised contractors) are the only companies that are permitted to conduct works on Telstra’s network and assets. Any person interfering with a facility or installation owned by Telstra is committing an offence under the Criminal Code Act 1995 (Cth) and is liable for prosecution.

Furthermore, damage to Telstra’s infrastructure may result in interruption to the provision of essential services and significant costs. If you are aware of any works or proposed works which may affect or impact on Telstra’s assets in any way, you are required to contact: Telstra’s Network Integrity Team on Phone Number 1800 810 443.

- The obligation to comply with the Category 1 fire safety provisions may require building work to be carried out even though none is proposed or required by other conditions of this consent.

- The Liverpool City Council Local Government area soils and ground water may be subject to varying levels of Salinity. Whilst Council may require applicants to obtain Salinity reports relating to some developments, no assessment may be made by Council in that regard. Soil and ground water salinity levels can change over time due to varying factors. It is recommended that all applicants make their own independent inquiries as to appropriate protection against the current and future potential effect of Salinity to ensure the ongoing structural integrity of any work undertaken.  Liverpool City Council will not accept any liability for damage occurring to any construction of any type affected by soil and or ground water Salinity.

- The cost of any necessary adjustments to utility mains and services shall be borne by the applicant.

- Care shall be taken by the applicant and the applicant’s agents to prevent any damage to adjoining properties. The applicant or the applicant’s agents may be liable to pay compensation to any adjoining owner if, due to construction works, damage is caused to such an adjoining property.