| Date: | 12 January 2023 |
| --- | --- |
| Responsible Officer: | Robert Eyre |
| Location: | 12 Penrose Crescent, ERINA NSW 2250 Lot 82 DP 1108157 |
| Owner: | Central Coast Adventist School Erina |
| Applicant: | Seventh-Day Adventist Schools (North New South Wal |
| Date of Application: | 21 September 2022 |
| Application No: | DA/3119/2022 |
| Proposed Development: | INTEGRATED Educational establishment - RPP |
| Land Area: | 46210.00 |

PROPOSED CONDITIONS

The development taking place in accordance with the approved development plans reference number DA/3119/2022 except as modified by any conditions of this consent, and any amendments in red.

1.PARAMETERS OF THIS CONSENT

Approved Plans and Supporting Documentation

  - Development must be carried out in accordance with the following approved plans and supporting documentation (stamped by Council), except where the conditions of this consent expressly require otherwise.

| Plan No. | Revision No. | Plan Title | Drawn By | Dated |
| --- | --- | --- | --- | --- |
| DA000 | B | Cover Sheet | Paynter Dixon | 21/09/2022 |
| DA001 | B | Overall Site Plan | Paynter Dixon | 21/09/2022 |
| DA002 | B | Site Plan | Paynter Dixon | 21/09/2022 |
| DA003 | B | Site Analysis Plan | Paynter Dixon | 21/09/2022 |
| DA004 | B | Shadow Studies | Paynter Dixon | 21/09/2022 |
| DA010 | B | Demolition Plan | Paynter Dixon | 21/09/2022 |
| DA100 | B | Ground Floor Plan | Paynter Dixon | 21/09/2022 |
| DA101 | B | First Floor Plan | Paynter Dixon | 21/09/2022 |
| DA102 | C | Second Floor Plan | Paynter Dixon | 28/09/2022 |
| DA103 | B | Roof Plan | Paynter Dixon | 21/09/2022 |
| DA200 | B | North & South Elevations | Paynter Dixon | 21/09/2022 |
| DA201 | C | East & West Elevations | Paynter Dixon | 28/09/2022 |
| DA210 | B | Part Elevations & External Finishes | Paynter Dixon | 21/09/2022 |
| DA300 | B | Sections 1 | Paynter Dixon | 21/09/2022 |
| DA301 | B | Sections 2 | Paynter Dixon | 21/09/2022 |
| L001 | 1 | Landscape Plan | McIntosh & Phelps | 20/09/2022 |
| L002 | 1 | Landscape Planting | McIntosh & Phelps | 08/09/2022 |
| L003 | 1 | Indoor Landscape Planting | McIntosh & Phelps | 08/09/2022 |
| L004 | 1 | Landscape Materials & Finishes | McIntosh & Phelps | 08/09/2022 |

| Document Title | Version No. | Prepared by | Dated |
| --- | --- | --- | --- |
| Statement of Environmental Effects | - | Think Planners | 13/09/2022 |
| Stormwater management plan | Ref 0161 | Enscape Studio | 20/09/2022 |
| Geotechnical Assessment | P2208901JR01V01 | Martens Consulting Engineers | Aug. 2022 |
| Bushfire Assessment Report | 221133 | Building Code & Bushfire Hazard Solutions P/L | 31/08/2022 |
| BCA Compliance Capability Report | V220017 | VPL Consulting | 07/09/2022 |
| Acoustic Assessment | - | Acoustic Dynamics | 08/09/2022 |
| Accessibility Design Review | 22132 | ABE Consulting | 21/09/2022 |
| Waste Management Plan | - | Paynter Dixon | 16/09/2022 |
| Traffic & Parking Assessment | 22094 Issue B | Transport & Traffic Planning Assoc. | Sept. 2022 |
| Survey Plan | C20270-3 | Cahill & Cameron | 23/08/2022 |
| Sediment & Erosion Control Plan | C-02 Rev B | Enscape Studio | 17/11/2022 |

In the event of any inconsistency between the approved plans and the supporting documentation, the approved plans prevail. In the event of any inconsistency between the approved plans and a condition of this consent, the condition prevails.

Note: an inconsistency occurs between an approved plan and supporting documentation or between an approved plan and a condition when it is not possible to comply with both at the relevant time.  GL002

1.2.	Carry out all building works in accordance with the National Construction Code Series, Building Code of Australia, Volume 1 and 2 as appropriate. GL003

1.3.	Comply with the General Terms of Approval from the Authorities as listed below and attached as a schedule of this consent. GL005

| Government Agency / Department / Authority | Description | Ref No | Date |
| --- | --- | --- | --- |
| NSW Rural Fire Service | GTAs under Section 100B of Rural Fires Act 1997 | DA20221102011527-Original-1 | 12/12/2022 |

2.PRIOR TO ISSUE OF ANY CONSTRUCTION CERTIFICATE

2.1.	All conditions under this section must be met prior to the issue of any Construction Certificate.

2.2.	Submit an application to Council under section 305 of the Water Management Act 2000 for a section 306 Requirements Letter. The Application form can be found on Council’s website centralcoast.nsw.gov.au. Early application is recommended.

The section 305 application will result in a section 306 letter of requirements which must be obtained prior to the issue of any Construction Certificate. The requirements letter will outline which requirements must be met prior to each development milestone e.g. prior to construction certificate, subdivision works certificate, occupation certificate and/or subdivision certificate.   EN077

2.3.	No activity is to be carried out on-site until the Construction Certificate has been issued, other than:

- Site investigation for the preparation of the construction, and / or

- Implementation of environmental protection measures, such as erosion control and the like that are required by this consent

- Demolition.  GL009

2.4.	Submit to Council a dilapidation report detailing the condition of all Council assets within the vicinity of the development. The report must document and provide photographs that clearly depict any existing damage to the road, kerb, gutter, footpath, driveways, street trees, street signs, street lights or any other Council assets in the vicinity of the development. The dilapidation report will be required to be submitted to Council prior to the issue of the Section 138 Roads Act Works approval or the issue of any construction certificate for works on the site. The dilapidation report may be updated with the approval of Council prior to the commencement of works. The report will be used by Council to establish damage to Council’s assets resulting from the development works.   EN019

2.5.	Submit to the Registered Certifier responsible for issuing the construction certificate for works within the development site detailed design drawings and design reports for the following engineering works:

- Construction of driveways and car parking areas in accordance with the requirements of the current edition Australian Standard AS/NZS 2890: Parking Facilities and other applicable Australian Standards.

- Reconstruction of the area of the proposed accessible car spaces for compliance with AS/NZS 25890.6:2009.

- Construction of a stormwater detention system. The design shall be in accordance with Chapter 3.1 Part C of the Central Coast Development Control Plan 2022 and Council’s Civil Works Specifications. The stormwater detention system must limit post development peak flows from the proposed development to less than or equal to predevelopment peak flows for all storms events up to and including the 1% Annual Exceedance Probability (AEP) storm event, i.e as a minimum for the following recurrence intervals: 20%AEP, 10%AEP, 5%AEP, 2%AEP, and 1%AEP. A runoff routing model/method must be used. An on-site stormwater detention report including an operation and maintenance plan must accompany the design. The design of the on-site detention system shall be generally in accordance with the Stormwater Management Plan prepared by Enscape Studio (Project Ref: 0161 dated 20 September 2022).

- Construction of nutrient and pollution control measures. The design shall be in accordance with Chapter 3.1 Part C of the Central Coast Development Control Plan 2022. A nutrient and pollution control report including an operation and maintenance plan must accompany the design. The design of the nutrient and pollution control measures shall be generally in accordance with the Stormwater Management Plan prepared by Enscape Studio (Project Ref: 0161 dated 20 September 2022).

- Construction of on-site stormwater retention measures. The design shall be in accordance with Chapter 3.1 Part C of the Central Coast Development Control Plan 2022. A report detailing the method of stormwater harvesting, sizing of retention tanks for re-use on the site and an operation and maintenance plan must accompany the design

- Construction stormwater drainage collection and piping of all stormwater runoff from the proposed development via an on-site stormwater detention facility to the existing internal stormwater pipeline network within the site. The design of the internal drainage shall be generally in accordance with the Stormwater Management Plan prepared by Enscape Studio (Project Ref: 0161 dated 20 September 2022).

- Construction of retaining walls where indicated on development approval documentation. Retaining wall design must not conflict with existing or proposed services or utilities. Retaining walls designs for wall greater than 600mm in height must be certified by a registered practising Civil or Structural engineer as being in accordance with Australian Standards.

Detailed design drawings and design reports acceptable to the Registered Certifier must be included in the Construction Certificate documentation.  EN022

2.6.	Provide confirmation from an acoustic consultant that meets the eligibility criteria for membership to the Association of Australian Acoustical Consultants that the detailed design is in accordance with the acoustic treatments recommended in the Central Coast Adventist School Development Application Acoustic Assessment, 12 Penrose Crescent, Erina NSW, prepared by Acoustic Dynamics, dated 8 September 2022.

EHCUST01

2.7.	Pay to Council a contribution amount of $118,695.25 that may require adjustment at time of payment, in accordance with the Central Coast Regional Section 7.12 Development Contribution Plan 2019.

The total amount to be paid must be indexed each quarter in accordance with the Consumer Price Index (All Groups index) for Sydney issued by the Australian Statistician as outlined in the contribution plan.

Contact Council’s Contributions Planner on (02) 4306 7900 for an up-to-date contribution payment amount.

Any Construction Certificate must not be issued until the developer has provided the Certifier with a copy of a receipt issued by Council that verifies the contributions have been paid. A copy of this receipt must accompany the documents submitted by the Principal Certifier to Council under Clause 104/Clause 160(2) of the Environmental Planning and Assessment Regulation 2021.

A copy of the Contribution Plan may be inspected at the offices of Central Coast Council, 49 Mann Street Gosford, or 2 Hely Street Wyong, or on Council's website:

Development Contributions - former Gosford LGA CP010

3.PRIOR TO ISSUE OF ANY SUBDIVISION WORKS CERTIFICATE

No Conditions

4.PRIOR TO COMMENCEMENT OF ANY WORKS

4.1.	All conditions under this section must be met prior to the commencement of any works.

4.2.	Appoint a Principal Certifier for the building work:

- The Principal Certifier (if not Council) is to notify Council of their appointment and notify the person having the benefit of the development consent of any critical stage inspections and other inspections that are to be carried out in respect of the building work no later than two (2) days before the building work commences.

- Submit to Council a Notice of Commencement of Building Work form giving at least two (2) days’ notice of the intention to commence building work. The forms can be found on Council’s website: www.centralcoast.nsw.gov.au  GL010

4.3.	Erect a sign in a prominent position on any work site on which building, subdivision or demolition work is being carried out. The sign must indicate:

- The name, address and telephone number of the Principal Certifier for the work; and

- The name of the principal contractor and a telephone number at which that person can be contacted outside of working hours; and

- That unauthorised entry to the work site is prohibited.

- Remove the sign when the work has been completed.  GL011

4.4.	Submit both a Plumbing and Drainage Inspection Application, with the relevant fee, and a Plumbing and Drainage Notice of Work in accordance with the Plumbing and Drainage Act 2011 (to be provided by licensed plumber). These documents can be found on Council’s website at: www.centralcoast.nsw.gov.au

Contact Council prior to submitting these forms to confirm the relevant fees.

This condition only applies if installation / alteration of plumbing and / or drainage works are proposed (excludes stormwater drainage). This condition does not apply to swimming pool plumbing that does not physically connect / break into the sewer system.   GL012

4.5.	Prepare a Construction Traffic and Pedestrian Management Plan (CTPMP) for all activities related to works within the site. The plan must be prepared and implemented only by persons with Roads and Maritime Service accreditation for preparing and implementing traffic management plans at work sites.

The CTPMP must describe the proposed construction works, the traffic impacts on the local area and how these impacts will be addressed.

The CTPMP must address, but not be limited to, the following matters:

- Ingress and egress of construction related vehicles to the development site.

- Details of the various vehicle lengths that will be used during construction and the frequency of these movement.

- Use of swept path diagrams to demonstrate how heavy vehicles enter, circulate and exit the site or Works Zone in a forward direction.

- Deliveries to the site, including loading / unloading materials and requirements for work zones along the road frontage to the development site. A Plan is to be included that shows where vehicles stand to load and unload, where construction plant will stand, location of storage areas for equipment, materials and waste, locations of Work Zones (if required) and location of cranes (if required).

- Works Zones if heavy vehicles cannot enter or exit the site in a forward direction.

- Control of pedestrian and vehicular traffic where pre-construction routes are affected.

- Temporary Road Closures.

- School operations during construction including management of drop-off/pick up times and locations.

Where the plan identifies that the travel paths of pedestrians and vehicular traffic are proposed to be interrupted or diverted for any construction activity related to works inside the development site an application must be made to Council for a Road Occupancy Licence. Implementation of traffic management plans that address interruption or diversion of pedestrian and/or vehicular traffic must only take place following receipt of a Road Occupancy Licence from Council or the Roads and Maritime Service where on a classified road.

Where a dedicated delivery vehicle loading and unloading zone is required along the road frontage of the development site a Works Zone Application must be lodged and approved by Council. A minimum of 3 months is required to allow Traffic Committee endorsement and Council approval.

The Construction Traffic and Pedestrian Management Plan must be reviewed and updated during construction of the development to address any changing site conditions.

A copy of the Construction Traffic and Pedestrian Management Plan must be held on site at all times and be made available to Council upon request.

EN030

5.DURING WORKS

5.1.	All conditions under this section must be met during works.

5.2.	Unless otherwise approved within a construction site management plan, construction vehicles, machinery, goods or materials must not be delivered to the site outside the approved hours of site works.

5.3.	While demolition or building work is being carried out, all such works must cease immediately if a relic or Aboriginal object is unexpectedly discovered. The applicant must notify the Heritage Council of NSW in respect of a relic and notify the Secretary of the Department of Planning, Industry and Environment and the Heritage Council of NSW in respect of an Aboriginal object. Building work may recommence at a time confirmed by either the Heritage Council of NSW or the Secretary of the Department of Planning, Industry and Environment.

In this condition:

“relic” means any deposit, artefact, object or material evidence that:

(a)	relates to the settlement of the area that comprises New South Wales, not being Aboriginal settlement, and

(b)	is of State or local heritage significance; and

“Aboriginal object” means any deposit, object or material evidence (not being a handicraft made for sale) relating to the Aboriginal habitation of the area that comprises New South Wales, being habitation before or concurrent with (or both) the occupation of that area by persons of non-Aboriginal extraction and includes Aboriginal remains. To ensure the protection of objects of potential significance GL015

5.4.	Keep a copy of the stamped approved plans on-site for the duration of site works and make the plans available upon request to either the Principal Certifier or an officer of Council.  GL017

5.5.	Notify Council when plumbing and drainage work will be ready for inspection(s) and make the work accessible for inspection in accordance with the Plumbing and Drainage Act 2011.

This condition only applies if installation / alteration of plumbing and / or drainage works are proposed (excludes stormwater drainage).  GL018

5.6.	Place all building materials, plant and equipment on the site of the development during the construction phase of the development so as to ensure that pedestrian and vehicular access within adjoining public roads, footpaths and reserve areas, is not restricted and to prevent damage to public infrastructure. Further, no construction work is permitted to be carried out within the road reserve unless the works are associated with a separate approval issued under the provisions of the Roads Act 1993.  GL033

5.7.	Cease all excavation works if acid sulfate soils are identified until such time as details of mitigation and treatment measures are submitted to, and approved by, the Principal Certifier. BU021

5.8.	Implement dust control measures to ensure airborne dust particulates are abated and airborne movement of sediment blown from exposed disturbed areas is contained within the site.  EHCUST04

5.9.	Implement all erosion and sediment control measures and undertake works in accordance with the approved Erosion and Sediment Control Plan Drawing No: C-02 Revision B, prepared by Enscape Studio, dated 17.11.2022. Update the plan as required during all stages of the construction or in accordance with the ‘Blue Book’ (Managing Urban Stormwater: Soils and Construction, Landcom, 2004). EHCUST04

5.10.	Classify all excavated material removed from the site in accordance with NSW EPA (November 2014) Waste Classification Guidelines and/or the Resource Recovery Orders under Part 9, Clause 93 of the Protection of the Environment Operations (Waste) Regulation 2014. EHCUST04

5.11.	Carry out construction and/or demolition works between the following times only:

- Monday to Saturday: 6:00am to 6:00pm

- Sunday 7:00am to 5:00pm.

5.12. Do not give rise to offensive noise as defined in the Protection of the Environment Operations Act 1997.

6.PRIOR TO ISSUE OF ANY OCCUPATION CERTIFICATE

6.1.	All conditions under this section must be met prior to the issue of any Occupation Certificate.

6.2.	Obtain the Section 307 Certificate of Compliance under the Water Management Act 2000 for water and sewer requirements for the development from Central Coast Council as the Water Supply Authority, prior to issue of the Occupation Certificate.  EN083

6.3.	Complete construction of the stormwater management system in accordance with the Stormwater Management Plan and Australian Standard AS 3500.3-Stormwater drainage systems.  Certification of the construction by a suitably qualified consultant must be provided to the Principal Certifier.  EN036

6.4.	Repair any damage to Council’s infrastructure and road reserve as agreed with Council. Damage not shown in the dilapidation report submitted to Council before the development works had commenced will be assumed to have been caused by the development works unless the Developer can prove otherwise.  EN038

6.5.	Complete the civil engineering works within the development site in accordance with the detailed design drawings and design reports plans within the construction certificate.  EN040

6.6.	Amend the Deposited Plan (DP) for lot 82 DP 1108157 to:

- Include an Instrument under the Conveyancing Act 1919 for the following restrictive covenants; with Council having the benefit of these covenants and having sole authority to release and modify.  Wherever possible, the extent of land affected by these covenants must be defined by bearings and distances shown on the plan. The plan and instrument must:

- Create a ‘Restriction on the use of Land’ over all lots containing an on-site stormwater detention system and / or a nutrient / pollution facility restricting any alteration to such facility or the erection of any structure over the facility or the placement of any obstruction over the facility.

- Include an instrument under the Conveyancing Act 1919 for the following positive covenants; with Council having the benefit of these covenants and having sole authority to release and modify. Covenant(s) required:

- To ensure on any lot containing on-site stormwater detention system and / or a nutrient / pollution facility that:

    - the facility will remain in place and fully operational.

    - the facility is maintained in accordance with the operational and maintenance plan so that it operates in a safe and efficient manner.

    - Council’s officers are permitted to enter the land to inspect and repair the facility at the owner’s cost.

    - Council is indemnified against all claims of compensation caused by the facility.

Note:  Standard wording, acceptable to Council, for covenants can be obtained by contacting Council Subdivision Certificate Officer.

Submit to the Principal Certifier copies of registered title documents showing the restrictive and positive covenants.  EN042

6.7.	Complete construction of driveways and car parking areas in accordance with the requirements of the current edition Australian Standard AS/NZS 2890: Parking Facilities, other applicable Australian Standards and the detailed designs and design reports within the construction certificate. Accessible parking spaces to comply with AS/NZS 2890.6:2009. Certification by a suitably qualified person that construction is complete is to be provided to the Principal Certifier.   EN047

6.8.	Complete the landscaping works.  PL014

6.9.	Provide confirmation from an acoustic consultant that meets the eligibility criteria for membership to the Association of Australian Acoustical Consultants that all acoustic treatments recommended in in the Central Coast Adventist School Development Application Acoustic Assessment, 12 Penrose Crescent, Erina NSW, prepared by Acoustic Dynamics, dated 8 September 2022 have been implemented. EHCUST05

6.10. Implement the following Crime Prevention through Environmental Design (CPTED) principles and strategies to minimise the opportunity for crime:

- Provide adequate lighting to common areas.

- Design landscaping so as not to provide concealment opportunities for criminal activities.

- Provide signage within the school to to identify all facilities, entry/exit points and movement within the site.

7.PRIOR TO ISSUE OF ANY SUBDIVISION CERTIFICATE

No Conditions

8.PRIOR TO OCCUPATION OF THE MANUFACTURED HOME

No Conditions

9.ONGOING

9.1.	Maintain the site landscaping for the life of the development. PL046

9.2.	Operate and maintain all external lighting so as not to impact on any adjoining property.  PL059

9.3.	Hours of school operation (excluding after hours community activities) are permitted   between the following times:

- Monday to Friday: 8:00am to 4:00pm.

Any variation to these permitted times of operation requires the prior consent of the Council.

EHCUST07

10.PENALTIES

Failure to comply with this development consent and any condition of this consent may be a criminal offence.  Failure to comply with other environmental laws may also be a criminal offence.

Where there is any breach Council may without any further warning:

- Issue Penalty Infringement Notices (On-the-spot fines);

- Issue notices and orders;

- Prosecute any person breaching this consent, and/or

- Seek injunctions/orders before the courts to retain and remedy any breach.

Warnings as to Potential Maximum Penalties

Maximum Penalties under NSW Environmental Laws include fines up to $1.1 Million and/or custodial sentences for serious offences.

ADVISORY NOTES

- Carry out all work under this Consent in accordance with SafeWork NSW requirements including the Workplace Health and Safety Act 2011 No 10 and subordinate regulations, codes of practice and guidelines that control and regulate the development industry GL027

- Dial Before You Dig

Underground assets may exist in the area that is subject to your application. In the interests of health and safety and in order to protect damage to third party assets please contact Dial Before You Dig at www.1100.com.au or telephone on 1100 before excavating or erecting structures. (This is the law in NSW). If alterations are required to the configuration, size, form or design of the development upon contacting the Dial Before You Dig service, an amendment to the development consent (or a new development application) may be necessary. Individuals owe asset owners a duty of care that must be observed when working in the vicinity of plant or assets. It is the individual's responsibility to anticipate and request the nominal location of plant or assets on the relevant property via contacting the Dial Before You Dig service in advance of any construction or planning activities. GL030

- Telecommunications Act 1997 (Commonwealth)

Telstra (and its authorised contractors) are the only companies that are permitted to conduct works on Telstra's network and assets. Any person interfering with a facility or installation owned by Telstra is committing an offence under the Criminal Code Act 1995 (Cth) and is liable for prosecution. Furthermore, damage to Telstra's infrastructure may result in interruption to the provision of essential services and significant costs. If you are aware of any works or proposed works which may affect or impact on Telstra's assets in any way, you are required to contact: Telstra's Network Integrity Team on phone number 1800 810 443. GL031

- Install and maintain backflow prevention device(s) in accordance with Council’s WS4.0 Backflow Prevention Containment Policy. This policy can be found on Council’s website:

www.centralcoast.nsw.gov.au

This condition only applies if installation / alteration of plumbing and / or drainage works are proposed (excludes stormwater drainage) GL032

- The following public authorities may have separate requirements in the following aspects:

- Australia Post for the positioning and dimensions of mail boxes in new commercial and residential developments

- Jemena Asset Management for any change or alteration to the gas line infrastructure

- Ausgrid for any change or alteration to electricity infrastructure or encroachment within transmission line easements

- Telstra, Optus or other telecommunication carriers for access to their telecommunications infrastructure

- Central Coast Council in respect to the location of water, sewerage and drainage services. GL028

- Telecommunications Act 1997 (Commonwealth)

Telstra (and its authorised contractors) are the only companies that are permitted to conduct works on Telstra's network and assets. Any person interfering with a facility or installation owned by Telstra is committing an offence under the Criminal Code Act 1995 (Cth) and is liable for prosecution. Furthermore, damage to Telstra's infrastructure may result in interruption to the provision of essential services and significant costs. If you are aware of any works or proposed works which may affect or impact on Telstra's assets in any way, you are required to contact: Telstra's Network Integrity Team on phone number 1800 810 443. GL031