DRAFT CONDITIONS OF CONSENT

| Application No: |  | DA/3369/2022 |  |
| --- | --- | --- | --- |
| Proposed Development: |  | Alterations & Additions to Educational Establishment & Demolition of Block H Buildings - Integrated Development |  |
| Location: |  | 165 Serpentine Road, TERRIGAL NSW 2260 Lot 11 DP 1045814 |  |
| Date: | 11 September 2023 Ver 0 |  |  |

1.PARAMETERS OF THIS CONSENT

  - Approved Plans and Supporting Documentation

Development must be carried out in accordance with the following approved plans and supporting documentation (stamped by Council), except where the conditions of this consent expressly require otherwise.

| Plan No. | Rev No. | Plan Title | Drawn By | Dated |
| --- | --- | --- | --- | --- |
| Architectural Plans |  |  |  |  |
| A-0000 |  | Cover Sheet | Glendenning Szoboszlay Architects | undated |
| A-0100 | 01 | Site Location Plan | Glendenning Szoboszlay Architects | 17/07/2023 |
| A-0200 | 01 | Lower Ground Existing Plan | Glendenning Szoboszlay Architects | 17/07/2023 |
| A-0201 | 01 | Upper Ground Existing Plan | Glendenning Szoboszlay Architects | 17/07/2023 |
| A-0300 | 01 | Lower Ground Demolition Plan | Glendenning Szoboszlay Architects | 17/07/2023 |
| A-0301 | 01 | Upper Ground Demolition Plan | Glendenning Szoboszlay Architects | 17/07/2023 |
| A-0400 | 01 | Proposed Site Analysis Plan | Glendenning Szoboszlay Architects | 17/07/2023 |
| A-0401 | 01 | Proposed Site Plan | Glendenning Szoboszlay Architects | 17/07/2023 |
| A-0500 | 04 | Site & Construction Management Plans / Environmental Site Management Plan | Glendenning Szoboszlay Architects | 07/09/2023 |
| A-1100 | 01 | GA Floor Plans / Proposed Overall Lower Ground | Glendenning Szoboszlay Architects | 17/07/2023 |
| A-1101 | 01 | GA Floor Plans / Proposed Overall Upper Ground | Glendenning Szoboszlay Architects | 17/07/2023 |
| A-1102 | 01 | GA Floor Plans / Proposed Overall Roof Plan | Glendenning Szoboszlay Architects | 17/07/2023 |
| A-1103 | 01 | GA Floor Plans / Proposed Lower Ground | Glendenning Szoboszlay Architects | 17/07/2023 |
| A-1104 | 01 | GA Floor Plans / Proposed Upper Ground | Glendenning Szoboszlay Architects | 17/07/2023 |
| A-1200 | 01 | Sections | Glendenning Szoboszlay Architects | 17/07/2023 |
| A-1300 | 01 | Elevations 1 of 3 | Glendenning Szoboszlay Architects | 17/07/2023 |
| A-1301 | 01 | Elevations 2 of 3 | Glendenning Szoboszlay Architects | 17/07/2023 |
| A-1302 | 01 | Elevations 3 of 3 | Glendenning Szoboszlay Architects | 17/07/2023 |
| A-9000 | 01 | DCP Diagrams / Materials & Finishes | Glendenning Szoboszlay Architects | 17/07/2023 |
| Landscape Plans |  |  |  |  |
| 111.23(22)/ 248 | - | Concept Landscape Plan | iScape Landscape Architecture | July 2023 |
| 111.23(22)/ 249 | - | Landscape Plan / Schedule of Plant Material | iScape Landscape Architecture | July 2023 |
| 111.23(22)/ 250 | - | Landscape Plan / Materials Palette | iScape Landscape Architecture | July 2023 |
| Engineering Plans |  |  |  |  |
| N0220408 CSK01 | A | Stormwater Management Plan – Notes & Legend | JN Responsive Engineering | 13/07/2023 |
| N0220408 CSK02 | A | Stormwater Management Plan – Typical Details | JN Responsive Engineering | 13/07/2023 |
| N0220408 CSK03 | A | Stormwater Management Plan – WSUD Plan | JN Responsive Engineering | 14/07/2023 |
| N0220408 CSK04 | B | Stormwater Management Plan – Lower Ground | JN Responsive Engineering | 18/07/2023 |
| N0220408 CSK05 | B | Stormwater Management Plan – Upper Ground | JN Responsive Engineering | 18/07/2023 |
| N0220408 CSK06 | B | Stormwater Management Plan – Roof | JN Responsive Engineering | 18/07/2023 |
| N0220408 ESM1 | A | Erosion and Sediment Control Plan – Notes & Legend | JN Responsive Engineering | 13/07/2023 |
| N0220408 ESM2 | B | Erosion and Sediment Control Plan – Typical Details | JN Responsive Engineering | 11/08/2023 |
| N0220408 ESM3 | D | Erosion and Sediment Control Plan - Site Plan | JN Responsive Engineering | 11/08/2023 |
| N0220408 C400 | 5 | Bulk Earthworks Plan | JN Responsive Engineering | 18/07/2023 |

| Document Title | Version No. | Prepared by | Dated |
| --- | --- | --- | --- |
| Plan of Management | 3 | Our Lady Star of the Sea | 08/08/2023 |
| Environmental Noise Assessment, Ref: 7518-1.1R | A | Day Design Pty Ltd | 14/07/2023 |
| Traffic Impact Assessment, Ref: P2402 | - | Seca Solution | 17/07/2023 |
| Traffic Addendum Letter | - | Seca Solution | 17/07/2023 |
| DA Access Report, Ref: CA220049-DA | A | Accessed | 14/07/2023 |
| Bushfire Assessment Report, Ref: 231176 | - | Building Code & Bushfire Hazard Solutions Pty Limited | 18/07/2023 |
| Ecological Assessment Report, Ref: 2625.01 | 03 | AEP | 13/07/2023 |
| Arboricultural Impact Assessment, Ref: 22-156 (2023)a-01 | 01 | Advanced Treescape Consulting | 17/07/2023 |
| BCA Compliance Assessment, Ref: P220143 | 3 | BCA Vision | 10/07/2023 |
| Waste Management Plan | 1.1 | MRA Consulting Group | 10/07/2023 |

In the event of any inconsistency between the approved plans and the supporting documentation, the approved plans prevail. In the event of any inconsistency between the approved plans and a condition of this consent, the condition prevails.

Note: an inconsistency occurs between an approved plan and supporting documentation or between an approved plan and a condition when it is not possible to comply with both at the relevant time.  GL002

1.2.	Approval is granted for the development to be carried out in the following stages:

Stage 1

- Construction of new Block F to replace Block I and associated site works other than 2 classrooms which are to remain until completion of the project.

- Construction of a new lift connected to Block B and a connected disabled access link and covered walkway.

- Earthworks

- The extension of an internal access road.

Stage 2A

- Refurbishment of Block C, Block D and Block E.

Stage 2B

- Construction of a covered walkway that is to connect with the Stage 1 covered walkway.

Stage 3

- Demolition of Block H buildings.

- Construction of a stormwater swale located to the north of the site.

Works are to be finalised appropriate for each stage prior to the release of the Occupation Certificate.

1.3.	Stages 1, 2A, 2B, & 3 - Carry out all building works in accordance with the National Construction Code Series, Building Code of Australia, Volume 1 and 2 as appropriate. GL003

1.4.	Stages 1, 2A & 2B - Comply with the General Terms of Approval from the Authorities as listed below and attached as a schedule of this consent. GL005

| Government Agency / Department / Authority | Description | Ref No | Date |
| --- | --- | --- | --- |
| NSW Rural Fire Service | General Terms of Approval | DA20221130012036-CL55-1 | 17/08/2023 |

2.PRIOR TO ISSUE OF THE RELEVANT CONSTRUCTION CERTIFICATE

2.1.	All conditions under this section must be met prior to the issue of the relevant Construction Certificate.

2.2.	Stages 1, 2A, 2B, & 3 - No activity is to be carried out on-site until the Construction Certificate has been issued, other than:

- Site investigation for the preparation of the construction, and / or

- Implementation of environmental protection measures, such as erosion control and the like that are required by this consent.

- Demolition.  GL009

2.3.	Stages 1, 2A & 2B - Submit to the Registered Certifier details showing an accessway from the existing accessible car spaces within the premises to the building which will achieve total conformity with the National Construction Code Series, Building Code of Australia, Volume 1.

Note: Required by Clause 64 of the Environmental Planning and Assessment Regulation 2021. BU008

2.4.	Stages 1, 2A & 2B - Submit to the Registered Certifier details for new construction and upgrade to existing buildings compliant with Planning for Bush Fire Protection 2019, relevant Australian Standards, and in accordance with the criteria specified by conditions fourthly and fifthly referred to in the NSW Rural Fire Service General Terms of Approval dated 17 August 2023, Ref: DA20221130012036-CL55-1.

2.5.	Stages 1, 2A, 2B, & 3 - Submit to Council a dilapidation report detailing the condition of all Council assets within the vicinity of the development. The report must document and provide photographs that clearly depict any existing damage to the road, kerb, gutter, footpath, driveways, street trees, street signs, street lights or any other Council assets, in particular in the vicinity of the intersection of the access road and Serpentine Road. The dilapidation report will be required to be submitted to Council prior to the issue of the relevant construction certificate for works on the site. The dilapidation report may be updated with the approval of Council prior to the commencement of works. The report will be used by Council to establish damage to Council’s assets resulting from the development works.   EN019

2.6.	Stage 1 - Submit to the Registered Certifier responsible for issuing the construction certificate for works within the development site detailed design drawings and design reports for the following engineering works:

- Construction of nutrient and pollution control measures. The design shall be in accordance with Chapter 3.1 Part C of the Central Coast Development Control Plan 2022. A nutrient and pollution control report including an operation and maintenance plan must accompany the design. The design shall be generally in accordance with the plans by JN Responsive (Job No N0222408, Sheets CSK01A dated 13/07/2023, CSK02A dated 13/07/2023, CSK03A dated 14/07/2023, CSK04B dated 18/07/2023, CSK05B dated 18/07/2023, and CSK06B dated 18/07/2023).

- Provision of on-site stormwater retention measures. The design shall be in accordance with Chapter 3.1 Part C of the Central Coast Development Control Plan 2022. A minimum volume of 10,000 litres shall be provided in the form of a rainwater tank generally in accordance with the plans by JN Responsive (Job No N0222408, Sheets CSK01A dated 13/07/2023, CSK02A dated 13/07/2023, CSK03A dated 14/07/2023, CSK04B dated 18/07/2023, CSK05B dated 18/07/2023, and CSK06B dated 18/07/2023). An operation and maintenance plan must accompany the design.

- Construction of stormwater drainage collection and piping of all stormwater runoff from all areas within the site associated with this stage of the development to the existing stormwater drainage system within the site.

- Construction of retaining walls where required to facilitate the proposed engineering works. Retaining wall design must not conflict with existing or proposed services or utilities. Retaining walls designs for wall greater than 600mm in height must be certified by a registered practising Civil or Structural engineer as being in accordance with Australian Standards.

Detailed design drawings and design reports acceptable to the Registered Certifier must be included in the Construction Certificate documentation.  EN022

2.7.	Stage 1 - Submit to the Registered Certifier responsible for issuing the construction certificate for works within the development site detailed design drawings and design reports for the following engineering works:

- Construction of an extension of the internal access road on the north-western side of the playing field to incorporate a turning area for bushfire emergency access compliant with Planning for Bush Fire Protection 2019, relevant Australian Standards, and in accordance with the criteria specified by the conditions firstly, sixthly and seventhly referred to in the NSW Rural Fire Service General Terms of Approval dated 17 August 2023, Ref: DA20221130012036-CL55-1.

Detailed design drawings and design reports acceptable to the Registered Certifier must be included in the Construction Certificate documentation.  EN022

2.8.	Stages 2A & 2B - Submit to the Registered Certifier responsible for issuing the construction certificate for works within the development site detailed design drawings and design reports for the following engineering works:

- Construction of stormwater drainage collection and piping of all stormwater runoff from all areas within the site associated with this stage of the development to the existing stormwater drainage system within the site.

Detailed design drawings and design reports acceptable to the Registered Certifier must be included in the Construction Certificate documentation.  EN022

2.9.	Stage 3 - Submit to the Registered Certifier responsible for issuing the construction certificate for works within the development site detailed design drawings and design reports for the following engineering works:

- Construction of stormwater drainage collection and piping of all stormwater runoff from all areas within the site associated with this stage of the development to the existing stormwater drainage system within the site.

- Construction of a catch drain within the northern boundary of the site on the northern side of Blocks D & E that has a minimum capacity to accommodate the stormwater flows from the contributing drainage catchment associated with the 1%AEP recurrence interval.  The location of these works are to be as indicated in the plan by JN Responsive, Ref Job No N0222408, Sheet CSK05B dated 18/07/2023.

Detailed design drawings and design reports acceptable to the Registered Certifier must be included in the Construction Certificate documentation.  EN022

2.10.	Stages 1 & 2A   - Provide confirmation from an Association of Australian Acoustical Consultant member acoustic consultant that the detailed design of the mechanical plant and equipment will meet the project specific noise criteria at all residential receivers selected in the Environmental Noise Assessment, Alterations and Additions, Our Lady Star of the Sea Catholic Primary School, 165 Serpentine Road, Terrigal, NSW, dated 14 July 2023, prepared by Day Design Pty Ltd.

EHCUST01

2.11.	Stage 1 - Submit an application to Council under section 305 of the Water Management Act 2000 for a section 306 Requirements Letter. The Application form can be found on Council’s website centralcoast.nsw.gov.au. Early application is recommended.

The section 305 application will result in a section 306 letter of requirements which must be obtained prior to the issue of any Construction Certificate. The requirements letter will outline which requirements must be met prior to each development milestone e.g. prior to construction certificate, subdivision works certificate, occupation certificate and/or subdivision certificate.

2.12.	Stage 1 - Pay to Council a contribution amount of $70,440.00, that may require adjustment at time of payment, in accordance with the Central Coast Regional Section 7.12 Development Contribution Plan 2019.

The total amount to be paid must be indexed each quarter in accordance with the Consumer Price Index (All Groups index) for Sydney issued by the Australian Statistician as outlined in the contribution plan.

Contact Council’s Contributions Planner on (02) 4306 7900 for an up-to-date contribution payment amount.

Any Construction Certificate must not be issued until the developer has provided the Certifier with a copy of a receipt issued by Council that verifies the contributions have been paid. A copy of this receipt must accompany the documents submitted by the Principal Certifier to Council under Clause 104/Clause 160(2) of the Environmental Planning and Assessment Regulation 2021.

A copy of the Contribution Plan may be inspected at the offices of Central Coast Council, 49 Mann Street Gosford, or 2 Hely Street Wyong, or on Council's website:

Development Contributions - former Gosford LGA CP010

3.PRIOR TO ISSUE OF ANY SUBDIVISION WORKS CERTIFICATE

No Conditions

4.PRIOR TO COMMENCEMENT OF ANY WORKS

4.1.	All conditions under this section must be met prior to the commencement of any works as part of the relevant stages.

4.2.	Stages 1, 2A, 2B, & 3 - Appoint a Principal Certifier for the building work:

- The Principal Certifier (if not Council) is to notify Council of their appointment and notify the person having the benefit of the development consent of any critical stage inspections and other inspections that are to be carried out in respect of the building work no later than two (2) days before the building work commences.

- Submit to Council a Notice of Commencement of Building Work form giving at least two (2) days’ notice of the intention to commence building work. The forms can be found on Council’s website: www.centralcoast.nsw.gov.au  GL010

4.3.	Stages 1, 2A, 2B, & 3 - Erect a sign in a prominent position on any work site on which building, subdivision or demolition work is being carried out. The sign must indicate:

- The name, address and telephone number of the Principal Certifier for the work; and

- The name of the principal contractor and a telephone number at which that person can be contacted outside of working hours; and

- That unauthorised entry to the work site is prohibited.

- Remove the sign when the work has been completed.  GL011

4.4.	Stages 1, 2A & 3 - Submit both a Plumbing and Drainage Inspection Application, with the relevant fee, and a Plumbing and Drainage Notice of Work in accordance with the Plumbing and Drainage Act 2011 (to be provided by licensed plumber). These documents can be found on Council’s website at: www.centralcoast.nsw.gov.au

Contact Council prior to submitting these forms to confirm the relevant fees.

This condition only applies if installation / alteration of plumbing and / or drainage works are proposed (excludes stormwater drainage). This condition does not apply to swimming pool plumbing that does not physically connect / break into the sewer system.   GL012

4.5.	Stages 1, 2A, 2B, & 3 - Provide and maintain a garbage receptacle at the work site until the works are completed. The garbage receptacle must have a tight-fitting lid and be suitable for food scraps and papers. BU011

4.6.	Stages 1, 2A, 2B, & 3 - Erect a temporary hoarding or temporary construction site fence between the work site and adjoining lands before the works begin and must be kept in place until after the completion of the works, if the works:

- could cause a danger, obstruction or inconvenience to pedestrian or vehicular traffic, or

- could cause damage to adjoining lands by falling objects, or

- involve the enclosure of a public place or part of a public place.

Note 1:  A structure on public land or on or over a public road requires the prior approval of the relevant authority under the Local Government Act 1993 or the Roads Act 1993, respectively.

Note 2:  The Work Health and Safety Act 2011 and Work Health and Safety Regulation 2011 contain provisions relating to scaffolds, hoardings and other temporary structures. BU017

4.7.	Stages 1, 2A, 2B, & 3 - Provide or make available toilet facilities at the work site before works begin and maintain the facilities until the works are completed at a ratio of one toilet plus one additional toilet for every twenty (20) persons employed at the site.

Each toilet must:

a)	be a standard flushing toilet connected to a public sewer, or

b)	have an on-site effluent disposal system approved under the Local Government Act 1993, or

c)	be a temporary chemical closet approved under the Local Government Act 1993. BU018

4.8.	Stages 1, 2A, 2B, & 3 - Disconnect, seal and make safe all existing site services prior to the commencement of any demolition on the site. Sewer and water services must be disconnected by a licensed plumber and drainer with a Start Work Docket submitted to Council's Plumbing and Drainage Inspector as the Water and Sewer Authority. BU015

4.9.	Stages 1, 2A, 2B, & 3 - Tree protection is to be as per the recommendations of the Arboricultural Impact Assessment, prepared by Advance Treescape Consulting dated 17 July 2023.

4.10.	Stages 1, 2A, 2B, & 3 - Prepare a Construction Traffic and Pedestrian Management Plan (CTPMP) for all activities related to works within the site. The plan must be prepared and implemented only by persons with Roads and Maritime Service accreditation for preparing and implementing traffic management plans at work sites.

The CTPMP must describe the proposed construction works, the traffic impacts on the local area and how these impacts will be addressed.

The CTPMP must address, but not be limited to, the following matters:

- Ingress and egress of construction related vehicles to the development site.

- Details of the various vehicle lengths that will be used during construction and the frequency of these movement.

- Use of swept path diagrams to demonstrate how heavy vehicles enter, circulate and exit the site or Works Zone in a forward direction.

- Deliveries to the site, including loading / unloading materials and requirements for work zones within the development site. A Plan is to be included that shows where vehicles stand to load and unload, where construction plant will stand, location of storage areas for equipment, materials and waste, locations of Work Zones (if required) and location of cranes (if required).

- Works Zones within the site in a forward direction.

- Control of pedestrian and vehicular traffic where pre-construction routes and parking arrangements are affected. Provision of access for people with disabilities within the site are to also be accommodated in the plan where construction impacts on pre-construction arrangements.

- Demolition and construction vehicles should be restricted to accessing the site outside of peak school times.

The development shall not propose changes to the existing pedestrian and vehicular paths within any public road reserves.

All loading and unloading operations are to occur within the site. No loading or unloading operations are to occur within any public road reserves.

The Construction Traffic and Pedestrian Management Plan must be reviewed and updated during construction of the development to address any changing site conditions.

A copy of the Construction Traffic and Pedestrian Management Plan must be held on site at all times and be made available to Council upon request.

EN030

5.DURING WORKS

5.1.	All conditions under this section must be met during works.

5.2.	Stages 1, 2A, 2B, & 3 - The principal certifier must ensure that building work, demolition, earthworks and/or vegetation removal is only carried out between:

7.00 am and 5.00 pm on Monday to Saturday.

The principal certifier must ensure building work, demolition, earthworks and/or vegetation removal is not carried out on Sundays and public holidays, except where there is an emergency.

Unless otherwise approved within a construction site management plan, construction vehicles, machinery, goods or materials must not be delivered to the site outside the approved hours of site works.

Note: Any variation to the hours of work requires Council’s approval.  GL014

5.3.	Stages 1, 2A, 2B, & 3 - Keep a copy of the stamped approved plans on-site for the duration of site works and make the plans available upon request to either the Principal Certifier or an officer of Council.  GL017

5.4.	Stages 1, 2A & 3 - Notify Council when plumbing and drainage work will be ready for inspection(s) and make the work accessible for inspection in accordance with the Plumbing and Drainage Act 2011.

This condition only applies if installation / alteration of plumbing and / or drainage works are proposed (excludes stormwater drainage).  GL018

5.5.	Stages 1, 2A, 2B, & 3 - While demolition or building work is being carried out, all such works must cease immediately if a relic or Aboriginal object is unexpectedly discovered. The applicant must notify the Heritage Council of NSW in respect of a relic and notify the Secretary of the Department of Planning, Industry and Environment and the Heritage Council of NSW in respect of an Aboriginal object. Building work may recommence at a time confirmed by either the Heritage Council of NSW or the Secretary of the Department of Planning, Industry and Environment.

In this condition:

“relic” means any deposit, artefact, object or material evidence that:

(a)	relates to the settlement of the area that comprises New South Wales, not being Aboriginal settlement, and

(b)	is of State or local heritage significance; and

“Aboriginal object” means any deposit, object or material evidence (not being a handicraft made for sale) relating to the Aboriginal habitation of the area that comprises New South Wales, being habitation before or concurrent with (or both) the occupation of that area by persons of non-Aboriginal extraction and includes Aboriginal remains. To ensure the protection of objects of potential significance GL015

5.6.	Stages 1, 2A, 2B, & 3 - Undertake the removal of trees as shown on the approved plan in a manner so as to prevent damage to those trees that are to be retained.  TR010

5.7.	Stages 1, 2A, 2B, & 3 - Demolish all buildings and / or building components in a safe and systematic manner in accordance with Australian Standard AS 2601-2001: The demolition of structures. Waste materials must be disposed of at a waste management facility. BU032

5.8.	Stages 1, 2A, 2B, & 3 - Place all building materials, plant and equipment on the site of the development during the construction phase of the development so as to ensure that pedestrian and vehicular access within adjoining public roads, footpaths and reserve areas, is not restricted and to prevent damage to public infrastructure. Further, no construction work is permitted to be carried out within the road reserve unless the works are associated with a separate approval issued under the provisions of the Roads Act 1993.  GL033

5.9.	Stages 1, 2A, 2B, & 3 - Implement all erosion and sediment control measures and undertake works in accordance with the approved Erosion and Sediment Control Plan titled ESM Site Plan, dated 11/08/2023, and Typical Details, dated 11/08/2023 prepared by Jones Nicholson Pty Ltd. Update the plan as required during all stages of the construction or in accordance with the ‘Blue Book’ (Managing Urban Stormwater: Soils and Construction, Landcom, 2004).

5.10.	Stages 1, 2A, 2B, & 3 - Re-use, recycle or dispose of all building materials in accordance with the Waste Management Plan prepared by MRA Consulting Group, dated 10 July 2023. BU026

5.11.	Stages 1, 2A, 2B, & 3 - No soils to be imported to the subject site except for Virgin Excavated Natural Material (VENM) as defined in Schedule 1 of the Protection of the Environment Operations Act 1997 and/ or Excavated Natural Material (ENM) that meets the Resource Recovery Orders under Part 9, Clause 93 of the Protection of the Environment Operations (Waste) Regulation 2014

EHCUST04

5.12.	Stages 1, 2A, 2B, & 3 - Classify all excavated material removed from the site in accordance with NSW EPA (November 2014) Waste Classification Guidelines and/or the Resource Recovery Orders under Part 9, Clause 93 of the Protection of the Environment Operations (Waste) Regulation 2014. EHCUST04

5.13.	Stages 1, 2A, 2B, & 3 - Implement dust suppression measures on-site during earthworks to suppress dust generated by vehicles and equipment. Dust must also be suppressed at all other stages of construction in order to comply with the Protection of the Environment Operations Act 1997.

EHCUST04

5.14.	Stages 1, 2A, 2B, & 3 - Implement dust control measures to ensure airborne dust particulates are abated and airborne movement of sediment blown from exposed disturbed areas is contained within the site.

5.15.	Stages 1, 2A, 2B, & 3 - While building work is being carried out and where no noise and vibration management plan is approved under this consent, the applicant is to ensure that any noise caused by demolition, earthworks, vegetation removal or construction does not exceed an LAeq (15 min) of 5dB(A) above background noise, when measured at any lot boundary of the property where the construction is being carried out.

5.16.	Stages 1, 2A, & 2B - The Inner Protection Area (IPA) must be established and managed for the entire property in accordance with the requirements of Appendix 4 of Planning for Bush Fire Protection 2019 and in accordance with the criteria specified by the condition secondly referred to in the NSW Rural Fire Service General Terms of Approval dated 17 August 2023, Ref: DA20221130012036-CL55-1.

5.17.	Stages 1, 2A & 2B – Water, electricity and gas must be provided in accordance with Planning for Bush Fire Protection 2019 and in accordance with the criteria specified by the condition eighthly referred to in the NSW Rural Fire Service General Terms of Approval dated 17 August 2023, Ref: DA20221130012036-CL55-1.

6.PRIOR TO ISSUE OF THE RELEVANT OCCUPATION CERTIFICATE

6.1.	All conditions under this section must be met prior to the issue of the relevant Occupation Certificate.

6.2.	Stages 1, 2A, 2B, & 3 - Prior to the occupation or use of the building/structure, an application for an Occupation Certificate for the development must be submitted to and approved by the Principal Certifier. The Occupation Certificate application is to satisfy all of the requirements of the Environmental Planning and Assessment Regulation 2000 OR Environmental Planning and Assessment (Development Certification and Fire Safety) Regulation 2021 (as appropriate).PL012

6.3.	Stages 1, 2A, 2B, & 3 - Complete the building in accordance with the relevant provisions and requirements of the National Construction Code Series. BU036

6.4.	Stages 1, 2A & 3 - Obtain a satisfactory plumbing and drainage final inspection in accordance with the requirements of the Plumbing and Drainage Act 2011.

This condition only applies if installation / alteration of plumbing and / or drainage works are proposed (excludes stormwater drainage). This condition does not apply to swimming pool plumbing that does not physically connect / break into the sewer system.  GL042

6.5.	Stages 1, 2A, 2B, & 3 - Complete the relevant landscaping works in accordance with the Landscape Plan.  PL014

6.6.	Stages 1, 2A, 2B, & 3 - Plant a minimum of five (5) replacement trees (advanced specimens, min 25lt pot size). Replacement trees must be native species capable of achieving a minimum height of 10m.

New trees are not to be located within an authority’s service easement, or within 3m of an approved building. Where the replacement tree dies or is substantially damaged within five (5) years of planting, it must be replaced and maintained to maturity.  TR016

Rehabilitate / landscape the area of demolished buildings.

6.7.	Stages 1, 2A, 2B, & 3 - Complete the relevant civil engineering works within the development site in accordance with the detailed design drawings and design reports plans within the construction certificate.  EN040

6.8.	Stages 1, 2A, 2B, & 3 - Complete construction of the relevant stormwater management system in accordance with the Stormwater Management Plan and Australian Standard AS 3500.3-Stormwater drainage systems.  Certification of the construction by a suitably qualified consultant must be provided to the Principal Certifier.  EN036

6.9.	Stages 1, 2A, 2B, & 3 - Repair any damage to Council’s infrastructure and road reserve as agreed with Council. Damage not shown in the dilapidation report submitted to Council before the development works had commenced will be assumed to have been caused by the development works unless the Developer can prove otherwise.  EN038

6.10.	Stage 1 - Obtain the Section 307 Certificate of Compliance under the Water Management Act 2000 for water and sewer requirements for the development from Central Coast Council as the Water Supply Authority, prior to issue of the Occupation Certificate.  EN083

6.11.	Stages 1 & 2A - Provide confirmation from an Association of Australian Acoustical Consultants member acoustic consultant that the operational mechanical plant and equipment meet the project specific noise criteria at all residential receivers selected in the Environmental Noise Assessment, Alterations and Additions, Our Lady Star of the Sea Catholic Primary School, 165 Serpentine Road, Terrigal, NSW, dated 14 July 2023, prepared by Day Design Pty Ltd.

EHCUST05

6.12.	Stages 1, 2A & 2B – Prepare Bush Fire Emergency Management and Evacuation Plan in accordance with the NSW Rural Fire Service document: A Guide to Developing a Bush Fire Emergency Management and Evacuation Plan and in accordance with the criteria specified by the condition ninthly referred to in the NSW Rural Fire Service General Terms of Approval dated 17 August 2023, Ref: DA20221130012036-CL55-1.

6.13	Stages 1, 2A & 2B - Provide the Registered Certifier with written certification from a recognised Bushfire Consultant certifying the development has been completed in accordance with the General Terms of Approval/Bush Fire Safety Authority, dated 17 August 2023, Ref: DA20221130012036-CL55-1 issued by the NSW Rural Fire Service.

7.PRIOR TO ISSUE OF ANY SUBDIVISION CERTIFICATE

No Conditions

8.PRIOR TO OCCUPATION OF THE MANUFACTURED HOME

No Conditions

9.ONGOING

9.1.	Operate in accordance with the Plan of Management, Our Lady Star of the Sea, 165 Serpentine Road Terrigal, Construction of General Learning Areas, Revision 3, dated 8 August 2023, except whereby modified by conditions of consent.

9.2.	Operate and maintain all external lighting so as not to impact on any adjoining property.  PL059

9.3.	Maintain the site landscaping for the life of the development. PL046

9.4.	Comply with all commitments as detailed in the Waste Management Plan prepared by MRA Consulting Group, dated 10 July 2023. WA013

9.5.	The Inner Protection Area (IPA) must be managed for the entire property in accordance with the requirements of Appendix 4 of Planning for Bush Fire Protection 2019 and in accordance with the criteria specified by the condition secondly referred to in the NSW Rural Fire Service General Terms of Approval dated 17 August 2023, Ref: DA20221130012036-CL55-1.

9.6.	Landscaping within the required Inner Protection Area (IPA) must comply with the requirements of Appendix 4 of Planning for Bush Fire Protection 2019 and in accordance with the criteria specified by the condition thirdly referred to in the NSW Rural Fire Service General Terms of Approval dated 17 August 2023, Ref: DA20221130012036-CL55-1.

10.PENALTIES

Failure to comply with this development consent and any condition of this consent may be a criminal offence.  Failure to comply with other environmental laws may also be a criminal offence.

Where there is any breach Council may without any further warning:

- Issue Penalty Infringement Notices (On-the-spot fines);

- Issue notices and orders;

- Prosecute any person breaching this consent, and/or

- Seek injunctions/orders before the courts to retain and remedy any breach.

Warnings as to Potential Maximum Penalties

Maximum Penalties under NSW Environmental Laws include fines up to $1.1 Million and/or custodial sentences for serious offences.

ADVISORY NOTES

- Discharge of sediment from a site may be determined to be a pollution event under provisions of the Protection of the Environment Operations Act 1997. Enforcement action may commence where sediment movement produces a pollution event. GL027

- The following public authorities may have separate requirements in the following aspects:

- Australia Post for the positioning and dimensions of mail boxes in new commercial and residential developments

- Jemena Asset Management for any change or alteration to the gas line infrastructure

- Ausgrid for any change or alteration to electricity infrastructure or encroachment within transmission line easements

- Telstra, Optus or other telecommunication carriers for access to their telecommunications infrastructure

- Central Coast Council in respect to the location of water, sewerage and drainage services. GL028

- Carry out all work under this Consent in accordance with SafeWork NSW requirements including the Workplace Health and Safety Act 2011 No 10 and subordinate regulations, codes of practice and guidelines that control and regulate the development industry GL027

- Dial Before You Dig

Underground assets may exist in the area that is subject to your application. In the interests of health and safety and in order to protect damage to third party assets please contact Dial Before You Dig at www.1100.com.au or telephone on 1100 before excavating or erecting structures. (This is the law in NSW). If alterations are required to the configuration, size, form or design of the development upon contacting the Dial Before You Dig service, an amendment to the development consent (or a new development application) may be necessary. Individuals owe asset owners a duty of care that must be observed when working in the vicinity of plant or assets. It is the individual's responsibility to anticipate and request the nominal location of plant or assets on the relevant property via contacting the Dial Before You Dig service in advance of any construction or planning activities. GL030

- Telecommunications Act 1997 (Commonwealth)

Telstra (and its authorised contractors) are the only companies that are permitted to conduct works on Telstra's network and assets. Any person interfering with a facility or installation owned by Telstra is committing an offence under the Criminal Code Act 1995 (Cth) and is liable for prosecution. Furthermore, damage to Telstra's infrastructure may result in interruption to the provision of essential services and significant costs. If you are aware of any works or proposed works which may affect or impact on Telstra's assets in any way, you are required to contact: Telstra's Network Integrity Team on phone number 1800 810 443. GL031

- NSW Rural Fire Service

The NSW Rural Fire Service recognises the approach adopted in the National Construction Code 2022 (NCC 2022) for determining and certifying evidence of suitability for materials, construction, and designs. Prescriptive compliance with specification 43 (sections S43C3, S43C4, S43C5, S43C6, S43C7, S43C8, S43C9, S43C12 and S43C13) is specified. Performance-based solutions proposed in lieu of compliance with the prescriptive provisions of Specification 43 (sections S43C3, S43C4, S43C5, S43C6, S43C7, S43C8, S43C9, S43C12 and S43C13 of NCC 2022) need to be assessed in accordance with the NCC 2022 by the Certifying Authority.

- Install and maintain backflow prevention device(s) in accordance with Council’s WS4.0 Backflow Prevention Containment Policy. This policy can be found on Council’s website:

www.centralcoast.nsw.gov.au

This condition only applies if installation / alteration of plumbing and / or drainage works are proposed (excludes stormwater drainage).GL032