[image: image1.jpg]- PORT STEPHENS
W

COUNCIL




[image: image1.jpg]

	RECOMMENDED CONDITIONS OF CONSENT


1.0 - General Conditions of Consent

The following conditions of consent are general conditions applying to the development.

(1)
External agency approvals – The requirements from the following agencies must be complied with prior to, during, and at the completion of the development.
The Requirements are:

1.  Ausgrid – Reference no. 1900119708 dated 25 February 2023.
A copy of the Requirements is attached to this determination notice. 

(2)
Approved plans and supporting documentation – Development must be carried out in accordance with the following approved plans and supporting documentation (stamped by Council), except where the conditions of this consent expressly require otherwise.
	Plan No.
	Revision No.
	Plan Title.
	Drawn By.
	Dated.

	
	
	
	
	

	13098 DA-0-003
	F
	Site Plan
	EJE Architecture
	15/9/2023

	13098  DA-0-006
	D
	Site Demolition Plan
	EJE Architecture
	15/9/2023

	13098  DA-0-050
	F
	Ground NLH and Block G Library Extension
	EJE Architecture
	15/9/2023

	13098  DA-0-051
	A
	Carpark Plan
	EJE Architecture
	6/9/2023

	13098 DA-0-100
	D
	New Entry Structure
	EJE Architecture
	6/9/2023

	13098 DA-1-100

	D
	NLH – Ground – GA Plan
	EJE Architecture
	6/9/2023

	13098 DA-1-120
	D
	NLH – Roof Plan
	EJE Architecture
	6/9/2023

	13098 DA-1-200
	D
	NLH – Elevations – Sheet 1
	EJE Architecture
	6/9/2023

	13098 DA-1-201
	D
	NLH – Elevations – Sheet 2
	EJE Architecture
	6/9/2023

	13098 DA-1-210
	D
	NLH – Material Finishes
	EJE Architecture
	6/9/2023

	13098 DA-1-300
	D
	NLH - Sections
	EJE Architecture
	6/9/2023

	13098 DA-2-110
	D
	Block G – Zone A – GA Plan
	EJE Architecture
	6/9/2023

	13098 DA-2-130
	D
	Block G – Zone A – Demolition Plan
	EJE Architecture
	6/9/2023

	13098 DA-2-200
	D
	Block G – Zone A – Elevations
	EJE Architecture
	6/9/2023

	13098 DA-2-300
	D
	Block G – Zone A - Sections
	EJE Architecture
	6/9/2023

	13098.5 DA-L01
	G
	Layout Plan
	Terras Landscape Architects
	6/10/2023

	13098.5 DA-L02 & DA-L03
	G
	Landscape Plan 01 & 02
	Terras Landscape Architects
	6/10/2023

	13098.5 DA-L04
	G
	Replacement Tree Planting
	Terras Landscape Architects
	6/10/2023

	13098.5 DA-L05
	G
	Landscape Palette
	Terras Landscape Architects
	6/10/2023

	DR-C-055001
	C
	Demolition Plan
	Stantec Australia Pty Ltd
	8/8/2022

	DR-C-060001
	C
	General Arrangement Plan Site Wide
	Stantec Australia Pty Ltd
	8/8/2022

	DR-C-060101,  060102 & 060103 
	C
	Siteworks Plan-Sheet 1, 2 & 3
	Stantec Australia Pty Ltd
	8/8/2022

	DR-C-070001 & 076001
	C
	Erosion & Sediment Control Plan & Details
	Stantec Australia Pty Ltd
	8/8/2022

	DR-C- 100001
	B
	Bulk Earthworks Plan
	Stantec Australia Pty Ltd
	8/8/2022

	DR-C-406001, 406002 & 406003 
	C
	Road Details Sheet 1, 2 & 3
	Stantec Australia Pty Ltd
	8/8/2022

	DR-C-440001,  440002 & 440003
	B
	Pavement Plan Sheet 1, 2 & 3
	Stantec Australia Pty Ltd
	8/8/2022

	DR-C-526001,  526002 & 526003
	C
	Stormwater Drainage Details Sheet 1, 2 & 3
	Stantec Australia Pty Ltd
	8/8/2022

	DR-C-525001 & 525002
	C & A
	Stormwater Overland Flow 1% AEP Sheet 1 & 2 of 2
	Stantec Australia Pty Ltd
	17/11/2023


	Document Title.
	Version No.
	Prepared By.
	Dated.

	Noise and Vibration Impact Assessment
	Revision C
	JHA
	14 April 2023

	Accessibility Assessment Report
	Revision 0
	Blackett Macguire and Goldsmith
	21 October 2022

	BCA Report
	Revision 2
	Blackett Macguire and Goldsmith
	21 October 2022

	Stormwater Management Report
	Revision 3
	Stantec Australia Pty Ltd
	1 December 2022

	Crime Prevention Through Environmental Design
	Revision A
	APP Corporation Pty Ltd
	21 November 2022

	Waste Management Plan
	-
	APP Corporation Pty Ltd
	-

	Preliminary Construction Environmental Management Plan
	Revision 01
	The APP Group
	15 December 2022

	Sustainable Development Plan
	Revision P1


	JHA Consulting Engineers
	29 July 2022

	Geotechnical Report
	Revision 0
	Douglas Partners
	24 August 2022

	Arboriculture Impact Assessment 
	Version 2
	Assurance Trees
	19 December 2022

	Car Park Addendum (Arboriculture Impact Assessment)
	-
	Assurance Trees
	21 September 2023


In the event of any inconsistency between the approved plans and the supporting documentation, the approved plans prevail. In the event of any inconsistency between the approved plans and a condition of this consent, the condition prevails.

Note: an inconsistency occurs between an approved plan and supporting documentation or between an approved plan and a condition when it is not possible to comply with both at the relevant time.

(3)
Building Code of Australia – All building work must be carried out in accordance with the BCA. In this clause, a reference to the BCA is a reference to that Code as in force at –

a) 
the date of the invitation for tenders to carry out the Crown building work, or

b)  
in the absence of tenders, the date on which the Crown building work commences, except as provided by Section 6.28 of the Environmental Planning and Assessment Act 1979.

(4)
Sign on building – A sign must be erected in a prominent position on the site stating the following:
a) that unauthorised entry to the work site is prohibited;

b) the name of the principal contractor (or person in charge of the site) and a telephone number on which that person can be contacted at any time for business purposes and outside working hours;

c) the name, address and telephone number of the Crown Certifier.

The sign must be maintained while the work is being carried out and must be removed upon the completion of works.
(5)
Protect Existing Vegetation and Natural Landscape Features - The trees identified for retention on the approved Landscape Plans, prepared by Tetras Landscape Architects, dated 6 October 2023 must be retained.
(6)
Tree removal – The trees identified for removal on ‘Figure 2 - Tree Removal Plan’ of the ‘Arboriculture Impact Assessment’, prepared by Assurance Trees, dated 19 December 2022, and the trees identified on ‘Figure 2 – Updated Tree Plan, Blue trees to be removed, Changes to yellow hatched areas (exclusion zones)’ in the ‘Irrawang HS Carpark Addendum’ arborist assessment, prepared by Assurance Trees, dated 21 September 2023, are approved for removal. Please note that these trees are also shown on the approved Landscape Plans.
The following replacement trees must be planted on the subject lot:

· 38 x ‘Supplementary Koala / Swift Parrot Feed Trees’ as detailed in the approved landscape plans.
(7)
Outdoor lighting - All lighting must comply with AS 1158 ‘Lighting for Roads and Public Spaces’ and AS 4282 ‘Control of Obtrusive Effects of Outdoor Lighting’.

(8)
Roof mounted equipment – All roof mounted equipment such as air conditioning units, service pipes and vents etc., required to be installed must be concealed within the external walls of the development or adequately screened so as not to be visible from a public place.
(9)
Design quality of development - The approved design (including an element or detail of that design) or materials finish or colours of the building must not be changed so as to affect the internal layout or external appearance of the building without the approval of Council.
(10)
Payment of building and construction industry long service levy - Before the Certification of Crown Building Work, the applicant is to ensure that the person liable pays the long service levy of $43,670 as calculated at the date of this consent to the Long Service Corporation or Council under section 34 of the Building and Construction Industry Long Service Payments Act 1986 and provides proof of this payment to the certifier.

Note. Condition only applies to developments with a cost of works over $250,000.
2.0 – Prior to Commencement of Works
The following conditions of consent shall be complied with prior to the commencement of works. 

(1)
Crown Certification - The following information must be provided to the Crown Certifier:

a) Landscape Plans – The approved landscape plans identified in condition 1.0(2) of this consent are to be submitted to the Crown certifier incorporating the following amendments:
I. Shade tree plantings within the north-west and south-west corners of the car park. Species selection is to be consistent with the Port Stephens Council Tree Technical Specification dated September 2014.

(2)
Civil engineering plans – Civil engineering plans prepared by a qualified Engineer, indicating drainage, roads, access ways, earthworks, pavement design, street lighting, details of line-marking, traffic management, water quality and quantity facilities including stormwater detention and disposal, must be prepared in accordance with the approved plans and Council’s Infrastructure Specifications and include the following:
a)

Overland flows across the entire hydraulic catchment/s are to be controlled, up to and including the 1% Annual Exceedance Probability design rainfall event, so as to not create inundation of buildings or nuisance. Discharges of existing overland flow paths may be via infiltration or level spreading so as to not concentrate flows or otherwise create nuisance impacts offsite.
Details demonstrating compliance must be provided to and approved by the Crown Certifier prior to the issue of Crown certification for any drainage works. 

Note. Under the Roads Act 1993, only the Roads Authority can approve commencement of works within an existing road reserve.

(3)
Stormwater/drainage plans – Detailed stormwater drainage plans must be prepared by a qualified Engineer in accordance with the approved plans, Council’s Infrastructure Specifications and the current Australian Rainfall and Runoff guidelines using the Hydrologic Soil Mapping data for Port Stephens (available from Council). 

Details demonstrating compliance must be provided to and approved by the Crown Certifier prior to the issue of Crown certification for any drainage works. 

Note. Under the Roads Act 1993, only the Roads Authority can approve commencement of works within an existing road reserve.

(4)
Erosion and sediment control plan– Before the certification of Crown Building Work, the applicant is to ensure that an erosion and sediment control plan is prepared in accordance with the following documents before it is provided to and approved by the Crown Certifier:

· Council’s development control plan,

· the guidelines set out in the NSW Department of Housing manual ‘Managing Urban Stormwater: Soils and Construction Certificate’ (the Blue Book), and

· the ‘Do it Right On-Site, Soil and Water Management for the Construction Industry' (Southern Sydney Regional Organisation of Councils and the Natural Heritage Trust).
The applicant must ensure the erosion and sediment control plan is kept on- site at all times during site works and construction.

(5)
Roads Act Approval – For construction/reconstruction of Council infrastructure, including vehicular crossings. Footpath, kerb and gutter, stormwater drainage, an application must be made for a Roadworks Permit under Section 138B of the Roads Act 1993.

(6)
Car parking details (if applicable) – Prior to the commencement of any carpark related works, a suitably qualified engineer must review the plans which relate to parking facilities and provide written evidence, to the Crown Certifier’s satisfaction, that it complies with the relevant parts of AS 2890 Parking Facilities- Off- Street Carparking.
(7)
Construction site management plan - Before the certification of Crown Building Work, the applicant must ensure a construction site management plan is prepared before it is provided to and  approved by the Crown Certifier. The plan must be generally in accordance with the approved Preliminary Construction Environmental Management Plan, Revision 01, dated 15 December 2022, prepared by the APP Group and include the following matters:

a) Staging and sequencing of works within school holiday periods and outside of school operating hours where possible
b) location and materials for protective fencing and hoardings to the perimeter on the site

c) provisions for public safety

d) pedestrian and vehicular site access points and construction activity zones

e) details of construction traffic management, including proposed truck movements to and from the site and estimated frequency of those movements, and measures to preserve pedestrian safety in the vicinity of the site

f) protective measures for on-site tree preservation (including in accordance with AS 4970-2009 Protection of trees on development sites and Council’s DCP, if applicable) and trees in adjoining public domain (if applicable)

g) details of any bulk earthworks to be carried out

h) location of site storage areas and sheds

i) equipment used to carry out all works

j) a garbage container with a tight-fitting lid

k) dust, noise and vibration control measures

l) location of temporary toilets.

m) Incorporate the CNVMP identified in condition 1.0(2).
The applicant must ensure a copy of the approved construction site management plan is kept on-site at all times during construction.
(8)
Design to be in accordance with Acoustic Report – Certification is to be submitted to the Crown Certifier to certify that the detailed design of the development complies with the recommendations of the the Noise and Vibration Impact Assessment (NVIA), reference no. 220265, Revision C, prepared by JHA dated 14 April 2023 detailed as follows:
a) External glazing to provide a minimum sound reduction index of RW32. A 6.38mm laminated fixed single glazing system achieves the nominated sound reduction index. The acoustic performance of the glazing and building façade shall be reviewed during the detailed design of the project once glazing and façade areas are defined. The acoustic requirements are to be achieved based on the performance of the framing and glass together.
b) A detailed Construction Noise and Vibration Management Plan (CNVMP) shall be prepared and must include acoustic mitigation measures and management measures based on specific construction works, equipment and locations specific to each stage of construction. The CNVMP must include all construction noise and vibration strategies listed in section 5.2 of the approved NVIA prepared by JHA.

c) Further acoustic assessment is to be undertaken once mechanical plant selections have been made to confirm any noise control measures required to achieve the relevant noise criteria at the noise sensitive receivers.

d) New public address and school bell systems include the following noise mitigation measures:

I. Low-powered horn-type speakers shall be located and orientated to provide a good coverage of the school areas whilst being directly away from residences and near sensitive receivers.  

II. Speakers shall be mounted with a downward angle and as close to the floor as possible. 

III. The noise level of the systems shall be adjusted on site so they will be clearly audible on the school site without being excessive. The systems shall initially be set sot that the noise at nearby residences and sensitive receivers do not exceed noise level criteria. 

IV. Once the appropriate noise level has been determined on site, the systems shall be limited to these noise levels so that staff cannot increase the noise levels. 

V. The systems shall be set so that it only occurs on school days. 
(9)
Section 7.12 development contributions - A monetary contribution is to be paid to Council, pursuant to Section 7.12 of the Environmental Planning & Assessment Act 1979 and the Port Stephens Local Infrastructure Contribution Plan 2020. The total amount payable will be adjusted at the time the payment is made, in accordance with the provisions of that Plan. 

Section 7.12 contributions will be calculated with reference to the capital investment value (CIV) of the development, determined in accordance with clause 25J of the Environmental Planning and Assessment Regulation 2021, and the levies specified in the Port Stephens Local Infrastructure Contributions Plan 2020 as outlined below:

	Capital Investment Value
	Levy Rate (% of CIV)

	Up to and including $100,000
	Nil

	More than $100,000 and up to and including $200,000
	0.5%

	More than $200,000
	1%



The payment of the Fixed Local Infrastructure Contribution levy, is to be accompanied by a Cost Summary Report Form setting out an estimate of the CIV in accordance with Schedule 1 of the Port Stephens Local Infrastructure Contributions Plan. A copy of the Plan and Cost Summary Report Forms are available on Council’s website at https://www.portstephens.nsw.gov.au/, alternatively contact Council on 02 9228 055.  

Where the estimated cost of carrying out the whole of the development is more than $1,000,000, the Cost Summary Report Form must be completed by a Quantity Surveyor who is a Registered Associate member or above, of the Australian Institute of Quantity Surveyors. 

This condition cannot be taken to be satisfied until a payment has been made in accordance with the CIV stated on a cost summary report submitted to Council in accordance with this condition. 

Payment of the above amount must apply to Development Applications as follows: 

a) Building work only - prior to the certification of Crown Building Work. 

(10)
Public liability insurance – The owner or contractor must take out a Public Liability Insurance Policy with a minimum cover of $20 million in relation to the occupation of, and works within, public property (i.e. kerbs, gutters, footpaths, walkways, reserves, etc.) for the full duration of the proposed works. 

Evidence of this Policy must be provided to Council and the Crown Certifier.

(11)
Notice commencement of work – Notice must be given to Council at least two days prior to subdivision and/or building works commencing in accordance with Clause 104 of the Environmental Planning & Assessment Regulation 2000. The notice must include:

a) the name and address of the person by whom the notice is being given;

b) a description of the work to be carried out;

c) the address of the land on which the work is to be carried out;

d) the Registered number and date of issue of the relevant development consent;

e) a statement signed by or on behalf of the Crown Certifier to the effect that all conditions of the consent that are required to be satisfied prior to the work commencing have been satisfied; and

f)       the date on which the work is intended to commence.

(12)
Crown Certification Required – In accordance with the provisions of Section 6.28 of the Environmental Planning & Assessment Act 1979 (EP&A Act 1979), construction approved by this consent must not commence until the Crown building work is certified by or on behalf of the Crown to comply with the Building Code of Australia.
(13)
Site is to be secured – The site must be secured and fenced to the satisfaction of the Crown Certifier. All hoarding, fencing or awnings (associated with securing the site during construction) are to be removed upon the completion of works.
(14)
Hazardous Building Materials Assessment - A Hazardous Building Material Assessment (HBMA) must be undertaken on all buildings and structures to be demolished that identifies all hazardous components on site. A HBMA report must be provided to the Crown Certifier.
If hazardous components are identified, all demolition works that involve the demolition and removal of the hazardous materials must ensure that all site personnel are protected from risk of exposure in accordance with relevant SafeWork NSW and NSW Demolition Guidelines. Premises and occupants on adjoining land must also be protected from exposure to any hazardous materials.
(15)
Demolition work – All demolition works are to be carried out in accordance with Australian Standard AS 2601 ‘The demolition of Structures’.  All waste materials are to be either recycled or disposed of to a licensed waste facility. 

Any asbestos containing material encountered during demolition or works within buildings / structures, is to be removed in accordance with the requirements of Safe Work NSW and disposed of to an appropriately licenced waste facility. 

Evidence is to be provided to the Crown Certifier demonstrating that asbestos waste generated from buildings / structures has been disposed of in accordance with this condition.

(16)
Erosion and sediment controls in place – Before the commencement of any site or building work, the Crown Certifier must be satisfied the erosion and sediment controls in the erosion and sediment control plan, (as approved by the Crown Certifier) are in place until the site is rectified (at least 70% ground cover achieved over any bare ground on site).

(17)
All weather access – A 3m wide all-weather vehicle access is to be provided from the kerb and gutter to the building under construction for the delivery of materials and use by trades people. 

No materials, waste or the like are to be stored on the all-weather access at any time. 

(18)
Rubbish generated from the development – Where not already available, a waste containment facility is to be established on site. The facility is to be regularly emptied and maintained for the duration of works. 

No rubbish is to be stockpiled in a manner which facilitates the rubbish to be blown or washed off site. The site must be cleared of all building refuse and spoil immediately upon completion of the development. 

(19)
Protection of trees – Protection of trees to be retained must be in accordance with AS 4970-2009 ‘Protection of Trees on Development Sites’ and the recommendations of the ‘Arboriculture Impact Assessment’, prepared by Assurance Trees, 19 December 2022 and the ‘Irrawang HS Carpark Addendum’ arborist assessment, prepared by Assurance Trees, dated 21 September 2023.

(20)
Tree protection measures – Before the commencement of any site or building work, the Crown certifier must ensure the measures for tree protection detailed in this consent are in place.
3.0 - During Works

The following conditions of consent shall be complied with during the construction phase of the development.

(1)
Shoring and adequacy of adjoining property (if applicable) - If the development involves an excavation that extends below the level of the base of the footings of a building, structure or work on adjoining land (including any structure or work within a road or rail corridor), the person having the benefit of the development consent must, at the person’s own expense —

a) Protect and support the building, structure or work from possible damage from the excavation, and

b) Where necessary, underpin the building, structure or work to prevent any such damage.

This condition does not apply if the person having the benefit of the development consent owns the adjoining land or the owner of the adjoining land has given consent in writing to that condition not applying.
(2)
Hours of work – The Crown Certifier must ensure that building work, demolition or vegetation removal is only carried out between:

7.00am to 5.00pm on Monday to Saturday

The Crown certifier must ensure building work, demolition or vegetation removal is not carried out on Sundays and public holidays, except where there is an emergency.

Unless otherwise approved within a construction site management plan, construction vehicles, machinery, goods or materials must not be delivered to the site outside the approved hours of site works.

Note: Any variation to the hours of work requires Council’s approval.

(3)
Toilet facilities – Temporary toilet(s) must be provided and maintained on site from the time of commencement of building work to completion. The number of toilets provided must be one toilet per 20 persons or part thereof employed on the site at any one time. 

The temporary toilet is to be either connected to the sewerage system or an approved septic tank or otherwise may be a chemical toilet supplied by a licensed contractor. 

(4)
Compliance with the Building Code of Australia – Building work must be carried out in accordance with the requirements of the Building Code of Australia.

(5)
Excavations and backfilling – All excavations and backfilling associated with this development consent must be executed safely, and be properly guarded and protected to prevent them from being dangerous to life or property, and in accordance with the design of a suitably qualified Structural Engineer.

If an excavation extends below the level of the base of the footings of a building on an adjoining allotment, the person causing the excavation must:

a) preserve and protect the building from damage; and

b) if necessary, underpin and support the building in an approved manner; and

c) give at least seven days notice to the adjoining owner before excavating, of the intention to excavate.

The principal contractor, owner builder or any person who needs to excavate and undertake building work, must contact “Dial Before You Dig” prior to works commencing, and allow a reasonable period of time for the utilities to provide locations of their underground assets.

This condition does not apply if the person having the benefit of the development consent owns the adjoining land or the owner of the adjoining land has given consent in writing to that condition not applying.

(6)
Building height – A survey report prepared by a Registered Surveyor confirming that the building height complies with the approved plans or as specified by the development consent, must be provided to the Crown Certifier prior to the development proceeding beyond frame stage.

(7)
Surveys by a registered surveyor – While building work is being carried out, a registered surveyor is to measure and mark the positions of the following and provide them to the Crown Certifier —

a) All footings/ foundations

b) At other stages of construction – any marks that are required by the Crown Certifier.

(8)
Construction Site Management Plan Implementation - All construction management procedures and systems identified in the approved Construction Site Management Plan must be introduced during construction of the development to ensure safety and to minimise the effect on adjoining pedestrian and traffic systems.

(9)
Placement of fill - Filling must not be placed in such a manner that natural drainage from adjoining land will be obstructed or in such a manner that surface water will be diverted. 

Further, any alterations to the natural surface contours must not impede or divert natural surface water runoff so as to cause a nuisance to adjoining property owners. 

(10)
Location of stockpiles – Stockpiles of soil must not be located on / near any drainage lines or easements, natural watercourses or water bodies, footpath or roadway without first providing suitable protective measures adequate to protect these water bodies. All stockpiles of contaminated materials must be suitably covered to prevent dust and odour nuisance.

(11)
Tree protection – While site or building work is being carried out, the applicant must maintain all required tree protection measures in good condition in accordance with the construction site management plan required under this consent, the relevant requirements of AS 4970-2009 Protection of trees on development sites and the recommendations of the ‘Arboriculture Impact Assessment’, prepared by Assurance Trees dated 19 December 2022. This includes maintaining adequate soil grades and ensuring all machinery, builders refuse, spoil and materials remain outside tree protection zones.
(12)
Unexpected finds contingency (general) – Should any suspect materials (identified by unusual staining, odour, discolouration or inclusions such as building rubble, asbestos, ash material, etc.) be encountered during any stage of works (including earthworks, site preparation or construction works, etc.), such works must follow an unexpected find protocol prepared by a qualified environmental specialist.
In the event that contamination is identified as a result of this assessment and if remediation is required, Council must be notified immediately and remediation works are to be carried out in accordance with a remedial action plan prepared a qualified environmental specialist.
 (13)
Soil, erosion, sediment and water management – All requirements of the Erosion and Sediment Control Plan or Soil and Water Management Plan must be maintained at all times during the works and any measures required by the plan must not be removed until the site has been stabilised.

(14)
Offensive noise, dust, odour and vibration – All work must not give rise to offensive noise, dust, odour or vibration as defined in the Protection of the Environment Operations Act 1997 when measured at the nearest property boundary.

(15)
Cut and fill – While building work is being carried out, the Crown certifier must be satisfied all soil removed from or imported to the site is managed in accordance with the following requirements:
(a) All excavated material removed from the site must be classified in accordance with the EPA’s Waste Classification Guidelines before it is disposed of at an approved waste management facility and the classification and the volume of material removed must be reported to the Crown Certifier.

All fill material imported to the site must be Virgin Excavated Natural Material as defined in Schedule 1 of the Protection of the Environment Operations Act 1997 or a material identified as being subject to a resource recovery exemption by the NSW EPA.
(16)
Uncovering relics or Aboriginal objects – While ground excavation, demolition or building work is being carried out, all such works must cease immediately if a relic or Aboriginal object is unexpectedly discovered and the area around the unexpected find must be protected. The applicant must notify the Heritage Council of NSW in respect of a relic and notify the Secretary of the Department of Planning, Industry and Environment and the Heritage Council of NSW in respect of an Aboriginal object. Building work may recommence at a time confirmed by either the Heritage Council of NSW or the Secretary of the Department of Planning and Environment.

In this condition:

· “relic” means any deposit, artefact, object or material evidence that:

(a) relates to the settlement of the area that comprises New South Wales, not being Aboriginal settlement, and

(b) is of State or local heritage significance; and

· “Aboriginal object” means any deposit, object or material evidence (not being a handicraft made for sale) relating to the Aboriginal habitation of the area that comprises New South Wales, being habitation before or concurrent with (or both) the occupation of that area by persons of non-Aboriginal extraction and includes Aboriginal remains.
(17)
Sustainable Development Plan – Construction of the development is to be generally in accordance with the Sustainable Development Plan, Revision P1, prepared by JHA Consulting Engineers and dated 29 July 2022.

(18)
Tree Removal/Pruning – All approved tree removal/pruning is subject to all works being undertaken by a qualified arborist with minimum Australian Qualification Framework Level 3 qualifications or higher. All works are to be undertaken in accordance with the relevant provisions of AS 4373 'Pruning of Amenity trees'.
4.0 - Prior to the Commencement of Use
The following conditions of consent shall be complied with prior to the commencement of use. 

(1)
Hunter Water Corporation approval - A Section 50 Application under the Hunter Water Act 1991 must be lodged with Hunter Water Corporation (HWC) and details of the Notice of Compliance from HWC must be provided to the Crown Certifier.

(2)
Survey Certificate – A Registered Surveyor must prepare a Survey Certificate to certify that the location of the building in relation to the allotment boundaries complies with the approved plans or as specified by this consent. The Survey Certificate must be provided to the satisfaction of the Crown Certifier.

(3)
Services – Evidence is to be provided to Council demonstrating that the following reticulated services are available to any building subject to this application: 

a) Electricity; 

b) Water; 

c) Sewer; and 

Should any of the above reticulated services not be available to the development site, a detailed statement is to be provided explaining why connection of the relevant service is not possible or practical. 

(4)
Stormwater/drainage works – All stormwater and drainage works required to be undertaken in accordance with this consent must be completed. 

The certification/verification must be provided to the satisfaction of the Crown Certifier.
(5)
Repair of infrastructure – Before the certification of Crown Building Work, the applicant must ensure any public infrastructure damaged as a result of the carrying out of building works (including damage caused by, but not limited to, delivery vehicles, waste collection, contractors, sub-contractors, concreting vehicles) is fully repaired to the written satisfaction of Council, and at no cost to Council.

Note: If the council is not satisfied, the whole or part of the bond submitted will be used to cover the rectification work.

(6)
Completion of Roads Act Approval works - All approved road, footpath and/or drainage works, including vehicle crossings, have been completed in the road reserve in accordance with the Roads Act Approval to the satisfaction of the Council as the Roads Authority.

(7)
Geotechnical Compliance Certificate – A Certificate of Compliance prepared by a qualified Geotechnical Engineer must be provided to the Crown Certifier stating that the works detailed in the Geotechnical Report have been undertaken under the Engineer’s supervision and to the Engineer’s satisfaction, and that the assumptions relating to site conditions made in preparation of the report were validated during construction. 

This certificate must accompany the Works as Executed plans.
(8)
Completion of landscape and tree works – Before commencement of use, the Crown Certifier must be satisfied that all landscape and tree-works, including pruning in accordance with AS 4373-2007 Pruning of amenity trees and the management of priority weed species, have been completed in accordance with the approved plans and any relevant conditions of this consent.
(9)
Car parking requirements – A minimum of 78 car parking spaces are to be provided in accordance with AS2890 and the approved plans. Parking must be permanently marked on the pavement surface. 

(10)
Construction to be in accordance with Acoustic Report – Certification is to be submitted to the Crown Certifier to certify that the construction of the development complies with the recommendations of the Noise and Vibration Impact Assessment (NVIA), reference no. 220265, Revision C, prepared by JHA dated 14 April 2023 detailed as follows, as specified in condition 2.0(11) of this consent.
(11)
Replacement Trees - The following replacement trees must be planted on the subject lot:

•
38 x ‘Supplementary Koala / Swift Parrot Feed Trees’ as detailed in the approved landscape plans.
(12)
Stormwater system Operation and Maintenance Procedure Plan – An Operation and Maintenance Plan for the stormwater system must be prepared by a qualified engineer detailing a regular maintenance programme for pollution control devices, covering inspection, cleaning and waste disposal. 

Details demonstrating compliance must be provided to the Crown Certifier.

5.0 – Ongoing Use

The following conditions of consent are operational conditions applying to the development.

(1)
Maneuvering of vehicles – All vehicles must enter and exit the site in a forward direction.

(2)
Parking – Signage (loading docks) – Proposed parking areas, service bays, truck docks, driveways and turning areas must be maintained clear of obstructions and be used exclusively for purposes of car parking, loading/ unloading, and vehicle access respectively for the life of the development. Under no circumstances are such areas to be used for the storage of goods or waste materials.

(3)
Approved signage maintenance – The approved signs must be maintained in a presentable and satisfactory state of repair.

The level of illumination and/or lighting intensity used to illuminate the sign/s must comply with AS 1158 ‘Lighting for Roads and Public Spaces’ and AS 4282 ‘Control of Obtrusive Effects of Outdoor Lighting’.

(4)
Parking areas to be kept clear – At all times, the loading, car parking spaces, driveways and footpaths must be kept clear of goods and must not be used for storage purposes.

(5)
Maintenance of landscaping – Landscaping must be maintained in accordance with the approved landscape plan and conditions of this development consent. All landscape areas must be kept free of parked vehicles, stored goods, garbage or waste material at all times.  

If any of the vegetation dies or is removed, it is to be replaced with vegetation of the same species and similar maturity as the vegetation which has died or was removed.
(6)
CPTED Recommendations – The operational recommendations of the approved CPTED report, Reference no. 13690, Revision A, dated 21/11/2022 and prepared by APP Corporation Pty Ltd are to be implemented during the operational phase of the development.

(7)
Maintenance of Replacement Plantings / Revegetation – Replacement trees are to be maintained (e.g. through the use of mulch and watering) until maturity, or for a period of 5 years from planting. 

If any tree dies or is removed, it is to be replaced with a tree of the same species and similar maturity as the tree which has died or was removed.

(8)
Bird Strike Advice - As the subject site is located in an area mapped by the Department of Defence as “Birdstrike Group B”, organic waste and/or the storage of bins associated with any future development must be covered and/or enclosed and limited on-site.
Advice Note(s):

(1)
'Dial Before you Dig Australia' – Before any excavation work starts, contractors and others should phone the “Dial Before You Dig Australia” service to access plans/information for underground pipes and cables.

(2)
Dividing fences – The erection of dividing fences under this consent does not affect the provisions of the Dividing Fences Act 1991. Under this Act, all relevant parties must be in agreement prior to the erection of any approved dividing fence/s under this consent. 

Council has no regulatory authority in this area and does not adjudicate civil disputes relating to the provision of, or payment for, the erection of dividing fences. If there is a neighbour dispute about the boundary fence and you are seeking mediation, you may contact the Community Justice Centre, or if legal advice or action is required, you may contact the Chamber Magistrate.

(3)
Premise standard – It is the Applicants responsibility to ensure compliance with the requirements of the Disability Discrimination Act 1992 (DDA). 

Note: Compliance with the Building Code of Australia does not necessarily meet the requirements of the DDA.

(4)
Disability Discrimination Act – The Commonwealth Disability Discrimination Act makes it an offence to discriminate against people on the grounds of disability, in the provision of access to premises, accommodation, or services. It is the owner/applicants responsibility to ensure compliance with the requirements of this Act. 

 (5)
Works near/adjoining electricity network assets – There are underground electricity network assets adjacent to the proposed development in Mount Hall Road Raymond Terrace. Any works undertaken adjacent to Ausgrid assets must be undertaken with care in accordance with Ausgrid Network Standard Document NS 156 – Work Near or Around Underground Cables

(6)
Responsibility for damage for tree removal/pruning – The applicant is responsible for any damage caused to existing public utilities, footpaths or public roads during the cutting down, grinding, removal and disposal of the timber and roots. Care must also be taken by the applicant and the applicant’s agents to prevent any damage to adjoining properties. The applicant or the applicants’ agent may be liable to pay compensation to any adjoining owner if, due to tree works, damage is caused to such adjoining property.
	RECOMMENDED REASONS FOR DETERMINATION AND REASONS FOR CONDITIONS


REASONS FOR THE DETERMINATION & CONSIDERATION OF COMMUNITY VIEWS

The determination decision was reached for the following reasons:

· The proposed development, subject to the recommended conditions, is consistent with the objectives of the applicable environmental planning instruments, being; Port Stephens Local Environmental Plan 2013 (PSLEP), State Environmental Planning (Resilience and Hazards) 2021, State Environmental Planning Policy (Biodiversity and Conservation) 2021, State Environmental Planning Policy (Planning Systems) 2021 and State Environmental Planning Policy (Transport and Infrastructure) 2021.
· Council has considered and accepted the proposed development standard variation request to Clause 4.3 of the PSLEP. The proposed 11.4m and subsequent 26.7% variation is considered acceptable in the particular circumstances of this case as the variation will not significantly overshadow the neighbouring properties, obstruct significant view corridors, result in negative privacy issues or visual impacts.
· The proposed development is, subject to the recommended conditions, consistent with the objectives of the Port Stephens Council Development Control Plan 2014 (PSDCP).
· Subject to the recommended conditions the proposed development will be provided with adequate essential services required under the PSLEP.
· The proposed development is considered to be of an appropriate scale and form for the site and the character of the locality.
· The proposed development, subject to the recommended conditions, will not result in unacceptable adverse impacts upon the natural or built environments.
· The proposed development is a suitable and planned use of the site and its approval is within the public interest.
· Any submission issues raised have been taken into account in the assessment report and where appropriate conditions of consent have been included in the determination. Council has given due consideration to community views when making the decision to determine the application.

REASONS WHY THE CONDITIONS HAVE BEEN IMPOSED

The following conditions are applied to:

1. Confirm and clarify the terms of the Panel’s Approval;

2. Identify modifications and additional requirements that will result in improved compliance, development and environmental outcomes;

3. Prevent, minimise, and/or offset adverse environmental impacts including economic and social impacts;

4. Set standards and performance measures for acceptable environmental performance; and

5. Provide for the ongoing management of the development.
PAGE  
	16-2023-42-1


	Page 2 of 19



[image: image2.jpg]- PORT STEPHENS

COUNCIL

PORT STEPHENS COUNCIL

116 Adelaide Street PO Box 42 Phone: 02 4980 0255

Raymond Terrace NSW 2324 Raymond Terrace NSW 2324 Email: council@portstephens.nsw.gov.au WwRpostephens. isw.govau



