RECOMMENDED DRAFT CONDITIONS

The development taking place in accordance with the approved development plans reference number DA/2036/2023 except as modified by any conditions of this consent, and any amendments in red.

1.PARAMETERS OF THIS CONSENT

Approved Plans and Supporting Documentation

  - Development must be carried out in accordance with the following approved plans and supporting documentation (stamped by Council), except where the conditions of this consent expressly require otherwise.

| Plan No. | Revision No. | Plan Title | Drawn By | Dated |
| --- | --- | --- | --- | --- |
| DA-0000 | 04 | Cover Sheet | Glendenning Szoboszlay Architects | 08/03/2024 |
| DA-0300 | 02 | Overall Ground Floor Demolition Plan | Glendenning Szoboszlay Architects | 23/11/2023 |
| DA-0301 | 01 | Overall Level 1 Demolition Plan | Glendenning Szoboszlay Architects | 27/09/2023 |
| DA-0302 | 01 | Overall Roof Demolition Plan | Glendenning Szoboszlay Architects | 27/09/2023 |
| DA-0303 | 02 | Ground Level Demolition Plan North | Glendenning Szoboszlay Architects | 23/11/2023 |
| DA-0304 | 03 | Ground Level Demolition Plan South | Glendenning Szoboszlay Architects | 08/03/2024 |
| DA-0305 | 03 | Level 1 Demolition Plan North | Glendenning Szoboszlay Architects | 08/03/2024 |
| DA-0306 | 01 | Level 1 Demolition Plan South | Glendenning Szoboszlay Architects | 27/09/2023 |
| DA-0307 | 01 | Roof Demolition Plan North | Glendenning Szoboszlay Architects | 27/09/2023 |
| DA-0308 | 01 | Roof Demolition Plan South | Glendenning Szoboszlay Architects | 27/09/2023 |
| DA-0401 | 01 | Proposed Site Plan | Glendenning Szoboszlay Architects | 27/09/2023 |
| DA-1100 | 04 | Proposed Overall ground Floor Plan | Glendenning Szoboszlay Architects | 08/03/2024 |
| DA-1101 | 03 | Proposed Overall Level 1 Plan | Glendenning Szoboszlay Architects | 08/03/2024 |
| DA-1102 | 03 | Proposed Roof Plan | Glendenning Szoboszlay Architects | 08/03/2024 |
| DA-1103 | 03 | Proposed Block J Ground Floor Plan | Glendenning Szoboszlay Architects | 15/03/2024 |
| DA-1104 | 03 | Proposed Block J Level 1 Floor Plan | Glendenning Szoboszlay Architects | 08/03/2024 |
| DA-1105 | 04 | Proposed Block J Roof Plan | Glendenning Szoboszlay Architects | 08/03/2024 |
| DA-1106 | 05 | Proposed L,D,F,G Ground Floor Plan | Glendenning Szoboszlay Architects | 08/03/2024 |
| DA-1107 | 03 | Proposed L, D, F, G Level 1 Floor/Roof Plan | Glendenning Szoboszlay Architects | 08/03/2024 |
| DA-1108 | 03 | Proposed Block I, H Ground Floor Plan | Glendenning Szoboszlay Architects | 08/03/2024 |
| DA-1109 | 03 | Proposed Block I, H Level 1 Roof Plan | Glendenning Szoboszlay Architects | 08/03/2024 |
| DA-1110 | 03 | Proposed Block, A, B, C Ground Floor Plan | Glendenning Szoboszlay Architects | 08/03/2024 |
| DA-1111 | 03 | Proposed Block A, B, C, Z3 Roof Plan | Glendenning Szoboszlay Architects | 08/03/2024 |
| DA-1200 | 04 | Block J,L – Proposed Sections | Glendenning Szoboszlay Architects | 15/03/2024 |
| DA-1300 | 04 | Block J – Proposed Elevations | Glendenning Szoboszlay Architects | 08/03/2024 |
| DA-1301 | 05 | Block I/D – Proposed Elevations | Glendenning Szoboszlay Architects | 08/03/2024 |
| DA-1302 | 03 | COLA & Walkway – Proposed Elevations | Glendenning Szoboszlay Architects | 08/03/2024 |
| DA-9300 | 04 | Height Plane 3D View – Block J | Glendenning Szoboszlay Architects | 08/03/2024 |
| 143.24(23)/294 |  | Concept Landscape Plan 1 | Iscape Landscape Architecture | 12 March 2024 |
| 143.24(23)/295 |  | Concept Landscape Plan 2 | Iscape Landscape Architecture | 12 March 2024 |
| 143.24(23)/345 |  | Landscape Plan 1 | Iscape Landscape Architecture | 12 March 2024 |
| 143.24(23)/346 |  | Landscape Plan 2 | Iscape Landscape Architecture | 12 March 2024 |
| 143.24(23)/347 |  | Materials Palette | Iscape Landscape Architecture | 12 March 2024 |
| N0230364 - CSK01 |  | STORMWATER OVERALL GROUND FLOOR PLAN | JN Responsive Engineering | 15/03/2024 |
| N0230364 - CSK02 |  | STORMWATER BLOCK J GROUND FLOOR PLAN | JN Responsive Engineering | 15/03/2024 |
| N0230364 - CSK03 |  | STORMWATER L,D,F,G GROUND FLOOR PLAN | JN Responsive Engineering | 15/03/2024 |
| N0230364 - CSK04 |  | STORMWATER BLOCK I, H GROUND FLOOR PLAN | JN Responsive Engineering | 15/03/2024 |
| N0230364 - CSK05 |  | STORMWATER BLOCK A,B,C GROUND FLOOR PLAN | JN Responsive Engineering | 21/09/2023 |
| N0230364 – CSK11 |  | STORMWATER DETAILS SHEET 1 | JN Responsive Engineering | 15/03/2024 |
| 23.233 |  | Line Marking and Signage Plan | Traffix Traffic and Transport Planners | November 2024 |

| Document Title | Reference No. | Prepared by | Dated |
| --- | --- | --- | --- |
| Noise Impact Assessment | 230208 | JHA Services | 14/09/2023 |
| Stage 1 Preliminary (Environmental) Site Investigation (PSI) | EBG-03038.Stage1.PSI.07.23.R00 | EBG Environmental Geoscience | 16 July 2023 |
| Arborist Report | - | Mark Bury Consulting | 3 February 2023 |
| Bushfire Assessment Report | 230900B | Building Code and Bushfire Hazard Solutions Pty Limited | 25 September 2023 |
| Traffic Impact Assessment | 23.233r01v03 | Traffix Traffic and Transport Planners | September 2023 |
| Flood Risk Management Report | N0230364 | JN Responsive Engineering | 06/06/2024 |
| Plan of Management for St Mary’s Catholic Primary School | - | - | - |
| Aboricultural Impact Assessment | 23-154a-01_5 update St Mary's Catholic Primary School, TOUKLEY - 458-468 Main Road, NORAVILLE NSW 2263.docx | Advanced Treescape Consulting | 20/09/2023 |
| Traffic and Access Operational Management Plan | 23.233r02v03 | Traffix Traffic and Transport Planners | November 2024 |

In the event of any inconsistency between the approved plans and the supporting documentation, the approved plans prevail. In the event of any inconsistency between the approved plans and a condition of this consent, the condition prevails.

Note: an inconsistency occurs between an approved plan and supporting documentation or between an approved plan and a condition when it is not possible to comply with both at the relevant time.

1.2.	Carry out all building works in accordance with the National Construction Code Series, Building Code of Australia, Volume 1 and 2 as appropriate.

1.3.	Comply with the General Terms of Approval from the Authorities as listed below and attached as a schedule of this consent.

| Government Agency / Department / Authority | Description | Ref No | Date |
| --- | --- | --- | --- |
| NSW Rural Fire Service | GTAs under Section 100B of the Rural Fires Act 1997 | DA20231115005166-Original-1 | Monday 29 January 2024 |

2.PRIOR TO ISSUE OF ANY CONSTRUCTION CERTIFICATE

2.1.	All conditions under this section must be met prior to the issue of the relevant Construction Certificate.

2.2.	No activity is to be carried out on-site until the relevant Construction Certificate has been issued, other than:

- Site investigation for the preparation of the construction, and / or

- Implementation of environmental protection measures, such as erosion control and the like that are required by this consent

- Demolition.

2.3.	Before the issue of the relevant construction certificate, the applicant is to ensure that a waste management plan is prepared in accordance with the EPA’s Waste Classification Guidelines and the following requirements before it is provided to and approved by the certifier:

- Council’s Waste Management Development Control Plan OR

- details the following:

- the contact details of the person(s) removing the waste

- an estimate of the waste (type and quantity) and whether the waste is expected to be reused, recycled or go to landfill

- the address of the disposal location(s) where the waste is to be taken.

The applicant must ensure the waste management plan is referred to in the construction site management plan and kept on-site at all times during construction.

2.4.	Before the issue of the relevant Construction Certificate, pursuant to Section 7.12 of the Environmental Planning & Assessment Act, the applicant must pay to Council a contribution in the amount of $94,107.35 as calculated at the date of this consent, in accordance with the Central Coast Regional Section 7.12 Plan 2019.

The total amount payable may be adjusted at the time the payment is made, in accordance with the provisions of the Central Coast Regional Section 7.12 Plan.  Contributions under the Central Coast Regional Section 7.12 Plan are subject to quarterly indexation by CPI.

A copy of the Contributions Plan is available for inspection at 2 Hely St, Wyong or on Council's website: https://www.centralcoast.nsw.gov.au/plan-and-build/development-contributions-plans-and-planning-agreements.

2.5.	Submit to the Registered Certifier responsible for issuing the relevant construction certificate for works within the development site detailed design drawings and design reports for the following engineering works:

- Construction of driveways, ramps and car parking areas in accordance with the requirements of the current edition Australian Standard AS/NZS 2890: Parking Facilities and other applicable Australian Standards.

- Carrying out of line marking, signage and pedestrian facilities in accordance with the Traffic and Access Operational Management Plan prepared by Traffix, dated 6 November 2024.

- Construction of stormwater drainage collection and piping of all stormwater runoff from areas within the site generally in accordance with the Stormwater Management Plans prepared by JN responsive engineering, dated 15/03/2024 to the existing stormwater system servicing the allotment.

- Construction of retaining walls where indicated on development approval documentation. Retaining wall design must not conflict with existing or proposed services or utilities. Retaining walls designs for wall greater than 600mm in height must be certified by a registered practising Civil or Structural engineer as being in accordance with Australian Standards.

Detailed design drawings and design reports acceptable to the Registered Certifier must be included in the Construction Certificate documentation.

2.6.	Submit an application to Council under Section 305 of the Water Management Act 2000 for a Section 306 Requirements Letter. The Application form can be found on Council’s website centralcoast.nsw.gov.au. Early application is recommended.

The Section 305 application will result in a section 306 letter of requirements which must be obtained prior to the issue of any Construction Certificate. The requirements letter will outline which requirements must be met prior to each development milestone, e.g., prior to Construction Certificate and/or Occupation Certificate.

2.7.	Identify trees and native vegetation proposed for retention and those approved for removal must be clearly marked on all final engineering and landscaping plans.  All fenced tree protection areas must be clearly marked as "No Go Area" on all plans. The location of any threatened species and ecological communities must also be marked on all plans.

2.8.	Comply with all the ecological impact mitigation measures outlined in the submitted Ecological Assessment Report (Anderson Environment and Planning, September 2023) and Tree Protection recommendations outlined in contained in section 5.0, 5.4, 6.0 & 7.0 of the submitted Arboricultural Impact Assessment (Advance Treescape 	Consulting, September 2023) are implemented and adhered to.

3.PRIOR TO COMMENCEMENT OF ANY WORKS

3.1.	All conditions under this section must be met prior to the commencement of any works.

3.2.	Ensure that all parties / trades working on the site are fully aware of their responsibilities with respect to tree protection conditions.

3.3.	 Tree protection is to be as per the recommendations within sections 5.0, 5.4, 6.0, 7.0 and Appendix 1 & 2 of the Arboricultural Impact Assessment, prepared by Russell Kingdom of Advanced Treescape Consulting, dated 20/9/23. Sign-post fences around Tree Protection Zones to warn of its purpose.

3.4.	Appoint a Principal Certifier for the building work:

- The Principal Certifier (if not Council) is to notify Council of their appointment and notify the person having the benefit of the development consent of any critical stage inspections and other inspections that are to be carried out in respect of the building work no later than two (2) days before the building work commences.

- Submit to Council a Notice of Commencement of Building Work form giving at least two (2) days’ notice of the intention to commence building work. The forms can be found on Council’s website: www.centralcoast.nsw.gov.au

3.5.	Erect a sign in a prominent position on any work site on which building, subdivision or demolition work is being carried out. The sign must indicate:

- The name, address and telephone number of the Principal Certifier for the work; and

- The name of the principal contractor and a telephone number at which that person can be contacted outside of working hours; and

- That unauthorised entry to the work site is prohibited.

- Remove the sign when the work has been completed.

3.6.	Prepare a Construction Traffic and Pedestrian Management Plan (CTPMP) for all activities related to works within the site. The plan must be prepared and implemented only by persons with Roads and Maritime Service accreditation for preparing and implementing traffic management plans at work sites.

The CTPMP must describe the proposed construction works, the traffic impacts on the local area and how these impacts will be addressed.

The CTPMP must address, but not be limited to, the following matters:

- Ingress and egress of construction related vehicles to the development site.

- Details of the various vehicle lengths that will be used during construction and the frequency of these movement.

- Use of swept path diagrams to demonstrate how heavy vehicles enter, circulate and exit the site or Works Zone in a forward direction.

- Deliveries to the site, including loading / unloading materials and requirements for work zones along the road frontage to the development site. A Plan is to be included that shows where vehicles stand to load and unload, where construction plant will stand, location of storage areas for equipment, materials and waste, locations of Work Zones (if required) and location of cranes (if required).

- Works Zones if heavy vehicles cannot enter or exit the site in a forward direction.

- Control of pedestrian and vehicular traffic where pre-construction routes are affected.

- Temporary Road Closures.

Where the plan identifies that the travel paths of pedestrians and vehicular traffic are proposed to be interrupted or diverted for any construction activity related to works inside the development site an application must be made to the relevant authority for a Road Occupancy Licence. Implementation of traffic management plans that address interruption or diversion of pedestrian and/or vehicular traffic must only take place following receipt of a Road Occupancy Licence from the relevant authority.

Where a dedicated delivery vehicle loading and unloading zone is required along the road frontage of the development site a Works Zone Application must be lodged and approved by Council. A minimum of 3 months is required to allow Traffic Committee endorsement and Council approval.

The Construction Traffic and Pedestrian Management Plan must be reviewed and updated during construction of the development to address any changing site conditions.

A copy of the Construction Traffic and Pedestrian Management Plan must be held on site at all times and be made available to Council upon request.

3.7.	Submit to Council, for approval, details of proposed haulage routes to and from the site. Approval of haulage routes will be subject to the provision of a Dilapidation Report of all or part of the approved haulage route.

3.8.	Submit to Council a Dilapidation Report detailing the condition of all Council assets within the vicinity of the development, and along the proposed haulage routes to the site. The report must document and provide photographs that clearly depict any existing damage to the road, kerb, gutter, footpath, driveways, street trees, street signs, streetlights, or any other Council assets in the vicinity of the development and/or haulage routes. The Dilapidation Report will be required to be submitted to Council prior to the commencement of any works. The report will be used by Council to establish damage to Council’s assets resulting from the development works.

3.9.	Submit a Hoarding Application to Council for approval under the Roads Act where it is proposed to erect construction fencing, a hoarding, site sheds or utilise the road reserve for any construction activity related to the development works within the site.

Fees, in accordance with Council’s Fees and Charges, will be invoiced to the applicant following lodgement of the application and will be required to be paid prior to Council releasing any approval.

3.10.	Comply with all the ecological impact mitigation measures outlined in the submitted 	Ecological Assessment Report (Anderson Environment and Planning, September 2023) 	and Tree Protection recommendations outlined in contained in section 5.0, 5.4, 6.0 & 	7.0 of the submitted Arboricultural Impact Assessment (Advance Treescape 	Consulting, September 2023) are implemented and adhered to.

4.DURING WORKS

4.1.	All conditions under this section must be met during works.GL013

4.2.	The principal certifier must ensure that building work, demolition or vegetation removal is only carried out between:

7.00 am and 5.00 pm on Monday to Saturday.

The principal certifier must ensure building work, demolition or vegetation removal is not carried out on Sundays and public holidays, except where there is an emergency.

Unless otherwise approved within a construction site management plan, construction vehicles, machinery, goods or materials must not be delivered to the site outside the approved hours of site works.

Note: Any variation to the hours of work requires Council’s approval.  GL014

4.3.	While demolition or building work is being carried out, all such works must cease immediately if a relic or Aboriginal object is unexpectedly discovered. The applicant must notify the Heritage Council of NSW in respect of a relic and notify the Secretary of the Department of Planning, Industry and Environment and the Heritage Council of NSW in respect of an Aboriginal object. Building work may recommence at a time confirmed by either the Heritage Council of NSW or the Secretary of the Department of Planning, Industry and Environment.

In this condition:

“relic” means any deposit, artefact, object or material evidence that:

(a)	relates to the settlement of the area that comprises New South Wales, not being Aboriginal settlement, and

(b)	is of State or local heritage significance; and

“Aboriginal object” means any deposit, object or material evidence (not being a handicraft made for sale) relating to the Aboriginal habitation of the area that comprises New South Wales, being habitation before or concurrent with (or both) the occupation of that area by persons of non-Aboriginal extraction and includes Aboriginal remains. To ensure the protection of objects of potential significance

4.4.	Keep a copy of the stamped approved plans on-site for the duration of site works and make the plans available upon request to either the Principal Certifier or an officer of Council.

4.5.	Place all building materials, plant and equipment on the site of the development during the construction phase of the development so as to ensure that pedestrian and vehicular access within adjoining public roads, footpaths and reserve areas, is not restricted and to prevent damage to public infrastructure. Further, no construction work is permitted to be carried out within the road reserve unless the works are associated with a separate approval issued under the provisions of the Roads Act 1993.

4.6.	Trees to be removed to accommodate for the development as specified in sections 5.0, 5.4, Appendix 1 & 2 of the Arboricultural Impact Assessment report by Russell Kingdom of Advanced Treescape Consulting on the 20/9/23.

Undertake clearing in accordance with the approved tree removal/retention survey plan within the submitted Arboricultural Impact Assessment (Advance Treescape Consulting, September 2023). Trees must be removed in such a manner so as to prevent damage to surrounding trees to be retained.

4.7.	Pruning of trees to accommodate the works must be undertaken in accordance with Australian Standard AS 4373-2007: Pruning of amenity trees by a qualified Arborist.

4.8.	Ensure a qualified arborist (AQF 5) is on-site to oversee the works in relation to tree protection measures during critical stages of construction.

4.9.	Activities generally excluded from the Tree Protection Zone, but not limited to:

Machine excavation, trenching, material storage, prepare chemicals or cement, park, refuel, dump waste, wash down, fill or change soil level.

4.10.	Notification of new contamination evidence

- Any new information which comes to light during site preparation, remediation, demolition or construction works which has the potential to alter previous conclusions about site suitability and contamination must be notified to the Principal Certifier and Central Coast Council.

- Council may require a NSW accredited site auditor to be engaged to review the contamination assessment and remediation/validation process (where applicable). If appropriate, Council may also require a new Remedial Action Plan (RAP) to be prepared and implemented to ensure the site can be made suitable for the approved use in light of the new information.

- Where a NSW accredited Site Auditor is engaged in compliance with part (b) above, an Occupation Certificate must not be issued until a Section A Site Audit Statement has been submitted to Central Coast Council by the Auditor confirming the site is now suitable for the proposed use.

4.11. 	Demolish all buildings and / or building components in a safe and systematic manner in accordance with Australian Standard AS 2601-2001: The demolition of structures. Waste materials must be disposed of at a waste management facility.

Install a temporary fence to delineate the construction zone from vegetation to be     	retained. Flagging Bunting / Safety Bunting is sufficient.

All fenced conservation areas are to be clearly marked as a "No Go Area" on the 	fencing itself. No clearing of vegetation, storage of vehicles or machinery, stockpiling, 	materials storage or unauthorised access is to occur within the fenced conservation 	area.

4.12.	Maintain the temporary fence around the conservation areas. The fence must be maintained for the duration of construction works.

4.13.	When implementing the Asset Protection Zone

- All works are to be undertaken by hand-held machinery such as brush-cutters and chainsaws;

- Where possible, exotic vegetation should be prioritised for removal over native species to achieve APZ compliance.

4.14.	Utilise timber from felled native trees by:

- Re-instating logs as ground habitat in areas of retained vegetation, and/or

- Wood chip or tub grind into mulch for landscaping, soil stabilisation or bush regeneration, and/or

- Using for firewood (but not piled burned on-site); and/or

- Recycling for use in construction materials, furniture or fencing.

4.15. 	Appropriate erosion and sediment control must be erected and maintained at all 	times during construction in order to avoid the potential of incurring indirect impacts 	on biodiversity values habitat adjacent the proposal, particularly to prevent sediment 	escaping the development site. As a minimum, such measures should comply with 	the relevant industry guidelines such as ‘the Blue Book’ (Landcom 2004).

4.16.	Manage native fauna appropriately during clearing and construction phase of the 	approved works.  In this regard, an appropriately licensed Fauna Ecologist is to be on 	call, where, in spite of precautions, wildlife is injured, the Fauna Ecologist is to take 	the necessary action to treat the animal, which may include veterinary treatment or 	transfer of the animal to a volunteer wildlife carer group such as WIRES or Wildlife 	Arc.

4.17.	Comply with all the ecological impact mitigation measures outlined in the submitted 	Ecological Assessment Report (Anderson Environment and Planning, September 2023) 	and Tree Protection recommendations outlined in contained in section 5.0, 5.4, 6.0 & 	7.0 of the submitted Arboricultural Impact Assessment (Advance Treescape 	Consulting, September 2023) are implemented and adhered to.

4.18. 	The fit-out of any food preparation areas is to comply with the NSW Food Act 2003, 	NSW Food Regulation 2015, Australia New Zealand Food Standards Code, and 	Australian Standard AS 4674-2004: Design, Construction and Fit-out of Food Premises.

5.PRIOR TO ISSUE OF ANY OCCUPATION CERTIFICATE

5.1.	All conditions under this section must be met prior to the issue of any Occupation Certificate.

5.2.	Complete the landscaping works.

5.3.	Prior to the issue of the relevant Occupation Certificate, a suitably qualified acoustic consultant* must prepare an acoustic verification report to the satisfaction of the Principal Certifier that confirms the following:

  - All recommendations contained in the Noise Impact Assessment prepared by JHA Services, dated 14 September 2023 have been implemented, and

  - The project specific noise criteria established in the DA acoustic report and any other noise and vibration criteria specified in this consent are being complied with.

*Note: Suitably qualified Acoustic Consultant means a consultant who possesses the qualifications to render them eligible for membership of the Australian Acoustics Society, Institution of Engineers Australia or the Association of Australian Acoustic Consultants at the grade of member.

5.4.	Complete construction of the Stormwater Management System in accordance with the Stormwater Management Plan and Australian Standard AS 3500.3-Stormwater drainage systems. Certification of the construction by a suitably qualified consultant must be provided to the Principal Certifier.

5.5.	Repair any damage to Council’s infrastructure and road reserve as agreed with Council. Damage not shown in the Dilapidation Report submitted to Council before the development works had commenced will be assumed to have been caused by the development works unless the Developer can prove otherwise.

5.6.	Complete reconstruction (including line-marking, bollard installation, etc.) of the accessible parking space in accordance with the requirements of the current edition Australian Standard AS/NZS 2890: Parking Facilities, other applicable Australian Standards and the detailed designs and design reports within the relevant Construction Certificate. Certification by a suitably qualified person that construction is complete is to be provided to the Principal Certifier.

5.7.	Complete the civil engineering works within the development site in accordance with the detailed design drawings and design reports plans within the relevant Construction Certificate.

5.8.	Complete Construction of driveways, ramps and car parking areas in accordance with the requirements of the current edition Australian Standard AS/NZS 2890: Parking Facilities, other applicable Australian Standards and the detailed designs and design reports within the relevant construction certificate. Certification by a suitably qualified person that construction is complete is to be provided to the Principal Certifier.

5.9.	Submit to the Principal Certifier certification prepared by a Registered Surveyor certifying that all construction has been affected within the appropriate property and easement boundaries and the buildings have been erected to the approved floor and maximum heights. The certification must be accompanied by a copy of the final survey plan, with the distances from the boundaries to the edges of these structures endorsed in red and signed by the Surveyor.

5.10.	Obtain the Section 307 Certificate of Compliance under the Water Management Act 2000 for water and sewer requirements for the development from Central Coast Council as the Water Supply Authority, prior to issue of the relevant Occupation Certificate.

5.11.	Prior to the issue of any Occupation Certificate, the Plan of Management for St Mary’s Catholic Primary School is to be updated to incorporate the recommendations of the Traffic and Access Operational Management Plan prepared by Traffix, dated 6 November 2024 and the Flood Risk Management Report prepared by JN Responsive Engineering dated 06/06/2024, measure to comply with the General Terms of Approval issued by the NSW Rural Fire Service ref. DA20231115005166-Original-1 dated 29 January 2024, provision to prevent pedestrian access to the site via No. 11 Pandora Parade Noraville NSW except in the case of emergencies. This plan must incorporate any applicable regulatory requirements and/or recommendations.

5.12.	Prepare and submit a final certification letter detailing the compliance with the installation of the temporary fencing.

6.ONGOING

6.1.	Maintain the site landscaping for the life of the development.

6.2.	Operate and maintain all external lighting so as not to impact on any adjoining property.

6.3.	Construct, operate and manage the site in accordance with the Noise Impact Assessment prepared by JHA Services, dated 14 September 2023.

6.4.	Do not give rise to offensive noise as defined in the Protection of the Environment Operations Act 1997.

6.5.	The Flood Emergency Response Plan applicable to the site is to be updated annually, in consultation with the NSW State Emergency Service, to incorporate any applicable new and/or revised regulatory requirements and/or recommendations, and any changes to flood levels applicable to the site due to updated flood modelling and/or climate change impacts.

6.6.	The operational of the school is to be in accordance with the approved Plan of 	Management as amended in accordance with this consent. For clarity, the School 	shall accommodate a maximum of 630 students and 54 staff at all times.

6.7.	Comply with all the ecological impact mitigation measures outlined in the submitted 	Ecological Assessment Report (Anderson Environment and Planning, September 2023) 	and Tree Protection recommendations outlined in contained in section 5.0, 5.4, 6.0 & 	7.0 of the submitted Arboricultural Impact Assessment (Advance Treescape 	Consulting, September 2023) are implemented and adhered to.

7.PENALTIES

Failure to comply with this development consent and any condition of this consent may be a criminal offence.  Failure to comply with other environmental laws may also be a criminal offence.

Where there is any breach Council may without any further warning:

- Issue Penalty Infringement Notices (On-the-spot fines);

- Issue notices and orders;

- Prosecute any person breaching this consent, and/or

- Seek injunctions/orders before the courts to retain and remedy any breach.

Warnings as to Potential Maximum Penalties

Maximum Penalties under NSW Environmental Laws include fines up to $1.1 Million and/or custodial sentences for serious offences.

ADVISORY NOTES

- Carry out all work under this Consent in accordance with SafeWork NSW requirements including the Workplace Health and Safety Act 2011 No 10 and subordinate regulations, codes of practice and guidelines that control and regulate the development industry

- Dial Before You Dig

Underground assets may exist in the area that is subject to your application. In the interests of health and safety and in order to protect damage to third party assets please contact Dial Before You Dig at www.1100.com.au or telephone on 1100 before excavating or erecting structures. (This is the law in NSW). If alterations are required to the configuration, size, form or design of the development upon contacting the Dial Before You Dig service, an amendment to the development consent (or a new development application) may be necessary. Individuals owe asset owners a duty of care that must be observed when working in the vicinity of plant or assets. It is the individual's responsibility to anticipate and request the nominal location of plant or assets on the relevant property via contacting the Dial Before You Dig service in advance of any construction or planning activities.

- Telecommunications Act 1997 (Commonwealth)

Telstra (and its authorised contractors) are the only companies that are permitted to conduct works on Telstra's network and assets. Any person interfering with a facility or installation owned by Telstra is committing an offence under the Criminal Code Act 1995 (Cth) and is liable for prosecution. Furthermore, damage to Telstra's infrastructure may result in interruption to the provision of essential services and significant costs. If you are aware of any works or proposed works which may affect or impact on Telstra's assets in any way, you are required to contact: Telstra's Network Integrity Team on phone number 1800 810 443.

- Install and maintain backflow prevention device(s) in accordance with Council’s WS4.0 Backflow Prevention Containment Policy. This policy can be found on Council’s website:

www.centralcoast.nsw.gov.au

This condition only applies if installation / alteration of plumbing and / or drainage works are proposed (excludes stormwater drainage)

- The following public authorities may have separate requirements in the following aspects:

- Australia Post for the positioning and dimensions of mail boxes in new commercial and residential developments

- Jemena Asset Management for any change or alteration to the gas line infrastructure

- Ausgrid for any change or alteration to electricity infrastructure or encroachment within transmission line easements

- Telstra, Optus or other telecommunication carriers for access to their telecommunications infrastructure

- Central Coast Council in respect to the location of water, sewerage and drainage services.

- Telecommunications Act 1997 (Commonwealth)

Telstra (and its authorised contractors) are the only companies that are permitted to conduct works on Telstra's network and assets. Any person interfering with a facility or installation owned by Telstra is committing an offence under the Criminal Code Act 1995 (Cth) and is liable for prosecution. Furthermore, damage to Telstra's infrastructure may result in interruption to the provision of essential services and significant costs. If you are aware of any works or proposed works which may affect or impact on Telstra's assets in any way, you are required to contact: Telstra's Network Integrity Team on phone number 1800 810 443.