| Location: | 2 & 4 Brownlee Street, OURIMBAH NSW 2258 Lot 3 DP 612071, Lot 42 DP 1237817 |
| --- | --- |
| Owner: | Central Coast Council |
| Applicant: | Interface Planning |
| Date of Application: | 11 March 2024 |
| Application No: | DA/320/2024 |
| Proposed Development: | Industrial Units (RPP) - NOMINATED INTEGRATED & INTEGRATED |

PROPOSED CONDITIONS

The development taking place in accordance with the approved development plans reference number DA/320/2024 except as modified by any conditions of this consent, and any amendments in red.

1.PARAMETERS OF THIS CONSENT

Approved Plans and Supporting Documentation

  - Development must be carried out in accordance with the following approved plans and supporting documentation (stamped by Council), except where the conditions of this consent expressly require otherwise.

| Plan No. | Revision No. | Plan Title | Drawn By | Dated |
| --- | --- | --- | --- | --- |
| A001 | C | Cover Sheet | Crawford Architects | 19/09/2024 |
| A002 | E | Site Plan | Crawford Architects | 24/09/2024 |
| A008 | C | Fencing Plan | Crawford Architects | 24/09/2024 |
| A009 | C | ESD Initiatives | Crawford Architects | 24/09/2024 |
| A100 | G | Ground Floor Plan | Crawford Architects | 24/09/2024 |
| A101 | E | First Floor Plan | Crawford Architects | 24/09/2024 |
| A102 | C | Roof Plan | Crawford Architects | 24/09/2024 |
| A200 | F | Ground Floor Plan | Crawford Architects | 19/09/2024 |
| A201 | D | First Floor Plan | Crawford Architects | 19/09/2024 |
| A300 | C | Elevations Sheet 01 | Crawford Architects | 24/09/2024 |
| A301 | D | Elevations Sheet 02 | Crawford Architects | 24/09/2024 |
| A310 | B | Sections Sheet 01 | Crawford Architects | 19/09/2024 |
| A311 | C | Sections Sheet 02 | Crawford Architects | 24/09/2024 |
| A800 | B | 3D Views Sheet 01 | Crawford Architects | 19/09/2024 |
| A801 | B | 3D Views Sheet 02 | Crawford Architects | 19/09/2024 |
| A802 | B | 3D Views Sheet 03 | Crawford Architects | 19/09/2024 |
| A900 | B | Materials & Finishes Plan | Crawford Architects | 19/09/2024 |
| L000 | B | Landscape Plan – Cover Sheet | Xeriscapes | 20/09/2024 |
| L001 | B | Tree Management Plan | Xeriscapes | 20/09/2024 |
| L101 | B | Overall Landscape Plan | Xeriscapes | 20/09/2024 |
| L102 | B | Detailed Landscape Plan | Xeriscapes | 20/09/2024 |
| L201 | B | Precedent Images | Xeriscapes | 20/09/2024 |
| L301 | B | Indicative Plant Schedule | Xeriscapes | 20/09/2024 |

| Document Title | Version No. | Prepared by | Dated |
| --- | --- | --- | --- |
| Arborist Impact Assessment, Ref: 3305 | 03 | AEP | 28/08/2024 |
| Biodiversity Management Plan, Ref: 3305.01 | 03 | AEP | 25/09/2024 |
| Ecological Assessment Report, Ref: 3305 | 04 | AEP | 26/09/2024 |
| CPTED Report | - | James Marshall & Co. | Aug 2024 |
| Occupancy & Resource Waste Management Plan | - | Waste Audit | Sept 2024 |
| Construction & Resource Waste Management Plan | - | Waste Audit | Sept 2024 |
| Acid Sulfate Soil Management Plan, Ref: NEW23P-0208-AD | 0 | Qualtest | 03/07/2024 |
| Ecologically Sustainable Design Report, Ref: 24-5627H | C | Efficient Living | 28/03/2024 |
| Flood Impact and Risk Assessment, Ref: CC232627 | A | Northrop | 15/12/2023 |
| Detailed Site Investigation, Ref: NEW23P-0208-Abv3 | 1 | Qualtest | 22/11/2024 |
| Remediation Action Plan Ref: NEW23P-0208-AE | 0 | Qualtest | 05/11/2024 |
| Flood Emergency Response Plan, Ref: CC232627 | 1 | Northrop | 15/10/2024 |

-

In the event of any inconsistency between the approved plans and the supporting documentation, the approved plans prevail. In the event of any inconsistency between the approved plans and a condition of this consent, the condition prevails.

Note: an inconsistency occurs between an approved plan and supporting documentation or between an approved plan and a condition when it is not possible to comply with both at the relevant time.

1.2.	Carry out all building works in accordance with the National Construction Code Series, Building Code of Australia, Volume 1 and 2 as appropriate.

1.3.	Comply with the General Terms of Approval / requirements from the Authorities as listed below and attached as a schedule of this consent.

| Government Agency / Department / Authority | Description | Ref No | Date |
| --- | --- | --- | --- |
| NSW Department of Planning and Environment – Water | General Terms of Approval | IDAS-2024-10347 | 30/09/2024 |
| Ausgrid | Letter response - Conditions | TRIM 2017/11/363 | 11/06/2024 |
| Department of Primary Industries and Regional Development (Fisheries) | General Terms of Approval | IDA 24/92 | 22/08/2024 |
| Transport for NSW (Sydney Trains) | Conditions | CNR-69015 | 04/06/2024 |

  - A Construction Certificate is to be issued by the Principal Certifying Authority prior to commencement of any construction works.  The application for this Certificate is to satisfy all of the requirements of the Environmental Planning and Assessment (Development Certification and Fire Safety) Regulation 2021.

  - Prior to the occupation or use of the building/structure, an application for an Occupation Certificate for the development must be submitted to and approved by the Principal Certifying Authority.

  - Where conditions of this consent require approval from Council under the Roads Act 1993, Local Government Act 1993 or Water Management Act 2000, a completed Subdivision Construction Certificate application form must be lodged with Council and be accompanied by detailed design drawings and supporting information.  Upon submission to Council, fees and charges will be calculated in accordance with Council’s Management Plan.  The fees and charges must be paid prior to Council commencing the design assessment.

  - Signage is not part of this development consent.

2.PRIOR TO ISSUE OF ANY CONSTRUCTION CERTIFICATE

2.1.	All conditions under this section must be met prior to the issue of any Construction Certificate.

2.2.	No activity is to be carried out on-site until the Construction Certificate has been issued, other than:

- Site investigation for the preparation of the construction, and / or

- Implementation of environmental protection measures, such as erosion control and the like that are required by this consent

- Demolition.

2.3.	Before issue of a Construction Certificate, the housing and productivity contribution 	(HPC) set out in the table below is required to be made.

| Plan name |  | Amount |
| --- | --- | --- |
| Housing and Productivity Contribution Central Coast Region_A&A |  | $37,142.36 |
|  | Total: | $37,142.36 |

The HPC must be paid using the NSW planning portal.

At the time of payment, the amount of the HPC is to be adjusted in accordance with the Environmental Planning and Assessment (Housing and Productivity Contributions) Order 2024 (HPC Order).

The HPC may be made wholly or partly as a non-monetary contribution (apart from any transport project component) if the Minister administering the Environmental Planning and Assessment Act 1979 agrees.

The HPC is not required to be made to the extent that a planning agreement excludes the application of Subdivision 4 of Division 7.1 of the Environmental Planning and Assessment Act 1979 to the development, or the HPC Order exempts the development from the contribution.

The amount of the contribution may be reduced under the HPC Order, including if payment is made before 1 July 2025.

2.4.	Before the issue of a Construction Certificate, pursuant to Section 7.12 of the Environmental Planning & Assessment Act 1979, the applicant must pay a contribution to Council totalling $118,826.43, as calculated at the date of this consent, in accordance with the Central Coast 7.12 Local Infrastructure Contributions Plan 2023.

The total amount payable may be adjusted at the time the payment is made, in accordance with the provisions of the Central Coast 7.12 Local Infrastructure Contributions Plan 2023. Contributions under the Central Coast 7.12 Local Infrastructure Contributions Plan 2023 are subject to quarterly indexation by CPI.

A copy of the Contributions Plan is available for inspection at 2 Hely St, Wyong or on Council's website: Development Contributions Plans and Planning Agreements | Central Coast Council (nsw.gov.au)

2.5.	Submit to the Registered Building Certifier a report that demonstrates the building has been designed to withstand the forces of floodwater and immersion up to the PMF level.

2.6.	Submit an application to Council under section 305 of the Water Management Act 2000 for a section 306 Requirements Letter. The Application form can be found on Council’s website centralcoast.nsw.gov.au. Early application is recommended.

The section 305 application will result in a section 306 letter of requirements which must be obtained prior to the issue of any Construction Certificate. The requirements letter will outline which requirements must be met prior to each development milestone e.g. prior to construction certificate, subdivision works certificate, occupation certificate and/or subdivision certificate.

2.7.	Submit to Council’s Environment Protection Officer for approval a revised Water Cycle Management Plan and Soil Water Management Plan that considers the findings of the ASSMP (prepared by Qualtest, July 2024).

2.8.	Submit to Council’s Environment Protection Officer for approval a Construction Environment Management Plan that outlines specific actions to be taken to prevent, control, and mitigate environmental impacts in accordance with the Department of Environment & Climate Change NSW ‘Interim Construction Noise Guideline’ & NSW Environment Protection Authority ‘Draft Construction Noise Guideline’ during construction.

2.9.	Vegetation clearing boundaries and trees proposed for retention or removal must be clearly marked on all final engineering and landscaping plans as identified in the approved Arboricultural Impact Assessment and Ecological Assessment Report. All vegetation and tree protection areas must be clearly marked as "No Go Area" on all plans.

2.10.	Implement vegetation management activities and submit a certification letter (that demonstrates compliance with all pre-development phase management actions) to Council's Ecologist for approval in accordance with the approved Biodiversity Management Plan. Any proposed amendment to the Biodiversity Management Plan must be approved by Council’s Ecologist.

2.11.	Submit a report prepared by a suitably qualified and experienced expert to Council’s Ecologist for approval that demonstrates that external lighting associated with the development that may overspill into the Biodiversity Management Plan area generally does not exceed the curfew limit established for zone A2 under AS/ NZS 4282:2019 Control of the Effects of Outdoor Lighting.

2.12.	Enter into a Licence with Council for a period matched to the lease to reflect those lands within the Biodiversity Management Plan that are outside the lease area.

2.13.	Obtain a Roads Act Works Approval by submitting an application to Council for a section 138 Roads Act Works Approval for all works required within the road reserve. The application is to be lodged using an Application for Subdivision Works Certificate or Construction Certificate, Roads Act Works Approval and other Development related Civil Works form.

The application is to be accompanied by detailed design drawings, reports and other documentation prepared by a suitably experienced qualified professional in accordance with Council’s Civil Works Specifications.

Fees, in accordance with Council’s Fees and Charges, will be invoiced to the applicant following lodgement of the application. Fees must be paid prior to Council commencing assessment of the application.

Design drawings, reports and documentation will be required to address the following works within the road reserve:

- Construction of an industrial/commercial vehicle access crossing (north and south) in accordance with standard drawing SD0507 that has a width to cater for the largest design vehicle expected to access the site including construction of a heavy-duty gutter crossing and road pavement adjacent to the gutter crossing.

A structural design to cater for anticipated loadings and detailing all concrete element must be provided.

- Construction of any works required to transition new works into existing 	infrastructure and the surrounding land formation.

- Installation of roadside furniture and safety devices as required by design e.g. 	fencing, signage, guide posts, chevrons, directional arrows, and/or safety barriers 	in accordance with Austroads Guides, NSW Transport Roads and Maritime 	Services Supplements and Australian Standards and manufacturers requirements.

The section 138 Roads Act Works Approval must be issued by Council and all conditions of that approval must be addressed prior to occupying and commencing any works in the road reserve.

2.14 	Submit to Council a dilapidation report detailing the condition of all Council assets within the vicinity of the development. The report must document and provide photographs that clearly depict any existing damage to the road, kerb, gutter, footpath, driveways, street trees, street signs, street lights or any other Council assets in the vicinity of the development. The dilapidation report will be required to be submitted to Council prior to the issue of the Section 138 Roads Act Works approval or the issue of any construction certificate for works on the site. The dilapidation report may be updated with the approval of Council prior to the commencement of works. The report will be used by Council to establish damage to Council’s assets resulting from the development works.

2.15.   Obtain a Section 68 Local Government Act Works Approval for Stormwater Drainage works by submitting an application to Council for a ‘Section 68 Local Government Act Works Approval – stormwater drainage’ for storm water drainage works connecting to or within Council’s storm water system using an Application for Subdivision Works Certificate or Construction Certificate, Roads Act Works Approval and other Development related Civil Works form.

The application is to be accompanied by detailed design drawings, reports and other documentation prepared by a suitably experienced qualified professional in accordance with Council’s Civil Works Specifications.

Fees, in accordance with Council’s Fees and Charges, will be invoiced to the applicant following lodgement of the application. Fees must be paid prior to Council commencing assessment of the application.

Design drawings, reports and documentation will be required to address the following works:

- Construction of the connection of all piped and collected stormwater runoff from within the development site with discharge to the downstream watercourse. Suitable scour protection and energy dissipation measures are to be provided prior discharge to Bangalow Creek.

The Section 68 Local Government Act Works Approval – stormwater drainage must be issued and all conditions of that approval addressed prior to commencing any works that are the subject of the approval.

2.16.	Submit to the Registered Certifier responsible for issuing the construction certificate for works within the development site detailed design drawings and design reports for the following engineering works:

- Construction of driveways, ramps and car parking areas in accordance with the 	requirements of the current edition Australian Standard AS/NZS 2890: Parking 	Facilities and other applicable Australian Standards.

- Construction of nutrient and pollution control measures. Design in accordance 	with Chapter 3.1 – Floodplain Management and Water Cycle Management of the 	Central Coast Development Control Plan 2022. A nutrient and pollution control 	report including an operation and maintenance plan must accompany the 	design.

- Construction of a secondary stormwater flow path where shown on the 	approved plans. The secondary flow path must be capable of conveying the 1% 	Annual Exceedance Probability (AEP) flood flow and designed in accordance 	with Council’s Civil Works Specification.

- Construction of stormwater drainage collection and piping of all stormwater 	runoff from areas within the site to the water quality basin. Discharge from the 	bio-retention basin shall be to the downstream watercourse.

- Construction of buildings with the minimum floor level of all habitable rooms in 	the development being Reduced Level (RL) 16.82m Australian Height Datum 	(AHD).

- Construction of buildings from materials that are used or located below 	Reduced Level (RL) 16.82m Australian Height Datum (AHD) must be of a type 	that is able to withstand the effects of immersion.

- Construction of retaining walls where indicated on development approval documentation. Retaining wall design must not conflict with existing or proposed services or utilities. Retaining walls designs for walls greater than 600mm in height must be certified by a registered practising Civil or Structural engineer as being in accordance with Australian Standards.

Detailed design drawings and design reports acceptable to the Registered Certifier must be included in the Construction Certificate documentation.

2.17.	Submit details to the Registered Certifier that confirm retaining walls shall be 	constructed in either brick or masonry.

2.18.	Submit an application to Council under the provisions of section 68 of the Local Government Act 1993 for an approval to install a private sewer pump station and rising main. The section 68 application can be found on Council’s website: www.centralcoast.nsw.gov.au

2.19.	Submit an amended Biodiversity Management Plan to Council’s Ecologist for 	approval that:

- Identifies the subject site as per the approved Site Plan, and

- Includes a detailed cost estimate from a qualified bush regenerator/other 	specialists to implement all management activities in full.

2.20.	Revise the Flood Emergency Response Plan prepared by Northrop and dated 15 October 2024 as appropriate prior to issue of any Construction Certificate.

2.21.	Provide an Asbestos Management and Removal Control Plan (‘AMRCP’) for the handling and disposal of asbestos impacted soils in accordance with the recommendations of the Detailed Site Investigation, 2-4 Brownlee Street Ourimbah NSW, Revision 3, dated 22 November 2024, prepared by Qualtest Laboratory (NSW) Pty Ltd and the Remediation Action Plan, 2-4 Brownlee Street Ourimbah NSW, Revision 0, dated 5 November 2024, prepared by Qualtest Laboratory (NSW) Pty Ltd. The AMRCP must be prepared by a suitably qualified, experienced, and currently practising environmental consultant.

3.PRIOR TO COMMENCEMENT OF ANY WORKS

3.1.	All conditions under this section must be met prior to the commencement of any works.

3.2.	Ensure that all parties / trades working on the site are fully aware of their responsibilities with respect to tree protection conditions.

3.3.	Tree protection is to be as per the recommendations within sections 6.0 & 7.0 & Appendix A of the Revised Arboricultural Impact Assessment, prepared by AEP, dated 28/08/2024.

Trees to be retained are to be protected by fencing and / or other accepted protection measures in accordance with Australian Standard AS 4970-2009: Protection of Trees on Development Sites. All required tree protection measures are to be maintained for the duration of construction works.

Erect a 1.8 metre high chain mesh fence around Tree Protection Zones that must remain intact until construction is completed.

Sign-post fences around Tree Protection Zones to warn of its purpose.

3.4.	Implement and conduct all works in accordance with the approved Biodiversity 	Management Plan.

3.5.	Appoint a Principal Certifier for the building work:

- The Principal Certifier (if not Council) is to notify Council of their appointment and notify the person having the benefit of the development consent of any critical stage inspections and other inspections that are to be carried out in respect of the building work no later than two (2) days before the building work commences.

- Submit to Council a Notice of Commencement of Building Work form giving at least two (2) days’ notice of the intention to commence building work. The forms can be found on Council’s website: www.centralcoast.nsw.gov.au

3.6.	Erect a sign in a prominent position on any work site on which building, subdivision or demolition work is being carried out. The sign must indicate:

- The name, address and telephone number of the Principal Certifier for the work; and

- The name of the principal contractor and a telephone number at which that person can be contacted outside of working hours; and

- That unauthorised entry to the work site is prohibited.

- Remove the sign when the work has been completed.

3.7.	Prepare a Construction Traffic and Pedestrian Management Plan (CTPMP) for all activities related to works within the site. The plan must be prepared and implemented only by persons with Roads and Maritime Service accreditation for preparing and implementing traffic management plans at work sites.

The CTPMP must describe the proposed construction works, the traffic impacts on the local area and how these impacts will be addressed.

The CTPMP must address, but not be limited to, the following matters:

- Ingress and egress of construction related vehicles to the development site.

- Details of the various vehicle lengths that will be used during construction and the frequency of these movement.

- Use of swept path diagrams to demonstrate how heavy vehicles enter, circulate and exit the site or Works Zone in a forward direction.

- Deliveries to the site, including loading / unloading materials and requirements for work zones along the road frontage to the development site. A Plan is to be included that shows where vehicles stand to load and unload, where construction plant will stand, location of storage areas for equipment, materials and waste, locations of Work Zones (if required) and location of cranes (if required).

- Works Zones if heavy vehicles cannot enter or exit the site in a forward direction.

- Control of pedestrian and vehicular traffic where pre-construction routes are affected.

- Temporary Road Closures.

Where the plan identifies that the travel paths of pedestrians and vehicular traffic are proposed to be interrupted or diverted for any construction activity related to works inside the development site an application must be made to Council for a Road Occupancy Licence. Implementation of traffic management plans that address interruption or diversion of pedestrian and/or vehicular traffic must only take place following receipt of a Road Occupancy Licence from Council or the Roads and Maritime Service where on a classified road.

Where a dedicated delivery vehicle loading and unloading zone is required along the road frontage of the development site a Works Zone Application must be lodged and approved by Council. A minimum of 3 months is required to allow Traffic Committee endorsement and Council approval.

The Construction Traffic and Pedestrian Management Plan must be reviewed and updated during construction of the development to address any changing site conditions.

A copy of the Construction Traffic and Pedestrian Management Plan must be held on site at all times and be made available to Council upon request.

3.8.	Submit to Council a completed Notice of Intention to Commence Subdivision, Roads and Stormwater Drainage Works Form with supporting documentation prior to the commencement of any Subdivision Works Certificate works, Roads Act Works Approval works, or Section 68 Local Government Act Stormwater Drainage Works Approval works. These works are not to commence until a pre-commencement site meeting has been held with Council.

4.DURING WORKS

4.1.	All conditions under this section must be met during works.

4.2.	Trees to be removed to accommodate for the development as specified within section 6.0 and Appendix A of the Revised Arboricultural Impact Assessment report by AEP dated 28/08/2024.

4.3.	Appoint a Project Arborist (AQF 5) to oversee the works in relation to tree protection measures during critical stages of construction. The Project Arborist is to ensure all trees identified for retention are retained with tree protection measures consistent with the Australian Standard AS4970-2009 Protection of Trees on Development Sites.

4.4.	Activities generally excluded from the Tree Protection Zone, but not limited to:

- Machine excavation, trenching, material storage, prepare chemicals or cement, park, refuel, dump waste, wash down, fill or change soil level.

4.5.	Re-use, recycle or dispose of all building materials in accordance with the Waste Management Plan submitted with the subject application.

4.6.	Undertake site contamination remediation works in accordance with the 	recommendations of the Remediation Action Plan, 2-4 Brownlee Street Ourimbah NSW, 	Revision 0, dated 5 November 2024, prepared by Qualtest Laboratory (NSW) Pty Ltd.

4.7.	Undertake the handling and disposal of asbestos impacted soils in accordance with the recommendations of the Asbestos Management and Removal Control Plan (‘AMRCP’), and the Remediation Action Plan, 2-4 Brownlee Street Ourimbah NSW, Revision 0, dated 5 November 2024, prepared by Qualtest Laboratory (NSW) Pty Ltd.

4.8.	Following the completion of the site remediation works carried out under the Remediation Action Plan, 2-4 Brownlee Street Ourimbah NSW, Revision 0, dated 5 November 2024, prepared by Qualtest Laboratory (NSW) Pty Ltd obtain Council approval of a Validation Report, (and if required) an Environmental Management Plan and Ongoing Monitoring Report prepared by a suitably qualified contaminated land consultant that is accredited by the Certified Environmental Practitioners Scheme- Site Contamination (CEnvP(SC)) and/or the Certified Professional Soil Scientist- Contaminated Site Assessment and Manager (CPSS CSAM). Such investigation must be undertaken in accordance with Managing Land Contamination – Planning Guidelines SEPP 55 – Remediation of Land (1998) and NSW Environment Protection Authority’s Contaminated Land Guidelines - Consultants Reporting on Contaminated Land 2020 and Contaminated Sites – Sampling Design Guidelines (2022) and the National Environment Protection (Assessment of Site Contamination) Measure (ASC NEPM, 1999 as amended 2013).

  - Classify all excavated material removed from the site in accordance with NSW EPA 	(November 2014) Waste Classification Guidelines and/or the Resource Recovery Orders 	under Part 9, Clause 93 of the Protection of the Environment Operations (Waste) 	Regulation 2014.

  - Ensure all excavated material removed from the site is transported to a site that is a 	lawful waste facility and/or a site that meets the requirements of the Resource recovery 	Exemptions under Part 9, Clause 91 and 92 Protection of the Environment Operations 	(Waste) Regulation 2014.

  - No soils to be imported to the subject site except for Virgin Excavated Natural Material (VENM) as defined in Schedule 1 of the Protection of the Environment Operations Act 1997 and/ or Excavated Natural Material (ENM) that meets the Resource Recovery Orders under Part 9, Clause 93 of the Protection of the Environment Operations (Waste) Regulation 2014.

4.12.	Immediately notify Council of any new information which comes to light during remediation, demolition or construction works which has the potential to alter previous conclusions about site contamination and remediation.

4.13.	Implement all erosion and sediment control measures and undertake works in accordance with the approved Soil and Water Management Plan required by Condition 2.8 of this consent. Update the plan as required during all stages of the construction or in accordance with the ‘Blue Book’ (Managing Urban Stormwater: Soils and Construction, Landcom, 2004).

4.14.	Implement dust suppression measures on-site during bulk earthworks to suppress dust generated by vehicles and equipment. Dust must also be suppressed at all other stages of construction in order to comply with the Protection of the Environment Operations Act 1997.

4.15.  Engage a qualified, licenced Ecologist to undertake the following:

- Conduct a pre-clearance survey within 48 hours prior to any vegetation clearing to locate habitat features and any possible residing fauna, this must include checking for active bird nests;

- Within 48 hours prior to any vegetation clearing, ensure all trees are clearly and correctly marked for retention/removal in accordance with the approved Arborist Impact Assessment;

- Within 48 hours prior to any vegetation clearing, ensure tree protections measures detailed in the approved Arborist Impact Assessment have been implemented;

- Within 48 hours prior to any vegetation clearing, ensure the required temporary fence along the interface of the development area and Biodiversity Management Plan area is established and functional;

- Provide an environmental induction to civil contractors and subcontractors;

- If applicable, clearing is not to be carried out until any breeding fauna recorded have finished nesting and juveniles have dispersed from the nest site, as advised by the project ecologist;

- Supervise removal of all habitat features that were identified during the pre-clearance survey;

- Identify and assist in salvage and relocation of fauna habitat resources (such as hollow log sections, bush rocks) from the development footprint to the Biodiversity Management Plan area;

- If applicable, any tree hollows removed are to be replaced at a 1:1 ratio with salvaged/augured hollows and/or 2:1 ratio with nest boxes. All compensatory hollows must be contained to the Biodiversity Management Plan area;

- If applicable, any fauna encountered during the pre-clearance survey or vegetation clearing must be captured and relocated to the Biodiversity Management Plan area and provided with adequate resources and/ or where relevant taken into care by a licenced wildlife carer. If any fauna are injured during vegetation clearing they are to be taken immediately for treatment to a nearby veterinarian; and

- Submit to Council’s Ecologist a certification letter that summarises results of the pre-clearance survey and clearing supervision within two weeks following vegetation clearing. Information provided must include fauna observations, number, size and location of artificial hollows installed (GPS coordinates and a map to be provided).

4.16.	Native plant stock used in landscaping is to be from provenance specific seed/material collected from locally endemic species. Non-provenance specific material is prohibited.

4.17.	Implement and conduct all works in accordance with the approved Biodiversity Management Plan. Where management actions contained within the Biodiversity Management Plan is inconsistent with the conditions of consent, the conditions of consent prevail.

4.18.	Stockpiling will be undertaken within the approved works foot print. Stockpiling will not be undertaken in locations that impact on adjacent areas of retained native vegetation. Stockpiles are to be managed to suppress dust, prevent erosion and reduce the impact of sediment and other contaminants on the environment. This may require compaction and the installation of adequate sediment and erosion control measures around the stockpiles in accordance with the Blue Book and Best Practice Erosion and Sediment Control (IECA) guidelines.

4.19.	Complete the permanent fence around the Biodiversity Management Plan area in accordance with the approved Biodiversity Management Plan. All fence materials must be wildlife friendly (no use of barb wire). The fence must be installed so that all native trees are protected and retained.

4.20.	Ensure all external lighting installed that has the potential to overspill into the Biodiversity Management Plan area does not exceed the curfew limit established for zone A2 under AS/ NZS 4282:2019 Control of the Effects of Outdoor Lighting.

4.21.	The principal certifier must ensure that building work, demolition or vegetation removal is only carried out between:

7.00 am and 5.00 pm on Monday to Saturday.

The principal certifier must ensure building work, demolition or vegetation removal is not carried out on Sundays and public holidays, except where there is an emergency.

Unless otherwise approved within a construction site management plan, construction vehicles, machinery, goods or materials must not be delivered to the site outside the approved hours of site works.

Note: Any variation to the hours of work requires Council’s approval.

4.22.	While demolition or building work is being carried out, all such works must cease immediately if a relic or Aboriginal object is unexpectedly discovered. The applicant must notify the Heritage Council of NSW in respect of a relic and notify the Secretary of the Department of Planning, Industry and Environment and the Heritage Council of NSW in respect of an Aboriginal object. Building work may recommence at a time confirmed by either the Heritage Council of NSW or the Secretary of the Department of Planning, Industry and Environment.

In this condition:

“relic” means any deposit, artefact, object or material evidence that:

(a)	relates to the settlement of the area that comprises New South Wales, not being Aboriginal settlement, and

(b)	is of State or local heritage significance; and

“Aboriginal object” means any deposit, object or material evidence (not being a handicraft made for sale) relating to the Aboriginal habitation of the area that comprises New South Wales, being habitation before or concurrent with (or both) the occupation of that area by persons of non-Aboriginal extraction and includes Aboriginal remains. To ensure the protection of objects of potential significance.

4.23.	Implement and maintain all erosion and sediment control measures at or above design capacity for the duration of the construction works and until such time as all ground disturbed by the works has been stabilised and rehabilitated so that it no longer acts as a source of sediment.

4.24.	Keep a copy of the stamped approved plans on-site for the duration of site works and make the plans available upon request to either the Principal Certifier or an officer of Council.

4.25.	Place all building materials, plant and equipment on the site of the development during the construction phase of the development so as to ensure that pedestrian and vehicular access within adjoining public roads, footpaths and reserve areas, is not restricted and to prevent damage to public infrastructure. Further, no construction work is permitted to be carried out within the road reserve unless the works are associated with a separate approval issued under the provisions of the Roads Act 1993.

4.26.	Arrange with the relevant service provider / Authority (eg. Ausgrid, Jemena, NBN or other communications provider) for the supply of services concurrently with the engineering works required by this consent. Arrangements must include, where required, any relocation of existing mains and services, and dedication of easements for mains and services.

4.27.	Undertake the operation and management of the site in accordance with the Construction Environmental Management Plan.

5.PRIOR TO ISSUE OF ANY OCCUPATION CERTIFICATE

5.1.	All conditions under this section must be met prior to the issue of any Occupation Certificate.

5.2.	Obtain the Section 307 Certificate of Compliance under the Water Management Act 2000 for water and sewer requirements for the development from Central Coast Council as the Water Supply Authority, prior to issue of the Occupation Certificate.

5.3.	Provide certification to the Principal Certifier to confirm the final fit-out of the premises complies with the Food Act 2003, Food Regulation 2010, Australia New Zealand Food Standards Code, Australian Standard AS 4674-2004: Design, Construction and Fit-out of Food Premises and Clause G1.2 of the National Construction Code Series, Building Code of Australia, Volume 1 and 2 as appropriate.

5.4.	Implement management activities in accordance with the approved Biodiversity Management Plan and submit a certification letter to Council's Ecologist for approval that demonstrates compliance with all development phase management actions.

5.5.	Prior to issue of any Occupation Certificate, engage an Ecologist to undertake an inspection of all artificial hollows installed under this consent to determine condition, functionality and fauna usage (via an internal inspection). The Ecologist is to submit a letter to Council’s Ecologist for approval which contains results. All artificial hollows installed must be maintained or replaced where damaged or missing for a minimum of ten years following issue of the Occupation Certificate.

5.6.	Create a plan of subdivision for lease purposes prior to issue of an Occupation Certificate.

5.7.	Construct any additional civil works, where required by Council, to ensure satisfactory 	transitions to existing site formations and pavements where designs contained in the 	Roads Act Works Approval do not adequately address transition works.

5.8.	Complete construction of the stormwater management system in accordance with the 	Stormwater Management Plan and Australian Standard AS 3500.3-Stormwater drainage 	systems.  Certification of the construction by a suitably qualified consultant must be 	provided to the Principal Certifier.

5.9.	Complete construction of all works within the road reserve in accordance with the Roads Act Works Approval. Completion of works includes the submission and acceptance by Council of all work as executed drawings plus other construction compliance documentation and payment of a maintenance/defects bond to Council in accordance with Council’s Fees and Charges.

5.10.	Repair any damage to Council’s infrastructure and road reserve as agreed with Council. Damage not shown in the dilapidation report submitted to Council before the development works had commenced will be assumed to have been caused by the development works unless the Developer can prove otherwise.

5.11.	Complete construction of all works approved in the Local Government Act Section 68 Stormwater Drainage Works Approval. Completion include the submission and acceptance by Council of all work as executed drawings plus other construction compliance documentation and payment of a maintenance/defects bond to Council in accordance with Council’s adopted fees and charges.

5.12.	Complete the civil engineering works within the development site in accordance with 	the detailed design drawings and design reports plans within the construction 	certificate.

5.13.	Amend the Deposited Plan (DP) for Lot 3 DP 612071 and Lot 42 DP1237817 to:

- Include an Instrument under the Conveyancing Act 1919 for the following restrictive covenants; with Council having the benefit of these covenants and having sole authority to release and modify.  Wherever possible, the extent of land affected by these covenants must be defined by bearings and distances shown on the plan. The plan and instrument must:

- Create a ‘Restriction on the use of Land’ over all lots containing an on-site stormwater detention system and / or a nutrient / pollution facility restricting any alteration to such facility or the erection of any structure over the facility or the placement of any obstruction over the facility.

- Create a ‘Restriction on the use of Land’ over all land affected by a secondary flow path to ensure:

- the shape of the flow path is not altered.

- no structure is erected within or over the flow path, excluding fences that are flood compatible.

5.14.	Ensure the on-site stormwater detention system and/or a nutrient/pollution facility:

    - remain in place and fully operational.

    - is maintained in accordance with the operational and maintenance plan so that it operates in a safe and efficient manner.

5.15.	Complete Construction of driveways, ramps and car parking areas in accordance with the requirements of the current edition Australian Standard AS/NZS 2890: Parking Facilities, other applicable Australian Standards and the detailed designs and design reports within the construction certificate. Certification by a suitably qualified person that construction is complete is to be provided to the Principal Certifier.

5.16.	The consolidation of Lot 3 DP 612071 and Lot 42 DP 1237817 into one lot by registered subdivision. Documentary evidence of the lodgement of the Consolidation Plan with NSW Land and Property Information can be accepted by the Principal Certifier as satisfying this requirement.

5.17.	Complete the landscaping works.

5.18.	Provide the Principal Certifier with written certification from a qualified landscape designer certifying that landscaping has been implemented in accordance with the approved landscape plan as amended by any conditions of this consent.

5.19.	Obtain an Approval to Operate the private sewer pump station from Council.

6.ONGOING

6.1.	Do not give rise to offensive noise as defined in the Protection of the Environment Operations Act 1997.

6.2.	Do not give rise to offensive odour as defined in the Protection of the Environment Operations Act 1997.

6.3.	Do not give rise to water pollution as defined in the Protection of the Environment Operation Act 1997.

6.4.	Implement the works schedule under Table 3 and all post development phase management activities in accordance with the approved Biodiversity Management Plan. Annual monitoring reports are to be submitted to Council's Ecologist for a minimum seven years following issue of the final Occupation Certificate. The Biodiversity Management Plan area is to be maintained in perpetuity as an ecologically sensitive area for conservation purposes.

6.5.	Repair and replace nest boxes installed under this consent if damaged or missing for a minimum of ten years following installation.

6.6.	To maintain the ecological integrity of the Biodiversity Management Plan (BMP) area, unless consent from Council is obtained, no additional external lighting is permitted that has the potential to overspill into the BMP area.

6.7.	Maintain all native landscaping, including planted trees until they reach a height of no less than five meters. All damaged, dead or missing landscape plantings are to be replaced like for like with local native species.

6.8.	The landscaping shall be maintained for the life of the development.

6.9.	Do not erect advertising sign(s) on or in conjunction with the use and/or development without development consent unless the advertisement is exempt development or otherwise permitted without development consent.

6.10.	Maintain internal pavement and pavement marking.

6.11.	Load and unload delivery vehicles wholly within the site. Delivery vehicles must enter and exit the site in a forward direction.

6.12.	Do not obstruct loading bays when not in use.

6.13.	Ensure the garbage/recycling bins do not encroach on the car parking or vehicle manoeuvering areas.

6.14.	The Operators of the Site shall comply with the Flood Emergency Response Plan, prepared by Northrop and dated 15 October 2024 at all times.

6.15.	The Flood Emergency Response Plan, prepared by Northrop and dated 15 October 2024 shall be reviewed and amended as appropriate every three years as a minimum.

10.PENALTIES

Failure to comply with this development consent and any condition of this consent may be a criminal offence.  Failure to comply with other environmental laws may also be a criminal offence.

Where there is any breach Council may without any further warning:

- Issue Penalty Infringement Notices (On-the-spot fines);

- Issue notices and orders;

- Prosecute any person breaching this consent, and/or

- Seek injunctions/orders before the courts to retain and remedy any breach.

Warnings as to Potential Maximum Penalties

Maximum Penalties under NSW Environmental Laws include fines up to $1.1 Million and/or custodial sentences for serious offences.

ADVISORY NOTES

- It is an offence under the Biodiversity Conservation Act 2016 to harm protected native wildlife. If during works fauna is displaced, it must not be harmed. If required works will cease and fauna will be transferred to the nearest veterinary hospital and Councils Ecologist will be notified within 24hrs.

- Discharge of sediment from a site may be determined to be a pollution event under provisions of the Protection of the Environment Operations Act 1997. Enforcement action may commence where sediment movement produces a pollution event.

- The following public authorities may have separate requirements in the following aspects:

- Australia Post for the positioning and dimensions of mail boxes in new commercial and residential developments

- Jemena Asset Management for any change or alteration to the gas line infrastructure

- Ausgrid for any change or alteration to electricity infrastructure or encroachment within transmission line easements

- Telstra, Optus or other telecommunication carriers for access to their telecommunications infrastructure

- Central Coast Council in respect to the location of water, sewerage and drainage services.

- Carry out all work under this Consent in accordance with SafeWork NSW requirements including the Workplace Health and Safety Act 2011 No 10 and subordinate regulations, codes of practice and guidelines that control and regulate the development industry.

- Dial Before You Dig

Underground assets may exist in the area that is subject to your application. In the interests of health and safety and in order to protect damage to third party assets please contact Dial Before You Dig at www.1100.com.au or telephone on 1100 before excavating or erecting structures. (This is the law in NSW). If alterations are required to the configuration, size, form or design of the development upon contacting the Dial Before You Dig service, an amendment to the development consent (or a new development application) may be necessary. Individuals owe asset owners a duty of care that must be observed when working in the vicinity of plant or assets. It is the individual's responsibility to anticipate and request the nominal location of plant or assets on the relevant property via contacting the Dial Before You Dig service in advance of any construction or planning activities.

- Telecommunications Act 1997 (Commonwealth)

Telstra (and its authorised contractors) are the only companies that are permitted to conduct works on Telstra's network and assets. Any person interfering with a facility or installation owned by Telstra is committing an offence under the Criminal Code Act 1995 (Cth) and is liable for prosecution. Furthermore, damage to Telstra's infrastructure may result in interruption to the provision of essential services and significant costs. If you are aware of any works or proposed works which may affect or impact on Telstra's assets in any way, you are required to contact: Telstra's Network Integrity Team on phone number 1800 810 443.