NOTICE OF DETERMINATION OF A DEVELOPMENT APPLICATION

| Application number | 8.2024.236.1 PPSHCC-325 |
| --- | --- |
| Applicant | Focus Town Planning Pty Ltd 68 Grandview Road NEW LAMBTON HEIGHTS NSW 2305 |
| Description of development | 88 Lot Torrens Title subdivision and associated civil works |
| Property | Pioneer Road HUNTERVIEW NSW 2330, 86 Pioneer Road HUNTERVIEW NSW 2330, Lambkin Street HUNTERVIEW NSW 2330 Lot: 32 DP: 1140924, Lot: 3 DP: 1091619, Lot: 336 DP: 1092882, Lot: 7 DP: 1196266, Lot: 8 DP: 1196266 |
| Determination | Approved Consent Authority - Regional Planning Panel |
| Date of determination | 17 March 2026 |
| Date from which the consent operates | 17 March 2026 |
| Date on which the consent lapses | 17 March 2031 |
| Approval bodies that have given general terms of approval | NSW RFS DCCEEW – Water |

Under section 4.18(1) of the EP&A Act, notice is given that the above development application has been determined by the granting of consent using the power in section 4.16(1)(a) of the EP&A Act, subject to the conditions specified in this notice.

Reasons for approval

The proposed development, subject to the recommended conditions, is consistent with the objectives of the applicable environmental planning instruments, being; Singleton Local Environmental Plan 2013 (SLEP), State Environmental Planning Policy (Building Sustainability Index: BASIX) 2004, State Environmental Planning Policy (Resilience and Hazards) 2021

- The proposed development, subject to the recommended conditions, is consistent with the objectives of the Singleton Development Control Plan 2014 (SDCP).

- Subject to the recommended conditions the proposed development will be provided with adequate essential services required under the SLEP.The proposed development is considered to be of an appropriate scale and form for the site and the character of the locality.

- The proposed development, subject to the recommended conditions, will not result in unacceptable adverse impacts upon the natural or built environments.

- The proposed development is a suitable and planned use of the site and its approval is within the public interest.

- Council has given due consideration to community views when making the decision to determine the application.

Right of appeal / request a review of the determination

If you are dissatisfied with this determination:

Request a review

You may request a review of the consent authority’s decision under section 8.3(1) of the EP&A Act. The application must be made to the consent authority within 6 months from the date that you received the original determination notice provided that an appeal under section 8.7 of the EP&A Act has not been disposed of by the Court.

Rights to appeal

- You have a right under section 8.7 of the EP&A Act to appeal to the Court within 6 month after the date on which the determination appealed against is notified or registered on the NSW planning portal.

The Dictionary at the end of this consent defines words and expressions for the purposes of this determination.

Signature block

Ms J F Ryl

Regional Planning Panel

Terms and Reasons for Conditions

Under section 88(1)(c) of the EP&A Regulation, the consent authority must provide the terms of all conditions and reasons for imposing the conditions other than the conditions prescribed under section 4.17(11) of the EP&A Act. The terms of the conditions and reasons are set out below.

## GENERAL CONDITIONS

- APPOINTMENT OF PRINCIPAL CERTIFYING AUTHORITY AND ISSUE OF SUBDIVISION WORKS CERTIFICATE

- Work shall not commence in connection with this Development Consent until:

- a) A Subdivision Works Certificate for the proposed Subdivision Works has been issued by:

- i. the Consent Authority (Singleton Council); or

- ii. a Certifying authority holding B1 accreditation; and

- b) The person having the benefit of the development consent has appointed Council as the Principal Certifying Authority for the proposed Subdivision Works; and

- c) The person having the benefit of the development consent has given at least two (2) days notice to the Council of the person’s intention to commence the erection of the building.

- Note: Appointment of Council as the Principal Certifying Authority for subdivision works will be subject to the payment of a fee for the service in accordance with Council’s current Fees and Charges document.

Reason: To ensure the development complies with the requirement to appoint a

Principal Certifier and gain a Construction Certificate.

- ROADS ACT APPROVAL

- Any work within a public road must be inspected and approved by Council under the Roads Act 1993 as the Roads Authority. The applicant is to submit an application in order to obtain a permit with conditions prior to starting any works on the Council Road Reserve.

- LAND REMEDIATION (NO AUDITOR ENGAGED)

- The site is to be remediated and validated in accordance with the recommendations set out within the Contamination Preliminary Site Investigation Report, prepared by EP Risk, dated 15 August 2024 revision V2.

- Any new information which comes to light during remediation, demolition or construction works which has the potential to alter previous conclusions or recommendations about site contamination must be immediately notified to the Principal Certifier. Any required variations to the Remedial Action Plan must be documented and approved by a suitably qualified environmental consultant, with a copy of the documentation provided to Singleton Council.

- Reason: To ensure compliance with requirements of Remedial Action Plan for contaminated sites.

- ERECTION OF SIGNAGE

This section applies to a development consent for development involving building work, subdivision work or demolition work.

It is a condition of the development consent that a sign must be erected in a prominent position on a site on which building work, subdivision work or demolition work is being carried out—

  - showing the name, address and telephone number of the principal certifier for the

work, and

showing the name of the principal contractor, if any, for the building work and atelephone number on which the principal contractor may be contacted outside working hours, and

c. stating that unauthorised entry to the work site is prohibited.

The sign must be—

  - maintained while the building work, subdivision work or demolition work is being carried out, and

  - removed when the work has been completed.

This section does not apply in relation to—

  - building work, subdivision work or demolition work carried out inside an existing building, if the work does not affect the external walls of the building, or

  - Crown building work certified to comply with the Building Code of Australia under the Act, Part 6.

Reason: Prescribed condition under section 70 of the Environmental Planning and Assessment Regulation 2021.

- Approved plans and supporting documentation

Development must be carried out in accordance with the following approved plans and documents, except where the conditions of this consent expressly require otherwise.

Approved Plans

Engineering Plans prepared by Northrop		Job # NL233144

| Cover Sheet | DA-C01.01 | F | 2/6/25 |
| --- | --- | --- | --- |
| Proposed Subdivision Masterplan | DA-C01.21 | I | 6/5/25 |
| Construction staging plan – stage 1 works | DA-C01.22 | C | 6/6/25 |
| Construction staging plan – stage 2 works | DA-C01.23 | C | 6/6/25 |
| Construction staging plan – stage 3 works | DA-C01.24 | C | 6/6/25 |
| Construction staging plan – stage 4 works | DA-C01.25 | C | 6/6/25 |
| Construction staging plan – stage 5 works | DA-C01.26 | C | 6/6/25 |
| Construction staging plan – stage 6 works | DA-C01.27 | B | 2/6/25 |
| Construction staging plan – stage 7 works | DA-C01.28 | B | 2/6/25 |
| Operational & Community land | DA-C01.30 | B | 10/6/25 |
| Typical Road Cross Sections – Sheet 1 | DA-C01.31 | F | 2/6/25 |
| Typical Road Cross Sections – Sheet 2 | DA-C01.32 | E | 2/6/25 |
| Typical Road Cross Sections – Sheet 3 | DA-C01.33 | B | 2/6/25 |
| Erosion and Sediment Control Plan | DA-C02.01 | G | 6/6/25 |
| Erosion and Sediment Control Details | DA-C02.11 | F | 2/6/25 |
| Bulk Earthworks Cut and Fill Plan | DA-C03.01 | H | 6/6/25 |
| Bulk Earthworks Sections – Sheet 1 | DA-C03.11 | F | 2/6/25 |
| Bulk Earthworks Sections – Sheet 2 | DA-C03.12 | F | 2/6/25 |
| Siteworks and Stormwater Management Plan – Sheet 1 | DA-C04.01 | H | 5/6/25 |
| Siteworks and Stormwater Management Plan – Sheet 2 | DA-C04.02 | I | 6/6/25 |
| Alignment Control Plan | DA-C05.01 | F | 2/6/25 |
| Longitudinal Sections – Sheet 1 | DA-C04.11 | F | 2/6/25 |
| Longitudinal Sections – Sheet 2 | DA-C04.12 | F | 2/6/25 |
| Longitudinal Sections – Sheet 3 | DA-C04.13 | F | 2/6/25 |
| Longitudinal Sections – Sheet 4 | DA-C04.14 | F | 2/6/25 |
| Longitudinal Sections – Sheet 5 | DA-C04.15 | F | 2/6/25 |
| Longitudinal Sections – Sheet 6 | DA-C04.16 | F | 2/6/25 |
| Longitudinal Sections – Sheet 7 | DA-C04.17 | D | 2/6/25 |
| Details | DA-C09.01 | F | 2/6/25 |
| Riparian Offset Plan | DA-R01.01 | C | 6/6/25 |

Landscape Plans Prepared by

| Cover Page | DA L000 | G | 6/6/25 |
| --- | --- | --- | --- |
| Site Plan | DA L010 | G | 6/6/25 |
| Key Diagram | DA L101 | G | 6/6/25 |
| Landscape Plan Area 1 | DA L102 | G | 6/6/25 |
| Landscape Plan Area 2 | DA L103 | G | 6/6/25 |
| Landscape Plan – Park | DA L104 | G | 6/6/25 |
| Landscape Plan Area 3 | DA L105 | G | 6/6/25 |
| Entry Feature 1 Detail | DA L106 | F | 31/1/25 |
| Plant Palette | DA L201 | G | 6/6/25 |
| Plant Palette 2 | DA L202 | G | 6/6/25 |
| Material Palette | DA L203 | F | 31/1/25 |
| Playground Equipment Palette | DA L204 | G | 6/6/25 |

Approved Documents

| Aboriginal Cultural Heritage Report | McCardle Cultural Heritage P/L | November 2007 |
| --- | --- | --- |
| Aboriginal Heritage Due Diligence of archaeological items Area C | Insite Heritage P/L | Undated |
| Aboriginal Heritage Due Diligence – Proposed Sewer Servicing report | Insite Heritage P/L | 24/4/25 |
| Acoustic Report Rev: R1 | Spectrum Acoustics | 12/08/24 |
| Biodiversity Development Assessment Report Rev: V1 | MJD Environmental | 12/09/24 |
| Bushfire Report Rev: V2 | MJD Environmental | 02/09/24 |
| Contamination Preliminary Site Investigation Rev V2 | EP Risk | 15/08/24 |
| Traffic Impact Assessment Report Rev: 002 | Bitzios Consulting | 14/08/24 |
| Waste Management Plan | Focus Town Planning | 13/09/24 |
| Amended Engineering Design Report ref 2333144 Rev E | Northrop | 31/01/2025 |

In the event of any inconsistency between the approved plans and documents, the approved Plans prevail.

In the event of any inconsistency with the approved plans and a condition of this consent, the condition prevails.

Reason: To ensure all parties are aware of the approved plans and supporting documentation that applies to the development.

- General Terms of Approval

The following approval bodies have given general terms of approval in relation to the development:

1.	NSW RFS, reference DA20241001004034-S38-1, dated 9/10/2025.

2.	NSW DCCEEW – Water, reference IDAS-2025-10599, dated 26/11/2025.

3.	Ausgrid, reference TRIM 2017/37/52, dated 16/10/2024.

A copy of the General Terms of Approval is attached to this notice of determination. The development shall be undertaken in accordance with conditions specified by the approval body contained in Schedule 2 of this consent.

Reasons: To provide the relevant General Terms of Approval.

- STAGING

The works are to be constructed in accordance with the following Stages:

| Stage | Proposed Works |
| --- | --- |
| 1 | 14 Lots – Construction of Biofiltration Detention Basin |
| 2 | 10 Lots |
| 3 | 11 Lots |
| 4 | 10 Lots and Modification to existing Biofiltration Detention Basin (constructed as part of DA8.2020.20.1). |
| 5 | 11 Lots |
| 6 | 15 Lots |
| 7 | 17 Lots and Provision of Open Space / Play Ground |

## SUBDIVISION WORK

## BEFORE ISSUE OF A SUBDIVISION WORKS CERTIFICATE

- REMOVAL OF TOPSOIL

Prior to the issue of a Subdivision Works Certificate, details of topsoil removal and stockpiling locations shall be submitted to the Principle Certifying Authority for approval.

Topsoil shall only be stripped from approved areas and shall be stockpiled for reuse during site rehabilitation and landscaping.  Stockpiles of topsoil, sand, aggregate, spoil, or other material stored on the site that is capable of being moved by running water shall be stored clear of any drainage line or easement, natural watercourse, footpath, kerb, and/or road surface. Suitable sediment and erosion control devices shall be installed prior to the stockpile being created. The stockpile shall be treated so its surface is erosion-resistant to wind and water action.

- DRAINAGE DESIGN

Prior to the issue of a Subdivision Works Certificate, the applicant shall submit a Stormwater Management Report and details of stormwater disposal with supporting calculations for the development to the Certifying Authority for approval.

The stormwater design shall be prepared in accordance with Singleton Development Engineering design specifications and current Australian Rainfall and Runoff standards. The applicant shall demonstrate that the development will not increase the limits of upstream and downstream flooding for floods over the range of 1 in 1 year to the 1 in 100-year Average Recurrence Interval (ARI) storm events by the inclusion of on-site stormwater detention controls. Additionally, the provision of a water quality control system to treat the stormwater runoff from the development as outlined in Council’s DCP water quality performance guidelines. A detailed drainage design shall be prepared for the disposal of roof and surface water from the site, including any natural runoff currently entering the property.  Details of on-site storage and the method of controlled release from the site and connection to an approved drainage system in accordance with Council’s Development Engineering Specifications and Wetland manual.

The detailed plans, stormwater modelling (DRAINS), specifications and copies of the calculations, including existing and proposed surface levels, sub-catchments and conduit sizing appropriate for the development are to be prepared by a suitably qualified and experienced person in the field of hydrology and hydraulics and submitted to Council.  Plans are to be approved prior to the release of a Subdivision Works Certificate.

All drainage works required by this consent shall be completed prior to the issue of a Subdivision Certificate.

- PROVISION OF FOOT PAVING, CYCLEWAY AND NATURE TRAIL

The provision, at no cost to Council, of concrete foot paving and cycleway as shown on approved plans. The footpath is to be 1.5m wide and is to include a minimum 100mm depth, 25MPA concrete with SL72 reinforcement and to be constructed on a 75mm compacted road base on compacted subgrade and the cycleway is to be 2.5m wide and is to include a minimum 125mm depth 25MPA concrete with SL72 reinforcement constructed on 75mm compacted road base on compacted subgrade.

All connections and crossings should be designed and constructed to encourage safe and correct use by cyclists. Pram ramps are to be constructed at intersections and crossings and at any point to provide disability continuity. Expansion joints and dummy joints for footpaths are to be at 1.5m and 4.5m spacing and for the cycleway are to be at 2.5m and 7.5m spacing respectively. Broom finish to be provided transverse to the pavement. All other details are to be in accordance with Singleton Council’s construction specifications.

A Maintenance Bond for the full cost of nature trail works will be issued by the Applicant to Council for a duration of 2 years upon completion of the works (Reason: 2 years is to allow adequate time for rainfall events to identify any integrity issues with the trail and to be addressed with the bond.)

The final selection of material to be used for the pavement finish, instead of concrete, will need to be approved to the satisfaction of Council’s Engineer prior to the issue of the SWC. (Reason: there will be a wide range of products with different costs and availability for review by the applicant and for acceptance by Council.  This is a separate exercise not affecting the environmental assessment of the project and appropriately discussed between the engineers for the applicant and Council in due course prior to construction.)

All works are to be completed prior to the issue of a Subdivision Certificate. Plans showing location and alignment are to be approved prior to the issue of a Subdivision Works Certificate.

The construction of the footpaths is to be staged in accordance with the road construction staging. The footpaths are to link to future stages.

Note:  The service allocation trenches and tree planting location are to be in accordance with Council’s current DCP.

- ROAD CONSTRUCTION

Prior to the issue of a Subdivision Works Certificate, the applicant is to supply detailed drawings of any proposed road construction to the Principle Certifying Authority for approval. The applicant shall design and construct the works in accordance with Council’s Development Engineering Specifications, this condition and Austroads guidelines. Note the applicant will be required to enter into a works agreement with Council under Section 138 of the Roads Act for any works within an existing public road.

The required civil works shall include:

- Provide roads, kerb and gutter and associated stormwater systems for the full frontage of all lots in the development.

- Road widths are to be in accordance with Schedule 2 – Street and Road standards in the Singleton Development Control Plan 2014.

- Pioneer Road is to be upgraded to a Collector Street standard in accordance with Schedule 2 – Street and Road Standards of the Singleton Development Control Plan 2014, extending from the Cheal Street intersection to the end of proposed Lot 24. The upgrade must include all associated infrastructure and stormwater drainage systems. These road widening works are to be completed as part of Stage 1 of the development.

- Pioneer Road pavement design for 1x10⁷ ESA’s with a wearing course of AC14, minimum thickness 40mm over 7mm primer seal.

- Cheal Street, Rourke Street, Lambkin Street, Harpur Street and Broomfield Crescent pavement design for 5x10⁵ ESA’s with wearing course of AC10, minimum thickness 30mm over 7mm primer seal.

- Maximum longitudinal grade of roads should be 15%.

- The provision of additional civil works at no cost to Council necessary to ensure satisfactory transition to existing works.

- The design and construction of all subdivision works in accordance with Singleton DCP and Council’s Development Engineering Specifications.

- Provide a pavement design for all roads to Council for approval.

- Minimise the number of drainage discharge points.

- Road reserves, up to the boundaries shall be fully turfed and other disturbed areas are to be seeded, fertilised and hay mulched or similar on completion of regrading works. Disturbed areas are to be progressively revegetated with exposed areas kept to a workable minimum.

- Signs and pavement markings are to be provided in accordance with relevant Australian standards for all Roads.

(Note: Refer to Singleton Development Engineering Design specification-documentation section for detailed drawing requirements)

All works are to be completed prior to the issue of a Subdivision Certificate.

Reason: To ensure the work complies with the Road Act 1993.

- ARCHITECT DESIGNED LANDSCAPING

Prior to the issue of a Subdivision Works Certificate, detailed landscaping plans are to be submitted to and approved by Council for street tree planting and road verge turfing and other landscaping works for the development.

The landscaping design is to be prepared by a suitably qualified landscape architect and is to be in accordance with the Singleton Development Control Plan and approved by Council’s Parks, Recreation and Facilities team.

Landscaping is to be implemented in accordance with the plans approved by Council. All landscaping works are to be completed prior to the issue of the Subdivision Certificate.

A three-year maintenance period will apply for all landscaping works, and Council will require a bond as security equal to the amount of 5% of the landscape construction works to ensure that plantings are properly maintained and established at handover at the end of the maintenance period.

Landscape construction works include the provision and maintenance of all landscaping for a period of three years following the issue of the Subdivision Certificate for the relevant stage. This includes street tree planting, full turfing of road verges from the back of kerbs to the property boundaries, and the revegetation of all disturbed areas.

The staging of the landscape works is to reflect the staging of the road construction.

- HOUSE STORMWATER OUTLETS

Install house stormwater outlets through the kerb in accordance with Singleton Council’s Engineering Construction Guidelines, with particular reference to Section 12.

- WATER AND SEWER SERVICES – COMPLIANCE REQUIREMENTS

Prior to the issue of the Subdivision Works Certificate, an application is to be made to Council’s Water and Sewer Group for requirements for compliance with Section 307, Water Management Act (NSW) 2000.

In response of this application, Council’s Water and Sewer Group will issue a Notice of Requirements under Section 306 of the Water Management Act (NSW) 2000, which will detail conditions, that must be satisfied.

- RETAINING WALLS

A structural engineering report and plans that address the proposed retaining walls within the property boundaries, prepared by a qualified practising Structural Engineer, must be provided prior to the issue of a Subdivision Works Certificate.  The report and plans must be prepared to make provision for the following:

- All components of any retaining walls, including subsoil drainage, must be located entirely within the property boundaries.

- Retaining walls are not to exceed 1m in height.

- Retaining walls greater than 600mm in height need to incorporate drainage measures and have a design life of not less than 50 years.

- Be mindful when designing retaining walls as a building used for the purpose of residential accommodation will need to be further than 1.3m from a retaining wall greater than 900mm in height.

- Retaining walls should not prevent the construction of boundary fencing.

- Timber retaining walls will not be accepted.

- Any existing or proposed retaining walls that provide support to the road reserves must be adequate to withstand the loadings that could be reasonably expected from within the constructed roads and footpath areas, including normal traffic and heavy construction and earth-moving equipment, based on a design life of fifty (50) years.

- Provide relevant geotechnical/subsurface conditions of the site, as determined by full geotechnical investigation.

Details submitted in association with the Subdivision Works Certificate application are to demonstrate compliance with this requirement.  The details are to be approved by the Principal Certifier as satisfying this requirement prior to the issue of a Subdivision Works Certificate.

- FILLING

Prior to the issue of a Subdivision Works Certificate, earthwork construction drawings are to be submitted to the PCA for approval. All earthworks are to be constructed in accordance with Australian Standard 3798-2007, “Guidelines on Earthworks for Commercial and Residential Developments”.

Any alterations to existing surface levels on the site shall be undertaken in such a manner as to ensure that no additional surface water is drained onto or impounded on adjoining properties.  If engineered fill is to be placed on the site, it shall be placed in accordance with Council’s Development Engineering Specifications and Australian Standard AS 3798 ‘Guidelines on Earthworks for Commercial and Residential Developments’.

(Note: Refer to Singleton Development Engineering Design specification-documentation section for detailed drawing requirements).

- GEOTECHNICAL ASSESSMENT

Prior to the issue of a Subdivision Works Certificate, a geotechnical assessment is to be carried out by a qualified geotechnical engineer and submitted to the Principle Certifying Authority for approval.

Any works undertaken in relation to the development shall embody all the relevant recommendations of the Geotechnical Report.  Where the geotechnical report requires inspections, a suitably qualified geotechnical engineer shall inspect the works at the stages specified in the report.

Prior to the issue of a Subdivision Works Certificate, all construction and engineering plans shall be certified as being designed in accordance with the approved Geotechnical Report by a suitably qualified geotechnical engineer.

- VEGETATION MANAGEMENT PLAN

Prior to the issue of the subdivision works certificate the applicant shall submit a vegetation management plan to Council for approval for the proposed works within and adjacent to the riparian corridors. Note this is required to be provided for with the Controlled Activity Approval.

- ENGINEERING PLAN CHECKING FEES

Upon submission of an application for Subdivision Works Certificate to be issued by Council as the Certifying Authority the applicant is to submit payment to Council in accordance with the Singleton Council Fees and Charges. The amount will be calculated in accordance with the development approval and Councils current fees and charges.

- WATER AND SEWER SERVICES – COMPLIANCE REQUIREMENTS

- Make Application

- Prior to issue of a construction certificate application is to be made to Council’s Water and Sewer Group for requirements for compliance with Section 307, Water Management Act 2000 (NSW).

- In response to this application, Council’s Water and Sewer Group will issue a Notice of Requirements under Section 306 of the Water Management Act 2000 (NSW), which will detail conditions, which must be satisfied.

- PREPARE A SERVICING STRATEGY

- Prior to issue of a construction certificate prepare, an approved water servicing strategy and sewer servicing strategy for the complete development including network interconnections with adjoining development sites.

- COMPLIANCE WITH ACCOUSTIC REPORT

- Before the issue of a Construction Certificate, the construction drawings and construction methodology must be assessed and certified by a suitably qualified acoustic consultant to be in accordance with any requirements and recommendations of the approved acoustic report prepared by [insert name] dated [insert date] reference [insert reference].

- Note: Suitably qualified Acoustic Consultant means a consultant who possesses the qualifications to render them eligible for membership of the Australian Acoustics Society, Institution of Engineers Australia or the Association of Australian Acoustic Consultants at the grade of member.

- Reason: To ensure appropriate noise attenuation measures are used.

- 7.11 CONTRIBUTIONS (SECTION 94)

Insert contribution condition

## BEFORE SUBDIVISION WORK COMMENCES

- SOIL AND WATER MANAGEMENT PLAN

Prior to any work commencing, the applicant shall prepare a Soil and Water Management Plan, that is compatible with the Construction Management and Traffic Management Plan referred to in this Development Consent.  The plan must be submitted to and approved by the Principal Certifying Authority as satisfying these matters prior to the commencement of works.

The Soil and Water Management Plan shall incorporate the following matters:

- Minimise the area of soils exposed at any one time.

- Conservation of topsoil.

- Identify and protect proposed stockpile locations.

- Preserve existing vegetation. Identify revegetation techniques and materials.

- Prevent soil, sand, and sediments from leaving the site in an uncontrolled manner.

- Control surface water flows through the site in a manner that:

- Diverts clean runoff around disturbed areas.

- Minimises slope gradient and flow distance within disturbed areas.

- Ensures surface run-off occurs at non-erodible velocities.

- Ensures disturbed areas are promptly rehabilitated.

- Sediment and erosion control measures in place before work commences.

- Materials are not tracked onto the road by vehicles entering or leaving the site.

- Details of drainage to protect and drain the site during works.

The requirements of the Soil and Water Management Plan shall be in place prior to the commencement of demolition works and/or construction works and shall be maintained throughout the demolition and/or construction process.

- CONSTRUCTION MANAGEMENT PLAN

Prior to any work commencing, the applicant shall prepare a construction management plan. The plan must be submitted to and approved by the Principal Certifying Authority prior to the commencement of works.

The construction management plan shall include:

- Details of sedimentation and erosion control

- Details of haulage routes approved by Council

- Details of dust mitigation and access roads.

- Location and phone number of the site office.

- Traffic Management, including:

- Traffic Control Plans

- Managing Construction Vehicular Movements

- Name and phone number of the site supervisor.

Note: All trucks and machinery must be free from all foreign material where such material is likely to cause pollution. An area must be set aside for the cleaning of any concrete agitator trucks.

- TRAFFIC MANAGEMENT PLAN

Prior to any work commencing, a Traffic/Pedestrian Management Plan in accordance with the current version of the TfNSW Traffic Control at Work Sites manual is to be prepared and endorsed by a suitably qualified person. The plan must be submitted to and approved by the Principal Certifying Authority prior to the commencement of works.

The Traffic/Pedestrian Management Plan is to be established prior to any alterations to ensure the safety of the normal flow of traffic on the road or deviation of pedestrians.

The design and implementation of any Traffic Guidance Schemes (TGS’s) within the Traffic/Pedestrian Management Plan must only be undertaken by person/persons who hold ‘Prepare a Work Zone Traffic Management Plan’ certification. The TGS must include the name, signature and certificate number of the accredited person. A copy of the TGS is to be held on-site at all times.

- HOARDING AND CONSTRUCTION SITE SAFETY FENCING

Construction site safety fencing and/or hoarding shall be provided in accordance with WorkCover requirements. Such fencing and/or hoarding shall be erected wholly within the property boundary unless prior approval from Council is obtained.

Council approval is required to install hoarding, site fencing or overhead protective structures over or adjoining a public place i.e. a footpath or a Public Reserve. No work shall commence until written approval is obtained.

- SERVICE RELOCATIONS

The registered proprietor of the land shall be responsible for all costs incurred in the necessary relocation of any services affected by the required construction works.  Council and other service authorities should be contacted for specific requirements prior to the commencement of any works.

- DELAPIDATION REPORT

Prior to any work commencing, a dilapidation report is to be submitted to Council. The report must document and provide photographs that clearly depict any existing damage to the road, kerb, gutter, footpath, driveways, street trees, street signs or any other Council assets in the vicinity of the development.

- CONSTRUCTION AND MAINTENANCE BOND

Prior to the commencement of any works, a construction bond equal to 5% of the total value of all civil works must be paid to Council. Evidence of the contract price for all construction works is to be submitted to enable Council to assess and confirm the appropriate bond amount. The bond must be in favour of Council and cover all aspects of the proposed civil construction activities. Upon completion of the civil works, the bond will be retained to address any failures or defects identified during the 12-month maintenance period, which commences from the date of Subdivision Certificate approval.

- SEDIMENT AND EROSION CONTROL

The control of erosion and the prevention of silt discharge into drainage systems and waterways will be necessary in accordance with Council’s Development Engineering Specifications. Sediment and erosion control measures are to be implemented prior to the commencement of any earthworks and shall be maintained until satisfactory completion and restoration of site earthworks, including revegetation of all exposed areas. A sediment and erosion control plan is to be approved prior to the issue of a Subdivision Works Certificate.

- INSTALLATION OFARTIFICAL HOLLOWS

A suitably qualified ecologist must install or supervise installation of artificial hollows within areas of retained vegetation. Artificial hollows are to be installed at a ratio of 1:1 for every hollow bearing tree to be removed (not tree hollow) to adjust for the credit obligation requirements around hollow bearing trees.

Installation is to occur within retained RE1 Public Recreation lands to the east and must occur at least one month prior to on ground clearing works with artificial hollows installation to be consistent with the Biodiversity Conservation Trust Guideline for Artificial Hollows, August 2020 (BCT Guideline for Artificial Hollows).

Each artificial hollow / nest box must also have a unique identifying number that can be read from the ground.

A plan must be provided to the council officer showing:

- locations of artificial hollows / nest box installed.

- identifying numbers.

- Detail on target species for each artificial hollow / nest box.

Council will review the plan and provide written advice to the project manager confirming whether the condition requirements have been met. Removal of designated hollow bearing trees can occur once written confirmation regarding artificial hollow installation has been provided to the council project officer.

- Biodiversity Credit Retirement – Ecosystem Credits (like-for-like)

Before any on ground works commence, Ecosystem Credits identified in the table below must be retired to offset impacts of the approved development.

| Ecosystem Credits |  |  |  |  |
| --- | --- | --- | --- | --- |
| Plant Community Type | Offset Trading Group | HBT | Credits | IBRA Region |
| 3315 Central Hunter Ironbark-Spotted Gum – Forest | Central Hunter Ironbark-Spotted Gum – Grey Box Forest in the NSW North Coast and Sydney Basin Bioregions. This includes PCTs: 1604, 3315 | Yes | 16 | Hunter, Ellerston, Karuah Manning, Kerabee, Liverpool Range, Peel, Tomalla, Upper Hunter, Wyong and Yengo. OR Any IBRA subregion that is within 100 kilometres of the outer edge of the impacted site. |
| 3315 Central Hunter Ironbark-Spotted Gum – Forest | Central Hunter Ironbark-Spotted Gum – Grey Box Forest in the NSW North Coast and Sydney Basin Bioregions. This includes PCTs: 1604, 3315 | No | 144 | Hunter, Ellerston, Karuah Manning, Kerabee, Liverpool Range, Peel, Tomalla, Upper Hunter, Wyong and Yengo. OR Any IBRA subregion that is within 100 kilometres of the outer edge of the impacted site. |

The requirement to retire credits outlined above may be satisfied by paying the equivalent amount of funds into the Biodiversity Conservation Fund relevant to the above trade information, as calculated within the biodiversity offsets assessment method calculator.

Evidence of credit retirement, or payment into the Biodiversity Conservation Fund confirming the above credit outcomes have been satisfied must be provided to the responsible council officer prior to on ground works commence.

- Biodiversity Credit Retirement – Species Credits

Before any on ground works commence, species credits identified in the table below must be retired to offset impacts of the approved development.

| Species Credits |  |  |  |
| --- | --- | --- | --- |
| Candidate Species | Like for like | Credits | IBRA Subregion |
| Squirrel Glider Petaurus norfolcensis | Squirrel Glider Petaurus norfolcensis | 16 | Any in NSW |
| Brush-tailed Phascogale Phascogale tapoatafa | Brush-tailed Phascogale Phascogale tapoatafa | 16 | Any in NSW |

The requirement to retire credits outlined above may be satisfied by paying the equivalent amount of funds into the Biodiversity Conservation Fund relevant to the above trade information, as calculated within the biodiversity offsets assessment calculator.

Evidence of credit retirement, or payment into the Biodiversity Conservation Fund confirming the above credit outcomes have been satisfied must be provided to the responsible council officer prior to on ground works commence.

- ROAD REPORT CONDITION

- Before any work commences, the applicant/contractor is to prepare a road condition report for

- approval if material is brought or removed from the development site. The report is to identify

- any existing problems with the roadway along an agreed haul route (excluding State Controlled Roads). The report is to contain the location of existing deficiencies of the roadway with site

- photos of the route especially at areas where turning movements will occur.

- On completion of works, the agreed haul route shall be subject to a joint inspection by the

- applicant and Council Officers to identify any further damage that has occurred. If any additional

- damage has occurred, all rectification works shall be at the applicant’s expense, to the

- satisfaction of Council.

- Reason: To account for any damage to Council roads by the development works.

- TRAFFIC MANAGEMENT PLAN

- Before any work commences, a Traffic Management Plan is to be prepared by a suitably qualified person in accordance with Australian Standard AS1742.3 and the TfNSW Traffic Control at Work Sites manual (latest version) and provided to the Principal Certifier. The Traffic Management Plan is to be established on site prior to any works starting to ensure the safety of the normal flow of traffic on the road or deviation of pedestrians.

- Reason: To account for any impacts to local traffic by the works.

- LOCAL TRAFFIC COMMITTEE

- The prescribed traffic control devices or traffic control facilities that are included within the project require review by Singleton Council’s Local Traffic Committee and subsequent approval by Council.

- Local Traffic Committee meets every 3 months, generally in February, May, August and November with the recommendations being taken to the following month’s Council meeting for approval. Information relating to prescribed traffic control devices or traffic control facilities must be provided to Council a minimum of six (6) weeks prior to a Local Traffic Committee Meeting.

- Reason: To ensure Local Traffic Committee approval can be granted where required.

- TEMPORARY CLOSET REQUIREMENTS

A temporary closet shall be provided on site from the commencement of building work. No inspections will be made until the closet is installed.

A temporary closet shall be:-

- A water closet connected to the sewerage system to Council approval; or

- A water closet connected to an approved septic tank; or

A chemical closet supplied by a contractor approved by Council.

Reason: to ensure temporary closets are provided as required.

## DURING SUBDIVISION WORK

- NOISE – CONSTRUCTION SITES

The operating noise level of construction site operations, including machinery, plant and equipment when measured at any affected premises, shall be evaluated and comply with the requirements of the NSW Office of Environment and Heritage publication “Interim Construction Noise Guideline” July 2009.

Approved Construction Times

The approved hours for construction of this development are:

Monday to Friday - 7.00am to 6.00pm.

Saturday – 8am to 1pm.

No construction work shall take place on Sundays or Public Holidays.

Reason: To specify when works are able to be undertaken and to minimise construction noise impacts on surrounding environment.

- DISCOVERY OF RELICS AND ABORIGINAL OBJECTS

While site work is being carried out, if a person reasonably suspects a relic of Aboriginal object is discovered: a) the work in the area of the discovery must cease immediately; b) the following must be notified i) for a relic – the Heritage Council; or ii) for an Aboriginal object – the person who is the authority for the protection of Aboriginal objects and Aboriginal places in New South Wales under the National Parks and Wildlife Act 1974, section 85. Site work may recommence at a time confirmed in writing by: a) for a relic – the Heritage Council; or b) for an Aboriginal object – the person who is the authority for the protection of Aboriginal objects and Aboriginal places in New South Wales under the National Parks and Wildlife Act 1974, section 85.

Reason: To ensure the protection of objects of potential significance during works.

- ABORIGINAL HERITAGE MITIGATION MEASURES

Exclusion fencing shall be installed and maintained during construction, in accordance with the mitigation measures included in the Aboriginal Heritage Due Diligence of archaeological items Area C report prepared by Insite Heritage and as approved by this consent.

Reason: To ensure the protection of objects of potential significance during works.

- SEDIMENT AND EROSION CONTROL

The control of erosion and the prevention of silt discharge into drainage systems and waterways will be necessary in accordance with Council’s Development Engineering Specifications, Landcom’s ‘Soil and Construction – Managing Urban Stormwater - Current edition, and the approved Soil and Water Management Plan. Sediment and erosion control measures are to be implemented prior to the commencement of any earthworks and shall be maintained until satisfactory completion and restoration of site earthworks, including revegetation of all exposed areas.

- DUST SUPPRESSION

During the extraction, removal, and transportation of material associated with the works, the person having the benefit of the consent shall ensure that airborne dust is contained within the work site or transport vehicles, and does not impact on the amenity of the surrounding environment.

Effective environmental controls and practices shall be implemented and maintained to the satisfaction of Council.

## BEFORE ISSUE OF A SUBDIVISION CERTIFICATE

- SUBDIVISION CERTIFICATE

An application for a Subdivision Certificate must be submitted to Council. The application is to include the Administration Sheet, final plan of subdivision, Section 88B Instrument, and all necessary supporting documentation to facilitate approval of the Subdivision Certificate.

- STREET LIGHTING

Prior to the issue of a Subdivision certificate, Street lighting is to be provided to all roads and pathways within the site. The lighting is to be designed in accordance with Australian Standard AS1158 part 1.2-Street Lighting and the requirements of Ausgrid. All design and installation are to be at the applicant’s expense. Street lighting is to be staged in accordance with the staging of the road construction.

- FENCING

A 1.8-metre-high Colorbond 'Evergreen' (or equivalent) fence must be provided along all boundaries adjoining a public reserve, drainage reserve, or future public space, including Lots 21 to 24. The fence must be constructed in accordance with the manufacturer’s specifications and completed prior to the issue of the Subdivision Certificate.

- DAMAGE CAUSED DURING CONSTRUCTION

Prior to the issue of a Subdivision Certificate, the applicant will repair any damage to a public road or associated structures such as kerb and gutter, drains, footpath, and utility services caused as a consequence of the development works. Any remediation work is to be completed to Council’s satisfaction.

- SITE CLASSIFICATION

Prior to the issue of a Subdivision certificate, the applicant shall provide Council as the Principle Certifying Authority, with a site report from a qualified Geotechnical Engineer detailing the site classification in accordance with the provisions of AS 2870.1 1988 and a fill diagram showing depth and location of fill where applicable.

- QUALITY ASSURANCE

Prior to the issue of a Subdivision certificate, the applicant is to submit a digital copy of all test results required to confirm compliance with Council’s Development Engineering Specifications.

- DRAINAGE EASEMENT

The applicant must provide inter-allotment drainage easements in accordance with Singleton Council’s Engineering Design Guidelines for any proposed lots that do not naturally drain to the road. The drainage system, including the construction of pipelines and grated yard inlet pits, must be designed and constructed in accordance with Council’s Development Engineering Specifications. Full details are to be submitted to and approved by Council prior to the release of the Subdivision Certificate.

Note:

- A suitable 88B instrument creating the easement, in accordance with the requirements of the Conveyancing Act 1919, shall be submitted to Council prior to the issue of a Subdivision Certificate.

- Construction shall be completed prior to the issue of a Subdivision Certificate.

- WORK AS EXECUTED PLANS

Work-As-Executed (WAE) Plans must be prepared and submitted to the Principal Certifying Authority prior to the issue of the Subdivision Certificate. The WAE plans must be submitted in both PDF and DWG formats, with the DWG file compatible with Council’s Geographic Information System (GIS), and prepared in accordance with Council’s specifications for WAE plan submissions.

Council’s WAE plan specifications are available on the Council website. Alternatively, applicants may contact Council’s GIS department to request a copy of the specifications or to seek further clarification.

- POWER SUPPLY

Prior to the issue of a Subdivision certificate, the applicant will provide documentary evidence from Ausgrid that satisfactory arrangements have been made for the provision of power to all lots and:

- Provide a provision for easements in favour of Ausgrid over private land for existing and proposed power lines and where the development required the relocation of power lines for other assets of Ausgrid.

- The provision of a grid-based underground electricity supply to each of the resultant lots on the subdivision.

- TELEPHONE SUPPLY

Prior to the issue of a Subdivision certificate, the applicant shall provide documentary evidence from NBNCo that satisfactory arrangements have been made for the supply of telephone services to each of the proposed lots and have satisfied any requirements for the National Broadband Network.

- CCTV INSPECTION

Prior to the issue of a subdivision certificate, the applicant is to conduct a CCTV investigation of the constructed sewer and stormwater lines at no cost to the Council.  A second CCTV investigation is to be carried out within the maintenance period of 12 months. The investigation is to be carried out by a suitably qualified professional in the field with the results submitted to Council Development Engineering for approval. Any damage to the network is to be rectified by the applicant to the satisfaction of Council.

- DEDICATION OF ROAD

Prior to the issue of a Subdivision certificate, the proposed public roads within the development shall be dedicated to Council at no cost. The public roads shall be delineated on the final plan of development and submitted with the application for a Subdivision Certificate.

Road names are to be lodged with Council’s Spatial Information Officer for approval prior to the issue of the Subdivision Certificate.

- STREET NUMBERING

Prior to the issue of the Subdivision Certificate, a Council-assigned street number is to be allocated to each lot. Information on Council’s property addressing and street numbering requirements can be sourced by contacting Council’s Land and Assets Management Systems Team.

- EASEMENTS TO BE DETAILED ON LINEN PLANS

Linen plans deposited with Council for release must contain appropriate easements to protect public infrastructure on private land (water, sewer, drainage, electricity etc.) and access.

- 88B INSTRUMENT

The Section 88B instrument will be submitted to Council with all relevant signatures and company seals (where applicable) prior to endorsement of the linen plan of subdivision and issue of the Subdivision Certificate.  Alternatively, Council will accept, at their discretion, a copy of the Section 88B instrument with an accompanying letter from the acting solicitor or surveyor giving an undertaking that the Section 88B Instrument will be signed and submitted as presented to Council, unaltered, and registered with the linen plan of subdivision.

- MAINTENANCE AND DEFECT LIABILITY PERIOD

Prior to the issue of the Subdivision Certificate, the applicant must provide written confirmation to Council’s representative that all works have been completed in accordance with Council approvals. The applicant is also responsible for arranging an inspection of the works by the Certifying Authority following the expiry of the 12-month maintenance and defect liability period. During this period, the applicant is responsible for maintaining the works and carrying out any necessary repairs or modifications resulting from defects in materials or workmanship. If the works are deemed satisfactory at the final inspection, any bond lodged for the construction works will be returned by Council.

- COMPLIANCE CERTIFICATE

Prior to the issue of a subdivision certificate, the applicant is to submit an engineering compliance certification prepared by a suitably qualified practising engineer indicating that all drainage / structural works have been carried out in accordance with the approved plans. The compliance certification is to be submitted to Council’s Development Engineering unit.

- HOLLOW BEARING TREE REMOVAL

- Before any tree removal occurs, a suitably qualified fauna ecologist must be engaged to inspect and supervise hollow bearing trees to be removed. Removal of hollow bearing trees is to be timed to ensure impacts to nesting fauna or fauna in a state of torpor are minimised.

- Before any tree removal begins the fauna ecologist and project manager must identify suitable ‘refuge corridors’ on site to allow fauna to safely relocate. Habitat trees and refuge trees are to be clearly marked and differentiated. All staff involved in tree removal are to be made aware of the tree marking system to minimise potential impacts to fauna.

- The project manager and/or fauna ecologist must ensure that a local wildlife care group or vet has been contacted before removal of hollow bearing trees begin to assist in fauna injuries. Contact details of the wildlife care group or vet are to be provided to the project manager and council officer.

- The fauna ecologist must inspect hollows 12 to 24 hours prior to their proposed removal and again immediately prior to removal to ensure injuries to fauna are avoided and minimised. The fauna ecologist must continue to supervise hollow bearing tree removal to mitigate animal welfare concerns.

- Removal of hollow bearing trees and trees within identified ‘refuge corridors’ must occur systematically in a direction that ensures fauna can safely relocate to adjoining / available habitat. In the event fauna are identified in tree hollows during immediate pre-clearing surveys or felling activities the fauna ecologist must take appropriate action to safely collect and relocate fauna into installed appropriate artificial hollows / hollow bearing trees or nearby bushland. Any nocturnal fauna should be kept in a suitable cage in a shaded location until dusk, and then released into nearby bushland.  If juvenile fauna are discovered in hollows after a tree is felled, they are to be taken into the care of an organisation such as the Native Animal Trust Fund.

- The fauna ecologist must have the appropriate skills and equipment to perform euthanasia if necessary. Injured fauna should be assessed by the ecologist, and euthanised if their injuries are such that the ecologist considers that they are unlikely to survive.  If injured fauna are likely to survive, they should be taken to a vet for treatment. After treatment, fauna should be taken to an organisation such as the Native Animal Trust Fund for care until they can be released.

- Written confirmation of hollow bearing tree removal must be provided to council confirming fauna species detected during tree removal activities and any relocation actions and injuries that occurred.

- WATER AND SEWER CONTRIBUTIONS

- Prior to the release of a Subdivision Certificate, the applicable water and sewer contributions must be paid. Water Directorate Guidelines are used to calculate the charges which reflect the additional water and sewer loadings generated by the development.

- The value of the contributions will be included in Water and Sewer Group’s Notice of Requirements in response to the developer’s application for a certificate of compliance as under Section 307, Water Management Act 2000 (NSW)

- WATER AND SEWER CERTIFICATE OF COMPLIANCE

- Prior to the issue of a Subdivision Certificate, a certificate of compliance with requirements of Section 307, Water Management Act 2000 (NSW) must be obtained from Council’s Water and Sewer group.

- A Section 307 Certificate will be issued, upon application to the Water and Sewer Group, after all requirements detailed in the Section 306 Notice of Requirements have been satisfied.

- ENTRY FEATURE WALLS AND 88B INSTRUMENT

The subdivision entry feature walls shall be located within proposed Lots 1 and 21 and an 88B instrument shall apply to each Lot, specifying they’re to remain until the development is built out.

The developer is to maintain the entry feature walls whilst they remain in place and will not obstruct replacement of walls with fencing if the future owner of Lots 1 and 21 choose to do so, once the development is built out.

- TEMPORARY ASSET PROTECTION ZONES

A letter from Singleton Council, Acting Manager Infrastructure Services dated 16 June 2025 The letter advises that:

“Council grants owners consent for an APZ to be created over Council owned land being a portion of Lot 8 DP 1196266 Pioneer Road Hunterview. This is specifically to support The Applicants proposal for the creation of lots 21, 22, 23 and 24 in the proposed subdivision of Lot 643 DP 1313681.

Conditions:

1. The Applicant (Singleton Council) will be responsible for obtaining any development consent for the subdivision of Lot 643 DP 1313681 and any Bush Fire Safety Authority from the Rural Fire Service (RFS).

2. The APZ will be on the terms required by the RFS Planning for Bushfire Protection 2019 and any Bush Fire Safety Authority issued under Section 100B of the Rural Fires Act 1997.

3. The APZ will be enacted upon the registration of lots 21, 22, 23 and 24 in the proposed subdivision

4. The applicant will register a restrictive covenant over these parcels of land via an 88B Instrument, in which the relevant lots will be burdened with a requirement for ongoing maintenance of the APZ

5. The Applicant is responsible for all costs associated with the granting of the APZ including the preparation of any plans and documentation and registration on title.

6. The Applicant is responsible for any environmental offsets or costs for impacts on vegetation resulting from the creation of the APZ.”

#### General advisory notes

- This consent contains the conditions imposed by the consent authority which are to be complied with when carrying out the approved development. However, this consent is not an exhaustive list of all obligations which may relate to the carrying out of the development under the EP&A Act, EP&A Regulation and other legislation. Some of these additional obligations are set out in the Conditions of development consent: advisory notes. The consent should be read together with the Conditions of development consent: advisory notes to ensure the development is carried out lawfully.

- The approved development must be carried out in accordance with the conditions of this consent. It is an offence under the EP&A Act to carry out development that is not in accordance with this consent.

- Subdivision work must not be carried out until a subdivision works certificate, has been issued and a principal certifier has been appointed.

- A document referred to in this consent is taken to be a reference to the version of that document which applies at the date the consent is issued, unless otherwise stated in the conditions of this consent.

#### Dictionary

The following terms have the following meanings for the purpose of this determination (except where the context clearly indicates otherwise):

Approved plans and documents means the plans and documents endorsed by the consent authority, a copy of which is included in this notice of determination.

AS means Australian Standard published by Standards Australia International Limited and means the current standard which applies at the time the consent is issued.

Building work means any physical activity involved in the erection of a building.

Certifier means a council or a person that is registered to carry out certification work under the Building and Development Certifiers Act 2018.

Construction certificate means a certificate to the effect that building work completed in accordance with specified plans and specifications or standards will comply with the requirements of the EP&A Regulation and Environmental Planning and Assessment (Development Certification and Fire Safety) Regulation 2021.

Council means Singleton Council.

Court means the Land and Environment Court of NSW.

EPA means the NSW Environment Protection Authority.

EP&A Act means the Environmental Planning and Assessment Act 1979.

EP&A Regulation means the Environmental Planning and Assessment Regulation 2021.

Independent Planning Commission means Independent Planning Commission of New South Wales constituted by section 2.7 of the EP&A Act.

Occupation certificate means a certificate that authorises the occupation and use of a new building or a change of building use for an existing building in accordance with this consent.

Principal certifier means the certifier appointed as the principal certifier for building work or subdivision work under section 6.6(1) or 6.12(1) of the EP&A Act respectively.

Site work means any work that is physically carried out on the land to which the development the subject of this development consent is to be carried out, including but not limited to building work, subdivision work, demolition work, clearing of vegetation or remediation work.

Stormwater drainage system means all works and facilities relating to:

the collection of stormwater,

the reuse of stormwater,

the detention of stormwater,

the controlled release of stormwater, and

connections to easements and public stormwater systems.

Strata certificate means a certificate in the approved form issued under Part 4 of the Strata Schemes Development Act 2015 that authorises the registration of a strata plan, strata plan of subdivision or notice of conversion.

Subdivision certificate means a certificate that authorises the registration of a plan of subdivision under Part 23 of the Conveyancing Act 1919.

Subdivision works certificate means a certificate to the effect that subdivision work completed in accordance with specified plans and specifications will comply with the requirements of the EP&A Regulation.

Sydney district or regional planning panel means Hunter and Central Coast Regional Planning Panel.