CONDITIONS OF CONSENT

GENERAL CONDITIONS (ALL STAGES)

Approved plans and supporting documents

The development must be implemented in accordance with the plans and supporting documents set out in the following table except where modified by any conditions of this consent.

| Plan | Plan No. & version | Prepared by | Dated |
| --- | --- | --- | --- |
| Site Context Plan | MP-NP02.01 (Rev 4) | Northrop | 08.05.2025 |
| Site Plan | MP-NP03.01 (Rev 7) | Northrop | 26.05.2025 |
| Masterplan Lot Mix | MP-NP03.51 (Rev 1) | Northrop | 01.07.2025 |
| DA Dwelling Designs | DA-OLD-100 (Rev A) | Palm Lake Works | 10.06.2025 |
| DA Dwelling Designs | DA-OLD-200 (Rev A) | Palm Lake Works | 10.06.2025 |
| DA Dwelling Designs – Design 1 | DA-OLD-01 (Rev A) | Palm Lake Works | 10.06.2025 |
| DA Dwelling Designs – Design 2 | DA-OLD-02 (Rev A) | Palm Lake Works | 10.06.2025 |
| DA Dwelling Designs – Design 3 | DA-OLD-03 (Rev A) | Palm Lake Works | 10.06.2025 |
| DA Dwelling Designs – Design 4 | DA-OLD-04 (Rev A) | Palm Lake Works | 10.06.2025 |
| DA Dwelling Designs – Design 5 | DA-OLD-05 (Rev A) | Palm Lake Works | 10.06.2025 |
| DA Dwelling Designs – Design 6 | DA-OLD-06 (Rev A) | Palm Lake Works | 10.06.2025 |
| DA Dwelling Designs – Design 7 | DA-OLD-07 (Rev A) | Palm Lake Works | 10.06.2025 |
| DA Dwelling Designs – Design 8 | DA-OLD-08 (Rev A) | Palm Lake Works | 10.06.2025 |
| DA Dwelling Designs – Design 9 | DA-OLD-09 (Rev A) | Palm Lake Works | 10.06.2025 |
| DA Dwelling Designs – Design 10 | DA-OLD-10 (Rev A) | Palm Lake Works | 10.06.2025 |
| DA Dwelling Designs – Design 11 | DA-OLD-11 (Rev A) | Palm Lake Works | 10.06.2025 |
| DA Dwelling Designs – Design 12 | DA-OLD-12 (Rev A) | Palm Lake Works | 10.06.2025 |
| DA Dwelling Designs – Design 13 | DA-OLD-13 (Rev A) | Palm Lake Works | 10.06.2025 |
| DA Dwelling Designs – Design 14 | DA-OLD-14 (Rev A) | Palm Lake Works | 10.06.2025 |
| DA Dwelling Designs – Design 15 | DA-OLD-15 (Rev A) | Palm Lake Works | 10.06.2025 |
| DA Dwelling Designs – Design 16 | DA-OLD-16 (Rev A) | Palm Lake Works | 10.06.2025 |
| Northern Precinct Plotting – Ground Floor | - (Rev B) | Palm Lake Works | 29.05.2026 |
| Staging Plan | NP-DA02.01 (Rev 3) | Northrop | 29.03.2026 |
| Stormwater Management Plan | NP-DA05.01 (Rev 3) | Northrop | 28.04.2025 |
| Pavement, Signage and Line marking Plan | NP-DA05.51 (Rev 3) | Northrop | 28.04.2025 |
| Civil Details Sheet 1 | NP-DA09.01 (Rev 2) | Northrop | 03.12.2025 |

| Supporting Document | Document Reference & version | Prepared by | Dated |
| --- | --- | --- | --- |
| Statement of Environmental Effects | - | Palm Lake Works | 22.07.2025 |
| Statement of Landscape Intent | 2090 (Issue D) | Boyds Bay Group Planning | 02.06.2025 |
| Bushfire Assessment | Rev 2 | Australian Bushfire Assessment Consultants | July 2025 |

The approved plans and supporting documents endorsed with the Council stamp and authorised signature must be kept on site at all times while work is being undertaken.

Reason:	To ensure all parties are aware of the approved plans and supporting documentation that applies to the development.

Adjustment to utility services

All adjustments to existing utility services made necessary by the development are to be undertaken at no cost to Council.

Reason:	To ensure utility services remain in a serviceable condition.

Construction of stormwater treatment measures

All stormwater quality management works within the Northern Precinct development (including any staging) must be carried out, certified, and maintained strictly in accordance with the approved Stormwater Strategy, engineering plans and supporting documents under MOD2023/0226 including the Engineering Design Report by Northrop (NL223154) dated 5/07/2024 and any stormwater related conditions of that consent (or as amended). Without limiting this requirement:

- Bioretention systems (including media) must be installed to the specifications in the Adoption Guidelines for Stormwater Biofiltration Systems (CRC for Water Sensitive Cities, current version). Temporary protection measures must remain in place, and planting of filter areas must not occur, until at least 80% of the upstream catchment is developed, with removal/planting only when directed or approved by Council on evidence of achievement of this threshold.

- During construction, engage a suitably qualified professional engineer to inspect and verify compliance and submit the signed Healthy Waterways construction and establishment forms, photographs, NATA filter media test results, and in-situ infiltration test results (demonstrating 150-200 mm/hr) to the certifying authority/Council as required under MOD2023/0226.

- Maintain all stormwater treatment measures in accordance with the approved WSUD Maintenance Plan in perpetuity and submit the required annual maintenance report by 30 September each year for the preceding financial year, consistent with MOD2023/0226.

Reason: To protect water quality.

Electricity substation

Any required electricity substation must:

- be located wholly within the property; and

- be located outside vehicular egress sight lines.

Reason: To ensure the development has an adequate and safe electricity supply.

Section 138 for works within road reserve

Prior to any works, a Section 138 application under the Roads Act 1993 must be submitted to and approved by the relevant roads authority, for any works or occupation of the road reserve.

Reason: To ensure public safety and protect public assets during the construction of the development.

Repair of Public Infrastructure

The applicant is to repair any damage to existing roads and concrete foot paving caused during the construction works, in accordance with Council requirements, prior to the use of each stage. Council must be provided with photographic evidence of any existing damage to Council infrastructure on Forest Lane and Wyden Street. Otherwise, any damage is assumed to be related to the development and must be rectified at no cost to Council.

Reason: To ensure any public road damage is rectified.

BEFORE WORK COMMENCES

Completion of Bulk Earthworks

Prior to the commencement of any work, all bulk earthworks associated with the northern precinct of MOD2025/0026 (or as further amended) shall be completed and a Practical Completion Certificate issued.

Reason: To ensure the development has an adequate and safe building area.

Stormwater Management

Prior to the commencement of any work, the proposed stormwater management works associated with Stage 1 of MOD2023/0226 shall be completed in accordance with the approved plans, requirements and conditions of MOD2023/0226 (or as further amended).

Public Engineering Works within the road reserve

Prior to the commencement of any work, an application for a Public Engineering Works Permit (PEWP) must be submitted to and approved by Council.

All works must be designed in accordance with the current version of AUSPEC, MidCoast Council’s Development Engineering Handbook and any other adopted engineering specification and include the following works listed in the table below:

| Work | Standard to be provided |
| --- | --- |
| Grading, trimming, topsoiling and turfing of the unpaved footpath area | Surface levels are to be finished flush with the adjacent road or kerb levels. |
| Forest Lane Kerb and gutter, road pavement and associated drainage construction across the full frontage of the site to Council’s adopted engineering standard | - Remove the existing kerb and gutter and replace it with new concrete kerb and gutter for the full frontage of the development. - Construct half of Forest Lane plus an additional 3 m along the full frontage of the development, resulting in a total construction width of 8.5 m. - Construct the Forest Lane and Wyden Street intersection for its full width. - Construct a 2.5 m wide shared path along the full frontage of the development. |
| Traffic calming devices | Traffic calming devices in Forest Lane and Wyden Street are to be installed in accordance with the recommendations of the Better Transport Futures Traffic Report, Attachment B, dated 11 April 2015. |
| Vehicular access crossover | The vehicular access crossover for the development is to be designed and constructed in accordance with the approved development application plans and Council’s driveway guidelines and specifications. Any redundant vehicular crossing is to be removed. |
| Signage and line marking | Line marking and signage are to be provided as required |

Reason:	To ensure works within MidCoast Council’s road reserve are constructed to a suitable standard for public safety.

Site access

Public access to the site and building works, materials and equipment on the site is to be restricted, when building work is not in progress or the site is unoccupied.  The public safety provisions must be in place prior to the commencement of any demolition, excavation or building works and be maintained throughout construction.

Reason:	To ensure public health and safety during the construction of the development.

Site construction sign

Prior to the commencement of work for each stage, a sign or signs must be erected in a prominent position at the frontage to the site.

- showing the name of the principal contractor (if any) for any work and a telephone number on which that person may be contacted outside working hours, and

- stating that unauthorised entry to the work site is prohibited.

The sign is to be maintained while the work, subdivision work or demolition work is being carried out, but must be removed when the work has been completed.

Reason: For information and public safety.

Geotechnical report - engineering works

Prior to the commencement of work for each stage, a certificate from a professional geotechnical engineer must be obtained, certifying that:

- the design of the civil engineering works, including retaining walls and/or cut & fill batters, has been assessed as structurally adequate in accordance with the relevant Australian Standards;

- the civil engineering works will not be affected by landslip or subsidence either above or below the works;

- Adequate drainage has been provided with appropriate considerations given to groundwater constraints.

Reason: To ensure site stability and public safety.

Stormwater details

Prior to the commencement of work for each stage, plans and specifications detailing the method of stormwater disposal from the site must be prepared by an appropriately qualified engineer.  The stormwater system must be designed to comply with the requirements of Australian Standard AS/NZS 3500.3: Plumbing and drainage.

The stormwater disposal system must be designed for a 1 in 5 year storm event and must discharge to the Regional Detention Basin.

An approval is to be obtained under Section 68 of the Local Government Act 1993 to carry out stormwater drainage work.

Reason: To ensure adequate provision is made for stormwater drainage from the site in a proper

manner that protects adjoining properties.

Erosion and sediment control plan

Prior to the commencement of work for each stage, an erosion and sediment control plan prepared by a suitably qualified person in accordance with “The Blue Book - Managing Urban Stormwater (MUS): Soils and Construction” (Landcom) must be obtained.  Control over discharge of stormwater and containment of run-off and pollutants leaving the site/premises must be undertaken through the installation of erosion control devices including catch drains, energy dissipaters, level spreaders and sediment control devices such as hay bale barriers, filter fences, filter dams, and sedimentation basins.

The erosion and sediment controls identified within the plan prepared in accordance with this condition must be installed and must be maintained for the duration of the project.

Reason: To protect the environment from the effects of erosion and sedimentation.

Water and sewerage Section 68 approval

Prior to the commencement of work for each stage, an approval under Section 68 of the Local Government Act 1993 to carry out water supply work and sewerage work must be obtained.

Reason:	Statutory requirement.

Water and Sewerage Certificate of Compliance

Prior to the commencement of work for each stage, a Certificate of Compliance from MidCoast Council Water Services, stating that satisfactory arrangements have been made and all payments finalised for the provision of water supply and sewerage to the development, must be obtained.

Reason:	To ensure suitable water and sewage disposal is provided to the development.

Traffic management plan

Prior to the commencement of work for each stage, a traffic control plan must be submitted to and approved by the relevant Road Authority. The plan must be designed in accordance with the requirements of:

- The Roads and Maritime Services, Traffic Control at Work Sites (current version); and

- Australian Standard AS 1742.3: Manual of uniform traffic control devices - Traffic control for works on roads’.

- The National Heavy Vehicle Regulator (NHVR).

Reason: To ensure public safety during the construction of the development

Construction management plan

Prior to the commencement of work for each stage, a construction management plan must be submitted to and approved by Council.

The construction management plan must include:

- a traffic control plan designed in accordance with the requirements of the Roads and Maritime Services, Traffic Control at Work Sites Version 2 and Australian Standard AS 1742.3: Manual of uniform traffic control devices - Traffic control for works on roads’ prepared by an accredited person trained in the use of the current version of RMS Traffic Control at Work Sites manual.

- a traffic management plan

- provision for pedestrian movement and safety

- details of loading and unloading areas;

- details of parking for tradesman’s vehicles

Reason: To ensure public safety during the construction of the development.

Internal vehicular access

Prior to the commencement of work for each stage, plans and specifications prepared in accordance with AS/NZS 2890.1-2004: Parking facilities, Part 1: Off-street car parking and AS2890.2: Parking Facilities Off Street Commercial Vehicle Facilities must be obtained.

The plan must include the following:

- Detail of vehicular access from the site boundary to the proposed car space(s).

- Pavement description.

- Longitudinal section along the critical edge of the vehicle travel path from the property boundary to the car space(s).

- Cross sections at appropriate intervals, with a maximum separation of 15 metres.

- Drainage (pipes, pits, on-site detention, etc.).

- Accessible car parking space/s designed in accordance with Australian Standard AS/NZS 2890.6: Parking facilities - Off-street parking for people with disabilities

- Turning paths; and

- Line-marking and signs.

Reason: To ensure suitable vehicular access is provided to the development.

Landscape plan

Prior to the commencement of work for each stage, plans and specifications detailing the landscaping treatment of the site must be submitted to and approved by Council. The final landscaping details shall be aligned with the Statement of Landscaping Intent as prepared by Boyds Bay Group Planning. The plan must be prepared by a suitably qualified landscape architect or horticulturalist who has appropriate experience and competence in landscaping and must include the following information:

- location of trees identified for retention in the development application plans,

- proposed location for planted shrubs and trees,

- botanical names and pot supply sizes of shrubs and trees to be planted,

- mature height of trees to be planted,

- location of grassed and paved areas,

- screening of clothes drying areas and garbage receptacles from public view,

- location of common tap(s) and/or irrigation system to ensure all landscape works can be adequately watered,

- stormwater detention or bio-retention systems;

- street tree planting, where appropriate.

Reason: To maintain environmental and streetscape amenity.

Bond required to guarantee against damage to public land

Prior to the commencement of work for each stage, a Damage Bond Application together with payment of a bond and an administration fee in accordance with Council's current adopted fees and charges must be submitted to Council.

Reason: Protection of public assets.

Toilet facilities

Prior to the commencement of work for each stage, toilet facilities must be provided at or in the vicinity of the work site at the rate of one toilet for every 20 persons or part of 20 persons employed at the site.

DURING ANY WORK

Construction times

Construction and/or demolition works, including deliveries on or to the site must not unreasonably interfere with the amenity of the neighbourhood and must occur only in accordance with the following:

- Monday to Friday, from 7 am to 6 pm.

- Saturday, from 8 am to 1 pm.

No construction and/or demolition work, including deliveries are to take place on Sundays or Public Holidays.

Reason:	To maintain amenity during construction of the development.

- Site access

Public access to the site and building works, materials and equipment on the site is to be restricted, when building work is not in progress or the site is unoccupied.  The public safety provisions must be in place prior to the commencement of any demolition, excavation or building works and be maintained throughout construction.

Reason:	To ensure public health and safety during the construction of the development.

- Construction dust suppression

All necessary works must be undertaken to control dust pollution from the site.  These works must include, but are not limited to:

- regularly and lightly watering dust prone areas (note: prevent excess watering as it can cause damage and erosion;

- alter or cease construction work during periods of high wind;

- erect green or black shadecloth mesh or similar products, 1.8m high around the perimeter of the site and around every level of the building under construction.

Reason:	To maintain amenity during construction of the development.

Maintenance of sediment and erosion control measures

Sediment and erosion control measures must be maintained at all times until the site has been stabilised by permanent vegetation cover or hard surface.

Reason:	To protect the environment from the effects of erosion and sedimentation.

Builders rubbish to be contained on site

All builders rubbish is to be contained on the site in a suitable waste bin/enclosure.  Building materials must be delivered directly onto the property.  Footpaths, road reserves and public reserves must be maintained clear of rubbish, building materials and other items at all times.

Reason:	To ensure that materials and waste do not adversely affect traffic or pedestrian safety and amenity.

Imported Fill Materials

All imported fill material shall be limited to the following:

- Virgin excavated natural material (VENM); or

- Excavated natural material (ENM) certified as such in accordance with the Protection of the Environment Operations (Waste) Regulation 2014; or

- Material subject to a Waste exemption certified as such under Clause 91 and 92 of the Protection of the Environment Operations (Waste) Regulation 2014 and recognised by the NSW Environment Protection Authority as being "fit for purpose" for the proposed use.

Any waste-derived material that is subject of a resource recovery exemption received at the development site must be accompanied by documentation as to the material's compliance with the exemption conditions and must be held by the landowner and be made available to Council upon request.

Reason:	To maintain amenity and protect the environment.

New Information/Unexpected Finds

In the event that remediation and/or construction works cause the generation of odour or uncovers previously unidentified contaminants, works must immediately cease.

Council, the Principal Certifying Authority, and where appointed the accredited site auditor, must be notified in writing within seven (7) days.

Works shall not recommence on-site until authorised by MidCoast Council.

Reason:	To maintain amenity and protect the environment.

Discovery of Relics and Aboriginal Objects

While site work is being carried out, if a person reasonably suspects a relic of Aboriginal object is discovered:

- the work in the area of the discovery must cease immediately,

- the following must be notified:

- for a relic – the Heritage Council; or

- for an Aboriginal object – the person who is the autl1ority for the protection of Aboriginal objects and Aboriginal places in New South Wales under the National Parks and Wildlife Act 197 4, section 85.

Site work may recommence at a time confirmed in writing by:

- for a relic – the Heritage Council; or

- for an Aboriginal object – the person who is the authority for the protection of Aboriginal objects and Aboriginal places in New South Wales under the National Parks and Wildlife Act 1974, section 85.

Reason:  To ensure the protection of objects of potential significance during works.

Waste Classification

All soils and material(s), liquid and solid to be removed from the site must be analysed and classified by an appropriately qualified and experienced environmental consultant, in accordance with the Protection of the Environment (Waste) Regulation 2014 and related guidelines, in particular NSW Environment Protection Authority Waste Classification Guidelines (2014), prior to off-site disposal in accordance with the requirements of the Protection of the Environment Operations Act 1997.

Reason: to ensure public health and environmental protection.

Comply with construction management plan

All measures contained within the approved construction management plan must be implemented and maintained for the duration of the development works.

Reason:	To ensure public safety during the construction of the development.

Before USE OF WORKS

Works to be completed

Each stage must not be used until all works prescribed under this consent have been completed, and all conditions satisfied.

Evidence of the compliance with all conditions of consent and completion of all works shall be submitted to council within three (3) months of the completion of works and prior to the installation of any manufactured homes.

Reason:	To ensure compliance with the development consent and statutory requirements.

Inspections of engineering work

Prior to the use of the first stage, a Certificate of Practical Completion from MidCoast Council, stating that all works identified in the Public Engineering Works Permit have been satisfactorily completed.

Prior to the issue of the Certificate of Practical Completion, the following will be required prior to the use of the development:

  - A works-as-executed plans, certified by a suitably qualified engineer or a registered surveyor, must be prepared in accordance with Council standards and submitted to Council.

  - Maintenance Deposit - Deposit with Council (or a Bank Guarantee) for a period of twenty four months from completion of engineering work of a sum equal to 5% of the cost of Engineering works prior to the use of the development.  This security is to be lodged to guarantee the quality of work and to ensure that the contractor carries out all maintenance and repairs required during this period.

Reason: To ensure the provision of required civil infrastructure.

Implementation of the Landscape Plan

Prior to the use of each stage, the Registered Proprietor of the land, or their agents, shall fully implement all the required actions outlined in the landscape plan.

Reason:	To appropriately conduct landscaping on the subject land.

Stabilisation of site surface

Prior to the use of each stage, the site shall be landscaped with all disturbed ground being stabilised to prevent erosion.

Reason:	To prevent erosion and impacts on adjoining sites.

Water and Sewerage Certificate of Attainment

Prior to the use of each stage, a Certificate of Attainment from MidCoast Council Water Services, stating that satisfactory arrangements have been made and all payments finalised for the provision of water supply and sewerage to the development, must be obtained.

Reason:  	To ensure suitable water and sewage disposal is provided to the development.

Stormwater drainage work

Prior to the use of each stage, the stormwater system must be certified (by an appropriately qualified engineer) as being constructed in accordance with the approved plans.

Prior to the use of the development, all stormwater work is to be completed in accordance with the approval under s68 of the Local Government Act 1993.

Reason:	To ensure compliance with the development consent and statutory requirements.

Inspection of Internal Civil Works

Prior to the use of each stage, a compliance certificate from a suitably qualified person confirming that the internal road works, including parking, have been constructed in accordance with the approved plans must be obtained.

Reason:	To ensure compliance with the development consent and statutory requirements.

PRIOR TO INSTALLATION OF MANUFACTURED HOMES

Completion of Works

Prior to the installation of each manufactured home, the relevant stage that the manufactured home is within must be completed with all relevant works prescribed under this consent completed, and all conditions satisfied.

Reason:	To maintain public health.

Reason: To ensure the development has an adequate stormwater infrastructure.

Section 7.11 Development Contributions

Prior to the installation of each manufactured home (and prior to issue of a Section 68 to install each manufactured home), a monetary contribution must be paid to Council in accordance with Section 7.11 of the Environmental Planning and Assessment Act 1979.  The services and facilities for which the contributions are levied and the respective amounts payable under each of the relevant plans are set out in the following table. Note: Contributions are to be paid based on number of bedrooms in each manufactured home.

| Old Bar Precinct 3 Local Catchment |  |
| --- | --- |
| Two-Bedroom Dwellings |  |
| Catchment Facilities | Contribution |
| Local Facilities | $12,472.18 / Dwelling |
| Greater Taree Facilities | $2,960.21 / Dwelling |
| Total | $15,432.39 / Dwelling |
| Three-Bedroom Dwellings |  |
| Catchment Facilities | Contribution |
| Local Facilities | $18,957.72 / Dwelling |
| Greater Taree Facilities | $4,499.51 / Dwelling |
| Total | $23,457.23 / Dwelling |

Contribution rates are subject to indexation.

The Contributions Plan and the Standard Schedule for Section 7.11 Plans may be viewed on Council’s web site or at Council’s offices.

Reason:	To provide for the improvement of facilities and services.

Section 68 Approval to Install a Manufactured Home

Prior to the installation of each manufactured home, an approval under Section 68 of the Local Government Act 1993 to install a manufactured home must be obtained.

The application for any manufactured home shall demonstrate that the manufactured home will be located at or above the flood planning level. The flood planning level for this development is R.L. 6.1m A.H.D.

Reason:	Statutory requirement.

PRIOR TO OCCUPATION OF MANUFACTURED HOMES

Inspection by Council's Building Surveyor in regard to manufactured homes and associated structures

Prior to occupation of each manufactured home, the building shall be inspected by Council's Building Surveyor. Certification shall be issued by council stating that the installation has been completed in accordance with the Section 68 approval.

Reason: To ensure compliance with the Regulation and the National Construction Code Volume two.

AGENCY CONDITIONS

NSW Rural Fire Service requirements- Section 100B

The development must be carried out in compliance with the following conditions detailed in the Bush Fire Safety Authority, reference No. DA20250924003890-Original-1 dated 13 November 2025.

Asset Protection Zones

Intent of measures is to provide suitable dwelling design, construction and sufficient space to ensure that radiant heat levels do not exceed critical limits for firefighters and other emergency services personnel undertaking operations, including supporting or evacuating occupants

- At the commencement of building works and in perpetuity, the entire 'Northern Precinct' as identified in the plan titled 'Site Context Plan Northern Precinct', prepared by VIA, reference NL223154, drawing number MP-NP02.01, revision 4, dated 8 May 2025, inclusive of any parks/communal areas, must be managed as an Inner Protection Area in accordance with the following requirements of Appendix 4 of Planning for Bush Fire Protection 2019:

  - tree canopy cover should be less than 15% at maturity;

  - trees at maturity should not touch or overhang the building;

  - lower limbs should be removed up to a height of 2m above the ground;

  - tree canopies should be separated by 2 to 5m;

  - preference should be given to smooth-barked and evergreen trees;

  - create large discontinuities or gaps in the vegetation to slow down or break the progress of fire towards buildings should be provided;

  - shrubs should not be located under trees;

  - shrubs should not form more than 10% ground cover;

  - clumps of shrubs should be separated from exposed windows and doors by a distance of at least twice the height of the vegetation;

  - grass should be kept mowed (as a guide, grass should be kept to no more than 100mm in height); and

  - leaves and vegetation debris should be removed.

- Prior to the installation of any manufactured home or dwelling on sites adjacent to the 'Extent of Northern Precinct' and DA488/1999 boundary identified in the plan titled 'Site Context Plan Northern Precinct', prepared by VIA, reference NL223154, drawing number MP-NP02.01, revision 4, dated 8 May 2025, an Inner Protection Area shall be established and maintained within the DA488/1999 area to a distance of 20 metres in accordance with the following requirements of Appendix 4 of 'Planning for Bush Fire Protection 2019':

  - tree canopy cover should be less than 15% at maturity;

  - trees at maturity should not touch or overhang the building;

  - lower limbs should be removed up to a height of 2m above the ground;

  - tree canopies should be separated by 2 to 5m;

  - preference should be given to smooth-barked and evergreen trees;

  - create large discontinuities or gaps in the vegetation to slow down or break the progress of fire towards buildings should be provided;

  - shrubs should not be located under trees;

  - shrubs should not form more than 10% ground cover;

  - clumps of shrubs should be separated from exposed windows and doors by a distance of at least twice the height of the vegetation;

  - grass should be kept mowed (as a guide, grass should be kept to no more than 100mm in height); and

  - leaves and vegetation debris should be removed.

Construction Standards

The intent of SFPP measures is to provide suitable dwelling design, construction and sufficient space to ensure that radiant heat levels do not exceed critical limits for firefighters and other emergency services personnel undertaking operations, including supporting or evacuating occupants

- The construction of each manufactured home on Sites 1, 118 - 129 (inclusive), 134 - 135 (inclusive), must comply with section 3 and section 7 (BAL 29) Australian Standard AS3959-2018 ‘Construction of dwellings in bushfire-prone areas’ or the relevant requirements of the National Association of Steel Framed Housing Standard (2021) - Steel Framed Construction in Bushfire Areas. New construction must also comply with the construction requirements in Section 7.5 of ‘Planning for Bush Fire Protection 2019’.

- The construction of each manufactured home on Sites 36, 130 - 131 (inclusive), 133, must comply with section 3 and section 7 (BAL 19) Australian Standard AS3959-2018 ‘Construction of dwellings in bushfire-prone areas’ or the relevant requirements of the National Association of Steel Framed Housing Standard (2021) - Steel Framed Construction in Bushfire Areas. New construction must also comply with the construction requirements in Section 7.5 of ‘Planning for Bush Fire Protection 2019’.

- The construction of each manufactured home Sites 2 - 7 (inclusive), 26 - 33 (inclusive), 34, 35, 37 – 46 (inclusive), 48 - 52 (inclusive), 56 - 60 (inclusive), 93 - 117 (inclusive), 132, 136 - 143 (inclusive), 146 – 148 (inclusive), 154 - 156 (inclusive), 164 - 172 (inclusive), 175 - 204 (inclusive), must comply with section 3 and section 5 (BAL 12.5) Australian Standard AS3959-2018 ‘Construction of dwellings in bushfire-prone areas’ or the relevant requirements of the National Association of Steel Framed Housing Standard (2021) - Steel Framed Construction in Bushfire Areas. New construction must also comply with the construction requirements in Section 7.5 of ‘Planning for Bush Fire Protection 2019’.

- Evidence of compliance with the construction level as identified by Conditions 3, 4 and 5 is to be provided as part of the certificate of installation for each manufactured home.

- Conditions 3, 4, 5 and 6 must be included in the operating licence for the manufactured home estate.

Access - Internal Roads

The intent of measures is to provide safe operational access for emergency services personnel in suppressing a bush fire, while residents are accessing or egressing an area. To achieve this, the following conditions shall apply:

- Internal access roads for Special Fire Protection Purpose (SFPP) developments must comply with the following general requirements of Table 6.8b of ‘Planning for Bush Fire Protection 2019’:

  - SFPP access roads are two-wheel drive, all-weather roads;

  - access is provided to all structures;

  - traffic management devices are constructed to not prohibit access by emergency services vehicles;

  - access roads must provide suitable turning areas in accordance with Appendix 3;

  - the capacity of road surfaces and any bridges/causeways is sufficient to carry fully loaded firefighting vehicles (up to 23 tonnes); bridges and causeways are to clearly indicate load rating;

  - hydrants are located outside of parking reserves and road carriageways to ensure accessibility to reticulated water for fire suppression;

  - hydrants are provided in accordance with the relevant clauses of AS 2419.1:2005;

  - parking is provided outside of the carriageway width;

  - there are through roads, and these are linked to the internal road system at an interval of no greater than 500m;

  - curves of roads have a minimum inner radius of 6m;

  - the maximum grade road is 15 degrees and an average grade of not more than 10 degrees;

  - the road cross fall does not exceed 3 degrees; and

  - a minimum vertical clearance of 4m to any overhanging obstructions, including tree branches, is provided.

Water and Utility Services

Intent of measures: to provide adequate services of water for the protection of buildings during and after the passage of a bush fire, and to locate gas and electricity so as not to contribute to the risk of fire to a building

- The provision of water supply shall comply the following:

  - reticulated water is to be provided to the development;

  - fire hydrant, spacing, design and sizing complies with the relevant clauses of Australian Standard AS 2419.1:2005;

  - hydrants are and not located within any road carriageway;

  - reticulated water supply uses a ring main system;

  - fire hydrant flows and pressures comply with the relevant clauses of AS 2419.1:2005;

  - all above-ground water service pipes are metal, including and up to any taps.

- The provision of electricity services shall be underground.

- The provision of gas services shall comply the following:

  - reticulated or bottled gas is installed and maintained in accordance with AS/NZS 1596:2014 and the requirements of relevant authorities, and metal piping is used;

  - the requirements of relevant authorities, and metal piping is used;The storage and handling of LP Gas,-reticulated or bottled gas is installed and maintained in accordance with AS/NZS 1596:2014 -

  - all fixed gas cylinders are kept clear of all flammable materials to a distance of 10m and shielded on the hazard side;

  - connections to and from gas cylinders are metal; polymer-sheathed flexible gas supply lines are not used; and

  - above-ground gas service pipes are metal, including and up to any outlets.

Landscaping Assessment

The intent of measures is to provide suitable dwelling design, construction and sufficient space to ensure that radiant heat levels do not exceed critical limits for firefighters and other emergency services personnel undertaking operations, including supporting or evacuating occupants

- Landscaping is to be designed and managed to minimise flame contact and radiant heat to dwellings, and the potential for wind-driven embers to cause ignitions by complying with the following:

  - landscaping is in accordance with Appendix 4 Planning for Bush Fire Protection 2019; and

  - fences and gates must comply with Section 7.6 of Planning for Bush Fire Protection 2019. New fences and gates are to be made of either hardwood or non-combustible material. Where a fence or gate is constructed within 6m of a dwelling or in areas of BAL-29 or greater, they must be made of non-combustible material only.

Emergency and Evacuation Planning Assessment

The intent of measures is to provide suitable emergency and evacuation arrangements for occupants of Special Fire Protection Purpose developments

- A Bush Fire Emergency Management and Evacuation Plan shall be prepared consistent with 'Development Planning- A Guide to Developing a Bush Fire Emergency Management and Evacuation Plan December 2014'.

Details from an appropriately qualified Bushfire consultant (BPAD) accredited with the Fire Protection Association of Australia or a Building Certifier accredited with the Building Professionals Board demonstrating compliance with the relevant conditions, as applicable to each stage and/or installation of manufactured homes, must be obtained prior to the use of each stage and/or occupation of each manufactured home.

Reason: To ensure work is carried out in accordance with the determination and other statutory requirements.