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CONSENT CONDITIONS
HUNTER AND CENTRAL COAST REGIONAL PLANNING PANEL



	PANEL REFERENCE & DA NUMBER
	PPSHCC-405

	PROPOSAL 
	5 Mw Battery Energy Storage System

	ADDRESS
	Lot 2 DP211171 and Lot 30 DP1113705 – 2243 Stroud Hill Road, Alison

	APPLICANT
	G8 Energy Pty Ltd 

	APPLICATION TYPE 
	Development Application – Regionally Significant



PART A: 	GENERAL 

A1	Approved Plans and Supporting Documentation

The development must be implemented in accordance with the approved plans, specifications and supporting documentation listed below which have been endorsed by Council’s approved stamp, except where amended by conditions of this consent:

	Plan/Report Title
	Reference No
	Revision
	Prepared by
	Date

	Title Sheet and Site Locality
	TP01
	F
	Premise
	11/06/2026

	Overall Existing Site
	TP02
	F
	Premise
	11/06/2026

	Proposed BESS 5MW Site Plan
	TP03
	F
	Premise
	11/06/2026

	Proposed BESS 5MW Plan
	TP04
	F
	Premise
	11/06/2026

	Proposed BESS 5MW Elevation Views
	TP05
	F
	Premise
	11/06/2026

	Statement of Environmental Effects
	P003764
	001 A
	Premise
	3/11/2025

	Transport Impact Statement
	P003764
	C
	Premise
	2/4/2026

	Noise and Vibration Impact Assessment
	ID: 17180
	RI
	Assured Environmental
	24/11/2025



In the event of any inconsistency between conditions of this approval and the drawings/documents referred to above, the conditions prevail. In the event of any inconsistency between the approved plans and the supporting documentation, the approved plans prevail. 

Reason: To ensure the development proceeds in the manner assessed by Council and all parties are aware of the approved plans and supporting documentation that applies to the development. 
A2	Signage

A separate application shall be submitted to Council prior to the erection of any signage unless the proposed signage is ‘exempt development’ under State Environmental Planning Policy (Exempt and Complying Development Codes) 2008 or any other applicable environmental planning instrument.

Reason: To ensure any signage is assessed in accordance with the planning controls. 

A3	Compliance with the Building Code of Australia 

All building work shall be carried out in accordance with the provisions of the Building Code of Australia. A reference to the Building Code of Australia is a reference to that Code as in force on the date the application is made for the relevant construction certificate. 

Reason: To ensure the building work complies with the Building Code of Australia. 

A4	Lapsing of consent

This consent is limited to a period of 5 years from the date of the Notice of Determination unless the works associated with the development have physically commenced. 

Reason: To ensure compliance with Section 4.53 of the Environmental Planning and Assessment Act 1979.

A5	Public Utilities

Any relocation or alterations of public utilities made necessary as a result of the development are to be carried out at no cost to Council.
Reason: To ensure costs associated with relocation/alterations to public utilities are borne by the applicant/developer.
PART B: 	PRIOR TO THE ISSUE OF ANY CONSTRUCTION CERTIFICATE 

B1	Construction Certificate 
	
A Construction Certificate is required for the development in accordance with Section 6.7(1) of the Environmental Planning and Assessment Act 1979.

Reason: To ensure compliance with the Environmental Planning and Assessment Act 1979.

B2	Design Amendments 

Before the issue of any construction certificate, the certifier must ensure the approved construction certificate plans (and specifications) detail the following required amendments to the approved plans and supporting documentation. The plan shall be approved and stamped by Dungog Shire Council:
· Civil engineering plans and drawings detailing the proposed road access, stormwater drainage and sediment and erosion controls during construction.
· The plans must demonstrate no increase in ground height in the vicinity of any Essential Energy infrastructure and the use of non-conductive materials.
· Detailed assessment of contaminant reduction in post-developed stormwater in line with current best practice that supports the intended management measure. 
· Catchment delineation plans showing flow directions and relevant site constraints. 
· MUSIC (or similar) modelling demonstrating how NorBE is achieved for the proposed development (including the civil and stormwater works).

Reason: To ensure the requirements of government referral agencies are adequately addressed.

B3 	Detailed Engineering Plans 
Prior to issue of any Construction Certificate the developer shall arrange for detailed engineering design plans to be submitted to and approved by the Certifying Authority for: 
Construction of the proposed access road serving the development. 
Plans shall include (but not limited to) the following:
· Plans detailing any installation of electric power for the development. No electric power is to be located within an Essential Energy easement.
· The installation of warning signage indicating the location of all Essential Energy infrastructure.
All works to be constructed and approved by the Certifying Authority prior to the release of the Occupation Certificate.
Reason: To ensure compliance with Essential Energy requirements.
B4	Stormwater Drainage Approval

Prior to issue of a Construction Certificate, the developer shall arrange for detailed engineering design plans to be submitted to the Certifying Authority for approval for: 
The provision of a stormwater system with onsite detention and water quality control facilities required to treat stormwater runoff from the development to the satisfaction of Council. 
Plans shall include (but not limited to) the following:
· The onsite detention system shall demonstrate that the development will not increase the limits of upstream and downstream flooding for floods over the full range of events up to and including the 1% AEP storm event. 
· Water quality control facilities shall be provided and shall demonstrate a Neutral or Beneficial Effect (NorBE) on water quality in accordance with Hunter Water Guidelines for developments in the drinking water catchments. 
All works shall be designed in accordance with Hunter Water’s Guidelines and Council’s Auspec standards.
All works shall be constructed prior to issue of an Occupation Certificate
Reason: To ensure a compliant stormwater management system for the development.
B5	S138 Roads Act 1993 Approval
Prior to the issue of the Construction Certificate, a separate approval from Council as the Roads Authority must be obtained under Section 138 of the Roads Act 1993 for any works to be carried out within the road reserve.  For any such works, detailed engineering design plans, in accordance with Council’s Specifications and AS2890, must be submitted to the Certifying Authority for approval. The following works are to be included in the Roads Act 1993 application: 
· Construction of a bitumen sealed access crossing within the Stroud Hill Road frontage from the edge of road pavement to the property boundary. All works shall be designed and constructed in accordance with Council’s Standard Drawing SD0002 – Private Entrance Rural Gravel Roads.
· Detailed traffic management plans, a traffic guidance scheme (TGS), temporary speed reduction and all advisory signage / delineation required during construction shall be prepared by a suitably qualified professional and be submitted to Dungog Shire Council for approval.

Reason: To ensure approval is obtained prior to any works occurring in the road reserve and compliance with Council’s driveway standards.

B6	Construction site management plan
Before the issue of a construction certificate, the applicant must ensure a construction site management plan is prepared before it is provided to and approved by the certifier. The plan must include the following matters: 
· location and materials for protective fencing and hoardings to the perimeter on the site;
· provisions for public safety;
· pedestrian and vehicular site access points and construction activity zones;
· details of construction traffic management, including proposed truck movements to and from the site and estimated frequency of those movements, and measures to preserve pedestrian safety in the vicinity of the site;
· protective measures for on-site tree preservation (including in accordance with AS 4970-2009 Protection of trees on development sites and Council’s DCP, if applicable) and trees in adjoining public domain (if applicable);
· details of any bulk earthworks to be carried out location of site storage areas and sheds;
· equipment used to carry out all works;
· a garbage container with a tight-fitting lid;
· dust, noise and vibration control measures;
· location of temporary toilets. 
The applicant must ensure a copy of the approved construction site management plan is kept on-site at all times during construction.
Reason: To require details of measures that will protect the public, and the surrounding environment, during site works and construction.

B7	Sediment and Erosion Control Plan
Before the issue of a construction certificate the applicant is to ensure that an erosion and sediment control plan is prepared in accordance with the following documents before it is provided to and approved by the certifier: 
•	Council’s development control plan,  
•	the guidelines set out in the NSW Department of Housing manual ‘Managing Urban Stormwater: Soils and Construction Certificate’ (the Blue Book), and 
•	the ‘Do it Right On-Site, Soil and Water Management for the Construction Industry' (Southern Sydney Regional Organisation of Councils and the Natural Heritage Trust). 
The applicant must ensure the erosion and sediment control plan is kept onsite at all times during site works and construction.
Reason: To ensure no substance other than rainwater enters the stormwater system and waterways.
B8	Payment of Security Deposits, Levies and Contributions

The fees listed in the table below must be paid in accordance with the conditions of this consent and Council’s Fees and Charges Policy applicable at the time of payment. Payments must be made prior to the issue of the Construction Certificate or prior to the commencement of work (if there is no associated Construction Certificate). 

(a) Payment of building and construction industry long service levy - The applicant must pay the long service levy as calculated at the date of this consent to the Long Service Corporation or Council under Section 34 of the Building and Construction Industry Long Service Payments Act 1986 and provides proof of this payment to the certifier.

(b) Public liability insurance - Prior to the commencement of any works on Council land including a public road, the applicant is to obtain Public Liability Insurance in the minimum amount of $20 million. This insurance is to note Council’s interest and is to remain current for at least the period from the issue of the Construction Certificate until the issue of a Compliance Certificate/Occupation Certificate for the works. Documentary evidence of the Certificate of Currency is to be provided to Council prior to the issuing of any Construction Certificate for access. 

(c) Payment of development contributions – A total monetary contribution of $57,004.00 is to be paid to Council, pursuant to Section 7.12 of the Environmental Planning and Assessment Act 1979, prior to the issue of any Construction Certificate. 

(i) This condition is imposed in accordance with the provisions of Dungog Local Infrastructure Contributions Plan. A copy of the document is available on Council’s website or may be inspected at Council’s Administration Building.
(ii) The amount of contribution payable under this condition has been calculated at the date of consent. In accordance with the provisions of the Contributions Plan, this amount shall be indexed at time of actual payment in accordance with the Consumer Price Index. Indexation of contributions for payment occurs quarterly. Any party intending to act on this consent should contact Council prior to the date of payment to determine the indexed amount payable.

Reason: To ensure payments are made in accordance with legislative requirements.

B9	External Lighting 

Any lighting used on the site in connection with the development is to comply with AS 4282 – Control of the obtrusive effects of Outdoor lighting. The applicant must minimise off-site lighting impacts arising from the development and any external lighting is installed as low intensity lighting except where required for safety or emergency purposes. Details are to be shown on the Construction Certificate plans. 

Reason: To protect the amenity of the surrounding area.

B10	Dilapidation report

Before the issue of a Construction Certificate, a suitably qualified engineer must prepare a dilapidation report detailing the structural condition of roads and public land, to the satisfaction of the certifier.

Any damage caused to other properties during construction shall be rectified by the applicant. A copy of the dilapidation survey and an insurance policy that covers the cost of any rectification works shall be submitted to Council prior to the commencement of the demolition works. The insurance cover shall be a minimum of $10 million. 

Reason: To ensure any damage caused by the development is documented prior to works commencing on the site.

PART C: 	PRIOR TO WORKS COMMENCING 

C1	Appointment of Principal Certifying Authority 

Prior to the commencement of work, the person having the benefit of the development consent and a Construction Certificate shall:

(a) Appoint a Principal Certifying Authority and notify the Council of the appointment (if Council is not appointed); and

(b) Notify Council of their intention to commence building work (at least 2 days’ notice is required).

Reason: To ensure compliance with the Environmental Planning and Assessment Act 1979.	

C2	Signs on site

A sign must be erected in a prominent position on any site on which building work or demolition work is being carried out:

(a) showing the name, address and telephone number of the principal certifier for the work, and

(b) showing the name of the principal contractor (if any) for any building work and a telephone number on which that person may be contacted outside working hours, and

(c) stating that unauthorised entry to the work site is prohibited.

Any such sign is to be maintained while the building work or demolition work is being carried out but must be removed when the work has been completed.

Reason: Prescribed Condition under Clause 98A(2) and (3) of the Regulation.

C3	Tree Protection Measures

Before the commencement of any site or building work, the principal certifier must ensure the measures for tree protection detailed in the Construction Site Management Plan are in place.

Reason: To protect trees which are to be retained prior to work commencing on the site.

C4	Toilet Facilities during Construction

Toilet facilities must be provided on the work site during construction at the rate of one toilet for every 20 persons or part of 20 persons employed at the work site. Each toilet provided must:

(a) Be a standard flushing toilet, connected to a public sewer, or

(b) If connection to a public sewer is not available, to an on-site effluent disposal
system approved by the council, or

(c) A portable toilet.

Reason: To provide appropriate on-site amenities during demolition and construction work. 

C5	Implementation of the Construction Site Management Plan and Waste Management Plan

The approved Construction Site Management Plan (incorporating the Sediment and Erosion Control Plan and Construction Traffic Management Plan) and the Waste Management Plan must be implemented and maintained prior to, and during, the construction woks on the site until works are completed and all exposed surfaces are landscaped/sealed.

Reason: To ensure measures that will protect the public, and the surrounding environment, during site works and construction are implemented prior to works commencing on the site.

PART D:	DURING WORKS 

D1	Construction Hours

The hours of demolition and/or building work shall be limited to the following hours:

(a) Monday to Friday:  			7:00am to 6:00pm;

(b) Saturday:  				7:00am to 6.00pm;

(c) No Construction on Sundays or Public Holidays.

Unless otherwise approved within the Construction Site Management Plan, construction vehicles, machinery, goods or materials must not be delivered to the site outside the approved hours of site works. Note: Any variation to the hours of work requires Council’s approval.

Reason: To ensure the amenity of the area is maintained during construction. 

D2	Compliance with Construction Site Management Plan 

The requirements of the approved Construction Site Management Plan must be complied with and maintained for the duration of the construction works. This includes, but is not limited to, the following:

(a) All practicable measures shall be undertaken to prevent and minimise harm to the environment and the amenity of the area as a result of the construction and operation of the development, particularly from wind-blown dust, debris, noise, erosion and soil management and the like.

(b) All building materials and equipment must be stored wholly within the site unless an approval to store them elsewhere has been granted.

(c) During construction, care must be taken to protect Council’s infrastructure, including street signs, footpath, kerb, gutter and drainage pits etc. 

(d) Protection measures shall be maintained in a state of good and safe condition throughout the course of demolition. 

(e) The area fronting the site and in the vicinity of the development shall also be made safe for pedestrian and vehicular traffic at all times. 

The applicant must ensure a copy of these approved plans is kept on site at all times and made available to Council officers upon request.

Reason: To ensure the required site management measures are implemented during construction.
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D3	Waste Management 

While building work, demolition or vegetation removal is being carried out, the principal certifier must be satisfied all waste management is undertaken in accordance with the approved waste management plan. Upon disposal of waste, the applicant is to compile and provide records of the disposal to the Principal Certifier, detailing the following: 

(a) The contact details of the person(s) who removed the waste

(b) The waste carrier vehicle registration

(c) The date and time of waste collection 

(d) A description of the waste (type of waste and estimated quantity) and whether the waste is expected to be reused, recycled or go to landfill

(e) The address of the disposal location(s) where the waste was taken

(f) The corresponding tip docket/receipt from the site(s) to which the waste is transferred, noting date and time of delivery, description (type and quantity) of waste. 

Note: If waste has been removed from the site under an EPA Resource Recovery Order or Exemption, the applicant is to maintain all records in relation to that Order or Exemption and provide the records to the principal certifier and Council.

Reason: To require records to be provided, during construction, documenting that waste is appropriately handled.

D4	Detailed Engineering Requirements
All works conducted near Essential Energy Assets must:
•	Be performed in accordance with Essential Energy’s requirements and in accordance with the issued permits and approvals.
· Maintain safe distances in accordance with Essential Energy’s policies, procedures and guidelines.
· Ensure that any works within any existing easement, or in proximity to Essential Energy’s infrastructure, must be undertaken in accordance with the latest industry guideline known as: ISSC 20 Guideline for the Management of Activities within Electricity Easements and Close to Infrastructure. A copy can be found at www.resourcesand energy.nsw.gov.au/_data/assets/pdf_file/0004/466816/ISSC-20-Electicity-Easements.pdf.

Reason: To ensure compliance with Essential Energy requirements.
D5	Responsibility for Changes to Public Infrastructure

While building work is being carried out, the applicant must pay any costs incurred as a result of the approved removal, relocation or reconstruction of infrastructure or services affected by the required construction works. Council and other service authorities should be contacted for specific requirements prior to commencement of any works.

Reason: To ensure payment of approved changes to public infrastructure.

D6	Discovery of Aboriginal Objects

While excavation, demolition or building work is being carried out, all such works must cease immediately if a relic or Aboriginal object is unexpectedly discovered. The applicant must notify the Heritage Council of NSW in respect of a relic and notify the Secretary of the Department of Planning and Environment and the Heritage Council of NSW in respect of an Aboriginal object. Building work may recommence at a time confirmed by either the Heritage Council of NSW or the Secretary of the Department of Planning and Environment. 

In this condition:

· “relic” means any deposit, artefact, object or material evidence that: 
(a) relates to the settlement of the area that comprises New South Wales, not being Aboriginal settlement, and 
(b) is of State or local heritage significance; and 

· “Aboriginal object” means any deposit, object or material evidence (not being a handicraft made for sale) relating to the Aboriginal habitation of the area that comprises New South Wales, being habitation before or concurrent with (or both) the occupation of that area by persons of non-Aboriginal extraction and includes Aboriginal remains.

Reason: To ensure the protection of objects of potential significance during works.

D7	Discovery of Contamination

Should any unexpected contaminated, scheduled, hazardous or asbestos material be discovered before or during construction works, the applicant and contractor shall ensure the appropriate regulatory authority is notified and that such material is contained, encapsulated, sealed, handled or otherwise disposed of to the requirements of such Authority. 
  
Reason: To ensure contamination discovered during construction is dealt with as quickly as possible and to protect the health of the community and the environment. 

D8	Construction Noise

While building work is being carried out and where no noise and vibration management plan is approved under this consent, the applicant is to ensure that any noise caused by demolition, vegetation removal or construction does not exceed an LAeq (15 min) of 5dB(A) above background noise, when measured at any lot boundary of the property where the construction is being carried out. 

Reason: To protect the amenity of the neighbourhood. 

D9	Imported Fill

While construction work is being carried out, the principal certifier must be satisfied all soil removed from or imported to the site is managed in accordance with the following requirements:

(a) All excavated material removed from the site must be classified in accordance with the EPA’s Waste Classification Guidelines before it is disposed of at an approved waste management facility and the classification and the volume of material removed must be reported to the principal certifier,

(b) All fill material imported to the site must be Virgin Excavated Natural Material as defined in Schedule 1 of the Protection of the Environment Operations Act 1997 or a material identified as being subject to a resource recovery exemption by the NSW EPA.

Reason: To ensure soil removed from the site is appropriately disposed of and soil imported to the site is safe for future occupants. 

D10	Critical Stage Inspections 

Building work must be inspected on the occasions set out in clause 162A (Critical stage inspections for building work) under the Environmental Planning and Assessment Regulation 2000.

Reason: To require approval to proceed with building work following each critical stage inspection and comply with the Regulation.

D11	Tree Protection 

While site or building work is being carried out, the applicant must maintain all required tree protection measures in good condition in accordance with the Construction Site Management Plan required under this consent, the relevant requirements of AS 4970-2009 Protection of Trees on Development Sites and any Arborist’s report approved under this consent. 

This includes maintaining adequate soil grades and ensuring all machinery, builders refuse, spoil and materials remain outside tree protection zones.

Reason: To protect trees during construction.

D12	Stormwater Runoff

Measures must be put in place to control stormwater runoff.  These control measures must be in place prior to the commencement of works so as to prevent soil erosion and the transport of sediment from the site into either:
1.	adjoining land
2.	natural drainage courses
3.	constructed drainage systems, or
4.	waterways. 
All disturbed areas must be stabilised and revegetated.  Turfing or another approved seeding method must be undertaken in each part of the development within 7 days of completion of earthworks.  Topsoil must be preserved for site revegetation.
Reason - To ensure runoff and site debris do not impact local stormwater systems and waterways.


PART E: 	PRIOR TO THE ISSUE OF THE OCCUPATION CERTIFICATE 

E1	Occupation Certificate 

Occupation and operation of the solar farm is not to occur until all work has been completed, all of the conditions of consent have been satisfied and an Occupation Certificate has been issued by the Principal Certifying Authority pursuant to Section 6.10 of the Environmental Planning and Assessment Act 1979. 

Reason: To ensure compliance with the Environmental Planning and Assessment Act 1979.
E2	Completion of all Works

All works must be completed in accordance with the conditions of this consent prior to the issue of an Occupation Certificate including, but not limited to, the following

(a) Car parking areas and vehicle access points;

(b) Fencing;

(c) Bushfire Protection Measures and standards as outlined in this consent shall be installed and completed;

(d) All drainage works required to be undertaken in accordance with this consent shall be completed prior to the issue of an Occupation Certificate for the development. 

Following any construction or upgrading on site, the applicant must restore the ground cover of the site as soon as practicable, using suitable species and maintain ground cover. 

Reason: To ensure adequate arrangements have been made for the development.


E3	Post-Construction Dilapidation Report and Repair of Infrastructure

Before the issue of an Occupation Certificate, a suitably qualified engineer must prepare a post-construction dilapidation report which must include a photographic survey, to the satisfaction of the principal certifier, detailing whether:

(a) any roads and/or public infrastructure have been damaged as a result of the carrying out of construction works (including damage caused by, but not limited to, delivery vehicles, waste collection, contractors, sub-contractors, concreting vehicles) and if so, it is to be fully repaired to the written satisfaction of Council, and at no cost to Council. 

(b) there has been any structural damage to any adjoining buildings/sites (e.g. Essential Energy), that it is a result of the construction work approved under this development consent. 

Before the issue of an Occupation Certificate, the Principal Certifier is to provide a copy of the post-construction dilapidation report to Council (where Council is not the principal certifier) and to the relevant adjoining property owner(s).

Reason: To identify damage to adjoining properties resulting from building work on the development site.

E4	Removal of Waste upon Completion 

Before the issue of an Occupation Certificate, the Principal Certifier must ensure all refuse, spoil and material unsuitable for use on-site is removed from the site and disposed of in accordance with the approved waste management plan. Written evidence of the removal must be supplied to the satisfaction of the Principal Certifier. Before the issue of a partial Occupation Certificate, the applicant must ensure the temporary storage of any waste is carried out in accordance with the approved Waste Management Plan to the Principal Certifier’s satisfaction.

Reason: To ensure waste material is appropriately disposed or satisfactorily stored.

E5 	Repair of Infrastructure
Before the issue of an occupation certificate, the applicant must ensure any public infrastructure damaged as a result of the carrying out of building works (including damage caused by, but not limited to, delivery vehicles, waste collection, contractors, sub-contractors, concreting vehicles) is fully repaired to the written satisfaction of Council, and at no cost to Council. 
Note: If the council is not satisfied, the whole or part of the bond submitted will be used to cover the rectification work.
Reason: To ensure any damage to public infrastructure is rectified.

E6	Roads works in accordance with the Roads Act approval
Prior to the issuing of the Occupation Certificate, the works approved under the Roads Act approval must be completed and a compliance certificate must be obtained from the Roads Authority.
Reason: To ensure compliance with approvals.

E7	Stormwater Detention System
Where an on-site stormwater detention system is installed on the site in relation to the development, the following must be registered / supplied prior to the issue of an Occupation Certificate:—
2.(a)  a public positive covenant enforceable by Council requiring the owner of the land to maintain and repair the system in accordance with the approved Stormwater / On-site Detention Plans, Stormwater Management Plan and MUSIC modelling. The maintenance requirements must also include the vegetated open channel / watercourse
2.(b)  a restriction as to user in favour of Council that is worded to the satisfaction of the Council.
2.(a)  detailed WAE drawings demonstrating that the as-built stormwater, detention and water quality systems have been constructed in accordance with the approved Development Consent and subsequent Construction Certificate information. Council must accept and approve the WAE drawings prior to the issue of the Occupation Certificate.
2.(b) a certificate issued by an engineer that certifies that the on-site stormwater detention system has been constructed in accordance with the Development Consent and subsequent Construction Certificate information. Council must accept and approve the certificate prior to the issue of the Occupation Certificate.
Reason: To ensure the works are constructed in accordance with the approved plans.
PART F: 	OPERATIONAL CONDITIONS

F1 	Emergency Management Plan 

The approved Emergency Management Plan (‘EMP’) for the development shall be activated when required throughout the operation of the development and shall be updated if required. 

During occupation of the development, the applicant must ensure the site is managed, in accordance with Planning for Bushfire Protection 2019 and the NSW Rural Fire Service’s document Standards for Asset Protection Zones. Any required bushfire protection measures are to be maintained throughout the operation of the solar farm at the site.

Reason: To ensure the protection of human life, the environment and adjoining property in the event of fire or other emergency generated by the development.

F2	Operations Environmental Management Plan 

The approved Operations Environmental Management Plan (‘OEMP’) for the development shall be complied with throughout the operation of the development.

Reason: To ensure the solar farm is operated in accordance with relevant Australian Standards and best practice. 

F3	Vehicle Management

The premises shall be operated in accordance with the following vehicle management requirements:

(a) All loading and unloading of vehicles must be undertaken wholly within the site and all vehicles must enter and leave the site a forward direction. 

(b) Sufficient car parking is to be provided on the site, with no car parking to occur on the public road network in the vicinity of the site. 

(c) The vehicle entry and exit points are to be clearly signposted and visible from both the street and the site at all times and must be maintained in good condition for the life of the development. 

Reason: To ensure the operation of the solar farm does not adversely affect the surrounding road network and has adequate car parking provided on the site. 



F4	External lighting 

Any lighting used on the site in connection with the development is to comply with AS 4282 – Control of the obtrusive effects of Outdoor lighting. The applicant must minimise off-site lighting impacts arising from the development and any external lighting is installed as low intensity lighting except where required for safety or emergency purposes. 

Reason: To protect the amenity of the surrounding area.

F5	Maintenance of Wastewater and Stormwater Treatment Device 

During occupation and ongoing use of the building, the applicant must ensure all wastewater and stormwater treatment devices (including drainage systems, sumps and traps, and on-site detention) are regularly maintained, to remain effective and in accordance with any positive covenant (if applicable).

Reason: To protect sewerage and stormwater systems.

F6	Noise Control During Operation 

Any noise generated from the operation of the solar farm, including noise from any substation and associated infrastructure, must not be intrusive or constitute offensive noise as defined by the Protection of the Environment Operations Act 1997 at any private residential receiver. 

The operation of the solar farm must satisfy the EPA maximum noise criteria pursuant to the EPA’s Noise Policy for Industry (2017). If, at any time, these levels are exceeded, operation of the solar farm shall immediately be modified, including suspension of operations if necessary, to ensure compliance. 

Reason: To protect the amenity of the area while the solar farm is in operation. 

F7	Waste Materials 

The Applicant must: 

(a) minimise the waste generated by the development; 

(b) classify all waste generated on site in accordance with the NSW EPA Waste Classification Guidelines, Part 1: Classifying Waste, November 2014 (or its latest version); 

(c) store and handle all waste on site in accordance with its classification; 
(d) not receive or dispose of any waste on site; and 

(e) remove all waste from the site as soon as practicable, and ensure it is sent to an appropriately licensed waste facility for disposal.

Reason: To protect the environment. 
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