Draft Conditions of Consent

(Approved subject to the conditions specified in this notice and in accordance with

the stamped approved plans.)

Reason for the Imposition of Conditions

The reason for the imposition of the following conditions shall ensure, to Council’s satisfaction, the objects of the Environmental Planning and Assessment Act 1979 (as amended) are achieved:

To encourage:

- The proper management, development and conservation of natural and artificial resources, including agricultural land, natural areas, forest, minerals, water, cities, towns, and villages for the purpose of promoting the social and economic welfare of the community and a better environment;

- The promotion and co-ordination of the orderly and economic use of development of land;

- The protection, provision, and co-ordination of communication and utility services;

- The provision of land for public purposes;

- The provision and co-ordination of community services and facilities;

- The protection of the environment, including the protection and conservation of native animals and plants including threatened species, populations, and ecological communities and their habitats;

- Ecologically Sustainable Development; and

- The provision and maintenance of affordable housing.

- To promote the sharing of the responsibility for environmental planning between the different levels of government in the State.

- To provide increased opportunity for public involvement and participation in environmental planning and assessment.

Conditions of Deferred Commencement

This consent shall not operate until the following deferred commencement condition/s have been satisfied.

Evidence required to satisfy these conditions shall be submitted to Council within two years of the date of this consent, or the consent will lapse in accordance with Clause 95 of the Environmental Planning and Assessment Regulation 2000.

Deferred Commencement

Pursuant to Section 4.16(3) of the Environmental Planning and Assessment Act 1979, development consent is granted subject that this consent is not to operate until the applicant satisfies the Council as to all matters specified below as deferred commencement conditions within 12 months of the date of the consent.

If the evidence is not produced within specified timeframes this deferred commencement consent is of no effect, the consent does not operate and no Construction Certificate can be issued. No development can lawfully occur under this consent unless it operates. This consent does not operate until Council has acknowledged compliance with the deferred commencement conditions in writing.

  - Parking Areas and Access Ways

A design plan for parking areas and access ways shall be submitted for review and approval.

The design shall include pavement design, stormwater drainage, line marking and signage.

The design plan shall account for travel paths and swept paths for the largest service vehicle/bus should be provided.

The design shall meet the standards nominated in Development Control Plan 2014, Engineering Guidelines and Australian Standard AS2890. The design plan shall accommodate the required turning movements of the design service vehicles and buses.

Where the plan results in formed car parking spaces not being achieved in the same numerical value as shown on the approved plans, a formed parking area shall be constructed within the overflow car parking area to provide the same number of car parking spaces.

  - Revised landscaping plans

Revised and updated landscaping plans are required to be submitted to Lake Macquarie City Council for review and approval.

Administrative Conditions

Prescribed Conditions

- The work shall be carried out in accordance with the requirements of the Building Code of Australia.

- In the case of residential building work for which the Home Building Act 1989 requires there to be a contract of insurance in force in accordance with Part 6 of that Act, that such a contract of insurance is in force before any building work authorised to be carried out by the consent commences.

- A sign shall be erected in a prominent position on any site on which building work, subdivision work or demolition work is being carried out:

- showing the name, address and telephone number of the Certifying Authority for the work, and

- showing the name of the principal contractor (if any) for any building work and a telephone number on which that person may be contacted outside working hours, and

- stating that unauthorised entry to the work site is prohibited.

Any such sign shall be maintained while the building work, subdivision work or demolition work is being carried out, but shall be removed when the work has been completed.

- Residential building work within the meaning of the Home Building Act 1989 shall not be carried out unless the Certifying Authority for the development to which the work relates (not being the Council) has given the Council written notice of the following information:

- in the case of work for which a principal contractor is required to be appointed:

- the name and licence number of the principal contractor, and

- the name of the insurer by which the work is insured under Part 6 of that Act,

- in the case of work to be done by an owner-builder:

- the name of the owner-builder, and

- if the owner-builder is required to hold an owner-builder permit under that Act, the number of the owner-builder permit.

If arrangements for doing the residential building work are changed while the work is in progress so the information notified under (d) becomes out of date, further work must not be carried out unless the Certifying Authority for the development to which the work relates (not being the Council) has given the Council written notice of the updated information.

Approved Documentation

The development consent incorporates this schedule of conditions and the plans and documents referenced and stamped as follows:

a)	Plans Reference:

| Plans prepared by: XXXX; Project Number. XXXX |
| --- |
| Name of Plan | Drawing Number | Issue | Date |

b)	Document Reference:

| Document | Reference | Author | Date |
| --- | --- | --- | --- |
| Statement of Environmental Effects |  |  |  |

Details of the development shown in the approved plans and documents referenced are altered in the manner indicated by:

i.	Any amendments made by Council on the approved plans or documents;

ii.	Any notes, markings, or stamps on approved plans or documents, and

iii	Any conditions contained in this consent.

General Conditions

The person having the benefit of the consent shall comply with each of the following conditions.

Signage not approved

The development consent does not provide any approval for signage shown on the approved plans or described in any approved document.

This does not apply to any signage that is exempt development.

General Terms of Approval and Concurrence Requirements

Natural Resources Access Regulator – General Terms of Approval

The Natural Resources Access Regulator (NRAR) have issued the following General Terms of Approval (GTAs):

Note, the GTA issued by NRAR do not constitute an approval under the Water Management Act 2000. The development consent holder must apply to NRAR for the relevant approval after development consent has been issued by Council and before the commencement of any work or activity.

- Design of works and structures

Before commencing any proposed controlled activity on waterfront land, an application must be submitted to Natural Resources Access Regulator, and obtained, for a controlled activity approval under the Water Management Act 2000.

- Erosion and sediment controls

The following plan(s): - Erosion and Sediment Controls Plan must be: A prepared in accordance with Managing Urban Stormwater: Soils and Construction, Volume 1 (Landcom, 2004), as amended or replaced from time to time, and B. submitted with an application for a controlled activity approval.

The consent holder must ensure that any proposed materials or cleared vegetation, which may: i. obstruct water flow, or ii. wash into the water body, or iii. cause damage to river banks, are not stored on waterfront land, unless in accordance with a plan held by Natural Resources Access Regulator as part of a controlled activity approval. B. When the carrying out of the controlled activity has been completed, surplus materials must be removed from waterfront land.

The proposed erosion and sediment control works must be inspected and maintained throughout the construction or operation period of the controlled activity and must not be removed until the site is fully stabilised.

- Plans, standards and guidelines

This General Terms of Approval (GTA) only applies to the proposed controlled activity(s) described in the plans and associated documents found in Schedule 1, relating to Development Application as provided by Council to Natural Resources Access Regulator. B. Any amendments or modifications to the proposed controlled activity(s) may render the GTA invalid. If the proposed controlled activity is amended or modified, Natural Resources Access Regulator, Parramatta Office, must be notified in writing to determine if any variations to the GTA will be required.

The application for a controlled activity approval must include the following document(s): - outlet structures; Erosion and Sediment Control Plan; Soil and Water Management Plan; Vegetation Management Plan.

Any proposed controlled activity must be carried out in accordance with plans submitted as part of a controlled activity approval application, and approved by Natural Resources Access Regulator.

The application for a controlled activity approval must include plans prepared in accordance with Natural Resources Access Regulator's guidelines located on the website https://www.industry.nsw.gov.au/water/licensingtrade/ approvals/controlled-activities.

- Rehabilitation and maintenance

When the proposed controlled activity is completed, and the rehabilitation plan has been implemented, maintenance of the site must be carried out for a period of 2 years in accordance with that rehabilitation plan submitted as part of the controlled activity approval, and approved by Natural Resources Access Regulator.

- Reporting requirements

The consent holder must inform Natural Resources Access Regulator in writing when the proposed construction of the controlled activity has been completed.

SCHEDULE 1

The plans and associated documentation listed in this schedule are referred to in general terms of approval (GTA) issued by NRAR for integrated development associated with DA/872/2020 as provided by Council:

- Revised site plan

Subsidence Advisory NSW – General Terms of Approval

Subsidence Advisory NSW (SA NSW) have issued the following General Terms of Approval (GTAs).

- Plans, Standards and Guidelines

These General Terms of Approval (GTAs) only apply to the development described in the plans and associated documentation relating to DA/872/2020 and provided to Subsidence Advisory NSW.

Any amendments or subsequent modifications to the development may render these GTAs invalid.

If the proposed development is amended or the development consent modified, Subsidence Advisory NSW must be notified to determine if any variations to these GTAs are required.

This approval expires 5 years after the date the approval was granted if construction work has not physically commenced.

- Prescribed Design Parameters

Provide certification from a qualified structural engineer that the proposed structure is capable of remaining “safe”, serviceable and any damage from mine subsidence shall be limited to ‘very slight’ damage in accordance with AS2870 (Damage Classification), and readily repairable” if subjected to the subsidence parameters outlined below:

a) Maximum Horizontal Tensile Strain: 0.4 mm/m

b) Maximum Horizontal Compressive Strain: 0.55 mm/m

c) Maximum Tilt: 1.8 mm/m

d) Maximum Radius of Curvature: 14.3 km

- Submit an “Engineering Impact Statement” prior to commencement of detailed design for acceptance by SA NSW, which shall identify the:

a. Mine Subsidence Parameters used for the design.

b. Main building elements and materials.

c. Risk of damage due to mine subsidence

d. Design measures proposed to control the risks.

e. Provide certification that the design will ensure the improvement remains “safe, serviceable and any damage from mine subsidence shall be limited to ‘very slight’ in accordance with AS2870 (Damage Classification), and readily repairable”.

- f. Comment on the:

  - likely building damage in the event of mine subsidence.

  - sensitivity of the design to greater levels of mine subsidence.

- The design submitted for approval under Section 22 of the Coal Mine Subsidence Compensation Act 2017 shall incorporate the design methodology contained in the “Engineering Impact Statement”, for acceptance by SA NSW prior to commencement of construction. It shall include certification by a qualified structural engineer to the effect that the improvements will remain “safe, serviceable and any damage from mine subsidence shall be limited to ‘very slight’ damage in accordance with AS2870 (Damage Classification), and readily repairable” taking into consideration the mine subsidence parameters outlined above.

- Post construction

Establish 4 survey monitoring reference marks on and around the circumference of the building(s) so that building movement can be monitored should mine subsidence occur.

A plan with the position including Easting, Northing and RL of each monitoring reference marks and original RLs are to be forwarded to Subsidence Advisory NSW.

Upon completion of construction, work-as-executed certification by a qualified engineer will be required by Subsidence Advisory NSW confirming that construction was in accordance with the plans accepted by Subsidence Advisory NSW.

NSW Rural Fire Service conditions

The development shall comply with the following NSW Rural Fire Service (RFS conditions).

- A Bush Fire Emergency Management and Evacuation Plan must be prepared and be consistent with the NSW RFS document A Guide to Developing a Bush Fire Emergency Management and Evacuation Plan. The Bush Fire Emergency Management and Evacuation Plan should include planning for the early relocation of occupants.

Note: A copy of the Bush Fire Emergency Management and Evacuation Plan should be provided to the Local Emergency Management Committee for its information prior to occupation of the development.

- Asset Protection Zones

At the commencement of building works, and in perpetuity to ensure ongoing protection from the impact of bush fires, asset protection zones must be provided as shown on the plan prepared by Bushfire Emergency Management Consulting (Figure 3 APZ Analysis, dated 25/08/2021, Ref: 2020350a APZ Analysis_Hillsborough, Version 3, p.15). The asset protection zone is to be maintained entirely as an inner protection area.

When establishing and maintaining an inner protection area the following requirements apply in accordance with the requirements of Appendix 4 of Planning for Bush Fire Protection 2019:

- tree canopy cover should be less than 15% at maturity;

- trees at maturity should not touch or overhang the building;

- lower limbs should be removed up to a height of 2 m above the ground;

- tree canopies should be separated by 2 to 5 m;

- preference should be given to smooth-barked and evergreen trees;

- large discontinuities or gaps in the shrubs layer should be provided to slow down or break the progress of fire towards buildings;

- shrubs should not be located under trees;

- shrubs should not form more than 10% ground cover;

- clumps of shrubs should be separated from exposed windows and doors by a distance of at least twice the height of the vegetation;

- grass should be kept mown (as a guide, grass should be kept to no more than 100mm in height); and

- leaves and vegetation debris should be removed regularly.

- Landscaping within the required asset protection zone must comply with Appendix 4 of Planning for Bush Fire Protection 2019. In this regard, the following principles are to be incorporated:

- A minimum 1 metre wide area (or to the property boundary where the setbacks are less than 1 metre), suitable for pedestrian traffic, must be provided around the immediate curtilage of the building;

- Planting is limited in the immediate vicinity of the building;

- Planting does not provide a continuous canopy to the building (i.e. trees or shrubs are isolated or located in small clusters);

- Landscape species are chosen to ensure tree canopy cover is less than 15% (IPA), and less than 30% (OPA) at maturity and trees do no touch or overhang buildings;

- Avoid species with rough fibrous bark, or which retain/shed bark in long strips or retain dead material in their canopies;

- Use smooth bark species of trees species which generally do not carry a fire up the bark into the crown;

- Avoid planting of deciduous species that may increase fuel at surface/ ground level (i.e. leaf litter);

- Avoid climbing species to walls and pergolas:

- Locate combustible materials such as woodchips/mulch, flammable fuel stores away from the building;

- Locate combustible structures such as garden sheds, pergolas and materials such as timber garden furniture away from the building; and

- Low flammability vegetation species are used.

- New construction must comply with section 3 and section 5 (BAL 12.5) of the Australian Standard AS3959-2018 Construction of buildings in bushfire-prone areas or the relevant requirements of the NASH Standard – Steel Framed Construction in Bushfire Areas (incorporating amendment A - 2015). New construction must also comply with the construction requirements in Section 7.5 of Planning for Bush Fire Protection 2019.

- Access roads for special fire protection purpose (SFPP) developments must comply with general requirements of Table 6.8b of Planning for Bush Fire Protection 2019:

- SFPP access roads are two-wheel drive, all-weather roads;

- access is provided to all structures;

- traffic management devices are constructed to not prohibit access by emergency services vehicles;

- access roads must provide suitable turning areas in accordance with Appendix 3 of Planning for Bush Fire Protection 2019; and

- one way only public access roads are no less than 3.5 metres wide and have designated parking bays with hydrants located outside of these areas to ensure accessibility to reticulated water for fire suppression.

- The provision of water, electricity and gas must comply with the following in accordance with Table 6.8c of Planning for Bush Fire Protection 2019:

- reticulated water is to be provided to the development where available;

- fire hydrant, spacing, design and sizing complies with the relevant clauses of Australian Standard AS 2419;

- hydrants are and not located within any road carriageway;

- reticulated water supply to urban subdivisions uses a ring main system for areas with perimeter roads;

- fire hydrant flows and pressures comply with the relevant clauses of AS 2419;

- all above-ground water service pipes are metal, including and up to any taps;

- where practicable, electrical transmission lines are underground;

- where overhead, electrical transmission lines are proposed as follows:

  - lines are installed with short pole spacing (30m), unless crossing gullies, gorges or riparian areas; and

  - no part of a tree is closer to a power line than the distance set out in accordance with the specifications in ISSC3 Guideline for Managing Vegetation Near Power Lines.

- reticulated or bottled gas is installed and maintained in accordance with AS/NZS 1596:2014 and the requirements of relevant authorities, and metal piping is used;

- reticulated or bottled gas is installed and maintained in accordance with AS/NZS 1596:2014 ‐ The storage and handling of LP Gas, the requirements of relevant authorities, and metal piping is used;

- all fixed gas cylinders are kept clear of all flammable materials to a distance of 10m and shielded on the hazard side;

- connections to and from gas cylinders are metal; polymer‐sheathed flexible gas supply lines are not used; and

- above-ground gas service pipes are metal, including and up to any outlets.

Fees, Charges and Contributions

Fixed Development Contributions

From the date this determination is made until payment, the amount of the contribution payable shall be indexed and adjusted at the close of business on:

- 14 August,

- 14 November,

- 14 February, and

- 14 May;

In each year in accordance with indexation provisions within the Section 7.12 Contributions Plan. The first date for indexation shall occur on the first abovementioned date after the Notice of Determination becomes effective.

The contribution payable shall be the amount last indexed and adjusted in accordance with the above. However, if no amount has been indexed and adjusted because the first date for indexation and adjustment has not arrived, the contributions payable shall be that contribution nominated below.

The contribution shall be paid to Council as follows:

- Development Applications involving subdivision – prior to the release of the Subdivision Certificate;

- Development Applications involving building work – prior to the release of the first Construction Certificate;

- Development Applications involving both subdivision and building work – prior to the release of the Subdivision Certificate or first Construction Certificate, whichever occurs first;

- Development Applications where no Construction Certificate or Subdivision Certificate is required – prior to the commencement of any construction work or prior to any occupation, whichever occurs first;

- Complying Development Certificates – prior to any work authorised by the application or certificate commencing.

It is the professional responsibility of the Certifying Authority to ensure the monetary contributions have been paid to Council in accordance with the above provisions.

Please note for payments made by cheque or electronic transfer – the release of any documentation shall be subject to the clearing of those funds.

Indexation details are available from Council’s Development Contributions Team.  A copy of the Section 7.12 Contributions Plan can be viewed on Council’s website, and at Council’s Administrative Building during Council’s normal business hours.

In accordance with the provisions of the Environmental Planning and Assessment Act 1979 – Section 7.12 and as at the date of this consent (and subject to indexation), the monetary contribution payable is:

TOTAL $212,004.85

Conditions to be satisfied prior to the issue of the Construction Certificate

The person having the benefit of the consent shall comply with each of the following conditions prior to the issue of a Construction Certificate.

Any documentation required to be submitted for the Construction Certificate shall be submitted to the Certifying Authority unless otherwise specified.

Stormwater Disposal - Stormwater Detention and Harvesting

A Stormwater Management Plan shall be submitted to the Principal Certifying Authority. The stormwater management plan shall be generally in accordance with the Civil Engineering Report by ACOR Consultants (Ref: NSW200040, dated 29/4/2021), but addressing differences between the report and the approved architectural plans.

The stormwater plans shall comply with the following:

- Stormwater shall be disposed of through a piped system designed in accordance with Australian Standard AS 3500 by a suitably qualified professional. The design shall be undertaken by a practising Civil Engineer deemed to be suitably experienced by Council and qualified so as to be accepted as a Member of the Institution of Engineers Australia or a Registered Surveyor deemed to be suitably experienced by Council shall be accepted as qualified to prepare plans for drainage works (excluding flood control structures and bridges). Qualifications demonstrating the above may be requested by Council. Stormwater detention measures shall be designed to ensure the development does not increase upstream or downstream flood levels for all recurrence intervals up to and including the 1% Annual Exceedance Probability.

- Detention storage shall be calculated and designed in accordance with Australian Rainfall and Runoff 2019 and the Lake Macquarie City Council guideline – Handbook for Drainage Design Criteria and shall conform to the specifications and standards contained in Development Control Plan 2014 Engineering Guidelines.

- Stormwater harvesting measures shall be designed in accordance with the Development Control Plan 2014 Water Cycle Management Guideline. Stormwater drainage plans shall include details of the harvesting system, including rainwater tank details, pump details and reticulation diagrams.

- Water quality measures shall be designed accordance with the Development Control Plan 2014 Water Cycle Management Guideline, specifically meeting the water quality targets identified within the guideline.

Interallotment Drainage Easement

An interallotment drainage easement two metres wide shall be created for the benefit of the Transport for NSW (TfNSW) to access their basin at no cost to Council or TFNSW.

The easement shall be registered on the title of the lots benefited and burdened by the easement under Section 88B of the Conveyancing Act 1919 as amended, and a copy of the registered Section 88B Instrument shall be provided to Council prior to the issue of the first Construction Certificate.

TfNSW shall be the party empowered to release, vary, or modify the easement.

Parking Areas and Access Ways

A design plan for parking areas and access ways shall be submitted. The design shall include pavement design, stormwater drainage, line marking and signage.

The design plan shall account for travel paths and swept paths for the largest service vehicle/bus should be provided.

The design shall meet the standards nominated in Development Control Plan 2014, Engineering Guidelines and Australian Standard AS2890. The design plan shall accommodate the required turning movements of the design service vehicles and buses.

Where the plan results in formed car parking spaces not being achieved in the same numerical value as shown on the approved plans, a formed parking area shall be constructed within the overflow car parking area to provide the same number of car parking spaces. Details shall be submitted to Lake Macquarie City Council for approval prior to the release of the construction certificate.

Retirement of Biodiversity Credits

Ecosystem credit retirement conditions

Prior to issue of the construction certificate or any works commencing on the site, whichever occurs first, the class and number of ecosystem credits in Table 1 shall be retired to offset the impacts of the development.

The requirement to retire credits outlined in Table 1 may be satisfied by payment to the Biodiversity Conservation Fund of an amount equivalent to the class and number of ecosystem credits, as calculated by the Biodiversity Offsets Payment Calculator.

Evidence of the retirement of credits or payment to the Biodiversity Conservation Fund in satisfaction of Table 1 requirements shall be provided to the Development Planner- Flora and Fauna of Lake Macquarie City Council prior to release of the construction certificate or any works commencing on the site, whichever occurs first.

Table 1: Ecosystem credits required to be retired – like for like

| Identified Plant Community Type (PCT) | Number of credits required | Hollow Bearing Trees | Vegetation Class Retirement options | IBRA Region |
| --- | --- | --- | --- | --- |
| PCT 1568 Blackbutt – Turpentine – Sydney Blue Gum mesic tall open forest on ranges of the Central Coast | 6 | No | North Coast Wet Sclerophyll Forest. This includes PCTs: 487, 613, 661, 684, 686, 692, 693, 694, 695, 699, 747, 748, 752, 812, 826, 827, 1073, 1208, 1217, 1222, 1237, 1244, 1245, 1257, 1259, 1260, 1261, 1265, 1266, 1282, 1284, 1285, 1504, 1561, 1562, 1563, 1566, 1567, 1568, 1569, 1572, 1573, 1575, 1579, 1841, 1843, 1915. | Wyong, Hunter, Pittwater and Yengo. Or, Any IBRA subregion that is within 100 kilometres of the outer edge of the impacted site. |

Vegetation and Fauna Management Plan and Implementation

A person qualified in natural vegetation management, ecology or bush regeneration shall prepare a Vegetation and Fauna Management Plan (VFMP) in consultation with Council’s Development Planner Flora and Fauna. The VFMP shall be prepared in accordance with the Lake Macquarie City Council Guideline for Vegetation Management Plans and include (but not limit to) the following minimum detail:

- Aims and objectives of the VFMP

- Identification of management zones in text and on a Site Plan, including:

  - identification of management actions and outcomes for each management zone;

  - Existing vegetation condition, structure and function, and weed densities.

- Baseline monitoring data captured for the purpose of the VFMP;

- Identification of monitoring plot locations on a Site Plan and through photographs;

- Weed distribution and assessment mapping;

- Proposed weed management strategies for each management zone;

- Proposed regeneration and revegetation actions for each management zone;

- Identification of proposed conservation fencing and signage locations on a plan and exampled of proposed conservation fencing and signage within the VFMP;

- Detail on management of edge effects;

- Hygiene protocols;

- Adaptive management actions;

- Detailed works schedule for a minimum period of five (5) years; and a

- Nest Box Management Strategy, including:

  - A Site Plan showing locations of installed nest boxes suitable for Forest Owls;

  - Photographic evidence of installed nest boxes;

  - Proposed monitoring actions for nest boxes;

The VFMP shall be submitted, to and approved by Council’s Development Planner Flora and Fauna prior to issue of the Construction Certificate.

Monitoring reports are to be provided to Council’s Development Planner Flora and Fauna for a minimum period of five (5) years.

Ausgrid Requirements

The written requirements of Ausgrid for the development shall be obtained and complied with.

Construction and Fit-out of Food Premises

Prior to the issue of any construction certificate involving fit-out works to the food premises, all plans and specifications shall demonstrate compliance with the Food Act 2003 and Food Regulations under the Act, and relevant Australian Standards:

- General Construction

The fit-out of areas used for food preparation, storage or display, shall comply with the requirements of the Food Act 2003, Food Regulation 2010, and Australian Standard AS4674 Design, construction and fit-out of food premises.

Note: Particular attention shall be paid to:

- Routing of plumbing and electrical conduit.

- Installation of hand wash basins and cleaners sinks.

- Construction of floors, walls and ceilings.

- Finishes of floors, walls and ceilings.

- Cool room construction.

- Installation of fixtures fittings and equipment.

- Toilet facilities and airlocks.

- Installation of light fittings.

- Installation of floor wastes.

- Ventilation and exhaust systems.

- Mechanical ventilation

Installation of any mechanical ventilation systems shall comply with the provisions of Part 2 of the Australian Standard AS1668.

- Partition wall construction

Any partition wall (that do not extend to the ceiling), sills or other ledges located within food preparation areas shall be splayed on top at an angle of 45 degrees to prevent storage of articles and reveal build-up of food waste, dirt, grease or other visible matter.

- Waste traps

Any bucket traps, grease traps and associated sewer connections shall be installed in accordance with the requirements of Hunter Water Corporation.

Construction Certificate

Prior to the commencement of building work or subdivision work, a Construction Certificate shall be obtained.

Note:	If the Construction Certificate is issued by a Certifying Authority that is not Council it shall be necessary to lodge the Construction Certificate and other approved documents with Council within two days of such approval. (Clause 142(2) Environmental Protection Authority Regulation 2000).

Erosion and Sediment Control

A final Erosion and Sediment Control Plan or Soil and Water Management Plan shall be submitted. The plan shall contain information required for the area of disturbance of the development or its distinct and separate stages in accordance with Development Control Plan 2014.

The final plan shall include a signed and dated Statement of Compliance stating (in full):

- This plan has been developed, certified and signed off by an appropriately qualified and experienced professional in erosion and sediment control;

- The plan complies with the requirements for the area of disturbance in accordance with Development Control Plan 2014;

- The plan and associated documents, calculations and drawings, have been prepared to a standard which, if properly implemented, shall achieve the water release criteria of 50mg/L of total suspended solids (TSS); and

- All erosion and sediment control measures are in accordance with Development Control Plan 2014.

Disability Access Design Audit

A disability access design audit which has been certified by an accredited access consultant shall be submitted, certifying the development’s compliance with the Building Code of Australia and the Disability Discrimination Act 1992 in relation to the provision of equity in access for disabled persons.

This certification shall be submitted to the Certifying Authority with the application for a Construction Certificate.

Acoustic Certification

Plans shall be certified as being designed in accordance with the approved Acoustic Report.

Noise limiting equipment shall be installed in the development. Plans and details certified by the acoustic consultant demonstrating this shall be submitted.

Garbage Storage Areas

Details of the garbage washing and bin storage area shall be submitted to Lake Macquarie City Council demonstrating:

- Adequate facilities provided in a screened location within the premises for the separate storage of recyclable, non-recyclable and putrescible material.

- The garbage washing and bin storage area constructed of, or lined with materials that are durable, impervious to moisture, and capable of being easily cleaned.

- Supply of hot and cold water.

- Area is roofed and the floor bunded, graded and drained to a sump connected to the sewer in accordance with the requirements of the Hunter Water Corporation.

Revised Landscaping Plans

Revised and updated landscaping plans are required to be submitted to Lake Macquarie City Council for approval.

Crime Prevention Through Environmental Design

Plans demonstrating the recommendations of the approved Crime Prevention Through Environmental Design (CPTED) report shall be submitted, certifying the development’s compliance with the report.

Conditions to be satisfied prior to the issue of the Public Works Certificate

The person having the benefit of the consent shall comply with each of the following conditions prior to the issue of the Public Works Certificate for works within the public domain.

A Public Works Certificate is issued under s138 of the Roads Act 1993.

Roadways and Drainage Works Standards

All works within the public domain shall be designed and constructed in accordance with the following publications (as amended or updated), as applicable:-

- Australian Rainfall and Runoff, 1987.

- Development Control Plan 2014 and supporting guidelines.

- AUSTROADS Guide to Road Design Guide.

- Roads and Maritime Services Delineation Guidelines.

- Managing Urban Stormwater documents (2004) by Landcom.

- The Constructed Wetlands Manual - Department of Land and Water Conservation, 1998.

- WSUD Technical Design Guidelines for South East Queensland.

- Healthy Waterways – Water by Design Guidelines.

- Australian Standards including, but not limited to:-

- AS1428 - Design for Access and Mobility, Part 1 General Requirements for Access and Part 4 Tactile Indicators,

- AS2890 - Off Street Parking

Where any inconsistency exists between these documents the relevant standard to be adopted shall be verified in writing with Council.

Public Works Certificate for Works

An application for a Public Works Certificate and the associated fee shall be submitted to Council.

The application shall include detailed engineering plans and specifications (including a Design Certification Report and Checklists in accordance with the Lake Macquarie City Council Engineering Guidelines) relating to the works.

Linemarking and Signposting

The engineering design plans submitted with the Public Works Certificate application shall include details of the linemarking and sign posting required, generally in accordance with Waratah Avenue Access Linemarking and Signage Plan by ACOR Consultants (Ref: NSW2000040, Dwg. No. SKC01, dated 26.08.21) and the linemarking changes proposed within the Traffic Impact Assessment by SECA Solution (dated 30 August 2021).

All regulatory linemarking and sign posting on public roads shall be submitted to Council's Traffic Facilities and Road Safety Committee for approval. The works shall not commence until approved by the Committee.

Intersection Upgrade

The engineering design plans submitted with the Public Works Certificate application shall show full details of the intersection of the access roadway and Waratah Avenue, including associated road pavement, road shoulders including drainage and adjustment to existing constructions in accordance with the provisions of the publications and standards identified in this consent.

The pavement design for the intersection shall include a geotechnical investigation to assess the capability of the existing pavement to accommodate any new turning movements and new traffic volumes. Any costs associated with the reconstruction and sealing of the existing pavement to meet the road design ESA's shall be borne by the developer.

Pavement Standards

Residential road pavements shall be designed in accordance with A Guide To The Design Of New Pavements For Light Traffic - AUSTROADS 2006. Main and industrial road pavements shall be designed in accordance with Pavement Design, A Guide to the Structural Design of Road Pavements - AUSTROADS 2012.

Designs for road pavements shall be prepared by a geotechnical consultant and shall be submitted to Council with the Public Works Certificate application.

Where work shall be undertaken within a classified Main Road the pavement design shall also be submitted to the Roads and Maritime Services for its approval prior.

Transport for NSW Approval Required

A Works Authorisation Deed shall be obtained from Transport for NSW for works on or impacting upon a Classified Road.

Compliance Certificate for Works

An application for a Compliance Certificate and the associated application fee shall be submitted to Council prior to the commencement of works identified on the respective Public Works Certificate.

Application Fees for Required Certificates

Applications for the following Certificates shall be submitted. For Council to process applications for these certificates the following fees shall be payable:

| Public Works Certificate | Please contact Council for fees | Plus $85 Archival Fee | (inc GST) |
| --- | --- | --- | --- |
| Compliance Certificate | Please contact Council for fees | Plus $85 Archival Fee | (inc GST) |

Applications for these certificates shall be lodged on the approved application form and be accompanied by the appropriate fee.

Where the development includes public domain construction works valued at $25,000.00 or more, the person having the benefit of the consent shall pay the Long Service Levy, as detailed in the Building and Construction Industry Long Service Payments Scheme. The Levy shall be paid prior to the issue of the Public Works Certificate. The Levy shall be paid directly to the Long Service Payments Corporation or to Council as agent for the Corporation. The Levy rate is 0.35% of the cost of building and construction works.

The above fees are current for the 2021/2022 financial year and are subject to change each financial year without notice. Confirmation of the relevant fee shall be obtained from Council prior to the lodgement of any application.

Bus Stop on Waratah Avenue Relocation

The engineering plans submitted with the Public Works Certificate shall include the relocation of the bus stop identified to be relocated on the Waratah Avenue Access Linemarking and Signage Plan by ACOR Consultants (Ref: NSW200040, Dwg. No. SKC01, dated 26.08.21).

Conditions to be satisfied prior to the commencement of works

The person having the benefit of the consent shall comply with each of the following conditions prior to the commencement of works.

Dilapidation Survey Report

A Dilapidation Report shall be submitted to Council and the Certifying Authority prior to any works, including demolition works, commencing. The report shall be prepared by an engineer or other suitably qualified person.

The report shall cover all properties and public land that adjoin the development or that could be potentially damaged by the works.

The report shall include a description of the location and nature of any existing observable defects to the properties and existing public infrastructure, including a photographic record.

Native tree and vegetation protective measures

Trees and native vegetation shall be retained and protected in accordance with Development Control Plan 2014 – Tree Preservation and Native Vegetation Management Guidelines (Section 6) and Australian Standard AS4970-2009 – Protection of Trees on Development Sites, unless they have been specifically identified for removal on the approved plans or documentation.

All reasonable measures shall be undertaken to protect trees and native vegetation on, and adjoining the site, that shall be retained from damage during construction. Such measures shall include, but not be limited to:

- Maintaining exclusion fencing around trees and vegetation that adjoins the construction area to minimise damage to vegetation that shall be retained.

For isolated trees that are to be retained within and immediately adjoining the site a 1.8-metre-high chain mesh fence shall be erected along the perimeter of each Tree Protection Zone, prior to works commencing and shall remain intact until construction is completed.

Exclusion fencing shall be sign posted to warn of its purpose (sign example under AS4970).

- Prohibiting compaction and the placement of fill within five metres of trees and native vegetation that shall be retained.

For isolated trees that are to be retained within and immediately adjoining the site, excavation shall be carried out by hand, with all care taken not to damage tree roots. If tree roots greater than 30mm are found during works that need to be severed, they shall be cut with a saw (not ripped) under the supervision of a suitably qualified AQF5 arborist or horticulturalist.

- Salvaging useable trees and shrubs which are felled for re-use, either in log form, or as woodchip mulch for erosion control and/or site rehabilitation. Non-salvageable material such as roots and stumps shall only be disposed of at an approved site.

- Any minor hand pruning of trees shall be carried out in accordance with Australian Standard AS4373-2007 – Pruning of Amenity Trees, by a suitably qualified AQF3 arborist or horticulturalist.

- Keeping all vehicles, construction materials and refuse within areas approved for buildings, structures, access ways and car parks.

- Limiting the number of access points.

- Notifying all contractors, sub-contractors, and personnel of vegetation protection requirements of this condition.

A separate application shall be made to Lake Macquarie City Council for the removal of any other trees or native vegetation. This includes application for the removal of any understorey vegetation or the stripping of ground cover vegetation that is outside those areas approved for construction.

Nest Box Installation

A qualified ecologist or wildlife carer shall supervise installation of nest boxes.

A minimum of two (2) nest boxes suitable for Large Forest Owls (i.e. Powerful Owl Ninox strenua) shall be installed:

- At least two weeks prior to clearing and maintained for five years;

- At least four metres above ground;

- Of a durable material (i.e.; marine ply or equivalent);

- Of a design that is consistent with NSW Government 2011, Biodiversity Guidelines: Protecting and managing biodiversity on RTA projects - Guide 8: Nest boxes, prepared by Roads and Traffic Authority, September 2011 and NSW Government 2008, Guidelines for the design, construction and placement of nestboxes, prepared by Department of Environment, Climate Change and Water, Biodiversity Conservation Section;

- At an orientation that is suitable for the species that the nest box has been designed. Micro bat nest boxes shall be orientated at a north to north westerly aspect. Bird and mammal boxes shall be orientated at an east facing aspect;

- In a manner that minimises damage to the trees and surrounding vegetation; and

- With a unique number affixed that can be read from the ground.

A plan shall be provided showing the location of nest boxes in relation to the development. The number affixed to the bottom of each nest box shall also be shown on the plan.

Details Required Prior to Commencement of Works within the Public Domain

Construction works within the public domain in accordance with this development consent shall not commence until a Minor Public Works or Public Works Certificate has been issued by Council

In accordance with Council's authority under Section 138 of The Roads Act 1993, a Private Certifier shall not issue a Minor Public Works or Public Works Certificate for any works within an existing public road. A Minor Public Works or Public Works Certificate application shall be lodged with Council for the works.

A fee for applications for Minor Public Works or Public Works Certificates shall be required to be paid in accordance with Council’s fees and charges.

Construction Management Plan/s for works within public road reserve and development site

Works within public domain

The contractor engaged to undertake the construction works within the public domain shall provide a Construction Management Plan (CMP) to Council, a minimum of seven days prior to commencing any works.  The CMP shall be submitted to the City Projects Department at the following email address projectmanagementpat@lakemac.nsw.gov.au.  The CMP shall be approved by Council prior to works commencing on site. The CMP shall set out the construction approach for the works and should seek to minimise disruption to the local community.

Works within development site

The contractor engaged to undertake the construction works within the development site shall provide a CMP to the satisfaction of the Certifying Authority, a minimum of seven days prior to commencing any works. The CMP shall be approved by the Certifying Authority prior to works commencing on site. The CMP shall set out the construction approach for the works and should seek to minimise disruption to the local community.

CMP’s

Both CMP’s must address the following, where required:

Health and Safety

- Public safety, amenity and site security,

- Traffic control and management,

- Pedestrian management,

- Construction hours,

- Noise control,

- Contractor vehicle parking,

- Locating existing utilities and services,

- Health and Safety requirements.

Environment

- Air quality management,

- Erosion and sediment control- base information, monitoring and management,

- Waste management,

- Material stockpiling,

- Vegetation management,

- No-go zones,

- Heritage management (if applicable).

Quality

- Submission of current insurance certificates,

- Work method description,

- Construction equipment to be used,

- Inspection and testing requirements,

- CCTV survey of pipework,

- Earthworks methodologies,

- Haulage routes,

- Retaining structure construction methodologies,

- Concrete jointing methodologies,

- Subsoil drainage installation methodologies,

- Stormwater drainage infrastructure installation methodologies,

- Stormwater Quality Improvement Device installation methodologies,

- Road construction methodologies,

- Accessways and footway construction methodologies,

- Landscaping installation methodologies,

- Utility and services installation methodologies,

- Construction and installation methodologies of other structures not otherwise covered above.

All works on site shall be undertaken in accordance with the approved CMP.

A copy of the approved CMP, and any conditions imposed on that plan, shall be kept on site at all times and made available to any officer of Council upon request.

Notice of Commencement of Works within the Public Domain

Construction works associated with a Public Works Certificate shall not commence until a meeting between the contractor and a representative of the Council or Certifying Authority has taken place on site.

In accordance with Section 6.12 of the Environmental Planning and Assessment Act the Council or Certifying Authority shall be given at least two days notice in writing prior to such meeting taking place.

The notice shall also include the names of the contractor undertaking construction and the developer's supervising officer.

Archaeological Test Excavation – PAD

The person having the benefit of the consent, shall ensure that Archaeological Test excavation of the identified PAD is carried out in accordance with the Code of Practice for Archaeological Investigation of Aboriginal Objects in New South Wales, as identified in the Aboriginal Archaeological Due Diligence Assessment by McCardle Cultural Heritage dated 15 July 2020. All topsoils removed shall be replaced on site after the test excavation has been completed.

A copy of the result of the site test investigations shall be provided to Council’s Heritage Planner, prior to any works in proximity of the PAD commencing, including vegetation clearing.

Should the investigations trigger the requirement for an Aboriginal Heritage Impact Permit (AHIP), the person having the benefit of the consent shall apply for an AHIP from the Department of Premier and Cabinet. A copy of the approved AHIP and associated Aboriginal Cultural Heritage Assessment Report (ACHAR) and/or Aboriginal Cultural Heritage Management Plan (ACHMP) shall be provided to Council’s Heritage Planner prior to any works in proximity of the PAD commencing, including vegetation clearing.

Notification to Neighbours

Written notification shall be provided to landowners and residents who live adjacent to the proposed development or who may be impacted by the proposed works. The notification shall be provided a minimum of seven days prior to commencement of works. The notification shall include the expected date of commencement of works and a brief description of the works.

Hoarding and Construction Site Safety Fencing

Construction site safety fencing and/or hoarding shall be provided in accordance with WorkCover requirements. Such fencing and/or hoarding shall be erected wholly within the property boundary unless prior approval from Council is obtained.

Council approval is required to install hoarding, site fencing or overhead protective structures over or adjoining a public place i.e. a footpath or a Public Reserve. No work shall commence until written approval is obtained.

Filling Importation and Compaction

Prior to works commencing, documentary evidence shall be provided to Council demonstrating the proposed fill material is either:

- Virgin excavated natural material (VENM) as defined under the provisions of the NSW Protection of the Environment Operations Act 1997; or

- The material is from a known origin and composition, free of contamination from manufactured chemicals, process residues, building debris, sulfidic ores, or other foreign matter; or

- Fill which has been characterised and validated by a suitably qualified and experienced site contamination consultant, in accordance with the NSW Office of Environment and Heritage publication Contaminated Sites - Sampling Design Guidelines dated September 1995.

Prior to works commencing, written certification from a suitably qualified geotechnical engineer that the material is suitable for the proposed use on the site, shall be provided to Council. Only that material certified by the geotechnical engineer shall be imported to the site.

Written details shall be kept of address of the origin of the fill; quantities, dates, and times of delivery from each location; registration numbers and driver’s identification details; and laboratory test results/consultants reports and available for inspection by the Certifying Authority or Council upon receipt of a written request.

Building Waste

An area for the containment of building waste materials shall be provided within the boundaries of the building site, above natural or excavated ground level, by a screened area of silt stop fabric or shade cloth, having minimum dimensions of 2.4 x 2.4 x 1.2 metres high OR equivalent size waste disposal bin.

Dial Before You Dig (Advice)

Prior to commencement of work, the free national community service “Dial Before You Dig” shall be contacted on 1100 regarding the location of underground services in order to prevent injury, personal liability and even death. Enquiries shall provide the property details and the nearest cross street/road.

Conditions to be satisfied during demolition and construction works

The person having the benefit of the consent shall comply with each of the following conditions during demolition and construction works.

Vegetation and Fauna Management Plan and Implementation

Implementation of the VFMP shall commence immediately upon any construction work commencing and shall be carried out in accordance with the VFMP approved schedule of works.

Removal of fauna habitat

A qualified ecologist or wildlife carer shall supervise clearing of fauna habitat. Prior to clearing of any vegetation, the ecologist is to inspect the area for any signs of

resident fauna and fauna habitat requiring attention including the threatened Powerful Owl (Ninox strenua) that may be roosting in dense vegetation on site and/ or trees with habitat hollows.

Removal of trees with habitat hollows and / or nests shall be undertaken at a time that minimises impact to fauna, particularly threatened fauna such as the Powerful Owl (Ninox strenua) that could breed and or roost within proximity of the site (i.e. preferably October to March).

In the event the pre-clearing survey identifies any habitat features or resident fauna, a

staged approach to clearing is to be undertaken to provide fauna the opportunity to

disperse outside the area of impact, this would include:

- Phase 1 Clearing: Under scrubbing (minimal due to sparse shrub layer);

- Phase 2 Clearing: Removal of non-habitat trees, and

- Phase 3 Clearing: Removal of connecting vegetation and habitat trees.  Removal of habitat trees is to be supervised by the ecologist.

Any hollow-bearing trees shall be felled in one to two metre sections, beginning at the top of the crown. Lengths cut from the trees shall be in a manner that shall preserve the hollows with each section inspected and appropriately treated to minimise impact to fauna. Where habitat trees are removed compensatory nest boxes are to be installed at a ratio of 1:1 and of a design suitable for species potentially impacted.

Written confirmation of the above is to be provided to Councils Development Planner Flora Fauna prior to issue of the construction certificate.

Aboriginal Heritage

The person having the benefit of the consent shall notify any contractors and persons involved in undertaking subsurface disturbance works, that it is an offence under Section 86 of the National Parks and Wildlife Act 1974 to harm or desecrate an Aboriginal object unless that harm or desecration is subject of an approved Aboriginal Heritage Impact Permit (AHIP).

Should any objects be discovered, all excavations or disturbance to the area shall cease immediately and the Department of Premier and Cabinet - Heritage NSW shall be notified.

All necessary approvals shall be obtained from the Department of Premier and Cabinet - Heritage NSW and copies provided to Council prior to works recommencing.

Noise - Construction Sites

The operating noise level of construction site operations, including machinery, plant and equipment when measured at any affected premises, shall be evaluated and comply with the requirements of the NSW Office of Environment and Heritage publication Interim Construction Noise Guideline July 2009.

Approved Construction Times

- The approved hours for construction of this development are –

Monday to Friday - 7.00am to 6.00pm.

Saturday – 8am to 1pm.

- No construction work shall take place on Sundays or Public Holidays.

Construction Periods in Excess of 26 Weeks

- If the construction period is in excess of 26 weeks, a Noise Management Plan shall be provided to Council prior to the issue of the first construction certificate. Such plan shall be prepared with the assistance of a suitably qualified acoustic engineer, indicating whether the use of machinery, plant and equipment during those operations can be completed without causing offensive noise (as defined in the Protection of the Environment Operations Act 1997) in the neighbouring area. The Noise Management Plan shall be complied with at all times during the construction period and shall identify any mitigation measures to control noise, noise monitoring techniques and reporting methods, likely potential impacts from noise and a complaints handling system.

- Operational times may be amended with the written advice of Council’s General Manager or delegate.

Traffic Control Standards

For the duration of work being carried out as part of this development, traffic control shall be undertaken in accordance with the requirements of Australian Standards AS 1742 - Manual Uniform Traffic Control Services – Parts 1, 2 and 3.

Erosion and Sediment Control

All erosion and sediment controls shall be appropriately managed throughout the development to prevent pollution until the land is considered erosion resistant.

Any pollution from site shall be cleaned up immediately and appropriate repairs made to onsite controls.

All disturbed areas shall be revegetated or rendered erosion resistant in accordance with Development Control Plan 2014Guidelines – Erosion Prevention and Sediment Control Guidelines as soon as practical, and no later than the timeframes specified in Managing Urban Stormwater: Soils and Construction The Blue Book 4th Edition, Landcom, 2004.

Topsoil shall only be stripped from approved areas. It may be stockpile onsite for re-use during site rehabilitation and landscaping. Stockpiles of any material including but not limited to, soil, sand, aggregate, and spoil, stored on the site that is capable of being moved by water shall be stored clear of any drainage line or easement, natural watercourse, footpath, kerb, and/or road surface. Suitable erosion and sediment controls shall be installed. The stockpile shall be treated so its surface is resistant to water and wind erosion. No stockpiles shall be located on the public footpath or road reserve without prior written approval from Council.

Vegetation and Tree Removal

Vegetation and trees may be removed only in accordance with the approved plans and documentation.

All other vegetation and trees on the site, and on adjoining sites shall be retained and protected in accordance with Development Control Plan 2014 – Tree Preservation and Native Vegetation Management Guidelines (Section 6) and Australian Standard AS4970-2009 – Protection of Trees on Development Sites.

A separate application shall be made to Council for the removal or lopping of any other native tree or trees on the property.

All reasonable measures shall be undertaken to protect trees and native vegetation on, and adjoining the site, that shall be retained from damage during construction, and comply with tree protection measures recommended in the approved Arborist Report.

Excavation and Retaining

Only retaining walls indicated on the approved plans shall be constructed under this consent.

No additional excavation/fill shall occur outside the area as shown on the approved plans.

No fill or retaining walls shall be located within any drainage easement located upon the subject property.

Retaining walls, footings and associated drainage works shall be located wholly within the subject property boundaries and shall be connected to the existing stormwater system or other approved stormwater system on the subject property.

Building Waste

The enclosure or bin shall be maintained for the term of the construction to the completion of the development.

The enclosure or bin shall be regularly cleaned to ensure proper containment of the building wastes generated on the site.

Unobstructed Footpath Access

The person having the benefit of the consent shall maintain unobstructed footpath access within the public road reserve at all times. Building materials shall not be placed or stored within the road reserve.

In the case of sites where it is not possible to keep the footpath or road reserve clear during construction works written approval from Council shall be obtained prior to any closing of the road reserve or footpath area. The closure shall take place in accordance with Council’s written approval. The area shall be signposted and such signposting be maintained in a way that ensures public safety at all times.

Site Amenities

Toilet facilities shall be available or provided at the work site before works begin and shall be maintained until the works are completed at a ratio of one toilet plus one additional toilet for every 20 persons employed at the site.

Each toilet shall:

- be a standard flushing toilet connected to a public sewer, or

- have an approved on-site effluent disposal system under the Local Government Act 1993, or

- be a temporary chemical closet.

Removal, Management and Transportation of Fill

All excavated fill material that shall be removed from the site shall only be distributed to:

- A NSW Office of Environment and Heritage licensed waste disposal facility. A copy of the receipts from the waste disposal facility shall be kept and shall be provided to the Certifying Authority prior to the issue of the Final Occupation Certificate, or authorised officer of Council upon request; or

- A site which has a current development consent for the importation of fill material. A copy of the current development consent for the site to which the material is proposed to be distributed shall be provided to the Certifying Authority prior to the issue of the Final Occupation Certificate, or authorised officer upon request.

All removed excavated material shall be transported and disposed of in accordance with the NSW Office of Environment and Heritage guidelines applicable at the time of removal.

Dust Suppression

During the extraction, removal, and transportation of material associated with the works, the person having the benefit of the consent shall ensure that airborne dust is contained within the work site or transport vehicles, and does not impact on the amenity of the surrounding environment.

Effective environmental controls and practices shall be implemented and maintained to the satisfaction of Council or the Certifying Authority.

Construction Site Vibration

Vibration on surrounding land from construction site operations shall comply with the Office of Environment and Heritage publication Assessing Vibration: a technical guideline February 2006.

Conditions to be satisfied prior to issue of an Occupation Certificate

The person having the benefit of the consent shall comply with each of the following conditions prior to the issue of the Occupation Certificate, Interim or Final, as stated in each condition.

Stormwater Disposal - Stormwater Detention and Harvesting

All drainage works shall be carried out in accordance with the approved Construction Certificate plans.

Prior to the issue of an Interim or Final Occupation Certificate, whichever comes first, a Works As Executed Plan shall be prepared by a surveyor and submitted to the Certifying Authority that demonstrates compliance with the approved Construction Certificate. If there are any changes from the Construction Certificate these shall be highlighted in a different colour on the plan and certification shall be provided from the design engineer the changes do not affect the stormwater design outcomes.

Provision of Drainage Easement

An easement to drain water shall be created at no cost in favour of Lot 1 DP 787430 over the drainage line identified on the stormwater management plan approved with the Construction Certificate.

The easement shall be registered on the title of the lot under Section 88B of the Conveyancing Act 1919 as amended. A copy of the registered Section 88B Instrument shall be provided to Council prior to the issue of an interim or final occupation certificate, whichever occurs first.

Council shall be the authority with the power to release, vary or modify the terms of the easement.

Dilapidation Survey Report

A final Dilapidation Report shall be prepared by an engineer or suitably qualified person at the completion of the works. The report shall identify if any structural or cosmetic damage has occurred to the properties specified in the earlier report. A copy of the report shall be submitted to Council, the Certifying Authority and owners of potentially affected properties and public infrastructure. Any identified damage shall be repaired prior to the issue of the Final Occupation Certificate.

Fix Damage Caused by Construction Works

Any damage to a public road or associated structures caused as a consequence of the construction works shall be made good to the satisfaction of Council.

Any disused kerb and gutter and footpath crossing shall be removed and replaced with full kerb and gutter in accordance with Council's standards.

These works shall be undertaken prior to the issue of the Final Occupation Certificate.

Tactile Indicators

Prior to the issue of an interim or final occupation certificate, whichever occurs first, the development shall have tactile indicators installed in accordance with AS 1428.4.

Note:	The areas of the development to have tactile indicators installed are varied and include kerb ramps and footpaths along the street frontage; carpark pedestrian crossings (street frontage and internal); lifts; stairways and ramps.

Consolidation of Lots

Lots subject to this development consent shall be consolidated and registered at the NSW Land Registry Services and a copy of the registered plan shall be provided to Council.

Parking Areas and Access Ways

All parking areas and access ways shall be fully constructed and sealed in accordance with the approved Construction Certificate plans, prior to the issue of the Interim or Final Occupation Certificate, whichever comes first.

Vegetation and Fauna Management Plan and Implementation

Written approval from Council’s Development Planner Flora and Fauna shall be submitted to the Certifying Authority demonstrating that VFMP outcomes, including the VFMP works schedule and nest box requirements have been met, prior to the issue of the Final Occupation Certificate.

Works Within a Public Road Reserve

Where a road surface has been disturbed or damaged the calculated road restoration fee shall be paid to Council. Evidence shall be provided the relevant fee has been paid prior to the issue of the Final Occupation Certificate.

Certification of Food Premises Fit-out

Prior to the issue of an Occupation Certificate the food premises shall be inspected by a suitably qualified person who shall certify the premises, including the construction and installation of all equipment, fixtures, fittings and finishes therein, complies with the Food Act 2003, Food Regulation 2010, and Australian Standard AS 4674 Design, construction and fit-out of food premises.

The food business shall be registered with Council under the provisions of the NSW Food Act 2003. Registration shall be completed prior to the business commencing trade. Registration can be completed on Council’s website.

Works as Executed Plan – Public Works Certificate

An electronic copy of the Works as Executed Plans, certified by the Consulting Civil Engineer or Registered Surveyor supervising the works shall be supplied to Council.

The Works as Executed Plan shall, in addition to construction details, show limits and depths of filling, locations of service conduits and street names.

Compliance Certificate for Public Works Certificate

All public domain construction works required for the development shall be completed and a Compliance Certificate shall be obtained for these works. The Compliance Certificate shall certify that all public domain construction works and associated development have been constructed in accordance with this Development Consent, the Public Works Certificate and all other standards specified in this consent.

Occupation Certificate

The development shall not be occupied or used prior to the issuing of an Occupation Certificate by the Certifying Authority.  Where an Interim Occupation Certificate has been issued, only that part of the building to which the Certificate applies may be occupied or used.

Car Parking

All car parking spaces, line marking and signage shall be completed prior to the issue of an Occupation Certificate.

Bicycle Parking Racks

Secure bicycle parking/storage shall be provided on the site adjacent to the entry to the building.

The installation and dimensions of the bicycle parking/storage shall be in accordance with the Austroads Cycling Aspects of Austroads Guides and Australian Standard AS2890.3:1993.

These works shall be completed prior to the issue of the Final Occupation Certificate.

Landscape Works

At the completion of landscape works, the consulting landscape architect who prepared the approved landscaping documentation, as required by these conditions of consent, shall submit to the Certifying Authority a Landscape Compliance Report.

This report shall certify shrub and tree species, pot size, and planting densities and landscape area setout comply with approved documentation and practical completion of the landscaping works has occurred.

Boundary Fencing

Palisade fencing shall installed around the perimeter of the site.

All costs associated with the removal and replacement of any fence shall be borne by the person with the benefit of the consent and not the relevant neighbouring property owners.

14 days written notice shall be given to the relevant neighbouring property owner of the intention to erect the boundary fencing.

Removal, Management and Transportation of Fill

For all excavated fill material that has been removed from the site during construction:

- A copy of the receipts from the waste disposal facility shall be kept and provided to the Certifying Authority prior to the issue of the Final Occupation Certificate, or authorised officer of Council upon request; or

- A copy of the current development consent for the site to which the material has been distributed shall be provided to the Certifying Authority prior to the issue of the Final Occupation Certificate, or authorised officer upon request.

Acoustic Certification

Prior to the issue of an Occupation Certificate, written confirmation shall be provided from a suitably qualified acoustic consultant certifying works have been completed in accordance with the recommendations of the Acoustic Report prepared for the development and the development is capable of operating in accordance with the design criteria.

Noise – Ongoing Operation of Machinery, Plant and Equipment

Certification from a suitably qualified acoustic consultant shall be submitted prior to the issue of an Interim or Final Occupation Certificate, whichever occurs first, demonstrating the Laeq (15 minute) operating noise level of machinery, plant, equipment, or any other operational noise source, when measured at the boundary of another premises, complies with either the amenity or intrusiveness criteria calculated in accordance with the NSW Environment Protection Authority Noise Policy for Industry 2017.

Noise Management Plan

A Noise Management Plan (NMP) prepared by an appropriately qualified acoustic consultant shall be submitted to Lake Macquarie City Council for approval.

The NMP should incorporate all management principals outlined in the approved Acoustic Report, and also include a training module to support ongoing implementation of the approved outcomes.

Traffic restrictions to western access

Access to the western entrance/exit of site from the Newcastle Inner City Bypass (NICB) on-ramp between 4 pm and 6 pm on weekdays is not permitted.

During these times, the following arrangements will apply:

- access will be from Waratah Avenue only

- ingress from the NICB on-ramp will be prohibited

- egress onto the NICB on-ramp will be permitted.

Details demonstrating how this arrangement will be implemented shall be submitted to Lake Macquarie City Council for approval.

Measures may include gates preventing access, signage on all approaches to the stadium identifying access restrictions, member awareness packages, social media bulletins, and the like.

No stopping signage

“No Stopping” signage shall be installed to the Newcastle Inner City Bypass on-ramp in accordance with the requirements of the relevant road authority.

Positive covenant for water quality device maintenance

A maintenance schedule for the water quality device(s) approved on the stormwater management plan submitted for a Construction Certificate by shall be completed by a suitably qualified engineer.

The maintenance schedule shall outline the required maintenance and timing intervals (e.g. monthly, quarterly etc).

A positive covenant shall be placed on title requiring the owner of the land to undertake periodic maintenance for the water quality device(s) in accordance with the above maintenance plan.

Note: 	If during detailed design stage the water quality devices are substituted for a similar product the maintenance plan shall reference the adopted devices.

Conditions to be satisfied prior to the commencement of operations or use

The person having the benefit of the consent shall comply with each of the following conditions prior to the commencement of operations or use.

Event Management Plan

An event management plan (EMP) shall be submitted to Lake Macquarie City Council for approval prior to the operation of the first event. No events shall be held until the EMP has been approved.

The EMP shall consider at a minimum:

- Event Management Plan

- Communication Plan

- Traffic and Car Parking Management Plan, including on-site and off-site parking arrangements

- Pedestrian Management Plan, including wayfinding signage

- Traffic Control Plan

- Acoustic Management Plan

- Crime Risk Assessment

Following the approval of the first EMP, prior to each event, a specific EMP shall be in place for that event.

All EMPs shall be reviewed and updated after each event incorporating all lessons learnt and any agreed recommendations/ amendments.

Operational Conditions

The person having the benefit of the consent shall comply with each of the following conditions during the operation of the development.

Vegetation and Fauna Management Plan and Implementation

Annual monitoring statements shall be provided to Council’s Development Planner Flora and Fauna for a minimum period of five (5) years verifying compliance with the VFMP. Outcomes of the VFMP shall be maintained in perpetuity.

Nest boxes

Nest boxes shall be monitored by a qualified ecologist to determine their usage and repairs or replacement (as required). Monitoring shall be carried out on an annual basis for a minimum period of three years following installation and/or as otherwise agreed with Lake Macquarie City Council.

Use and Allocation of Car Parking

The car parking provided shall only be used in conjunction with the uses contained within the development and except as provided for in these conditions, shall not be used other than by an occupant or tenant of the development.

A minimum of 355 car parking spaces shall be provided on the site. At least 258 of these spaces must be formed (i.e. bitumen) and the remaining may be in an alternate corm (i.e overflow).

A minimum of 10 motorbike parking spaces shall be provided.

The use of the site during a designated event shall be in accordance with the approved event management plan for that event.

No spaces shall be marked, signposted or otherwise identified as being for the sole use of staff only.

No spaces shall be fitted with any equipment serving to render the car park inaccessible at any time, such as bollards, roller doors, or the like.

Landscape Works

All landscape works required under this consent shall undergo an establishment maintenance period of a minimum of 52 weeks.

All landscaping shall then be permanently maintained in good condition in accordance with the approved landscape plan and the adopted Development Control Plan 2014 Guidelines – Landscape Design Guidelines.

Hours of Operation

Following commencement of occupation, the premises shall operate or trade only between 7am to 10pm.

Other internal operations such as cleaning, preparation, and office administration may be undertaken outside of the above hours provided no disturbance to the amenity of the neighbourhood occurs.

Lighting

Any lighting shall be installed to comply with Australian Standard AS/NZS4282-2019.

Onsite Loading Facility

The on-site loading facility shall be kept clear of goods and is not permitted to be used for any storage purposes, including garbage storage.

All loading operations associated with servicing the site, shall be carried out within the boundaries of the site, and shall not obstruct other properties, access driveways, public roads or footpaths.

Noise – Ongoing Operation of Machinery, Plant and Equipment

The Laeq (15 minute) operating noise level of machinery, plant, equipment, or any other operational noise source, when measured at the boundary of another premises, shall comply with either the amenity or intrusiveness criteria calculated in accordance with the NSW Environment Protection Authority Noise Policy for Industry 2017.

For assessing amenity criteria, the area shall be categorised in accordance with the guidelines outlined in Chapter 2 of that Policy.

Acoustic Certification

At 90 days of operation a suitably qualified acoustic consultant shall test, measure and certify the development is operating, at that time, in accordance with the approved Acoustic Report.

Noise – Entertainment – restriction on amplified music in function room

No amplified music is permitted in the first floor function room.