19 May 2022

| Contact: | Ms J F Ryl - Mr R Forbes |
| --- | --- |
| Our Ref: | DA 8/2021/21158/1 |
| Your Ref: | PPSHCC 77 |

PPSHCC–77 Seniors Housing Development - Request Amendment to Conditions attached to Determination at Schedule 2.

Ref: Development Application No 8/2021/21158/1

Applicant: DFP Planning/Sencia Holdings Huntlee Pty Ltd On behalf of J & G Knowles and Associates Pty Ltd

Description of Development – Phased Construction of Seniors Housing Development providing 206 Self-Contained Dwellings, Boundary adjustment, Associated Recreational Facilities, Roads, Stormwater Infrastructure, Landscaping and Signage.

Property – LOT: 490 DP: 1212110, LOT: 491 DP: 1212110, LOT: 1776 DP: 1256914 97 Kesterton Rise NORTH ROTHBURY, 107 Kesterton Rise and 1864 Wine Country Drive BRANXTON

I refer to the above development application, lodged with Council for consideration by the Hunter and Central Coast Region Regional Planning Panel at the meeting held 21 April 2022. A determination was issued on 16 May 2022 by Central Coast and Hunter Region Planning Panel.

It is noted that in the time between the determination meeting held on 21 April 2022 and the determination being issued held on 16 May 2022 a CPI release occurred.

As a result a number of conditions imposed in accordance with Schedule 2 are subsequently requested to be amended due to the date of consent falling after the CPI release date.

In addition, it has been ascertained that an administrative error has occurred when Council has provided the amended tracked changes to the proposed conditions with the supplementary information following the Meeting held on the 21 April 2022.  It would appear that an earlier revision of the proposed conditions was utilised and as a result the conditions document provided did not include the conditions which had been subject to review by the Applicant and Council’s agreed amendments which were undertaken prior to the conditions being uploaded to the NSW Planning Portal with the Assessment Report (at Appendix B).

The following table outlines the changes which are requested (in line with the conditions as proposed by Appendix B) and updated Development Contribution rates to be considered prior to Council preparing the determination documents.

Please note that in addition to the below an amended set of conditions has been supplied for consideration.

| Condition Number | As proposed by Schedule 2 of Determination | Amendment proposed |
| --- | --- | --- |
| 2 | Boundary adjustment plan located in the Approved Documents Table rather than approved Plans. Response to Request for Information dated 28 July 2021 (superseded) contained within Approved Documents Table | Relocation of Boundary Adjustment Plan to the Approved Plan List and inclusion of Surveyors Reference Number. Deletion of the Superseded Response to Request for Information dated 28 July 2021 from the approved document list as this is irrelevant and was removed from the proposed conditions uploaded at Appendix B to Assessment Report. |
| 3 | Works to be carried out in Sequential Order The development shall be carried in the numerically consecutive stages as shown on the approved staging plans. | 3. Works to be carried out in Sequential Order The development shall be carried in the numerically consecutive stages as shown on the approved staging plans. Consecutive phases of the development may be constructed concurrently. |
| 10 | Local Traffic Committee Approval Any application involving the installation of, or amendment to, regulatory signage, linemarking and/or traffic control devices, will require approval of the Council Local Traffic Committee. Full details shall be submitted to council for approval by the Council Local Traffic Committee, prior to the issue of a CC, and subsequent Section 138 Roads Act Approval. | Condition to be provided at Condition 70 and 139 relating to specific Phases of the development where connection to the external road network is required. The wording for each condition is unchanged, the proposed location of the condition in specific phases (1 and 15) removes the unnecessary condition to be complied with at all phases – where no road works are proposed which would impact on the public road network. Subsequently, some numbering is amended however this does not impact on Conditions where other specific conditions are referenced. |
| 23 | Mail Boxes A mail collection/sorting room shall be provided at the community facility (interim/clubhouse) within the property boundaries and clearly display individual unit numbers and the required house number. Details submitted in association with the CC application are to demonstrate compliance with this requirement. The details must be approved by the Certifier as satisfying this requirement prior to the issue of a CC. | Condition to be provided at Condition 73 and 87 relating to specific Phases of the development where the community facilities are to be provided (being the interim and permanent clubhouse) The wording for each condition is unchanged, the proposed location of the condition in specific phases (1 and 3) removes the unnecessary condition to be complied with at all phases, applies to the development of the community facility buildings which are to be provided in association with works in Phase 1 and 3 only. |
| 26 | Landscaping – Fencing The Fencing Plan prepared by Hamilton Landscape Architects Pty Ltd, dated 15/10/2021 must be amended to ensure that fencing provided on the northern boundary is of a solid material to attenuate external noise generated by the Hunter Expressway. Evidence of this must be submitted to and approved by the Certifier as satisfying this requirement prior to the issue of a CC. | Propose deletion this condition was reviewed prior to the determination meeting and was not proposed by Conditions contained at Appendix B of Record of Assessment. Request amendment to reflect the condition as was proposed in Appendix B to Assessment Report, external fencing requirement contained in proposed Condition 22 Crime Prevention Through Environmental Design which in part states: g) External boundary proposed solid fencing is to be constructed from a vandal resistant material, and not be constructed of Colorbond or timber materials. |
| 52 | Parking – Kerb/Dwarf Wall Kerbing or dwarf walls, having a minimum height of 150mm, shall be constructed along the edge of all garden areas, or lawn areas adjacent to driveways and parking bays, sufficient to discourage the encroachment of vehicles thereon. Construction shall be completed prior to the issue of an OC for each relevant stage. | Visitor Parking – Wheel Stops/Kerb/Dwarf Wall Wheel stops, kerbing or dwarf walls, having a minimum height of 150mm, shall be constructed along the edge of all garden areas, or lawn areas adjacent to driveways and parking bays, sufficient to discourage the encroachment of vehicles thereon. Construction shall be completed prior to the issue of an OC for each relevant stage. |
| 57 | Completion of Driveway Access Crossing The driveway access crossing is to be prior to the issue of an OC. | 57. Completion of Dwelling Driveway Access Crossing The driveway access crossing is to be constructed to each proposed dwelling prior to the issue of an OC. |
| 101 | Community Building (Interim) The Interim Community Building shall not cease operating until the permanent Community Building (Clubhouse) is issued with an OC and is operational. The Interim Community Building shall not service more than seventy-two (72) self-contained dwellings associated with the development. The permanent Community Building (Clubhouse) is required to be operational prior to any additional self-contained dwellings becoming occupiable. | Community Building (Interim) The Interim Community Building shall not cease operating until the permanent Community Building (Clubhouse) is issued with an OC and is operational. The Interim Community Building shall not service more than seventy-seven (77) self-contained dwellings associated with the development. The permanent Community Building (Clubhouse) is required to be operational prior to any additional self-contained dwellings becoming occupiable. |
| The following are the proposed amendments to the calculated development contributions: |  |  |
| 69 | Cessnock City Wide Development Contributions Plan – Phase 1 Branxton-Greta District Catchment. Contribution Type; Per villa; Amount Payable. Open Space and Recreation Facilities; $1,977.91; $3,955.82. Community Facilities; $722.58; $1,445.16. Cycleway Facilities; $1,084.90; $2,169.80. Roads and Traffic; $596.93; $1,193.86. Plan Administration; $65.76; $131.52. Total; $4,448.08; $8,896.16. | Cessnock City Wide Development Contributions Plan – Phase 1 Branxton-Greta District Catchment. Contribution Type; Per villa; Amount Payable. Open Space and Recreation Facilities; $2,084.05; $4,168.10. Community Facilities; $761.36; $1,522.72. Cycleway Facilities; $1,143.12; $2,286.24. Roads and Traffic; $628.96; $1,257.92. Plan Administration; $69.29; $138.58. Total; $4,686.78; $9,373.56. |
| 77 | Cessnock City Wide Development Contributions Plan – Phase 2 Branxton-Greta District Catchment. Contribution Type; Per Villa; Amount Payable. Open Space and Recreation Facilities; $1,977.91; $45,491.93. Community Facilities; $722.58; $16,619.34. Cycleway Facilities; $1,084.90; $24,952.70. Roads and Traffic; $596.93; $13,729.39. Plan Administration; $65.76; $1,512.48. Total; $4,448.08; $102,305.84. | Cessnock City Wide Development Contributions Plan – Phase 2 Branxton-Greta District Catchment. Contribution Type; Per villa; Amount Payable. Open Space and Recreation Facilities; $2,084.05; $47,933.15. Community Facilities; $761.36; $17,511.28. Cycleway Facilities; $1,143.12; $26,291.76. Roads and Traffic; $628.96; $14,466.08. Plan Administration; $69.29; $1,593.67. Total; $4,686.78; $107,795.94. |
| 82 | Cessnock City Wide Development Contributions Plan – Phase 3 Branxton-Greta District Catchment. Contribution Type; Per Villa; Amount Payable. Open Space and Recreation Facilities; $1,977.91; $7,911.64. Community Facilities; $722.58; $2,890.32. Cycleway Facilities; $1,084.90; $4,339.60. Roads and Traffic; $596.93; $2,387.72. Plan Administration; $65.76; $263.04. Total; $4,448.08; $17,792.32. | Cessnock City Wide Development Contributions Plan – Phase 3 Branxton-Greta District Catchment. Contribution Type; Per villa; Amount Payable. Open Space and Recreation Facilities; $2,084.05; $8,336.20. Community Facilities; $761.36; $3,045.44. Cycleway Facilities; $1,143.12; $4,572.48. Roads and Traffic; $628.96; $2,515.84. Plan Administration; $69.29; $277.16. Total; $4,686.78; $18,747.12. |
| 93 | Cessnock City Wide Development Contributions Plan – Phase 4 Branxton-Greta District Catchment. Contribution Type; Per Villa; Amount Payable. Open Space and Recreation Facilities; $1,977.91; $41,536.11. Community Facilities; $722.58; $15,174.18. Cycleway Facilities; $1,084.90; $22,782.90. Roads and Traffic; $596.93; $12,535.53. Plan Administration; $65.76; $1,380.96. Total; $4,448.08; $93,409.68. | Cessnock City Wide Development Contributions Plan – Phase 4 Branxton-Greta District Catchment. Contribution Type; Per villa; Amount Payable. Open Space and Recreation Facilities; $2,084.05; $43,765.05. Community Facilities; $761.36; $15,988.56. Cycleway Facilities; $1,143.12; $24,005.52. Roads and Traffic; $628.96; $13,208.16. Plan Administration; $69.29; $1,455.09. Total; $4,686.78; $98,422.38. |
| 97 | Cessnock City Wide Development Contributions Plan – Phase 5 Branxton-Greta District Catchment. Contribution Type; Per Villa; Amount Payable. Open Space and Recreation Facilities; $1,977.91; $25,712.83. Community Facilities; $722.58; $9,393.54. Cycleway Facilities; $1,084.90; $14,103.70. Roads and Traffic; $596.93; $7,760.09. Plan Administration; $65.76; $854.88. Total; $4,448.08; $57,825.04. | Cessnock City Wide Development Contributions Plan – Phase 5 Branxton-Greta District Catchment. Contribution Type; Per villa; Amount Payable. Open Space and Recreation Facilities; $2,084.05; $27,092.65. Community Facilities; $761.36; $9,897.68. Cycleway Facilities; $1,143.12; $14,860.56. Roads and Traffic; $628.96; $8,176.48. Plan Administration; $69.29; $900.77. Total; $4,686.78; $60,928.14. |
| 102 | Cessnock City Wide Development Contributions Plan – Phase 6 Branxton-Greta District Catchment. Contribution Type; Per Villa; Amount Payable. Open Space and Recreation Facilities; $1,977.91; $21,757.01. Community Facilities; $722.58; $7,948.38. Cycleway Facilities; $1,084.90; $11,933.90. Roads and Traffic; $596.93; $6,566.23. Plan Administration; $65.76; $723.36. Total; $4,448.08; $48,928.88. | Cessnock City Wide Development Contributions Plan – Phase 6 Branxton-Greta District Catchment. Contribution Type; Per villa; Amount Payable. Open Space and Recreation Facilities; $2,084.05; $22,924.55. Community Facilities; $761.36; $8,374.96. Cycleway Facilities; $1,143.12; $12,574.32. Roads and Traffic; $628.96; $6,918.56. Plan Administration; $69.29; $762.19. Total; $4,686.78; $51,554.58. |
| 106 | Cessnock City Wide Development Contributions Plan – Phase 7 Branxton-Greta District Catchment. Contribution Type; Per Villa; Amount Payable. Open Space and Recreation Facilities; $1,977.91; $35,602.38. Community Facilities; $722.58; $13,006.44. Cycleway Facilities; $1,084.90; $19,528.20. Roads and Traffic; $596.93; $10,744.74. Plan Administration; $65.76; $1,183.68. Total; $4,448.08; $80,065.44. | Cessnock City Wide Development Contributions Plan – Phase 7 Branxton-Greta District Catchment. Contribution Type; Per villa; Amount Payable. Open Space and Recreation Facilities; $2,084.05; $37,512.90. Community Facilities; $761.36; $13,704.48. Cycleway Facilities; $1,143.12; $20,576.16. Roads and Traffic; $628.96; $11,321.28. Plan Administration; $69.29; $1,247.22. Total; $4,686.78; $84,362.04. |
| 110 | Cessnock City Wide Development Contributions Plan – Phase 8 Branxton-Greta District Catchment. Contribution Type; Per Villa; Amount Payable. Open Space and Recreation Facilities; $1,977.91; $19,779.10. Community Facilities; $722.58; $7,225.80. Cycleway Facilities; $1,084.90; $10,849.00. Roads and Traffic; $596.93; $5,969.30. Plan Administration; $65.76; $657.60. Total; $4,448.08; $44,480.80. | Cessnock City Wide Development Contributions Plan – Phase 8 Branxton-Greta District Catchment. Contribution Type; Per villa; Amount Payable. Open Space and Recreation Facilities; $2,084.05; $20,840.50. Community Facilities; $761.36; $7,613.60. Cycleway Facilities; $1,143.12; $11,431.20. Roads and Traffic; $628.96; $6,289.60. Plan Administration; $69.29; $692.90. Total; $4,686.78; $46,867.80. |
| 114 | Cessnock City Wide Development Contributions Plan – Phase 9 Branxton-Greta District Catchment. Contribution Type; Per Villa; Amount Payable. Open Space and Recreation Facilities; $1,977.91; $35,602.38. Community Facilities; $722.58; $13,006.44. Cycleway Facilities; $1,084.90; $19,528.20. Roads and Traffic; $596.93; $10,744.74. Plan Administration; $65.76; $1,183.68. Total; $4,448.08; $80,065.44. | Cessnock City Wide Development Contributions Plan – Phase 9 Branxton-Greta District Catchment. Contribution Type; Per villa; Amount Payable. Open Space and Recreation Facilities; $2,084.05; $37,512.90. Community Facilities; $761.36; $13,704.48. Cycleway Facilities; $1,143.12; $20,576.16. Roads and Traffic; $628.96; $11,321.28. Plan Administration; $69.29; $1,247.22. Total; $4,686.78; $84,362.04. |
| 118 | Cessnock City Wide Development Contributions Plan – Phase 10 Branxton-Greta District Catchment. Contribution Type; Per Villa; Amount Payable. Open Space and Recreation Facilities; $1,977.91; $19,779.10. Community Facilities; $722.58; $7,225.80. Cycleway Facilities; $1,084.90; $10,849.00. Roads and Traffic; $596.93; $5,969.30. Plan Administration; $65.76; $657.60. Total; $4,448.08; $44,480.80. | Cessnock City Wide Development Contributions Plan – Phase 10 Branxton-Greta District Catchment. Contribution Type; Per villa; Amount Payable. Open Space and Recreation Facilities; $2,084.05; $20,840.50. Community Facilities; $761.36; $7,613.60. Cycleway Facilities; $1,143.12; $11,431.20. Roads and Traffic; $628.96; $6,289.60. Plan Administration; $69.29; $692.90. Total; $4,686.78; $46,867.80. |
| 122 | Cessnock City Wide Development Contributions Plan – Phase 11 Branxton-Greta District Catchment. Contribution Type; Per Villa; Amount Payable. Open Space and Recreation Facilities; $1,977.91; $15,823.28. Community Facilities; $722.58; $5,780.64. Cycleway Facilities; $1,084.90; $8,679.20. Roads and Traffic; $596.93; $4,775.44. Plan Administration; $65.76; $526.08. Total; $4,448.08; $35,584.64. | Cessnock City Wide Development Contributions Plan – Phase 11 Branxton-Greta District Catchment. Contribution Type; Per villa; Amount Payable. Open Space and Recreation Facilities; $2,084.05; $16,672.40. Community Facilities; $761.36; $6,090.88. Cycleway Facilities; $1,143.12; $9,144.96. Roads and Traffic; $628.96; $5,031.68. Plan Administration; $69.29; $554.32. Total; $4,686.78; $37,494.24. |
| 126 | Cessnock City Wide Development Contributions Plan – Phase 12 Branxton-Greta District Catchment. Contribution Type; Per Villa; Amount Payable. Open Space and Recreation Facilities; $1,977.91; $23,734.92. Community Facilities; $722.58; $8,670.96. Cycleway Facilities; $1,084.90; $13,018.80. Roads and Traffic; $596.93; $7,163.16. Plan Administration; $65.76; $789.12. Total; $4,448.08; $53,376.96. | Cessnock City Wide Development Contributions Plan – Phase 12 Branxton-Greta District Catchment. Contribution Type; Per villa; Amount Payable. Open Space and Recreation Facilities; $2,084.05; $25,008.60. Community Facilities; $761.36; $9,136.32. Cycleway Facilities; $1,143.12; $13,717.44. Roads and Traffic; $628.96; $7,547.52. Plan Administration; $69.29; $831.48. Total; $4,686.78; $56,241.36. |
| 130 | Cessnock City Wide Development Contributions Plan – Phase 13 Branxton-Greta District Catchment. Contribution Type; Per Villa; Amount Payable. Open Space and Recreation Facilities; $1,977.91; $19,779.10. Community Facilities; $722.58; $7,225.80. Cycleway Facilities; $1,084.90; $10,849.00. Roads and Traffic; $596.93; $5,969.30. Plan Administration; $65.76; $657.60. Total; $4,448.08; $44,480.80. | Cessnock City Wide Development Contributions Plan – Phase 13 Branxton-Greta District Catchment. Contribution Type; Per villa; Amount Payable. Open Space and Recreation Facilities; $2,084.05; $20,840.50. Community Facilities; $761.36; $7,613.60. Cycleway Facilities; $1,143.12; $11,431.20. Roads and Traffic; $628.96; $6,289.60. Plan Administration; $69.29; $692.90. Total; $4,686.78; $46,867.80. |
| 134 | Cessnock City Wide Development Contributions Plan – Phase 14 Branxton-Greta District Catchment. Contribution Type; Per Villa; Amount Payable. Open Space and Recreation Facilities; $1,977.91; $53,403.57. Community Facilities; $722.58; $19,509.66. Cycleway Facilities; $1,084.90; $29,292.30. Roads and Traffic; $596.93; $16,117.11. Plan Administration; $65.76; $1,775.52. Total; $4,448.08; $120,098.16. | Cessnock City Wide Development Contributions Plan – Phase 14 Branxton-Greta District Catchment. Contribution Type; Per villa; Amount Payable. Open Space and Recreation Facilities; $2,084.05; $56,269.35. Community Facilities; $761.36; $20,556.72. Cycleway Facilities; $1,143.12; $30,864.24. Roads and Traffic; $628.96; $16,981.92. Plan Administration; $69.29; $1,870.83. Total; $4,686.78; $126,543.06. |
| 138 | Cessnock City Wide Development Contributions Plan – Phase 15 Branxton-Greta District Catchment. Contribution Type; Per Villa; Amount Payable. Open Space and Recreation Facilities; $1,977.91; $31,646.56. Community Facilities; $722.58; $11,561.28. Cycleway Facilities; $1,084.90; $17,358.40. Roads and Traffic; $596.93; $9,550.88. Plan Administration; $65.76; $1,052.16. Total; $4,448.08; $71,169.28. | Cessnock City Wide Development Contributions Plan – Phase 15 Branxton-Greta District Catchment. Contribution Type; Per villa; Amount Payable. Open Space and Recreation Facilities; $2,084.05; $33,344.80. Community Facilities; $761.36; $12,181.76. Cycleway Facilities; $1,143.12; $18,289.92. Roads and Traffic; $628.96; $10,063.36. Plan Administration; $69.29; $1,108.64. Total; $4,686.78; $74,988.48. |

For each phase the following condition is proposed to be amended with a minor change to the first line to as per Appendix B uploaded to the NSW Planning Portal:

| 71 | Road – Access Construction The registered proprietor of the land shall construct an access road in accordance with Council’s ‘Engineering Requirements for Development’ to serve the development. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 1 is to be in accordance with Approved Concept Plan LC1701-ST01 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement and be approved by the Certifier as satisfying this requirement prior to the issue of a CC. | Road – Access Construction The registered proprietor of the land shall construct an internal access road. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 1 is to be in accordance with Approved Concept Plan LC1701-ST01 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement and be approved by the Certifier as satisfying this requirement prior to the issue of a CC. |
| --- | --- | --- |
| 78 | Road – Access Construction The registered proprietor of the land shall construct an access road in accordance with Council’s ‘Engineering Requirements for Development’ to serve the subdivision. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 2 is to be in accordance with Approved Concept Plan LC1701-ST02 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. | Road – Access Construction The registered proprietor of the land shall construct an internal access road. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 2 is to be in accordance with Approved Concept Plan LC1701-ST02 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. |
| 82 | Road – Access Construction The registered proprietor of the land shall construct an access road in accordance with Council’s ‘Engineering Requirements for Development’ to serve the subdivision. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 3 is to be in accordance with Approved Concept Plan LC1701-ST03 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. | Road – Access Construction The registered proprietor of the land shall construct an internal access road. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 3 is to be in accordance with Approved Concept Plan LC1701-ST03 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. |
| 94 | Road – Access Construction The registered proprietor of the land shall construct an access road in accordance with Council’s ‘Engineering Requirements for Development’ to serve the subdivision. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 4 is to be in accordance with Approved Concept Plan LC1701-ST04 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. | Road – Access Construction The registered proprietor of the land shall construct an internal access road. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 4 is to be in accordance with Approved Concept Plan LC1701-ST04 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. |
| 98 | Road – Access Construction The registered proprietor of the land shall construct an access road in accordance with Council’s ‘Engineering Requirements for Development’ to serve the subdivision. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 5 is to be in accordance with Approved Concept Plan LC1701-ST05 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. | Road – Access Construction The registered proprietor of the land shall construct an internal access road. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 5 is to be in accordance with Approved Concept Plan LC1701-ST05 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. |

| 103 | Road – Access Construction The registered proprietor of the land shall construct an access road in accordance with Council’s ‘Engineering Requirements for Development’ to serve the subdivision. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 6 is to be in accordance with Approved Concept Plan LC1701-ST06 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. | Road – Access Construction The registered proprietor of the land shall construct an internal access road. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 6 is to be in accordance with Approved Concept Plan LC1701-ST06 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. |
| --- | --- | --- |
| 107 | Road – Access Construction The registered proprietor of the land shall construct an access road in accordance with Council’s ‘Engineering Requirements for Development’ to serve the subdivision. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 7 is to be in accordance with Approved Concept Plan LC1701-ST07 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. | Road – Access Construction The registered proprietor of the land shall construct an internal access road. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 7 is to be in accordance with Approved Concept Plan LC1701-ST07 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. |
| 111 | Road – Access Construction The registered proprietor of the land shall construct an access road in accordance with Council’s ‘Engineering Requirements for Development’ to serve the subdivision. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 8 is to be in accordance with Approved Concept Plan LC1701-ST08 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. | Road – Access Construction The registered proprietor of the land shall construct an internal access road. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 8 is to be in accordance with Approved Concept Plan LC1701-ST08 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. |
| 115 | Road – Access Construction The registered proprietor of the land shall construct an access road in accordance with Council’s ‘Engineering Requirements for Development’ to serve the subdivision. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 9 is to be in accordance with Approved Concept Plan LC1701-ST09 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. | Road – Access Construction The registered proprietor of the land shall construct an internal access road. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 9 is to be in accordance with Approved Concept Plan LC1701-ST09 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. |
| 119 | Road – Access Construction The registered proprietor of the land shall construct an access road in accordance with Council’s ‘Engineering Requirements for Development’ to serve the subdivision. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 10 is to be in accordance with Approved Concept Plan LC1701-ST10 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. | Road – Access Construction The registered proprietor of the land shall construct an internal access road. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 10 is to be in accordance with Approved Concept Plan LC1701-ST10 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. |
| 123 | Road – Access Construction The registered proprietor of the land shall construct an access road in accordance with Council’s ‘Engineering Requirements for Development’ to serve the subdivision. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 11 is to be in accordance with Approved Concept Plan LC1701-ST11 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. | Road – Access Construction The registered proprietor of the land shall construct an internal access road. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 11 is to be in accordance with Approved Concept Plan LC1701-ST11 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. |
| 127 | Road – Access Construction The registered proprietor of the land shall construct an access road in accordance with Council’s ‘Engineering Requirements for Development’ to serve the subdivision. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 12 is to be in accordance with Approved Concept Plan LC1701-ST12 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. | Road – Access Construction The registered proprietor of the land shall construct an internal access road. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 12 is to be in accordance with Approved Concept Plan LC1701-ST12 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. |
| 131 | Road – Access Construction The registered proprietor of the land shall construct an access road in accordance with Council’s ‘Engineering Requirements for Development’ to serve the subdivision. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 13 is to be in accordance with Approved Concept Plan LC1701-ST13 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. | Road – Access Construction The registered proprietor of the land shall construct an internal access road. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 13 is to be in accordance with Approved Concept Plan LC1701-ST13 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. |
| 135 | Road – Access Construction The registered proprietor of the land shall construct an access road in accordance with Council’s ‘Engineering Requirements for Development’ to serve the subdivision. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 14 is to be in accordance with Approved Concept Plan LC1701-ST14 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. | Road – Access Construction The registered proprietor of the land shall construct an internal access road. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 14 is to be in accordance with Approved Concept Plan LC1701-ST14 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. |
| 140 | Road – Access Construction The registered proprietor of the land shall construct an access road in accordance with Council’s ‘Engineering Requirements for Development’ to serve the subdivision. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 15 is to be in accordance with Approved Concept Plan LC1701-ST15 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. | Road – Access Construction The registered proprietor of the land shall construct an internal access road. The roads are to be constructed in accordance with the requirements of SEPP (Housing for Seniors or People with a Disability) 2004 and the requirements of the NSW Rural Fire Service in accordance with the General Terms of Approval issued on 4 February 2022. Road lengths constructed are to accommodate the approved phasing and temporary turning head constructed within the continuing phase in accordance with the standards of the NSW RFS. The construction extent for Stage 15 is to be in accordance with Approved Concept Plan LC1701-ST15 prepared by Lanigan Civil dated 14/10/2021 Revision A. The plans submitted in association with the CC application are to demonstrate compliance with this requirement. The plans are to be approved by the Certifier as satisfying this requirement prior to the issue of a CC. |

Consideration is requested by the Panel in determining to amend the conditions contained in Schedule 2 of the determination issued on 16 May 2022 as proposed above, to amend inconsistencies which have been identified post the determination being issued as a result of administrative error a CPI release occurring.

Should you have any further enquiries please contact me directly on 02 4993 4218 or via email Julia.ryl@cessnock.nsw.gov.au.

Yours faithfully,

Julia Ryl

Senior Planning Assessment Officer

Cessnock City Council.