DCP 2013: Part 4 – subdivision compliance tables

| # Requirement | # Proposed | # Compliance |
| --- | --- | --- |
| 2.0 Application Requirements |  |  |
| General Requirements (cl 2.1) | Provided | Yes |
| Site Analysis (cl 2.2) | Provided | Yes |
| Service Plan (cl. 2.4) | Provided | Yes |
| Street Plan (cl. 2.5) | Provided | Yes |
| Lot Layout plan (cl. 2.6) | Provided | Yes |
| 2.7 Other Requirements |  |  |
| Developer Contributions (cl. 2.7.1) | Applicable contributions could be applied | Yes – capable of condition of consent |
| 3.0 General Design Principles |  |  |
| 3.1 Stormwater Management and Flooding |  |  |
| The proposal satisfies stormwater management. Council’s engineer supports the proposal subject to conditions of consent | Provided | Yes |
| 3.1.2 Erosion and Sediment Control |  |  |
| Erosion and sediment controls are provided | Provided | Yes – capable of condition of consent. |
| 3.1.3 Flooding |  |  |
| Subdivision of land on floodplain not encouraged. Development must comply with DCP 3.3 Floodplain Management. | Stages 6 & 7 are not flood affected | NA |
| 3.2 Services |  |  |
| In established areas, new services shall have regard to the existing mode of installation (cl. 3.2.c) | Provided | Yes |
| All services shall be provided underground (cl. 3.2.d) | Provided | Yes– capable of condition of consent. |
| The location of utility services not to affect significant vegetation or waterways (cl. 3.2.f) | Provided | Yes |
| Functional energy efficient and appropriately located lighting is required in streets and public places (cl. 3.2.g) | Capable of conditions | Yes |
| 3.3 Cut, Fill and Earthworks |  |  |
| Minimise earthworks, cut and fill and protect land stability | Earthwork and retaining plans provided. | Yes |
| 3.4 Street Layout and Design |  |  |
| A road hierarchy is to be established which distinguishes between access lanes/places, access streets, local streets, collector streets and distributor roads (cl. 3.4.a) | Provided | Yes –In spite of departure to Chp 5.5 the proposed road hierarchy creates a desirable outcome. |
| The street network shall respond to the areas topography and natural features (cl. 3.4.g) | Provided | Yes |
| Streets shall be designed in accordance with the table in Appendix B (cl. 3.4.h) | Provided | Chp 5.5 prevails |
| The street network must interconnect between neighbourhood elements, transport modes and integrate with adjoining development (cl. 3.4.i) | Provided | Yes. |
| Streets are to be designed to enable each lot to access street frontage (cl. 3.4.j) | Provided | Yes |
| The street design should consider adequate sight distance in regard for lot access (cl. 3.4.n) | Provided | Yes |
| Residential street blocks shall be no more than 80m deep and 160m long (cl. 3.4.o) | Provided | Yes |
| Where the land abuts open space or bushland, an urban interface area is required (UIA) as outlined in s.3.9 (cl. 3.4.q) | NA | N/A |
| Appropriate intersection controls are to be provided (cl. 3.4.r) | To be applied as part of the consent | Yes |
| 3.5 Footpaths and Cycleways |  |  |
| Footpaths are to be provided on one side of the street for access places/lanes, access streets and local roads (cl. 3.5.a) | Footpaths provided | Yes |
| Subdivisions are to provide pedestrian links between street networks. Cul de sacs where possible are to be designed in accordance with CPTED principles (cl. 3.5.b) | Footpaths provided to provide pedestrian links. | Yes. The original assessment noted a lack of opportunity for pedestrian access to the school from road 11a which is not included in the proposed subdivision. A review of the approved school indicates that pedestrian access at this location would be undesirable as access controls to the site are oriented east and north of the school. |
| Shared pedestrian/cycleways are to be provided in all new residential estates as identified in the Transport Report (cl. 3.5.d) | Provided | Yes |
| 3.6 Street Trees and Landscaping |  |  |
| Subdivisions are to incorporate street trees at a minimum rate of 1 semi-advanced tree per 15m frontage (cl.3.6.a) | Provided | Yes. |
| A street tree planting plan is to be included as part of the Landscape Assessment and Design Report (cl.3.6.b) | Provided | Yes – requires updating which may be addressed via conditions of consent. |
| 3.8 Heritage |  |  |
| Provide details of any identified heritage item or aboriginal site and proposed treatment (cl. 3.8.a) | NA | N/A |
| 3.9 Vegetation Management, Threatened Species and Urban Interface |  |  |
| To clear land an ecological assessment and management plan is likely to be required which includes Threatened Species Assessment (cl.3.9.1.c) | Council’s ecologist raised no concerns to the removal of the vegetation | Yes |
| Subdivision should be designed appropriately to so as not to effect any threatened species of ecological communities on site or adjoining land (cl. 3.9.2.b) | See above | Yes |
| An urban interface required on land that contains or adjoins significant vegetation (cl. 3.9.3.a) | See above | Yes |
| 3.10 Community Safety and Security |  |  |
| Street design is to limit vehicular speed (cl.3.10.a) | To be conditioned as part of the consent | Yes |
| Lot design must enable appropriate surveillance while protecting privacy of residents (cl.3.10.b) | Provided | Yes |
| Sight lines are to be preserved at all intersections (cl.3.10.d) | Provided | Yes |
| Lighting shall be provided to satisfy the relevant Australian Standard (cl.3.10.e) | To be conditioned as part of the consent | Yes |
| 4.0 Residential Subdivision |  |  |
| 4.1.2 Corner Lots |  |  |
| Corner lots to have a minimum of 700m2 (cl.4.1.2.a) | All lots <700m2 | Yes, Chapter 5.5 and WLEP do not provide min lot size |
| 5m x 5m corner boundary splay to improve sight distance (cl.4.1.2.c) | Provided | Yes |
| Driveways to be setback a minimum 6m from the tangent point on the kerb return (cl.4.1.2.d) | Provided | Yes – corner lots have been amended to provide additional frontage. |
| Driveways for lots adjacent to roundabouts or channelled intersections are to be clear of islands and pavement marking. Alternate access or right of carriageway from another street may be required (cl.4.1.2.f) | NA | NA |
| 4.1.4.1 Access location restrictions affecting lot layout and design |  |  |
| Access driveways shall not be located over or in the vicinity of pedestrian or school crossings or other traffic management facilities | Provided | Yes |
| The street design and lot layout is to consider the likely location of lot accesses, with regards to the provision of adequate sight distances in accordance with AS/NZS 2890 and the Australian Guidelines Part 5. | Provided | Yes |
| 4.1.5 Small Lot Housing Development – N/A |  |  |
| 4.2 Street Orientation and Lot Design for Solar Access |  |  |
| Streets are to be aligned generally east-west and north-south where possible (cl.4.2.a) | Provided | Yes |
| Where streets are not orientated N-S and E-W, lots shall be angled to achieve better solar access and achieve maximum exposure to cooling breezes in summer (cl.4.2.c) | Lots are either N-S or E-W in orientation | Yes |
| 4.3 Urban Design |  |  |
| The subdivision shall demonstrate best practice design in terms of individual elements including lot orientation, streetscape and landscape design (cl.4.3.a) | The subdivision layout provides solar access, a permeable and accessible neighbourhood with a distinct character reinforced by the proposed road hierarchy. | Yes |
| In new areas, the design allows for a mix of housing opportunities within a locality (cl.4.3.e) | All single dwelling house lots proposed within Stage 6b and 7 | There is a variety of lots sizes and housing opportunities within WTC. Further opportunity exists within residue lots. |

DCP 2013: Part 5.5 – WTC compliance tables

| Requirement |  | Proposed |  | Compliance |
| --- | --- | --- | --- | --- |
| 3.2 Street Hierarchy and Design |  |  |  |  |
| The street network is to be provided generally in accordance with the street hierarchy map and street types map. First and second tier streets are required as shown in the maps. | The proposed street network is not in accordance with the desired street network. |  | No, but is considered to be consistent with the desired outcomes and is acceptable. |  |
| Street design is to be generally consistent with the cross sections shown in the Chapter and widening of roads may be required at intersections, curves and for utilities. | The street design is consistent with the cross sections shown in the Chapter with the exception of roads 11, 12 and 14 which have a reduced verge width on one side of the road. |  | Partly compliant, departure are considered acceptable. |  |
| Design all residential streets for a maximum of 50 km. Applicants should consider traffic management through the use of road layout or appropriate speed reducing devices. | The streets are not consistent with the DCP requirements but are conducive to a lower speed environment. |  | Yes |  |
| Street planting in the road reserve is to be in accordance with the Chapter. | A Landscape Plan and Design Report were submitted. |  | Capable of compliance |  |
| Footpaths are to be provided with a minimum width of 1.5m and are to be setback 1m from the carriageway and 450mm from property boundaries. | Proposed footpaths will be constructed with a width of 1.5m and suitably setback from the road carriageway. |  | Yes |  |
| Street lighting is to comply with the relevant standards. | A condition of consent could be included requiring all street lighting to comply with the relevant standards and details will be required prior to the release of the Construction Certificate. |  | Yes |  |
| 3.3 Landscaping in the Road Reserve |  |  |  |  |
| Requirement | Proposed |  | Compliance |  |
| Provide street plantings in locations identified in Figure 3.16 | Landscaping is consistent with the locations. The landscape plan is suitable in concept. |  | Yes |  |
| Provide landscaping: - to distinguish between public and private domain and between different street hierarchy - Minimise risk to utilities and services - Provide landscaping that is durable and suited to the environment - Maintain sight distances - Do not obscure street lighting or traffic signals - Provides appropriate shade | The proposed landscaping will provide distinction between the different street hierarchy. |  | Capable of compliance |  |
| Landscaping details are to be submitted with proposals and include the general location of plantings, species and size, safety and relationship to utilities and services. | Landscaping plans and a design report has been submitted with the application. |  | Yes - The landscaping plan requires revision to provide additional landscaping in roads 12 & 14 |  |
| 3.7 Pedestrian and Cycle network |  |  |  |  |
| Key pedestrian and cycle routes are to be provided generally in accordance with Figure 3.19 | Pedestrian routes and Cycle ways have been included in accordance with the Chapter. |  | Yes – The N-S pedestrian link that would have been part of road 11a has been provided by Road 03. |  |
| The design of cycle ways in accordance with Figures 3.3 – 3.15 | Cycle are in accordance with the Chapter. |  | Yes |  |
| Pedestrian and cycle ways to be constructed with each stage | Pedestrian and Cycle are included in each stage. |  | Yes |  |
| 3.11 Public Transport Network |  |  |  |  |
| Provision of bus routes, bus stops and bus shelters in accordance with the requirements of local bus operator. | Bus stops will be located in accordance with the local bus service upon completion of the subdivision. |  | Capable of compliance |  |
| Indicative bus routes and stops to be provided | The location of the subject subdivision is a small part of the development of the WTC. The bus routes and bus stops will be implemented upon completion of the residential components of the approved subdivision. |  | Capable of compliance |  |
| 6.0 Environmental Management |  |  |  |  |
| 6.2 Integrated Water Cycle Management and Water Sensitive Urban Design |  |  |  |  |
| All stormwater discharging into a stormwater storage system is to be treated with in accordance with best practice. | The proposed development has been split into three (3) individual catchments, Part of the site draining to the west to the existing development, discharging to the existing regional bio-retention basin constructed as part of stage 1-4 works, which has been sized catering for flows from the fully developed catchments. Part of the site draining to the east and the majority of the site draining south to Sparks Road. A stormwater detention and water quality basin is proposed to be constructed on lot 601 at the lot point of catchment. This basin is permanent and is proposed to be retained in the ownership of lot 601. |  | Yes |  |
| All other stormwater if discharging directly into a receiving environment is to be treated in accordance with Council’s Stormwater Management Plan | All stormwater will be discharged to a bio-retention/OSD system adjacent to Sparks Road. |  | Yes |  |
| 6.6 Contamination Management |  |  |  |  |
| DAs for development on land identified on Figure 6.3 needs to consider contaminated land planning guidelines. | The land contamination was considered with the earlier applications and contamination reports for Stages 6 – 10 have been prepared concurrently and submitted with this application. |  | Yes |  |
| 6.7 Retaining Walls and Retaining Walls |  |  |  |  |
| Construct retaining walls in a consistent manner that is visually unobtrusive. | Retaining wall details have been provided. The walls within the residential lots and adjacent to Mataram road are considered to be characteristic of development in the area and generally unobtrusive. The northern side of Mataram Road will be battered removing the need for any retaining in this location. |  | Yes |  |
| 6.8 Soils |  |  |  |  |
| Erosion and sediment controls are to be submitted with DAs. | Erosion and sediment controls have been submitted and are satisfactory. |  | Yes |  |
| 6.9 Acoustics |  |  |  |  |
| Requirement | Proposed |  |  |  |
| Provide noise mitigation measures to minimise noise from the railway corridor and Sparks Road. | Stages 1-4 have been constructed to provide an acoustic buffer along Sparks Road in accordance with the Chapter. |  | An acoustic barrier will be required to Sparks Road within residue Lot 601, subject to future DA |  |
| Provide all practicable mitigation measures for noise and vibrations for development within 60m of the rail corridor. | The site is greater than 60m from the rail corridor. The proposal is for subdivision only and any future development of the sites will consider potential mitigation measures if warranted. |  | Yes |  |
| Reduce road noise impacts. | The proposal is for subdivision only and any future development of the sites will consider potential noise mitigation measures if warranted. |  | Yes |  |
| Submit a noise study prepared by an appropriately qualified acoustic consultant for DAs fronting Sparks Road and in the vicinity of access roads. | The site results in lots in the vicinity of access roads. An Acoustic and Vibration Impact assessment was undertaken for the subdivision. Acoustic barriers similar to that implemented with Stage 1-4 will be required to be provided on Lot 601 to assist with reducing the impacts of noise from Sparks Road within the greater subdivision. Architectural treatments can be included in future buildings to mitigate noise impacts. |  | Yes |  |
| Mitigate noise impacts on residential areas from non-residential uses by imposing operating hours and other operational measures as appropriate. | All residential use is proposed |  | NA |  |