SCHEDULE 1 - RECOMMENDED CONDITIONS OF CONSENT

1.0 - General Conditions of Consent

The following conditions of consent are general conditions applying to the development.

(1)	General Terms of Approval – The General Terms of Approval from State authorities must be complied with prior to, during, and at the completion of the development.

The General Terms of Approval are:

- NSW Rural Fire Service, DA20211123005111-Original-1 dated 7 January 2022.

A copy of the General Terms of Approval is attached to this determination notice.

(2)	Approved plans and supporting documentation – Development must be carried out in accordance with the following approved plans and supporting documentation (stamped by Council), except where the conditions of this consent expressly require otherwise.

| Plan No. | Revision No. | Plan Title. | Drawn By. | Dated. |
| --- | --- | --- | --- | --- |
| DA1005 | F | Full School Site Plan | SHAC | 12.08.21 |
| DA1007 | E | Existing/Demolition Plan | SHAC | 12.08.21 |
| DA1009 | M | Proposed Site Plan | SHAC | 28.09.21 |
| DA2201 | M | Ground Floor Plan | SHAC | 28.09.21 |
| DA2202 | K | First Floor Plan | SHAC | 28.09.21 |
| DA2401 | D | Roof Plan | SHAC | 12.08.21 |
| DA3102 | D | North and South Elevations | SHAC | 28.09.21 |
| DA3103 | D | East and West Elevations | SHAC | 28.09.21 |
| DA3201 | D | Sections | SHAC | 28.09.21 |
| DA8003 | D | 3D Perspectives and Materiality | SHAC | 28.09.21 |
| LP02 | B | Landscape Concept Plan | Moir Landscape Architecture | 29.09.21 |
| LP03 | B | Landscape Detail Concept Plan | Moir Landscape Architecture | 29.09.21 |
| LP04 | B | Landscape Detail Concept Plan | Moir Landscape Architecture | 29.09.21 |
| LP05 | B | Planting Palette | Moir Landscape Architecture | 29.09.21 |
| DA-C04.01 | A | Stormwater Management Plan | Northrop | 08.10.21 |
| DA-C09.01 | A | Civil Details Sheet 1 | Northrop | 08.10.21 |

| Document Title. | Reference. | Prepared By. | Dated. |
| --- | --- | --- | --- |
| Acid Sulfate Soil Assessment | 211117 | 5QS | 16.02.2022 |

In the event of any inconsistency between the approved plans and the supporting documentation, the approved plans prevail. In the event of any inconsistency between the approved plans and a condition of this consent, the condition prevails.

Note: an inconsistency occurs between an approved plan and supporting documentation or between an approved plan and a condition when it is not possible to comply with both at the relevant time.

(3)	Separate approval for signs – Proposed signs additional to those signs approved as part of this development consent, must be provide to, and approved by, the Consent Authority or under the provision of the State Environmental Planning Policy (Exempt and Complying Codes) 2008 if applicable prior to the erection or display of any such signs.

(4)	Building Code of Australia – All building work must be carried out in accordance with the BCA. In this clause, a reference to the BCA is a reference to that Code as in force on the date the application for the relevant Construction Certificate is made.

(5)	Sign on building – Except in the case of work only carried out to the interior of a building or Crown building work, a sign must be erected in a prominent position on the site showing the name, address and telephone number of the Principal Certifying Authority for the work, the name of any principal contractor and their after-hours contact number, and must contain a statement that unauthorised entry to the site is prohibited.

The sign must be maintained while the work is being carried out and is to be removed when the work is completed.

(6)	Tree removal/pruning – The trees identified below are approved for removal/pruning:

- Liquid Amber as shown on the approved Landscape Concept Plan (Moir Landscape Architecture, LP02 No.B, 29-09-2021).

Replacement planting must be planted in accordance with the Landscape Plan Landscape Concept Plan (Moir Landscape Architecture, LP02 No.B, 29-09-2021).

The planting must be installed on the subject lot prior to the issue of the Occupation Certificate, whichever comes first.

(7)	Outdoor lighting - All lighting must comply with AS 1158 ‘Lighting for Roads and Public Spaces’ and AS 4282 ‘Control of Obtrusive Effects of Outdoor Lighting’.

(8)	Roof mounted equipment – All roof mounted equipment such as air conditioning units, service pipes and vents etc., required to be installed must be concealed within the external walls of the development or adequately screened so as not to be visible from a public place.

(9)	Design quality of development - The approved design (including an element or detail of that design) or materials finish or colours of the building must not be changed so as to affect the internal layout or external appearance of the building without the approval of Council.

2.0 – Prior to Issue of a Construction Certificate

The following conditions of consent shall be complied with prior to the issue of a Construction Certificate.

- Lot Consolidation – The following lots are to be consolidated together into one single allotment and registered with NSW Land Registry Services prior to the release of the Construction Certificate:

- Lot 143 DP 715013

- Lot 144 DP 715013

- Lot 1 DP 734433

- Lot 1 DP 847022

- Construction Certificate - The following information must be provided to the Certifying Authority with the Construction Certificate application:

  - Detailed stormwater drainage plans must be prepared by a qualified Engineer in accordance with the approved plans, Council’s Infrastructure Specifications, councils Soil Infiltration Technical Information Sheet and the current Australian Rainfall and Runoff guidelines using the Hydrologic Soil Mapping data for Port Stephens (available from Council) and:

    - Demonstrate post developed flows are restricted to pre-developed flows (natural conditions) for all storm events up to and including the 1% AEP.

    - Infiltration testing is to be in accordance with councils Soil Infiltration Technical Information Sheet

    - Water quality stripping rates in accordance with councils Development Control Plan are achieved.

- Potential acid sulfate soils – In accordance with the Acid Sulfate Soils Management Plan prepared by 5QS dated 16 February 2022, if excavations for the proposed stormwater system or any other works, extend greater than 1 metre in depth below natural ground level, a site-specific acid sulfate soils management plan is required and must be prepared by a suitably qualified engineer. The copy of this acid sulfate soils management plan must be provided to the certifying Authority prior to release of a Construction certificate.

The recommendations and/or mitigation measures contained within the ASS Management Plan must be complied with during works

(4)	Civil engineering plans – Civil engineering plans prepared by a qualified Engineer, indicating drainage, roads, access ways, earthworks, pavement design, street lighting, details of line-marking, traffic management, water quality and quantity facilities including stormwater detention and disposal, must be prepared in accordance with the approved plans and Council’s Infrastructure Specifications.

Details demonstrating compliance must be provided to the Certifying Authority.

Note. Under the Roads Act 1993, only the Roads Authority can approve commencement of works within an existing road reserve.

(5)	Stormwater System Operation and Maintenance Procedure Plan – An Operation and Maintenance Plan for the stormwater system must be prepared by a qualified engineer detailing a regular maintenance programme for pollution control devices, covering inspection, cleaning and waste disposal.

Details demonstrating compliance must be provided to the Certifying Authority.

(6)	Retaining walls – All retaining walls within 1m of a boundary and exceeding 600mm in height must be designed and certified by a suitably qualified Structural Engineer.

Details demonstrating compliance must be provided to the Certifying Authority.

(7)	Erosion and sediment control plan– Before the issue of a construction certificate the applicant is to ensure that an erosion and sediment control plan is prepared in accordance with the following documents before it is provided to and approved by the certifier:

- Council’s development control plan,

- the guidelines set out in the NSW Department of Housing manual ‘Managing Urban Stormwater: Soils and Construction Certificate’ (the Blue Book), and

- the ‘Do it Right On-Site, Soil and Water Management for the Construction Industry' (Southern Sydney Regional Organisation of Councils and the Natural Heritage Trust).

The applicant must ensure the erosion and sediment control plan is kept on- site at all times during site works and construction.

(8)	Construction site management plan - Before the issue of a construction certificate, the applicant must ensure a construction site management plan is prepared before it is provided to and  approved by the certifier. The plan must include the following matters:

- location and materials for protective fencing and hoardings to the perimeter on the site

- provisions for public and student safety throughout construction process

- student, pedestrian and vehicular site access points and construction activity zones

- details of how adjacent sites such as Narnia and Rock Church will not be adversely impacted during construction

- details of construction traffic management, including proposed truck movements to and from the site and estimated frequency of those movements, and measures to preserve pedestrian safety in the vicinity of the site.

- protective measures for on-site tree preservation (including in accordance with AS 4970-2009 Protection of trees on development sites and Council’s DCP, if applicable) and trees in adjoining public domain (if applicable)

- details of any bulk earthworks to be carried out

- location of site storage areas and sheds

- equipment used to carry out all works

- a garbage container with a tight-fitting lid

- dust, noise and vibration control measures

- location of temporary toilets.

The applicant must ensure a copy of the approved construction site management plan is kept on-site at all times during construction.

(9)	Mechanical exhaust system – Mechanical exhaust system(s) must comply with AS 1668 ‘The use and Ventilation and Air Conditioning in Buildings’ Parts 1 and 2 (including exhaust air quantities and discharge location points).

Details demonstrating compliance must be provided to the Certifying Authority.

(10)	Hunter Water Corporation approval - A Section 49 Application under the Hunter Water Act 1991 must be lodged with Hunter Water Corporation (HWC) and details of the Notice of Formal Requirements from HWC must be provided to the Certifying Authority.

(11)	Section 7.12 development contributions - A monetary contribution is to be paid to Council, pursuant to Section 7.12 of the Environmental Planning & Assessment Act 1979 and the Port Stephens Local Infrastructure Contribution Plan 2020. The total amount payable will be adjusted at the time the payment is made, in accordance with the provisions of that Plan.

Section 7.12 contributions will be calculated with reference to the capital investment value (CIV) of the development, determined in accordance with clause 25J of the Environmental Planning and Assessment Regulation 2000, and the levies specified in the Port Stephens Local Infrastructure Contributions Plan 2020 as outlined below:

| Capital Investment Value | Levy Rate (% of CIV) |
| --- | --- |
| Up to and including $100,000 | Nil |
| More than $100,000 and up to and including $200,000 | 0.5% |
| More than $200,000 | 1% |

The payment of the Fixed Local Infrastructure Contribution levy, is to be accompanied by a Cost Summary Report Form setting out an estimate of the CIV in accordance with Schedule 1 of the Port Stephens Local Infrastructure Contributions Plan. A copy of the Plan and Cost Summary Report Forms are available on Council’s website at https://www.portstephens.nsw.gov.au/, alternatively contact Council on 02 9228 055.

Where the estimated cost of carrying out the whole of the development is more than $1,000,000, the Cost Summary Report Form must be completed by a Quantity Surveyor who is a Registered Associate member or above, of the Australian Institute of Quantity Surveyors.

This condition cannot be taken to be satisfied until a payment has been made in accordance with the CIV stated on a cost summary report submitted to Council in accordance with this condition.

Payment of the above amount must apply to Development Applications as follows:

- Building work only - prior to issue of the Construction Certificate.

(12)	Roads Act Application – The following information must be provided to Council as Roads Authority with the Roads Act application:

- All redundant laybacks to be reinstated with kerb and gutter to match existing

- All driveways to be removed and reinstated with turf to match existing.

(13)	Long service levy – In accordance with Section 34 of the Building and Construction Industry Long Service Payments Act 1986, the applicant must pay a long service levy at the prescribed rate to either the Long Service Payments Corporation or Council for any works that cost $25,000 or more.

3.0 - Prior to Commencement of Works

The following conditions of consent shall be complied with prior to any works commencing on the development site.

(1)	Public liability insurance – The owner or contractor must take out a Public Liability Insurance Policy with a minimum cover of $20 million in relation to the occupation of, and works within, public property (i.e. kerbs, gutters, footpaths, walkways, reserves, etc.) for the full duration of the proposed works.

Evidence of this Policy must be provided to Council and the Certifying Authority.

(2)	Notice of Principal Certifying Authority appointment – Notice must be given to Council at least two days prior to subdivision and/or building works commencing in accordance with Clause 103 of the Environmental Planning & Assessment Regulation 2000. The notice must include:

- a description of the work to be carried out;

- the address of the land on which the work is to be carried out;

- the Registered number and date of issue of the relevant development consent;

- the name and address of the Principal Certifying Authority (PCA), and of the person by whom the PCA was appointed;

- if the PCA is an accredited certifier, their accreditation number, and a statement signed by the accredited certifier consenting to being appointed as PCA; and

- a telephone number on which the PCA may be contacted for business purposes.

(3)	Notice commencement of work – Notice must be given to Council at least two days prior to subdivision and/or building works commencing in accordance with Clause 104 of the Environmental Planning & Assessment Regulation 2000. The notice must include:

- the name and address of the person by whom the notice is being given;

- a description of the work to be carried out;

- the address of the land on which the work is to be carried out;

- the Registered number and date of issue of the relevant development consent and construction certificate;

- a statement signed by or on behalf of the Principal Certifying Authority to the effect that all conditions of the consent that are required to be satisfied prior to the work commencing have been satisfied; and

- the date on which the work is intended to commence.

(4)	Signs on site – A sign must be erected in a prominent position on any site on which building work or demolition work is being carried out:

- showing the name, address and telephone number of the principal certifier for the work, and

- showing the name of the principal contractor (if any) for any building work and a telephone number on which that person may be contacted outside working hours, and

- stating that unauthorised entry to the work site is prohibited.

Any such sign is to be maintained while the building work or demolition work is being carried out, but must be removed when the work has been completed.

Note: This does not apply in relation to building work or demolition work that is carried out inside an existing building that does not affect the external walls of the building.

(5)	Construction Certificate Required – In accordance with the provisions of Section 6.7 of the Environmental Planning & Assessment Act 1979 (EP&A Act 1979), construction or subdivision works approved by this consent must not commence until the following has been satisfied:

- a Construction Certificate has been issued by a Consent Authority;

- a Principal Certifying Authority (PCA) has been appointed by the person having benefit of the development consent in accordance with Section 6.5 of the EP&A Act 1979; and

- the PCA is notified in writing of the name and contractor licence number of the owner/builder intending to carry out the approved works.

(6)	Site is to be secured – The site must be secured and fenced to the satisfaction of the Principal Certifying Authority. All hoarding, fencing or awnings (associated with securing the site during construction) is to be removed upon the completion of works.

(7)	Demolition work – All demolition works are to be carried out in accordance with Australian Standard AS 2601 ‘The demolition of Structures’.  All waste materials are to be either recycled or disposed of to a licensed waste facility.

Any asbestos containing material encountered during demolition or works, is to be removed in accordance with the requirements of Safe Work NSW and disposed of to an appropriately licenced waste facility.

Evidence is to be provided to the Certifying Authority demonstrating that asbestos waste has been disposed of in accordance with this condition.

(8)	Erosion and sediment controls in place – Before the commencement of any site or building work, the principal certifier must be satisfied the erosion and sediment controls in the erosion and sediment control plan, (as approved by the principal certifier) are in place until the site is rectified (at least 70% ground cover achieved over any bare ground on site).

(9)	All weather access – A 3m wide all-weather vehicle access is to be provided from the kerb and gutter to the building under construction for the delivery of materials and use by trades people.

No materials, waste or the like are to be stored on the all-weather access at any time.

(10)	Rubbish generated from the development – Where not already available, a waste containment facility is to be established on site. The facility is to be regularly emptied and maintained for the duration of works.

No rubbish must be stockpiled in a manner which facilitates the rubbish to be blown or washed off site. The site must be cleared of all building refuse and spoil immediately upon completion of the development.

4.0 - During Works

The following conditions of consent shall be complied with during the construction phase of the development.

(1)	Shoring and adequacy of adjoining property (if applicable)-  If the development involves an excavation that extends below the level of the base of the footings of a building, structure or work on adjoining land (including any structure or work within a road or rail corridor), the person having the benefit of the development consent must, at the person’s own expense —

- Protect and support the building, structure or work from possible damage from the excavation, and

- Where necessary, underpin the building, structure or work to prevent any such damage.

This condition does not apply if the person having the benefit of the development consent owns the adjoining land or the owner of the adjoining land has given consent in writing to that condition not applying.

(2)	Hours of work – The principal certifier must ensure that building work, demolition or vegetation removal is only carried out between:

7.00am to 5.00pm on Monday to Saturday

The principal certifier must ensure building work, demolition or vegetation removal is not carried out on Sundays and public holidays, except where there is an emergency.

Unless otherwise approved within a construction site management plan, construction vehicles, machinery, goods or materials must not be delivered to the site outside the approved hours of site works.

Note: Any variation to the hours of work requires Council’s approval.

(3)	Toilet facilities – Temporary toilet(s) must be provided and maintained on site from the time of commencement of building work to completion. The number of toilets provided must be one toilet per 20 persons or part thereof employed on the site at any one time.

The temporary toilet is to be either connected to the sewerage system or an approved septic tank or otherwise may be a chemical toilet supplied by a licensed contractor.

(4)	Compliance with the Building Code of Australia – Building work must be carried out in accordance with the requirements of the Building Code of Australia.

(5)	Excavations and backfilling – All excavations and backfilling associated with this development consent must be executed safely, and be properly guarded and protected to prevent them from being dangerous to life or property, and in accordance with the design of a suitably qualified Structural Engineer.

If an excavation extends below the level of the base of the footings of a building on an adjoining allotment, the person causing the excavation must:

- preserve and protect the building from damage; and

- if necessary, underpin and support the building in an approved manner; and

- give at least seven days notice to the adjoining owner before excavating, of the intention to excavate.

The principal contractor, owner builder or any person who needs to excavate and undertake building work, must contact “Dial Before You Dig” prior to works commencing, and allow a reasonable period of time for the utilities to provide locations of their underground assets.

This condition does not apply if the person having the benefit of the development consent owns the adjoining land or the owner of the adjoining land has given consent in writing to that condition not applying.

(6)	Surveys by a registered surveyor – While building work is being carried out, a registered surveyor is to measure and mark the positions of the following and provide them to the principal certifier —

- All footings/ foundations

- At other stages of construction – any marks that are required by the principal certifier.

(7)	Construction Management Plan implementation - All construction management procedures and systems identified in the approved Construction Management Plan must be introduced and maintained during construction of the development.

(8)	Stormwater disposal – Following the installation of any roof, collected stormwater runoff from the structure must be:

- Diverted through a first flush system before being connected to an existing stormwater easement/system/street.

(9)	Placement of fill - Filling must not be placed in such a manner that natural drainage from adjoining land will be obstructed or in such a manner that surface water will be diverted.

Further, any alterations to the natural surface contours must not impede or divert natural surface water runoff so as to cause a nuisance to adjoining property owners.

(10)	Location of stockpiles – Stockpiles of soil must not be located on / near any drainage lines or easements, natural watercourses or water bodies, footpath or roadway without first providing suitable protective measures adequate to protect these water bodies. All stockpiles of contaminated materials must be suitably covered to prevent dust and odour nuisance.

(11)	Unexpected finds contingency (general) – Should any suspect materials (identified by unusual staining, odour, discolouration or inclusions such as building rubble, asbestos, ash material, etc.) be encountered during any stage of works (including earthworks, site preparation or construction works, etc.), such works must cease immediately until a qualified environmental specialist has be contacted and conducted a thorough assessment.

In the event that contamination is identified as a result of this assessment and if remediation is required, all works must cease in the vicinity of the contamination and Council must be notified immediately.

Where remediation work is required, the applicant will be required to obtain consent for the remediation works.

(12)	Unexpected finds contingency (remediation) - Should any additional contamination or hazardous materials be encountered during any stage of the remediation process, all remediation works in the vicinity of the findings must cease and compliance with the contingency recommendations in the approved RAP must be adopted.

(13)	Soil, erosion, sediment and water management – All requirements of the Erosion and Sediment Control Plan or Soil and Water Management Plan must be maintained at all times during the works and any measures required by the plan must not be removed until the site has been stabilised.

(14)	Offensive noise, dust, odour and vibration – All work must not give rise to offensive noise, dust, odour or vibration as defined in the Protection of the Environment Operations Act 1997 when measured at the nearest property boundary.

(15)	Delivery register - The applicant must maintain a register of deliveries which includes date, time, truck registration number, quantity of fill, origin of fill and type of fill delivered.

This register must be made available to Council officers on request and be provided to the Council at the completion of the development.

(16)	Cut and fill (if applicable) – While building work is being carried out, the principal certifier must be satisfied all soil removed from or imported to the site is managed in accordance with the following requirements:

- All excavated material removed from the site must be classified in accordance with the EPA’s Waste Classification Guidelines before it is disposed of at an approved waste management facility and the classification and the volume of material removed must be reported to the principal certifier.

All fill material imported to the site must be Virgin Excavated Natural Material as defined in Schedule 1 of the Protection of the Environment Operations Act 1997 or a material identified as being subject to a resource recovery exemption by the NSW EPA.

(17)	Uncovering relics or Aboriginal objects - While demolition or building work is being carried out, all such works must cease immediately if a relic or Aboriginal object is unexpectedly discovered. The applicant must notify the Heritage Council of NSW in respect of a relic and notify the Secretary of the Department of Planning, Industry and Environment and the Heritage Council of NSW in respect of an Aboriginal object. Building work may recommence at a time confirmed by either the Heritage Council of NSW or the Secretary of the Department of Planning, Industry and Environment.

In this condition:

- “relic” means any deposit, artefact, object or material evidence that:

  - relates to the settlement of the area that comprises New South Wales, not being Aboriginal settlement, and

  - is of State or local heritage significance; and

- “Aboriginal object” means any deposit, object or material evidence (not being a handicraft made for sale) relating to the Aboriginal habitation of the area that comprises New South Wales, being habitation before or concurrent with (or both) the occupation of that area by persons of non-Aboriginal extraction and includes Aboriginal remains.

5.0 - Prior to Issue of an Occupation Certificate

The following conditions of consent shall be complied with prior to the issue of an Occupation Certificate.

(1)	Occupation Certificate required - An Occupation Certificate must be obtained prior to any use or occupation of the development.

The Principal Certifying Authority must be satisfied that the development has been constructed in accordance with approved plans, specifications and conditions of this consent.

(2)	Survey Certificate – A Registered Surveyor must prepare a Survey Certificate to certify that the location of the building in relation to the allotment boundaries complies with the approved plans or as specified by this consent. The Survey Certificate must be provided to the satisfaction of the Principal Certifying Authority.

(3)	Mechanical exhaust system – A Certificate of Compliance prepared by a qualified Engineer confirming that the mechanical exhaust systems have been designed, constructed and installed in accordance with the relevant requirements of Clause F4.12 of the Building Code of Australia and AS1668 ‘The use and Ventilation and Air Conditioning in must be provided to the Certifying Authority.

Certification must be provided that the air handling system as installed has been tested and complies with the approved plans and specifications, including ventilation requirements and fire precautions.

(4)	Services – Evidence is to be provided to Council demonstrating that the following reticulated services are available to each lot:

- Electricity;

- Water;

- Sewer; and

- Gas (where available).

Should any of the above reticulated services not be available to the development site, a detailed statement is to be provided explaining why connection of the relevant service is not possible or practical.

(5)	Stormwater/drainage works – All stormwater and drainage works required to be undertaken in accordance with this consent must be completed.

The certification/verification must be provided to the satisfaction of the Principal Certifying Authority.

(6)	Repair of infrastructure – Before the issue of an occupation certificate, the applicant must ensure any public infrastructure damaged as a result of the carrying out of building works (including damage caused by, but not limited to, delivery vehicles, waste collection, contractors, sub-contractors, concreting vehicles) is fully repaired to the written satisfaction of Council, and at no cost to Council.

Note: If the council is not satisfied, the whole or part of the bond submitted will be used to cover the rectification work.

(7)	Completion of Roads Act Approval works - All approved road, footpath and/or drainage works, including vehicle crossings, have been completed in the road reserve in accordance with the Roads Act Approval to the satisfaction of the Council as the Roads Authority.

(8)	Geotechnical Compliance Certificate – A Certificate of Compliance prepared by a qualified Geotechnical Engineer must be provided to the Principal Certifying Authority stating that the works detailed in the Geotechnical Report have been undertaken under the Engineer’s supervision and to the Engineer’s satisfaction, and that the assumptions relating to site conditions made in preparation of the report were validated during construction.

This certificate must accompany the Works as Executed plans.

(9)	Hunter Water Corporation approval - A Section 50 Application under the Hunter Water Act 1991 must be lodged with Hunter Water Corporation (HWC) and details of the Compliance Certificate from HWC must be provided to the Certifying Authority.

(10)	Completion of landscape and tree works – Before the issue of an occupation certificate, the principal certifier must be satisfied that all landscape and tree-works, including pruning in accordance with AS 4373-2007 Pruning of amenity trees and the removal of all noxious weed species, have been completed in accordance with the approved plans and any relevant conditions of this consent.

(11)	Waste disposal – The building owner must ensure that there is a contract with a licensed contractor for the removal of all waste. No garbage is to be placed on public land (e.g. footpaths, roadways, plazas, reserves) at any time.

6.0 – Ongoing Use

The following conditions of consent are operational conditions applying to the development.

(1)	Removal of graffiti – The owner/manager of the site is responsible for the removal of all graffiti from the building and fences within 48 hours of its application.

(2)	Loading to occur on site – All loading and unloading operations are to be carried out wholly within the building/site and in accordance with the approved plans.

The loading dock (if provided) must be used for loading and unloading operations in connection with the approved use.

(3)	Approved signage maintenance – The approved signs must be maintained in a presentable and satisfactory state of repair.

The level of illumination and/or lighting intensity used to illuminate the sign/s must comply with AS 1158 ‘Lighting for Roads and Public Spaces’ and AS 4282 ‘Control of Obtrusive Effects of Outdoor Lighting’.

(4)	Fire Safety Schedule – At all times, a copy of the Fire Safety Schedule and Fire Safety Certificate must be prominently displayed in the building and a copy forwarded to the Commissioner of Fire and Rescue NSW in accordance with the Environmental Planning & Assessment Regulations 2000.

(5)	Maintenance of landscaping – Landscaping must be maintained in accordance with the approved landscape plan and conditions of this development consent. All landscape areas must be kept free of parked vehicles, stored goods, garbage or waste material at all times.

If any of the vegetation dies or is removed, it is to be replaced with vegetation of the same species and similar maturity as the vegetation which has died or was removed.

Advice Note(s):

(1)	'Dial Before you Dig' – Before any excavation work starts, contractors and others should phone the “Dial Before You Dig” service to access plans/information for underground pipes and cables.

(2)	Dividing fences – The erection of dividing fences under this consent does not affect the provisions of the Dividing Fences Act 1991. Under this Act, all relevant parties must be in agreement prior to the erection of any approved dividing fence/s under this consent.

Council has no regulatory authority in this area and does not adjudicate civil disputes relating to the provision of, or payment for, the erection of dividing fences. If there is a neighbour dispute about the boundary fence and you are seeking mediation, you may contact the Community Justice Centre, or if legal advice or action is required, you may contact the Chamber Magistrate.

(3)	Premise standard – It is the Applicants responsibility to ensure compliance with the requirements of the Disability Discrimination Act 1992 (DDA).

Note: Compliance with the Building Code of Australia does not necessarily meet the requirements of the DDA.

(4)	Disability Discrimination Act – The Commonwealth Disability Discrimination Act makes it an offence to discriminate against people on the grounds of disability, in the provision of access to premises, accommodation, or services. It is the owner/applicants responsibility to ensure compliance with the requirements of this Act.

      - Works near/adjoining electricity network assets – There are underground electricity network assets adjacent to the proposed development in Salamander Way.  The following conditions are a requirement of Ausgrid:

- The minimum clearances required from the overhead mains to the proposed development are outlined in the Ausgrid Network Standard, NS220 Overhead Design Manual. This document can be sourced from Ausgrid’s website, www.ausgrid.com.au.

- Workcover Document “Code of Practice - Work Near Overhead Powerlines” outlines the minimum safety separation requirements between overhead power lines to plant, equipment and scaffolding within the development during construction. It is a statutory requirement that this document is followed at all times throughout the construction phase.

- If the developer is concerned with the compliance issues regarding the relevant Workcover Document 8290 – Work Near Overhead Powerlines they should apply for safety advice by downloading and completing a Safety Advice Request form from https://www.ausgrid.com.au/Your-safety/Working-Safe/Clearance-enquiries.

- The works described in your notification are in the vicinity of underground electricity assets in front of Salamander Way. In addition to DBYD searches it is recommend that you to conduct a ground search to locate electricity assets immediately prior to commencing work.

- Please refer to Ausgrid’s Network Standard 156 - Working near or around underground cables which can be found on Ausgrid’s website at www.ausgrid.com.au and Workcover Document– ‘Work Near Underground Assets’.

- Any alterations or relocation of Ausgrid’s assets will be Contestable Works and funded by Developer. A request to have Ausgrids assets relocated must be submitted by completing NECF-01 form “Preliminary Enquiry” available on Ausgrid’s website. www.ausgrid.com.au

(6)	Signage – You are advised that any proposed advertising signs that are not shown on the approved plans, or classified as exempt development, are subject to a separate Development Application to Council.

(7)	Responsibility for damage for tree removal/pruning – The applicant is responsible for any damage caused to existing public utilities, footpaths or public roads during the cutting down, grinding, removal and disposal of the timber and roots. Care must also be taken by the applicant and the applicant’s agents to prevent any damage to adjoining properties. The applicant or the applicants’ agent may be liable to pay compensation to any adjoining owner if, due to tree works, damage is caused to such adjoining property.

SCHEDULE 2 - APPROVAL(S) UNDER SECTION 4.12(3)

NIL

SCHEDULE 3 - APPROVALS UNDER SECTION 4.46

- NSW Rural Fire Service, DA20211123005111-Original-1 dated 7 January 2022