ATTACHMENT A: DRAFT CONDITIONS OF CONSENT

GENERAL MATTERS

1. Development in Accordance with Submitted Plans

The development being carried out in accordance with the following approved plans and details, stamped and returned with this consent except where amended by other conditions of consent.

REFERENCED PLANS AND DOCUMENTS

| DRAWING NO. | DESCRIPTION | SHEET | REVISION | DATE |
| --- | --- | --- | --- | --- |
| DA000 | Cover Page, Index, Location Plan | - | B | 27/09/2023 |
| DA001 | Site Plan & Site Analysis | - | B | 27/09/2023 |
| DA020 | Existing Site Plan | - | B | 27/09/2023 |
| DA021 | Demolition Plan | - | B | 27/09/2023 |
| DA100 | Ground Floor Plan | - | C | 22/03/2024 |
| DA101 | Level 1 Floor Plan | - | B | 27/09/2023 |
| DA102 | Level 2 Floor Plan | - | B | 27/09/2023 |
| DA103 | Level 3 Floor Plan | - | B | 27/09/2023 |
| DA104 | Roof Plan | - | B | 27/09/2023 |
| DA500 | East & West Elevations | - | B | 27/09/2023 |
| DA501 | North & South Elevations | - | B | 27/09/2023 |
| DA600 | Building Sections | - | B | 27/09/2023 |
| DA601 | Additional Sections | - | B | 27/09/2023 |
| DA602 | Additional Sections | - | B | 27/09/2023 |
| DA900 | Perspectives | - | B | 27/09/2023 |
| DA930 | Canopy Details | - | A | 27/09/2023 |
| - | Landscape DA Report (36 pages) | - | G | 19/10/2023 |

No work (including excavation, land fill or earth reshaping) shall be undertaken prior to the issue of the Construction Certificate, where a Construction Certificate is required.

2. Construction Certificate

Prior to construction of the approved development, it is necessary to obtain a Construction Certificate. A Construction Certificate may be issued by Council or a Registered Certifier.  Plans submitted with the Construction Certificate are to be amended to incorporate the conditions of the Development Consent.

3. Building Work to be in Accordance with BCA

All building work must be carried out in accordance with the provisions of the Building Code of Australia as referenced by Section 69 of the Environmental Planning and Assessment Regulation 2021.

4. Provision of Parking Spaces

The development is required to be provided with 874 off-street car parking spaces and 15 motorcycle parking spaces.  These car parking spaces shall be available for off street parking at all times.

5. Tree Removal

Approval is granted for the removal of twenty-three (23) numbered 1, 58-72, 158-159, 223 and 233-236 as detailed in the Arboricultural Impact Assessment Report prepared by Jacksons Nature Works dated 22/05/23 and the Arborist Statement prepared by Jacksons Nature Works dated 05/09/23.

All other trees are to remain and are to be protected during all works. Suitable replacement trees are to be planted upon completion of construction.

6. External Finishes

External finishes and colours shall be in accordance with the details submitted with the development application and approved with this consent.

7. Planting Requirements

All trees planted as part of the approved landscape plan pursuant to Condition 1 of this consent are to be minimum 75 litre pot size. All shrubs planted as part of the approved landscape plan are to be minimum 200mm pot size. Groundcovers and ornamental grasses are to be minimum 150mm pot sizes. Any species that need substituting requires confirmation from Council.

8. Protection of Public Infrastructure

Adequate protection must be provided prior to work commencing and maintained during building operations so that no damage is caused to public infrastructure as a result of the works. Public infrastructure includes the road pavement, kerb and gutter, concrete footpaths, drainage structures, utilities and landscaping fronting the site. The certifier is responsible for inspecting the public infrastructure for compliance with this condition before an Occupation Certificate or Subdivision Certificate is issued. Any damage must be made good in accordance with the requirements of Council and to the satisfaction of Council.

9. Structures Adjacent to Piped / Culvert Drainage Easements

Buildings and structures, including footings and brick fences, adjacent to existing or proposed drainage easements must be located wholly outside/ integrated with the easement. A design must be provided by a structural engineer certifying that the structure will not impart a load on the pipe and/culvert within the easement.

10. Requirements for Council Drainage Easements

No works are permitted within the required public drainage easement to be created over the proposed trunk drainage system (combination of pipe and culvert system) unless approved by Council. The following requirements must be adhered to:

- Provision for overland flow and access for equipment must be maintained all the time.

- The levels along the flow path must not be altered, that will divert out of the easement.

- No fill, stockpiles, building materials or sheds can be placed within the proposed easement at all stages of the development including construction and occupation.

- Flood Warning Signs and emergency response plan must be placed at visible locations preventing public entering the flow path must be maintained all times during construction and occupation.

11. Vehicular Access and Parking

The formation, surfacing and drainage of all driveways, parking modules, circulation roadways and ramps are required, with their design and construction complying with:

- AS/ NZS 2890.1

- AS/ NZS 2890.6

- AS 2890.2

- DCP Part C Section 1 – Parking

- Council’s Driveway Specifications

Where conflict exists the Australian Standard must be used.

The following must be provided:

- Signs about flood gates and rerouting vehicles during heavy storm events are to be clearly installed and monitored for public and property safety.

- All driveways and car parking areas must be prominently and permanently line marked, signposted and maintained to ensure entry and exit is in a forward direction at all times and that parking and traffic circulation is appropriately controlled.

- All driveways and car parking areas must be separated from landscaped areas by a low level concrete kerb or wall unless approved by Council.

- All driveways and car parking areas must be concrete or bitumen. The design must consider the largest design service vehicle expected to enter the site.

- All driveways and car parking areas must be graded, collected and drained by pits and pipes to a suitable point of legal discharge.

12. Excavation/ Anchoring Near Boundaries

Earthworks near the property boundary must be carried out in a way so as to not cause an impact on adjoining public or private assets. Where anchoring is proposed to support excavation near the property boundary, the following requirements apply:

- Written owner’s consent for works on adjoining land must be obtained.

- For works adjacent to a road, anchoring that extends into the footpath verge is not permitted, except where expressly approved otherwise by Council, or Transport for NSW in the case of a classified road.

- Where anchoring within public land is permitted, a bond must be submitted to ensure their removal once works are complete. The value of this bond must relate to the cost of their removal and must be confirmed by Council in writing before payment.

- All anchors must be temporary. Once works are complete, all loads must be removed from the anchors.

- A plan must be prepared, along with all accompanying structural detail and certification, identifying the location and number of anchors proposed.

- The anchors must be located clear of existing and proposed services.

Details demonstrating compliance with the above must be submitted to the Principal Certifier and included as part of any Construction Certificate or Occupation Certificate issued.

13. Flooding

1) In reference to Sections 5.21 (2) (c) and (d) of The Hills LEP 2019 and acknowledging that the new carpark's ground floor level will be inundated during events greater than the 0.2% AEP flood event, the proposed multi-level carpark development can proceed provided the development:

"(c) will not adversely affect the safe occupation and efficient evacuation of people or exceed the capacity of existing evacuation routes for the surrounding area in the event of a flood."

"(d) incorporates appropriate measures to manage risk to life in the event of a flood.

2) Shelter-in-place by club occupants during flood events greater than the 0.2% AEP event is acceptable but there needs to be a discussion on how medical or fire emergencies will be addressed during the period of isolation or shelter-in-place.

3) The applicant’s response to Sections 5.21 (2) (c) and (d) of The Hills LEP 2019 above is to be included in the submitted flood study report.

4) A positive covenant shall be imposed on the new drainage easement that provides specifics on:

(a)	the entity responsible for the monitoring/checking, maintenance and repairs of the drainage channel.

(b)	the frequency of monitoring/checking and maintenance of the drainage channel.

(c)	what cannot be built or positioned over the drainage easement.

14. Security Bond Requirements

A security bond may be submitted in lieu of a cash bond. The security bond must:

- Be in favour of The Hills Shire Council;

- Be issued by a financial institution or other accredited underwriter approved by, and in a format acceptable to, Council (for example, a bank guarantee or unconditional insurance undertaking);

- Have no expiry date;

- Reference the development application, condition and matter to which it relates;

- Be equal to the amount required to be paid in accordance with the relevant condition;

- Be itemised, if a single security bond is used for multiple items.

Should Council need to uplift the security bond, notice in writing will be forwarded to the applicant 14 days prior.

15. Street Trees

Street trees for the section of Castle Street fronting the development site spaced between 7m and 10m apart must be provided in accordance with the approved Landscape Plans. For corner lots, except with separately approved, there should be one tree on the primary frontage and two trees on the secondary frontage. The location of street trees must be considerate of driveways, services, drainage pits and sight lines at intersections. The species and size of street trees must comply with the requirements of Council. This includes a street tree masterplan where one exists (check Council’s website for details). A street tree planting plan demonstrating compliance with the above must be submitted for written approval before any street trees are planted.

The establishment of street tree planting is included in the maintenance bond required to be paid. Alternatively, street trees can be planted by Council subject to payment of the applicable fee as per Council’s Schedule of Fees and Charges.

16. Process for Council Endorsement of Legal Documentation

Where an encumbrance on the title of the property is required to be released or amended and Council is listed as the benefiting authority, the relevant release or amendment documentation must be submitted along with payment of the applicable fee as per Council’s Schedule of Fees and Charges.  Sufficient time should be allowed for the preparation of a report and the execution of the documents by Council.

17. Road Opening Permit

Should the subdivision/ development necessitate the installation or upgrading of utility services or any other works on Council land beyond the immediate road frontage of the development site and these works are not covered by a Construction Certificate issued by Council under this consent then a separate road opening permit must be applied for and the works inspected by Council’s Maintenance Services team.

The contractor is responsible for instructing sub-contractors or service authority providers of this requirement. Contact Council’s Construction Engineer if it is unclear whether a separate road opening permit is required.

18. Contamination

Any new information, that may come to light during construction works, which has the potential to alter previous conclusions about site contamination, shall be immediately notified to Council’s Manager – Environment and Health.

19. Acoustic Requirements

The recommendations of the Acoustic Assessment and Report prepared by Acoustic Logic Pty Ltd referenced 20221053.1/1110A/R3/RF and dated 11 October 2023 submitted as part of the Development Application are to be implemented as part of this approval.

20. Retention of Trees

All trees not specifically identified on the approved plans for removal are to be retained with remedial work to be carried out in accordance with the Arboricultural Impact Assessment Report prepared by Jacksons Nature Works dated 22/05/23 and the Arborist Statement prepared by Jacksons Nature Works dated 05/09/23.

21. Imported ‘Waste Derived’ Fill Material

The only waste derived fill material that may be received at the development site is:

- virgin excavated natural material (within the meaning of the Protection of the Environment Operations Act 1997); or

- any other waste-derived material the subject of a resource recovery exemption under clause 93 of the Protection of the Environment Operations (Waste) Regulation 2014 that is permitted to be used as fill material.

Any waste-derived material the subject of a resource recovery exemption received at the development site must be accompanied by documentation as to the material’s compliance with the exemption conditions and must be provided to the Principal Certifier on request.

22. Adherence to Waste Management Plan

All requirements of the Waste Management Plan submitted as part of the Development Application must be implemented except where contrary to other conditions of consent. The information submitted regarding construction and demolition wastes can change provided that the same or a greater level of reuse and recycling is achieved as detailed in the plan. Any material moved offsite is to be transported in accordance with the requirements of the Protection of the Environment Operations Act 1997 and only to a place that can lawfully be used as a waste facility. Receipts of all waste/recycling tipping must be kept onsite at all times and produced in a legible form to any authorised officer of the Council who asks to see them.

Transporters of asbestos waste (of any load over 100kg of asbestos waste or 10 square metres or more of asbestos sheeting) must provide information to the NSW EPA regarding the movement of waste using their WasteLocate online reporting tool

www.wastelocate.epa.nsw.gov.au.

23. Management of Construction and/or Demolition Waste

Waste materials must be appropriately stored and secured within a designated waste area onsite at all times, prior to its reuse onsite or being sent offsite. This includes waste materials such as paper and containers which must not litter the site or leave the site onto neighbouring public or private property. A separate dedicated bin must be provided onsite by the builder for the disposal of waste materials such as paper, containers and food scraps generated by all workers. Building waste containers are not permitted to be placed on public property at any time unless a separate application is approved by Council to locate a building waste container in a public place.

Any material moved offsite is to be transported in accordance with the requirements of the Protection of the Environment Operations Act 1997 and only to a place that can lawfully be used as a waste facility. The separation and recycling of the following waste materials is required: metals, timber, masonry products and clean waste plasterboard. This can be achieved by source separation onsite, that is, a bin for metal waste, a bin for timber, a bin for bricks and so on. Alternatively, mixed waste may be stored in one or more bins and sent to a waste contractor or transfer/sorting station that will sort the waste on their premises for recycling. Receipts of all waste/recycling tipping must be kept onsite at all times and produced in a legible form to any authorised officer of the Council who asks to see them.

Transporters of asbestos waste (of any load over 100kg of asbestos waste or 10 square metres or more of asbestos sheeting) must provide information to the NSW EPA regarding the movement of waste using their WasteLocate online reporting tool www.wastelocate.epa.nsw.gov.au.

24. Disposal of Surplus Excavated Material

The disposal of surplus excavated material, other than to a licenced waste facility, is not permitted without the previous written approval of Council prior to works commencing on site.  Any unauthorized disposal of waste, which includes excavated material, is a breach of the Protection of the Environment Operations Act 1997 and subject to substantial penalties.  Receipts of all waste/ recycling tipping must be kept onsite at all times and produced in a legible form to any authorised officer of the Council who asks to see them.

25. Contamination Assessment & Site Remediation

The recommendations of the Site Assessment and Report prepared by Douglas Partners Pty Ltd, referenced as 217615.00 dated 24 April 2023 and the Contamination letter prepared by Douglas Partners Pty Ltd, dated 2 August 2023, referenced 217615.01 and submitted as part of the Development Application are to be implemented as part of this approval.

26. Noise Management Plan

Prior to the issue of an occupation certificate including an interim occupation certificate, a Noise Management Plan shall be submitted to the Manager – Environment & Health at the Hills Shire Council. The noise management plan is to incorporate the following items;

- A clear commitment by the operator to minimising noise from the parking garage and outside terrace;

- Details of the noise management plan review process to be implemented every 2 years;

- Provision of information for neighbours including the issuing of the noise management plan to any potentially impacted neighbour, complaints register and contact details of the person responsible for investigating offensive noise complaints;

- Action to be taken in the event of excessive noise from people on the outside terrace.

- Any other item or action deemed relevant to minimising noise within the car park.

27. Irrigation

An automatic watering system to be installed as a minimum to all terraced garden beds and green wall planters. Details including backflow prevention device, location of irrigation lines and sprinklers, and control details are to be communicated to Council or Private Certifier prior to issue of the construction certificate.

28. Safety and Crime Prevention

Surveillance:

- A regular maintenance vegetation maintenance schedule is to be implemented to ensure that the vegetation does not become overgrown. Keeping the vegetation neat will ensure that the natural sight lines can be kept, and makes the area look cared for which provides some territorial reinforcement of the area.

- Lighting should meet minimum Australian Standards. The access/exit driveways need to be adequately lit to improve visibility and increase the likelihood that offenders will be detected and apprehended.

- Use of a CCTV system with continuous recording capabilities to monitor the carpark and landscaped area. CCTV cameras need to be able to zoom in on a person of interest without loss of focus and/or quality. Relevant staff should be trained on how to access the cameras.

Environmental Maintenance:

- Rapid repair of vandalism and graffiti, the replacement of any damaged lighting and general site cleanliness is important to create a feeling of ownership.

- Materials chosen are to have regard to the potential for graffiti. Many graffiti vandals favour porous building surfaces, as ‘tags’ are difficult to remove.

Other Matters:

- Ensure that all tools are locked and secured during construction stage, with regular checks conducted in relation to the security of the site.

- CCTV with motion activated alerts are to be used so that the presence on site of any person can be monitored out of hours. Ensure that large equipment such as excavators and bob cats are tracked, and that any smaller tools have serial numbers or identifying marks recorded. If any tools are taken or lost during construction please call Police ASAP on 131 444 to report the theft and they are also able to obtain the relevant serial numbers or identifying features of the tools.

- Ensure that any access points have contact details for a site manager clearly visible so if Police or other services need to attend they can speak to the right person.

- Park smarter signage can help educate people to not leave valuable items in their cars and to ensure they secure their vehicles. Police recommend installing these signs around the car park.

PRIOR TO THE ISSUE OF A CONSTRUCTION CERTIFICATE

29. Section 7.12 Contribution

Pursuant to section 4.17 (1) of the Environmental Planning and Assessment Act 1979, and The Hills Section 7.12 Contributions Plan, a contribution of $410,222.44 shall be paid to Council. This amount is to be adjusted at the time of the actual payment in accordance with the provisions of the Hills Section 7.12 Contributions Plan.

You are advised that the maximum percentage of the levy for development under section 7.12 of the Act having a proposed construction cost is within the range specified in the table below;

| Proposed cost of the development | Maximum percentage of the levy |
| --- | --- |
| Up to $100,000 | Nil |
| $100,001 - $200,000 | 0.5 % |
| More than $200,000 | 1% |

As per Council’s exhibited Fees and Charges effective from 1 July 2022, Council will no longer accept payments by cash or by cheque. Payments will be accepted via Debit or Credit Card or Direct Debit from a bank account.

30. Construction Site Management Plan

Before the issue of a Construction Certificate, a construction site management plan must be prepared, and provided to Council. The plan must include the following matters:

a)	The location and materials for protective fencing and hoardings on the perimeter of the site;

b)	Provisions for public safety;

c)	Pedestrian and vehicular site access points and construction activity zones;

d)	Details of construction traffic management including:

i)	Proposed truck movements to and from the site (due to the site’s proximity to Castle Hill High School, truck movements shall be prohibited along Castle Street and its surrounding streets during the school drop-off and pick-up hours i.e., 8am-9:30am and 2:30pm-4pm school days);

ii)	Estimated frequency of truck movements; and

iii)	Measures to ensure pedestrian safety near the site;

iv)	The location of any proposed Work Zones in the frontage roadways (the work zones must not compromise the safety and accessibility of pedestrian and vehicular access to Castle Hill High School, including the associated drop-off and pick-up spaces located on Castle Street. If a Work Zone is proposed, an application must be made to Council to install the ‘Work Zone’. Work Zones are provided specifically for the set down and pick up of materials and not for the parking of private vehicles associated with the site. Works Zones will generally not be approved where there is sufficient space on-site for the setting down and picking up of goods being taken to or from a construction site. If the Work Zone is approved, the requirements imposed by Council on the Work Zone permit (or permits) must be complied with at all times.

v)	The provision of an on-site parking area for employees, tradesperson and construction vehicles as far as possible;

e)	Details of bulk earthworks to be carried out;

f)	The location of site storage areas and sheds;

g)	The equipment used to carry out works;

h)	The location of a garbage container with a tight-fitting lid;

i)	Dust, noise and vibration control measures;

j)	The location of temporary toilets;

k)	The protective measures for the preservation of trees on-site and in adjoining public areas including measures in accordance with:

- AS 4970 – Protection of trees on development sites;

- An applicable Development Control Plan;

- An arborist’s report approved as part of this consent

A copy of the construction site management plan must be kept on-site at all times while work is being carried out.

31. Erosion & Sediment Control Plan

Submission of an Erosion and Sediment Control Plan to the Principal Certifier, including details of:

a)	Allotment boundaries

b)	Location of the adjoining roads

c)	Contours

d)	Existing vegetation

e)	Existing site drainage

f)	Critical natural areas

g)	Location of stockpiles

h)	Erosion control practices

i)	Sediment control practices

j)	Outline of a maintenance program for the erosion and sediment controls

(NOTE: For guidance on the preparation of the Plan refer to ‘Managing Urban Stormwater Soils & Construction’ produced by the NSW Department of Housing).

32. Interim Flood Control System

- The development is required to ensure the protection of the subject site, and the upstream and downstream properties in the locality from flood risks during all storm events, and throughout the subject development and subsequent future developments.  Given this sensitive nature, the construction activities including earth works changing the terrain, diversion of trunk drainage are to ensure no additional runoff is directed towards downstream properties.

- Detailed Engineering Construction Certificate documentation must incorporate a temporary detention basin or alternative equivalent measure that ensures flood behaviour in the locality is maintained until the realigned trunk drainage system and associated structures are completed.

- Separate Compliance Certificates must be approved for the construction of the interim  Flood Control System.

- Copies of work as drawings of the interim flood control system and Flood Engineer’s Certificate are required confirming the system have been in place.

33. Integrated Stormwater Management System

Onsite Stormwater Detention – Hawkesbury River Catchment Area

Onsite Stormwater Detention (OSD) is required in accordance with Council’s adopted policy for the Hawkesbury River catchment area, the Upper Parramatta River Catchment Trust OSD Handbook, with parameters for the site storage requirement and permissible site discharge.

The development proposed a combined Online OSD Storage System with underground flood storage system compliant to the section 3.4.3 of the OSD Handbook as detailed in the applicant’s email response dated 24/04/2024. Accordingly, the flood storage volume must be added  a minimum 690cum storage volume with the required flood storage.

The set of Stormwater Concept plan Job No. 7536000 prepared by Warren Smith Consulting Engineers that forms part of Flood Investigation Report Cover Sheet Drawing C11.01 Issue 2 dated May 2023 is for development application purposes only and is not to be used for construction.

The design and construction must reflect the above combined flood storage and OSD concept and must detail the following:

- The design calculation demonstrating the required flood storage volume reflecting the TUFLOW model for various storm events from minor to major storm events.

- Design details demonstrating the required flood storage and additional storage compensating the conventional OSD storage mentioned above.

- Flood Engineer’s Certification confirming the achievement of additional volume  (a minimum 690cum) proposed to offset the conventional OSD by incorporating with the flood storage, and such offset improves the downstream flood behaviour with reduced velocity.

Water Quality Treatment Measures

Water sensitive urban design elements, consisting of Rainwater Tank/s and Water Quality Treatment Measures are to be provided with the development.

Detailed plans for the water sensitive urban design elements must be submitted for approval. The detailed plans must be suitable for construction and include detailed and representative longitudinal and cross sections of the proposed infrastructure. The design must be accompanied, informed and supported by detailed water quality and quantity modelling. The modelling must demonstrate a reduction in annual average pollution export loads from the development site in line with the following environmental targets:

- 90% reduction in the annual average load of gross pollutants

- 85% reduction in the annual average load of total suspended solids

- 65% reduction in the annual average load of total phosphorous

- 45% reduction in the annual average load of total nitrogen

A soft copy of the MUSIC model is to be provided.

The design and construction of the stormwater management system must be approved by either Council or an accredited certifier. A Compliance Certificate certifying the detailed design of the stormwater management system can be issued by Council. The following must be included with the documentation approved as part of any Construction Certificate:

- Design/ construction plans prepared by a civil/ hydraulic engineer.

- Drainage calculations and details, including those for all weirs, overland flow paths and diversion (catch) drains, catchment areas, times of concentration and estimated peak run-off volumes.

- A maintenance schedule.

34. Works in Existing Easement

All adjoining properties either benefited or burdened by the existing easement must be notified of the proposed works within the easement in writing, including commencement and completion dates, before a Construction Certificate or Subdivision Works Certificate is issued.

35. Works on Adjoining Land

Where the engineering works included in the scope of this approval extend into adjoining land, written consent from all affected adjoining property owners must be obtained and submitted to Council before a Construction Certificate or Subdivision Works Certificate is issued.

36. Security Bond – Road Pavement and Public Asset Protection

In accordance with Section 4.17(6) of the Environmental Planning and Assessment Act 1979, a security bond of $400,000.00 is required to be submitted to Council to guarantee the protection of the road pavement and other public assets in the vicinity of the site during construction works. The above amount is calculated at the per square metre rate set by Council’s Schedule of Fees and Charges, with the area calculated based on the road frontage of the subject site (125m) plus an additional 50m on eastern side (total 225m) multiplied by the width of the road (16m) and on southern side (50m) multiplied by the width of the road (11m).

The bond must be lodged with Council before a Construction Certificate is issued.

The bond is refundable upon written application to Council and is subject to all work being restored to Council’s satisfaction. Should the cost of restoring any damage exceed the value of the bond, Council will undertake the works and issue an invoice for the recovery of these costs.

37. Security Bond – Internal Trunk Diversion and External Works

In accordance with Section 4.17(6) of the Environmental Planning and Assessment Act 1979, a security bond is required to be submitted to Council to guarantee the construction, completion and performance of all works external to the site. The bonded amount must be based on 150% of the tendered value of providing all such works. The bond amount must be confirmed with Council prior to payment. The tendered value of the work must be provided for checking so the bond amount can be confirmed.

The bond must be lodged with Council before a Construction Certificate is issued.

The bond is refundable upon written application to Council and is subject to all work being completed to Council’s satisfaction.

38. Engineering Works

The design and construction of the engineering works listed below must be provided for in accordance with Council’s Design Guidelines Subdivisions/ Developments and Works Specifications Subdivisions/ Developments.

Engineering works can be classified as either “subdivision works” or “building works”.

Works within an existing or proposed public road, or works within an existing or proposed public reserve can only be approved, inspected and certified by Council.

Depending on the development type and nature and location of the work the required certificate or approval type will differ. The application form covering these certificates or approvals is available on Council’s website and the application fees payable are included in Council’s Schedule of Fees and Charges.

The Flood Investigation Report Job NO: G1570 dated 19/05/2023 carried out by Lyall & Associates and the accompanied Stormwater Concept plan Job No. 7536000 prepared by Warren Smith Consulting Engineers - Cover Sheet Drawing C11.01 Issue 2 dated May 2023 are for development application purposes only and are not to be used for construction. The design and construction of the engineering works listed below must reflect these and TUFLOW model submitted with the application.

- Flooding – Realignment of Existing Trunk Drainage System

Proposed construction of a culvert/ covered stormwater channel system realigned through the carpark conveys stormwater runoff from upstream properties whilst providing flood storage and online OSD storage.

Detailed design of the channel and associated drainage structures including inlet structure and flood storage located in the vicinity of southern boundary, and outlet structure at the northern side must reflect the final TUFLOW model accepted by council under the development application.

The flood storage basin located in the vicinity of southern boundary and associated retaining walls must be designed to be compatible to the TUFLOW model. The height of retaining walls whilst ensuring the achievement of flood storage, they must be designed to match the existing ground levels to facilitate directing upstream surface runoff entering the flood storage with no impedance.

- Driveway Requirements

The design, finish, gradient and location of all driveway crossings must comply with the above documents and Council’s Driveway Specifications.

All entry points to the car park including driveway entry, lift shafts and other openings must be located above the Flood Planning Level (FPL) requirements (i.e 1% AEP flood level and 500 mm freeboard) to prevent the ingress of floodwaters.

This FPL requirement applies to the driveway entry point of the car park, it must be designed to an RL 103.2m AHD.

The existing driveway crossing must be certified to ensure the structural integrity to Council’s heavy duty standard unless it is proposed to be reconstructed.

A separate vehicular crossing request fee is payable as per Council’s Schedule of Fees and Charges if the existing crossing is to be reconstructed.

- Flood and Structural Certifications

The Certifications below must be provided with the construction documentation:

- Flood Certification confirming the detailed design of trunk drainage diversion is consistent with the design parameters use in the TUFLOW flood model and

- Certification from a suitably accredited structural engineer confirming that all structural elements associated with the trunk drainage system are designed to withstand necessary flood forces.

- Disused Pipes and Drainage Structures

All disused pipes and drainage structures existing within the site must be removed and  backfilled. Alternatively, if they are to be retained, they must be blocked at the upstream and downstream end ensuring the pipes do not collect/ convey public drainage.

Certification from a Registered Surveyor and the flood engineer confirming the removal/ conversion of these structures reinstated to necessary standards must be provided to the Principal Certifying Authority prior to issue an occupation certificate.

- Local Stormwater Drainage

A local stormwater drainage system must be provided to manage the shallow sheet flow that the TUFLOW shows discharging to the entrance driveway from the existing entrance road for all storms up to 5% AEP.

- Site Stormwater Drainage

The entire development area must be graded, collected and drained by pits and pipes to the water quality chamber prior to mixing with flood water in the outlet structure.

- Earthworks/ Site Regrading

Earthworks and retaining walls are limited to those locations and heights shown on Appendix B of the Geotechnical Investigation Report prepared by Douglas Partners – Project Reference No, 217615.00 dated April 2023. Where earthworks are not shown on the approved plan the topsoil within lots must not be disturbed. Retaining walls between lots must be located on the high side lot that is being retained, save the need for easements for support on the low side lot adjacent.

- Stormwater Drainage – Creek Outlets

Any piped stormwater outlets/ connections to a natural watercourse must comply with the requirements of Council, the Natural Resources Access Regulator (even where the receiving waterbody is not a natural watercourse) and Sydney Water, in the case of stormwater management land.

PRIOR TO WORK COMMENCING ON THE SITE

39. Management of Building Sites

The erection of suitable fencing or other measures to restrict public access to the site and building works, materials or equipment when the building work is not in progress or the site is otherwise unoccupied.

The erection of a sign, in a prominent position, stating that unauthorised entry to the site is not permitted and giving an after hours contact name and telephone number.

40. Consultation with Service Authorities

Applicants are advised to consult with Telstra, NBN Co and Australia Post regarding the installation of telephone conduits, broadband connections and letterboxes as required.

Applicants are advised to consult with the relevant electricity authority with respect to electricity supply and connection points to the site, or any other electrical infrastructure located in close proximity to the proposed works. Unimpeded access must be available to the electricity supply authority, during and after building, to the electricity meters and metering equipment.

41. Approved Temporary Closet

An approved temporary closet connected to the sewers of Sydney Water, or alternatively an approved chemical closet is to be provided on the land, prior to building operations being commenced.

42. Stabilised Access Point

A stabilised all weather access point is to be provided prior to commencement of site works, and maintained throughout construction activities until the site is stabilised.  The controls shall be in accordance with the requirements with the details approved by Council and/or as directed by Council Officers.  These requirements shall be in accordance with Managing Urban Stormwater – Soils and Construction produced by the NSW Department of Housing (Blue Book).

43. Traffic Control Plan

A Traffic Control Plan is required to be prepared and approved. The person preparing and approving the plan must have the relevant accreditation to do so. A copy of the approved plan must be submitted to Council before being implemented. Where amendments to the plan are made, they must be submitted to Council before being implemented.

A plan that includes full (detour) or partial (temporary traffic signals) width road closure requires separate specific approval from Council. Sufficient time should be allowed for this to occur.

44. Details and Signage - Principal Contractor and Principal Certifier

Details

Prior to work commencing, submit to the Principal Certifier notification in writing of the principal contractor’s (builder) name, address, phone number, email address and licence number.

Before work commences, details of the Principal Certifier, in accordance with Section 57 of the Environmental Planning and Assessment (Development Certification and Fire Safety) Regulation 2021, is to be lodged on the NSW Planning portal.

Signage

A sign is to be erected in accordance with Section 70 of the Environmental Planning and Assessment Regulation 2021.  The sign is to be erected in a prominent position on the site before the commencement of the work, and show –

- the name, address and telephone number of the Principal Certifier,

- the name and a telephone number on which the principal contractor/person responsible for the work may be contacted outside working hours.

The sign must state that unauthorised entry to the work site is prohibited.

45. Erection of Signage – Supervision of Subdivision Work

In accordance with the Environmental Planning and Assessment Regulations 2000, a sign is to be erected in a prominent position displaying the following information:

- The name, address and telephone number of the Principal Certifier (Council);

- The name and telephone number (including after hours) of the person responsible for carrying out the works;

- That unauthorised entry to the work site is prohibited.

This signage must be maintained while the subdivision work is being carried out and must be removed upon completion.

As per the Environmental Planning and Assessment Act 1979, only Council can issue a Subdivision Certificate which means only Council can be appointed as the Principal Certifier for subdivision works.

46. Contractors Details

The contractor carrying out the subdivision works must have a current public liability insurance policy with an indemnity limit of not less than $10,000,000.00. The policy must indemnify Council from all claims arising from the execution of the works. A copy of this insurance must be submitted to Council prior to works commencing.

47. Erosion and Sediment Control/ Soil and Water Management

The approved ESCP or SWMP measures must be in place prior to works commencing and maintained during construction and until the site is stabilised to ensure their effectiveness. For major works, these measures must be maintained for a minimum period of six months following the completion of all works.

48. Property Condition Report – Public Assets

A property condition report must be prepared and submitted to Council recording the condition of all public assets in the direct vicinity of the development site. This includes, but is not limited to, the road fronting the site along with any access route used by heavy vehicles. If uncertainty exists with respect to the necessary scope of this report, it must be clarified with Council before works commence. The report must include:

- Planned construction access and delivery routes; and

- Dated photographic evidence of the condition of all public assets.

49. Tree Protection Fencing

Prior to any works commencing on site (including demolition) Tree Protection Fencing must be in place around trees or groups of trees nominated for retention. The location of fencing shall be as per the Tree Protection Plan prepared by Jacksons Nature Works dated 05/09/23.

The erection of a minimum 1.8m chain-wire fence to delineate the TPZ is to stop the following occurring:

- Stockpiling of materials within TPZ;

- Placement of fill within TPZ;

- Parking of vehicles within the TPZ;

- Compaction of soil within the TPZ;

- Cement washout and other chemical or fuel contaminants within TPZ; and

- Damage to tree crown.

The location of tree protection fencing can only be altered by the Project Arborist. The temporary relocation or removal of tree protection fencing to undertake works within the TPZs of trees to be retained is strictly to be undertaken under supervision of the Project Arborist.

50. Tree Protection Signage

Prior to any works commencing on site a Tree Protection Zone sign must be attached to the Tree Protection Fencing stating “Tree Protection Zone No Access” (The lettering size on the sign shall comply with AS1319). Access to this area can only be authorised by the project arborist or site manager.

51. Mulching within Tree Protection Zone

Prior to any works commencing on site all areas within the Tree Protection Zone are to be mulched with composted leaf mulch to a depth of 100mm.

52. Trenching within Tree Protection Zone

Any trenching or excavations for the installation of retaining walls, OSD, drainage, sewerage, irrigation or any other services shall not occur within the Tree Protection Zone of trees identified for retention without prior notification to Council (72 hours notice) or under supervision of a project arborist.

If supervision by a project arborist is selected, certification of supervision must be provided to the Certifying Authority within 14 days of completion of trenching works.

53. Engagement of a Project Arborist

Prior to works commencing, a Project Arborist (minimum AQF Level 5) is to be appointed and the following details provided to The Hills Shire Council’s Manager – Environment & Health:

- Name:

- Qualification/s:

- Telephone number/s:

- Email:

If the Project Arborist is replaced, Council is to be notified in writing of the reason for the change and the details of the new Project Arborist provided within 7 days.

54. Erosion and Sedimentation Controls

Erosion and sedimentation controls shall be in place prior to the commencement of site works and maintained throughout construction activities, until the site is landscaped and/or suitably revegetated. These requirements shall be in accordance with Managing Urban Stormwater – Soils and Construction (Blue Book) produced by the NSW Department of Housing.

This will include, but not be limited to a stabilised access point and appropriately locating stockpiles of topsoil, sand, aggregate or other material capable of being moved by water being stored clear of any drainage line, easement, natural watercourse, footpath, kerb or roadside.

55. Erosion & Sediment Control Plan Kept on Site

A copy of the Erosion and Sediment Control Plan must be kept on site at all times during construction and available to Council on request.

56. Protection of Tree Canopy and Ground Protection within TPZ

Care shall be taken when operating excavation machineries, cranes and similar equipment near trees to avoid damage to tree canopies (foliage and branches). Under no circumstances shall branches be torn-off by construction equipment. Where there is potential conflict between tree canopy and construction activities, the advice of a Project Arborist must be sought.

In the event of any tree becoming damaged for any reason during the construction period a Project Arborist shall be engaged to inspect and provide advice on any remedial action to minimise any adverse impact. Such remedial action shall be implemented as soon as practicable and certified by the Project Arborist.

The removal of a small portion of the crown (foliage and branches) is generally tolerable provided that the extent of pruning required is within 10% of the total foliage volume of the tree and the removal of branches does not create large wounds or disfigure the natural form and habit of the tree. All pruning cuts must be undertaken in accordance with the Australian Standard of Pruning of Amenity Tree (AS 4373-2007).

If any construction access or works is required within the TPZ of any tree (s) identified for retention ground protection measures shall be required.

Ground protection shall include temporary access for machinery, vehicular and foot traffic within the TPZ of trees on the site and/or on adjoining Council site (s).

The measures may include a permeable membrane such as geo-textile fabric beneath a layer of mulch or crushed rock below rumble boards as per Clause 4.5.3 Ground protection AS4970-2009 Protection of trees on development sites.

57. Demolition Works and Asbestos Management

The demolition of any structure is to be carried out in accordance with the Work Health and Safety Act 2011. All vehicles transporting demolition materials offsite are to have covered loads and are not to track any soil or waste materials on the road. Should demolition works obstruct or inconvenience pedestrian or vehicular traffic on adjoining public road or reserve, a separate application is to be made to Council to enclose the public place with a hoard or fence. All demolition works involving the removal and disposal of asbestos must only be undertaken by a licenced asbestos removalist who is licenced to carry out the work. Asbestos removal must be carried out in accordance with the SafeWork NSW, Environment Protection Authority and Office of Environment and Heritage requirements. Asbestos to be disposed of must only be transported to waste facilities licenced to accept asbestos. No asbestos products are to be reused on the site.

DURING CONSTRUCTION

58. Hours of Work

Work on the project to be limited to the following hours: -

Monday to Saturday - 7.00am to 5.00pm;

No work to be carried out on Sunday or Public Holidays.

The builder/contractor shall be responsible to instruct and control sub-contractors regarding the hours of work.

59. Standard of Works

All work must be carried out in accordance with Council’s Works Specification Subdivisions/ Developments and must include any necessary works required to make the construction effective. All works, including public utility relocation, must incur no cost to Council.

60. Critical Stage Inspections – Engineering Works

The subdivision works must be inspected by Council in accordance with the schedule included in Council’s Works Specification Subdivisions/ Developments. A minimum of 24 hour’s notice is required for inspections. No works are to commence until the first inspection has been carried out.

61. Survey Report and Site Sketch

A survey report and site sketch signed and dated (including contact details) by the registered land surveyor may be requested by the Principal Certifier during construction.  The survey shall confirm the location of the building/structure in relation to all boundaries and/or levels.  As of September 2018 the validity of surveys has been restricted by legislation to 2 years after issue.

62. Critical Stage Inspections and Inspections Nominated by the Principal Certifier

Section 6.6 of the Environmental Planning and Assessment Act 1979 requires critical stage inspections to be carried out for building work as prescribed by Section 61 of the Environmental Planning and Assessment (Development Certification and fire Safety) Regulation 2021.  Prior to allowing building works to commence the Principal Certifier must give notice of these inspections pursuant to Section 58 of the Environmental Planning and Assessment (Development Certification and fire Safety) Regulation 2021.

An Occupation Certificate cannot be issued and the building may not be able to be used or occupied where any mandatory critical stage inspection or other inspection required by the Principal Certifier is not carried out.  Inspections can only be carried out by the Principal Certifier unless agreed to by the Principal Certifier beforehand and subject to that person being a registered certifier.

63. Project Arborist

The Project Arborist must be on site to supervise any works in the vicinity of or within the Tree Protection Zone (TPZ) of any trees required to be retained on the site or any adjacent sites.

Supervision of the works shall be certified by the Project Arborist and a copy of such certification shall be submitted to the PCA within 14 days of completion of the works.

64. Construction Noise

The emission of noise from the construction of the development shall comply with the Interim Construction Noise Guideline published by the Department of Environment and Climate Change (July 2009).

65. Contamination

Ground conditions are to be monitored and should evidence such as, but not limited to, imported fill and/or inappropriate waste disposal indicate the likely presence of contamination on site, works are to cease, Council’s Manager- Environment and Health is to be notified and a site contamination investigation is to be carried out in accordance with the State Environmental Planning Policy (Resilience and Hazards) 2021.

The report is to be submitted to Council’s Manager – Environment and Health for review prior to works recommencing on site.

66. Stockpiles

Stockpiles of topsoil, sand, aggregate or other material capable of being moved by water shall be stored clear of any drainage line, easement, natural watercourse, footpath, kerb or roadside.

67. Asbestos Removal

Any asbestos containing material, whether bonded or friable, shall be removed by a licenced asbestos removalist. A signed contract between the removalist and the person having the benefit of the development application is to be provided to the Principle Certifying Authority, identifying the quantity and type of asbestos being removed.  Details of the landfill site that may lawfully receive the asbestos is to be included in the contract.

Once the materials have been removed and delivered to the landfill site, receipts verifying the quantity received by the site are to be provided to the Principal Certifying Authority.

Transporters of asbestos waste (of any load over 100kg of asbestos waste or 10 square metres or more of asbestos sheeting) must provide information to the NSW EPA regarding the movement of waste using their WasteLocate online reporting tool www.wastelocate.epa.nsw.gov.au.

68. Dust Control

The emission of dust must be controlled to minimise nuisance to the occupants of the surrounding premises.  In the absence of any alternative measures, the following measures must be taken to control the emission of dust:

- Dust screens must be erected around the perimeter of the site and be kept in good repair for the duration of the construction work;

- All dusty surfaces must be wet down and suppressed by means of a fine water spray.  Water used for dust suppression must not cause water pollution; and

- All stockpiles of materials that are likely to generate dust must be kept damp or covered.

69. Further contamination assessment

A contamination assessment of the soils shall be carried out in areas that were inaccessible at the time of the initial contamination assessment. A copy of the assessment shall be submitted to Council’s Manager – Environment & Health.

PRIOR TO ISSUE OF AN OCCUPATION AND/OR SUBDIVISION CERTIFICATE

70. Lighting installed in accordance with Obtrusive Lighting Report

The design requirements, recommendations and proposed installation of lighting in the Obtrusive Lighting report prepared by Haron Robson Pty Ltd, dated 17 January 2024 and submitted as part of the Development Application are to be implemented and completed prior to the occupation certificate as part of this approval.

71. Landscaping Prior to Issue of any Occupation Certificate

The landscaping of the site shall be carried out in accordance with the relevant “Planting Requirements” Condition of the subject Development Consent prior to issue of an Occupation Certificate. The Landscaping shall be either certified to be in accordance with the approved plans by an Accredited Landscape Architect or be to the satisfaction of Council’s Manager Environment and Health. All landscaping is to be maintained at all times in accordance with THDCP Part C, Section 3 – Landscaping and the approved landscape plan.

72. Completion of Engineering Works

An Occupation Certificate must not be issued prior to the completion of all engineering works covered by this consent, in accordance with this consent.

73. Property Condition Report – Public Assets

Before an Occupation Certificate is issued, an updated property condition report must be prepared and submitted to Council. The updated report must identify any damage to public assets and the means of rectification for the approval of Council.

74. Stormwater Management Certification

The stormwater management system must be completed to the satisfaction of the Principal Certifier prior to the issuing of an Occupation Certificate. The following documentation is required to be submitted upon completion of the stormwater management system and prior to a final inspection:

- Works as executed plans prepared on a copy of the approved plans;

- For Onsite Stormwater Detention (OSD) systems, a certificate of hydraulic compliance (Form B.11) from a hydraulic engineer verifying that the constructed OSD system will function hydraulically;

- For OSD systems, a certificate of structural adequacy from a structural engineer verifying that the structures associated with the constructed OSD system are structurally adequate and capable of withstanding all loads likely to be imposed on them during their lifetime;

- Civil Engineer’s Certification confirming the installation of Water Quality Treatment measures achieving the objectives.

- Records of inspections; and

- An approved operations and maintenance plan.

Where Council is not the Principal Certifier a copy of the above documentation must be submitted to Council.

75. Engineering Works – Submission Requirements

Once the Engineering works are complete the following documentation (where relevant/ required) must be prepared in accordance with Council’s Design Guidelines Subdivisions/ Developments and submitted to Council’s Construction Engineer for written approval:

- Works as Executed Plans

- Registered Surveyor’s Certificate confirming the removal of the existing trunk drainage pipes

- Stormwater Drainage CCTV Recording (structures within the site, and upstream and downstream system)

- Flood Warning Signs and Evacuation Plan

- Pavement Certification

- Public Asset Creation Summary

- Structural Certification of all drainage structures become public assets

The works as executed plan must be prepared by a civil engineer or registered surveyor. A copy of the approved detailed design must underlay the works as executed plan so clearly show any differences between the design and constructed works. The notation/ terminology used must be clear and consistent too. For bonded/ outstanding work the works as executed plan must reflect the actual work completed. Depending on the nature and scope of the bonded/ outstanding work a further works as executed plan may be required later, when that work is completed.

All piped stormwater drainage systems and ancillary structures which will become public assets must be inspected by CCTV. A copy of the actual recording must be submitted electronically for checking.

A template public asset creation summary is available on Council’s website and must be used.

76. Performance/ Maintenance Security Bond

A performance/ maintenance bond of 5% of the total cost of the engineering works is required to be submitted to Council. The bond will be held for a minimum defect liability period of six months from the certified date of completion of the subdivision works. The minimum bond amount is $5,000.00. The bond is refundable upon written application to Council and is subject to a final inspection.

77. Confirmation of Drainage Structures

A letter from a registered surveyor must be provided with the works as executed plans certifying that all pipes, channel and drainage structures are located within the proposed realigned drainage easement.

78. Section 73 Compliance Certificate

A Section 73 Compliance Certificate issued under the Sydney Water Act 1994 must be obtained from Sydney Water confirming satisfactory arrangements have been made for the provision of water and sewer services. Application must be made through an authorised Water Servicing Coordinator. The certificate must refer to this development consent and all of the lots created.

Sydney Water’s guidelines provide for assumed concurrence for the strata subdivision of a development approved by an earlier consent covered by a compliance certificate.

The only other exception to this is for services other than potable water supply, in which case the requirements of Flow Systems/ Box Hill Water as a network operator under the Water Industry Competition Act 2006 would apply. A separate certificate of compliance would need to be issued for those works.

79. Removal and Amendment to Existing Easements

The development proposes to replace the existing public stormwater drainage structures (pipe systems) with culvert system within the site through the proposed carpark. Therefore, the existing drainage easements must be amended to contain the diverted trunk drainage system.

This will require removal of any redundant existing easements.

As Council is listed as the benefiting authority, the amendment documentation must be submitted along with payment of the applicable fee as per Council’s Schedule of Fees and Charges.

80. Final Plan and Section 88B Instrument

The final plan and Section 88B Instrument must provide for the following. Council’s standard recitals must be used.

- Easement – Public Stormwater Drainage

Drainage easements must be created over all stormwater structures provided under the trunk drainage diversion works which convey public stormwater runoff, in accordance with the requirements of Council. Easement widths must comply with Council’s Design Guidelines Subdivisions/ Developments.

The subject development proposes to replace the existing pipes with the realigned culvert system.

- Restriction – Flood Planning Level

The site must be burdened with a restriction that refers to the flood information submitted with the development application using the “flood planning level” terms included in the standard recitals.

- Restriction/ Covenant – Onsite Stormwater Detention

The development must be burdened with a restriction and a positive covenant using “onsite stormwater detention systems” terms included in the standard recitals. The terms need to be amended to reflect with the online OSD storage combined with the flood flow path.

- Restriction/ Covenant – Water Sensitive Urban Design

The development must be burdened with a restriction and a positive covenant that refers to the WSUD elements referred to earlier in this consent using the “water sensitive urban design elements” terms included in the standard recitals.

- Restriction/ Covenant – Flood Control System

The development must be burdened with a restriction and a positive covenant to ensure the constructed Flood Control System must not be modified and maintained to facilitate the conveyance of public stormwater runoff.

- Covenant – Drainage Easement

The positive covenant shall be imposed on the new drainage easement that provides specifics on:

- the entity responsible for the monitoring/checking, maintenance and repairs of the drainage channel.

- the frequency of monitoring/checking and maintenance of the drainage channel.

- what cannot be built or positioned over the drainage easement.

- funding arrangement for the monitoring/checking, maintenance and repairs of the drainage channel.

81. Provision of Electrical Services

Submission of a notification of arrangement certificate confirming satisfactory arrangements have been made for the provision of electrical services. This must include the under-grounding of the existing electrical services fronting the site and removal of all redundant poles and cables, unless otherwise approved by Council in writing. The certificate must refer to this development consent and all of the lots created.

82. Acoustic Compliance Report

The acoustic consultant shall progressively inspect the installation of the required noise suppressant components as recommended in the Acoustic Report, prepared by Acoustic Logic Pty Ltd, dated 11 October 2023 and referenced 20221053.1/1110A/R3/RF. Certification is to be provided.

THE USE OF THE SITE

83. Operational Management Plan

The Operational Management Plan submitted with the application titled “Castle Hill RSL Car Park – Operational Management Plan” is to be complied with at all times when the multi-level car park is in operation. Where there is a conflict between specific conditions of this consent and the Operational Management Plan the specific condition shall prevail.

84. Noise to Surrounding Area

There shall be no amplified music or speakers external to the building.

85. Offensive Noise

The use of the premises, building services, equipment, machinery and ancillary fittings shall not give rise to “offensive noise” as defined under the provisions of the Protection of the Environment Operation Act 1997.

86. Lighting

Any lighting on the site shall be designed so as not to cause a nuisance to other residences in the area or to motorists on nearby roads and to ensure no adverse impact on the amenity of the surrounding area by light overspill.  All lighting shall comply with the Australian Standard AS 4282:1997 Control of Obtrusive Effects of Outdoor Lighting.