| WOP Development Consent Conditions |  |
| --- | --- |

| DA No: | DA/642/2020 |
| --- | --- |
| Property: | 11-19 Frenchmans Road, RANDWICK NSW 2031 |
| Proposal: | Demolition of existing structures including existing aged care facility, construction of a 4 storey building for the purposes of seniors housing with ancillary uses comprising 86 beds (77 rooms) and 2 independent units, rooftop terrace, basement car parking for 18 vehicles, lot consolidation, landscaping and associated works (variations to FSR and building height of the RLEP 2012). |

Development Consent Conditions

GENERAL CONDITIONS

The development must be carried out in accordance with the following conditions of consent.

JulThese conditions have been applied to satisfy the relevant requirements of the Environmental Planning & Assessment Act 1979, Environmental Planning & Assessment Regulation 2000 and to provide reasonable levels of environmental amenity.

Approved Plans & Supporting Documentation

- The development must be implemented substantially in accordance with the plans and supporting documentation listed below and endorsed with Council’s approved stamp, except where amended by Council in red and/or by other conditions of this consent:

| Plan | Drawn by | Dated | Received on the Portal |
| --- | --- | --- | --- |
| Site Plan, DA01, Rev B | Bofa Robertson Group | 1 June 2021 | 31 August 2021 |
| Site Analysis, DA02, Rev B | Bofa Robertson Group | 1 June 2021 | 31 August 2021 |
| Lower Basement, DA03, Rev B | Bofa Robertson Group | 1 June 2021 | 31 August 2021 |
| Basement, DA04, Rev B | Bofa Robertson Group | 1 June 2021 | 31 August 2021 |
| Ground Floor, DA05, Rev B | Bofa Robertson Group | 1 June 2021 | 31 August 2021 |
| First Floor, DA06, Rev B | Bofa Robertson Group | 1 June 2021 | 31 August 2021 |
| Second Floor, DA07, Rev B | Bofa Robertson Group | 1 June 2021 | 31 August 2021 |
| Third Floor, DA08, Rev B | Bofa Robertson Group | 1 June 2021 | 31 August 2021 |
| Roof Plan, DA09, Rev B | Bofa Robertson Group | 1 June 2021 | 31 August 2021 |
| Sections (A,B,C), DA10, Rev C | Bofa Robertson Group | 15 July 2021 | 31 August 2021 |
| Sections (D,E,F), DA11, Rev C | Bofa Robertson Group | 15 July 2021 | 31 August 2021 |
| Sections (G,H), DA12, Rev C | Bofa Robertson Group | 15 July 2021 | 31 August 2021 |
| Elevations, DA13, Rev C | Bofa Robertson Group | 15 July 2021 | 31 August 2021 |
| Street Elevations, DA14, Rev C | Bofa Robertson Group | 15 July 2021 | 31 August 2021 |
| Demolition Plan, DA24, Rev B | Bofa Robertson Group | 1 June 2021 | 31 August 2021 |
| Site Audit Interim Advice, Ref IA 0301-2107_02 | Enviroview | 2 June 2021 | 1 July 2021 |
| Remedial Action Plan | Consulting Earth Scientists | 13 May 2021 | 1 July 2021 |
| Sediment & Erosion Control Plan, DA_SE01, Rev 03 | Henry & Hymas | 2 June 2021 | 1 July 2021 |
| Sediment & Erosion Control Plan, DA_SE02, Rev 02 | Henry & Hymas | 16 July 2020 | 1 July 2021 |
| Amended Landscape Plan, Issue D, | Arcadia | May 2021 | 1 July 2021 |
| Noise Impact Assessment, Rev 03 | ADP Consulting | 7 June 2021 | 1 July 2021 |
| Bulk Earthwork, BE01, Rev 02 | Henry & Hymas | 16 July 2020 | 24 November 2020 |
| Bulk Earthwork, BE02, Rev 02 | Henry & Hymas | 16 July 2020 | 24 November 2020 |
| Heritage Impact Statement, J3404 | Weir Phillips | November 2020 | 24 November 2020 |
| Plan of Management | Summitcare Randwick | 12 November 2020 | 24 November 2020 |
| Operational WMP, Rev C | Elephants Foot | 27 August 2020 | 24 November 2020 |
| Construction and Demolition WMP, Rev B | Elephants Foot | 27 August 2020 | 24 November 2020 |
| Concurrence Ref SYD21/00005/02 | Transport for NSW | 30 April 2021 | 30 April 2021 |

| BASIX Certificate No. | Dated | Received on the Portal |
| --- | --- | --- |
| 1130908M_02 | 7 July 2021 | 31 August 2021 |

REQUIREMENTS BEFORE A CONSTRUCTION CERTIFICATE CAN BE ISSUED

The following conditions of consent must be complied with before a ‘Construction Certificate’ is issued by either Randwick City Council or an Accredited Certifier.  All necessary information to demonstrate compliance with the following conditions of consent must be included in the documentation for the construction certificate.

These conditions have been applied to satisfy the relevant requirements of the Environmental Planning & Assessment Act 1979, Environmental Planning & Assessment Regulation 2000, Council’s development consent conditions and to achieve reasonable levels of environmental amenity.

Consent Requirements

- The requirements and amendments detailed in the ‘General Conditions’ must be complied with and be included in the construction certificate plans and associated documentation.

External Colours, Materials & Finishes

- The colours, materials and finishes of the external surfaces to the building are to be compatible with the adjacent development to maintain the integrity and amenity of the building and the streetscape.

Details of the proposed colours, materials and textures (i.e. a schedule and brochure/s or sample board) are to be submitted to and approved by Council’s Manager Development Assessments prior to issuing a construction certificate for the development.

Section 7.12 Development Contributions

- In accordance with Council’s Development Contributions Plan effective from 21 April 2015, based on the development cost of $34,748,234  the following applicable monetary levy must be paid to Council: $347,482.34 .

The levy must be paid in cash, bank cheque or by credit card prior to a construction certificate being issued for the proposed development.  The development is subject to an index to reflect quarterly variations in the Consumer Price Index (CPI) from the date of Council’s determination to the date of payment. Please contact Council on telephone 9093 6999 or 1300 722 542 for the indexed contribution amount prior to payment.

To calculate the indexed levy, the following formula must be used:

IDC = ODC x CP2/CP1

Where:

IDC = the indexed development cost

ODC = the original development cost determined by the Council

CP2 = the Consumer Price Index, All Groups, Sydney, as published by the ABS in  respect of the quarter ending immediately prior to the date of payment

CP1 = the Consumer Price Index, All Groups, Sydney as published by the ABS in respect of the quarter ending immediately prior to the date of imposition of the condition requiring payment of the levy.

Council’s Development Contribution Plans may be inspected at the Customer Service Centre, Administrative Centre, 30 Frances Street, Randwick or at www.randwick.nsw.gov.au.

Compliance Fee

- A development compliance and enforcement fee of $34,748.23 shall be paid to Council in accordance with Council’s adopted Fees & Charges Pricing Policy, prior to the issue of a Construction Certificate for development.

Long Service Levy Payments

- The required Long Service Levy payment, under the Building and Construction Industry Long Service Payments Act 1986, must be forwarded to the Long Service Levy Corporation or the Council, in accordance with Section 6.8 of the Environmental Planning & Assessment Act 1979.

At the time of this development consent, Long Service Levy payment is applicable on building work having a value of $25,000 or more, at the rate of 0.35% of the cost of the works.

Security Deposits

- The following security deposits requirement must be complied with prior to a construction certificate being issued for the development, as security for making good any damage caused to Council’s assets and infrastructure; and as security for completing any public work; and for remedying any defect on such public works, in accordance with section 4.17 of the Environmental Planning and Assessment Act 1979:

- $8,000.00	-	Damage / Civil Works Security Deposit

The security deposits may be provided by way of a cash, cheque or credit card payment and is refundable upon a satisfactory inspection by Council upon the completion of the works which confirms that there has been no damage to Council's assets and infrastructure.

The developer/builder is also requested to advise Council in writing and/or photographs of any signs of existing damage to the Council roadway, footway, or verge and other assets prior to the commencement of any building/demolition works.

To obtain a refund of relevant deposits, a Security Deposit Refund Form is to be forwarded to Council’s Development Engineer upon issuing of an occupation certificate or completion of the civil works.

- Electricity Substation

- The applicant must liaise with Ausgrid prior to obtaining a construction certificate (for any above ground works), to determine whether or not an electricity substation is required for the development. Any electricity substation required for the site as a consequence of this development shall be located within the site and shall be screened from view. The proposed location and elevation shall be shown on relevant construction certificate and landscape plans.

Sydney Water Requirements

- All building, plumbing and drainage work must be carried out in accordance with the requirements of the Sydney Water Corporation.

The approved plans must be submitted to the Sydney Water Tap in™ online service, to determine whether the development will affect Sydney Water’s waste water and water mains, stormwater drains and/or easements, and if any further requirements need to be met.

The Sydney Water Tap in™ online service replaces the Quick Check Agents as of 30 November 2015

The Tap in™ service provides 24/7 access to a range of services, including:

- Building plan approvals

- Connection and disconnection approvals

- Diagrams

- Trade waste approvals

- Pressure information

- Water meter installations

- Pressure boosting and pump approvals

- Change to an existing service or asset, e.g. relocating or moving an asset.

Sydney Water’s Tap in™ in online service is available at:

https://www.sydneywater.com.au/SW/plumbing-building-developing/building/sydney-water-tap-in/index.htm

The Principal Certifier must ensure that the developer/owner has submitted the approved plans to Sydney Water Tap in online service.

- Street Tree Protection

- In order to ensure retention of Council’s street trees, being firstly, within the Frenchmans Road nature strip, an Agonis flexuosa (Willow Myrtle, T1) just beyond the eastern site boundary, in front of no.21-23, then between the two most eastern vehicle crossings in front of the existing Aged Care Centre, an Angophora costata (Sydney Red Gum, T4); then between the central and western crossings, another Sydney Red Gum (T6); a Callistemon species (Bottlebrush, T9) opposite Chapel Street, in front of no.11, another Bottlebrush (T11) just beyond the western site boundary, in front of no.9, and then around on the secondary, rear frontage, on the McLennan Avenue verge, a Callistemon viminalis (Bottlebrush, T21) and a Melaleuca quinquinervia (Broad Leafed Paperbark, T22) in good health, the following measures are to be undertaken:

a.	All documentation submitted for the Construction Certificate application must clearly and accurately show their retention, along with the position and diameter of their trunks, canopies, SRZ’s, TPZ’s and Tree Identification Numbers, as taken from the Arboricultural Impact Appraisal & Method Statement by Naturally Trees, rev A, dated 14/08/21 (‘the Arborist Report’), in relation to the site and works.

- Any excavations associated with the installation of new external services, pipes, stormwater systems or similar over either public frontage can only be along the eastern site boundary, as is shown on the Ground Floor General Arrangement Plan by Henry & Hymas, dwg 19826_DA_C100, rev 4, dated 02/06/21, with the Principal Certifier to ensure that all Services Plans are both prepared and then installed on-site to comply with this requirement.

- All Construction Certificate plans must also show that the vehicle crossing and basement ramp in Frenchmans Road will be situated along the eastern boundary, consistent with the rev B architectural plans dated 01/06/21.

- Each of these street trees must be physically protected by installing evenly spaced star pickets at a minimum setback of 2 metres, matching up with the public footpath and back of kerb, to which, safety tape/para-webbing/shade cloth or similar shall be permanently attached so as to completely enclose them for the duration of works.

- Each of their trunks must also be physically protected by wrapping layers of geo-textile, underfelt, carpet, hessian or similar, from ground level to a minimum height of 2m, to which, 2m lengths of 50mm x 100mm hardwood timbers, spaced at 150mm centres shall be placed around their circumference, and are to be secured by 8 gauge wires or steel strapping at 300mm spacing. NO nailing to the trunk.

- This protection must be in place prior to the commencement of demolition and construction works, and shall remain in place until completion, to which, signage containing the following words shall be clearly displayed and permanently attached: “TREE PROTECTION ZONE (TPZ), DO NOT REMOVE/ENTER".

- Other than the approved works, the applicant is not authorised to perform any other works to these public trees and must contact Council’s Landscape Development Officer on 9093-6613 should clearance pruning or similar be necessary, GIVING SIX WEEKS NOTICE. If approval is given, it can only be performed by Council, wholly at the applicants cost, with payment to be received prior to pruning, and prior to any Occupation Certificate.

- There is to be no storage of materials, machinery or site office/sheds, nor is cement to be mixed or chemicals spilt/disposed of and no stockpiling of soil or rubble within their TPZ’s, with all Site Management Plans to comply with these requirements.

- Where roots are encountered which are in direct conflict with approved external civil works, they may then be cut cleanly, using only hand-held tools, not machinery, with the affected areas to be backfilled with clean site soil as soon as practically possible so that the cut ends are not left exposed to the atmosphere.

- The Principal Certifier must ensure compliance with all of these requirements, both on the plans as well as on-site during works, and prior to any Occupation Certificate.

- A refundable deposit in the form of cash, credit card or cheque OR bank guarantee (with no expiry date) for an amount of $10,000.00 must be paid at the Cashier on the Ground Floor of the Administrative Centre, prior to a Construction Certificate being issued for the development, to ensure compliance with the conditions listed in this consent, and ultimately, preservation of the trees.

The refundable deposit will be eligible for refund following an Occupation Certificate, subject to completion and submission of Council’s ‘Security Deposit Refund Application Form’ and pending a satisfactory inspection by Council’s Landscape Development Officer (9093-6613).

Any contravention of Council's conditions relating to the trees at any time during works, or, prior to any Occupation Certificate, may result in Council claiming all or part of the lodged security in order to perform any rectification works necessary, as per the requirements of 80A (6) of the Environmental Planning and Assessment Act 1979.

- Tree Protection Measures

- In order to also ensure retention of the large Corymbia citriodora (Lemon Scented Gum, T7) that is located centrally in the front setback of the existing Aged Care facility, as well as the three Viburnum tinus (Viburnum, T12-14) that are wholly in the rear yard of the adjoining private property at no.9; as well as the three Waterhousia floribunda (Weeping Lilly Pilly, T15-17) at the rear of 8 Astolat Street, then lastly, a mature Citharexylum spinosum (Fiddlewood, T20)  at the rear of 27 McLennan Avenue, which are all close to the common boundaries in good health, the following measures are to be undertaken:

- All documentation submitted for the Construction Certificate application must clearly and accurately show their retention, along with the position and diameter of their trunks, canopies, SRZ’s, TPZ’s and Tree Identification Numbers, as taken from the Arboricultural Impact Appraisal & Method Statement by Naturally Trees, rev A, dated 14/08/21 (‘the Arborist Report’), in relation to the site and works.

- Prior to the commencement of any site works, the Principal Certifier must ensure that an AQF Level 5 Consulting Arborist (who is eligible for membership with a nationally recognized organization/association) has been engaged as ‘the Project Arborist’ for the duration of works and will be responsible for both implementing and monitoring these conditions of development consent, as well as the Arboricultural Method Statement in the Arborist Report and any other instructions issued on-site.

- The Project Arborist must be present on-site at the relevant stages of works and must keep a log of the dates of attendance and the works performed, which is to be presented as a Final Compliance Report, for the approval of the Principal Certifier, prior to any Occupation Certificate.

- All Construction Certificate plans must show that the footprint of all aspects of the development will be consistent with the rev B architectural plans dated 01/06/21, in terms of layout, setbacks to common boundaries and the provision of deep soil, with measurements/distances to these trees in millimetres to be included.

- Construction details/notations must be provided to confirm that the Basement Levels will be constructed using contiguous bored piers, or, a similar alternative method that has been approved in writing by the Principal Certifier, which does not require bulk earthworks or excavations to be performed beyond the point of cut into the soil profile/final location of the approved works.

- Construction details must be provided showing that the elevated timber platform to the east of T7, as well as the new access gate and path to its west, will both be provided at or above existing grades, and are to be supported on localised pad footings only, with the Project Arborist to ensure that any footings are placed around/away from retained roots.

- Construction notes must be included showing that any existing hard surfacing, structures, dividing fences and similar within their TPZ’s, will be retained in-situ for as long as practically possible as a form of physical protection during works, and should only be removed once the approved Landscape works are being installed.

- Any excavations associated with the installation of new services, pipes, pits, stormwater/hydraulic systems and similar, must be consistent with the Ground Floor General Arrangement Plan by Henry & Hymas, dwg 19826_DA_C100, rev 4, dated 02/06/21, with the Principal Certifier to ensure that all Services Plans are both prepared and then installed on-site to comply with this requirement.

- These trees are to be physically protected by the installation of a combination of 1.8 metre high steel mesh/chainwire fencing panels, trunk/branch and ground protection, as detailed at Appendix 4-5, to the extent shown at Appendix 8, Tree Management Plan of the Arborist Report, and as determined b the Project Arborist.

- This protection must be installed prior to the commencement of demolition and construction works, and shall remain in place until completion, to which, signage containing the following words shall be clearly displayed and permanently attached: “TREE PROTECTION ZONE (TPZ), DO NOT REMOVE/ENTER".

- In order to prevent soil/sediment being washed over their root systems, erosion control measures must be provided at ground level around the perimeter of the TPZ’s.

- Ground levels within their TPZ’s cannot be altered (cut or fill) by more than 200mm, without firstly obtaining the express written consent of the Project Arborist, which must then be submitted to the Principal Certifier as part of the Final Compliance Report.

- Within the TPZ’s there is to be no storage of materials, machinery or site office/sheds, nor is cement to be mixed or chemicals spilt/disposed of and no stockpiling of soil or rubble, with all Site Management Plans to comply with these requirements.

- All demolition activities, as well as any initial excavations for new footings or similar within their TPZ’s must be performed by, or, under the direct supervision of, the Project Arborist, without damaging any roots.

- Following this, but prior to forming up, pouring footings or proceeding further with any other works, Council’s Landscape Development Officer (9093-6613) must be contacted, giving 5 working days-notice, for a joint inspection of these affected areas, with the Project Arborist to then comply with any instructions issued.

- Where major roots with a diameter of 40mm or more are encountered for common boundary retaining walls or similar, which the Project Arborist determines must be retained, then a cantilevered/pier and beam style footing must be used to ensure their preservation, with the relevant construction details showing compliance to be approved by the Project Arborist, prior to their installation on-site.

- The Construction Certificate plans must acknowledge that the site inspection referred to in point ‘o’ above may result in the need to alter/amend the intended footing locations, so a flexible system will need to be used for these areas.

- Where roots with a diameter of less than 40mm are found which are in direct conflict with the approved works, and the Project Arborist gives permission for their pruning, they may then be cut cleanly using hand-held tools only, not machinery, with the affected areas to be backfilled with clean site soil so that the cut ends of roots are not left exposed to the atmosphere.

- To demonstrate compliance with the requirements of points ‘p-r’ above, the Project Arborist must take time stamped photos throughout the relevant stages of works, detailing roots that have been either retained or pruned, and must include diameter, amount and from which tree, which is then be included in the Final Compliance Report.

- Any new common boundary fencing, landscape retaining walls or similar within their TPZ’s are to be supported on localised pad footings only, not continuous strip footings, with details confirming compliance to be shown on the Construction Certificate plans. If roots are in conflict with these pad footings, they must be re-positioned so as to allow preservation of the roots.

- The Project Arborist and Principal Certifier must ensure compliance with these requirements, both on the plans as well as on-site during the course of works, and prior to any Occupation Certificate.

Street Tree Management

- The applicant must submit a payment of $321.75 (GST inclusive) to cover the costs for Council to supply, plant and maintain 3 x 25 Angophora costata (Sydney Red Gums) on the Frenchmans Avenue verge, being one each in the area where the existing vehicle crossings and laybacks will be closed off, spaced evenly between the existing street trees.

This fee must be paid into Tree Amenity Income at the Cashier on the Ground Floor of the Administrative Centre prior to a Construction Certificate being issued for the development.

The applicant must contact Council’s Landscape Development Officer on 9093-6613 (quoting the receipt number) and GIVING UP TO SIX WEEKS NOTICE to arrange for planting upon completion of site works.

After this, any further enquiries regarding scheduling/timing or completion of tree works are to be directed to Council’s North Area Tree Preservation & Maintenance Coordinator on 9093-6843.

Heritage Conditions

- A photographic archival recording of the Nos.11-15 and 19 Frenchmans Road internally and externally shall be prepared and submitted to and approved by Council’s Director City Planning, in accordance with Section 4.17 of the Environmental Planning and Assessment Act 1979 prior to a construction certificate being issued for the development.  This recording shall be in accordance with the NSW Heritage Office 2006 Guidelines for Photographic Recording of Heritage Items using Film or Digital Capture.  One bound copy and one digital copy (DVD or USB) of the archival recording is to be submitted to Council for inclusion in the Local History Collection of Randwick City Library and for Council’s own records incorporating the following:

- A PDF copy of the archival record incorporating a detailed historical development of the site, purpose of the archival recording, copyright permission for Council to use the photographs for research purposes, photographic catalogue sheet cross-referenced to the base floor and site plans showing the locations of archival photographs taken, and index print of the photographs.

- Digital copies of the archival photographs in JPEG and TIFF formats.

- A salvage plan shall be prepared and submitted to and approved by Council’s Director City Planning, in accordance with Section 4.17 of the Environmental Planning and Assessment Act 1979 prior to a construction certificate being issued for the development.  The salvage plan is required to ensure that materials including fireplaces, architraves, skirtings, windows, doors and remnant components of significant heritage fabric are carefully removed and stored, sold or donated to a heritage salvaging yard to facilitate the conservation of other buildings of a similar period.

Land & Contamination Remediation

- Remediation and validation works shall be carried out in accordance with remedial action plan prepared by Consulting Earth Scientists Pty Ltd dated 13 May 2021 (Reference:CES190901-FRE-AD), except as may be amended by the conditions of this consent.

- The land must be remediated to meet the relevant criteria in the National Environment Protection (Assessment of Site Contamination) Measure (NEPM) 1999 and the following requirements must be complied with:

- A NSW Office of Environment and Heritage (OEH/EPA) Accredited Site Auditor, accredited under the Contaminated Land Management Act 1997, must be appointed to assess the suitability of the site for its intended development and use.

- A Site Audit Statement and Summary Site Audit Report must be submitted to Council prior to issuing a Construction Certificate [or Subdivision Certificate] for building works (other than site retaining structures that are necessary to facilitate the excavation and remediation works).  The Site Audit Statement and Report must confirm that the land has been remediated and the site is suitable for the intended development and satisfies the relevant criteria in the NEPM 1999.

Council is required to be consulted with prior to the development of any Environmental Management Plan (EMP) and the comments made by Council are required to be taken into consideration prior to finalising the EMP.

- Remediation works shall be carried out in accordance with the requirements of the Contaminated Land Management Act 1997, environmental planning instruments applying to the site, guidelines made by the NSW Department of Environment & Climate Change and Department of Infrastructure Planning & Natural Resources, Randwick City Council’s Contaminated Land Policy 1999 and the Protection of the Environment Operations Act 1997.

- Should the remediation strategy including the ‘capping’ or ‘containment’ of any contaminated land, details are to be included in the Site Audit Statement (SAS) and Environmental Management Plan (EMP) to the satisfaction of the Site Auditor.

Details of the SAS and EMP (which include capping and containment of contaminated land) are also required to be included on the Certificate of Title for the subject land under the provisions of section 88 of the Conveyancing Act 1919.

- The Site Audit Statement must, where no guideline made or approved under the NSW Contaminated Land Management Act is available (as with asbestos), clearly state the source of the standard adopted in determining the suitability of the land for the intended development and use and must also demonstrate its suitability to Council.

In relation to any asbestos contamination, a comprehensive remediation strategy and remedial action plan must be developed and implemented, to the satisfaction of a suitably qualified and experienced specialist and the Site Auditor.

The remediation strategy and remedial action plan must demonstrate that the land will be remediated in accordance with relevant guidelines (if any) and to a level or standard where no unacceptable health risk remains from asbestos exposure, which shall be verified upon completion of the remediation works to the satisfaction of the Site Auditor.

- The residential units are to achieve the following internal acoustic amenity criteria:

a)	In naturally ventilated residential units; the repeatable maximum LAeq (1 hour) shall not exceed:

	35 dB(A) between 10pm and 7am in sleeping areas when the windows are closed;

	45 dB(A) in sleeping areas when windows are open;

	45 dB(A) in living areas (24 hours) when the windows are closed, and

	55 dB(A) in living areas when the windows are open.

b)	In residential units provided with mechanical ventilation, air conditioning or other complying means of ventilation, when doors and windows are shut, the repeatable maximum LAeq (1 hour) shall not exceed:

	38 dB(A) between 10pm and 7am in sleeping areas;

	46 dB(A) in living areas (24 hours).

Details of compliance with the relevant criteria are to be included in the construction certificate application.

REQUIREMENTS TO BE INCLUDED IN THE CONSTRUCTION CERTIFICATE

The requirements contained in the following conditions of consent must be complied with and details of compliance must be included in the construction certificate for the development.

These conditions have been applied to satisfy the relevant requirements of the Environmental Planning & Assessment Act 1979, Environmental Planning & Assessment Regulation 2000, Councils development consent conditions and to achieve reasonable levels of environmental amenity.

Compliance with the Building Code of Australia & Relevant Standards

- In accordance with section 4.17 (11) of the Environmental Planning & Assessment Act 1979 and clause 98 of the Environmental Planning & Assessment Regulation 2000, it is a prescribed condition that all building work must be carried out in accordance with the provisions of the Building Code of Australia (BCA).

- Access and facilities for people with disabilities must be provided in accordance with the relevant requirements of the Building Code of Australia, Disability (Access to Premises – Buildings) Standards 2010, relevant Australian Standards and conditions of consent, to the satisfaction of the Certifier.

BASIX Requirements

- In accordance with section 4.17 (11) of the Environmental Planning & Assessment Act 1979 and clause 97A of the Environmental Planning & Assessment Regulation 2000, the requirements and commitments contained in the relevant BASIX Certificate must be complied with.

The required commitments listed and identified in the BASIX Certificate must be included on the construction certificate plans, specifications and associated documentation, to the satisfaction of the Certifier.

The design of the building must not be inconsistent with the development consent and any proposed variations to the building to achieve the BASIX commitments may necessitate a new development consent or amendment to the existing consent to be obtained, prior to a construction certificate being issued.

Site stability, Excavation and Construction work

- A report must be obtained from a suitably qualified and experienced professional engineer, which includes the following details, to the satisfaction of the Certifier for the development:-

a)	Geotechnical details which confirm the suitability and stability of the site for the development and relevant design and construction requirements to be implemented to ensure the stability and adequacy of the development and adjacent land.

b)	Details of the proposed methods of excavation and support for the adjoining land (including any public place) and buildings.

c)	Details to demonstrate that the proposed methods of excavation, support and construction are suitable for the site and should not result in any damage to the adjoining premises, buildings or any public place, as a result of the works and any associated vibration.

d)	The adjoining land and buildings located upon the adjoining land must be adequately supported at all times throughout demolition, excavation and building work, to the satisfaction of the Principal Certifier.

e)	Written approval must be obtained from the owners of the adjoining land to install any ground or rock anchors underneath the adjoining premises (including any public roadway or public place) and details must be provided to the Certifier.

Acoustic Treatment

- 2 metre high acoustic barriers are to be installed at the following locations at the south-eastern rooftop plant area along the northern, southern and eastern edges of the mechanical plant area. These barriers must be gap free along its entire length and constructed with a solid material such as lapped and capped timber, Colorbond, concrete, or any combination of these.

Design, Construction & Fit-out of Food Premises

- In accordance with section 80 A (11) of the Environmental Planning & Assessment Act 1979 and clause 98 of the Environmental Planning & Assessment Regulation 2000, it is a prescribed condition that all building work must be carried out in accordance with the provisions of the Building Code of Australia (BCA).

- The premises is to be designed and constructed in accordance with the Food Act 2003, Food Regulation 2015, Australia & New Zealand Food Standards Code and Australian Standard AS 4674-2004, Design, construction and fit-out of food premises.  Details of the design and construction of the premises are to be included in the documentation for the construction certificate to the satisfaction of the certifying authority.

- The design and construction of the food premises must comply with the following requirements (as applicable):

  - Floors of kitchens and food preparation areas and the like are to be constructed of materials which are impervious, non-slip and nonabrasive.  The floor is to be finished to a smooth even surface, graded and drained to a floor waste connected to the sewer.  The intersection of walls with floor and plinths is to be coved, to facilitate cleaning.

  - Walls of kitchens and preparation areas and the like are to be of suitable construction finished in a light colour with glazed tiles, stainless steel, laminated plastics or similar approved material adhered directly to the wall adjacent to cooking and food preparation facilities or areas.

Glazed tiling or other approved material is to extend up to the underside of any mechanical exhaust ventilation hoods and a minimum of 450mm above bench tops, wash hand basins, sinks and equipment.

Walls where not tiled are to be cement rendered or be of rigid smooth faced non-absorbent material (i.e. fibrous cement sheeting, plasterboard or other approved material) and finished to a smooth even surface, painted with a washable paint of a light colour or sealed with other approved materials.

  - Ceilings of kitchens, food preparation areas and storerooms are to be of rigid smooth-faced, non-absorbent material (i.e. fibrous plaster, plasterboard, fibre cement sheet, cement render or other approved material) painted with a light-coloured washable paint.  ‘Drop-down’ ceiling panels must not be provided in food preparation or cooking areas.

  - All stoves, refrigerators, bain-maries, stock pots, washing machines, hot water heaters, large scales, food mixers, food warmers, cupboards, counters, bars etc must be supported on wheels, concrete plinths a minimum 75mm in height, metal legs minimum 150mm in height, brackets or approved metal framework of the like.

  - Cupboards, cabinets, benches and shelving may be glass, metal, plastic, timber sheeting or other approved material.  The use of particleboard or similar material is not permitted unless laminated on all surfaces.

  - Fly screens and doors with self-closing devices, (where applicable), are to be provided to all external door and window openings and an electronic insect control device must also be provided within food premises.

  - A mechanical ventilation exhaust system is to be installed where cooking or heating processes are carried out in the kitchen or in food preparation areas, where required under the provisions of Clause F4.12 of the BCA and Australian Standard AS 1668 Parts 1 & 2.

  - Wash hand basins must be provided in convenient positions located in the food preparation areas, with hot and cold water, together with a sufficient supply of soap and clean towels.  The hot and cold water must be supplied to the wash hand basins through a suitable mixing device.

- Traffic conditions

- Adequate provisions are to be made to provide pedestrian visibility and safety.  All new walls (and/or landscaping) adjacent to vehicular crossings should not exceed a height of 600mm above the internal driveway level for a distance of 1.5m within the site or new walls (including landscaping) should splayed 1.5 metres by 1.5 metres. Details of compliance, to the satisfaction of the Principal Certifier, are to be included in the construction certificate documentation.

- The vehicular access driveways, internal circulation ramps and the carpark areas, (including, but not limited to, the ramp grades, carpark layout and height clearances) are to be in accordance with the requirements of AS2890.1:2004. The Construction Certificate plans must demonstrate compliance with these requirements.

Design Alignment levels

- The design alignment level (the finished level of concrete, paving or the like) at the property boundary for driveways, access ramps and pathways or the like, shall be:

- Match the back of the existing footpath along the full site frontage.

The design alignment levels at the property boundary as issued by Council and their relationship to the roadway/kerb/footpath must be indicated on the building plans for the construction certificate. The design alignment level at the street boundary, as issued by the Council, must be strictly adhered to.

Any request to  vary  the design alignment level/s  must be forwarded to and approved in writing by Council’s Development Engineers and may require a formal amendment to the development consent via a  Section 4.55 application.

Enquiries regarding this matter should be directed to Council’s Development Engineer on 9093-6881.

- The above alignment levels and the site inspection by Council’s Development Engineering Section have been issued at a prescribed fee of $(Amount) calculated at $55.00 per metre of site frontage. This amount is to be paid prior to a construction certificate being issued for the development.

- The gradient of the internal access driveway must be designed and constructed in accordance with AS 2890.1 (2004) – Off Street Car Parking and the levels of the driveway must match the alignment levels at the property boundary (as specified by Council). Details of compliance are to be included in the construction certificate.

The height of the building must not be increased to satisfy the required driveway gradients.

Stormwater Drainage

- Stormwater drainage plans have not been approved as part of this development consent. Engineering calculations and plans with levels reduced to Australian Height Datum in relation to site drainage shall be prepared by a suitably qualified Hydraulic Engineer and submitted to and approved by the Principal Certifier prior to a construction certificate being issued for the development. A copy of the engineering calculations and plans are to be forwarded to Council, prior to a construction certificate being issued, if the Council is not the Principal Certifier. The drawings and details shall include the following information:

a)	A detailed drainage design supported by a catchment area plan, at a scale of 1:100 or as considered acceptable to the Council or an accredited certifier, and drainage calculations prepared in accordance with the Institution of Engineers publication, Australian Rainfall and Run-off, 1987 edition.

b)	A layout of the proposed drainage system including pipe sizes, type, grade, length, invert levels, etc., dimensions and types of all drainage pipes and the connection into Council's stormwater system.

c)	The separate catchment areas within the site, draining to each collection point or surface pit are to be classified into the following categories:

i. 	Roof areas

ii.	Paved areas

iii.	Grassed areas

iv.	Garden areas

d)	Where buildings abut higher buildings and their roofs are "flashed in" to the higher wall, the area contributing must be taken as:  the projected roof area of the lower building, plus one half of the area of the vertical wall abutting, for the purpose of determining the discharge from the lower roof.

e)	Proposed finished surface levels and grades of car parks, internal driveways and access aisles which are to be related to Council's design alignment levels.

- The details of any special features that will affect the drainage design eg. the nature of the soil in the site and/or the presence of rock etc.

- The site stormwater drainage system is to be provided in accordance with the following requirements;

- The stormwater drainage system must be provided in accordance with the relevant requirements of Building Code of Australia and the conditions of this consent, to the satisfaction of the Principal Certifier and details are to be included in the construction certificate.

- The stormwater must be discharged (by gravity) either:

- Directly to the kerb and gutter in front of the subject site in MCClennan Avenue; or

- To a suitably designed infiltration system (subject to confirmation in a full geotechnical investigation that the ground conditions are suitable for the infiltration system),

NOTES:

- Infiltration will not be appropriate if the site is subject to rock and/or a water table within 2 metres of the base of the proposed infiltration area, or the ground conditions comprise low permeability soils such as clay.

- If the owner/applicant is able to demonstrate to Council that he/she has been unable to procure a private drainage easement through adjoining premises and the ground conditions preclude the use of an infiltration system, a pump-out system may be permitted to drain the portion of the site that cannot be discharged by gravity to Council’s street drainage system in front of the property.

Pump-out systems must be designed by a suitably qualified and experienced hydraulic consultant/engineer in accordance with the conditions of this consent and Council's Private Stormwater Code.

- Should stormwater be discharged to Council’s street drainage system, an on-site stormwater detention system must be provided to ensure that the maximum discharge from the site does not exceed that which would occur during a 20% AEP (1 in 5 year)  storm of one hour duration for existing site conditions. All other stormwater run-off from the site for all storms up to the 5% AEP (1 in 20 year) storm is to be retained on the site for gradual release to the street drainage system, to the satisfaction of the Principal Certifier. If discharging to the street gutter the PSD shall be restricted to the above or 25 L/S, whichever the lesser.

An overland escape route or overflow system (to Council’s street drainage system) must be provided for storms having an annual exceedance probability (AEP) of 1% (1 in 100 year storm), or, alternatively the stormwater detention system is to be provided to accommodate the 1% AEP (1 in 100 year) storm.

- Should stormwater be discharged to an infiltration system the following requirements must be met;

- Infiltration systems/Absorption Trenches must be designed and constructed generally in accordance with Randwick City Council's Private Stormwater Code.

- The infiltration area shall be sized for all storm events up to the 5% AEP (1 in 20 year) storm event with provision for a formal overland flow path to Council’s Street drainage system.

Should no formal overland escape route be provided for storms greater than the 5% AEP (1 in 20yr) design storm, the infiltration system shall be sized for the 1% AEP (1 in 100yr) storm event.

- Infiltration areas must be a minimum of 3.0 metres from any structure (Note: this setback requirement may not be necessary if a structural engineer or other suitably qualified person certifies that the infiltration area will not adversely affect the structure)

- Infiltration areas must be a minimum of 2.1 metres from any site boundary unless the boundary is common to Council land (eg. a road, laneway or reserve).

- Determination of the required cumulative storage (in the on-site detention and/or infiltration system) must be calculated by the mass curve technique as detailed in Technical Note 1, Chapter 14 of the Australian Rainfall and Run-off Volume 1, 1987 Edition.

Where possible any detention tanks should have an open base to infiltrate stormwater into the ground. Infiltration should not be used if ground water and/or any rock stratum is within 2.0 metres of the base of the tank.

- Should a pump system be required to drain any portion of the site the system must be designed with a minimum of two pumps being installed, connected in parallel (with each pump capable of discharging at the permissible discharge rate) and connected to a control board so that each pump will operate alternatively. The pump wet well shall be sized for the 1% AEP (1 in 100 year), 2 hour storm assuming both pumps are not working.

The pump system must also be designed and installed strictly in accordance with Randwick City Council's Private Stormwater Code.

- Should a charged system be required to drain any portion of the site, the charged system must be designed such that;

    - There are suitable clear-outs/inspection points at pipe bends and junctions.

    - The maximum depth of the charged line does not exceed 1m below the gutter outlet.

- If connecting to Council’s underground drainage system, a reflux valve shall be provided (within the site) over the pipeline discharging from the site to ensure that stormwater from Council drainage system does not surcharge back into the site stormwater system.

- Any new kerb inlet pits (constructed within Council’s road reserve) are to be constructed generally in accordance with Council’s standard detail for the design of kerb inlet pits (drawing number SD6 which is available from Council).

- Generally all internal pipelines must be capable of discharging a 1 in 20 year storm flow.  However the minimum pipe size for pipes that accept stormwater from a surface inlet pit must be 150mm diameter.  The site must be graded to direct any surplus run-off (i.e. above the 1 in 20 year storm) to the proposed drainage (detention/infiltration) system.

- A sediment/silt arrestor pit must be provided within the site near the street boundary prior to discharge of the stormwater to Council’s drainage system and prior to discharging the stormwater to any absorption/infiltration system.

Sediment/silt arrestor pits are to be constructed generally in accordance with the following requirements:

- The base of the pit being located a minimum 300mm under the invert level of the outlet pipe.

- The pit being constructed from cast in-situ concrete, precast concrete or double brick.

- A minimum of 4 x 90 mm diameter weep holes (or equivalent) located in the walls of the pit at the floor level with a suitable geotextile material with a high filtration rating located over the weep holes.

- A galvanised heavy-duty screen being provided over the outlet pipe/s (Mascot GMS multipurpose filter screen or equivalent).

- The grate being a galvanised heavy-duty grate that has a provision for a child proof fastening system.

- A child proof and corrosion resistant fastening system being provided for the access grate (e.g. spring loaded j-bolts or similar).

- Provision of a sign adjacent to the pit stating, “This sediment/silt arrester pit shall be regularly inspected and cleaned”.

Sketch details of a standard sediment/silt arrester pit may be obtained from Council’s Drainage Engineer.

- The floor level of all habitable, retail, commercial and storage areas located adjacent to any detention and/or infiltration systems with above ground storage must be a minimum of 300mm above the maximum water level for the design storm or alternately a permanent 300mm high water proof barrier is to be provided.

(In this regard, it must be noted that this condition must not result in any increase in the heights or levels of the building.  Any variations to the heights or levels of the building will require a new or amended development consent from the Council prior to a construction certificate being issued for the development).

- The maximum depth of ponding in any above ground detention areas and/or infiltration systems with above ground storage shall be as follows (as applicable):

- 150mm in uncovered open car parking areas (with an isolated maximum depth of 200mm permissible at the low point pit within the detention area)

- 300mm in landscaped areas (where child proof fencing is not provided around the outside of the detention area and sides slopes are steeper than 1 in 10)

- 600mm in landscaped areas where the side slopes of the detention area have a maximum grade of 1 in 10

- 1200mm in landscaped areas where a safety fence is provided around the outside of the detention area

- Above ground stormwater detention areas must be suitably signposted where required, warning people of the maximum flood level.

Note: Above ground storage of stormwater is not permitted within basement car parks or store rooms.

- A childproof and corrosion resistant fastening system shall be installed on access grates over pits/trenches where water is permitted to be temporarily stored.

- A ‘V’ drain (or equally effective provisions) are to be provided to the perimeter of the property, where necessary, to direct all stormwater to the detention/infiltration area.

- Mulch or bark is not to be used in on-site detention areas.

- Site discharge pipelines shall cross the verge at an angle no less than 45 degrees to the kerb line and must not encroach across a neighbouring property’s frontage unless approved in writing by Council’s Development Engineering Coordinator.

- Any onsite detention/infiltration systems shall be located in areas that are easily accessible.

Groundwater

- A report must be obtained from a qualified, experienced Hydrogeological Engineer, which provides an assessment of the site and the potential impact of ground/seepage water and the water table upon the development, prior to issuing a Construction Certificate, to the satisfaction of the Principal Certifier.

The report must confirm whether or not the site is or may be affected by groundwater or fluctuating water table and the report must include details of the measures to be implemented to effectively manage any groundwater.

- Where the site is affected by groundwater or fluctuating water table (including during the course of construction), the following requirements must be satisfied:

- Groundwater and sub-soil drainage must not be connected or discharged to the stormwater detention tank or to Council’s street gutter or drainage system, unless specific written approval has been obtained from Council beforehand, and

- Groundwater and sub-soil drainage must be restricted from entering the basement level/s and the stormwater drainage system, by tanking and waterproofing the basement areas of the building, and

- Adequate provisions must be made for the groundwater to drain around the basement level/s and ensure that the basement will not impede the movement of the ground water through the development site, and

- Details of the proposed methods of managing groundwater, tanking and waterproofing must be prepared by a suitably qualified and experienced Hydrogeological Engineer and be submitted to and approved by the Principal Certifier, prior to issuing the construction certificate. A copy of the proposed method for tanking the basement levels must be forwarded to Council if Council is not the Principal Certifier

Waste Management

- A Waste Management Plan detailing the waste and recycling storage and removal strategy for all of the development, is required to be submitted to and approved by Council’s Director of City Planning.

The Waste Management plan is required to be prepared in accordance with Council's Waste Management Guidelines for Proposed Development and must include the following details (as applicable):

- The use of the premises and the number and size of occupancies.

- The type and quantity of waste to be generated by the development.

- Demolition and construction waste, including materials to be re-used or recycled.

- Details of the proposed recycling and waste disposal contractors.

- Waste storage facilities and equipment.

- Access and traffic arrangements.

- The procedures and arrangements for on-going waste management including collection, storage and removal of waste and recycling of materials.

Further details of Council's requirements and guidelines, including pro-forma Waste Management plan forms can be obtained from Council's Customer Service Centre.

- The waste storage areas are to be provided with a tap and hose and the floor is to be graded and drained to the sewer to the requirements of Sydney Water.

Public Utilities

- A Public Utility Impact Assessment must be carried out to identify all public utility services located on the site, roadway, nature strip, footpath, public reserve or any public areas associated with and/or adjacent to the building works.

The owner/builder must make the necessary arrangements and meet the full cost for telecommunication companies, gas providers, Ausgrid, Sydney Water and other authorities to adjust, repair or relocate their services as required.

Undergrounding of Site Power

- Any Power supply to the proposed development from Frenchmans Road shall be provided via an underground (UGOH) connection from the nearest mains distribution pole. No Permanent Private Poles are to be installed on the Frenchmans Road frontage with all relevant documentation submitted for the construction certificate to reflect these requirements to the satisfaction of the Principal Certifier.  The applicant/owner is to liaise with an Ausgrid Accredited Service Provider to carry out the works to the requirements and satisfaction of Ausgrid and at no cost to Council.

Landscape Plans

- Written certification from a qualified professional in the Landscape industry (must be eligible for membership with a nationally recognised organisation/association) must state that the scheme submitted for the Construction Certificate is substantially consistent with the Landscape Development Application Package by Arcadia, Issue D, dated May 2021, with both this written statement and plans to then be submitted to, and be approved by, the Principal Certifier.

REQUIREMENTS PRIOR TO THE COMMENCEMENT OF ANY WORKS

The following conditions of consent must be complied with prior to the commencement of any works on the site.  The necessary documentation and information must be provided to the Council or the ‘Principal Certifier’, as applicable.

These conditions have been applied to satisfy the relevant requirements of the Environmental Planning & Assessment Act 1979, Environmental Planning & Assessment Regulation 2000 and to provide reasonable levels of public health, safety and environmental amenity.

Certification and Building Inspection Requirements

- Prior to the commencement of any building works, the following requirements must be complied with:

a)	a Construction Certificate must be obtained from the Council or an accredited certifier, in accordance with the provisions of the Environmental Planning & Assessment Act 1979.

A copy of the construction certificate, the approved development consent plans and consent conditions must be kept on the site at all times and be made available to the Council officers and all building contractors for assessment.

b) 	a Principal Certifier must be appointed to carry out the necessary building inspections and to issue an occupation certificate; and

c)	a principal contractor must be appointed for the building work and any applicable requirements of the Home Building Act 1989 must be satisfied accordingly; and

d)	the principal contractor must be advised of the required critical stage inspections and other inspections to be carried out, as specified by the Principal Certifier; and

e)	at least two days notice must be given to the Council, in writing, prior to commencing any works.

Dilapidation Reports

- A dilapidation report (incorporating photographs of relevant buildings) must be obtained from a Professional Engineer, detailing the current condition and status of all of the buildings and structures located upon all of the properties adjoining the subject site and any other property or public land which may be affected by the works, to the satisfaction of the Principal Certifier.

The dilapidation report must be submitted to the Council, the Principal Certifier and the owners of the adjoining/nearby premises encompassed in the report, prior to commencing any site works (including any demolition work, excavation work or building work).

Construction Site Management Plan

- A Construction Site Management Plan must be developed and implemented prior to the commencement of any works. The construction site management plan must include the following measures, as applicable to the type of development:

- location and construction of protective site fencing / hoardings;

- location of site storage areas/sheds/equipment;

- location of building materials for construction;

- provisions for public safety;

- dust control measures;

- details of proposed sediment and erosion control measures;

- site access location and construction

- details of methods of disposal of demolition materials;

- protective measures for tree preservation;

- location and size of waste containers/bulk bins;

- provisions for temporary stormwater drainage;

- construction noise and vibration management;

- construction traffic management details;

- provisions for temporary sanitary facilities.

The site management measures must be implemented prior to the commencement of any site works and be maintained throughout the works, to the satisfaction of Council.

A copy of the Construction Site Management Plan must be provided to the Principal Certifier and Council prior to commencing site works.  A copy must also be maintained on site and be made available to Council officers upon request.

Demolition Work Plan

- A Demolition Work Plan must be prepared for the development in accordance with Australian Standard AS2601-2001, Demolition of Structures and relevant environmental/work health and safety requirements.

The Demolition Work Plan must be submitted to the Principal Certifier, not less than two (2) working days before commencing any demolition work.  A copy of the Demolition Work Plan must be maintained on site and be made available to Council officers upon request.

If the work involves asbestos products or materials, a copy of the Demolition Work Plan must also be provided to Council not less than 2 days before commencing those works.

Construction Noise & Vibration Management Plan

- A Construction Noise & Vibration Management Plan, prepared in accordance with the Environment Protection Authority (EPA) Guidelines for Construction Noise and Assessing Vibration, by a suitably qualified person, is to be developed and implemented prior to commencing site work and throughout the course of construction, in accordance with the following requirements:

a)	Noise and vibration emissions during the construction of the building and associated site works must not result in damage to nearby premises or result in an unreasonable loss of amenity to nearby residents.

Noise and vibration from any rock excavation machinery, pile drivers and all plant and equipment must be minimised, by using appropriate plant and equipment, silencers and the implementation of noise management strategies.

b)	The Construction Noise & Vibration Management Plan must include details of measurements, analysis and relevant criteria and demonstrate that the noise and vibration emissions from the work satisfy the relevant provisions of the Protection of the Environment Operations Act 1997, current EPA Guidelines for Construction Noise and Assessing Vibration and Councils conditions of consent.

c)	A further report/correspondence must be obtained from the consultant as soon as practicable upon the commencement of works, which reviews and confirms the implementation and suitability of the noise and vibration strategies in the Construction Noise & Vibration Management Plan and which demonstrates compliance with relevant criteria.

d)	Any recommendations and requirements contained in the Construction Noise & Vibration Management Plan and associated reports are to be implemented accordingly and should noise and vibration emissions not comply with the terms and conditions of consent, work must cease forthwith and is not to recommence until details of compliance are submitted to Council and the Principal Certifier.

A copy of the Construction Noise & Vibration Management Plan and associated acoustic/vibration report/s must be maintained on-site and a copy must be provided to Council and the Principal Certifier accordingly.

Public Liability

- The owner/builder is required to hold Public Liability Insurance, with a minimum liability of $10 million and a copy of the Insurance cover is to be provided to the Principal Certifier and Council.

Site Remediation

- A Site Remediation Management Plan must be prepared prior to the commencement of remediation works by a suitably qualified environmental consultant and be implemented throughout remediation works. The Site Remediation Management Plan shall include measures to address the following matters:

- general site management, site security, barriers, traffic management and signage

- hazard identification and control

- worker health & safety, work zones and decontamination procedures

- prevention of cross contamination

- site drainage and dewatering

- air and water quality monitoring

- disposable of hazardous wastes

- contingency plans and incident reporting

- details of provisions for monitoring implementation of remediation works and persons/consultants responsible.

A copy of the Site Remediation Management Plan is to be forwarded to Council prior to commencing remediation works.

Construction Traffic Management

- Subject to Tranport NSW concurrence an application for a ‘Works Zone’ and Construction Traffic Management Plan must be submitted to Councils Integrated Transport Department, and approved by the Randwick Traffic Committee, for a ‘Works Zone’ to be provided in Frenchmans Road/Mclennan Avenue for the duration of the demolition & construction works.

The ‘Works Zone’ must have a minimum length of 12m and extend for a minimum duration of three months.  The suitability of the proposed length and duration is to be demonstrated in the application for the Works Zone.  The application for the Works Zone must be submitted to Council at least six (6) weeks prior to the commencement of work on the site to allow for assessment and tabling of agenda for the Randwick Traffic Committee.

The requirement for a Works Zone may be varied or waived only if it can be demonstrated in the Construction Traffic Management Plan (to the satisfaction of Council’s Traffic Engineers) that all construction related activities (including all loading and unloading operations) can and will be undertaken wholly within the site.  The written approval of Council must be obtained to provide a Works Zone or to waive the requirement to provide a Works Zone prior to the commencement of any site work.

- A detailed Construction Site Traffic Management Plan must be submitted to and approved by Council, prior to the commencement of any site work.

The Construction Site Traffic Management Plan must be prepared by a suitably qualified person and must include the following details, to the satisfaction of Council:

- A description of the demolition, excavation and construction works

- A site plan/s showing the site, roads, footpaths, site access points and vehicular movements

- Any proposed road and/or footpath closures

- Proposed site access locations for personnel, deliveries and materials

- Size, type and estimated number of vehicular movements (including removal of excavated materials, delivery of materials and concrete to the site)

- Provision for loading and unloading of goods and materials

- Impacts of the work and vehicular movements on the road network, traffic and pedestrians

- Proposed hours of construction related activities and vehicular movements to and from the site

- Current/proposed approvals from other Agencies and Authorities (including NSW Roads & Maritime Services, Police and State Transit Authority)

- Any activities proposed to be located or impact upon Council’s road, footways or any public place

- Measures to maintain public safety and convenience

The approved Construction Site Traffic Management Plan must be complied with at all times, and any proposed amendments to the approved Construction Site Traffic Management Plan must be submitted to and be approved by Council in writing, prior to the implementation of any variations to the Plan.

- Any necessary approvals must be obtained from NSW Police, Roads & Maritime Services, Transport, and relevant Service Authorities, prior to commencing work upon or within the road, footway or nature strip.

All conditions and requirements of the NSW Police, Roads & Maritime Services, State Transit Authority and Council must be complied with at all times

Public Utilities

- Documentary evidence from the relevant public utility authorities confirming they have agreed to the proposed works and that their requirements have been or are able to be satisfied, must be submitted to the Principal Certifier prior to the commencement of any demolition, excavation or building works.

The owner/builder must make the necessary arrangements and meet the full cost 	for telecommunication companies, gas providers, Ausgrid, Sydney Water and 	other service authorities to adjust, repair or relocate their services as required.

REQUIREMENTS DURING CONSTRUCTION & SITE WORK

The following conditions of consent must be complied with during the demolition, excavation and construction of the development.

These conditions have been applied to satisfy the relevant requirements of the Environmental Planning & Assessment Act 1979, Environmental Planning & Assessment Regulation 2000 and to provide reasonable levels of public health, safety and environmental amenity during construction.

Inspections during Construction

- Building works are required to be inspected by the Principal Certifier, in accordance with section 6.5 of the Environmental Planning & Assessment Act 1979 and clause 162A of the Environmental Planning & Assessment Regulation 2000, to monitor compliance with the relevant standards of construction, Council’s development consent and the construction certificate.

Building & Demolition Work Requirements

- The demolition, removal, storage, handling and disposal of products and materials containing asbestos must be carried out in accordance with Randwick City Council’s Asbestos Policy and the relevant requirements of SafeWork NSW and the NSW Environment Protection Authority (EPA), including:

•	Work Health and Safety Act 2011;

•	Work Health and Safety Regulation 2011;

•	SafeWork NSW Code of Practice for the Safe Removal of Asbestos;

•	Australian Standard 2601 (2001) – Demolition of Structures;

•	The Protection of the Environment Operations Act 1997;

•	Randwick City Council Asbestos Policy (adopted 13 September 2005).

A copy of Council’s Asbestos Policy is available on Council’s web site or a copy can be obtained from Council’s Customer Service Centre.

Removal of Asbestos Materials

- Any work involving the demolition, storage or disposal of asbestos products and materials must be carried out in accordance with the following requirements:

- Occupational Health & Safety legislation and WorkCover NSW requirements

- Randwick City Council’s Asbestos Policy

- A WorkCover licensed demolition or asbestos removal contractor must undertake removal of more than 10m2 of bonded asbestos (or as otherwise specified by WorkCover or relevant legislation).  Removal of friable asbestos material must only be undertaken by contractor that holds a current friable asbestos removal licence.  A copy of the relevant licence must be provided to the Principal Certifier.

- On sites involving the removal of asbestos, a sign must be clearly displayed in a prominent visible position at the front of the site, containing the words ‘DANGER ASBESTOS REMOVAL IN PROGRESS’ and include details of the licensed contractor.

- Asbestos waste must be stored, transported and disposed of in compliance with the Protection of the Environment Operations Act 1997 and the Protection of the Environment Operations (Waste) Regulation 2005.  Details of the landfill site (which must be lawfully able to receive asbestos materials) must be provided to the Principal Certifier.

- A Clearance Certificate or Statement, prepared by a suitably qualified person (i.e. an occupational hygienist, licensed asbestos assessor or other competent person), must be provided to Council and the Principal Certifier upon completion of the asbestos related works which confirms that the asbestos material have been removed appropriately and the relevant conditions of consent have been satisfied.

A copy of Council’s Asbestos Policy is available on Council’s web site at www.randwick.nsw.gov.au in the Building & Development Section or a copy can be obtained from Council’s Customer Service Centre.

Excavations, Back-filling & Retaining Walls

- All excavations and backfilling associated with the erection or demolition of a building must be executed safely in accordance with appropriate professional standards and excavations must be properly guarded and supported to prevent them from being dangerous to life, property or buildings.

Retaining walls, shoring or piling must be provided to support land which is excavated in association with the erection or demolition of a building, to prevent the movement of soil and to support the adjacent land and buildings, if the soil conditions require it.  Adequate provisions are also to be made for drainage.

Details of proposed retaining walls, shoring, piling or other measures are to be submitted to and approved by the Principal Certifier.

Support of Adjoining Land

- In accordance with section 4.17 (11) of the Environmental Planning & Assessment Act 1979 and clause 98 E of the Environmental Planning & Assessment Regulation 2000, it is a prescribed condition that the adjoining land and buildings located upon the adjoining land must be adequately supported at all times.

Sediment & Erosion Control

- Sediment and erosion control measures, must be implemented throughout the site works in accordance with the manual for Managing Urban Stormwater – Soils and Construction, published by Landcom.

Details must be included in the Construction Site Management Plan and a copy must be provided to the Principal Certifier and Council.  A copy must also be maintained on site and be made available to Council officers upon request.

Dust Control

- During demolition excavation and construction works, dust emissions must be minimised, so as not to result in a nuisance to nearby residents or result in a potential pollution incident.

Adequate dust control measures must be provided to the site prior to the works commencing and the measures and practices must be maintained throughout the demolition, excavation and construction process, to the satisfaction of Council.

Dust control measures and practices may include:-

	Provision of geotextile fabric to all perimeter site fencing (attached on the prevailing wind side of the site fencing).

	Covering of stockpiles of sand, soil and excavated material with adequately secured tarpaulins or plastic sheeting.

	Installation of a water sprinkling system or provision hoses or the like.

	Regular watering-down of all loose materials and stockpiles of sand, soil and excavated material.

	Minimisation/relocation of stockpiles of materials, to minimise potential for disturbance by prevailing winds.

	Landscaping and revegetation of disturbed areas.

Temporary Site Fencing

- Temporary site safety fencing or site hoarding must be provided to the perimeter of the site throughout demolition, excavation and construction works, to the satisfaction of Council, in accordance with the following requirements:

a)	Temporary site fences or hoardings must have a height of 1.8 metres and be a cyclone wire fence (with geotextile fabric attached to the inside of the fence to provide dust control), or heavy-duty plywood sheeting (painted white), or other material approved by Council.

b)	Hoardings and site fencing must be designed to prevent any substance from, or in connection with, the work from falling into the public place or adjoining premises and if necessary, be provided with artificial lighting.

c)	All site fencing and hoardings must be structurally adequate, safe and be constructed in a professional manner and the use of poor quality materials or steel reinforcement mesh as fencing is not permissible.

d)	An overhead (‘B’ Class) type hoarding is required is be provided to protect the public (unless otherwise approved by Council) if:

	materials are to be hoisted (i.e. via a crane or hoist) over a public footway;

	building or demolition works are to be carried out on buildings which are over 7.5m in height and located within 3.6m of the street alignment;

	it is necessary to prevent articles or materials from falling and causing a potential danger or hazard to the public or occupants upon adjoining land;

	as may otherwise be required by WorkCover, Council or the Principal Certifier.

Notes:

	Temporary site fencing may not be necessary if there is an existing adequate fence in place having a minimum height of 1.5m.

	If it is proposed to locate any site fencing, hoardings, amenities or articles upon any part of the footpath, nature strip or public place at any time, a separate Local Approval application must be submitted to and approved by Council’s Health, Building & Regulatory Services before placing any fencing, hoarding or other article on the road, footpath or nature strip.

Public Safety & Site Management

- Public safety and convenience must be maintained at all times during demolition, excavation and construction works and the following requirements must be complied with to the satisfaction of Council:

a)	Building materials, sand, soil, waste materials, construction equipment or other articles must not be placed upon the footpath, roadway or nature strip at any time.

b)	The road, footpath, vehicular crossing and nature strip must be maintained in a good, safe, clean condition and free from any excavations, obstructions, trip hazards, goods, materials, soils or debris at all times.  Any damage caused to the road, footway, vehicular crossing, nature strip or any public place must be repaired immediately, to the satisfaction of Council.

c)	All building and site activities (including storage or placement of materials or waste and concrete mixing/pouring/pumping activities) must not cause or be likely to cause ‘pollution’ of any waters, including any stormwater drainage systems, street gutters or roadways.

Note:  It is an offence under the Protection of the Environment Operations Act 1997 to cause or be likely to cause ‘pollution of waters’, which may result in significant penalties and fines.

d)	Access gates and doorways within site fencing, hoardings and temporary site buildings or amenities must not open outwards into the road or footway.

e)	Bulk bins/waste containers must not be located upon the footpath, roadway or nature strip at any time without the prior written approval of the Council.  Applications to place a waste container in a public place can be made to Council’s Health, Building and Regulatory Services department.

f)	Adequate provisions must be made to ensure pedestrian safety and traffic flow during the site works, and traffic control measures are to be implemented in accordance with the relevant provisions of the Roads and Traffic Manual “Traffic Control at Work Sites” (Version 4), to the satisfaction of Council.

Site Signage

- A sign must be erected and maintained in a prominent position on the site for the duration of the works, which contains the following details:

- name, address, contractor licence number and telephone number of the principal contractor, including a telephone number at which the person may be contacted outside working hours, or owner-builder permit details (as applicable)

- name, address and telephone number of the Principal Certifier,

- a statement stating that “unauthorised entry to the work site is prohibited”.

Restriction on Working Hours

- Building, demolition and associated site works must be carried out in accordance with the following requirements:

| Activity | Permitted working hours |
| --- | --- |
| All building, demolition and site work, including site deliveries (except as detailed below) | - Monday to Friday - 7.00am to 5.00pm - Saturday - 8.00am to 5.00pm - Sunday & public holidays - No work permitted |
| Excavating or sawing of rock, use of jack-hammers, pile-drivers, vibratory rollers/compactors or the like | - Monday to Friday - 8.00am to 1.00pm only - Saturday - No work permitted - Sunday & public holidays - No work permitted |
| Additional requirements for all development | - Saturdays and Sundays where the preceding Friday and/or the following Monday is a public holiday - No work permitted |

An application to vary the abovementioned hours may be submitted to Council’s Manager Health, Building & Regulatory Services for consideration and approval to vary the specified hours may be granted in exceptional circumstances and for limited occasions (e.g. for public safety, traffic management or road safety reasons).  Any applications are to be made on the standard application form and include payment of the relevant fees and supporting information.  Applications must be made at least 10 days prior to the date of the proposed work and the prior written approval of Council must be obtained to vary the standard permitted working hours.

Survey Requirements

- A Registered Surveyor’s check survey certificate or other suitable documentation must be obtained at the following stage/s of construction to demonstrate compliance with the approved setbacks, levels, layout and height of the building to the satisfaction of the Principal Certifier:

- prior to construction (pouring of concrete) of footings and boundary retaining structures,

- prior to construction (pouring of concrete) of each floor slab,

- upon completion of the building, prior to issuing an Occupation Certificate,

- as otherwise may be required by the Principal Certifier.

The survey documentation must be forwarded to the Principal Certifier and a copy is to be forwarded to the Council, if the Council is not the Principal Certifier for the development.

Building Encroachments

- There must be no encroachment of any structures or building work onto Council’s road reserve, footway, nature strip or public place.

Site Remediation Works

- Fill material that is imported to the site must satisfy the requirements of the NSW Protection of the Environment Operations (Waste) Regulation 2014 and the NSW Environment Protection Authority (EPA) Waste Classification Guidelines (2008).  Fill material must meet the relevant requirements for Virgin Excavated Natural Material (VENM) or be the subject of a (general or specific) Resource Recovery Exemption from the EPA.

Details of the importation of fill and compliance with these requirements must be provided to the satisfaction of the Environmental Consultant and Site Auditor.

- Any proposed variations to the remediation action plan or, any new information which is identified during remediation, demolition or construction works that has the potential to alter previous conclusions about site contamination or the remediation strategy shall be notified to the Site Auditor and Council immediately in writing.

The written concurrence of the Site Auditor and Council must be obtained prior to implementing any variations to the remediation action plan, strategies or conditions of consent.

- All hazardous or intractable wastes arising from the demolition, excavation and remediation process must be removed and disposed of in accordance with the requirements of WorkCover NSW and the Environment Protection Authority, and with the provisions of:

- Work Health and Safety Act 2011 and associated Regulations;

	Protection of the Environment Operations Act 1997 (NSW) and

	NSW Environment Protection Authority (EPA) Waste Classification Guidelines (2014).

- Site remediation must be carried out in accordance with the following requirements (as applicable):

- All trucks and service vehicles leaving the site shall go through a suitably constructed on site truck wash down area, to ensure no tracking of material occurs from the site onto roads adjoining the site. Details are to be submitted to Council in the Site Management Plan.

- Prior to the commencement and throughout the duration of the remediation and construction works adequate sediment and stormwater control measures shall be in place and maintained on site at all times.  Sediment laden stormwater shall be controlled using measures outlined in the manual Managing Urban Stormwater Soils and Construction produced by the NSW Department of Housing.

- Remediation work shall be conducted within the following hours:

Monday – Friday	7am – 5pm

Saturday	8am – 5pm

No work permitted on Sundays or Public Holidays

- A sign displaying the (24 hour) contact details of the remediation contractor (and the site manager if different to remediation contractor) shall be displayed on the site adjacent to the site access.  This sign shall be displayed throughout the duration of the remediation works.

Road/Asset Opening Permit

- Any openings within or upon the road, footpath, nature strip or in any public place (i.e. for proposed drainage works or installation of services), must be carried out in accordance with the following requirements, to the satisfaction of Council:

  - A Road / Asset Opening Permit must be obtained from Council prior to carrying out any works within or upon a road, footpath, nature strip or in any public place, in accordance with section 138 of the Roads Act 1993 and all of the conditions and requirements contained in the Road / Asset Opening Permit must be complied with.

  - Council’s Road / Asset Opening Officer must be notified at least 48 hours in advance of commencing any excavation works and also immediately upon completing the works (on 9399 0691 or 0409 033 921 during business hours), to enable any necessary inspections or works to be carried out.

  - Relevant Road / Asset Opening Permit fees, construction fees, inspection fees and security deposits, must be paid to Council prior to commencing any works within or upon the road, footpath, nature strip or other public place,

  - The owner/developer must ensure that all works within or upon the road reserve, footpath, nature strip or other public place are completed to the satisfaction of Council, prior to the issuing of a final occupation certificate or occupation of the development (whichever is sooner).

  - Excavations and trenches must be back-filled and compacted in accordance with AUSPEC standards 306U.

  - Excavations or trenches located upon a road or footpath are required to be provided with 50mm depth of cold-mix bitumen finish, level with the existing road/ground surface, to enable Council to readily complete the finishing works at a future date.

  - Excavations or trenches located upon turfed areas are required to be back-filled, compacted, top-soiled and re-turfed with Kikuyu turf.

  - The work and area must be maintained in a clean, safe and tidy condition at all times and the area must be thoroughly cleaned at the end of each days activities and upon completion.

  - The work can only be carried out in accordance with approved hours of building work as specified in the development consent, unless the express written approval of Council has been obtained beforehand.

  - Sediment control measures must be implemented in accordance with the conditions of development consent and soil, sand or any other material must not be allowed to enter the stormwater drainage system or cause a pollution incident.

  - The owner/developer must have a Public Liability Insurance Policy in force, with a minimum cover of $10 million and a copy of the insurance policy must be provided to Council prior to carrying out any works within or upon the road, footpath, nature strip or in any public place.

Roadway

- If it is necessary to excavate below the level of the base of the footings of the adjoining roadways, the person acting on the consent shall ensure that the owner/s of the roadway is/are given at least seven (7) days notice of the intention to excavate below the base of the footings. The notice is to include complete details of the work.

Traffic Management

- Adequate provisions must be made to ensure pedestrian safety and traffic flow during the site works and traffic control measures are to be implemented in accordance with the relevant provisions of the Roads and Traffic Manual “Traffic Control at Work Sites” (Version 4), to the satisfaction of Council.

- All work, including the provision of barricades, fencing, lighting, signage and traffic control, must be carried out in accordance with the NSW Roads and Traffic Authority publication - ‘Traffic Control at Work Sites’ and Australian Standard AS 1742.3 – Traffic Control Devices for Works on Roads, at all times.

- All conditions and requirements of the NSW Police, Roads & Maritime Services, Transport and Council must be complied with at all times.

Stormwater Drainage

- Adequate provisions must be made to collect and discharge stormwater drainage during construction of the building to the satisfaction of the Principal Certifier.

The prior written approval of Council must be obtained to connect or discharge site stormwater to Council’s stormwater drainage system or street gutter.

Groundwater/Seepage

- A separate written approval from Council is required to be obtained in relation to any proposed discharge of groundwater into Council’s drainage system external to the site, in accordance with the requirements of Section 138 of the Roads Act 1993.

Tree Removal

- Approval is granted for removal of the following vegetation from within this development site, subject to full implementation of the approved Landscape scheme:

  - Within the front setback of no.19, right in the southeast site corner, a Lagerstroemia indica (Crepe Myrtle, T2), then to its west, within no.21, a Lagunaria patersonii (Norfolk Island Hibiscus, T3), both due to their direct conflict with the new basement ramp in this same area;

  - The Umbrella Tree (T5) further west again, within the front setback of the existing Aged Care facility due to being an undesirable, environmental weed, which is exempt from the DCP, meaning it could already be removed at anytime, irrespective of these works, along with the Olea sp (T8) further to its west, in the front setback of no.11 for the same reason;

  - The two Cupressus sp (T18-19) halfway across the rear boundary, given their small size and insignificance, as well as to allow for the new civil works (hydraulic systems, retaining walls and similar) that are indicated for this same area.

Pruning

- Permission is granted for the minimal and selective clearance pruning of only those lower growing, lower order branches from the following, only where they either overhang into this site, need to be pruned to avoid damage to the trees, or, interference with the approved works:

- T7, so as to accommodate the piling rig, scaffolding and similar, with any smaller, more flexible branches to be temporarily ‘tied-back’ for the duration of works where possible so as to reduce the overall amount of pruning that is required from this feature tree;

- From the eastern aspect of T10, which is located wholly in the front setback of the adjoining private property at 9 Frenchmans Road, against the common boundary, only where needed to facilitate access during works;

- From the eastern aspects of the Viburnum tinus (Viburnums, T12-14), that are located in the rear yard of no.9, along the common boundary, only so as to allow for works associated with the new private courtyards, the piling rig, scaffolding or similar in this same area of the site;

- From the southern aspects of the Waterhousia floribunda (Weeping Lilly Pillies, T15-17) that are located within 8 Astolat Street, along the common boundary, for the same reasons given in point ‘c’ above;

- From the southern and eastern aspects of the Citharexylum spinosum (Fiddlewood, T20) that is located within the rear of 27 McLennan Avenue, for the same reasons given in points ‘c’ and ‘d’ above.

- This approval does not imply any right of entry onto a neighbouring property, nor does it allow pruning beyond a common boundary; however, where such measures are desirable in the best interests of correct pruning procedures, and ultimately, the ongoing health of these trees, the applicant must negotiate with the neighbours/tree owners for access to perform this work.

- All pruning can only be undertaken by either the Project Arborist, or, they must directly supervise an AQF Level III Practicing Arborist, to the requirements of Australian Standard AS 4373-2007 'Pruning of Amenity Trees,’ and NSW Work Cover Code of Practice for the Amenity Tree Industry (1998).

- The Project Arborist must contact Council’s Landscape Development Officer on 9093-6613 (giving 5 working days-notice) to arrange a joint site meeting, prior to pruning, to determine the exact location and extent that is permissible, with the Arborist to comply with any instructions issued by Council’s Officer. A Pruning Specification accompanied by marked-up/highlighted photos may also be requested in order to formalize these requirements.

NOTE: An Occupation Certificate cannot be issued unless this pre-pruning joint site inspection has taken place.

REQUIREMENTS PRIOR TO THE ISSUE OF AN OCCUPATION CERTIFICATE

The following conditions of consent must be complied with prior to the ‘Principal Certifier’ issuing an ‘Occupation Certificate’.

These conditions have been applied to satisfy the relevant requirements of the Environmental Planning & Assessment Act 1979, Environmental Planning & Assessment Regulation 2000, Council’s development consent and to maintain reasonable levels of public health, safety and amenity.

Occupation Certificate Requirements

- An Occupation Certificate must be obtained from the Principal Certifier prior to any occupation of the building work encompassed in this development consent (including alterations and additions to existing buildings), in accordance with the relevant provisions of the Environmental Planning & Assessment Act 1979.

Fire Safety Certificates

- Prior to issuing an interim or Occupation Certificate, a single and complete Fire Safety Certificate, encompassing all of the essential fire safety measures contained in the fire safety schedule must be obtained and be submitted to Council, in accordance with the provisions of the Environmental Planning and Assessment Regulation 2000.  The Fire Safety Certificate must be consistent with the Fire Safety Schedule which forms part of the Construction Certificate.

A copy of the Fire Safety Certificate must be displayed in the building entrance/foyer at all times and a copy must also be forwarded to Fire and Rescue NSW.

Structural Certification

- A Certificate must be obtained from a professional engineer, which certifies that the building works satisfy the relevant structural requirements of the Building Code of Australia and approved design documentation, to the satisfaction of the Principal Certifier. A copy of which is to be provided to Council with the Occupation Certificate.

Council’s Infrastructure, Vehicular Crossings & Road Openings

- The owner/developer must meet the full cost for a Council approved contractor to:

- Construct a full width concrete vehicular crossing and layback at kerb opposite the vehicular entrance to the site, to Council’s specifications and requirements .

- Construct a full width concrete heavy duty commercial/industrial vehicular crossing and layback at kerb opposite the vehicular entrance to the premises to Council’s specifications and requirements.

- Re/construct concrete footpath along the full site frontage on Frenchmans Road .  Any unpaved areas on the nature strip must be turfed and landscaped to Council’s specification.

- Re/construct concrete footpath along the full site frontage on MCClennan Avenue.  Any unpaved areas on the nature strip must be turfed and landscaped to Council’s specification.

- Prior to issuing a final occupation certificate or occupation of the development (whichever is sooner), the owner/developer must meet the full cost for Council or a Council approved contractor to repair/replace any damaged sections of Council's footpath, kerb & gutter, nature strip etc which are due to building works being carried out at the above site. This includes the removal of cement slurry from Council's footpath and roadway.

- All external civil work to be carried out on Council property (including the installation and repair of roads, footpaths, vehicular crossings, kerb and guttering and drainage works), must be carried out in accordance with Council's  "Crossings and Entrances – Contributions Policy” and “Residents’ Requests for Special Verge Crossings Policy” and the following requirements:

- Details of the proposed civil works to be carried out on Council land must be submitted to Council in a Civil Works Application Form.  Council will respond, typically within 4 weeks, with a letter of approval outlining conditions for working on Council land, associated fees and workmanship bonds.  Council will also provide details of the approved works including specifications and construction details.

- Works on Council land, must not commence until the written letter of approval has been obtained from Council and heavy construction works within the property are complete. The work must be carried out in accordance with the conditions of development consent, Council’s conditions for working on Council land, design details and payment of the fees and bonds outlined in the letter of approval.

- The civil works must be completed in accordance with the above, prior to the issuing of an occupation certificate for the development, or as otherwise approved by Council in writing.

Sydney Water

- A compliance certificate must be obtained from Sydney Water, under Section 73 of the Sydney Water Act 1994. Sydney Water’s assessment will determine the availability of water and sewer services, which may require extension, adjustment or connection to their mains, and if required, will issue a Notice of Requirements letter detailing all requirements that must be met. Applications can be made either directly to Sydney Water or through a Sydney Water accredited Water Servicing Coordinator (WSC).

Go to sydneywater.com.au/section73 or call 1300 082 746 to learn more about applying through an authorised WSC or Sydney Water.

- The Section 73 Certificate must be submitted to the Principal Certifier and the Council prior to the issuing of an Occupation Certificate.

Undergrounding of Power

- The Principal Certifier shall ensure that any power supply to the completed development from Frenchmans Road has been provided as an underground (UGOH) connection from the nearest mains distribution pole.  All work is to be to the requirements and satisfaction of Ausgrid and at no cost to Council.

NOTE : Any private poles on the Frenchmans road frontage must be removed prior to the issuing of an occupation certificate.

Stormwater Drainage

- A "restriction on the use of land” and “positive covenant" (under section 88E of the Conveyancing Act 1919) shall be placed on the title of the subject property to ensure that the onsite detention/infiltration system is maintained and that no works which could affect the design function of the detention/infiltration system are undertaken without the prior consent (in writing) from Council. Such restriction and positive covenant shall not be released, varied or modified without the consent of the Council.

Notes:

  - The “restriction on the use of land” and “positive covenant” are to be to the satisfaction of Council. A copy of Council’s standard wording/layout for the restriction and positive covenant may be obtained from Council’s Development Engineer.

  - The works as executed drainage plan and hydraulic certification must be submitted to Council prior to the “restriction on the use of land” and “positive covenant” being executed by Council.

  - Evidence of registration of the Positive Covenant and Restriction (by receipt and/or title search) on the title of the subject property must be provided to the satisfaction of the Principal Certifier.

- A works-as-executed drainage plan prepared by a registered surveyor and approved by a suitably qualified and experienced hydraulic consultant/engineer must be forwarded to the Principal Certifier and the Council. The works-as-executed plan must include the following details (as applicable):

- Finished site contours at 0.2 metre intervals;

- The location of any detention basins/tanks with finished surface/invert levels;

- Confirmation that orifice plate/s have been installed and orifice size/s (if applicable);

- Volume of storage available in any detention areas;

- The location, diameter, gradient and material (i.e. PVC, RC etc) of all stormwater pipes;

- Details of any infiltration/absorption systems; and

- Details of any pumping systems installed (including wet well volumes).

- The applicant shall submit to the Principal Certifier  and Council, certification from a suitably qualified and experienced Hydraulic Engineer, which confirms that the design and construction of the stormwater drainage system complies with the Building Code of Australia, Australian Standard AS3500.3:2003 (Plumbing & Drainage- Stormwater Drainage) and conditions of this development consent.

The certification must be provided following inspection/s of the site stormwater drainage system by the Hydraulic Engineers to the satisfaction of the Principal Certifier.

- The applicant shall submit to the Principal Certifier and Council certification from a suitably qualified and experienced professional engineer, confirming that the walls of the basement have been fully tanked and waterproofed to prevent the entry of all groundwater in the basement level/s and that any required sub-soil drainage systems have been provided in accordance with the conditions of this consent. There must be no dry weather seepage/groundwater flows discharging to Council’s street gutter.

Landscaping

- Prior to any Occupation Certificate, certification from a qualified professional in the Landscape industry must be submitted to, and be approved by, the Principal Certifier, confirming the date that the completed landscaping was inspected, and that it has been installed substantially in accordance with the Landscape Development Application Package by Arcadia, Issue D, dated May 2021.

- Suitable strategies shall be implemented to ensure that the landscaping is maintained in a healthy and vigorous state until maturity, for the life of the development.

- The nature-strips upon both of Council's footways shall be re-graded and re-turfed with Kikuyu Turf rolls, including turf underlay, wholly at the applicant’s cost, to Council’s satisfaction, prior to any Occupation Certificate.

Project Arborist Certification

- Prior to any Occupation Certificate, the Project Arborist must submit to, and have approved by, the Principal Certifier, written certification (including time stamped photos) which confirms compliance with the conditions of consent, the Arboricultural Method Statement in the Arborist Report, the dates of attendance and any works performed/supervised relating to the retention of T7, T12-17 & T20.

Tree Protection Certification

- Prior to any Occupation Certificate, written certification must firstly be obtained from Council’s Landscape Development Officer (9093-6613) confirming that the requirement for a joint site inspection of hand dug trenches in both the front and rear setbacks was performed, as well as prior to pruning, for T7, T12-17 & T20, as is required by the ‘Tree Protection Measures’ and ‘Pruning’ conditions, with any other instructions issued on-site also having been complied with during the course of works.

Waste Management

- Prior to the occupation of the development, the owner or applicant is required to contact Council’s City Services department, to make the necessary arrangements for the provision of waste services for the premises.

- The waste storage areas shall be clearly signposted.

BASIX Requirements & Certification

- In accordance with Clause 154B of the Environmental Planning & Assessment Regulation 2000, a Certifier must not issue an Occupation Certificate for this development, unless it is satisfied that any relevant BASIX commitments and requirements have been satisfied.

Relevant documentary evidence of compliance with the BASIX commitments is to be forwarded to the Principal Certifier and Council upon issuing an Occupation Certificate.

Noise Control Requirements & Certification

- The operation of plant and equipment shall not give rise to an ‘offensive noise’ as defined in the Protection of the Environment Operations Act 1997 and Regulations.

In this regard, the operation of the plant and equipment shall not give rise to an LAeq, 15 min sound pressure level at any affected premises that exceeds the background LA90, 15 min noise level, measured in the absence of the noise source/s under consideration by more than 5dB(A) in accordance with relevant NSW Environment Protection Authority (EPA) Noise Control Guidelines.

- A report must be obtained from a suitably qualified and experienced consultant in acoustics, which demonstrates and certifies that noise and vibration from any plant and equipment (e.g. mechanical ventilation systems and air-conditioners) satisfies the relevant provisions of the Protection of the Environment Operations Act 1997, NSW Environment Protection Authority (EPA) Noise Control Manual, Industrial Noise Policy and Council’s development consent.

A copy of the report must be provided to the Principal Certifier and Council prior to an occupation certificate being issued.

Street and/or Sub-Address Numbering

- Street numbering must be provided to the front of the premises in a prominent position, in accordance with the Australia Post guidelines and AS/NZS 4819 (2003) to the satisfaction of Council.

If this application results in an additional lot, dwelling or unit, an application must be submitted to and approved by Council’s Director of City Planning, together with the required fee, for the allocation of appropriate street and/or unit numbers for the development. The street and/or unit numbers must be allocated prior to the issue of an occupation certificate.

Please note: any Street or Sub-Address Numbering provided by an applicant on plans, which have been stamped as approved by Council are not to be interpreted as endorsed, approved by, or to the satisfaction of Council.

Remediation Work

- A report or statement must be obtained from the appointed Site Auditor or a suitably qualified Environmental Consultant, which confirms that the relevant conditions of consent and site remediation requirements have been satisfied accordingly and the implementation of the development has not impacted or affected the relevant site investigations, Site Remediation Strategy and Reports.

Food Premises - Inspection

- The premises must be inspected by Council’s Environmental Health Officer to ascertain compliance with relevant Food Safety Standards and the written approval of Council (being the relevant Food Authority for this food business) must be obtained prior to the operation of the food business.

- A report, prepared by a suitably qualified and experienced consultant in acoustics, shall be submitted to the Principal Certifier and Council, which demonstrates and certifies that noise and vibration from the development satisfies the relevant provisions of the Protection of the Environment Operations Act 1997, NSW EPA Noise Control Manual & Industrial Noise Policy, Council's conditions of consent (including any relevant approved acoustic report and recommendations), to the satisfaction of Council.  The assessment and report must include all relevant fixed and operations noise sources. Sources include but not limited to all plant and equipment such as air conditioning units, mechanical ventilation and use of gym area. The report shall also validate whether the acoustic barrier is effective.

OPERATIONAL CONDITIONS

The following operational conditions must be complied with at all times, throughout the use and operation of the development.

These conditions have been applied to satisfy the relevant requirements of the Environmental Planning & Assessment Act 1979, Environmental Planning & Assessment Regulation 2000, Council’s development consent and to maintain reasonable levels of public health and environmental amenity.

Use of parking spaces

- The car spaces within the development are for the exclusive use of the occupants and visitors of the building. The car spaces must not be leased to any person/company that is not an occupant of the building.

Stormwater Detention/Infiltration  System

- The detention area/infiltration system must be regularly cleaned and maintained to ensure it functions as required by the design.

Fire Safety Statements

- A single and complete Fire Safety Statement (encompassing all of the fire safety measures upon the premises) must be provided to the Council (at least on an annual basis) in accordance with the requirements of the Environmental Planning & Assessment Regulation 2000.

The Fire Safety Statement is required to confirm that all the fire safety measures have been assessed by a competent fire safety practitioner and are operating in accordance with the standards of performance specified in the Fire Safety Schedule.

A copy of the Fire Safety Statement must be displayed in the building entrance/foyer at all times and a copy must also be forwarded to Fire & Rescue NSW.

Environmental Amenity

- External lighting to the premises must be designed and located so as to minimise light-spill beyond the property boundary or cause a public nuisance.

- The written approval of council must be obtained prior to the installation of any cooling towers.

- Any requirements contained within an Environmental Management Plan (EMP) which forms part of the Site Audit Statement and Site Audit Report, form part of this consent and must be implemented accordingly.

Food Storage

- All food preparation, cooking, display and storage activities must only be carried out within the approved food premises.

Storage shall be within appropriate shelves, off the floor and in approved storage containers.  External areas or structures must not be used for the storage, preparation or cooking of food, unless otherwise approved by Council in writing and subject to any necessary further approvals.

Food Safety Requirements

- The food premises must be registered with Council's Health, Building & Regulatory Services Department and the NSW Food Authority in accordance with the Food Safety Standards, prior to commencing business operations.

- A Food Safety Supervisor must be appointed for the business and the NSW Food Authority and Council must be notified of the appointment, in accordance with the Food Act 2003, prior to commencing business operations.  A copy of which must be maintained on site and be provided to Council officers upon request.

- A numerically scaled indicating thermometer or recording thermometer, accurate to the nearest degree Celsius being provided to refrigerators, cool rooms, other cooling appliances and bain-maries or other heated food storage/display appliances.  The thermometer is to be located so as to be read easily from the outside of the appliance.  A digital probe type thermometer must also be readily available to check the temperature of food items.

- All food that is to be kept hot should be heated within one (1) hour from the time when it was prepared or was last kept cold, to a temperature of not less than 60C and keep this food hot at or above the temperature.  Food that is to be kept cold should be cooled, within four (4) hours from the time when it was prepared or was last kept hot, to a temperature of not more than 5C and keep this food cold at or below that temperature.

- Food safety practices and the operation of the food premises must be in accordance with the Food Act 2003, Food Regulation 2004, Food Standards Code and Food Safety Standards at all times, including the requirements and provisions relating to:

	Food handling – skills, knowledge and controls.

	Health and hygiene requirements.

	Requirements for food handlers and businesses.

	Cleaning, sanitising and maintenance.

	Design and construction of food premises, fixtures, fitting and equipment.

The Proprietor of the food business and all staff carrying out food handling and food storage activities must have appropriate skills and knowledge in food safety and food hygiene matters, as required by the Food Safety Standards.

Failure to comply with the relevant food safety requirements is an offence and may result in legal proceedings, service of notices and/or the issuing of on-the-spot penalty infringement notices.

- The food premises must be kept in a clean and sanitary condition at all times, including all walls, floors, ceilings, fixtures, fittings, appliances, equipment, fridges, freezers, cool rooms, shelving, cupboards, furniture, crockery, utensils, storage containers, waste bins, light fittings, mechanical ventilation & exhaust systems & ducting, storage areas, toilet facilities, basins and sinks.

Environmental Amenity

- There are to be no emissions or discharges from the premises which will give rise to a public nuisance or result in an offence under the Protection of the Environment Operations Act 1997 and Regulations.

- The proposed use of the premises and the operation of all plant and equipment shall not give rise to an ‘offensive noise’ as defined in the Protection of the Environment Operations Act 1997 and Regulations.

In this regard, the operation of the premises and plant and equipment shall not give rise to a sound pressure level at any affected premises that exceeds the background (LA90), 15 min noise level, measured in the absence of the noise source/s under consideration by more than 5dB(A).  The source noise level shall be assessed as an LAeq, 15 min and adjusted in accordance with the NSW Office of Environment & Heritage/Environment Protection Authority Industrial Noise Policy 2000 and Environmental Noise Control Manual (sleep disturbance).

- The proposed use of the premises and the operation of all plant and equipment shall not give rise to an ‘offensive noise’ as defined in the Protection of the Environment Operations Act 1997 and Regulations.

- The use of the premises and the operation of plant and equipment shall not give rise to the transmission of a vibration nuisance or damage to other premises.

- The use of all outdoor areas are restricted to:

Monday- Sunday 7:00am – 10:00pm

- No live music is permitted in the communal open space area nor is music to be audible beyond individual rooms.

- The air conditioning plant and equipment shall not be operated during the following hours if the noise emitted can be heard within a habitable room in any other residential premises, or, as otherwise specified in relevant Noise Control Regulations:

	before 8.00am or after 10.00pm on any Saturday, Sunday or public holiday; or

	before 7.00am or after 10.00pm on any other day.

- A report prepared by a suitably qualified and experienced consultant in acoustics shall be submitted to Council 3 months after occupation certificate being issued for the development and from time to time, which demonstrates that noise and vibration emissions from the development satisfies the relevant provisions of the Protection of the Environment Operations Act 1997, Environmental Protection Authority Noise Control Manual & Industrial Noise Policy, relevant conditions of consent (including any relevant approved acoustic report and recommendations).  The assessment and report must include all relevant fixed and operational noise sources.

- A plan of management prepared by Centurion Project Management Pty Ltd dated 12 November 2020 shall be implemented at all times and reviewed every year to ensure ongoing compliance.

- The use and operation of the premises shall not give rise to an environmental health or public nuisance.

- There are to be no emissions or discharges from the premises which give rise to a public nuisance or result in an offence under the Protection of the Environment Operations Act 1997 and Regulations.

- The individual rooms, common areas, shared facilities and common areas are to be maintained in a clean and tidy state and individual’s rubbish is to be placed in the appropriate receptacles.

- Any changes to the proposed operation of the business may be subject to further development consent and/or a report may also be required to be obtained by a suitably qualified and experienced consultant in acoustics certifying the operation complies with the relevant noise criteria.

Waste Management

- Adequate provisions are to be made within the premises for the storage, collection and disposal of waste and recyclable materials, to the satisfaction of Council.

The waste storage area must be located within the property and not within any areas used for the preparation or storage of food.

A tap and hose is to be provided within or near the waste storage area and suitable drainage provided so as not to cause a nuisance.

Waste/recyclable bins and containers must not be placed on the footpath (or road), other than for waste collection, in accordance with Council’s requirements.

- Trade/commercial waste materials must not be disposed via council’s domestic garbage service.  All trade/commercial waste materials must be collected by Council’s Trade Waste Service or a waste contractor authorised by the Waste Service of New South Wales and details of the proposed waste collection and disposal service are to be submitted to Council prior to commencing operation of the business.

Sanitary Facilities

- Sanitary facilities, plus wash hand basin and paper towel dispenser or hand dryer and appropriate signage, must be available for customers and staff and be maintained in a clean and sanitary condition at all times.

GENERAL ADVISORY NOTES

The following information is provided for your assistance to ensure compliance with the Environmental Planning & Assessment Act 1979, Environmental Planning & Assessment Regulation 2000, or other relevant legislation and requirements.  This information does not form part of the conditions of development consent pursuant to Section 4.17 of the Act.

- The requirements and provisions of the Environmental Planning & Assessment Act 1979 and Environmental Planning & Assessment Regulation 2000, must be fully complied with at all times.

Failure to comply with these requirements is an offence, which renders the responsible person liable to a maximum penalty of $1.1 million.  Alternatively, Council may issue a penalty infringement notice (for up to $6,000) for each offence.  Council may also issue notices and orders to demolish unauthorised or non-complying building work, or to comply with the requirements of Council’s development consent.

- In accordance with the requirements of the Environmental Planning & Assessment Act 1979, building works, including associated demolition and excavation works (as applicable) must not be commenced until:

- A Construction Certificate has been obtained from an Accredited Certifier or Council,

- An Accredited Certifier or Council has been appointed as the Principal Certifier for the development,

- Council and the Principal Certifier have been given at least 2 days notice (in writing) prior to commencing any works.

- Council can issue your Construction Certificate and be your Principal Certifier for the development, to undertake inspections and ensure compliance with the development consent and relevant building regulations. For further details contact Council on 9093 6944.

- This determination does not include an assessment of the proposed works under the Building Code of Australia (BCA), Disability (Access to Premises – Buildings) Standards 2010 and other relevant Standards.  All new building work (including alterations and additions) must comply with the BCA and relevant Standards.  You are advised to liaise with your architect, engineer and building consultant prior to lodgement of your construction certificate.

- Any proposed amendments to the design and construction of the building may require a new development application or a section 4.55 amendment to the existing consent to be obtained from Council, before carrying out such works

- A Local Approval application must be submitted to and be approved by Council prior to commencing any of the following activities on a footpath, road, nature strip or in any public place:-

- Install or erect any site fencing, hoardings or site structures

- Operate a crane or hoist goods or materials over a footpath or road

- Placement of a waste skip or any other container or article.

For further information please contact Council on 9093 6971.

- Specific details of the location of the building/s should be provided in the Construction Certificate to demonstrate that the proposed building work will not encroach onto the adjoining properties, Council’s road reserve or any public place.

- This consent does not authorise any trespass or encroachment upon any adjoining or supported land or building whether private or public.  Where any underpinning, shoring, soil anchoring (temporary or permanent) or the like is proposed to be carried out upon any adjoining or supported land, the land owner or principal contractor must obtain:

- the consent of the owners of such adjoining or supported land to trespass or encroach, or

- an access order under the Access to Neighbouring Land Act 2000, or

- an easement under section 88K of the Conveyancing Act 1919, or

- an easement under section 40 of the Land & Environment Court Act 1979, as appropriate.

Section 177 of the Conveyancing Act 1919 creates a statutory duty of care in relation to support of land.  Accordingly, a person has a duty of care not to do anything on or in relation to land being developed (the supporting land) that removes the support provided by the supporting land to any other adjoining land (the supported land).

- External paths and ground surfaces are to be constructed at appropriate levels and be graded and drained away from the building and adjoining premises, so as not to result in the entry of water into the building, or cause a nuisance or damage to any adjoining land.

Finished ground levels external to the building are to be consistent with the development consent and are not to be raised, other than for the provision of approved paving or the like on the ground.

- Prior to commencing any works, the owner/builder should contact Dial Before You Dig on 1100 or www.dialbeforeyoudig.com.au and relevant Service Authorities, for information on potential underground pipes and cables within the vicinity of the development site.

- The necessary development consent and a construction certificate or a complying development certificate (as applicable) must be obtained for any proposed cooling towers and external plant and equipment, if not included in this consent.

- An application must be submitted to an approved by Council prior to the installation and operation of any proposed greywater or wastewater treatment systems, in accordance with the Local Government Act 1993.

Greywater/Wastewater treatment systems must comply with the relevant requirements and guidelines produced by NSW Health, NSW Office of Environment and Heritage and other relevant regulatory requirements.

- There are to be no emissions or discharges from the premises, which will give rise to an environmental or public nuisance or result in an offence under the Protection of the Environment Operations Act 1997 and Regulations.

- The assessment of this development application does not include an assessment of the proposed building work under the Food Act 2003, Food Safety Standards or Building Code of Australia (BCA).

All new building work must comply with relevant regulatory requirements and Australian Standards and details of compliance are to be provided in the construction certificate application.

- The design and construction of the premises must satisfy the requirements of the Food Act 2003, Food Standards Code and AS 4674 (2004). Prior to finalising the design and fit-out for the development and prior to a construction certificate being obtained, advice should be obtained from an accredited Food Safety Consultant (or Council’s Environmental Health Officer).

- The applicant/operator is advised to engage the services of a suitably qualified and experienced Acoustic consultant, prior to finalising the design and construction of the development, to ensure that the relevant noise criteria and conditions of consent can be fully satisfied.