COUNCIL ASSESSMENT REPORT

| Panel Reference | PPSSEC-210 |  |
| --- | --- | --- |
| DA Number | DA.2022.44 |  |
| LGA | Burwood |  |
| Proposed Development | Demolition of an existing above ground car park and construction of the Burwood Urban Park and Cultural Centre. This includes the construction of a community and cultural centre, public plaza, café, landscaping and public domain upgrades, basement car parking and other associated works. |  |
| Street Address | Part 2-4 Conder Street, Burwood (Burwood Library and Carpark) Part 52-60 Railway Parade, Burwood (Burwood Place) Part Railway Parade Road Reserve Part Conder Street Road Reserve |  |
| Applicant/Owner | Applicant: Mecone NSW Pty Ltd on behalf of Burwood Council Owner: Burwood Council (owner of the site except for 52-60 Railway Parade) Wynne Ave Property Pty Ltd (owner of 52-60 Railway Parade) |  |
| Date of DA lodgement | 20 June 2022 |  |
| Number of Submissions | 15 |  |
| Recommendation | Approval, subject to conditions |  |
| Regional Development Criteria (Schedule 6 of SEPP (Planning Systems) 2021) | Council related development over $5 million: - The Capital Investment Value of the development is $24,969,612 |  |
| List of all relevant 4.15(1)(a) matters | - The provisions of the following environmental planning instruments: - State Environmental Planning Policy (Planning Systems) 2021 - State Environmental Planning Policy (Biodiversity and Conservation) 2021 - State Environmental Planning Policy (Resilience and Hazards) 2021 - State Environmental Planning Policy (Transport and Infrastructure) 2021 - Burwood Local Environmental Plan (BLEP) 2012 - The provisions of the Burwood Development Control Plan (BDCP) 2013 - The planning agreement entered into between Burwood Council, Burwood Tower Holdings Pty Ltd and Wynne Ave Property Pty Limited atf Wynne Ave Property Trust on 6 August 2020 - The Environmental Planning and Assessment Regulation 2021 - The likely social, environmental and economic impacts of the development in the locality - The suitability of the site for the development - Submissions made under the Environmental Planning and Assessment Act 1979 and Regulations - The public interest |  |
| List all documents submitted with this report for the Panel’s consideration | - Development application form - Architectural Plans prepared by CHROFI - Landscape Plans prepared by Tyrrell - Survey Plan prepared by Higgins Surveyors - Statement of Environmental Effects prepared by Mecone - Response to RFIs letter prepared by Mecone - Access Review prepared by Morris Goding Access Consulting - Acoustic Report prepared by RWDI - Arboricultural Impact Assessment prepared by Australis Tree Management - BCA Regulatory Compliance Report prepared by McKenzie Group - Carparking Compliance Assessment prepared by ptc - Carparking Letter and Plan prepared by ptc - Civil Stormwater Report and Civil Works Plans prepared by TTW - Construction and Demolition Waste Management Plan prepared by Elephants Foot - CPTED Report prepared by Mecone - DCP Compliance Table prepared by Mecone - Design Excellence Responses prepared by CHROFI and Tyrrell Studio - Design Statement prepared by CHROFI and Tyrrell Studio - Detailed Site (Contamination) Investigation by Douglas Partners - Ecological Assessment prepared by SIA - ESD Report by Cundall - Fire Engineer’s letter by Stantec - Green Star Strategy Report by Cundall - Heritage Impact Statement by Jackson-Stepowski - Interim Audit Advice #01 by Ian Swane & Associates - NABERS Energy Guide by Cundall - Operational Management Plan by Burwood Council - Operational Waste Management Plan by Elephant’s Foot - Pre-DA Response by CHROFI and Tyrrell Studio - Preliminary (Site) Contamination Investigation BY Douglas Partners - Public Art Plan by Artscape - Remediation Action Plan by Douglas Partners - Section J Report by Cundall - Services and Utilities Report by IGS - Structural DA Report by TTW - Transport, Traffic and Parking Impact Assessment prepared by Road Delay Solutions - Wind Impact Statement prepared by RWDI |  |
| Report prepared by | Ethos Urban (external consultant) |  |
| Report date | 9 February 2023 |  |
| Summary of s4.15 matters Have all recommendations in relation to relevant s4.15 matters been summarised in the Executive Summary of the assessment report? |  | Yes |
| Legislative clauses requiring consent authority satisfaction Have relevant clauses in all applicable environmental planning instruments where the consent authority must be satisfied about a particular matter been listed, and relevant recommendations summarized, in the Executive Summary of the assessment report? e.g. Clause 7 of SEPP 55 - Remediation of Land, Clause 4.6(4) of the relevant LEP |  | Yes |
| Clause 4.6 Exceptions to development standards If a written request for a contravention to a development standard (clause 4.6 of the LEP) has been received, has it been attached to the assessment report? |  | Not applicable |
| Special Infrastructure Contributions Does the DA require Special Infrastructure Contributions conditions (S94EF)? Note: Certain DAs in the Western Sydney Growth Areas Special Contributions Area may require specific Special Infrastructure Contributions (SIC) conditions |  | No |
| Conditions Have draft conditions been provided to the applicant for comment? Note: in order to reduce delays in determinations, the Panel prefer that draft conditions, notwithstanding Council’s recommendation, be provided to the applicant to enable any comments to be considered as part of the assessment report |  | Yes |

(PPSSEC-210) DA.2022.44 – Part 2-4 Conder Street, Burwood, Part 52-60 Railway Parade, Burwood (Burwood Place), Part Railway Parade Road Reserve and Part Conder Street Road Reserve – Demolition of an existing above ground car park and construction of the Burwood Urban Park and Cultural Centre. This includes the construction of a community and cultural centre, public plaza, café, landscaping and public domain upgrades, basement car parking and other associated works.

REPORT BY: Ethos Urban (External Consultant)

Owner:	Burwood Council and Wynne Ave Property Pty Ltd

Applicant:  	Burwood Council

Location: 	Part 2-4 Conder Street, Burwood, Part 52-60 Railway Parade, Burwood (Burwood Place), Part Railway Parade Road Reserve and Part Conder Street Road Reserve

Zoning:  	B4 Mixed Use

Burwood Council engaged an external assessment team, led by Ethos Urban, to assess this application on behalf of Council.

## PROPOSAL

The application proposes the demolition of an existing above ground car park and construction of the Burwood Urban Park and Cultural Centre. This includes the construction of a community and cultural centre, public plaza, café, landscaping and public domain upgrades, basement car parking and other associated works.

## REGIONAL PANEL REFERRAL CRITERIA

The application is referred to the Sydney Eastern City Planning Panel as the proposal is Council related development with a capital investment value of more than $5 million (see clause 3 of Schedule 6 to State Environmental Planning Policy (Planning Systems) 2021 (Planning Systems SEPP).

Specifically:

- The Capital Investment Value of the development is $24,969,612; and

- Burwood Council is the owner of part of the site.

## SUBJECT SITE AND LOCALITY

The subject site includes:

- Part 2-4 Conder Street, Burwood – Burwood Library and Carpark

- Part 52-60 Railway Parade, Burwood – Burwood Place

- Part Railway Parade Road Reserve

- Part Conder Street Road Reserve

The site is shown in Figures 1 and 2 and the legal description of the site is provided in Table 1.

The main part of the site at 2-4 Conder Street is occupied by an at-grade bitumen car park with 56 spaces, and pedestrian forecourt to the adjoining Burwood Council and Library within the same lot. Vehicle access to the car park is provided from Conder Street via a two-way, left-in/left-out driveway. No vehicle access to the site is permitted from Railway Parade. The site is generally flat, rising to the south via a staircase providing access to the Council/library building. It is landscaped with low-lying gardens generally around the perimeter of the site, as well as 19 mature trees.

The site is located on the south-western edge of Burwood Town Centre as defined by the Burwood Development Control Plan 2013 (BDCP 2013), adjacent to the Burwood Council Chambers and Library Building, Burwood Place and Burwood Public School. The context of the site is shown in Figure 3.

Figure 1	Aerial image of the site 
Source: Statement of Environmental Effects prepared by Mecone, dated June 2022

Area of proposed works

Lot 15 DP 832440

Area of proposed works

Lot 15 DP 832440

Figure 2	Site plan 
Source: Architectural plans prepared by Chrofi, edited by Ethos Urban

Table 1	Legal description of the site

| Address | Lot/DP | Landowner | Site Area |
| --- | --- | --- | --- |
| Part 2-4 Conder Street, Burwood | Lot 15 DP 832440 | Burwood Council | 2,806m2 (total lot area = 4,197m2) |
| Part 52-60 Railway Parade, Burwood | Lot 16 DP832440 | Wynne Ave Property Pty Ltd | 10m2 (total lot area = 6,642m2) |
| Part Railway Parade Road Reserve |  | Burwood Council | 492m2 |
| Part Conder Street Road Reserve |  | Burwood Council | 97m2 |
| Total area of proposed works |  |  | 3,406m2 |

Figure 3	Local context diagram 
Source: Statement of Environmental Effects prepared by Mecone, dated June 2022

Photographs of the site are provided in Figures 4 to 6. All photographs were taken by Ethos Urban on 2 November 2020.

Figure 4	The site, facing south-east, viewed from the corner of Conder Street and Railway Parade

Figure 5	The site, facing south, viewed from the corner of Conder Street and Railway Parade

Figure 6	Interface between the site and the Burwood Council and Library building

### Surrounding development

Surrounding development is characterised by high-rise mixed-use residential towers, mid-rise residential buildings, commercial and office buildings, and shopping centres. The subject site is surrounded by the following development:

- North: Railway Parade, Burwood Train Station and ‘1 Railway Parade’, an existing mixed-use development up to 20 storeys. On the northern side of the railway line, is Burwood Park, Westfield Shopping Centre, Parramatta Road and the future location of the Burwood North Metro Station.

- East: 7-8 storey commercial office buildings and an above-ground car park. Development consent was granted on 28 November 2022 by the SECPP for the demolition of these buildings and redevelopment as part of the Burwood Place development by Holdmark (DA.2021.44).

- South: Burwood Council and Library adjoins the development site to the south.

- West: Burwood Public School, a two-storey heritage listed building.

The site immediately adjoins the ‘Burwood Place’ site, for which development consent was granted on 28 November 2022 for redevelopment. The approved development comprises demolition of the existing structures and the construction of a mixed-use development comprising five (5) towers above a three-storey podium with 1,041 residential units, 30,044sqm of non-residential gross floor area for retail, commercial, child care and entertainment/cinema uses, 6-7 levels of basement parking with 1,757 car parking spaces, and public domain areas.

Photos of the surrounding development are provided in Figures 7 to 11.

Figure 7	Railway Parade and high-rise development to the north (facing east)

Figure 8	Commercial office buildings to the east (to be redeveloped)

Figure 9	Unity Place and the southern side of the Burwood Council and Library

Figure 10	Burwood Public School to the west

Figure 11	Conder Street and Railway Parade intersection, and Burwood Primary School beyond

## BACKGROUND TO THE PROPOSAL

### Project need

The proposed development is intended to address the needs identified in the Burwood Community Facilities and Open Space Strategy (2019). The Strategy found that population growth and demographic change in the Burwood LGA will increase demand for community facilities and outdoor spaces in an already highly populated area. The Strategy identifies that by 2036, the Burwood LGA will need:

- An additional 1,875m2 of community centre floor space to meet a benchmark of 80m2 per 1,000 people.

- A cultural/performance space to address a lack of arts and cultural facilities (in the Burwood LGA) and also regionally in the adjoining Canada Bay and Strathfield LGAs.

- New parks for local use in very high-density areas, including the suburb of Burwood.

Furthermore, the Strategy identifies the need for future facilities to be multi-purpose wherever possible with opportunities to deliver a broad range of community, recreational and cultural uses in the same space.

The proposal is to be delivered via a Voluntary Planning Agreement (VPA) approved as part of the Planning Proposal for the Burwood Place development (PP-2020-403) directly adjacent to the site at 42-50 Railway Parade and 52-60 Railway Parade, Burwood. The VPA was entered into on 6 August 2020 between the following parties:

- Burwood Council;

- Burwood Tower Holdings Pty Ltd (the developer); and

- Wynne Ave Property Pty Limited atf Wynne Ave Property Trust (the landowner).

The VPA provides for the following public benefits:

- Monetary contributions totalling $30 million for the provision of public purposes.

- Public benefits with a combined value of approximately $50.75 million, including:

- Underground car park consisting of 120 spaces over two levels on the Burwood Library site;

- Urban park of approximately 2,200sqm to replace the current Council car park on the Burwood Library site;

- Installation of a multi-purpose sports and community facility that integrates with the urban park;

- 4,242sqm NLA or approximately 5,300sqm gross A-grade commercial office space, within a contiguous area over a maximum of four levels; and

- 40 of the basement car parking spaces on Basement Level 1 or the first level of car parking from the vehicle access point, being reserved for the office space. The commercial floor space and parking spaces shall be transferred to Council as a stratum.

The staging of the Burwood Place development will be in accordance with the VPA and the agreed staging plan. The basement car park to level 1 of Burwood Place must be constructed in stage 1 of the development, along with the works to the library and the construction of the basement car park on the subject Urban Park DA site, before any of the commercial or residential towers on the land can be constructed.

The VPA does not exclude the application of sections 7.11 and 7.12 of the EP&A Act, meaning that development contributions may still be payable. This is addressed further in Section 10 of this assessment report.

### Design competition

The design for the Burwood Urban Park and Cultural Centre was chosen from four (4) entry designs as part of a design competition held by Council in April 2020. Council Officers assessed the entries and endorsed CHROFI and TYRRELLSTUDIO’s scheme as the winning design.

### Community consultation

Once the need for the proposed development was identified, a Community Engagement Program was conducted by Burwood Council. In engaging with approximately 180 community members and stakeholders, the key findings obtained from the engagement process included:

- Outdoor spaces including green lawn, water play, high canopy trees, shade, and rest areas;

- Indoor spaces including café/community lounge, theatrette, multipurpose rooms;

- Multipurpose/flexible design to support a broad range of community activity;

- Creative arts program and community events;

- Welcoming and accessible to whole of community.

### Council endorsement

At the Ordinary Meeting of Council held on 26 October 2021, Council resolved to adopt the preliminary concept plans, internal layouts, funding strategy and landscape designs for the new Urban Park and Cultural Centre. The resolution authorised the General Manager to proceed with the lodgement of a DA based upon the concept design.

### Design Review Panel

A Design Review Panel Meeting was undertaken with the Burwood Urban Design Panel on 21 March 2022 in relation to the subject DA. The panel noted that the proposal represented a very positive addition to both open space and community facilities and the design has clearly been advanced since the last early concepts seen by the DRP. The panel are of the view that initial concerns have been addressed and the matter should be determined by the Assessment Teams. Specific comments included:

- The proposal offers good compromise between activating the retail corners of the Holdmark scheme and achieving a large single space within the lower park level.

- Suggestion regarding young kids play equipment in a secure area, and this was successful at Lane Cove and the Canopy where parents may be socialising nearby.

- Water play is the focus but would also be offering opportunity for incidental play rather than formal play equipment and the like.

- Question regarding the activation of the space. This is being considered as part of the design – food trucks, movie in the park and other events are being considered. Infrastructure will be provided to allow a range of events to activate the spaces.

- Good move to consolidate the lower level into a large space and not ‘chopped’ up into small less useable areas.

- The tree Bosque offers the green containment and contrast to the towers on the Holdmark scheme.

- Creation of two ‘spaces’ is interesting and provides two defined spaces that can be activated in different ways.

- The design team will also be considering a range of seating options. To provide both formal dining space and more informal resting places.

- How can this space be connected with the Burwood School as presently it offers a blind edge of the western edge of the school?

- Provision of amenities for visitors – are they large enough and accessible at required times? Still being tested by the design team.

- Information requested regarding the programming for the space to understand the dynamics of the site and how the spaces will be used at different times of day/season.

- How will this integrate with the heritage buildings in the area? Suggestion that timber battens offer a natural/ sympathetic response to heritage materials. Also needs to offer a strong response in the context of the adjacent towers.

- There is a need to achieve a framing quality for the site and be in a contrast to the density of Burwood Place. The project needs to be great, and should also indicate the scope for incorporation of urban art and local stories.

- There needs to be testing regarding the urban forest outcome. Need to consider landscape volume and space and select species to suit the space. Recommendation around introducing deep planting and allow mature trees of substantial scheme to be delivered.

### Pre-DA meetings

Two pre-DA meetings were undertaken with the independent planning assessment team on 28 March 2022 and 6 May 2022 in relation to the subject DA. The primary matters raised in the latest meeting by the independent planning assessment team were:

- Integration of the various spaces within the site through texture, paving and materiality;

- Appropriateness of eucalyptus trees and whether this relates to surrounding elements;

- Geometry of the ‘wedge’ and its sympathy to the geometry of the Library;

- The role of the lawn and its viability in terms of potential recreational users, carrying capacity and compatibility of uses;

- Clarity required around movement patterns across the site;

- Noise associated with the water play features;

- Clarity on how the design mitigates heat island effect.

The above matters were responded to in the DA package and it is considered that they have been adequately addressed.

### RFI letter

On 19 August 2022, the independent assessment team issued a letter to the applicant raising some queries and concerns with the lodged DA. In summary, these included:

- Clarity required regarding the DA site boundary;

- Consistency between the architectural and landscape drawings;

- Queries regarding inconsistent or missing details on the plans;

- Clarity required as to whether this DA seeks consent for the operation of the café, or if this is intended to be the subject of a future development consent;

- Clarity regarding the intended use of the ‘studio’;

- Insufficient information is provided in relation to signage;

- Clarification required in relation to FSR calculations;

- Insufficient details regarding materials and finishes, including landscape materials and soils;

- Additional details required regarding stormwater and irrigation;

- Lack of wayfinding strategy, particularly for visitors arriving by car will not know how to get to the car park without clear wayfinding;

- The landscape plans suggest that the existing fence along the Conder Street/ Railway Parade intersection frontage will be retained with spotted gum trees to be planted adjacent to further discourage pedestrians from crossing at the existing roundabout. Consideration should be given to extending the fence to the existing midblock raised pedestrian crossing to encourage pedestrians to cross at a designated facility;

- Comments regarding the car park layout;

- Query regarding the number and class/type of bicycle spaces to be provided in the basement, the location of above ground bicycle racks and number of spaces to be provided, and details regarding compliance with relevant standards;

- Request for the applicant to submit a Detailed Site Investigation (DSI) and a Remediation Action Plan (RAP), reviewed by a NSW EPA-accredited contaminated sites auditor, and either a Section B Site Audit Statement or an Interim Audit Advice letter endorsing the RAP;

- Various comments in relation to the Construction and Demolition Waste Management Plan;

- Request for an assessment of potential impact of wind from the adjoining site, to understand the conditions at the proposed outdoor sitting locations.

All matters have been adequately addressed or are addressed via recommended conditions of consent.

### SECPP briefing

On 18 August 2022 the SECPP was briefed on the proposal. Key issues discussed include:

- Access across and into the site - accessible pathways and vehicular access;

- Contamination investigations;

- Coordination of basement excavations with Holdmark site;

- The Chair requested close attention to detail of conditions to ensure coordination between the two sites with potential to impose deferred commencement conditions if required.

## DESCRIPTION OF PROPOSED DEVELOPMENT

The application proposes the demolition of the existing structures, and construction and operation of the Burwood Urban Park and Cultural Centre. Specifically, the proposal seeks consent for the following works:

- Construction and operation of the Burwood Urban Park and Cultural Centre, which will accommodate a broad range of community and cultural spaces including:

  - community lounge;

  - multipurpose rooms;

  - theatrette;

  - kitchen facilities;

  - amenity facilities;

  - studio (a multipurpose room which can be hired by members of the community for a range of activities, such as dance classes, yoga, community sessions, exhibition, art installations or similar creative or art based activities);

  - storage;

- Green lawn area on roof of proposed building,

- Central plaza area inclusive of water play, connecting the site with the Burwood Library and Burwood Place,

- Lower ground Bosque area containing high canopy trees,

- Café accommodating 55 patrons and 5 kitchen staff;

- 50 car parking spaces at basement level;

- Associated plant and equipment rooms and landscaping.

It is noted that the proposed development does not include signage, however signage zones have been indicated on the plans. A condition of consent is recommended to clarify that the construction of signage is not included in the consent.

The proposed development will require approval of the roads authority (Burwood Council) under section 138 the Roads Act 1993 as part of the site will protrude into the road reserve of Railway Parade and Conder Street.

An extract of the architectural plans is provided in Figures 12-14 and further details of the proposal are provided below.

Figure 12	Proposed site plan
Source: Architectural plans prepared by CHROFI

Figure 13	Proposed section diagram
Source: Architectural plans prepared by CHROFI

Looking west

Looking north from library forecourt

Looking north-east from Burwood

Public School

Figure 14	3D visualisations
Source: Architectural plans prepared by CHROFI

### Extent of works

The works primarily relate to Lot 15 DP 832440, but some public domain and landscaping works will extend into the road reserve along Railway Parade and Conder Street, and Lot 16 DP 832440 (Burwood Place). A summary of the extent of works proposed within each lot and road reserve is provided in Table 3 below.

Table 3	Extent of works by lot/road reserve

Source: Statement of Environmental Effects prepared by Mecone dated June 2022

### Demolition and tree removal

To facilitate the redevelopment, it is proposed to demolish almost all existing improvements within the site including the car park, and most existing planting and paving elements within Lot 15 and the adjoining road reserve on Railway Parade and Conder Street. The proposal will also require the removal of 19 trees within the site. As shown in Figure 15, some existing elements within the site are to be retained and/or relocated as part of the proposed works. These include:

- Relocation of existing ‘School Zone’ sign on Railway Parade 2.2m south pending approval from Council and relevant authority (a condition of consent is recommended to ensure that approval is obtained);

- Relocation of existing sculpture ‘Awakenings’ to new location (currently in Railway Parade Road reserve);

- Retain existing light poles on Conder and Railway Parade and relocation of one light pole on Conder Street;

- Relocation of existing light pole on Conder Street;

- Retain existing paving in front of pedestrian crossing on Conder Street;

- Retain existing kerb and gutter; and

- Retain and protect existing fence at intersection of Conder Street and Railway Parade.

Figure 15	Demolition plan
Source: Landscape plans prepared by Tyrrell

### Built form

The Cultural Centre building is characterised by two architectural forms that are designed to appear as it they have emerged out of the landscape. The forms frame key views and provide a sense of enclosure to the public domain. The triangular form of the main building is built to the edge of Conder Street. This ‘wedge’ lifts out of the public domain to form an inclined plane that provides a protected green sloping lawn and a seating area on the plaza. The tallest northern end of this form is visible from the train station along Railway Parade. The second architectural form, ‘The Marker’ rises out of the ‘wedge’ and forms a gateway into the space from Conder Street, acting as a wayfinding element, albeit at a low scale. The rest of the site will consist of landscaping and paved public plaza spaces which have been integrated with the adjoining developments and uses.

### Use and operation

The proposal aims to support a wide range of diverse uses for community and cultural activities as well as a café. Given the intent for the proposal to be multipurpose and to accommodate for a range of uses, it is the use and operation of the proposal will vary significantly based on the scheduled event/activity at the time.

Given the variability of the proposed uses at the site, the operations and management of all events/activities will be managed in accordance with the Operational Management Plan submitted with the DA. It is recommended that a condition of consent be imposed to ensure implementation of the Operational Management Plan.

Table 4 below provides an indicative overview of the proposed use and hours of operation however it is noted that the exact use and hours may vary pending on the event/activity at the time as per the Operational Management Plan.

Table 4	Use and operation details

Source: Statement of Environmental Effects prepared by Mecone dated June 2022

### Access from Burwood Place

Vehicular access to the site will be from the adjoining ‘Burwood Place’ site at 52-60 Railway Parade once it is redeveloped pursuant to DA.2021.44. This will provide access via the basement level of Burwood Place to the proposed Basement 1 car park level under this DA. The proposed Burwood Place access is illustrated in Figure 16. Condition 58 of the DA.2021.44 consent requires an easement to be created in favour of Burwood Council to provide vehicular access to any future basement levels within the adjoining Lot 15 DP 832440 (the subject site), in the event that development application D.2022.44 (the subject DA) is approved. This easement shall be created prior to the issue of an Occupation Certificate of either development (whichever is completed first). A similar condition of consent is recommended for this DA.

Driveway access is also to be provided south of the ‘wombat’ pedestrian crossing on Conder Street, and restricted, by the use of a removable bollards, situated at the top of the driveway layback area. Authorised approval is required for access on Conder Street which is intended to be for operational requirements and special events such as the ‘Food Truck Market’.

The proposal provides for a total of 50 parking spaces at the basement level. The proposed total number of car parking spaces also includes 1 accessible car space.

Figure 16	Section diagram showing future link to Basement 1 of Burwood Place development
Source: Architectural plans prepared by CHROFI

### Landscaping

The proposed Urban Park provides three main areas:

- The ‘Library Plaza’, a multi-use civic plaza and forecourt to the library. This 800sqm paved plaza has been designed with flexible use in mind. It provides forty meters of seating along the library edge and additional seating is provided through movable tables and chairs with shade umbrellas. It provides an east-west link through the site connecting Burwood Lane and Burwood Place retail to the east, through to the pedestrian crossing on Conder Street to the west.

- The ‘Garden Terrace’, a 650sqm space containing 16 deciduous trees planted in a square grid. This space interfaces with Railway Parade to the north, Burwood Place alfresco edge to the east and the entry to the new cultural centre to the west. A linear water feature is included in this space.

- The ‘Library Lawn’, a 500sqm turfed area sitting above the new Cultural Centre roof that provides a passive green space from which to enjoy the activity on the Library Plaza. An accessible ramp with three landings connects the lawn to the Library Plaza. The Library Lawn can be supplemented with additional seating options such as deck chairs and bean bags.

While the Library Plaza may be seen more as a civic thoroughfare than a distinct area of public open space, the incorporation of two different open space areas serving different functions is considered appropriate for the site given its relatively small size. The proposed public domain has been designed as a cohesive part of the Burwood Town Centre, in particular the Garden Terrace which will integrate with Burwood Place to the east to support an integrated land use mix between the two sites.

The development proposes 337m2 of landscape planting including a combination of native and exotic trees (46 in total). Native, evergreen species like Eucalypts and Hills Fig will surround the boundary of the site providing civic scale and support the retention of local biodiversity. Exotic trees such as Chinese Pistachio (located in ‘Bosque’) and Chinese Elm (located at bottom of sloping lawn) will provide seasonal colour and texture.

Garden beds outside the library will be planted with colourful flowering native shrubs and groundcovers to create a welcoming entrance. The garden bed on Railway Parade will showcase mounded shrubs, fine-leaved grasses and carpeting groundcovers beneath the Eucalypts.

In addition, the proposal will include a 480m2 turfed roof structure which is accessible to the community for recreational use.

Extracts of relevant landscape plans are provided in Figures 17 to 19.

Figure 17	Tree removal and planting
Source: Landscape plans prepared by Tyrrell

Figure 18	Extract of Landscape Plan
Source: Landscape plans prepared by Tyrrell

Figure 19	Aerial view of the proposal
Source: Landscape plans prepared by Tyrrell

### Public art

The proposed development does not incorporate specific pieces of public art in specific locations on the site. However, a Public Art Plan was submitted with the DA, which identifies a public art framework for the subject site. It identifies public art ‘opportunity zones’ for the potential location of public art (see Figure 20 below).

The Public Art Plan states that it is envisaged that artwork(s) could be located within one, some or all of the opportunity zones, and that some artworks are integrated and will need to be undertaken as part of the design and construction of the development, while others could be staged and delivered at a later date when time and funds permit. The plan also identifies three public art typologies for the site: sculpture, integrated and creative lighting/digital. This plan concludes by identifying the next steps in developing the artworks and identifies the selection process for the preferred artists.

Figure 20	Public art opportunity zones
Source: Public Art Plan prepared by Artscape, May 2022

## STATUTORY HEADS OF CONSIDERATION

The application is assessed under the provisions of Section 4.15 of the Environmental Planning and Assessment Act 1979 (EP&A Act), which include:

- The provisions of the following environmental planning instruments:

  - State Environmental Planning Policy (Transport and Infrastructure) 2021

  - State Environmental Planning Policy (Biodiversity and Conservation) 2021

  - State Environmental Planning Policy (Resilience and Hazards) 2021

  - Burwood Local Environmental Plan (BLEP) 2012;

- The provisions of the Burwood Development Control Plan (BDCP) 2013

- The VPA referred to in Section 4 above;

- The Environmental Planning and Assessment Regulation 2021;

- The likely social, environmental and economic impacts of the development in the locality;

- The suitability of the site for the development;

- Submissions made in accordance with the Act and Regulations; and

- The public interest.

These matters are considered in this report.

## STATE ENVIRONMENTAL PLANNING POLICIES

### State Environmental Planning Policy (Transport and Infrastructure) 2021

Chapter 2 Division 17 – Roads and traffic

Chapter 2 of the T&I SEPP aims to facilitate the effective delivery of infrastructure across the State and identifies matters to be considered in the assessment of development adjacent to particular types of infrastructure development including roads.

The site has a frontage to Railway Parade, which is a classified road under the control of Burwood Council. Section 2.119 of the SEPP states that the consent authority must not grant consent to development on land that has a frontage to a classified road, unless it is satisfied that:

“(a)	where practicable and safe, vehicular access to the land is provided by a road other than the classified road, and

(b)	the safety, efficiency and ongoing operation of the classified road will not be adversely affected by the development as a result of—

(i)	the design of the vehicular access to the land, or

(ii)	the emission of smoke or dust from the development, or

(iii)	the nature, volume or frequency of vehicles using the classified road to gain access to the land, and

(c)	the development is of a type that is not sensitive to traffic noise or vehicle emissions, or is appropriately located and designed, or includes measures, to ameliorate potential traffic noise or vehicle emissions within the site of the development arising from the adjacent classified road.”

The proposed development provides vehicular access from the adjacent Burwood Place development, which was approved by the SECPP in 2022. This provides vehicular access from a classified road, which then provides access to the subject site through the basement, Accordingly, it is not proposed to create an additional vehicular access point from a classified road.

The location of the access arrangements seeks to minimise impacts upon pedestrian movements through multiple driveway crossovers, prioritise pedestrian movements over vehicles and maximise the quality of the available public realm and streetscape, contain traffic to an existing arterial route and allow the access arrangements to be provided in the least intrusive location.

The applicant advised that considerable testing of alternative access arrangements has been undertaken which explored options to provide an access point onto Conder Street. However, this was unable to be accommodated for a variety of reasons including:

- Impact upon pedestrian movements, particularly for primary school children traveling to Burwood Primary School located opposite the site on Conder Street.

- The increase in vehicle movements along Conder Street would also have a negative impact upon the amenity and high-quality pedestrian environment intended for this street and conflict with the 40mph school also present in the same street frontage as any likely vehicle cross over.

- The internal site arrangements to provide an exit to the Conder Street frontage would also have a negative impact upon the configuration of the proposed community facility. Provided as a multi-level and sub-terranean facility, the access ramp would significantly restrict the ability to provide those community facilities to the determinant of the outcomes achieved by the current project.

- Further, the above ground portal needed for the access ramp would be visually impactful within the overall streetscape creating an obtrusive above ground structure that would have a negative impact upon adjacent heritage buildings and open space outcomes for the proposed urban park.

- The ramp, even with modifications would, also intrude upon the existing entrance to the library impacting upon wayfinding, accessibility and overall civic qualities of the proposed scheme.

For these reasons an access onto Conder Street was discounted.

The proposed access arrangement would also reduce traffic noise and vehicle emissions within the subject site due to access being provided away from the site at street level.

By letter dated 4 November 2022, Transport for NSW advised that it has no requirements for the subject DA as the proposed development is unlikely to have a significant impact on the arterial road network. In this regard, Conder Street is a local road and Railway Parade is a classified regional road under the care and control of Council as the relevant road authority under the Roads Act.

However, Transport for NSW provided suggested conditions for consideration in the determination of the application, which have been included in the recommended conditions attached to this report.

In light of the above, the proposed solution is considered acceptable and provides a preferred outcome over providing additional vehicle access either from Conder Street or Railway Parade.

The only issue with the proposed vehicular access arrangements is the possibility that the adjoining Burwood Place development will not proceed. In such case, access to the subject site would not be possible and the proposed development could not proceed. Burwood Council obtained legal advice to the effect that appropriate conditions of consent could be imposed preventing the issue of any occupation certificate unless appropriate easements have been granted in favour of the site over Burwood Place. This should provide sufficient certainty that the required vehicle access arrangements will be provided. Accordingly, conditions of consent are recommended to facilitate the required easements in accordance with the recommended wording provided in the legal advice.

### State Environmental Planning Policy (Biodiversity and Conservation) 2021

Chapter 10 – Sydney Harbour Catchment

Chapter 10 of the State Environmental Planning Policy (Biodiversity and Conservation) 2021 details provisions relating to land within the Sydney Harbour Catchment. These provisions were transferred from the now repealed Sydney Regional Environmental Plan (Sydney Harbour Catchment) 2005.

The site is located within the Sydney Harbour Catchment and is therefore subject to section 10.10 of the SEPP which contains principles for the Sydney Harbour Catchment. Pursuant to section 10.9, these principles are to be considered and, where possible, achieved in the preparation of environmental planning instruments and development control plans under Part 3 of the Act, and in the preparation of environmental studies and master plans for the purposes of the Act.

Therefore, these principles do not need to be considered in the assessment and determination of a development application.

There are no other provisions in Chapter 10 of relevance to the assessment of this application.

### State Environmental Planning Policy (Resilience and Hazards) 2021

Chapter 4 – Remediation of land

Chapter 4 of the State Environmental Planning Policy (Resilience and Hazards) 2021 provides a framework for the assessment, management and remediation of contaminated land. Section 4.6 of the SEPP prevents the consent authority from consenting to development unless:

- It has considered whether the land is contaminated, and

- If the land is contaminated, it is satisfied that the land is suitable in its contaminated state (or will be suitable, after remediation) for the purpose for which the development is proposed to be carried out, and

- If the land requires remediation to be made suitable for the purpose for which the development is proposed to be carried out, it is satisfied that the land will be remediated before the land is used for that purpose.

The applicant submitted the following documents:

- Douglas Partners report titled ‘Preliminary (Site) Contamination Investigation’ (Project ref: 200842.01, Document No: R.002.Rev0, dated 26 May 2022);

- Douglas Partners report titled ‘Detailed Site (Contamination) Investigation’ (Project ref: 200842.002, Document No: R.001.Rev0, dated 24 November 2022);

- Douglas Partners report titled ‘Remediation Action Plan’ (Project ref: 200842.01, Document No: R.002.Rev0, dated 2 December 2022);

- Interim Audit Advice #01 by Ian Swane & Associates, dated 17 December 2022.

The Detailed Site Investigation concluded that the site is contaminated, but that the site can be rendered suitable for the proposed development subject to the successful implementation of the following recommendations:

- Remediation Action Plan (RAP): preferred remedial strategy to remediate and manage lead and PAH contamination in fill / soil, and to inform general dewatering requirements, if required; and

- Remediation and Validation: remediation work as per the RAP and a final validation report to document that all necessary remediation works have been successfully carried out, and the site is suitable for the proposed development.

The RAP concluded that the site can be rendered compatible with the proposed redevelopment subject to implementation of the following:

- Completion of the identified data gap analysis and updating this RAP, as required;

- Provisionally define the extent of remediation work and preferred remediation strategy in this RAP;

- Completion of site remediation and validation work;

- Appropriate management of off-site disposal of contaminated soil in accordance with the RAP; and

- Proper implementation of the contingency plan and UFP during remediation work.

The application was referred to JK Environments Pty Ltd who formed part of the assessment team on behalf of Council. JK Environments Pty Ltd has reviewed the documentation and has recommended approval subject to conditions. The conditions of consent recommended by JK are incorporated into the recommended conditions of consent attached to this report.

Interim Audit Advice was also provided by a Site Auditor, Dr Ian Swane, who reviewed the above documents. Dr Swane concluded that the findings and recommendations of the above reports were sound and supported the proposed remediation strategy, provided that:

- Contamination associated with buried services containing hazardous materials at the Site are properly addressed by the demolition / bulk earthworks;

- In-situ waste classifications for the fill layer and VENM soil/rock is prepared in accordance with EPA guidance;

- The Data Gap Investigation Report is prepared in accordance with EPA guidance;

- The extent of remediation shown in Douglas Drawing 1 should be ignored and not used to estimate the amount of contamination needing to be remediated. This is because:

  - Most of the fill to be removed from the Site is likely to be removed as part of construction work rather than the need to remediate the Site; and

  - The available data indicates that contamination is likely to be randomly spread out across the Site and not be located in 5 x 5m squares around sample locations.

- Documentation on the remediation and waste disposal work is reviewed by the Site Auditor and a Section A SAS is issued prior to the commencement of the built form extending above ground level.

- Laboratory sample test data summarised in tables need to be designed so that can be easily read when printed on A3 size paper.

Appropriate conditions of consent are recommended in accordance with the Site Auditor’s recommendations.

## BURWOOD LOCAL ENVIRONMENTAL PLAN 2012

The Burwood Local Environmental Plan 2012 came into effect on 9 November 2012. Burwood LEP 2012 contains a number of controls including some numerical development standards which apply to the proposed development. A summary of the assessment of the application against the relevant planning controls within LEP 2012 is shown in Table 2 below.

Table 5	Assessment of the proposed development against the Burwood LEP 2012

| Clause | Assessment of Proposal | Compliance |
| --- | --- | --- |
| 2.3 Zone objectives and Land Use Table B4 Mixed Use The objectives of the B4 Mixed Use Zone are: - To provide a mixture of compatible land uses. - To integrate suitable business, office, residential, retail and other development in accessible locations so as to maximise public transport patronage and encourage walking and cycling. | The proposed development is permitted with development consent. The proposed development is primarily for the purpose of a community facility (community lounge, multipurpose rooms, multi-purpose studio, kitchen facilities, amenities) with ancillary uses including a recreation area (public park, water play), commercial premises (café), and car park. The development is generally consistent with the zone objectives. It is located in an accessible location within the Burwood Town Centre and near the Burwood Train Station and will encourage walking and cycling by providing bicycle parking facilities both in the basement and at ground level, as well as walking connections through to Burwood Place to the east. | Yes |
| 4.3 Height of Buildings Maximum 30m | The proposed ‘marker’ structure is the tallest structure on the site which is less than 10m above existing ground level. | Yes |
| 4.3A Exceptions to height of buildings Height is not to exceed the building height plane in “Area A”. | The proposal complies with the building height plane. | Yes |
| 4.4 Floor space ratio Maximum 3:1 | Lot 15 (main site): 0.93:1 Railway Parade road reserve: 1:1 | Yes |
| 5.10 Heritage Conservation Various requirements for development of heritage items, heritage conservation area, or within the vicinity of heritage items. | The subject site includes a heritage item identified in the LEP as Item I47: “Burwood Council Office (1887 building only)”. Immediately adjacent heritage items include Item I48: School of Arts (former) (now Burwood Public School). Council’s heritage officer concluded that the proposed development is acceptable. However, it was concluded that, given the expected public exposure to this site and that it will form part of the Burwood Civic Precinct (through its location and its role), it is an ideal site for providing the historic story of Burwood. This should be expressed through a Heritage Interpretation Plan which includes: Historic images; Important narratives and themes of the Burwood area; Story of Council and its contribution to the area. Accordingly, conditions of consent were recommended requiring the submission of a Heritage Interpretation Plan. The recommended conditions are reflected in the attached draft conditions. | Yes |
| 5.21 Flood Planning This clause states that development consent must not be granted to development on land the consent authority considers to be within the flood planning area unless it is satisfied of a number of matters set out below. | This clause relates to land the consent authority considers to be within the flood planning area, which is defined in the Floodplain Development Manual 2005 as land below the flood planning level. The applicant’s Flood Impact Assessment report states that the flood planning level for the site is RL 20.20. The existing ground level across the site is mostly above RL 20.20, sitting above RL 21 for the most part. Only a very minor portion of the site at the north-eastern corner adjacent to Railway Parade is below RL 20.20 and therefore within the flood planning area. It is also noted that the flood planning area is not mapped in the LEP. However, Burwood Council has published a map entitled Consolidated Flood Identification Map. The subject site is not identified as a Flood Identified Property, however the site to the immediate east is (see below image). Burwood Council engaged ARUP as part of the assessment team to assess the proposal in relation to flooding. ARUP concluded that a review of the engineering drawings suggests that there may be no flooding impact to other developments or properties, and that the proposed development proposes appropriate flood mitigation measures. However, appropriate conditions of consent are recommended as discussed below. | Yes |
| (2) Development consent must not be granted to development on land the consent authority considers to be within the flood planning area unless the consent authority is satisfied the development— |  |  |
| (a) is compatible with the flood function and behaviour on the land, and | The site is not classified as a Flood Identified Property in Burwood Council’s Flood Identification Map and the new development proposes appropriate flood mitigation measures. | Yes |
| (b) will not adversely affect flood behaviour in a way that results in detrimental increases in the potential flood affectation of other development or properties, and | A review of the engineering drawings suggests that there may be no flooding impact to other developments or properties. However, impact/afflux mapping is not provided as part of the Flood Impact Assessment Report. Under Burwood Council’s Stormwater Management Code 2004, it is a requirement that the proponent demonstrates no impact (i.e. afflux) to other properties. The Code states: 3.4 On-Site Stormwater Detention (OSD) Facilities) Development activities must not cause any adverse impact on adjoining or any other properties. This includes preserving existing surface flow paths and not increasing flood levels in major storms. Where applicable, discharges are to be restricted to pre development discharges using OSD shortages. A condition of consent is recommended requiring evidence of this be provided prior to issue of a construction certificate, along with certification provided by a suitably qualified flood engineer. | Yes, subject to condition of consent |
| (c) will not adversely affect the safe occupation and efficient evacuation of people or exceed the capacity of existing evacuation routes for the surrounding area in the event of a flood, and | A review of the plans and Flood Impact Assessment Report suggests that efficient evacuation is feasible, noting that the proposed entrance thresholds meet the Council’s freeboard policy as a minimum. However, a condition of consent is recommended to require the preparation of a flood evacuation plan as this has not been explicitly addressed in the Flood Impact Assessment Report. | Yes |
| (d) incorporates appropriate measures to manage risk to life in the event of a flood, and | Flood protection measures such as relevant thresholds for entrances to prevent PMF inundation of the basement are consistent with Council requirements. These measures are considered suitable for this development. However, a condition of consent is recommended to require the preparation of a flood evacuation plan as this has not been explicitly addressed in the Flood Impact Assessment Report. | Yes |
| (e) will not adversely affect the environment or cause avoidable erosion, siltation, destruction of riparian vegetation or a reduction in the stability of river banks or watercourses. | The development proposes an Onsite Detention Tank (OSD) in accordance with Burwood’s Stormwater Management Code. This has assumedly been designed to control stormwater run-off from the development to the Permissible Site Discharge requirements in the Stormwater Management Code. In complying with the Permissible Site Discharge requirements, it is assumed that here will be no adverse effect on riparian corridors downstream. Regarding water quality, it is considered that the development will provide a beneficial effect compared to the existing development. For the construction phase, soil erosion and sediment control plans have been provided. Standard conditions of consent are recommended to ensure erosion and sediment protection measures during demolition and construction. | Yes |
| (3) In deciding whether to grant development consent on land to which this clause applies, the consent authority must consider the following matters— |  |  |
| (a) the impact of the development on projected changes to flood behaviour as a result of climate change, | The applicant’s Flood Impact Assessment does not address this, however Council’s flooding expert consultant has advised that, based on a review of the architectural and engineering plans, the design would not need to materially change in considering this issue. Information submitted with DA2021.44 for the adjoining Burwood Place site was to the effect that climate change impacts on rainfall in the locality will still result in flood levels below the Flood Planning Level, meaning there is no need to change the development to respond to climate change. The report stated: “Climate change is expected to have an adverse impact on rainfall intensities which has the potential to have impact on flood behaviour at specific locations. The existing Exile Bay, St Lukes and William Street Flood Study (WMA Water, 2017), confirms that a 30% increase in rainfall intensity results in a 120mm increase in flood levels at the trapped low point in Railway Parade. The 2010 Hyder Stormwater report confirms that with a 30% increase in rainfall, the 1% AEP flood level in Railway Parade increases by 70mm. The NSW and ACT Regional Climate Modelling (NARCliM) project current predictions for extreme rainfall are that peak rainfall intensity is likely to increase by up to 10%. Even allowing for a 30% increase in rainfall intensities will still result in flood levels below the Flood Planning Level (300mm above the 1% AEP flood).” The applicant has been requested to provide information to address this clause prior to determination. Assuming the information provided makes a similar conclusion, then the application is considered acceptable in relation to climate change impacts. | Yes (subject to the receipt of additional information prior to determination) |
| (b) the intended design and scale of buildings resulting from the development, | The intended design appears to sufficiently consider the existing flood risk. | Yes |
| (c) whether the development incorporates measures to minimise the risk to life and ensure the safe evacuation of people in the event of a flood, | A review of the plans and Flood Impact Assessment Report suggests that efficient evacuation is feasible, noting that the proposed entrance thresholds meet the Council’s freeboard policy as a minimum. Flood protection measures such as relevant thresholds for entrances to prevent PMF inundation of the basement are consistent with Council requirements. These measures are considered suitable for this development. However, a condition of consent is recommended to require the preparation of a flood evacuation plan as this has not been explicitly addressed in the Flood Impact Assessment Report. | Yes |
| (d) the potential to modify, relocate or remove buildings resulting from development if the surrounding area is impacted by flooding or coastal erosion. | This provision is not relevant as the site is not exposed to coastal erosion or mainstream flooding. | N/A |
| 6.1 Acid Sulfate Soils | The site is classified as “class 5” acid sulfate soils. An Acid Sulfate Soil Management Plan is not required as no Class 1, 2, 3 or 4 land is located within 500m of the site. | Yes |
| 6.5 Design Excellence in B2 and B4 | The objective of this clause is to deliver the highest standard of architectural, landscape and urban design. It applies to development involving the erection of a new building of 3 or more storeys on land in Zone B2 Local Centre or Zone B4 Mixed Use. Arguably, this clause applies to the proposed development because it is 3 storeys in part. It states that development consent must not be granted for development to which this clause applies unless the consent authority is satisfied that the development exhibits design excellence. In deciding whether the development exhibits design excellence, the consent authority must have regard to certain matters which are set out below. | Yes |
| (a) whether a high standard of architectural, landscape and urban design has been achieved (including in the materials used and in detailing appropriate to the location, building type and surrounding buildings), | The design of the proposed development achieves a high standard of architectural, landscape and urban design. High-quality materials and finishes have been selected which respect the site’s adjacency to heritage items, and the landscape design, finishes and materials are generally of high standard and quality. The proposal demonstrates good urban design by providing walking connections to Burwood Place to the east, to encourage permeability across the Burwood town centre. | Yes |
| (b) whether the form and external appearance of the proposed building, and ground level detailing, will significantly improve the quality and amenity of the public domain, | The Cultural Centre is characterized by two architectural forms designed to appear as it they have emerged out of the landscape. These frame key views and provide a sense of enclosure to the public domain. The triangular form of the main building negotiates the corner condition of the site to provide privacy and protection from Railway Parade. This ‘Wedge’ gently lifts out of the public domain to form an inclined plane that provides a protected green sloping lawn for lounging, informal gatherings, and a seating area for performances on the plaza. The tallest northern end of this form is visible from the train station along Railway Pde, framing the heritage facade of Burwood Public School, an immediately recognisable and iconic view. The second architectural form, ‘The Marker’ rises out of the ‘Wedge’ and forms a gateway into the space from Conder Street, mimicking the scale and angular expression of the library entrance and strategically placed at the terminus of Burwood Lane. The Marker acts as a wayfinding element without overpowering the context. The composition optimises activation of the public domain by prioritising connection to the retail edge of Burwood Place, framing the Burwood Library entrance, and by positioning the new café and community lounge to activate parts of the site. | Yes |
| (c) how any streetscape and heritage issues have been addressed, | The development recognises the presence of heritage items and their contribution to the streetscape and respects the significance of these items. The bulk of the structure is situated below ground level and will not detract from or overwhelm the heritage items and associated streetscape. The creation of a public open space and planting of up to 46 trees will further enhance the surrounding streetscape and contribute to a high quality public domain. | Yes |
| (d) whether the amenity of the surrounding area, including any view corridors, vistas or landmark locations, will be adversely affected, | The proposed development is predominantly located below ground level and is of a low-rise bulk and scale that will have minimal impact on existing views and vistas. The low-rise nature of the proposed development will maintain existing views to and from surrounding civic heritage items while enhancing the visual emphasis of these items by providing spatial separation between the civic buildings and the nearby residential high-rises. The urban park provides a civic forecourt to the Burwood Library which will create separation between the new Cultural Centre and the Library building, while also maintaining a vista from Burwood Lane to Burwood Public School to the west. While the northern tip of the cultural centre will marginally impact the lower portion of the Burwood Primary School facade from Burwood Train Station, the prominence of the cultural facility is equally important in attracting people to Burwood’s civic precinct. | Yes |
| (e) how traffic circulation and vehicular access will be addressed and whether the proposed development supports the provision of high quality pedestrian, cycle and service access, | Vehicle movements have been confined to the Burwood Place development, reducing the number of additional vehicular crossings in the locality and enabling a high-quality pedestrian environment to be created upon this site. The design provides clear access to and through the site. Key external connections include the pedestrian crossing on Conder Street, Railway Parade at the corner of Burwood Place development and the extension of Burwood Lane. Bike parking has been provided adjacent to entries to both the Cultural Centre and the Library. Servicing of the site will occur from within the basement or the Unity Lane loading dock. | Yes |
| (f) whether any adverse effect on pedestrian movement and experience will be avoided (and whether the public transport interchange as the focal point for pedestrian movement in the surrounding area will be reinforced and the ease of pedestrian access to and from that interchange will be facilitated), | Vehicle movements have been confined to the Burwood Place development, reducing the number of additional vehicular crossings in the locality and enabling a high-quality pedestrian environment to be created upon this site. The positioning of the café at the northern tip of the new Cultural Centre provides an important focal point when viewed from the Burwood Train Station and Interchange aiding legibility and wayfinding along Railway Parade. | Yes |
| (g) whether the development supports an integrated land use mix in Zones B2 and B4, including a diversity of public open spaces at the ground level, as well as the roof and other levels of buildings, | The proposed Urban Park provides three main areas: The ‘Library Plaza’, a multi-use civic plaza and forecourt to the library; The ‘Garden Terrace’ which interfaces with Railway Parade to the north, Burwood Place alfresco edge to the east and the entry to the new cultural centre to the west, and The ‘Library Lawn’ sitting above the new Cultural Centre roof that provides a protected sunny green space from which to enjoy the activity on the Library Plaza. While the Library Plaza may be seen more as a civic thoroughfare than a distinct area of public open space, the incorporation of two different open space areas serving different functions is considered appropriate for the site given its relatively small size. The proposed public domain has been designed as a cohesive part of the Burwood Town Centre, in particular the Garden Terrace which will integrate with Burwood Place to the east to support an integrated land use mix between the two sites. | Yes |
| (h) how the bulk, mass, modulation, separation, setback and height of buildings have been addressed and whether they are appropriate in the context of existing and proposed buildings, | The proposed development sits well below the LEP height and FSR limits. The Cultural Centre is characterized by two architectural forms designed to appear as it they have emerged out of the landscape. These frame key views and provide a sense of enclosure to the public domain. The triangular form of the main building negotiates the corner condition of the site to provide privacy and protection from Railway Parade. This ‘Wedge’ gently lifts out of the public domain to form an inclined plane that provides a protected green sloping lawn for lounging, informal gatherings, and a seating area for performances on the plaza. The tallest northern end of this form is visible from the train station along Railway Pde, framing the heritage facade of Burwood Public School, an immediately recognisable and iconic view. The second architectural form, ‘The Marker’ rises out of the ‘Wedge’ and forms a gateway into the space from Conder Street, mimicking the scale and angular expression of the library entrance and strategically placed at the terminus of Burwood Lane. The Marker acts as a wayfinding element without overpowering the context. | Yes |
| (i) whether a high standard of ecologically sustainable design (including low-energy or passive design) will be achieved and overshadowing, wind effects and reflectivity will be minimised. | The Ecologically Sustainable Development Report by Cundall (2022) submitted with the DA outlines the sustainability strategy for the proposed development, including the achievement of an equivalent 5-star Green Star Buildings rating. A review by the assessment team concluded that the design does not showcase excellence in terms of sustainable design, but it is adequate in terms of complying with minimum requirements. An appropriate condition of consent is recommended to ensure implementation of the strategies proposed in the report. Solar access is largely determined by adjoining existing buildings to the northeast and east of the park. Solar access will be limited in the mornings during winter, but will increase from 12-3pm. The wind report suggests that wind will not be of a level to have significant impact on park user amenity and will be further mitigated by proposed planting. | Yes |

## BURWOOD DEVELOPMENT CONTROL PLAN 2013

The Burwood Development Control Plan 2013 (BDCP) applies to the proposed development. A summary of the assessment of the application against the relevant planning controls and objectives within the LGA-wide Burwood DCP is shown in Table 3 below.

Table 6	Assessment of the proposed development against the Burwood DCP 2013

| Provision | Assessment of Proposal | Compliance |
| --- | --- | --- |
| Part 2 Site and Environmental Planning |  |  |
| 2.3 Views and Vistas P1 Development applications must identify existing views and vistas significant to the proposal, assess the impacts of the development and demonstrate how significant views and vistas are to be protected and enhanced. P2 Development applications must demonstrate how building design, location and landscaping will encourage view sharing between properties. P3 Assessment of views and vistas must take account of other planning policies and development standards in this DCP and the BLEP 2012, e.g. building height, setbacks. P4 Developments must have particular regard to high quality and priority views and vistas identified in other parts of this DCP, e.g. in relation to heritage items and heritage conservation areas. | The proposed development is predominantly located below ground level and is of a low-rise bulk and scale that will have minimal impact on existing views and vistas. The low-rise nature of the proposed development will maintain existing views to and from surrounding civic heritage items while enhancing the visual emphasis of these items by providing spatial separation between the civic buildings and the nearby residential high-rises. It is compliant with height and height plane controls specified by the LEP. | Yes |
| 2.4 Streetscapes P1 Development Applications must identify streetscape characteristics, assess the impacts of the development and demonstrate how significant streetscape qualities are to be protected and enhanced; P2 Development Applications must demonstrate how building design, location and landscaping will encourage the protection and enhancements of streetscape; P3 Development must have particular regard to high quality streetscapes identified in other parts of this DCP e.g. in relation to heritage items and conservation areas | The development recognises the presence of heritage items and their contribution to the streetscape and respects the significance of these items. The bulk of the structure is situated below ground level and will not detract from or overwhelm the heritage items and associated streetscape. The creation of a public open space and planting of up to 46 trees will further enhance the surrounding streetscape and contribute to a high quality public domain. | Yes |
| Part 3 Development in Centres and Corridors |  |  |
| 3.2.1 Building Design |  |  |
| P1 The form and external appearance of any development should significantly improve the quality and amenity of the public domain. Cohesive design and visual interest should be provided by articulation, modulation and fenestration as well as textures, materials and colours. The development should respond positively to its context, environment and function. P2 New facades should complement the predominant scale, proportion and rhythm of the existing streetscape. P3 Façade elements including roof form, materials, colours and awnings are to make a cohesive and visually interesting building appearance. P4 New facades are the respond to the proportion, texture and material of surrounding notable buildings including heritage or locally valued buildings within the immediate surrounding context. Mimicking of heritage features is to be avoided. P5 Extensions and additions involving heritage elements must be designed to complement the style, form and proportions as well as materials and colours of heritage elements. P6 Any blank walls are to be designed to have details and visual interest and be cohesive with the rest of the elevation through the use of materials, textures and colours. P7 In infill developments, façade modulation/articulation should reflect the key datum lines of the adjacent contributory developments. P8 New developments on corner sites should orient to both street frontages. Also they should accentuate the corner’s unique location with architectural features that actively engage the public realm and create a visual presence at the corner. P9 Building service elements, such as drainage pipes, grilles, screens, ventilation louvres, and car park entry doors should be integrated into the overall façade design. Building Top and Roof Gardens P33 Roof designs are to be integrated into the overall architectural character of the building and enhance the skyline of the centre or corridor. P34 Buildings are to have recognizable roof termination or capping distinguishable from the public domain. P35 The use of different façade expression including articulation, material, parapet, colour and texture to differentiate the top level or roof is encouraged. P36 Roofs must respond to the orientation of the site. For example, the use of eaves and skillion roofs to facilitate solar access. P37 The visual impact of service elements must be minimized by integrating them into the roof design and concealing them from view. These elements include lift over-runs, service plant rooms, vent stacks, telecommunication infrastructures, gutters and downpipes. P38 Development must be designed with regard to how it is observed from the street and from adjacent development. Opportunities for sculptural expression to create a varied skyline must be considered. P39 Residents shall have access to rooftop and podium gardens wherever possible. At least 50% of the roof area shall be vegetated with grasses, shrubs and trees. P42 All planting areas on structures must be designed by a suitably qualified engineer. | The form and external appearance of the proposed development will contribute to an enhanced and high quality public domain. The materials and finishes complement those of surrounding heritage items. It considers articulation, modulation and fenestration to avoid blank walls and create a visually interesting and cohesive exterior appearance while responding positively to the scale, proportion and rhythm of the existing environment and streetscape. The development is orientated towards both street frontages on Railway Parade and Conder Street and its corner location is accentuated by both the rising sloping green and the entry marker. Building service elements have been avoided on the façade or integrated into the design of the façade such that it does not detract from the visual quality of the building. Building Top and Roof Gardens The rooftop is integrated into the overall architectural character of the building through the incorporation of a sloping green turf such that it is an extension of the proposed public open space in the plaza and bosque. It incorporates a distinct roof termination and other façade design treatments to distinguish the roof from the rest of the building façade and the surrounding public domain. It is orientated in a manner that responds to the site context, with the sloping roof facing towards the north and east to allow openings for direct sunlight into the building. Service elements such as lift overruns have been integrated into the design of the building such that it is concealed and does not detract from the architectural quality of the development,. | Yes |
| 3.2.2 Materials and Finishes |  |  |
| P1 The existing material, texture or colours of the surrounding developments are to be considered in the façade design of the new developments. P2 The new façade is to consider the texture and materials of their adjacent heritage buildings or contributory items. P3 Different treatment is to be considered for the base, middle and top in the overall façade composition. P4 Extensive expanses or overreliance on painted render is not permitted. Prominence is to be given to pre-coated or through-colour textured finishes in panels or similar formats. P5 Blank walls/inactive elevations must use changes in materials, patterns, colours or other design elements to provide variation and architectural interest. This includes blank walls/inactive elevations that may be exposed to view pending future development on adjoining land. B6 Monotonous/bland façade expressions are to be avoided. Building materials and colours should be used to unify and provide visual interest to building exteriors. However, the number of materials and colours should be limited to maintain a visual simplicity and harmony. P7 Changes in façade material or colour should be associated with a change in façade plane or separated by a pilaster, recess or change in scale. P9 An appropriate palette of colours should be used. Stronger primary colours can be used as the main building colour when used in combination with lighter colours to highlight building accents and create contrast. P10 The use of white shall only be permitted on trimming with bright colours to highlight items. Generally neutral tones should predominate and colours selected should fall into the spectrum of the preferred community colour palette. P11 Buildings are to avoid high reflectivity glass. No clear glass balustrades will be permitted. Use of translucent or opaque materials for balustrades is encouraged. P13 Low maintenance and graffiti resistant materials must be used wherever possible on surfaces susceptible to graffiti. | The proposed development is designed with materials that are reflective of the public nature of the building and robust enough to handle the many dynamic uses, from bumping in events to everyday community use. The proposal reflects the rich history of heritage buildings in Burwood by taking inspiration from the terracotta textures of the Appian Way federation homes and the fine grain brick work at Burwood Public School. The proposal uses terracotta screens, recycled brick pavements, and claddings to enhance the sense of place and culture of Burwood and celebrate and respect the surrounding context. | Yes |
| 3.2.3 Lighting and Signage |  |  |
| P2 Building names and street addresses are to have contrasting colours and/or material to enhance their legibility. P3 External lighting to enhance the details of facade and character of the surrounding context is to be incorporated. Use of indirect lighting is encouraged. P4 In town centres and corridors, the external lighting is to illuminate the specific character of the building including the entrances, corner element or roof features. P7 In both centres and corridors, and residential neighbourhoods, external lighting must be integrated to the overall streetscape character. P8 Side elevations without window or openings must have a lighting scheme to mitigate the effects of dark inactive elevations being visible from the public domain or streetscape especially after working/trading hours. P9 Compliance is required also with the other provisions of the BDCP concerning awnings and signage. | Outdoor lighting can be provided in accordance with these requirements. A condition of consent is recommended requiring that outdoor lighting be designed in accordance with the DCP and that details of outdoor lighting be submitted to and approved by the Council’s Manager, City Development prior to the issue of a Construction Certificate. Signage will be the subject of a separate DA or CDC application. | Yes |
| 3.2.4 Street-Front Activities and Building Access |  |  |
| P3 Separate and clearly identifiable entrances must be provided from the street for pedestrians and cars, and different uses. P4 Building entrances must have a direct physical and visual connection with the street. P6 Outdoor dining is generally encouraged on the footpath of commercially active street frontages, subject to compliance with Council’s Outdoor Eating Area Policy. P7 All commercial components must have a clear street address. P8 CCTV cameras shall be installed over any entrance points (including car parking entrance) for residential flat buildings and major developments. The CCTV system shall provide a quality image that can assist with the detection of crime and be used by the NSW Police in any investigation (preferably a quality digital system). CCTV system footage shall be retained for a period of no less than fourteen days and be available upon request by the NSW Police when required. Fire Safety and Power Supply Utilities P12 Development Application documentation must show all required mechanical/functional installations for utilities such as fire hydrant boosters and electrical substations. These must have coverings or shielding to screen their setting so as to minimize their visual impacts. P13 Fire safety utilities such as fire hydrant boosters must be screened, accessible at all times and integrated within the overall architectural design of the building. P14 Large power supply utilities such as electrical substations must be shielded from public view or encapsulated within the building envelope. Mechanical and Ventilation Equipment P15 Mechanical ventilation and plant equipment must not be visible from the public domain, or be attached to the external façades or elevations. It must be located within a central plant area and screened from public view. P16 Mechanical ventilation and plant equipment must not adversely affect the architectural quality and presentation of façades, elevations or roof features. P17 If mechanical ventilation and plant equipment must be visible from the public domain it must be incorporated within the building design and not detract from the architectural quality of the elevations or roof features. P18 Specifications, designs and technical information of mechanical and ventilation equipment must be provided to Council at the development application stage. | Building entry is orientated towards the proposed public open spaces and are directly linked physically and visually towards their respective streets. Entry is distinctly separated between pedestrian access from the street and the open spaces and vehicular access from off-site on the neighbouring development. Outdoor dining space is proposed on the public open space along Railway Parade. The commercial café is capable of providing a clear street address. CCTV surveillance is capable of being installed at entry points and in car parks in a manner that is discrete. A condition of consent is recommended in this regard. Fire Safety and Power Supply Utilities Fire safety and power utilities will be adequately screened or hidden from public view within the building envelope to minimize visual impact, or otherwise integrated into the design of the building. Mechanical and Ventilation Equipment Mechanical ventilation and plant equipment will not be visible from the public domain or on external elevations. It is hidden from public view inside the building and will not adversely impact on the architectural quality or presentation of the building’s exterior. The proposed Marker structure has been specifically designed to house and screen the ventilation and service requirements for the building. This will minimise the intrusion of such features into the urban park or building. A condition is applied requiring detailed materials and finishes in relation to the treatment of mechanical and fire equipment that faces a public place. | Yes |
| 3.2.11 Ceiling Height P1 Development must provide the following minimum ceiling heights. Dimensions are expressed from finished floor levels to finished ceiling levels: - Ground level of all development (commercial and residential): 3.3 metres. | The proposed ground level is generally consistent with the required floor to ceiling height. It is noted that the sloping turf results in a ceiling height that varies across the ground floor. However, the commercial areas (café) will comply with the 3.3m ceiling height. | Yes (generally) |
| 3.2.18 Safety and Security P2 Development must comply with Council’s Burwood Community Crime Prevention and Safety Plan P3 Development must be provided with clearly defined site boundaries to strengthen the distinction between public and private space. P4 Facades at ground level must be activated by locating after hours uses so they are visible from the publicly accessible areas. P6 Concealment opportunities must be minimized from development by: - Eliminating blind or dark alcoves near lifts and stairwells - Providing clear sight lines and well lit routes throughout the development - Providing appropriate levels of illumination for all common areas Security Grilles and Shutters P9 Fully enclosed roller shutters are not permitted to shop fronts or other business premises. Retractable open security grilles may be considered. P10 Security bars, roller shutters or fixed grilles visible from the public domain on any commercial, retail or business premises are prohibited. | The proposed development has been adequately designed according to CPTED principles and Council’s Community Crime Prevention and Safety Plan. However, the CPTED Report submitted with the DA makes a number of recommendations including: - All areas intended to be used at night should allow for appropriate levels of visibility, with lighting installed within the site, particularly at building entries - Basement car parking should be illuminated to increase safety of the parking area - CCTV at entries and in the car park should be considered however, these should be discrete and incorporated into the building design having regard for the overall use of the site - Landscaping should be regularly maintained to balance the needs of providing a natural setting whilst maintaining sightlines at eye-level and minimising opportunities for concealment - The site should incorporate appropriate entry signage and wayfinding signage, particularly within the Library Plaza, and interface with both the Conder Street and Railway Pde entries - Appropriate signage and wayfinding should be provided throughout the plaza - Care and maintenance of public space for its intended purpose should be provided as it will protect welfare and security in all existing structures - The transition between public and private areas should be clearly marked - Low-level bollard lighting should be considered around all vehicular-pedestrian interfaces (Conder St and Railway Pde) points and the site to deter vehicle access to pedestrian areas, - Particular consideration should be given to the Library Plaza interface with Conder St, which may be mistaken as a shared way open to vehicular movements - Fire exit doors should be fitted with measures to restrict unauthorised access from the outside - All areas should be fitted with doors that comply with the relevant Australian Standards - Patrons from the future cafe shops will require the introduction of management operational measures to ensure minimal spill over into BOH or community facility areas - The proposal should incorporate a robust material palette, particularly for outdoor spaces in order to reduce susceptibility to vandalism and wear and tear. A condition of consent is recommended to ensure that the above recommendations are implemented through detailed design and construction. | Yes |
| 3.2.19 Access and Mobility |  |  |
| P1 The main entry of development must be designed and identified for use by persons with a mobility impairment. P2 The main entry must be accessible from the street footpath in accordance with Australian Standard (AS) 1428. P3 Safe and convenient access must be provided in all development, car parks and communal facilities. P4 Compliance with AS 1428.1 is required with respect to access requirements on new building work. P5 Tactile indicators must be provided on the ground immediately adjacent to the approach and departure sides of any changes in floor levels in the public domain which incorporate a step, ramp, stepped ramp or the like in accordance with AS 1428.4. | An Access Review has been undertaken in support of the proposal. The report provides a review of the proposal in accordance with the Australian Standards, BCA, Disability Standards and the Burwood DCP, and concludes that the proposal is capable of complying with all accessibility requirements. A condition of consent is recommended to ensure compliance. | Capable of compliance |
| 3.3 Area Based Controls – Burwood Town Centre and Burwood Road North |  |  |
| 3.3.1 Burwood Town Centre |  |  |
| P1 The height of buildings on land within the BTC is not to project above the BHP as identified in Clause 4.3A and on the map marked - “Building Height Plane Map in the BLEP 2012. | The proposed building is well within the specified DCP height plane and does not exceed more than a single storey above ground level. | Yes |
| 3.3.2 Perimeter and Transition Areas |  |  |
| Street Front Setbacks P1 Development must be built in accordance with the street front setback requirements shown in Figure 10. Building setbacks from the street front are taken from the street boundary after any land acquisition required by BLEP 2012 has been completed. | The proposed street front setback along Conder Street will comply with the requirement that development on site observe a setback that aligns with the Council Chambers heritage item located on the site. The proposed building will protrude into the road reserve of Railway Parade and thus will not comply with the 3m street front setback requirement. However, it provides for a built form that will improve the quality of the public domain. Additionally, it provides a setback distance from the street which is generally consistent with adjoining buildings as a result of the larger road reserve/public domain area in front of the existing roundabout. | No - but acceptable |
| Communal Open Space P1 The street front setback areas must be provided as communal open space, except for circumstances referred to in Section 3.8.2 Treatment of Street Front Setbacks. P2 Where the ground floor uses are commercial, fencing of the street front setback is prohibited. P4 Existing mature trees must be retained wherever possible. P5 Where existing trees are removed, they must be replaced at a ratio of two new trees for each tree removed. P6 At least 50% of the street front setback areas must be provided as planting or soft landscaping. P7 Canopy trees must be provided at the rate of 1 per 30 sq metres of landscaped area provided within the street front setback area. | Street front setback areas have been provided as communal open space with landscape and planting treatment. The majority of the street front setback area is provided as planting and soft landscaping. No fencing has been proposed. Tree removals are proposed as part of this DA. A total of 42 new canopy trees are proposed to be planted as part of the proposed open public spaces in the bosque and the plaza as well as kerbside upgrades. The replacement trees are provided across the site at a rate which exceeds the specified ratio for replacement of removed trees. | Yes |
| Part 3.9 Transport and Parking in Centres and Corridors |  |  |
| 3.9.2 Burwood Town Centre and Strathfield Town Centre |  |  |
| P1 Basic parking requirement: Development in the B4 zone in the Burwood and Strathfield Town Centres must provide parking spaces on site for each proposed land use in accordance with Table 2. P2 Parking for visitors to the Burwood Town Centre and the Strathfield Town Centre: Notwithstanding P1, in the B4 Mixed Use zone, Council may consider and accept an offer from an applicant of a monetary contribution for Visitors Parking in lieu of the provision on-site of all or part of the parking requirement. Such an offer is voluntary and subject to Council’s agreement at its discretion. If approved, it will be administered through a Voluntary Planning Agreement under the EP&A Act 1979. P5 Parking for people with disability: Notwithstanding any voluntary monetary contribution made under P2 or P3 above, parking for people with a disability required under legislation or applicable Australian Standards must be provided on the site of the development where it is practicable to do so. This is the case even where it amounts to an increased total provision of parking for a development. | The proposal generates a DCP requirement for 34 car spaces (excluding existing library demand of 23 spaces). 50 car spaces (including one accessible space) are proposed, including for the existing library demand of 23 spaces. The slightly lower provision is appropriately justified on the basis that the adjacent Burwood Place can cater for this surplus demand given there will be considerable linked trip activity. The reduced parking provision is supported given the site’s location in order to encourage the use of active and public transport rather than car travel. The proposal includes one (1) space for people with a disability. | No – but acceptable |
| 3.9.6 General Requirements in All Centres and Corridors – B1, B2, B4 and B6 Zones |  |  |
| P1 Compliance with Australian Standards: The design and construction of on-site: - parking areas and parking spaces - service and loading/unloading areas - access to, from and within these facilities - is to comply with the applicable Australian Standards. These Standards cover a range of technical requirements including design elements, dimensions, gradients, headroom, curves, delivery and service areas, and special requirements for people with disabilities. The applicable standards are the most recent versions of: - AS 2890.1 Part 1: Off-street car parking. - AS 2890.2 Part 2: Off-street commercial vehicle facilities. - AS 2890.3 Part 3: Bicycle parking facilities. - AS 2890.5 Part 5: On-street parking. - AS 2890.6 Part 6: Off-street parking for people with disabilities. - AS 1428.1: Design for access and mobility. - AS 1735.12: Lifts, escalators and moving walks - Facilities for persons with disabilities. | The compliance of the car park, on-site loading and access layout has been demonstrated in the original Car Parking Compliance Assessment (ptc. 2022), updated architectural plans and subsequent Car Parking Layout letter (ptc. 2022) in response to feedback. The Car Parking Layout letter (ptc. 2022) identifies a minor design change required to the central median to provide independent circulation to/ from the basement ramp, which would be incorporated as part of the detailed design prior to issue of the construction certificate. A condition of consent is recommended to ensure compliance with all relevant standards. | Yes |
| P2 Other general compliance matters: The provision of on-site parking areas, and loading and servicing facilities, must contribute to the retention and enhancement of the quality and integrity of the streetscape and integrate with surrounding development. A loading dock and servicing facilities for developments must be provided as required by AS 2890.2 Part 2: Off-street commercial vehicle facilities, or in any case for all developments erected on land having an area greater than 1500 sqm. Where parking is provided for development that includes Retail premises and Business premises, and all of the required parking is provided on-site (i.e. the development has not made a substantial voluntary contribution for parking in lieu of on-site provision), the following additional requirements apply: - the parking area must be open for public use within the normal trading and operating hours of the site - the parking area must be accessible with appropriate directional signage, and must be clearly marked and signposted as public parking - within the building where the parking is located, there must be clear, signposted and safe access between the parking area and the retail or business premises on the site - the management of the parking area in terms of signage, access permission, fees charged and time limits of parking, and any changes to such management, is subject to Council’s approval as part of the Development Application process - these requirements apply whether or not a parking area is open to public use on a paid or unpaid basis. Installation of automated or mechanical car parking systems to meet car parking requirements for developments is not supported. Experience with and observation of these systems indicates significant potential for adverse impacts arising from slow operation causing vehicle queuing, vehicle size constraints that are not appropriate in Australia, and unreliability in cases of mechanical, hydraulic or electrical failure. Provision of free-standing spaces accessed by ramps is preferred. If restricted site size limits provision of traditional on-site parking, consideration should be given to a voluntary contribution in lieu of parking in cases where this is accepted under this DCP, or consolidation of lots to create a larger development site. Proposals to extend basement parking levels from private development sites into the areas of Council’s road reserves will not be supported. This is due to the practical, technical and legal constraints and complexities in implementation of this action by both Council and the private site developer. | Car parking is provided in a basement car park to maximise the public domain and streetscape. A loading bay for vehicles up to the size of 99th percentile cars, vans and utility vehicles is provided in the basement car park. Larger vehicles will use an existing on-street loading zone on Conder Street. On market days an on-site loading area for vehicles up to 6.4m long Small Rigid Vehicles (SRVs) will be provided within the pedestrian plaza, accessed via a layback with removable bollards. | Yes |
| P3 Vehicular Access and Footpath Crossings All vehicles must be able to leave on-site parking and service areas in a forward direction. Vehicular access for development must be provided from lanes and minor or secondary streets where available, rather than major streets or Classified Roads. In particular, new vehicular access to land in the B4 Mixed Use zone from Burwood Road or The Boulevarde, or to land in the B2 Local centre zone from Liverpool Road will not be approved. Vehicular access and footpath crossings must be minimised where provided the safety of pedestrians and cyclists must be maintained and there should be no more impacts on bus operations. Where loading and servicing facilities are provided, there must be sufficient space to enable a nine metre rigid vehicle to queue off the street without impacting on footpath crossings. Vehicular access must have a nominal width of 2.7 metres over the footpath, and be perpendicular to the kerb alignment. In exceptional circumstances, a double crossing with a nominal width of 5.4 metres may be permitted for safety reasons. Loading dock and other service functions must not interfere with vehicular access to parking areas. Openings in buildings that provide vehicular access must have automatic closing doors to conceal the opening from any public place. Doorways in buildings at vehicular access points must incorporate design details that create visual interest. Vehicular access points must have high quality finishes to walls and ceilings as well as high standard detailing that is integrated with the building design. Service ducts or pipes must not be visible from the street. Separated and clearly differentiated pedestrian and vehicular access must be provided, with vehicular access a minimum of 3m from pedestrian access. | Vehicle access to the basement car park is provided by the adjacent proposed Burwood Plaza redevelopment which is also under DA assessment. This reduces vehicle/ pedestrian interaction fronting and within the Urban Park site and allows for the public domain and streetscape to be maximised. | Yes |
| P5 Cycling - Standards for the number of bicycle parking facilities and number of showers/lockers for different land uses are provided in Cycling Aspects of Austroads Guides (Austroads and Standards Australia 1999) and Planning Guidelines for Walking and Cycling (Department of Planning and the Roads and Traffic Authority 2004). Developments must demonstrate compliance with the requirements of either of these publications. - Design of bicycle parking facilities (racks and lockers) must be in accordance with the provisions of Australian Standard 2890.3 – Parking Facilities or Austroads Guide to Engineering Practice Part 14 – Bicycles. Shower and change room facilities to have a combined area of not less than 2 sqm each. - Bicycle parking devices must meet the following general requirements: - Enable wheels and frame to be locked to the device without damaging the vehicle. - Be well located and lit for security purposes. - Be in a convenient and accessible location outside pedestrian and vehicle movement paths. - Be protected from motor vehicle movements and useable without damaging other bicycles. - Be protected from the weather. - Designed to fit in with the development. | A total of 26 bicycle parking spaces are provided, spread between the basement car park (8 spaces) and the public domain (18 spaces). | Yes |
| Part 3.10 Heritage in Centres and Corridors |  |  |
| Building Design Considerations P6 Development in the vicinity of a heritage property must be designed to have regard to the heritage property’s: - Scale and character. - Form and character. - Materials, colours and finishes. - Street alignment and established setbacks in the surrounding area. P7 Where a heritage property features a freestanding, heritage-significant building (e.g. house, church, terrace row), any development having three storeys or more which is contiguous to that heritage property will generally be expected to observe a 5 metre minimum setback from the heritage property’s boundary (and 4 metre minimum setback for any below-ground excavation/basement). | The development has been adequately designed with regard to surrounding heritage items. It will have minimal impact on nearby heritage items and will re-emphasise the civic importance of these items. The proposed building provides uses that are compatible with the surrounding heritage items and provides a low-rise form, appropriately designed and complementary character that is sympathetic to the items. The selected materials and finishes complement the earthy and neutral tones of the heritage buildings and ensure a continuing visual relationship between the proposal and the heritage items. Adequate setbacks have been provided to the on-site Council Chambers heritage building to ensure that its historic setting is maintained and to facilitate interpretation of the item. | Yes |
| Incorporating Heritage Items into New Development P10 Where a larger development proposes to incorporate a heritage item or significant place, the design must include appropriate measures to: - Retain an appropriate setting to allow for the continued appreciation and integrity of the heritage item. - Ensure the heritage item is not visually obscured or adversely altered, particularly regarding sight lines from the public domain. | Thee proposal appropriately incorporates the Burwood Council Chambers, Public School, and School of Arts heritage buildings through the provision of a multi-purpose community use building and open public space to retain an appropriate civic setting for continued appreciation and integrity of the items. The proposed building is of a minimal bulk and scale that does not visually obscure or alter the items and maintains sightlines to these items from the public domain. | Yes |
| Sight Lines P12 Development adjacent to a heritage property must incorporate front and/or side setbacks to achieve sight lines to the significant building in accordance with Figure 23. The front alignment of a new development must be sympathetic to the heritage property. | Sight lines to surrounding heritage buildings have been considered in the design and form of the building and have been maintained. | Yes |
| Views and Vistas P13 Development of a heritage property, or a development in its vicinity, must: - Provide an adequate area of land around the development to allow interpretation of the significant building or place. - Not detract from the setting of the heritage property. - Retain and respect significant views/vistas from the public domain to a heritage property, as well as the views/vistas originating from the heritage property itself. | The proposal provides an adequate amount of open space between the community building and the Burwood Council Chambers heritage item to retain views to the item, allow appreciation and interpretation of the item, and maintain its integrity and setting. The development will not detract from the setting of the item and will continue to respect existing views and vistas to and from the heritage items. | Yes |
| Signage, Visual Presentation and Colour Schemes … P26 New colour schemes for a building in the vicinity of a heritage property must not detract from the setting of the heritage property. | Colour schemes for the proposed building have been chosen to reflect the neutral and earthy toned materials of the heritage item and its setting. It will not detract from the setting of the item. Signage will be the subject of a separate DA or CDC application. | Yes |
| Part 3.11 Public Domain and Amenity |  |  |
| 3.11.1 Public Domain – Burwood Town Centre The overall public domain strategy for the BTC is illustrated in Figure 24. It shows the interrelationships between the various public domain and amenity provisions and the goals that Council is seeking to achieve in the long-term. | The proposal integrates car parking which will be accessible to the general public. | Yes |
| 3.11.5 Treatment of Street Front Setbacks P2 In the Perimeter and Transition Areas, where a street front setback is required in Figure 10: P3 Where a street front setback is required and the development is for non-residential purposes at ground level, the provision of cantilevered awnings over the setback area is encouraged. | Setback areas of the proposed development have been provided in a manner which complements the existing public domain and proposed plaza and bosque areas. These areas have been treated with appropriate landscaping and plantings. | No - but acceptable |
| 3.11.6 Public Domain Finishes and Elements within Development P1 Appropriate lighting must be provided in publicly accessible areas of development that responds to a range of environmental factors such as location, scale and streetscape, to highlight architectural features, incorporate banners and art. These must be cost effective in power usage and maintenance. Solar powered lighting options are encouraged. P2 Where publicly accessible areas are provided within a development, all elements including paving, street furniture, planting, fences, kerbs and drainage must be provided to a standard not less than would be required in Council’s Public Works Elements Manual (Final Draft June 2006). | Assessment by Council’s external landscape consultant is that proposed public domain finishes are satisfactory. Outdoor lighting will be provided in accordance with the Burwood DCP and Australian standards. All elements of the proposed development are capable of complying with Council’s Public Works Elements Manual (Final Draft June 2006). Conditions of consent are recommended to ensure compliance with the above. It is anticipated that the urban park will have a high level of usage due to its location and the paucity of open space in the locality. It is recommended that the applicant submit a Landscape Maintenance Plan to Council’s satisfaction to ensure that high-usage areas are adequately maintained and landscape finishes do not deteriorate over time. A condition of consent is recommended in this regard. | Yes |
| 3.11.1 Access and Mobility for the Public Domain P1 The public domain surrounding and/or immediately adjacent to any development proposal must be upgraded to Council’s current standards at the applicant’s cost. P2 Wherever a pedestrian way meets a roadway which facilitates pedestrians traversing the roadway, laybacks in the kerb must be provided at suitable gradients to allow access for persons with mobility impairment. P3 Tactile indicators must be provided on the ground immediately adjacent to the approach and departure sides of any changes in floor levels in the public domain which incorporate a step, ramp, stepped ramp or the like in accordance with AS 1428.4. | An Access Review has been undertaken in support of the proposal. The report provides a review of the proposal in accordance with the Australian Standards, BCA, Disability Standards and the Burwood DCP, and concludes that the proposal is capable of complying with all accessibility requirements. A condition of consent is recommended to ensure compliance. | Yes |
| Part 6 Environmental Management |  |  |
| Part 6.2 Waste Management |  |  |
| Design of Waste Management Facilities in Commercial Development, Public Buildings and Industrial Development |  |  |
| Performance Criteria All developments must include a designated waste/recycling storage area (designed in accordance with details in Appendix 8.1) or a designated waste/recycling storage room (designed in accordance with details in Appendix 8.1). - There must be step free access between the point at which bins are collected and emptied and the waste/recycling storage room/area. - Depending on the size and type of the development, it may be that a separate waste/recycling storage room/area for each tenancy is required. - Between collection periods, all waste/recyclable materials generated must be kept in the bins so that the contents are not able to leak or overflow. - The separation of recyclable materials from the general waste must occur in all parts of the development. Arrangements must be made for the movement of recyclable materials and general waste to the main waste/recycling storage room/area. - The waste/recycling storage area/room must be of a size to accommodate bins and of a sufficient volume to contain the quantity of waste generated (refer to Appendix 8.1) - There must be separate containers for the separation of waste and recyclable materials from the general waste stream. - The volume and type of containers used to hold waste and recyclable materials must be compatible with the collection practices of the nominated waste contractor. - Waste management facilities must be enclosed, covered and maintained so as to prevent polluted wastewater runoff from entering the stormwater system. - Consideration should be given to the time of day at which containers are collected so as to minimise adverse impacts on residential amenity, pedestrian movements and vehicle movements. - The size and design of the waste/recycling storage area/room must be capable of accommodating future use of the development. - A waste/recycling cupboard must be provided for each and all kitchen areas in a development, including kitchen areas in hotel rooms, motel rooms and staff food preparation areas. Where possible waste/recycling containers should be collected from a rear lane access point. - Premises which discharge trade wastewater must do so only in accordance with a written agreement from Sydney Water. Sydney Water defines trade wastewater as “any liquid, and any substance contained in it, which may be produced at the premises in an industrial and commercial activity, but does not include domestic wastewater (e.g. hand basins, showers and toilets)”. - Premises which generate at least 50 litres per day of meat, poultry or seafood waste must have that waste collected on a daily basis or must store that waste in a dedicated and refrigerated waste storage area until collection. - Regular maintenance and cleaning of waste management facilities must occur. It is the responsibility of tenants and cleaners to ensure this happens. - Any waste chutes must be designed in accordance with the requirements outlined in Appendix 8.1. - Integrated developments require special care to determine if the waste materials generated on-site is such that a particular activity is classified as integrated development. | Community centre building The proposed development includes a 20sqm designated waste storage room in the basement adjacent to the car park. The waste room contains 12 x 240L bins for general waste and 13 x 240L recycling bins. Both are to be collected at least once weekly by a private waste collection contractor. On the day of service, the building caretaker will transport the bins from the basement level bin room to the ground level via the lift. The bins will be presented behind the existing library along Unity Place/ Conder St intersection and existing loading bay. The collection vehicle will service the bins from the kerbside of Unity Lane Way. As soon as possible, after servicing has been completed, the building caretaker will return the bins to the Bin Room to minimise the risk of vandalism or misuse or theft while in the open public domain. Urban park The number of bins for the park is determined by proximity rather than waste generation volumes. Waste and recycling generated in public spaces is greatly influenced by the land use of the surrounding area and the events and activities taking place. Waste and recycling bins will be placed together in bin stations to help increase the recovery of recyclables. Therefore, the number of bin and bin stations will be determined by the design of the park and public areas. It is recommended that bins stations are placed in intervals of less than 12 metres apart. It is also recommended that bins are placed near seating areas where food will likely be consumed, and along popular paths of travel for pedestrians. The permanent bin stations should be in locations that are easily accessible by the public. However, the location must not interfere with other activities and services such as fire exits and congested pedestrian areas. A condition of consent is recommended to ensure the above recommendations are implemented in the development. | Yes |
| 6.5 Stormwater Management |  |  |
| Council requires that all developments/building works within the Burwood LGA incorporate stormwater drainage facilities to collect and convey stormwater runoff to Council's system in accordance with the Stormwater Management Code. | The development proposes an Onsite Detention Tank (OSD) in accordance with Burwood Council’s Stormwater Management Code. This has assumedly been designed to control stormwater run-off from the development to the Permissible Site Discharge requirements in the Stormwater Management Code. In complying with the Permissible Site Discharge requirements, it is assumed that here will be no adverse effect on riparian corridors downstream. Regarding water quality, it is considered that the development will provide a beneficial effect compared to the existing development. | Yes |
| 6.7 Energy Efficiency and Sustainability |  |  |
| Non-Residential Development P3 The non-residential component of any development must aim to achieve at least a minimum of a 4.5 star rating under the National Australia Built Environment Rating (NABERS) system. P4 Improve the control of mechanical space heating and cooling by designing heating/cooling systems to target only those spaces which require heating or cooling, not the whole building. P5 Improve the efficiency of hot water systems by: - Encouraging the use of solar powered hot water systems. Solar and heat pump systems must be eligible for at least 24 Renewable Energy Certificates (RECs)and domestic type. - Gas systems must have a minimum 3.5 star energy efficiency rating. - Insulating hot water systems. - Installing water saving devices, such as flow regulators, 3 stars Water Efficiency Labelling and Standards Scheme (WELS Scheme) rated shower heads, dual flush toilets and tap aerators. P6 Reduce reliance on artificial lighting and design lighting systems to target only those spaces which require lighting at any particular “off-peak” time, not the whole building. Incorporate a timing system to automatically control the use of lighting throughout the building. P7 All non-residential development Class 5-9 will need to comply with the Building Code of Australia energy efficiency provisions. P8 An Energy Efficiency Report from a suitably qualified consultant that demonstrates a commitment to achieve no less than 4 stars under the Australian Building Greenhouse Rating Scheme or equivalent must be provided for all commercial and industrial development with a construction cost of over $5 million. | P3 and P8 – The building typology (Class9b, Class 6, Class7a) is not suitable for a NABERS rating or not currently recognized under the NABERS rating scheme. Therefore, it is recommended that a 5 star Green Star rating is targeted in lieu of these requirements. A condition of consent is recommended to achieve this. The design meets the requirements in P4 as advised by the assessment team’s ESD consultant. | Yes |

## VOLUNTARY PLANNING AGREEMENT

The provisions of the executed VPA have been taken into consideration in the assessment of this application and are set out in Section 4 of this report.

It is noted that the VPA provides for (among other things) underground car park consisting of 120 spaces over two levels on the Burwood Library site. The proposed development is inconsistent with the VPA in that the number of underground parking spaces is 50, not 120.

Nevertheless, the proposed development is considered acceptable for the site in terms of the number of parking spaces proposed. However, Council as the beneficiary of the VPA needs to be satisfied that it is receiving the full value of the public benefits under the VPA. The VPA attributes the following value to the works (as at January 2020):

- Underground car park consisting of 120 spaces: $7,900,000;

- Urban park: $5,100,000;

- Multi-purpose sports and community facility: $2,750,000.

The total value of these public benefits is $15,750,000. The CIV of the proposed development is $24,969,612, which indicates that Council is receiving the full value of the public benefits despite the shortfall in car parking spaces.

Finally, it is noted that the VPA does not exclude the application of section 7.12 of the EP&A Act, meaning that development contributions may still be payable. However, it is recommended that a condition should not be imposed under section 7.12, because the proposed development is itself considered a public benefit to be delivered under a VPA, and the CIV of the proposed development exceeds the value of the works provided for under the VPA.

Section 12 of the Burwood Council’s Section 7.12 Local Infrastructure Contributions Plan for Burwood Town Centre states that:

“Council may at its absolute discretion accept the dedication of land or provision of a material public benefit or works-in-kind in part or full satisfaction of a Section7.12 levy under this plan. As a general rule, only land or works directly associated with the roads and traffic improvements, public domain improvements and community facilities as indicated in Schedule 1 may be considered as a material public benefit or work-in-kind in satisfaction of the contributions levy. Applicants must provide full details, costs and valuations of the land or works. If Council agrees to an alternative to the levy, it will either require the alternative as a condition of consent, or accept it under the terms of a Voluntary Planning Agreement.”

It is unclear whether Schedule 1 to the Section 7.12 Plan provides for the proposed development. It includes “Library and Community Hub (Conder Street)” but the associated mapping identifies a public car park over most of the subject site, with a small open space area in the north-east corner. Irrespective of this, it is considered appropriate not to impose a condition under section 7.12 for the reasons stated above.

## ENVIRONMENTAL PLANNING AND ASSESSMENT REGULATION 2021

Clause 61 of the EP&A Regulation prescribes additional matters that a consent authority must consider in determining a development application. Relevantly, clause 61(1) requires a consent authority to consider the Australian Standard AS 2601—2001: The Demolition of Structures in determining a development application for the demolition of a building.

If consent is granted to this application, a condition of consent is recommended requiring a detailed demolition work plan designed in accordance with the above Australian Standard to be submitted to and approved by Council prior to the commencement of any works on the site.

## THE LIKELY SOCIAL IMPACTS OF THE DEVELOPMENT IN THE LOCALITY

The proposed development is likely to have positive social impacts on the locality, by providing much-needed meeting, collaboration and recreation space for residents and users of the town centre.

## THE LIKELY ENVIRONMENTAL IMPACTS OF THE DEVELOPMENT IN THE LOCALITY

The likely environmental impacts of the proposed development have been addressed elsewhere in this assessment report in response to the relevant provisions of environmental planning instruments and development control plans. Additional matters not already addressed elsewhere include tree removal and noise impacts. They are considered below.

### Tree removal and ecological impacts

The proposal includes the removal of all 19 trees on the site as they are located within the proposed development envelope. Three (3) of the 19 trees are noted to be moderate and high-quality trees suitable for retention and are worthy of being a material constraint, while the other 16 trees are of low significance and not worthy of being a material constraint.

As part of the proposed landscaping, the proposal will provide for 46 replacement tree planting across the site, representing a tree replacement to removal ratio of more than 2:1.

A submission from a member of the public alerted the assessment team to the fact that Tree No. 3 (Lemon Scented Gum) provides a habitat for cockatoos that nest in its hollow. The location of Tree No. 3 is shown in Figure 21 below and is located within the footprint of the proposed development. The submission stated that removal would result in the cockatoos having to find another nesting site, which is unlikely to occur given the high-density urban environment.

Figure 21	Location of Tree No. 3
Source: Arboriculture Impact Assessment by Australis Tree Management dated 20 May 2022

This was not addressed in the original DA. Accordingly, the applicant was asked to provide additional information. An Ecological Assessment was then submitted, which provided the results of a survey conducted for a total of 5 hours, being 1 hour at dusk on Friday and 4 hours from dawn on Saturday. During both the dusk and dawn surveys two Sulphur-crested Cockatoos (Cacatua galerita) were observed utilising the tree hollow.

In relation to the impacts of removing the tree, the Ecological Assessment stated:

- The Sulphur-crested Cockatoo is protected under the NSW Biodiversity Conservation Act 2016 (BC Act), as are all native birds. However, it’s conservation status is considered secure and the species is not listed under either the BC Act or the Commonwealth Environment Protection and Biodiversity Conservation Act 1999 (EPBC Act) as threatened (either Vulnerable or Endangered).

- The Lemon-scented Gum does not occur naturally in NSW. It is native to northern Queensland. This planted tree occurs at the project site within an urban environment, situated within small landscaped garden bed of mostly non-native species between a car park and road. Therefore, the tree has limited biodiversity value.

- Neither the tree to be removed nor the Sulphur-crested Cockatoo that is nesting in the tree are listed under either the BC Act or EPBC Act. They are both common species.

- There would be no significant impact on biodiversity from removal of the Lemon-scented Gum.

- While there would be no significant impact, there would be a minor impact on native biodiversity and the following recommendations are made to minimise and offset that impact.

  - Remove Tree No.3 outside of the breeding season for this species (i.e. August to January).

  - Engage an appropriately qualified and experienced fauna handler to be present at the time the tree is removed.

  - Before felling the tree, tap along trunk using an excavator or loader or similar equipment to scare any birds out of the tree hollow and away from the tree. Repeat several times over an approximately 5 min period.

  - If removing the tree in stages, branches distant from the tree hollow should be removed first. This would further scare any birds present within the hollow and give them the opportunity to vacate the tree.

  - After the tree has been felled the fauna handler should check the tree hollow to ensure no birds are trapped or have become injured. Any birds found should be taken to WIRES for care if injured or if uninjured safely relocated to nearby habitat.

  - Install at least 3 artificial nest boxes containing a hollow and entrance of similar size to that in Tree No.3. These should be mounted at a similar height and orientation as the existing tree hollow. Ideally, one of the artificial hollows mounted would be the existing tree hollow with a minimum of 200mm of the tree trunk above and below. The artificial nest boxes should be mounted on large established trees (e.g. at Burwood Park or similar).

A condition of consent is recommended to implement the above recommendations to minimise impacts on the Sulphur-crested Cockatoo.

### Noise impacts

A Noise Impact Assessment was submitted with the DA. The report identified the following primary sources of noise generation from the proposed development:

- Patron / music noise from licensed premises – café and multi-purpose rooms

- Non-licenced premises – Theatrette and Studio (fitness classes)

- Mechanical plant noise.

The report assessed the cumulative impacts of these aspects of the proposed development on surrounding noise receivers as shown in Figure 22 below. The report noted that the car park and loading dock for the development will be located within the fully enclosed lower ground or basement levels of the car park, therefore there will be no noise impacts on neighbouring sensitive developments from vehicle movements within the development’s car park or loading dock.

In relation to compliance with relevant criteria, the report concluded that:

- Noise emissions from the café, multipurpose rooms and studio would comply with the relevant acoustic criteria at all receivers, except for Receiver 1 during the night period, where a 1 dBA exceedance was predicted.

- Noise impacts from the theatrette noise emissions to the surrounding receivers are considered minimal provided both sets of doors between the theatrette and foyer meet a minimum acoustic performance of Rw 30. This can be achieved with a solid core timber 45 mm thick with full perimeter seals.

- In relation to mechanical plant, selections of specific mechanical equipment and the location of the equipment have not been finalised. Given this, it is not possible to carry out an assessment of noise emissions of mechanical plant at development application stage. It is recommended that a detailed acoustic assessment of the mechanical equipment be undertaken at construction certification stage.

Figure 22	Location of surrounding receivers
Source: Noise Impact Assessment prepared by RWDI dated 30 May 2022

Accordingly, to achieve compliance with noise emission requirements, the report recommended the following:

- Café:

  - Patron capacity of the café limited to 56 patrons, with no more than 28 patrons permitted in the outdoor seating area at any given time;

  - Operate during the day and evening periods (7am-10pm);

  - There should be no amplified music in the outdoor dining area of the café;

  - Music noise within the internal dining areas of the café should be limited to background music.

- Studio:

  - Where classes in the studio involve the playing of amplified music, all doors and windows of the studio are to remain closed;

  - The spatially averaged internal noise level within the studio should be limited to 85dBA LAeq, which is typical of moderately amplified music.

- Multipurpose rooms:

  - The total number of patrons within multipurpose room should be limited to 500 patrons, or 250 patrons in each multifunction room if the operable wall is closed;

  - The doors of the multipurpose rooms should be constructed of minimum 45mm thick solid core timber with full perimeter acoustic seals equal to Raven RP10Si to the head and jamb, and Raven RP38Si. There should be a rebate in the meeting stile of double doors with Lorient batwing seals (or equivalent) installed in one side of the rebate, and Raven RP16Si (or equivalent) installed in the other side of the rebate.

  - During functions or events in the multipurpose rooms that involve live or amplified music, the doors to the multifunction rooms and the main doors to the café/community lounge should remain closed except for patron/staff ingress and egress.

  - The spatially averaged internal noise level within the multifunction rooms should be limited to 100dBA LAeq / 103dBA LA10. This is typical of heavily amplified music.

  - Any skylight glazing to the multipurpose rooms should be constructed using minimum Rw 28 glazing (acoustic performance of the glazing and glazing frame).

- Theatrette:

  - Both sets of the vestibule doors separating the Theatrette and the foyer should be constructed of minimum 45mm thick solid core timber with full perimeter acoustic seals equal to Raven RP10Si to the head and jamb, and Raven RP38Si. There should be a rebate in the meeting stile of double doors with Lorient batwing seals (or equivalent) installed in one side of the rebate, and Raven RP16Si (or equivalent) installed in the other side of the rebate.

- Mechanical plant:

  - An acoustic review of mechanical plant should be undertaken at detailed design stage once plant selections and locations have been finalised. Noise from the mechanical plant should be designed to comply with the project noise trigger levels of the NPfI.

It is noted that the Statement of Environmental Effects identifies a potential extension of the café’s trading hours past 10pm “within the permissible hours of operation of the Arts and Cultural Centre”. However, the acoustic report recommends trading until 10pm only and as such, it is considered that a condition of consent should be imposed to reflect this.

It is also noted that the SEE identifies the potential for special events to be carried out on the site, in accordance with State Environmental Planning Policy (Exempt and Complying Development Codes) 2008 (the Codes SEPP). These may include (for example) mobile food trucks and community events. The acoustic report does not model the noise impacts of these events, however this is acceptable as the Codes SEPP includes development standards which apply to the carrying out of exempt or complying development, such as appropriate hours of operation and other matters to mitigate adverse impacts. Any additional land uses on site must be undertaken in accordance with the provisions of the Codes SEPP.

Council’s specialist acoustic consultant reviewed the Acoustic Assessment and concluded that it generally addresses relevant state policy and typical criteria with respect to impacts onto surrounding land-use (outside of the project) and onto the development.

However, the acoustic consultant commented that:

- The noise impacts of the water features had not been addressed. To address this, it is recommended that conditions of consent are imposed to ensure that the applicant submits details of the management and operation of the water features to Council for approval prior to the issue of a Construction Certificate, to appropriately manage any noise impacts.

- The noise impacts associated with mechanical services also had not been addressed. However, the Acoustic Assessment explains that selections of specific mechanical equipment and the location of the equipment have not been finalised. Given this, it is not possible to carry out an assessment of noise emissions of mechanical plant at DA stage. It recommends that a detailed acoustic assessment of the mechanical equipment be undertaken at construction certification stage and be designed to comply with the requirements of the Noise Policy for Industry. Conditions of consent are recommended accordingly.

## THE LIKELY ECONOMIC IMPACTS OF THE DEVELOPMENT IN THE LOCALITY

The proposed development is unlikely to have adverse economic impacts on the locality given the nature of the proposed development which provides for open space and community uses.

## SUITABILITY OF THE SITE FOR THE DEVELOPMENT

The site is considered suitable for the proposed development because:

- The proposal provides for recreation, cultural and community facilities in a high-density area where the availability of these spaces and facilities are highly limited;

- The proposal is in a highly accessible location for the local community and regional locality and will become the front door to a range of Council services including the library, community hub and administration offices;

- The proposal has been designed in context with the surrounding environment which achieves a highly complementary interface with surrounding uses, including adjacent heritage items; and

- All environmental impacts have been assessed as part of this DA and determined as being acceptable.

## SUBMISSIONS

The exhibition period occurred between 1 July and 1 August 2022.

### Public authorities and agencies

The DA was referred to Transport for NSW. By letter dated 27 July 2022, Transport for NSW initially did not support the proposed development, and provided the following comments:

- The proposed building and structures are within the Railway Parade corridor. TfNSW is currently seeking stakeholder comment on this matter and will advise of the outcome in a separate letter.

- TfNSW requests that the Traffic and Parking Impact Assessment submitted with the development application be amended to address the following:

  - “The access to the site is tied up to the adjacent Burwood Place DA which is currently under assessment. A queueing assessment should be done for the access on Railway Pde considering cumulative impact of the developments using the proposed access, to determine if the proposal will result in queueing back into the traffic signals.

  - The TfNSW current practice is to limit the number of vehicular conflict points along the arterial road network to maintain network efficiency and road safety. Further to the above, clause 2.118(2a) of State Environmental Planning Policy (Transport and Infrastructure) 2021, states that the consent authority must not grant consent to development on land that has frontage to a classified road unless it is satisfied that “where practicable, vehicular access to the land is provided by a road other than the classified road”.

  - As the subject site has alternative vehicular access via the local road network, justification is to be provided for proposed access to the sites from classified road network. TfNSW would request all access to the site should be provided from local road network.

  - The traffic report refers to ‘associated infrastructure proposed by the Burwood Place DA (traffic signal installation at Conder Street/Belmore Street and Belmore Street/Wynne Avenue). As provision of traffic signals are subject to traffic signal warrants being met and TfNSW approval, all intersections should also be analysed/modelled without traffic signals in place to ensure the developments will not adversely impact the road network pending potential upgrades at the surrounding roads/intersections.

  - The SIDRA modelling for the signalised intersections should use 120 second cycle times. They have used 70 seconds.

  - TfNSW requests the abovementioned information/amendments for further assessment prior to the determination of the application. Upon receipt of the amended application, TfNSW will undertake an assessment and provide response accordingly.”

Following the provision of additional information in response to the above, by letter dated 4 November 2022, Transport for NSW advised that it has no requirements for the subject DA as the proposed development is unlikely to have a significant impact on the arterial road network. In this regard, Conder Street is a local road and Railway Parade is a classified regional road under the care and control of Council as the relevant road authority under the Roads Act.

However, Transport for NSW provided suggested conditions for consideration in the determination of the application, which have been included in the recommended conditions attached to this report.

### Public submissions

Council received 15 submissions on the DA, which included two (2) in support, one (1) objection and 12 making comments/requests. Key issues raised are summarised below.

- Tree removal and landscaping: A number of submissions raised the issue of tree removal, landscaping and ecological impacts. One commented that the species selection for replacement trees seems to be based on visual impact rather than biodiversity value for insect, bird and other urban wildlife. One requested more grassy areas within the garden plaza.

Response: The proposal includes 46 new trees to replace the 19 which require removal, over 60% of which are endemic to the Sydney region. This includes 28 spotted gum trees, Corymbia maculata, which are endemic to the Sydney region, and will offer shady canopies to the open space and provide biodiversity value for urban wildlife. This biodiversity and habitat value will be further enhanced by the understorey planting, which includes grasses and flowering plants to support habitat and foraging of bird and insect life. The majority of the proposed understorey species are endemic to the Sydney region.

The proposed Hills Fig will also provide biodiversity value as a large canopy tree. The proposed deciduous trees while not endemic, have been chosen to offer the amenity of shade in summer and sun in winter, and will still contribute to habitat and foraging provision on the site.

The proposal also includes a turfed area on the roof of the Cultural Centre. The proposal balances the need for planted areas, open turf areas, and hard paved areas for varying council and community needs for various types of recreation and events.

- Ecological impact: Numerous submissions requested the retention of Tree 3 (Lemon Scented Gum) as it provides a habitat for cockatoos that nest in its hollow. Removal would result in the cockatoos having to find another nesting site, which is unlikely to occur given the high-density urban environment. Schedule 3 of the NSW Threatened Species Conservation Act 1995 lists the loss of hollow-bearing trees as a key threatening process for native fauna.

Response: An Ecological Assessment has been prepared in support of the proposed development. The report concludes that the removal of the Lemon-scented Gum would have a minor impact on native biodiversity. The Ecological Assessment includes a list of recommendations to minimise the impact of the proposal. A condition of consent is recommended to ensure that these recommendations are implemented during detailed design and construction.

- Aboriginal cultural heritage: One submission suggested that Burwood Council in the future should develop an overarching plan for its public parks which can draw on the design of gardens and parks from the homelands of our residents.

Response: This is a matter for Council’s strategic planning team to consider. However, opportunities to incorporate Aboriginal cultural heritage onto the site may be identified during the implementation of the Public Art Plan submitted with the DA. A condition of consent is recommended to ensure that Aboriginal culture is considered in the selection of artists and artworks for the site in accordance with the Burwood Council Public Art Policy. Further engagement with the Aboriginal community will be undertaken during detailed design.

- Electric vehicles: The DA should indicate how and when facilities for fast charging will be in place in the public carpark to cater for the growing demand for electric cars, e-bikes and e-scooters.

Response: The proposed development provides for three electric vehicle charging points, consistent with Burwood Council’s Draft Sustainable Burwood Plan. The charging points will be operational at the time of occupation certificate.

- Traffic generation: Modelling suggests the proposal will generate over 1,100 new car trips per day, although this is based on an assumption that only 10% of users of the theatre and studio space will arrive by private car. This is optimistic and suggests Council will require strong messaging in its promotional material to ensure patrons travel to the precinct by other means.

Response: This estimated volume of traffic is spread throughout an entire day. The traffic report estimates 88 vehicle trips, including heavy vehicles, occurring during the weekday, morning and evening commuter peak hour periods, combined. These vehicle numbers assume each individual land use is occupied at maximum capacity during the peak hour periods. The estimated traffic generation will not pose any significant threat to the current or future operation of the surrounding road network or intersection management, including in combination with the approved Burwood Place development. It is also noted that the proposed development incorporates 25 bicycle parking spaces, including at-grade spaces. This combined with the proposed pedestrian connectivity to the adjoining Burwood Place development will encourage active transport to and from the site.

- Noise: The proposal’s acoustic report lists Burwood Library and Burwood Public School as “noise receivers”, however all the noise monitoring has been focused on commercial sites to the north and east. The report offers no clear insight into the likely impact on learning and study from the construction or ongoing operation of the site.

Response: Noise emission criteria at the school receiver have been developed based on the Noise Policy for Industry, which are based on fixed values (35dBA internally within classrooms) independent of the existing background noise levels at site.

The applicant’s assessment indicates that a typical worst case scenario of operational intensity at the site will result in a 30dBA noise impact at the school receiver. This is likely to be barely audible to inaudible at the school receiver based on attended measurements conducted near the school. Considering this, it is reasonable to conclude that operational noise on site will not result in any adverse impacts on learning and study at the school.

- Construction Management Plan: One submission commented on the lack of a Construction Management Plan and another requested a noise abatement and pollution strategy before construction commences.

Response: A condition of consent is recommended requiring the preparation and approval of a detailed Construction Management Plan prior to the issue of a construction certificate. The recommended condition requires that the CMP address noise and pollution mitigation measures.

- Truck movements during excavation: The proposal’s Waste Management Plan notes the likely increase in truck movements in the area as waste and spoil from excavation are carted from the site. No special conditions are proposed despite the proximity to Burwood Public School, meaning that increased truck movements would be allowed during peak times while many young students and their families are moving about within the vicinity. This will need to be addressed.

- The above development does nothing to alleviate the need for services to support the large scale residential development that has either been forced on Burwood Council by the State Government or which Burwood Council has decided to allow.

- Need for child care services: The site should be used for child care and early childhood education as the proposal will amplify the need for these services, as will the adjoining Burwood Place development.

Response: The approved development on the adjoining site (DA2021.44) includes space for a child care centre. Development consent will be sought for the fitout and operation of the centre in due course.

- Energy: The DA should make explicit the energy requirements of the project. This project should set and meet higher environmental and sustainability standards, serving as a model for public architecture in the future. Reducing Council’s carbon footprint and protecting against heat stress and severe climatic events should be guiding first principles for the design.

Response: The proposal has been designed to achieve a 5-star Green Star rating under the Buildings rating tool v1. A condition of consent is recommended to ensure that this is achieved.

- Water: Water provision for birds and other small creatures should be made. This could feature in the proposed Public Art Strategy.

Response: The proposed development includes a water play feature which will be integrated into the landscaping of the site. The Public Art Strategy submitted with the DA identifies three potential public art typologies including sculpture, integrated artworks and creative lighting, digital and data artworks.

- Indoor table tennis: Suggestion that an indoor table tennis room should be included in the proposal.

Response: The proposal includes a variety of multi-purpose spaces. There may be scope for table tennis in the future, and the submitter is encouraged to discuss this with the operators of the facility in the future.

- Extension of pedestrian bridge over railway line: One submission suggested that the pedestrian bridge over the railway line to the urban park.

Response: This is beyond the scope of the current DA.

- More exits to Burwood Station: One submission requested more exits to Burwood Station, allowing people direct access to the west side of Burwood Road, and to the south side of Railway Parade without needing to negotiate traffic.

Response: This is beyond the scope of the current DA.

## THE PUBLIC INTEREST

The proposal is in the public interest for the following reasons:

- The proposal is consistent with the objectives of the B4 Mixed Use Zone and generally consistent with the applicable environmental planning instruments and the Burwood DCP;

- The proposal is provided in response to the need for new parks, community centre floor space and arts and cultural facilities required by 2036;

- The proposal provides for open space, and cultural and community facilities within a highly dense urban environment;

- The proposed works will not result in any adverse environmental impacts to surrounding properties.

## RECOMMENDATION

It is recommended that the application be approved, subject to the recommended conditions attached to this report.