PART A - PRESCRIBED CONDITIONS

BASIX Commitments

A	The applicant shall comply with the prescribed conditions of development consent under clause 97A of the Environmental Planning and Assessment Regulation 2000.

National Construction Code and Home Building Act 1989

B	The applicant shall comply with the prescribed conditions of development consent under clauses 98, 98A and 98B of the Environmental Planning and Assessment Regulation 2000.

Long Service Levy

C	Payment of the Long Service Levy as required by section 109F(1) of the Environmental Planning & Assessment Act 1979 for all building work over $25,000.  (Note: The cost of the building work must be rounded to the nearest $100.)

D	The Long Service Levy shall be paid at Council’s Customer Service Centre or evidence of direct payment to the Long Service Payments Corporation shall be provided to Council prior to the issue of a Construction Certificate.

Shoring and Adequacy of Adjoining Property

E	Pursuant to Clause 98E and Clause 136H of the Environmental Planning and Assessment Regulation 2000, if a development (subject of a Development Consent or Complying Development Certificate) involves an excavation that extends below the level of the base of the footings of a building on adjoining land, the person having the benefit of the development consent must, at the person’s own expense:

	protect and support the adjoining premises from possible damage from the excavation

	where necessary, underpin the adjoining premises to prevent any such damage.

If the person with the benefit of the development consent owns the adjoining land or the owner of the adjoining land has given consent in writing to the condition not applying, this condition does not apply.

PART B – OTHER CONDITIONS

Plans

- The development shall be completed in accordance with the approved plans and documents listed below, prior to the building being used or occupied, and subject to any amendments “in red” and any variation as required by conditions of this consent:

Site Plan – ENFIELD_GA_DWG201 - DA Modification – Rev 1 – 2 November 2021

Sections – ENFIELD_GA_DWG202 - DA Modification – Rev 1 – 2 November 2021

Sections – ENFIELD_GA_DWG203 - DA Modification – Rev 1 – 2 November 2021

Air Quality Impact Assessment prepared by SLR Report Number 610.14992-R3

Noise Impact Assessment prepared by SLR Report Number 610.14992-R1

SLR Noise Response_260516SL_Review v2 dated 8 June 2016

SLR Addendum Report dated 14 September 2016

Noise and Vibration Impact Assessment – Waves Consulting – Doc No. 60.00903.02 RPT1R2.DOCX – 10 November 2022

Noise & Vibration Impact Assessment – Waves Consulting – Doc No. 60.00965.01 RPT1R4.DOCX, dated 15 September 2023

Glass Recycling Plan Drawings 200 – 209 (inclusive) Project No. A6516-00 prepared by Redwave Glass Recycling received by Council 29 December 2015

Glass Bunkers Section and Elevation prepared by Redwave Glass Recycling received by Council 29 December 2015

Soil and Water Assessment prepared by SLR Report Number 610.14992-R4

Environmental Impact Statement prepared by MRA Consulting Group received by Council 29 December 2015

Addendum to Environmental Impact Statement prepared by MRA Consulting Group dated 14 September 2016

Plan of Management of Non-Conforming Waste prepared by MRA Consulting Group dated 8 July 2016

Modification Waste Management Strategy – MRA Consulting – 18 November 2022

Traffic Plan of Management prepared by MRA Consulting Group dated 11 July 2016

MODIFIED:		DA2015.177.3		XX November 2023

- A Construction Certificate must be obtained either from Council or a privately accredited person before commencement of any construction associated with this consent.

- The Principal Certifying Authority must be appointed prior to work commencing to supervise the work and authorise occupation/use of the building when completed.

- A copy of the endorsed stamped plans and specifications, together with a copy of the Development Consent, Construction Certificate and any approved Traffic Management Plan are to be retained on site at all times.

Special Conditions

- The permitted hours of operation for the use of the site shall be as follows:

|  | Type of activity | Hours permitted | Days permitted |
| --- | --- | --- | --- |
|  | Paper and Cardboard Recycling (PCR) Facility |  |  |
|  | Receipt of incoming material Processing of material Dispatch of material | 6am to 10pm | Daily, Monday to Saturday Note: Maximum of (33) incoming vehicles per day and maximum of five (5) collection (dispatch) vehicles per day. Roller doors to be closed from 6pm and only opened when required for deliveries. |
|  | CLOSED | 10pm to 6am | Daily and closed all day Sunday. |
|  | Materials Recycling Facility (MRF) |  |  |
|  | Receipt of incoming material | 5am to 3pm Note: first delivery permitted from 4:30am however processing machinery only permitted to be turned on at 5am. | Daily, Monday to Saturday Note: Maximum of (45) incoming vehicles per day Roller doors to be closed from 3pm. |
|  | Processing of material | 5am to 10pm | Daily, Monday to Saturday |
|  | Dispatch of sorted material | 5am to 6pm | Daily, Monday to Saturday Note: Maximum of nine (9) collection vehicles per day |
|  | Cleaning and conveyor maintenance | 10pm to 5am | Daily, Monday to Saturday and 10pm Saturday until 5am Sunday. Refer to note below. |
|  | CLOSED | 5am Sunday to 4:30am Monday |  |

Note: Cleaning and maintenance is to be restricted as follows:

- All doors must be closed

- Processing machinery only to be switched on intermittently to enable cleaning to occur

- Maintenance restricted to repair/replacement of conveyor belts only.

5(a)	The following hours of operation are permitted at the site until 30 June 2027. On 1 July 2027, the hours of operation must comply with Condition 5.

|  | Type of activity | Hours and days permitted | Other requirements |
| --- | --- | --- | --- |
|  | Paper and Cardboard Recycling (PCR) Facility |  |  |
|  | Receipt of incoming material Processing of material Dispatch of material | Monday to Saturday 6am to 10pm | Maximum of (33) incoming vehicles per day and maximum of five (5) collection (dispatch) vehicles per day. Roller doors to be closed from 6pm and only opened when required for deliveries. |
|  | CLOSED | 10pm to 6am and Sundays |  |
|  | Materials Recycling Facility (MRF) |  |  |
|  | Receipt of incoming material | Monday – Saturday 5am to 6pm Note: first delivery permitted from 4:30am however processing machinery only permitted to be turned on at 5am. Sunday 8am-6pm | Maximum of (65) incoming vehicles per day Roller doors to be closed from 6pm. |
|  | Processing of material | Monday – Saturday 5am to 10pm Sunday 8am-6pm | Nil |
|  | Dispatch of sorted material | Monday – Saturday 5am to 6pm Sunday 8am-6pm | Maximum of twelve (12) collection vehicles per day |
|  | Cleaning and conveyor maintenance | Monday to Saturday 10pm to 5am 10pm Saturday until 6pm Sunday. | Nil |

ADDED:		DA2015.177.3		XX November 2023

- The site is permitted to operate a waste transfer station capable of separating the following non-putrescible waste:

    - Paper and cardboard;

    - Mixed metals (steel/tin/aluminium);

    - Glass; and

    - Mixed plastics.

- A maximum of 99,900 tonnes of waste per annum is permitted to be processed by the subject site, comprising 69,900 tonnes of mixed use recyclable materials and 30,000 tonnes of paper and cardboard.

7(a)	An annual throughput for the MRF of 120,000 tonnes is permitted at the site until 30 June 2027. On 1 July 2027, the hours of operation must comply with Condition 7.

ADDED:		DA2015.177.3		XX November 2023

- A maximum of 4,200 tonnes of sorted waste is permitted to be stored on site at any one (1) time.

8(a)	A maximum of 8,000 tonnes of sorted waste is permitted to be stored on site at any one (1) time until 30 June 2027. On 1 July 2027, the hours of operation must comply with Condition 8.

ADDED:		DA2015.177.3		XX November 2023

- The site operator shall undertake an acoustic auditing program upon commencement of the proposed use.  The program shall be as follows:

- Council shall be advised in writing 2 days after issue of the Occupation Certificate that the recommended mitigation measures in Table 24 under Section 6.3 of the Noise & Vibration Impact Assessment prepared by Waves Consulting and dated 10 November 2022 have been implemented. The PCA shall advise Council’s Coordinator, Compliance & Regulatory Services in writing and a letter from a qualified Acoustic consultant must be included in the advice to Council.

The noise control measures listed in Table 28 in the Noise and Vibration Impact Assessment prepared by Waves Consulting dated 15 September 2023 (Document No. 60.00965.01 RPT1R4.DOCX) are to be completed within 7 months of the modified consent being made and no later than 30 June 2024. Evidence that all measures have been implemented are to be provided to Council’s Director of Planning and Environment and the PCA. The Applicant must include a letter from a qualified acoustic consultant confirming that the required works are satisfactory with regard to Table 28 of the Noise and Vibration Impact Assessment.

- The acoustic auditing program shall comprise:

An acoustic auditing program shall be undertaken from the date the modified consent is issued (insert date). The auditing program is to be undertaken as follows:

  - Stage 1: an initial acoustic audit shall be carried out within a period of 40  days from the date of commencement of operations the modified consent is issued (insert date) The intent of this stage is to clarify assumptions in the Noise Survey undertaken by Waves Consulting dated 20 October 2023 (Document No. 60.00965.01 LTR1R1.DOCX):

  - Stage 2: an acoustic audit shall be carried out within seven (7) months from the date of commencement of operations the modified consent is issued (insert date):and

  - Stage 3: a final acoustic audit shall be carried out within ten (10) months from date of commencement of operations the modified consent is issued (insert date).

- Each audit report shall be undertaken by an independent Acoustic Consultant (at the applicant’s cost) in order to verify compliance (or otherwise), with the acoustic criteria set out in the Acoustic Report prepared by SLR Consulting Australia Pty Ltd (referred to in Condition 1 above) project noise limits established in noise limits in the Noise and Vibration Impact Assessment prepared by Waves Consulting dated 15 September 2023. The acoustic audit reports shall be undertaken by a suitably certified, independent third party acoustic consultant and be submitted to Strathfield Municipal Council for consideration; and

- Should the acoustic audit reports identify that the noise generated by the site operations do not comply with the project specific criteria nominated in the Noise & Vibration Impact Assessment prepared by Waves Consulting and dated 10 November 2022 Noise and Vibration Impact Assessment prepared by Waves Consulting dated 15 September 2023 measures shall be immediately put in place to ameliorate those non-compliances, including reduced operating hours as necessary to the written satisfaction of Council.

MODIFIED:		DA2015.177.3		XX November 2023

- (a) 	Prior to the issue of a Construction Certificate, amended plans and 	detail of the de-odorising and water spray system, including drainage details, shall be submitted to the Principal Certifying 	Authority. The measures shall be installed in accordance with the recommendations of an Independent Air Quality specialist and 	shall be installed within the Materials Recycling Facility and Paper Cardboard Recovery Facility and shall be maintained in working 	order indefinitely. Evidence these measures have been implemented is to be submitted to the Director of Planning and Environment at Strathfield Council within 7 months of the modified consent being issued.

- The site operator shall undertake an odour audit upon commencement of the proposed use. The auditing program shall comprise:

  - Stage 1: an initial odour audit shall be carried out within a period of 40 days from the date of commencement of operations;

  - Stage 2: an odour audit shall be carried out within six (6) months from the date of commencement of operations; and

  - Stage 3: a final odour audit shall be carried out within ten (10) months from the date of commencement of operations.

  - Stage 4: In the absence of the audits in Condition 10(b)(i) and 10(b)(ii) having been submitted to Council, the audits referred to in the Sound IN letter dated 22 May 2023 which took place on 13 December 2021 and 22 November 2022 are to be submitted to the Director of Planning and Environment at Strathfield Council. This must be done within 1 month following the date of the modified consent (insert date).

  - Stage 5: A air quality audit considering dust and odour is to be undertaken within 7 months following the date of the modified consent (insert date). The audit is to be submitted to the Director of Planning and Environment at Strathfield Council.

- Each audit report shall be undertaken by an independent Environmental Consultant (at the applicant’s cost) in order to verify compliance (or otherwise), with the acoustic criteria set out in the Acoustic Report prepared by SLR Consulting Australia Pty Ltd (referred to in Condition 1 above). The acoustic audit reports shall be undertaken by a suitably certified, independent third party acoustic qualified consultant and be submitted to Strathfield Municipal Council for consideration; and

- Should the acoustic audit reports identify issues with odour and dust generated by the site operations, measures shall be immediately put in place to ameliorate odour and dust to the written satisfaction of Council.

MODIFIED:		DA2015.177.3		XX November 2023

- Prior to the issue of a Construction Certificate, amended plans shall be prepared and submitted to the Principal Certifying Authority providing a designated outdoor lunch area with fixed seating and shade/pergola (maximum height 3.5m).

- Full compliance shall be demonstrated with all relevant licensing conditions provided by the Environment Protection Authority at all times.

- Prior to the issue of a Construction Certificate, amended plans shall be   prepared and submitted to the Principal Certifying Authority showing all physical works required in Table 24 under Section 6.3 of the Noise & Vibration Impact Assessment prepared by Waves Consulting and dated 10 November 2022, as well as a 4.5m high acoustic barrier constructed along the full extent of the eastern and north-eastern boundaries of the site. The acoustic wall shall be coloured grey and shall comprise an Acoustimax modular wall system with 6mm skins constructed and in installed in accordance with the Design and Construction Solution prepared by Modular Wall Systems dated 16 September 2016 and as follows:

- Where there are inconsistent ground levels along the boundaries, the barriers must utilise the highest elevation points along the residential boundary (i.e. must be constructed on higher ground);

- The acoustic barriers/screens must contain no gaps along the surface area of the screen and be close fitting (i.e. within 30mm) to the ground to prevent the transmission of noise below the barrier;

- The acoustic barrier(s) must provide a minimum surface density of 15kg/m2 and contain no gaps along the surface of the barrier(s). All gaps are to be adequately sealed using a flexible mastic sealant;

- Design of the barrier supports of the acoustic barrier(s) must be verified by a suitably qualified contractor to ensure sufficient structural and wind loading support is provided.   General

- All mobile equipment present on the site is to be fitted with low frequency noise emitting reversing alarms prior to the issue of an Occupation Certificate.

- Within the first (30) days of operation of the facility, the site operator shall establish a Consultative Committee with members representing residents, site management and Council. The consultative committee shall meet regularly as required.

General

- The building and glass bunkers shall not be occupied or used until the development has been completed in accordance with the conditions of this consent, construction has been completed in accordance with the Construction Certificate and an Occupation Certificate (including an Interim Occupation Certificate=) has been issued by the Principal Certifying Authority.

- Prior to the issue of a Construction Certificate, photographs documenting any existing damage to the kerb and gutter and footpaths adjacent to the property shall be submitted to the consent authority.  In the absence of this documentation, the applicant is liable for all damage that occurs to Councils’ assets.

- All exhaust and other emissions including noise from the premises shall comply with the provisions of the Protection of the Environment Operations Act 1997 and Regulations.

- The applicant or any contractors carrying out works in public or Council controlled lands shall have public liability insurance cover to the value of $10million and shall provide proof of such cover to Council prior to carrying out works.

Financial Matters

- In accordance with the provisions of Section 94A(1) of the Environmental Planning and Assessment Act 1979 and the Strathfield Indirect Development Contributions Plan 2010-2030, a contribution in the form of cash, cheque or credit card (financial transaction fee applies) shall be paid to Council for the following purposes:

Local Amenity Improvement Levy			$168,500.00

The total amount of the contribution is valid as at the date of determination and is subject to quarterly indexation. The amount of the contribution under this condition shall be indexed in accordance with clause 4.12 of the Strathfield Indirect Development Contributions Plan 2010-2030.

The required contribution shall be paid prior to the issue of a Construction Certificate.

19(a)	Section 7.12 Contributions

The fees listed in the table below must be paid in accordance with the conditions of this consent and Council’s adopted Fees and Charges applicable at the time of payment (available at www.strathfield.nsw.gov.au).

Payments must be made prior to the issue of the Construction Certificate or prior to the commencement of work (if there is no associated Construction Certificate).

Please contact council prior to the payment of s7.11 or s7.12 Contributions to determine whether the amounts have been indexed from that indicated below in this consent and the form of payment that will be accepted by Council.

Strathfield Section 94A Indirect Development Contributions Plan 2017:

Local Amenity Improvement Levy		$6,650.00

General Fees

The fees and charges above are subject to change and are as set out in the version of Council's Schedule of Fees and Charges or as required by other Government Authorities, applicable at the time of payment.

Development Contributions

The Section 7.11 contribution (s94) is imposed to ensure that the development makes adequate provision for the demand it generates for public amenities and public services within the area.

A Section 7.12 contribution has been levied on the subject development pursuant to the Strathfield Section 94A Indirect Development Contributions Plan.

Indexation

The above contributions will be adjusted at the time of payment to reflect changes in the cost of delivering public amenities and public services, in accordance with the indices provided by the relevant Development Contributions Plan.

Timing of Payment

The contribution must be paid and receipted by Council:

 prior to the consent being acted upon.

Parking/Traffic Matters

- A total of (29) off-street parking spaces, hardpaved, linemarked, labelled and drained, shall be provided in accordance with the approved plans.

These spaces shall only be used for the parking of motorcycles, sedans, utilities, vans and similar vehicles up to two (2) tonne capacity.

- All employees shall park their vehicles on site at all times.

- All vehicles associated with the approved use shall be parked within the parking spaces on the site and not on adjacent footpath, access driveways or landscaped areas.

- All vehicles entering and leaving the site shall be driven in a forward direction only and shall be completely contained within the site prior to stopping.

- On-site circulation areas within the site shall be kept clear at all times and shall not be used for vehicular queueing, staff parking or materials storage.

- The individual driveways shall be clearly marked with pavement arrows and signposting: Car Entry/Exit only, Truck Entry/Exit only, etc. as required.

- A ‘STOP” sign shall be installed at the exit point of all driveways to control and regulate exiting vehicles.

- All driveways shall be separated from landscaped areas by a minimum 150mm high by 150mm wide concrete kerb or similar.

- The off-street car parking spaces together with access driveways shall be freely available at all times to employees and customers.

- Vehicles accessing the site are not to utilise the portion of Madeline Street south of the existing chicane at any time.

- All material delivery to the MRF on the site shall be completed by 3:00pm Monday to Saturday. No material is to be processed or received on Sunday.

30(a)	For the period up to 30 June 2027 all material delivery to the MRF on the site shall be completed by 6:00pm Monday to Saturday and Sunday. On 1 July 2027, the hours of operation must comply with Condition 30.

ADDED:		DA2015.177.3		XX November 2023

- A maximum of one (1) material collection vehicle (semi-trailer, curtain side or truck and dog) is permitted on each side of the site (i.e. north of the MRF and south of the MRF) at any one (1) time.

- Materials received at the premise are permitted to be delivered by garbage trucks, utes, vans and tabletop trucks. All materials received are to be via contract only. Material delivery to the site by members of the public is not permitted at any time.

- Vehicles delivering to the site and collecting sorted waste are not permitted to queue on the public roadway at any time.

Site Operation

- A maximum of (24) employees shall be present within the site at any one time comprising three (3) office staff and (21) personnel working within the Materials Recovery Facility (MRF) and the Paper and Cardboard Recovery (PCR) facility.

- Two (2) x weighbridges capable of weighing articulated vehicles shall be installed and maintained in working order within the site at all times. These weighbridges are to only be utilised in conjunction with the approved operations and are not to be made available to the public or other businesses at any time.

- The delivery and despatch of goods, material and the like to and from the premises shall only take place between the hours permitted under condition 5. At no time is waste to be accepted during cleaning hours or on Sundays.

36(a)	For the period up to 30 June 2027 the delivery and despatch of goods, material and the like to and from the premises shall only take place between the hours permitted under condition 5a. On 1 July 2027, the hours of operation must comply with Condition 36.

ADDED:		DA2015.177.3		XX November 2023

- All operations/activities shall be carried out wholly within the building. The roller doors shall remain closed at all times when delivery and dispatch is not occurring.

- Baled and sorted waste is not to be stored outside of buildings or designated storage enclosures at any time. Storage enclosures are to be roofed, walled on three sides, with a single roller door for access. The site and immediately adjoining road reserve shall be cleaned daily to remove any loose litter or material.

- Any proposed lighting of the site shall be designed, located or shielded to ensure the amenity of the surrounding area is not adversely affected by light overspill and details shall be submitted and approved by the Principal Certifying Authority prior to the issue of a Construction Certificate.

- All areas where oil petroleum and the like may be deposited shall be sealed and drained to an oil arrestor of sufficient size to separate these deposits from collected water prior to discharge.

- Waste oil shall be stored in a covered and suitably bounded area pending regular removal to a waste oil recycler.

- A maximum 1,000 litres of diesel fuel is permitted to be stored within the site at any time. The diesel fuel shall be stored within a self-bunded diesel tank compliant with AS1940:2004 The storage and handling of flammable and combustible liquids such that it is not considered to be potentially hazardous.

- A maximum of 20 x 20kg cylinders of LPG gas (0.4 tonnes) is permitted to be stored within the site at any time. The LPG gas cylinders shall be stored within a separate storage cage within the warehouse.

- A maximum of 2 x 30 litre drums of hydraulic oil are to be stored within a suitably bunded area to minimise risk.

- Building 3 shall be used for the storage, sorting and baling of paper and cardboard materials only. Building 3 is not to be used for the sorting of mixed recyclables at any time.

- The discharge of surface water from the site (including that from within the building) shall be in accordance with the requirements of Council and Sydney Water.  Details shall be submitted to and approved by the Principal Certifying Authority prior to the issue of a Construction Certificate.

- A “24 hour Hotline” service shall be established at full cost to the applicant to allow any persons affected by site-related activities to make enquiries about such activities or register a complaint. This service shall allow affected persons to make contact via telephone and email. The service shall be operational at all times and a logbook of complaints shall be kept and be available for review by Council upon request.

- The display of signage, other than signage which is approved by this consent or signage which is exempt development, is strictly prohibited.

- Bunding or other pollution control devices shall be installed and maintained to ensure there will be no water borne pollutants discharging or likely to be discharged into any natural water course, stormwater or sewerage drainage system.

- Leachate from the Materials Recovery Facility (MRF) and the Paper and Cardboard Recovery (PCR) facility shall be captured by a ‘fluid only outlet’ and discharged, through a trade waste agreement, to the sewer. Leachate is not be discharged from the site into the stormwater system at any time.

- Appropriate measures shall be put in place to minimise vermin, pests and birdlife accessing the site.

- A CCTV security system shall be installed within the property to discourage the dumping of illegal waste. Appropriate signage discouraging illegal dumping and noting the CCTV camera is to be affixed to the property to ensure it is clearly visible from the public domain.

Construction Matters

- The proposed development shall comply with the Building Code of Australia and details demonstrating compliance shall be submitted to the Principal Certifying Authority for approval prior to the issue of a Construction Certificate.

- All construction, demolition and excavation work shall be restricted to 7am and 5pm (Eastern Standard Time) on Mondays to Saturdays (inclusive) and prohibited on Sundays and public holidays.

- The owner of the adjoining allotment of land is not liable for any part of the cost of work carried out, whether carried out on the allotment of land being excavated or on the adjoining allotment of land.

Building Matters

- Identification numbers are to be clearly displayed at the front of the premises and be easily visible from the street.

56(a).  	Prior to the issue of the construction certificate, a dimensioned plan of the eastern extension to Building 1 is to be submitted to Strathfield Council’s Planning Team for endorsement. The extension is not to exceed a height of 9.6m, measured from existing ground level, or protrude beyond the envelope of Building 1.

All other extensions in the approved plans are to have a height of no greater than 6.7m as measured from existing ground level.

Fire Safety Measures

- Upon completion of works a final fire safety certificate is to be issued from a properly qualified person in respect of each essential fire safety measure installed within the building and specified in the fire safety schedule.  The final fire safety certificate shall be provided prior to the issue of an Occupation Certificate.

- Each 12 months after the installation of essential fire or other safety measures, the owner of a building must submit an Annual Fire Safety Statement for the building to Council. In addition a copy of the statement must be given to the NSW Fire Commissioner and a copy displayed prominently in the building.

Air Quality

- Any non-conforming waste accepted onto the premise shall be managed strictly in accordance with the endorsed Plan of Management prepared by MRA Consulting dated 8 July 2016.

- All residual waste accepted into the Materials Recovery Facility (MRF) and the Paper and Cardboard Recovery (PCR) facility shall be removed from the site within 24 hours of receipt.

- Full compliance shall be given to the recommendations contained in the endorsed acoustic consultant's report.

- Any noise generated on the premises from the use at any time shall not exceed the criteria contained in Condition No. 76.

- In the event of Council receiving complaints regarding air pollution or odour from the premises, the person(s) in control of the premises shall at their own cost arrange for an environmental investigation to be carried out (by a suitably qualified person) and submit a report to Council specifying the proposed methods for the control of odour emanating from the premises.  Such measures are to be installed at no cost to Council and may require further development consent from Council.

- In the event of Council receiving complaints regarding excessive noise, the person(s) in control of the premises shall at their own cost arrange for an acoustic investigation to be carried out (by a suitably qualified person) and submit a report to Council specifying the proposed methods for the control of noise emanating from the premises.  Such measures are to be installed at no cost to Council and may require further development consent from Council.

Police

- A panic or duress alarm shall be located at the location. This would include either a duress alarm at the front counter of the reception area or in the manager’s office.

- An internal alarm system shall be included at the office area at the location. An alarm with motion detectors, red switches and siren are designed to act as a deterrent and are very effective.

- Warning signs should be strategically posted around the perimeter of the property, particularly near entry points to warn intruders of security measures.

- Security fences should be installed around the perimeter of the waste management site to clearly define the property boundaries and restrict access. Gates should be secured with quality locks that comply with the Australian Standards, Lock sets, AS: 4145 to restrict access. Fences and gates should be maintained in good condition and should be checked regularly to assist with the protection of the property.

- A security guard/caretaker shall monitor the premises when the site is closed.

EPA General Terms of Approval

- The development shall be carried out in accordance with the requirements of the General Terms of Approval (GTA) as attached and outlined below:

- NSW EPA – Notice Number 1615791 – 19/12/22, and

- NSW EPA – DOC22/1017841 – 18/11/22.

Except as expressly provided by these general terms of approval, works and activities must be carried out in accordance with the proposal contained in:

- the development application 2015/177 submitted to Strathfield Council on 29 December 2015;

- Environmental Impact Statement - 14-82 Madeline Street, Strathfield South: Upgrade of site to include new Materials Recycling Facility - Recyclecare Services Pty Ltd, 14 December 2015 relating to the development;

- all additional documents supplied to the EPA in relation to the development, including the Noise & Vibration Impact Assessment prepared by Waves Consulting and dated 10 November 2022, Development Application No.2011/193, Soil and Water Assessment Report No 610.14992-R4, Noise Impact Assessment Report No 610.14992-R1, Air Quality Impact Asesssment Report No 610.14992-R3, Redwave design drawings A6516-00 (09/07/2015); and

- Polytrade responses to concerns submitted to Strathfield Council on 28 March 2016, including Polytrade_Response to Submissions_DS240316 and Polytrade_EPA response 280316.

- The applicant must, in the opinion of the EPA, be a fit and proper person to hold a licence under the Protection of the Environment Operations Act 1997, having regard to the matters in s.83 of that Act.

Pollution of waters

- Except as may be expressly provided by a licence issued under the Protection of the Environment Operations Act 1997 in relation of the development, section 120 of the Protection of the Environment Operations Act 1997 must be complied with in and in connection with the carrying out of the development.

Waste

- The licensee must not cause, permit or allow any waste generated outside the premises to be received at the premises for storage, treatment, processing, reprocessing or disposal or any waste generated at the premises to be disposed of at the premises, except as expressly permitted by an Environment Protection Licence issued by the EPA under the Protection of the Environment Operations Act 1997.

- This condition only applies to the storage, treatment, processing, reprocessing or disposal of waste at the premises if it requires an Environment Protection Licence under the Protection of the Environment Operations Act 1997.

- The amount of waste permitted to be received at the premises per year must not exceed 30,000 tonnes of paper and cardboard; and 69,900 tonnes of mixed metals, glass and mixed plastics.

Noise limits

- Location of monitoring/discharge points and areas

The following points referred to in the table below are identified in this licence for the purposes of weather and/or noise monitoring for the emission of noise from the premises.

| EPA Identification no. | Type of monitoring point | Location description |
| --- | --- | --- |
| 1 | Noise monitoring | 10 Williams Street, Strathfield South |
| 2 | Noise monitoring | 17 Excelsior Avenue, Belfield |
| 3 | Noise monitoring | 110 Madeleine Street, Belfield |

### Noise limits conditions

### Noise generated at the premises must not exceed the noise limits in the table below:

| Location | Noise Limits in dB(A) |  |  |  |
| --- | --- | --- | --- | --- |
|  | Day | Evening | Night | Night |
|  | LAeq (15 minute) | LAeq (15 minute) | LAeq (15 minute) | LAFmax |
| Residential receivers on Dean Street, William Street, James Street, The Causeway, and Water Street in Strathfield South | 46 | 46 | 43 | 52 |
| Residential receivers on Excelsior Avenue, Chisolm Avenue, Sunlea Road, and Water Street in Belfield | 45 | 42 | 42 | 52 |
| Residential recievers on Madeleine Street and Birrawa Avenue in Belfield | 49 | 41 | 41 | 52 |
| Any other residential receiver | 40 | 35 | 35 | 52 |

- For the purpose of condition 76;

- Day is defined as the period from 7am to 6pm Monday to Saturday and 8am to 6pm Sunday and Public Holidays.

- Evening is defined as the period 6pm to 10pm.

- Night is defined as the period from 10pm to 7am Monday to Saturday and 10pm to 8am Sunday and Public Holidays.

- The noise limits set out in condition 76 apply under the following meteorological conditions:

| Assessment Period | Meteorological Conditions |
| --- | --- |
| Day | Stability Categories A, B, C and D with wind speeds up to and including 3m/s at 10m above ground level. |
| Evening | Stability Categories A, B, C and D with wind speeds up to and including 3m/s at 10m above ground level. |
| Night | Stability Categories A, B, C and D with wind speeds up to and including 3m/s at 10m above ground level; or Stability category E and F with wind speeds up to and including 2m/s at 10m above ground level. |

- For those meteorological conditions not referred to in condition L3.3(a), the noise limits that apply are the noise limits in condition L3.1 plus 5dB.

- For the purposes of condition 78:

- The meteorological conditions are to be determined from meteorological data obtained from the meteorological weather station identified as Bureau of Meteorology AWS at CANTERBURY RACECOURSE AWS (Station ID: 066194).

- Stability category shall be determined using the following method from Fact Sheet D of the Noise Policy for Industry (NSW EPA, 2017):

  - Use of sigma-theta data (section D1.4).

- To determine compliance:

To assess compliance

- with the LAeq (15 minutes) or the LAmax noise limits in condition L3.1 and L3.3, the noise measurement equipment must be located:

  - approximately on the property boundary, where any residence is situated 30 metres or less from the property boundary closest to premises; or where applicable,

  - in an area within 30 metres of a residence façade, but not closer than 3 metres where any residence on the property is situated more than 30 metres from the property boundary closest to the premises; or, where applicable,

  - in an area within 50 metres of the boundary of a National Park or Nature Reserve,

  - at any other location identified in condition L3.1

- with the LAeq (15 minutes) or the LAmax noise limits in condition L3.1 and L3.3, the noise measurement equipment must be located:

i.	at the reasonably most affected point at a location where there is no residence at the location; or,

ii.	at the reasonably most affected point within an area at a location prescribed by condition L3.5 (a).

- A non-compliance of conditions L3.1 and L3.3 will still occur where noise generated from the premises is measured in excess of the noise limit at a point other than the reasonably most affected point at the locations referred to in condition L3.5 (a) or L3.5 (b).

NOTE to L3.5 and L3.6: The reasonably most affected point is a point at a location or within an area at a location experiencing or expected to experience the highest sound pressure level from the premises.

- For the purpose of determining the noise generated from the premises, the modifying factor corrections in Table C1 in Fact Sheet C of the Noise Policy for Industry (NSW EPA, 2017) may be applied, if appropriate, to the noise measurements by the noise monitoring equipment.

Noise measurements must not be undertaken where rain or wind speed at microphone level will affect the acquisition of valid measurements.

Additions to Definition of Terms of the licence

- NSW Industrial Noise Policy - the document entitled “New South Wales Industrial Noise Policy published by the Environment Protection Authority in January 2000.”

- Noise means ‘sound pressure levels’ for the purposes of conditions 76 to 82.

Potentially offensive odour

- No condition of this licence identifies a potentially offensive odour for the purposes of section 129 of the Protection of the Environment Operations Act 1997.

Note: Section 129 of the Protection of the Environment Operations Act 1997, provides that the licensee must not cause or permit the emission of any offensive odour from the premises but provides a defence if the emission is identified in the relevant environment protection licence as a potentially offensive odour and the odour was emitted in accordance with the conditions of a licence directed at minimising odour.

Operating conditions

Odour

- Any waste received that is received at the premises that is determined to be unsuitable for processing due to the presence of putrescible material must be removed from the premises within 48 hours of receipt.

Dust

- Activities must be carried out in a manner that minimises the generation of dust.

- The premises must be maintained in a condition which prevents the emission of dust from the premises.

- Activities occurring in or on the premises must be carried out in a manner that will minimise the generation, or emission of air pollutants from the premises.

- The licensee must ensure that no material, including sediment or oil, is tracked from the premises.

- Trucks entering and leaving the premises that are carrying loads must be covered at all times, except during loading and unloading.

Processes and management

- Any waste for processing or storage at the premises must be assessed and classified in accordance with the EPA Waste Classification Guidelines as in force from time to time.

- Each type of waste stored on site for recovery/recycling must be stockpiled separately.

- There must be no burning or incineration of waste at the premises.

- Clean stormwater must be diverted around 'dirty' areas of the site.

- All waste processing and storage must be inside the buildings.

Emergency Response

- The licensee must prepare, maintain and implement as necessary, a current Pollution Incident Response Management Plan (PIRMP) for the premises.

NOTE: The licensee must develop their PIRMP in accordance with the requirements in Part 5.7A of the Protection of the Environment Operations Act 1997 (the POEO Act) and the POEO Regulations.

Reporting conditions

- The applicant must provide an annual return to the EPA in relation to the development as required by any licence under the Protection of the Environment Operations Act 1997 in relation to the development. In the return the applicant must report on the annual monitoring undertaken (where the activity results in pollutant discharges), provide a summary of complaints relating to the development, report on compliance with licence conditions and provide a calculation of licence fees (administrative fees and, where relevant, load based fees) that are payable. If load based fees apply to the activity the applicant will be required to submit load-based fee calculation worksheets with the return.

Special Conditions

- By 6 months from the commencement of operations approved by the development consent, the proponent must submit a dust and odour audit report to the EPA’s Senior Manager Waste Operations. The dust and odour audit report must address the following:

    - A summary of any dust and/or odour complaints received and actions taken to reduce odour emissions where complaints are verified;

    - Benchmark the design and management practices at the facility against industry best practice for minimising dust and/or odour emissions. This should include, but not be limited to, fast close roller doors

    - Using the results of (a) and (b), if it is identified that the facility requires additional dust and/or odour mitigation measures the report must include:

      - Proposed mitigation works and/or management practices to ensure that dust and/or odour is minimised as far as is practicable; and

      - A timetable for the implementation of these works.

Operating conditions

Activities must be carried out in a competent manner

- Licensed activities must be carried out in a competent manner. This includes the processing, handling, movement and storage of materials and substances used to carry out the activity and the treatment, storage, processing, reprocessing, transport and disposal of waste generated by the activity.

100(a)	Material Storage

Baled and sorted waste is not to be stored outside of buildings or designated storage enclosures at any time. Storage enclosures are to be roofed, walled on three sides, with a single roller door for access. The site and immediately adjoining road reserve shall be cleaned daily to remove any loose litter or material.

Maintenance of plant and equipment

- All plant and equipment installed at the premises or used in connection with the licensed activity:

- Must be maintained in a proper and efficient condition; and

- Must be operated in a proper and efficient manner.

Monitoring and recording conditions

Recording of pollution complaints

- The licensee must keep a legible record of all complaints made to the licensee or any employee or agent of the licensee in relation to pollution arising from any activity to which this licence applies.

The record must include details of the following:

- the date and time of the complaint;

- the method by which the complaint was made;

- any personal details of the complainant which were provided by the complainant or, if no such details were provided, a note to that effect;

- the nature of the complaint;

- the action taken by the licensee in relation to the complaint, including any follow-up contact with the complainant; and

- if no action was taken by the licensee, the reasons why no action was taken.

- The record of a complaint must be kept for at least 4 years after the complaint was made.

- The record must be produced to any authorised officer of the EPA who asks to see them.

Telephone complaints line

- The licensee must operate during its operating hours a telephone complaints line for the purpose of receiving any complaints from members of the public in relation to activities conducted at the premises or by the vehicle or mobile plant, unless otherwise specified in the licence.

The licensee must notify the public of the complaints line telephone number and the fact that it is a complaints line so that the impacted community knows how to make a complaint.

This condition does not apply until 3 months after this condition takes effect.

Reporting conditions

Annual Return documents

- The licensee must complete and supply to the EPA an Annual Return in the approved form comprising:

- a Statement of Compliance,

- a Monitoring and Complaints Summary,

- a Statement of Compliance - Licence Conditions,

- a Statement of Compliance - Load based Fee,

- a Statement of Compliance - Requirement to Prepare Pollution Incident Response Management Plan,

- a Statement of Compliance - Requirement to Publish Pollution Monitoring Data,

- a Statement of Compliance - Environmental Management Systems and Practices; and

- a Statement of Compliance - Environmental Improvement Works.

- At the end of each reporting period, the EPA will provide to the licensee a copy of the form that must be completed and returned to the EPA. An Annual Return must be prepared in respect of each reporting period, except as provided below.

Note: The term "reporting period" is defined in the dictionary at the end of this licence. Do not complete the Annual Return until after the end of the reporting period.

- Where this licence is transferred from the licensee to a new licensee:

- the transferring licensee must prepare an Annual Return for the period commencing on the first day of the reporting period and ending on the date the application for the transfer of the licence to the new licensee is granted; and

- the new licensee must prepare an Annual Return for the period commencing on the date the application for the transfer of the licence is granted and ending on the last day of the reporting period. Note: An application to transfer a licence must be made in the approved form for this purpose.

- Where this licence is surrendered by the licensee or revoked by the EPA or Minister, the licensee must prepare an Annual Return in respect of the period commencing on the first day of the reporting period and ending on:

- in relation to the surrender of a licence - the date when notice in writing of approval of the surrender is given; or

- in relation to the revocation of the licence - the date from which notice revoking the licence operates.

- The Annual Return for the reporting period must be supplied to the EPA by registered post not later than 60 days after the end of each reporting period or in the case of a transferring licence not later than 60 days after the date the transfer was granted (the 'due date').

- The licensee must retain a copy of the Annual Return supplied to the EPA for a period of at least 4 years after the Annual Return was due to be supplied to the EPA.

- Within the Annual Return, the Statements of Compliance must be certified and the Monitoring and Complaints Summary must be signed by:

- the licence holder; or

- by a person approved in writing by the EPA to sign on behalf of the licence holder.

Written report

- Where an authorised officer of the EPA suspects on reasonable grounds that:

- where this licence applies to premises, an event has occurred at the premises; or

- where this licence applies to vehicles or mobile plant, an event has occurred in connection with the carrying out of the activities authorised by this licence, and the event has caused, is causing or is likely to cause material harm to the environment (whether the harm occurs on or off premises to which the licence applies), the authorised officer may request a written report of the event.

- The licensee must make all reasonable inquiries in relation to the event and supply the report to the EPA within such time as may be specified in the request.

- The request may require a report which includes any or all of the following information:

    - the cause, time and duration of the event;

    - the type, volume and concentration of every pollutant discharged as a result of the event;

    - the name, address and business hours telephone number of employees or agents of the licensee, or a specified class of them, who witnessed the event; and

    - the name, address and business hours telephone number of every other person (of whom the licensee is aware) who witnessed the event, unless the licensee has been unable to obtain that information after making reasonable effort;

    - action taken by the licensee in relation to the event, including any follow-up contact with any complainants;

    - details of any measure taken or proposed to be taken to prevent or mitigate against a recurrence of such an event;

    - any other relevant matters.

- The EPA may make a written request for further details in relation to any of the above matters if it is not satisfied with the report provided by the licensee. The licensee must provide such further details to the EPA within the time specified in the request.

Notification of environmental harm

- Notifications must be made by telephoning the EPA’s Environment Line service on 131 555.

Note: The licensee or its employees must notify the EPA of incidents causing or threatening material harm to the environment immediately after the person becomes aware of the incident in accordance with the requirements of Part 5.7 of the Act

- The licensee must provide written details of the notification to the EPA within 7 days of the date on which the incident occurred.

Copy of licence kept at the premises or on the vehicle or mobile plant

- A copy of the EPA licence must be kept at the premises or on the vehicle or mobile plant to which the licence applies. The licence must be produced to any authorised officer of the EPA who asks to see it.

The licence must be available for inspection by any employee or agent of the licensee working at the premises.

ADVISORY NOTES

- If an Underground Storage Tank or Underground Petroleum Storage System is decommissioned, a validation report for the storage site must be provided to Council no later than 60 days after the system is decommissioned, or if remediation of the site is required, no later than 60 days after the remediation is completed.  Any validation report must be prepared in accordance with DECC guidelines.

Note: 	These requirements do not apply to any decommissioning of a storage system that took place before 1 June 2008.  The maximum penalty for non-compliance is 100 penalty units (for an individual) or 200 penalty units (for a corporation).

- Council encourages the reuse and recycling of waste materials during demolition and construction.  In this regard, separation and recycling should be undertaken as follows:

- Masonry products (bricks, concrete, concrete tile roofs) should be sent for crushing/recycling;

- Timber waste to be separated and sent for recycling;

- Metals to be separated and sent for recycling;

- Clean waste plasterboard to be returned to the supplier for recycling (excluding plasterboard from demolition); and

- Mixed waste (plastic wrapping, cardboard etc.) to be sent to a licensed recycling or disposal facility.

The above can be achieved by constructing a minimum of five (5) trade waste compounds on the site.  Each waste compound should be adequately sized to enclose the waste and all waste should be adequately secured and contained within the designated areas and not be permitted to leave the site.  Personal waste should not litter the site.  Copies of any weighbridge receipts should be kept for presentation to the Principal Certifying Authority.

- All existing trees on the site and all street trees are covered by Council’s Tree Preservation Order and shall not be removed, lopped or pruned unless there is express permission stipulated in a condition of this consent or there is written approval from the Council.

- Prior to occupation of any multi-unit development the applicant should arrange for the supply and delivery of a suitable number of mobile garbage receptacles and  recycling receptacles.

The waste receptacle must be to the approval of Strathfield Municipal Council to ensure that receptacles are compatible with Council’s waste collection vehicles and meet the requirements of any conditions of consent.  Council does not supply waste storage bins free of charge and payment will need to be made to Council prior to delivery of the required bins.  A waste service availability charge will apply to the development site from the date of issue of the occupation certificate.  The charge is for the collection of domestic waste from all residential dwelling units and is payable by the owner of the development site.

- The applicant and Owner are advised that the Commonwealth Disability Discrimination Act 1992 may apply to this particular proposal. Approval of this application does not imply or confer compliance with this Act. Applicants and owners should satisfy themselves as to compliance and make their own enquiries to the Human Rights and Equal Opportunity Commission. Attention is also drawn to the provisions of Parts 2, 3 and 4 of Australian Standard 1428 - Design for Access and Mobility.

- Information regarding the location of underground services may be obtained from Dial Before You Dig (Telephone 1100 or www.dialbeforeyoudig.com.au). Inquirers should provide DBYD with the street/road name and number, side of street/road and the nearest cross street/road.

- A Construction Certificate shall be obtained in accordance with Section 81A (2)(a)of the Act, prior to the commencement of any work on site.  Council can provide this service for you and you may contact Council’s Development Assessment Unit on 9748 9999 for further information.

- An Occupation Certificate is to be issued by the Principal Certifying Authority prior to the occupation of the building.

- The use of Council’s footway in accordance with this consent shall not occur until an agreement with Council is entered into for the use of the footway and the applicable fees paid.

- Section 82A of the Act allows the applicant/owner to request Council to review the determination of the application.  Any such request must be made within six (6) months of this Notice of Determination being issued and be accompanied by the required fee.

An application under this Section of Act cannot be made for:

- a determination in respect of designated development, or

- a determination in respect of integrated development, or

- a determination made by the council under section 116E in respect of an application by the Crown.

- If you are dissatisfied with this decision, Section 97 of the Act gives you the right to appeal to the Land and Environment Court within six (6) months after the date on which you receive this Notice of Determination.

- Section 125 of the Act provides that any person who contravenes or causes or permits to be contravened the conditions of this consent or the Tree Preservation Order shall be guilty of an offence.

- Section 126 of the Act provides that a person guilty of an offence against this Act may be liable to penalties.  Penalty infringement notices (on-the-spot fines) can also be issued for breaches of the conditions of development consent.

- The contributions required under Section 94 of the Act are set out in the Section 94 Contributions Plan which can be viewed at Council’s Customer Service Centre, 65 Homebush Road, Strathfield during normal business hours.

- Approved Insurers for Residential Building work under the Home Building Act 1989 are listed on the Department of Fair Trading’s website:

www.fairtrading.nsw.gov.au

Other contact details for the Department are:

Phone:  9895 0111

E-Mail:  enquiry@fairtrading.nsw.gov.au

- Applicants are advised to ensure all gutters are designed and installed in accordance with the National Construction Code and the relevant Australian Standards.

- In accordance with Clause 162A of the Environmental Planning and Assessment Regulation 2000, critical stage inspections are to be carried out by the Principal Certifying Authority (PCA) or by another authority if the PCA so agrees.  Failure to undertake these inspections can prevent the issue of an Occupation Certificate and may result in penalties.

- Where Council is appointed as the Principal Certifying Authority (PCA), a Certificate of Adequacy prepared by a suitably qualified and experienced Structural Engineer, shall be provided with the Construction Certificate application stating that the existing structure is suitable to support the additional loads proposed to be placed upon it and that it complies with the Structural Provisions of the National Construction Code (NCC).

- For the purposes of improved resident safety, it is recommended that the windows of dwellings be fitted with appropriate devices capable of being locked into a fixed position with such openings generally being a maximum of 100mm wide provided that compliance with the NCC in terms of lighting and ventilation is still achieved.

cc:	LC Investment (Australia) Pty Ltd

202-204 Northbourne Road

Campbellfield VIC 3061