**APPENDIX B – CONDITIONS OF CONSENT TO BE MODIFIED**

***Should the Sydney Eastern City Planning Panel resolve to support (approve) the application, the following conditions of consent are recommended for imposition:***

1. **Amended/Deleted Conditions**

## 1. APPROVED DEVELOPMENT

The development must be in accordance with:

1. Architectural Plans prepared by Group GSA, including the following;

DA003, *Demolition and excavation plan,* revision A dated 05/09/16, stamped received on 24/01/17

DA004, *Project summary* revision A dated 05/09/16, received on 24/01/17

**A1100-**DA005, *Site analysis* revision **~~A~~** **G** dated **~~05/09/16~~** **10/06/2020**, received on **~~24/01/17~~ 10/06/2020**

A1101 (DA004) *Project Summary,* revision **~~C~~** **K** dated **~~29/08/19~~** **10/06/2020**, stamped received on **~~30/08/2019~~ 10/06/2020**

A2001 (DA101), *Upper basement parking*, revision **~~C~~** **F**, dated **~~29/08/19~~** **10/06/2020**, stamped received on **~~30/08/2019~~ 10/06/2020**

A2000 (DA102), *Lower Basement* *Parking,* revision **~~D~~** **H**, dated **~~29/08/19~~** **10/06/2020** stamped received on **~~30/08/2019~~ 10/06/2020**

A2002 (DA100), *Ground Floor*, revision **~~C~~** **K** dated **~~29/08/19~~** **10/06/2020**, stamped received on **~~30/08/2019~~ 10/06/2020**

**A2003 (**DA103**)**, *LVL.01,* revision **~~A~~** **G** dated **~~05/09/16~~** **10/06/2020**, stamped received on **~~24/01/17~~ 10/06/2020**

**A2004 (**DA104**)**, *LVL.02,* revision **~~A~~** **F** dated **~~05/09/16~~** **10/06/2020**, stamped received on **~~24/01/17~~ 10/06/2020**

**A2005 (**DA105**)**, *LVL.03*, revision **A** **F** dated **~~05/09/16~~** **10/06/2020**, stamped received on **~~24/01/17~~ 10/06/2020**

**A2006 (**DA106**)**, *LVL.04 + 05,* revision **~~A~~** **F** dated **~~05/09/16~~** **10/06/2020**, stamped received on **~~24/01/17~~ 10/06/2020**

**A2007 (**DA107**)**, *LVL.06 + 07,* revision **~~A~~** **G** dated **~~05/09/16~~** **10/06/2020**, stamped received on **~~24/01/17~~ 10/06/2020**

**A2008 (**DA108**)**, *LVL.08 Penthouse level,* revision **~~A~~** **F** dated **~~05/09/16~~** **10/06/2020**, stamped received on **~~24/01/17~~ 10/06/2020**

**A2009 (**DA109**)**, *LVL.08 Roof plan,* revision **~~A~~** **H** dated **~~05/09/16~~** **10/06/2020**, stamped received on **~~24/01/17~~ 10/06/2020**

DA110, *Typical Plan*, revision A dated 05/09/16, stamped received on 06/06/17

**A3002 (**DA202**)**, *Proposed elevations* ***~~(Building A)~~***, revision **~~A~~** **J** dated **~~05/09/16~~** **10/06/2020**, stamped received on **~~24/01/17~~ 10/06/2020**

**A3003 (**DA203**)** *Proposed elevations* ***~~(Building A)~~***revision **~~A~~** **J** dated **~~05/09/16~~** **10/06/2020**, stamped received on **~~24/01/17~~ 10/06/2020**

A3100 (DA300), *Proposed section,* revision C, dated 29/08/2019, stamped received on 30/08/2019

DA301, *Proposed section,* revision A dated 05/09/16, stamped received on 24/01/17

DA302*, BLDG A-* *Proposed sections*, revision A dated 05/09/16, stamped received 06/06/17

***A3105(DA305) Proposed section, revision F, dated 10/06/2020, stamped received 10/06/2020***

***A3106(DA306) Proposed car stacker section, revision D, dated 10/06/2020, stamped received 10/06/2020***

 ~~(AMENDED DA-125/2012/B)~~

 **(AMENDED DA-125/2012/C)**

1. Subdivision Plan reference, 42075DT, Sheet 1 of 1, revision 1, dated 29/02/12 prepared by Harrison Friedmann and Associates Pty Ltd and receive by Council on 2 April 2012.
2. BASIX Certificate;
3. Acoustic Report prepared by Renzo Tonin and Associates, report No. TF906-01F02 (rev 1), dated 23 August 2012 and received by Council on 24 August 2012.
4. Schedule of external finishes and colours prepared by Group GSA dated 5 December 2016 and received by Council on 24 January 2017; and;
5. The Site Waste and Recycling Management Plan (SWRMP) and Checklist, in accordance with the SWRMP Checklist of Part G1, Waverley DCP 2010;
6. Report on Geotechnical Investigation prepared by Douglas Partners Project 72261.06 dated November 2019 and received by Council on 11 March 2019. (ADDED DA-125/2012/B)

Except where amended by the following conditions of consent.

## 2. GENERAL MODIFICATIONS

**~~The proposal shall be amended as follows:~~**

1. **~~The side blade walls to the east-facing balconies on the northern end of the building are to be reinstated as per the original scheme to retain the neighbour’s privacy,~~**

**~~The amendments shall be shown on the plans submitted to the Principal Certifying Authority with the required Construction Certificate.~~**

***SATISFIED BY DA-125/2012/C***

## 64. FIRE SAFETY UPGRADE WORKS

Prior to the issue of an Occupation Certificate by the accredited certifier, all fire safety upgrading works **relevant to the area being occupied** are to be completed and a Fire Safety Certificate is to be submitted to Council, certifying that each required essential fire safety measure;

1. has been assessed by a properly qualified person; and
2. has been found, when it was assessed, to be capable of performing to at least the standard required by the current Fire Safety Schedule for the building for which the Certificate is issued.

***AMENDED DA-125/2012/C***

**APPENDIX C – FULL SET OF CONDITIONS**

***Should the Sydney Eastern City Planning Panel resolve to support (approve) the application, the following full set of conditions are recommended for imposition:***

# APPROVED DEVELOPMENT

## APPROVED DEVELOPMENT

The development must be in accordance with:

1. Architectural Plans prepared by Group GSA, including the following;

DA003, *Demolition and excavation plan,* revision A dated 05/09/16, stamped received on 24/01/17

DA004, *Project summary* revision A dated 05/09/16, received on 24/01/17

**A1100-**DA005, *Site analysis* revision **G** dated **10/06/2020**, received on **10/06/2020**

A1101 (DA004) *Project Summary,* revision **K** dated **10/06/2020**, stamped received on **10/06/2020**

A2001 (DA101), *Upper basement parking*, revision **G**, dated **10/06/2020**, stamped received on **10/06/2020**

A2000 (DA102), *Lower Basement* *Parking,* revision **H**, dated **10/06/2020** stamped received on **10/06/2020**

A2002 (DA100), *Ground Floor*, revision **K** dated **10/06/2020**, stamped received on **10/06/2020**

**A2003 (**DA103**)**, *LVL.01,* revision **G** dated **10/06/2020**, stamped received on **10/06/2020**

**A2004 (**DA104**)**, *LVL.02,* revision **F** dated **10/06/2020**, stamped received on **10/06/2020**

**A2005 (**DA105**)**, *LVL.03*, revision **F** dated **10/06/2020**, stamped received on **10/06/2020**

**A2006 (**DA106**)**, *LVL.04 + 05,* revision **F** dated **10/06/2020**, stamped received on **10/06/2020**

**A2007 (**DA107**)**, *LVL.06 + 07,* revision **G** dated **10/06/2020**, stamped received on **10/06/2020**

**A2008 (**DA108**)**, *LVL.08 Penthouse level,* revision **F** dated **10/06/2020**, stamped received on **10/06/2020**

**A2009 (**DA109**)**, *LVL.08 Roof plan,* revision **H** dated **10/06/2020**, stamped received on **10/06/2020**

DA110, *Typical Plan*, revision A dated 05/09/16, stamped received on 06/06/17

**A3002 (**DA202**)**, *Proposed elevations*, revision **J** dated **10/06/2020**, stamped received on **10/06/2020**

**A3003 (**DA203**)** *Proposed elevations* revision **J** dated **10/06/2020**, stamped received on **10/06/2020**

A3100 (DA300), *Proposed section,* revision C, dated 29/08/2019, stamped received on 30/08/2019

DA301, *Proposed section,* revision A dated 05/09/16, stamped received on 24/01/17

DA302*, BLDG A-* *Proposed sections*, revision A dated 05/09/16, stamped received 06/06/17

**A3105(DA305) *Proposed section, revision F, dated* 10/06/2020*, stamped received* 10/06/2020**

**A3106(DA306) *Proposed car stacker section, revision D, dated* 10/06/2020*, stamped received* 10/06/2020**

 ***(AMENDED DA-125/2012/C)***

1. Subdivision Plan reference, 42075DT, Sheet 1 of 1, revision 1, dated 29/02/12 prepared by Harrison Friedmann and Associates Pty Ltd and receive by Council on 2 April 2012.
2. BASIX Certificate;
3. Acoustic Report prepared by Renzo Tonin and Associates, report No. TF906-01F02 (rev 1), dated 23 August 2012 and received by Council on 24 August 2012.
4. Schedule of external finishes and colours prepared by Group GSA dated 5 December 2016 and received by Council on 24 January 2017; and;
5. The Site Waste and Recycling Management Plan (SWRMP) and Checklist, in accordance with the SWRMP Checklist of Part G1, Waverley DCP 2010;
6. Report on Geotechnical Investigation prepared by Douglas Partners Project 72261.06 dated November 2019 and received by Council on 11 March 2019. (ADDED DA-125/2012/B)

Except where amended by the following conditions of consent.

## GENERAL MODIFICATIONS

***SATISFIED BY DA-125/2012/C***

## APPROVED DESIGN - RESIDENTIAL FLAT DEVELOPMENT

The approved design (including an element or detail of that design) or materials, finish or colours of the building must not be changed so as to affect the internal layout or external appearance of the building, without the approval of Council.

## STAGING OF WORKS

The basement car park and all fire safety upgrading works must be fully completed prior to the issuing of any Occupation Certificate for the additional penthouse units.

## EXCAVATION TO BE LIMITED

Excavation shall be limited to that shown in the approved plans.

# COMPLIANCE PRIOR TO ISSUE OF CONSTRUCTION CERTIFICATE

## SECTION 94A CONTRIBUTION

A cash contribution is payable to Waverley Council pursuant to section 94A of the *Environmental Planning and Assessment Act 1979* and Waverley Council Development Contributions Plan 2006 in accordance with the following:

1. A cost report indicating the itemised cost of the development shall be completed and

submitted to council:

(1) Where the total development cost is less than $500,000:

 **"Waverley Council Cost Summary Report"; or,**

(2) Where the total development cost is $500,000 or more:

**"Waverley Council Registered Quantity Surveyor's Detailed Cost Report".**

A copy of the required format for the cost reports may be obtained from Waverley Council Customer Service Centre or downloaded from: www.waverley.nsw.gov.au/publications/

1. Prior to the issue of the Construction Certificate, evidence must be provided that the levy has been paid to Council in accordance with this condition or that the cost of works is less than $100,000.
2. Should a section 96 modification result in any change to the total cost of the work, the Section 94A contribution is to be revised and amended. Prior to the issue of the Construction Certificate, evidence must be provided that the revised levy has been paid to Council in accordance with this condition.

Waverley Council Development Contributions Plans 2006 may be inspected at Waverley Council Customer Service Centre.

Advisory Note

**-** A development valued at $100,000 or less will be exempt from the levy.

**-** A development valued at $100,001 - $200,000 will attract a levy of 0.5%.

**-** A development valued at $200,001 or more will attract a levy of 1% based on the full cost of the development.

## SECURITY DEPOSIT (AMENDED DA-125/2012/A)

A deposit or guarantee satisfactory to Council for the amount of $ 50,000 must be provided as security for the payment of the cost of making good any damage caused or unauthorised works that may be caused to any Council property as a consequence of this building work.

This deposit (cash or cheque) or guarantee must be established prior to the issue of the Construction Certificate. The full amount of the difference after recovery of Council's cost for any repair of damage to Council property or rectification of unauthorised works on Council property will be refunded after satisfactory completion of the building work to the person who paid the deposit.

## LONG SERVICE LEVY

A long service levy, as required under Section 34 of the Building and Construction Industry Long Service Payments Act, 1986, is to be paid in respect to this building work. In this regard, proof that the levy has been paid is to be submitted to Council prior to the issue of a Construction Certificate.

Note: Council acts as an agent for the Long Service Payment Corporation and the levy may be paid at Council's office. The levy rate is 0.35% of building work costing $25,000 or more.

## TAMARAMA RESERVE PRESERVATION BOND

A bond amount of $25,000 shall be lodged with Council either as cash or by way of an unconditional bank guarantee to ensure the protection of the reserve and to ensure that no building or demolition materials are dumped or disposed of in the adjacent reserve, including all ‘making good to match existing conditions’ and guarantee that the reserve (including all trees) will be free from damage, sediment and rubbish during and after construction.

The bond is to be lodged prior to the issue of a Construction Certificate.

## NO BUILDING WORKS PRIOR TO RELEASE OF CONSTRUCTION CERTIFICATE

The building work, including demolition, must not be commenced until:

1. a Construction Certificate has been obtained from Council or an Accredited Certifier in accordance with Section 81A(2) of the Environmental Planning & Assessment Act, 1979; and
2. a Principal Certifying Authority has been appointed and Council has been notified of appointment in accordance with Section 81(A)(2)(b) of the Environmental Planning & Assessment Act, 1979 and Form 7 of Schedule 1 of the Regulations; and
3. Council is given at least two days’ notice in writing of the intention to commence the building works.

The owner/applicant may make application to Council or an Accredited Certifier for the issue of a Construction Certificate and to be the Principal Certifying Authority.

## SERVICE AUTHORITIES

The applicant is to seek approval from Sydney Water regarding any possible modification to

the service authorities infrastructure prior to the issue of a Construction Certificate.

## ARCHITECT TO SUPERVISE DESIGN - CONSTRUCTION CERTIFICATE DOCUMENTATION

The preparation of the Construction Certificate plans shall be supervised and be to the satisfaction of a qualified designer in accordance with the requirements of State Environmental Planning Policy No. 65 - Design Quality of Residential Flats.

In accordance with clause 143a of the Environmental Planning and Assessment Regulations 2000, the Principal Certifying Authority must not issue a construction certificate unless it has received a design verification from a qualified designer, being a statement in which the qualified designer verifies that the plans and specifications achieve or improve the design quality of the development for which development consent was granted.

## HOARDING REQUIRED

An appropriate hoarding designed and constructed in accordance with the requirements of the Work Cover Authority being erected on the property alignments of the property, prior to the commencement of building operations, and such hoardings to be maintained during the course of building operations. Details of the hoarding are to be provided to Council prior to issue of the Construction Certificate.

Where the hoarding is to be erected over the footpath or any public place, the approval of Council must be obtained prior to the erection of the hoarding.

## GEOTECHNICAL ENGINEER’S REPORT

A geotechnical report, regarding the stability of the subject site and stating that damage should not occur to any adjoining premises as a result of the proposed bulk excavation, driven type piles and shoring works, is to be submitted to the Principal Certifying Authority and Council. The report is to be submitted prior to the issue of a Construction Certificate and commencement of any such works on the site.

## DETAILS OF BULK EXCAVATION, SHORING OR PILE CONSTRUCTION

A report shall be prepared by a suitably qualified and practising Structural Engineer detailing the proposed methods of bulk excavation, shoring or pile construction, including details of vibration emissions and any possible damage which may occur to adjoining or nearby properties as a result of the proposed building and excavation works. The Report shall be submitted to the Principal Certifying Authority and Council prior to the issue of a Construction Certificate.

Any practices or procedures specified in the Structural Engineer's report in relation to the avoidance or minimisation of structural damage to adjoining properties are to be fully complied with and incorporated into the plans and specifications together with the Construction Certificate.

## SITE WASTE AND RECYCLING MANAGEMENT PLAN

A Site Waste and Recycling Management Plan (SWRMP) Checklist 2 shall be submitted to the Principal Certifying Authority for approval in accordance with Part G1, Waverley DCP 2010 prior to the issue of the Construction Certificate. In this regard, Council expects demolition and excavated material to be reused and/or recycled wherever possible.

The builder and all subcontractors shall comply with the approved SWRMP Part 1 and 2 at all times during construction. At least one copy of the SWRMP is to be available on site at all times during construction. Copies of demolition and construction waste dockets that verify the facility that received the material for recycling or disposal and the quantity of waste received, must be retained on site at all times during construction.

## WASTE STORAGE AREA

Based on the proposed floor space, the applicant would be required to have a bin allocation of 30x240L MGB for waste to be collected weekly, 10x 240L MGB for paper/cardboard and 6x240L MGB for co-mingled recycling to be collected weekly.

An amended plan is to be submitted to the Principal Certifying Authority prior to the issue of a Construction Certificate. The applicant is encouraged to discuss waste collection with the council.

## EROSION, SEDIMENT AND POLLUTION CONTROL

Erosion, sediment and pollution control measures are to be implemented on this site. These measures are to be in accordance with Council's Stormwater Policy and are to be implemented prior to commencement of any work or activities on or around the site. Details of these measures are to be submitted to the Principal Certifying Authority prior to the issuing of a Construction Certificate.

## ESSENTIAL SERVICES - EXISTING BUILDING

Details of the currently implemented and proposed essential fire safety measures shall be submitted to Council, with the Construction Certificate, in the form of a Fire Safety Schedule. This Schedule shall be prepared by a person competent to do so and shall specify the minimum standard of performance for each essential fire safety measure included in the Schedule.

At the completion of the installation, a Final Fire Safety Certificate shall be attached to the Occupation Certificate, certifying that each essential fire safety measure specified within the current Fire Safety Schedule:

1. has been assessed by a properly qualified person; and
2. found to be capable of performing to at least the standard required by the current Fire Safety Schedule for the building for which the Certificate is issued.

## CONSTRUCTION VEHICLE AND PEDESTRIAN PLAN OF MANAGEMENT (AMENDED DA-125/2012/A)

Prior to the issue of a Construction Certificate, the applicant shall submit a relevant “Construction Vehicle and Pedestrian Plan of Management” (CVPPM) for the approval of the Executive Manager, Creating Waverley

The CVPPM shall provide, but not be limited to, details of the following:

1. The proposed route to be taken by demolition/construction vehicles in the Council area when accessing and exiting the site. **Note:** Vehicular access to the site via the vacant land between No.3 and No.7 Tamarama Street is not permitted at any time.
2. Vehicular access to and from the site for all vehicles during all phases of the development shall be via Bondi Road, Denham Street and Illawong Avenue.
3. The type, size and number of demolition/construction vehicles for each of the separate phases of the development. Trucks with dog trailers and semi-trailers may not be approved for use if it is considered with the information provided that:
	* such vehicles cannot adequately and safely gain access to and from the site or
	* access into or out of the site may not be not possible without the need to remove an unsatisfactory number of vehicles parked on the roadway adjacent to or opposite the site.
4. The location of truck holding areas remote from the site should Council not give approval for demolition/construction vehicles to stand on the roadway in the vicinity of the site.
5. Traffic control measures to be put in place when trucks, manoeuvring in the vicinity of the site, will interfere with the free flow of traffic.
6. The location and materials of construction of temporary driveways providing access into and out of the site.
7. The location and length of any proposed Works/Construction Zones. Note:
	* Works/Construction zones require the approval of the Waverley Traffic Committee and Council prior to installation.
	* It is illegal to:
		1. Park a vehicle exceeding 4.5 tonnes on a roadway for more than one (1) hour unless signs are installed to the contrary
		2. Barricade/reserve a section of roadway without the prior approval of Council
8. The hours of operation of demolition/construction vehicles.
9. The number of and where it is proposed to park light vehicles associated with staff/employees/contractors working on the site.
10. How it is proposed to cater for the safe passage of pedestrians past the site. The details shall include:
	* The route required to be taken by pedestrians including signage and any other control measures that will need to be put in place to direct and keep pedestrians on the required route
	* Any obstructions such as street furniture, trees and bollards etc., that may interfere with the safe passage of pedestrians
	* The type(s) of material on which pedestrians will be required to walk
	* The width of the pathway on the route
	* The location and type of proposed hoardings
	* The location of existing street lighting

## MODIFICATIONS TO BASEMENT CAR PARK (DELETED DA-125/2012/A)

~~The following modifications are to be made to the basement car park area;~~

1. ~~The headroom above each proposed dedicated disabled parking space and adjacent shared area within the underground car park shall be a minimum of 2500 mm and is to comply with Section 2.4 of~~ *~~AS 2890.6:2009 Parking facilities Part 6: Off-street parking for people with disabilities~~*~~.~~
2. ~~The shared area adjacent to the proposed disabled parking spaces is to comply with Section 2.2.1 of~~ *~~AS 2890.6:2009 Parking facilities Part 6: Off-street parking for people with disabilities~~*~~.~~
3. ~~The ratio of resident to visitor car parking in the basement area is to be adjusted to be in accordance with Part I1 of the Waverley Development Control Plan (“the DCP”) 2010, that being, 69 resident car parking spaces and 10 visitor car parking spaces. In addition, bicycle parking areas are to be provided at the rate of one space per dwelling. Note: The car parking spaces are to be for the use of residents only and not separately leased~~

~~The above amendments shall be included on the plans submitted to the Principal Certifying Authority with the required Construction Certificate.~~

## AMENDED STRATA SUBDIVISION PLAN (AMENDED DA-125/2012/A)

An amended strata plan is to be submitted to Council reflecting the architectural plans approved under DA-125/2012 (and any subsequent Section 96 modification approval/s), showing the additional 2 sole occupancy strata titled units approved at the top of the building and common property comprising the visitor parking spaces, other common spaces at ground level; the basement levels including parking, storage areas, bike parking, laundry and waste rooms.

To allocate the car parking spaces to units within the building, a restrictive covenant to the satisfaction and approval of Council is to be registered on the Certificate of Title for ***the common property***.

The restriction is to be prepared for Council’s approval and shall include the following;

1. Stipulate that 1 bedroom units are not allocated more than 1 car parking space
2. Stipulate that 2 and 3 bedroom units are not allocated more than 2 car parking spaces
3. No unit shall have more than 2 car parking spaces
4. Car parking spaces are not to be transferred, leased or granted exclusive use to any person who is not the owner or occupier of a unit within Strata Plan 1731.
5. This covenant does not affect those spaces identified as visitor car parking spaces on the approved plans.
6. The covenant may only be released or varied with the written consent of Waverley Council.
7. Council’s legal costs relating to the review, preparation, registration and associated expenses of the restriction is to be paid by the owners and/or applicant.

These requirements are to be submitted for the approval of Council prior to the issue of any Occupation Certificate under the Environmental Planning and Assessment Act 1979. The restriction shall be registered on title prior to the release of a Subdivision Certificate.

## STORMWATER MANAGEMENT

Certification is to be provided from a suitably qualified professional, that the stormwater system has been designed in accordance with the Water Management Technical Guidelines. Stormwater system details are to be submitted in accordance with the Waverley Development Control Plan 2010 - Part G4 prior to the issue of a Construction Certificate. Under the current design/conditions, orifice diameter must not be more than 235mm.

## ENGINEERING DETAILS

Structural details prepared and certified by a practicing Structural Engineer being furnished to Council or Accredited Certifier in connection with all structural components prior to the issue of a Construction Certificate.

## ENGINEERING DETAILS - CERTIFICATE OF ADEQUACY

A Certificate of Adequacy prepared by a practicing Structural Engineer, certifying the adequacy of the existing building structure to carry the extra load of the proposed additions is to be provided to Council or the Accredited Certifier prior to the issue of a Construction Certificate.

## VEHICULAR ACCESS

Vehicular access and gradients of vehicle access driveway(s) within the site are to be in accordance with Australian Standard 2890.1 Parking Facilities - Off Street Car Parking with details provided on the plans prior to the issue of the Construction Certificate.

## ROOFWATER GUTTERING

All new or replacement roof guttering is to comply with the requirements of the Building Code of Australia and Australian Standard AS 3500 *Plumbing & Drainage Standards* to ensure that collected roof water does not flow back into the building.

## BASIX

The undertakings provided in the BASIX Certificate shall be provided for in the Construction Certificate plans and documentation prior to the issue of the Construction Certificate. If required, a modified BASIX Certificate shall be provided that reflects the development as approved (eg addressing any modification required via conditions of consent). Any significant works (ie any works not able to be considered as Exempt and Complying Development) that result from changes to the BASIX Certificate or conflict with conditions of consent require Council's consent.

The Principal Certifying Authority shall be responsible for ensuring that all the undertakings are satisfied prior to the issue of an Occupation Certificate.

The above condition is a prescribed condition under the Environmental Planning and Assessment Act Regulations clause 97A and the above BASIX commitments are mandatory and cannot be modified under Section 96 of the *Environmental Planning and Assessment Act 1979.*

## USE OF RENEWABLE TIMBERS

Council requires, wherever possible, the use of renewable timbers and/or plantation timbers such as Radiata Pine or Oregon as an alternative to the use of non-renewable rainforest timber products in buildings so as to help protect the existing areas of rainforest. In this regard, a schedule of proposed timber products to be used in the building is to be submitted for approval by the Principle Certifying Authority prior to the issue of the Construction Certificate. Where the applicant is to use timbers not recommended in Council's Policy, reasons are to be given why the alternative timbers recommended cannot be used.

## TREES TO BE RETAINED AND PROTECTED.

All trees to be retained on the site are to be protected by AS 4970 – 2009 Protection of trees on development sites and by the following;

1. All trees, shrubs or vegetation on the subject or neighbouring sites identified for retention and within 7.5m of the building work are to be provided with tree protection measures as described below.
2. All trees, shrubs or vegetation on the subject site are to be provided with a tree guard and a notice on each guard indicating "This tree is the subject of a Tree Preservation Order by Waverley Council or “Tree Protection Zone (TPZ), Do not remove/enter". This notice is to be in place prior to commencement of any building or demolition work and shall remain in place until all works are completed. Only trees with the approval of Council for removal may be removed from the site.
3. The trees to be retained and protected are below;

|  |  |  |  |
| --- | --- | --- | --- |
| **Tree No** | **Species** | **Location** | **Action** |
| 1 | *Phoenix canariensis* | As per the Arboricultural Impact Assessment report or the approved Landscape Plan, prepared by Earthscape Horticultural Services, author Andrew Morton, dated March 2012. | Retain and protect as per the conditions below and as per the approved landscaped plan. |
| 2 | *Ficus rubiginosa* | As above | As above |
| 3 | *Ficus rubiginosa* | As above | As above |
| 5,8,9,10,11,12,13, 18 | Various sp | As above | As above |

1. The maintenance of any designated tree protection zones shall be as per AS4970 – 2009, Section 4.6.
2. Established boundary fences or site boundary fences are to remain in place at all times to physically protect any existing trees or vegetation on neighbouring sites. If fences are to be removed and replaced this process shall be undertaken in the most minimal time possible.
3. If tree roots are exposed during this process and they are to be exposed for any more than 24 hours then a protective absorbent covering is to run the length of the exposed boundary. This covering is to be kept moist to prevent the drying out of roots.
4. Any backfilling material required due to excavation shall meet the requirements of AS 4419-2003 Soils for landscaping and garden use.
5. Soil levels are not to be changed around any trees on the subject or neighbouring properties.
6. No mechanical excavation shall be undertaken within the tree canopy spread (within the dripline) or within 2.0m from the middle of the trunk (whichever is greater) of any tree, shrub or vegetation that is protected under Waverley Council’s Tree Preservation Order.
7. If any tree roots are exposed during any approved works then roots smaller than 30mm are to be pruned as per the specifications below. Any roots greater than 30mm are to be assessed by a qualified arborist before any pruning is undertaken.
8. If tree roots are required to be removed for the purposes of constructing the approved works, they shall be cut cleanly by hand, by an experienced Arborist/Horticulturist (with a minimum of the Horticulture Certificate or Tree Surgery Certificate).
9. It is the arborist’s responsibility to determine if such root pruning is suitable. If there are any concerns regarding this process then Waverley Council’s Tree Management Officer is to be contacted to make final determination.
10. If any trees or vegetation on the subject property require pruning and are covered by Waverley Council’s Tree Preservation Order an Application to Prune or Remove Trees on Private Property is must be presented to Council for processing.
11. If any trees on neighbouring properties require pruning and are covered by Waverley Council’s Tree Preservation Order, then permission must be gained from the owner of the tree(s) and an Application to Prune or Remove Trees on Private Property is then to be presented to Council for processing.

## TREE PROTECTION PLAN

Trees to be retained and protected (including the size of the structural root zone and the Tree Protection zone) shall be clearly shown on any construction plans, or a copy of a Tree Protection Plan for the site shall be included with the construction plans.

Tree protection measures are to be installed prior to any work (including demolition). This shall be a key stage of the development and as described above Council’s Tree Management Officer shall be notified that this has occurred

## AMENDED LANDSCAPE PLAN (AMENDED DA-125/2012/A)

An amended Landscape Plan is to be provided addressing the following;

1. Be prepared at a scale of 1:100
2. Show depth and size of planting areas
3. Have a representation of a minimum of 75 % local native species in reference to both

number of species presented and number of plants planted

1. Provide details of species, planting location, pot size, height at maturity
2. Provide planting locations for replacement trees
3. Species selection for the section of the landscaping nominated in the original landscape plan No.LDA 07, Revision B, prepared by Aspect Studios, as ‘the Tamarama Gully extension’, being the area adjacent to 1 and 3 Tamarama Street, is to be amended to provide only plants that have a potential mature height of 3 metres or less, to maintain views and solar access to these properties.

***(subsection [f] inserted as per DA-125/2012/A)***

The amended landscape plan is to be submitted to and approved by the PCA prior to the issue of the Construction Certificate.

## ADJACENT RESERVE (CONDITION SATISFIED 24 MARCH 2017)

The following information is to be provided to Council’s Parks Planning Manager prior to the issue of a Construction Certificate;

1. An Arborist’s report and tree survey plan of trees within a 10m offset from the development boundary, identifying species and assessment of the health of the trees on the adjacent Tamarama Reserve. The report should also include the dimensions and height of the canopy, trunk diameter at breast height (DBH), and extent of the drip line.

The Arborist's report is to inform a tree protection plan detailing how the trees shall be protected during the demolition and construction phase. This is to include a continuous 1.8m high chain wire fence (or alternate method approved by Council Open Space Manager) installed for the duration of works.

1. The proposals shall be undertaken in accordance with and not in any way reduce the opportunity for the Actions to be implemented as set out in the Tamarama Ecological Restoration Framework and Action Plan (ERFAP). The document is to be reviewed by the applicant prior to any hoardings being erected or construction works commencing.

<http://www.waverley.nsw.gov.au/your_council/council_news/past_news/ocean_care_day_photos_list/2010_2009/rehabilitating_tamarama_gully?SQ_DESIGN_NAME=print>

## DILAPIDATION REPORT

A dilapidation report prepared by a practising Structural Engineer shall be submitted to the

Principal Certifying Authority, Council and the owners of the adjoining properties prior to the

commencement of demolition, bulk excavation or building works, detailing the current condition and the status of all buildings (both internal and external), including ancillary structures located upon the adjoining properties and buildings attached to adjoining properties (ie. In the case of a semi detached or residential flat building all dwellings within the building are to be included).

# COMPLIANCE PRIOR TO AND DURING CONSTRUCTION

## PRIOR TO SITE WORKS

The Principal Certifying Authority must be informed in writing before any site works, building or demolition commences of:

1. the name and contractor licence number of the licensee who has contracted to do, or intends to do, work ; or
2. the name and permit number of the owner/builder who intends to do the work; and
3. any change to these arrangements for doing of the work.

## HOME BUILDING ACT

The builder or person who does the residential building work shall comply with the applicable requirements of Part 6 of the Home and Building Act, 1989. In this regard a person must not contract to do any residential building work unless a contract of insurance that complies with this Act is in force in relation to the proposed work. It is the responsibility of the builder or person who is to do the work to satisfy the Principal Certifying Authority that they have complied with the applicant requirements of Part 6, before any work commences.

## CONSTRUCTION SIGNS

Prior to commencement of any works on the site and during construction a sign shall be erected on the main frontage of the site detailing the name, address and contact details (including a telephone number) of the Principal Certifying Authority and principal contractor (the coordinator of the building works). The sign shall be clearly legible from the adjoining street/public areas and maintained throughout the building works.

## EXCAVATION AND BACKFILLING

All excavations and backfilling associated with the erection or demolition of a building must be executed safely and in accordance with the appropriate professional standards and must be properly guarded and protected to prevent them from being dangerous to life or property.

## EXCAVATION BELOW FOOTINGS

If an excavation associated with the erection or demolition of a building extends below the level of the footings of a building on an adjoining allotment of land, the person causing the excavation to be made, at their own expense, must:

1. preserve and protect the building from damage; and
2. if necessary, must underpin and support the building in an approved manner; and
3. must, at least seven days before excavating below the level of the base of the footings of a building on an adjoining allotment of land, give notice of intention to do so to the owner of the adjoining allotment of land and furnish particulars of the excavation to the owner of the building being erected or demolished.

## OBSTRUCTION TO PUBLIC AREAS

If a public place or pedestrian vehicular traffic may be obstructed because of the carrying out of work involved in the erection or demolition of a building; or a public place is required to be enclosed in connection with the erection or demolition of a building; then:

1. a hoarding fence must be erected between the building site and the public place of the proposed building and the public place. If necessary, an awning sufficient to prevent any substance from, or in connection with, the work falling into the public place, is also to be erected;
2. the work is to be kept lit during the time between sunset and sunrise if the work may be of a sort of danger to persons using the public place; and
3. a hoarding, fence or awning is to be removed when it is no longer required for the purpose it was provided.

## TOILET FACILITIES

Toilet facilities shall be provided on the work site in accordance with the requirements of Sydney Water.

## NO USE OF ORGANOCHLORIN PESTICIDES

The use of organochlorin pesticides as termite barriers in new development is prohibited pursuant to Council Policy. Only physical barriers are to be used for termite control. The building shall comply with Australian Standard 3660: Protection of building from subterranean termites - prevention, detection and treatment of infestation.

## DEMOLITION OR ALTERATION OF PRE 1987 BUILDINGS

At least five (5) days prior to the demolition, renovation work or alterations and additions to any building constructed before 1987, the person acting on the consent shall submit a Work Plan prepared in accordance with Australian Standard AS260-2001, Demolition of Structure and a Hazardous Materials Assessment by a person with suitable expertise and experience. The Work Plan and Hazardous Materials Assessment shall:

(a) outline the identification of any hazardous materials, including surfaces coated with lead paint;

(b) confirm that no asbestos products are present on the subject land; or

(c) particularise a method of safely disposing of the asbestos in accordance with the Code of Practice for the Safe Removal of Asbestos NOHSC 2002 (1998);

(d) describe the method of demolition;

(e) describe the precautions to be employed to minimise any dust nuisance; and

(f) describe the disposal methods for hazardous materials.

## DEMOLITION & SITE PREPARATION

Hazardous or intractable wastes arising from the demolition process being removed and disposed of in accordance with the requirements NSW WorkCover Authority and the NSW Environment Protection Authority (EPA), and with the provisions of:

1. Work Health & Safety Act 2011;
2. Work Health & Safety Regulation 2011;
3. Protection of the Environment Operations Act 1997 (NSW) and
4. NSW EPA Waste Classification Guidelines 2009.

## COMPLIANCE WITH WORKCOVER NSW REQUIREMENTS

All site works complying with the occupational health and safety requirements of WorkCover NSW.

## SOIL AND WATER MANAGEMENT PLAN

A Soil and Water Management Plan (also known as an Erosion and Sediment Control Plan) shall be prepared according to SSROC's Soil and Water Management Brochure and the NSW Environment Protection Authority (EPA) Managing Urban Stormwater: Soils and Construction. The plan should include methodology to prevent any building materials to be dumped into/or be washed into the adjoining reserve. This Plan shall be implemented prior to commencement of any works or activities. All controls in the Plan shall be maintained at all time. A copy of the Soil and Water Management Plan must be kept on site at all times and made available to Council officers on request.

## STOCKPILES

Stockpiles of topsoil, sand, aggregate, soil or other material shall not be located on any drainage line or easement, natural watercourse, footpath or roadway and shall be protected with adequate sediment controls.

## LOCATION OF BUILDING OPERATIONS

Building operations such as brick cutting, washing tools or brushes and mixing mortar are not permitted on public roadways or footpaths or in any locations which could lead to the discharge of materials into the stormwater drainage system.

## TEMPORARY DIVERSION OF ROOF WATERS

Stormwater from roof areas shall be linked via a temporary downpipe to Council's stormwater system immediately after completion of the roof area. Inspection of the building frame will not occur until this is completed.

## ALL BUILDING MATERIALS STORED ON SITE

All building materials and any other items associated with the development are to be stored within the confines of the property. No materials are to be stored on Council's footpath, nature strip, or road reserve without prior Council approval.

## CONSTRUCTION HOURS

Demolition and building work must only be undertaken between the hours of 7am and 5pm on Mondays to Fridays and 8am to 3pm on Saturdays with no work to be carried out on:

1. The Saturday (except minor renovation or refurbishment to a single dwelling construction) and
2. Sunday which form part of public holiday weekends;
3. Sundays and public holidays; and
4. On the Saturday (except minor renovation or refurbishment to a single dwelling construction) and Sunday which immediately precede or follow industry Rostered Days Off, as agreed by the CFMEU and the Master Builders Association of NSW.

Noise from construction activities shall comply with the Protection of the Environmental Operations (Noise Control) Regulation 2000.

## USE OF HEAVY EARTH MOVEMENT EQUIPMENT

Excavation works involving the use of heavy earth movement equipment including rock breakers and the like must only be undertaken between the hours of 7am and 5pm on Mondays to Fridays with no such work to be carried out on Saturday, Sunday or a public holiday.

## CONSTRUCTION NOISE - PERIODS GREATER THAN 4 WEEKS

The LA10 level measured over a period of not less than 15 minutes when the construction site is in operation must not exceed the background (LA90) noise level by more than 10dB(A) when assessed at any sensitive noise receiver.

## BUILDING CODE OF AUSTRALIA

All building work must be carried out in accordance with the requirements of the Building Code of Australia.

## QUALITY OF CONSTRUCTION ACT - INSPECTIONS (RESIDENTIAL FLAT DEVELOPMENT AND OTHER RESIDENTIAL CLASS 2, 3 AND 4)

The building works are to be inspected during construction by the Principal Certifying Authority (PCA) and in accordance with the Building Legislation (Quality of Construction) Act 2002 and the Environmental Planning and Assessment Regulations. Also, documentary evidence of compliance with the relevant terms of conditions of development consent and standards of construction detailed in the Building Code of Australia is to be obtained prior to proceeding to the subsequent stages of construction and/or issue of an Occupation Certification.

**MANDATORY** Critical Stage Inspections **MUST** be carried out by the PCA for work undertaken during specified stages of construction and prior to issuing an Occupation Certificate.

The specified **MANDATORY** inspections are:

In the case of a Class 2, 3 and 4 building:

1. at the commencement of the building work;
2. prior to covering of waterproofing in any wet area for a minimum of 10% of rooms with wet area within a building;
3. prior to covering any stormwater drainage connections; and
4. after the building work has been completed and prior to any Occupation Certificate being issued in relation to the building.

The following additional inspections are required to be undertaken by the PCA:

1. sediment control measures prior to the commencement of building work;
2. foundation material prior to undertaking building work;
3. shoring of excavation works, retaining walls, piers, piling or underpinning works;
4. steel reinforcement, prior to pouring concrete;
5. prior to covering timber or steel framework for floors, walls and roofing, including beams and columns;
6. prior to installation of fire resisting construction systems (ie fire rated ceilings and walls).

Note: Certification may be required from a suitably qualified person, in relation to specialist matters, verifying that particular works satisfy the relevant requirements of the Building Code of Australia and standards of construction.

## CERTIFICATE OF SURVEY - BOUNDARIES AND LOCATION OF BUILDING

A Certificate of Survey prepared by a Registered Surveyor setting out the boundaries of the site and the actual situation of the building on the site is to be submitted to the Principal Certifying Authority to certify the building is located in accordance with the development consent plans. The Certificate is to be submitted prior to the construction of the external walls above the ground floor level of the building.

## CERTIFICATE OF SURVEY - LEVELS

All construction works shall be strictly in accordance with the Reduced Levels (RLs) as shown on the approved plans. Certification from a Registered Surveyor certifying ground, upper floor/s and finished ridge levels is to be submitted to the Principal Certifying Authority during construction and prior to continuing to a higher level of the building.

## EXCAVATION TO BE MANAGED BY STRUCTURAL ENGINEER

Bulk excavation is to be managed by a practising structural engineer, in accordance with the specification for shoring and support, as detailed in the approved Construction Certificate.

## ARBORICULTURAL CONSULTANT

A qualified Arboricultural Consultant with a minimum Level 5 qualification (AQF) or the equivalent shall be retained for the duration of the demolition and construction of the development.

The consultant shall be engaged to provide a Tree protection Plan and drawing for the trees to be retained on the subject and neighbouring sites. This plan shall be written in reference to AS4970 – 209, Protection of Trees on development sites and the minimum standards provided below.

In addition, the Consulting arborist is to identify key stages where monitoring and certification will be required as outlined in AS 4970 – 2009, Section 5. A schedule outlining these stages is to be submitted to the Principal Certifying Authority prior to the issue of the Construction Certificate. A written account of the satisfactory completion of each of these stages as assessed by the consulting arborist is to be reported to Council.

The Tree Protection Plan and drawing is to be submitted to the Principal Certifying Authority prior to the issue of the Construction Certificate.

## TREE REMOVAL AND REPLACEMENT

The following trees are permitted to be removed and replaced;

|  |  |  |  |
| --- | --- | --- | --- |
| **Tree No** | **Species** | **Location** |  **Action** |
| 4, 6, 7, 14, 15, 16, 17, 19 | Various sp | As per the Arboricultural Impact Assessment report, prepared by Earthscape Horticultural Services, author Andrew Morton, dated March 2012. |  Remove and replace |

1. In line with Council’s policy to maintain and increase tree cover in the Council area, all trees where consent has been given to remove are to be replaced with a local native tree of minimum container size of 75 litres and shall be maintained until they attain a mature height of at least four (4) metres, or whereby they will be protected by Council’s Tree Preservation Order.
2. Any replacement tree is to be planted a minimum of 1.0 metres from any boundary, structure or underground services.
3. Trees shall not be tied to stakes unless support is essential. All advanced trees are to be planted in holes at least 450mm square and 450mm deep, containing good quality soil and humus. In lawn areas, grass is too kept back for a radius of at least 450mm from stems and trunks, a depression should be formed for the collection of water and the area mulched.
4. Woodchip mulch is to be installed to a depth of 75-90mm to all mass planted garden areas and around the base of trees in lawn areas. The mulch should be kept at least 50mm away from plant stems to reduce the risk of collar rot.
5. The replacement local native trees to be planted shall be maintained in a healthy and vigorous condition until they attain a height of 4.0 metres whereby they will be protected by Council’s Tree Preservation Order.
6. If the replacement trees are found to be faulty, damaged, dying or dead before being protected by Council’s Tree Preservation Order the tree/s shall be replaced with the same species at no cost to Council.

## VEHICULAR ACCESS - FINISHED LEVEL

The finished level at the property boundary on **both** sides of the vehicle crossing is to match the level of the existing concrete footpath.

**61A. aboriginal cultural heritage study**

This site is located adjoining land identified as ‘High Sensitivity’ as defined in Council’s Aboriginal Cultural Heritage Study 2009 and the Waverley Development Control Plan 2012. Should an object of potential Aboriginal or archaeological significance be discovered during the demolition, excavation or construction period associated with this development, works are to immediately cease and the NSW National Parks and Wildlife Service must be contacted. Works may resume on the site pending receipt of express written permission from the NSW National Parks and Wildlife Service. Waverley Council must be notified of any referral to the NSW National Parks and Wildlife Service and be provided with a copy of any subsequent response.

# COMPLIANCE PRIOR TO OCCUPATION OR DURING OCCUPATION

## FINAL OCCUPATION CERTIFICATE

The Principal Certifying Authority prior to occupation or use of the development must issue a final Occupation Certificate. In issuing an Occupation Certificate, the Principal Certifying Authority must be satisfied that the requirements of Section 109H of the Environmental Planning & Assessment Act, 1979 have been satisfied.

## SYDNEY WATER

A Section 73 Compliance Certificate under the Sydney Water Act 1994 must be obtained. **Application must be made through an authorised Water Servicing Coordinator, for details see the Sydney Water website** www.sydneywater.com.au\customer\urban\index or **telephone 13 20 92**.

Following application a "Notice of Requirements" will be forwarded detailing water and sewer extensions to be built and charges to be paid. Please make early contact **with the Coordinator**, since building of water/sewer extensions can be time consuming and may impact on other services and building, driveway or landscape design.

The Section 73 Certificate must be submitted to the Principal Certifying Authority prior to release of the subdivision plan/occupation of the development.

## FIRE SAFETY UPGRADE WORKS

Prior to the issue of an Occupation Certificate by the accredited certifier, all fire safety upgrading works relevant to the area being occupied are to be completed and a Fire Safety Certificate is to be submitted to Council, certifying that each required essential fire safety measure;

1. has been assessed by a properly qualified person; and
2. has been found, when it was assessed, to be capable of performing to at least the standard required by the current Fire Safety Schedule for the building for which the Certificate is issued.

***AMENDED DA-(125/2012/C)***

## SUBDIVISION

A Subdivision Certificate must be obtained from Council in accordance with Section 109C(d) of the Environmental Planning and Assessment Act, 1979 prior to the registration of the subdivision plans.

## LANDSCAPE PLAN

The site is to be landscaped and turfed in accordance with the approved landscaped plan with the landscape works completed prior to the issue of the Occupation Certificate.

## LIGHTING

Any lighting on the site shall be designed so as not to cause nuisance to other residences in the area or to motorists on nearby roads and to ensure no adverse impact on the amenity of the surrounding area by light overspill. All lighting shall comply with the *Australian Standard AS 4282:1997 Control of the Obtrusive Effects of Outdoor Lighting*.

## TACTILE NUMBER IN LIFT

The applicant is advised that with regard to the provision of the lift in the building, it will be necessary for tactile numbers to be placed on each level of the building and within the lift to assist visually impaired people.

## RESIDENT AND VISITOR PARKING SPACES (ADDED DA-125/2012/A)

All resident and visitor car parking spaces shall be clearly delineated and numbered.