## A.	Conditions that Identify Approved Plans

# Development in Accordance with Plans/Documentation 	A1

- The development must be carried out in accordance with the following drawings endorsed with Council’s approval stamp and other documentation listed in the table to this clause, or cited by other conditions, and as amended by other conditions of this consent.

| Plan No. | Rev. | Description | Prepared by | Dated |
| --- | --- | --- | --- | --- |
| DA-00-1000 | B | Demolition Plan | PTW Architects | 10.2023 |
| DA-00-1002 | B | Site Plan | PTW Architects | 10.2023 |
| DA-10-0800 | B | Level B06 Plan | PTW Architects | 10.2023 |
| DA-10-0801 | B | Level B05 Plan | PTW Architects | 10.2023 |
| DA-10-0802 | B | Level B04 Plan | PTW Architects | 10.2023 |
| DA-10-0803 | B | Level B03 Plan | PTW Architects | 10.2023 |
| DA-10-0804 | C | Level B02 Plan | PTW Architects | 01.2024 |
| DA-10-0900 | D | Level B01 Plan | PTW Architects | 02.2024 |
| DA-10-1000 | D | Ground Floor Plan | PTW Architects | 02.2024 |
| DA-10-1100 | C | Level 01 Plan | PTW Architects | 02.2024 |
| DA-10-1200 | C | Level 02 Plan | PTW Architects | 02.2024 |
| DA-10-1204 | C | Level_L03-05 Plan | PTW Architects | 02.2024 |
| DA-10-1300 | B | Level 06 Plan | PTW Architects | 02.2024 |
| DA-10-2000 | B | Level 07-18 Plan | PTW Architects | 10.2023 |
| DA-10-2001 | B | Level 19-36 Plan | PTW Architects | 10.2023 |
| DA-10-2020 | B | Level 37 Plan | PTW Architects | 10.2023 |
| DA-10-2030 | B | Level 38 Plan | PTW Architects | 10.2023 |
| DA-10-3000 | B | Roof Plan | PTW Architects | 10.2023 |
| DA-20-1000 | C | Elevations-1 | PTW Architects | 02.2024 |
| DA-20-1001 | C | Elevations-2 | PTW Architects | 02.2024 |
| DA-20-1002 | C | Elevations – Awning 1 | PTW Architects | 02.2024 |
| DA-20-1003 | C | Elevations – Awning 2 | PTW Architects | 02.2024 |
| DA-30-1000 | B | Section 1 & 2 | PTW Architects | 10.2023 |
| DA-30-1001 | B | Ramp Section | PTW Architects | 10.2023 |
| DA-50-1000 | B | Adaptable/Silver Liveable Units | PTW Architects | 10.2023 |
| DA-50-4000 | B | External Finishes | PTW Architects | 10.2023 |
| DA 23 of 55 | F | Ground Plan | RPS | 09/10/2023 |
| DA 24 of 55 | F | Tree Retention | RPS | 09/10/2023 |
| DA 27 of 55 | F | 3.6 Level 6 Plan | RPS | 09/10/2023 |
| DA 28 of 55 | F | 3.7 Typical Sky Garden Plan Levels 07-18 | RPS | 09/10/2023 |
| DA 29 of 55 | F | 3.8 Typical Sky Garden Plan Levels 19-36 | RPS | 09/10/2023 |
| DA 30 of 55 | F | 3.9 Typical Sky Garden Plan Levels 37 | RPS | 09/10/2023 |
| DA 32 of 55 | F | 3.10 Section | RPS | 09/10/2023 |
| DA 33 of 55 | F | 3.11 Section | RPS | 09/10/2023 |
| DA 34 of 55 | F | 3.12 Section | RPS | 09/10/2023 |
| DA 35 of 55 | F | 3.13 Section | RPS | 09/10/2023 |
| DA 36 of 55 | F | 3.14 Section | RPS | 09/10/2023 |
| DA 37 of 55 | F | 3.15 Section | RPS | 09/10/2023 |
| DA 42 of 55 | G | Ground Floor Soil Depth Plan | RPS | 28/11/2023 |
| DA 43 of 55 | G | Level 6 Soil Depth Plan | RPS | 28/11/2023 |
| DA 44 of 55 | G | Typical Levels 07-18 Soil Depth Plan Typical Levels 19-36 Soil Depth Plan Typical Levels 37 Soil Depth Plan | RPS | 28/11/2023 |
| DA 45 of 55 | G | Ground floor Planting List | RPS | 28/11/2023 |
| DA 47 of 55 | G | Level 6 Planting List | RPS | 28/11/2023 |
| 21-909-DAC002 | A | General Notes & Legend | AT&L | 24.10.2022 |
| 21-909-DAC003 | A | General Arrangement Plan | AT&L | 24.10.2022 |
| 21-909-DAC004 | A | Typical Sections Sheet 1 | AT&L | 24.10.2022 |
| 21-909-DAC005 | A | Typical Sections Sheet 2 | AT&L | 24.10.2022 |
| 21-909-DAC050 | A | Alignment Control Plan | AT&L | 24.10.2022 |
| 21-909-DAC101 | A | Siteworks and Stormwater Drainage Plan Sheet 1 | AT&L | 24.10.2022 |
| 21-909-DAC102 | A | Siteworks and Stormwater Drainage Plan Sheet 2 | AT&L | 24.10.2022 |
| 21-909-DAC510 | A | Stormwater Details | AT&L | 24.10.2022 |
| 21-909-DAC530 | A | Water Quality Chamber and Rainwater Tank Plan and Sections | AT&L | 24.10.2022 |

(Reason:	To ensure that the form of the development undertaken is in accordance with the determination of Council, Public Information)

# Plans on Site	A3

- A copy of all plans endorsed with Council’s approval stamp, specifications and documents (including the plans, specifications and documents submitted and approved with the relevant Construction Certificates) must be kept on site at all times so as to be readily available for perusal by any officer of Council or the Principal Certifier.

- All documents kept on site in accordance with this condition must be provided to any officer of the Council or the Principal Certifier upon their request.

(Reason:	To ensure that the form of the development undertaken is in accordance with the determination of Council, Public Information and to ensure ongoing compliance)

# External Finishes and Materials	A5

- External finishes and materials must be in accordance with the submitted schedule dated 10.2023, prepared by PTW Architects, unless otherwise modified by Council in writing.  Substitution of materials must not be undertaken, except where otherwise approved in writing by Council

(Reason:	To ensure that the form of the development undertaken is in accordance with the determination of Council, Public Information)

## C.	Prior to the Issue of a Construction Certificate (and ongoing, where indicated)

# Dilapidation Report Damage to Public Infrastructure	C1

- A dilapidation survey and report (including photographic record) must be prepared by a suitably qualified consultant which details the predeveloped condition of the existing public infrastructure in the vicinity of the development site.  Particular attention must be paid to accurately recording any pre-developed damaged areas so that Council is fully informed when assessing any damage to public infrastructure caused as a result of the development.  A copy of the dilapidation survey and report is to be submitted to the Principal Certifier for approval prior to the issue of any Construction Certificate.

- The developer may be held liable for all damage to public infrastructure in the vicinity of the site, where such damage is not accurately recorded and demonstrated as pre-existing under the requirements of this condition.

The developer shall bear the cost of carrying out works to restore all public infrastructure damaged as a result of the carrying out of the development, and no occupation of the development shall occur until damage caused as a result of the carrying out of the development is rectified.

A copy of the dilapidation survey and report must be lodged with North Sydney Council by the Principal Certifier with submission of the Construction Certificate documentation.

(Reason:	To record the condition of public infrastructure prior to the commencement of construction)

# Dilapidation Report Private Property (Excavation)	C2

- A full dilapidation survey and report on the visible and structural condition of all neighbouring structures within the ‘zone of influence’ of the required excavations must be submitted to the Principal Certifier for approval prior to the issue of any Construction Certificate.  The zone of influence is to be defined as the horizontal distance from the edge of the excavation face to twice the excavation depth.

- The dilapidation report and survey are to be prepared by a consulting structural/ geotechnical engineer and a copy to be given to the owner of any affected adjoining property.

All costs incurred in achieving compliance with this condition shall be borne by the person entitled to act on this Consent.

In the event that access for undertaking the dilapidation survey is denied by an adjoining owner, the applicant MUST DEMONSTRATE, in writing, to the satisfaction of Council that all reasonable steps have been taken to obtain access and advise the affected property owner of the reason for the survey and that these steps have failed.  Written concurrence must be obtained from Council in such circumstances.

Note:	This documentation is for record keeping purposes only and may be used by the developer or affected property owners to assist in any action required to resolve dispute(s) over damage to adjoining properties arising from the works.  It is in the applicant’s and adjoining owner’s interest for it to be as full and detailed as possible.

(Reason:	To record the condition of property/ies prior to the commencement of construction)

# Construction Management Program - North Sydney Council Traffic Division Approval	B2

- A Construction Management Program prepared by a suitably qualified and experienced traffic consultant must be submitted and approved in writing by North Sydney Council’s Traffic Division PRIOR TO THE ISSUE OF ANY Construction Certificate.  Any use of Council property will require appropriate approvals prior to any work commencing.  At a minimum, the Construction Management Program must specifically address the following matters:

- A plan view (min 1:100 scale) of the entire site and frontage roadways indicating:

- Dedicated temporary construction site driveway entrances and exits, controlled by a certified traffic controller, to safely manage pedestrians and construction related vehicles in the frontage roadways and footways;

- The proposed signage for pedestrian management to comply with the relevant Australian Standards, including pram ramps;

- Turning areas within the site for construction and spoil removal vehicles, allowing a forward egress for all construction vehicles on the site;

- The locations of any proposed Work Zones in the frontage roadways (to be approved by Council’s Traffic Committee);

- Locations of hoardings proposed;

- Location of any proposed crane standing areas;

- A dedicated unloading and loading point within the site for all construction vehicles, plant and deliveries;

- Material, plant and spoil bin storage areas within the site, where all materials are to be dropped off and collected; and

- The provision of an on-site parking area for employees, tradesperson and construction vehicles as far as possible.

- A detailed heavy vehicle access route map through the Council area to Arterial Roads.  Provision is to be made to ensure through traffic is maintained at all times.

- The proposed phases of works on the site, and the expected duration of each phase.

- How access to neighbouring properties will be maintained at all times and the proposed manner in which adjoining property owners will be kept advised of the timeframes for completion of each phase of process.

- The road is not to be used as a waiting area for trucks delivering to or awaiting pick up of materials.

- The proposed method of support to any excavation adjacent to adjoining properties, or the road reserve.  The proposed method of support is to be designed and certified by an appropriately qualified and practising structural engineer and must not involve any permanent or temporary encroachment onto Council’s property.

- Proposed protection for Council and adjoining properties.  Details are to include site fencing and the provision of “B” class hoardings over footpaths and laneways.

- A Waste Management Plan.  The Waste Management Plan must include, but not be limited to, the estimated volume of waste and method of disposal for the construction and operation phases of the development, design of on-site waste storage and recycling area and administrative arrangements for waste and recycling management during the construction process.

All traffic control work and excavation, demolition and construction activities must be undertaken in accordance with the approved Construction Management Program and any conditions attached to the approved Program.  A certificate of compliance with this condition must be obtained from Council’s Traffic and Transport engineers.

The certificate and the approved Construction Management Program must be submitted as part of the documentation lodged with the application for approval of a construction certificate.

A copy of the approved Construction Management Program and any conditions imposed on that Program, must be kept on the site at all times and made available to any officer of Council upon request.

Notes:

- North Sydney Council’s adopted fee for certification of compliance with this condition shall be payable on lodgement, or in any event, prior to the issue of the relevant approval.

- Any use of Council property will require appropriate approvals and demonstration of liability insurances prior to such work commencing.

- Failure to provide complete and detailed information may result in delays. It is recommended that your Construction Management Plan be lodged with Council as early as possible, as a minimum six (6) weeks assessment period is required.

- Dependent on the circumstances of the site, Council may request additional information to that detailed above.

(Reason:	To ensure appropriate measures have been considered for site access, storage and the operation of the site during all phases of the demolition process in a manner that respects adjoining owner’s property rights and residential amenity in the locality, without unreasonable inconvenience to the community)

# Geotechnical Report	C9

- Prior to issue of any Construction Certificate a Geotechnical/Civil Engineering report must be prepared which addresses at a minimum (but is not limited to) the following:

- the type and extent of substrata formations by the provision of a minimum of four (4) representative bore hole logs which are to provide a full description of all material from ground surface to 1.0m below the finished basement floor level and include the location and description of any anomalies encountered in the profile.  The surface and depth of the bore hole logs must be related to Australian Height Datum;

- the appropriate means of excavation/shoring in light of point (a) above and proximity to adjacent property and structures. Potential vibration caused by method of excavation and potential settlements affecting nearby footings/foundations must be discussed and mechanisms to ameliorate any such impacts recommended;

- the proposed method to temporarily and permanently support the excavation for the basement adjacent to adjoining property, structures and road reserve if nearby (full support must be provided within the subject site);

- the existing groundwater levels in relation to the basement structure, where influenced;

- the drawdown effects on adjacent properties (including road reserve), if any, the basement excavation will have on groundwater together with the appropriate construction methods to be utilised in controlling groundwater. Where it is considered there is the potential for the development to create a “dam” for natural groundwater flows, a groundwater drainage system must be designed to transfer groundwater through or under the proposed development without a change in the range of the natural groundwater level fluctuations.  Where an impediment to the natural flow path is constructed, artificial drains such as perimeter drains and through drainage may be utilised; and

- recommendations to allow the satisfactory implementation of the works. An implementation program is to be prepared along with a suitable monitoring program including control levels for vibration, shoring support, ground level and groundwater level movements during construction. The implementation program is to nominate suitable hold points at the various stages of the works for verification of the design intent before sign-off and before proceeding with subsequent stages.

The geotechnical report must be prepared by an appropriately qualified consulting geotechnical/ hydrogeological engineer with previous experience in such investigations and reporting.

It is the responsibility of the consulting geotechnical/ hydrological specialist to undertake the appropriate investigations, reporting and specialist recommendations to ensure a reasonable level of protection to adjacent property and structures both during and after construction.  The report must contain site-specific geotechnical recommendations and shall specify the necessary hold/inspection points by relevant professionals as appropriate.

The design principles for the geotechnical report are as follows:

- no ground settlement or movement is to be induced which is sufficient enough to cause an adverse impact to adjoining property and/or infrastructure;

- no changes to the ground water level are to occur as a result of the development that are sufficient enough to cause an adverse impact to the surrounding property and infrastructure;

- no changes to the ground water level are to occur during the construction of the development that are sufficient enough to cause an adverse impact to the surrounding property and infrastructure;

- vibration is to be minimised or eliminated to ensure no adverse impact on the surrounding property and infrastructure occurs, as a result of the construction of the development;

- appropriate support and retention systems are to be recommended and suitable designs prepared to allow the proposed development to comply with these Design Principles; and

- an adverse impact can be assumed to be crack damage as identified within the relevant Australian Standard for determining such damage.

The report, satisfying the requirements of this condition, must be submitted to the Principal Certifier for approval prior to the issue of any Construction Certificate.

The professional recommendations, implementation program, monitoring program, mitigation measures and the like contained in the report must be implemented in full during the relevant stages of excavation and construction.

(Reason:	To ensure the structural integrity of the subject site and adjoining sites during the excavation process)

# Sediment Control	C10

- Where construction or excavation activity requires the disturbance of the soil surface or existing vegetation, erosion and sediment control techniques, as a minimum, are to be in accordance with the publication Managing Urban Stormwater: Soils and Construction (4th Edition, Landcom, 2004) commonly referred to as the “Blue Book” or a suitable and effective alternative method.

- An Erosion and Sediment Control Plan must be prepared and submitted to the Principal Certifier for approval prior to the issue of any Construction Certificate and prior to any works commencing. The Erosion and Sediment Control Plan must be consistent with the Blue Book and disclose:

- All details of drainage to protect and drain the site during the construction processes;

- All sediment control devices, barriers and the like;

- Sedimentation tanks, ponds or the like;

- Covering materials and methods; and

- A schedule and programme of the sequence of the sediment and erosion control works or devices to be installed and maintained.

- Methods for the temporary and controlled disposal of stormwater during construction.

All works must be undertaken in accordance with the approved Sediment Control plan.

The Principal Certifier must ensure that the building plans and specifications submitted, referenced on and accompanying the issued Construction Certificate, fully satisfy the requirements of this condition.

(Reason:	To protect the environment from the effects of sedimentation and erosion from development sites)

# Waste Management Plan 	C11

- A Waste Management Plan is to be submitted for approval by the Principal Certifier prior to the issue of any Construction Certificate.  The plan must include, but not be limited to:

  - The estimated volume of waste and method of disposal for the construction and operation phases of the development;

  - The design of the on-site waste storage and recycling area; and

  - Administrative arrangements for waste and recycling management during the construction process.

The approved Waste Management Plan must be complied with at all times in the carrying out of the development.

(Reason:	To encourage the minimisation of waste and recycling of building waste)

# Reflectivity Glazing	C19

- The glazing for windows, walls or roof finishes of the approved development must be factory pre-finished with low glare and reflectivity properties. Plans and specifications which comply with this condition must be submitted to the Principal Certifier for approval prior to the issue of the relevant Construction Certificate for footings, jump steel and basement construction. The Principal Certifier must ensure that the building plans and specifications submitted, referenced on and accompanying the issued Construction Certificate, fully satisfy the requirements of this condition.

Note:	The reflectivity index of glazing elements can be obtained from glazing manufacturers. Glass with mirrored or reflective foil finishes is unlikely to achieve compliance with this requirement.

(Reason:	To ensure that excessive glare or reflectivity nuisance from glazing does not occur as a result of the development)

# No External Service Ducts 	C21

- Service ducts must be provided within the building to keep external walls free of plumbing, drainage or any other utility installations. Plans and specifications which comply with this condition must be submitted to the Principal Certifier for approval prior to the issue of the relevant Construction Certificate for basement demolition, site excavation, anchoring/shoring and in-ground services.  The Principal Certifier must ensure that the building plans and specifications submitted, referenced on and accompanying the issued Construction Certificate, fully satisfy the requirements of this condition.

- (Reason:	To ensure quality built form of the development)

# Work Zone	C23

- If a Work Zone is required a Work Zone permit is  to be obtained from Council prior to the issue of any Construction Certificate.

Note:	For major development an application for work zone permit must be considered by the North Sydney Local Traffic Committee.

- Work Zones are provided specifically for the set down and pick up of materials and not for the parking of private vehicles associated with the site. Works Zones will generally not be approved where there is sufficient space on-site for the setting down and picking up of goods being taken to or from a construction site.  If the Works Zone is approved by the Committee, the Applicant must obtain a written copy of the related resolution from the North Sydney Local Traffic Committee and submit a copy of this to the Principal Certifier to enable issue of the Construction Certificate.

- Where approval of the ‘Work Zone’ is given by the Committee, the requirements of the Committee, including installation of the necessary ‘Work Zone’ signage and payment of any fees, must occur prior to commencement of any works on the site.  Further, at the expiration of the Work Zone approval, the developer is required to remove the Work Zone signs and reinstate any previous signs, all at the developer's cost. The requirements imposed by the Committee on the Work Zone permit (or permits) must be complied with at all times.

- (Reason: 	Amenity and convenience during construction)

# Maintain Property Boundary Alignment Levels	C24

- Except where otherwise approved by Council, the property boundary alignment levels must match the levels which existed prior to the commencement of works. Plans and specifications which document existing and proposed levels adjacent to the site boundaries and which comply with the requirements of this condition must be submitted to the Principal Certifier for approval prior to the issue of any Construction Certificate.

- The Principal Certifier must ensure that the building plans and specifications submitted, referenced on and accompanying the issued Construction Certificate, fully satisfy the requirements of this condition.

(Reason: 	To ensure interface between property and public land remains uniform)

# Parking Meter Relocation	C25

- All costs associated with relocating the metered parking including all sign changes, parking bay line markings must be paid in full to North Sydney Council prior to issue of any Construction Certificate.

The Principal Certifier must ensure that the specifications submitted, accompanying the issued Construction Certificate, fully satisfy this condition.

(Reason:	To ensure the proper management of public land and funds)

# Bicycle Storage and Parking	C26

- The bicycle storage area must accommodate a minimum of 259 bicycles, and a visitor parking bicycle rail shall be provided. The bicycle storage lockers and bicycle rail shall be designed in accordance with the applicable Australian Standards. Plans and specifications which comply with this condition must be submitted to the Principal Certifier for approval prior to the issue of the relevant Construction Certificate for basement demolition, site excavation, anchoring/shoring and in-ground services. The Principal Certifier must ensure that the building plans and specifications, referenced on and accompanying the issued Construction Certificate, fully satisfy the requirements of this condition.

(Reason:	To promote and provide facilities for alternative forms of transport)

# Staff Shower and Change Facilities (Commercial and Mixed-use)	C27

- Shower and change facilities shall be provided and made accessible without charge to staff who work in the building. Plans and specifications which comply with this condition must be submitted to the Principal Certifier for approval prior to the issue of the relevant Construction Certificate for basement demolition, site excavation, anchoring/shoring and in-ground services.  The Principal Certifier must ensure that the building plans and specifications submitted, referenced on and accompanying the issued Construction Certificate, fully satisfy the requirements of this condition.

(Reason:	To promote and provide facilities for alternative forms of transport)

# Accessible Parking Spaces to be Provided	C28

- A total of 38 accessible parking spaces shall be provided as part of the total car-parking requirements.  Consideration must be given to the means of access from the car-parking spaces to adjacent buildings, to other areas within the building and to footpath and roads.  All details shall be prepared in consideration of, and construction completed in accordance with applicable Australian Standards to achieve compliance with the Disability Discrimination Act. Plans and specifications which comply with this condition must be submitted to the Principal Certifier for approval prior to the issue of the relevant Construction Certificate for basement demolition, site excavation, anchoring/shoring and in-ground services.

(Reason:	To ensure equity of access and appropriate facilities are available for people with disabilities in accordance with Federal legislation)

# Basement Car Park to Comply with Relevant Standards	C29

- The basement layout must comply with all requirements of Australian Standard AS2890.1.  Certification from a suitably qualified and practicing Civil Engineer that the basement design will comply with the requirements of the Australian Standard must be provided to the Principal Certifier for approval prior to issue of the relevant Construction Certificate for basement demolition, site excavation, anchoring/shoring and in-ground services.

(Reason:	To ensure the basement layout complies with relevant standards)

# Required Infrastructure Works - Roads Act 1993	C30

- Prior to issue of the relevant Construction Certificate for footings, jump steel and basement construction, engineering design plans and specifications must be prepared by a qualified civil design engineer. The plans and specifications must be to a detail suitable for construction issue purposes and must provide detail and specification for the following infrastructure works to be completed as part of the development.

- To obtain the permit, an application must be made to Council on a ‘Application to satisfy development consent’ form with payment of the adopted assessment/inspection fees. The responsibility for accuracy of the design fully rests with the designing engineer. All responsibility on implementation and supervision of works specified on design plans fully rests on designing engineer or whoever is chosen to be applicant’s engineering representative:

- Road Works

- All civil works within the easement in Sergeants Lane is to be designed and constructed in accordance with Council’s current version of the Public Domain Style Manual (PDSM) for Special Areas: St Leonards.

- construction of a fully new replacement footpath is required across the entire southern site frontage in Sergeants Lane. The footpath shall be designed (at a single straight grade of 3% falling to the top of kerb) so that it is uniform without showing signs of dipping or rising particularly at entrances. A longitudinal section is required along the footpath property boundary at a scale of 1:50 extending 5m past the property boundary line.

- all inspection openings, utility services must be adjusted to match the proposed driveway levels,

- cross sections at a scale of 1:50 along the centreline of each access point to the building must be provided and are to show the calculated clearance to the underside of any overhead structure. All the entry points are to comply with the Building Code of Australia (BCA), including disability requirements. The Council approved footpath levels must be accommodated at the building entry points.

Plans and specifications which comply with this condition must be submitted to the Principal Certifier for approval prior to the issue of the relevant Construction Certificate for footings, jump steel and basement construction.

Principal Certifiers must not issue the relevant Construction Certificate without the formal written approval of Council (as Roads Authority) under the Roads Act 1993.

The required plans and specifications are to be designed in accordance with North Sydney Council’s current documents Infrastructure Specification for Road Works, Drainage and Miscellaneous Works and Performance Guide for Engineering Design and Construction. The drawings must detail existing utility services and trees affected by the works, erosion control requirements and traffic management requirements during the course of works.  A detailed survey must be undertaken as required. Traffic management is to be certified on the drawings as being in accordance with the documents SAA HB81.1 - 1996 - Field Guide for Traffic Control at Works on Roads - Part 1 and RMS Traffic Control at Work Sites (1998). Construction of the works must proceed only in accordance with any conditions attached to the Council Roads Act 1993 approval.

Note: 	A minimum of 21 days will be required for Council to assess Roads Act submissions. Early submission is recommended to avoid any delays in obtaining a Construction Certificate. A fee to cover cost of assessment (set out in Council’s adopted fees and charges) is payable and Council will withhold any consent and approved plans until full payment of the correct fees. Plans and specifications must be marked to the attention of Council’s Development Engineers. In addition, a copy of this condition must be provided, together with a covering letter stating the full address of the property and the accompanying DA number.

(Reason:	To ensure infrastructure works are designed and constructed to appropriate standards and requirements of the Roads Act 1993)

# Obtain Driveway Crossing Permit under S.138 Roads Act 1993		C32

- Prior to the issue of the relevant Construction Certificate for footings, jump steel and basement construction, North Sydney Council must issue the applicant with a driveway crossing and road infrastructure works permit to suit the approved off-street parking facilities. To obtain the permit, an application must be made to Council on a ‘Vehicular Access Application’ form with payment of the adopted assessment/inspection fees. Council will require civil design construction drawings and certification from the applicant’s Civil Engineer to verify design details and enable permit issue. The responsibility for accuracy of the design fully rests with the designing engineer. All responsibility on implementation and supervision of works specified on design plans fully rests on designing engineer or whoever is chosen to be applicant’s engineering representative. The civil design drawings shall detail the following infrastructure construction requirements of Council in relation to the consent:

- The civil design drawings must include the following at a minimum:

    - The vehicular access way must comply with AS 2890.2 – Off-street commercial vehicle facilities, Council’s current version of the Public Domain Style Manual (PDSM) for Special Areas: St Leonards and Council’s current Vehicular Access Application Guidelines and Specification (gutter bridges not permitted) to ensure that Medium Rigid Vehicles (MRV) and delivery vans will not scrape/strike the surface of the carriageway, layback, vehicular crossing or parking floor.

    - The existing driveway must be completely removed and reinstated as kerb/gutter, layback, crossover and footpath.

    - the width of the vehicular layback must be a maximum of 4.5metres (including the wings),

    - the crossing (between the layback and the property boundary) must be placed on a single straight grade of approximately 4.5%, falling to the back of the layback,

    - the gutter levels must match the existing levels and shall not be altered,

f)	The works will require reconstruction of any damaged sections of the carriageway in Sergeants Lane,

- any twisting of driveway access must occur entirely within the subject property;

- all inspection openings, utility services must be adjusted to match the proposed driveway levels;

- sections along centre-line and extremities are required at a scale of 1:50 to be taken from the centre-line of the roadway through to the parking area itself and must include all changes of grade and levels both existing and proposed;

- a longitudinal section along the gutter line at a scale of 1:50 showing how it is intended to blend the vehicular crossing with the existing kerb and gutter;

- a longitudinal section along the footpath property boundary at a scale of 1:50 is required;

- the sections must show the calculated clearance to the underside of any overhead structure;

- a swept path analysis is required demonstrating that an MRV can manoeuvre in and out of the loading dock in accordance with AS 2890.2 2004 - "Off Street Commercial Vehicle Facilities."

The permit must be granted by Council prior to the issue of the relevant Construction Certificate.

All driveway and infrastructure works on the road reserve must be undertaken in accordance with the terms of the permit issued by Council. Inspections by Council will be required as specified.  The Principal Certifier issuing the Construction Certificate must ensure that the permit issued by Council is obtained and referenced on and accompanies the Construction Certificate issued.

(Reason:	To facilitate appropriate vehicular access to private sites, without disruption to pedestrian and vehicular traffic)

# Stormwater Management and Disposal Design Plan - Construction Issue Detail	C37

- Prior to issue of any Construction Certificate, a site drainage management plan must be prepared by a qualified drainage design engineer.  The site drainage management plan must detail the following requirements of North Sydney Council:

- Compliance with NCC drainage requirements, Council’s Engineering Performance guide and current Australian Standards and guidelines, including the Plumbing Code of Australia (PCA);

- Stormwater runoff and subsoil drainage generated by the approved development must be conveyed in a controlled manner by gravity to Council’s stormwater system;

- A site drainage management plan which complies with this condition must be submitted to the Principal Certifier for approval prior to the issue of any Construction Certificate. The Principal Certifier must ensure that the building plans and specifications submitted, referenced on and accompanying the issued Construction Certificate, fully satisfy the requirements of this condition.

(Reason:	To ensure controlled stormwater management and disposal without nuisance)

# Pump-Out System Design for Stormwater Disposal	C40

- The design of the pump-out system for stormwater disposal will be permitted for drainage of basement areas only, and must be designed in accordance with the following criteria: -

a)	the pump system shall consist of two pumps, connected in parallel, with each pump being capable of emptying the holding tank at the rate equal to the rate of inflow for the one-hour duration storm. The holding tank shall be capable of holding one hour’s runoff from a one-hour duration storm of the 1 in 20- year storm;

b)	the pump system shall be regularly maintained and serviced, every six (6) months; and

c)	any drainage disposal to the street gutter from a pump system, must have a stilling sump provided at the property line, connected to the street gutter by a suitable gravity line.

Engineering details demonstrating compliance with these criteria and certified by an appropriately qualified and practising civil engineer shall be provided to the Principal Certifier for approval prior to the issue of any Construction Certificate.

(Reason:	To ensure adequate provision is made for the discharge of sub-surface stormwater from the excavated parts of the site)

# Bond for Damage and Completion of Infrastructure Works - Stormwater, Kerb and Gutter, Footpaths, Vehicular Crossing and Road Pavement	C41

- Prior to the issue of any Construction Certificate, security deposit or bank guarantee must be provided to Council to the sum of $45,000 to be held by Council for the payment of cost for any/all of the following:

      - making good any damage caused to any property of the Council as a consequence of the doing of anything to which this consent relates,

      - completing any public work (such as road work, kerbing and guttering, footway construction, stormwater drainage and environmental controls) required in connection with this consent

      - remedying any defects in any such public work that arise within 6 months after the work is completed.

      - Council reserves the right to retain all bonds on infrastructure works relating to the completion of required Infrastructure work for a 12-month defect liability period. Council may elect to provide a lesser period for minor residential work.

The security required by this condition and in the schedule contained later in these conditions must be provided by way of a deposit with the Council; or other such guarantee that is satisfactory to Council (such as a bank guarantee). Any guarantee provided as security must name North Sydney Council as the nominated beneficiary and must not be subject to an expiry date.

- The security will be refundable following the expiration of six months from the issue of any final Occupation Certificate or completion of public work required to be completed (whichever is the latest) but only upon inspection and release by Council’s Development Engineers or Manager of Development Services.

- Council shall have full authority to make use of the bond for such restoration works as deemed necessary by Council in circumstances including the following:

- where the damage constitutes a hazard in which case Council may make use of the security immediately;

- the applicant has not repaired or commenced repairing damage within 48 hours of the issue by Council in writing of instructions to undertake such repairs or works;

- works in the public road associated with the development are to an unacceptable quality; and

- the Principal Certifier must ensure that security is provided to North Sydney Council prior to issue of any Construction Certificate.

(Reason:	To ensure appropriate security for works on public land and an appropriate quality for new public infrastructure)

# Awnings, Footpath, Entries and Fire Exit Details (Mixed-use/Commercial/Apartments)	C43

- Footpaths, entries and exits and fire exits for the development must be designed by an appropriately qualified and practising Civil Engineer and submitted to the Principal Certifier for approval prior to the issue of the relevant Construction Certificate for basement demolition, site excavation, anchoring/shoring and in-ground services. The design must include (but is not limited to) the following: -

- cross section along the centre-line of each access point to the building including fire exits at a scale of 1:50 to be taken from the centre of the road and shall include all changes of grade both existing and proposed;

- the sections must show all relevant levels and grades (both existing and proposed) including those levels stipulated as boundary levels;

- the sections must show the calculated clearance to the underside of any overhead structure;

- a longitudinal section along the boundary line showing how it is intended to match the internal levels of the building with the boundary footpath levels. The footpath must be designed (at a single straight grade of 3% falling to top of kerb) so that it is smooth without showing signs of dipping or rising particularly at entrances; and

- a longitudinal section along the gutter and kerb line extending 5 metres past property lines showing transitions.

- awnings edges, parallel to the kerb line must not exceed edges of existing awnings in the same city block or if no other neighbouring awnings to compare, the edges of proposed awning must be offset at least 600 mm from the kerb line.

Details, plans and specifications complying with this condition are to be certified as complying with the National Construction Code (NCC) and Council’s standard footpath specifications, and the certification, details, plans and specifications must be provided to the Principal Certifier for approval prior to the issue of the relevant Construction Certificate. Written concurrence confirming there will be no change to existing boundary and footpath levels is to be provided to the Certifier and North Sydney Council, prior to issue of the relevant Construction Certificate.

(Reason:	To facilitate suitable pedestrian and disabled access to private sites, and to ensure that internal levels reflect footpath boundary levels)

# Tree Protection		C##

- To ensure the protection of all trees to be retained, the following measures are to be undertaken:

- All documentation for the relevant Construction Certificate application must show the site trees to be retained, and retention of the adjoining trees, with their positions and diameters of trunks and crowns (canopies) to be clearly and accurately shown in relation to all levels of the proposed development.

- All plans and correspondences must refer to the required compliance with the approved Tree Protection and Management Plan, and clearly show the assigned number of each tree on site, adjoining and Council land.

- A Consulting Arboriculturist (“the project arboriculturist”), who holds a minimum Australian Qualification Framework Level 5 in Arboriculture, is a registered consulting member of a nationally recognised arboricultural organisation or association, and who does not remove or prune trees in the North Sydney local government area, shall be engaged before work commences for the duration of site preparation, demolition, construction and landscaping.

- The project arboriculturist shall inspect, monitor, supervise, provide recommendations and written reports and certification relating to protection of the trees and compliance with the conditions of consent.

- The contact details of the project arboriculturist shall be advised to council before work commences and maintained up to date for the duration of works. If a new project arborist is appointed details of the new project arborist shall be notified to council within 7 days.

(Reason:	Tree protection measures)

# Tree Bond for Public Trees	C44

- Prior to the issue of any construction certificate, security in the sum of $180,000 must be provided to Council for the protection of trees in public places, including the making good of any damage caused to such trees. The security is to be provided in accordance with the Schedule below.

The security required by this condition and in the schedule contained later in these conditions must be provided by way of a deposit with the Council; or other such guarantee that is satisfactory to Council (such as a bank guarantee). Any guarantee provided as security must name North Sydney Council as the nominated beneficiary and must not be subject to an expiry date.

- The security will be refundable following the expiration of 6 months from the issue of any final Occupation Certificate but only upon inspection and release by Council's Landscape Development Officer.

If any tree is removed or damaged Council may deduct from this security the reasonable cost of replacement with a tree of the same species and to a similar stage of growth it would have attained at the completion of the work.

In the case of any tree, which cannot be replaced with a similar specimen, the security for that tree will be forfeited to Council and used to provide replacement street plantings.

SCHEDULE

| Tree | Location | Bond |
| --- | --- | --- |
| T1-T4 Platanus x acerifolius (to 17m) | Council verge in front of 100 Christie Street - (S East) | $70,000 |
| T10-T13 Platanus x acerifolia (to 17m) | Council verge in front of 100 Christie Street - Chandos Street frontage | $80,000 |
| T14 Platanus x acerifolia (17m) | Council verge in front of 100 Christie Street - Sergeants Lane frontage | $30,000 |

(Reason:	Protection of existing environment public infrastructure, community assets and significant trees)

# Tree Protection Measures to be shown on Construction Drawings	C45

- The tree protection measures contained in the arborist report prepared by Rain Tree Consulting, dated 19 December 2022, shall be shown clearly on the Construction Certificate drawings.  Plans and specifications showing the said tree protection measures must be submitted to the Principal Certifier for approval prior to the issue of any Construction Certificate. The Principal Certifier must ensure the construction plans and specifications submitted, referenced on and accompanying the issued Construction Certificate, fully satisfy the requirements of this condition.

(Reason:	To ensure that appropriate tree protection measures are shown on construction drawings)

# Protection of Trees	C46

- The following tree(s) are required to be protected and retained as part of the development consent in accordance with AS 4970-2009 - Protection of trees on development sites:

| Tree | Location | Protection |
| --- | --- | --- |
| T1-T4 Platanus x acerifolius (to 17m) | Council verge in front of 100 Christie Street - (S East) | Trunk, branch and root protection |
| T10-T13 Platanus x acerifolia (to 17m) | Council verge in front of 100 Christie Street - Chandos St frontage | Trunk, branch and root protection |
| T14 Platanus x acerifolia (17m) | Council verge in front of 100 Christie Street - Sergeants Lane frontage | Trunk, branch and root protection |

Plans and specifications complying with this condition must be submitted to the Principal Certifier for approval prior to the issue of any Construction Certificate. The Principal Certifier must ensure that the building plans and specifications submitted, referenced on and accompanying the issued Construction Certificate, fully satisfy the requirements of this condition.

Any tree(s) shown as being retained on the approved plans (regardless of whether they are listed in the above schedule or not) must be protected and retained in accordance with this condition.

(Reason:	Protection of existing environmental and community assets)

# Approval for Removal of Trees	C47

- The following tree(s) are approved for removal in accordance with the development consent:

| Trees that are acceptable to remove | Location | Height |
| --- | --- | --- |
| T5-T8 Platanus x acerifolia | Council verge in front of 100 Christie Street - to south of roundabout | To 14m |
| T9 Platanus x acerifolia | NE corner - 100 Christie Street | 11m x 9m |
| T15 Tristaniopsis laurina | Northern setback - 100 Christie Street | 5m |
| T16 Lagerstroemia indica | Northern setback - 100 Christie Street | 5m |
| T17 5 x Murraya paniculata | Northern setback - 100 Christie Street | 5m |
| T18 3 x Michelia figo | Northern setback - 100 Christie Street | 5m |
| T19 Michelia figo | Northern setback - 100 Christie Street | 5m |
| T20 4 x Murraya paniculata | Northern setback - 100 Christie Street | 5m |

Removal or pruning of any other tree on the site is not approved, excluding species exempt under Section 16 of the North Sydney DCP 2013..

Any tree(s) shown as being retained on the approved plans (regardless of whether they are listed in the above schedule or not) must be protected and retained in accordance with this condition.

(Reason:	Protection of existing environmental and community assets)

# Pruning of Trees	C48

- All pruning works shall to the following tree(s) shall be undertaken under the guidance of an appropriately qualified arborist/tree surgeon in accordance with Australian Standard AS 4373-2007 - Pruning of Amenity Trees:

| Tree | Location | Height (m) |
| --- | --- | --- |
| T1-T4 Platanus x acerifolia | Council verge in front of 100 Christie Street - S East | To 17m |
| T14 Platanus x acerifolia | Council verge in front of 100 Christie Street - Sergeants Lane frontage | 17m |

- A report detailing the measures to be employed during construction shall be submitted to the Principal Certifier for approval prior to the issue of any Construction Certificate.

- Hoarding, scaffolding and any ancillary building works shall be designed to minimise the need for any canopy pruning.  No more than 10% canopy from any tree shall be removed.

- All measures required by the said report must be complied with at all times in the carrying out of the development.

(Reason:	To ensure the protection and longevity of existing significant trees)

# Garbage and Recycling Facilities	C51

- An appropriate area must be provided within the premises for the storage of garbage bins and recycling containers and all waste and recyclable material generated by this premises. The following requirements must be met:

- all internal walls of the storage area must be rendered to a smooth surface, coved at the floor/wall intersection, graded and appropriately drained with a tap in close proximity to facilitate cleaning;

- provision for the separation and storage in appropriate categories of material suitable for recycling;

- the storage area must be adequately screened from the street, with the entrance to the enclosures no more than 2m from the street boundary of the property;

- if a storage facility is to be provided at another suitable location within the building, a complementary garbage bin holding bay must be provided no more than 2m from the street boundary of the property;

- garbage enclosures serving residential units are not to be located within areas designated for non-residential uses; and

- garbage enclosures serving non-residential uses are not to be located within areas designated for dining purposes.

Plans and specifications which comply with this condition must be submitted to the Principal Certifier for approval prior to the issue of the relevant Construction Certificate for basement demolition, site excavation, anchoring/shoring and in-ground services.

The Principal Certifier must ensure that the building plans and specifications submitted, referenced on and accompanying the issued Construction Certificate, fully satisfy the requirements of this condition.

Note:	The applicant may wish to discuss bin storage requirements and location with Council’s Environmental Services prior to finalisation of the required detail, and a copy of Council’s Waste Handling Guide should be obtained for reference purposes before the design is finalised.

(Reason:	To ensure the provision of appropriate waste facilities for residents and protect community health, and to ensure efficient collection of waste by collection contractors)

# Asbestos and Hazardous Material Survey	C54

- A report must be prepared by a suitably qualified person in relation to the existing building fabric to be demolished and/or disturbed identifying the presence or otherwise of asbestos contamination and, if asbestos contamination is present, making recommendations as to the work required to safely address the contamination.

Any demolition works or other works identified in the report as having to be carried out must be carried out in accordance with the recommendations of the report and the following:

- the removal of asbestos must be undertaken by a WorkCover licensed contractor;

- all removal must be in strict accordance with the requirements of the WorkCover Authority in relation to the removal, handling and disposal of material containing asbestos and any Work Safe Australia requirements.

- during the removal of any asbestos a sign stating “DANGER ASBESTOS REMOVAL IN PROGRESS” must be erected in a visible position at the boundary of the site; and

- Waste disposal receipts must be provided to the Principal Certifier as proof of correct disposal of asbestos laden waste.

- The report must be submitted to the Principal Certifier for approval prior to the issue of any Construction Certificate. The Principal Certifier must ensure that the report, and other plans, referenced on and accompanying the issued Construction Certificate, fully satisfy the requirements of this condition.

(Reason:	To ensure the long-term health of workers on site and occupants of the building is not put at risk unnecessarily)

# Noise from Plant and Equipment	C57

- The use of all plant and equipment installed on the premises must not:

- Contribute an LAeq (15min) which will cause the total LAeq(15min) from all plant and equipment operating contemporaneously on the site or in the strata scheme or in the mixed strata schemes to exceed the RBL by more than 5dB when measured at the boundary of any affected receiver.  The modifying factor adjustments in Section 4 of the EPA Noise Policy for Industry 2017 shall be applied.

- Cause “offensive noise” as defined in the Protection of the Environment Operations Act 1997.

“affected receiver” includes residential premises (including any lot in the strata scheme or another strata scheme), premises for short-term accommodation, schools, hospitals, places of worship and parks and such other affected receiver as may be notified by the Council in writing.

“boundary” includes any window or elevated window of an affected receiver.

Terms in this condition have the same meaning as in the Noise Guide for Local Government and the Noise Policy for Industry published by the NSW Environment Protection Authority.

(Reason: 	To maintain an appropriate level of amenity for adjoining land uses)

# Vibration from Plant and Equipment	C58

- The use of all plant and equipment to be installed on the premises must comply with the vibration limits specified in “Assessing Vibration: a technical guideline” issued by the NSW Environment Protection Authority, at the boundary of any affected receiver.

- A certificate from an appropriately qualified acoustical consultant eligible for membership of the Association of Australian Acoustic Consultants must be submitted to the Principal Certifier, certifying that all plant and equipment on the site, together with the proposed plant and equipment, operating contemporaneously will comply with the requirements of this condition.

- The Principal Certifier must ensure that the building plans and specifications submitted, referenced on and accompanying the relevant issued Construction Certificate, fully satisfy the requirements of this condition.

“affected receiver” includes residential premises (including any lot in the strata scheme or another strata scheme), premises for short-term accommodation, schools, hospitals, places of worship and commercial premises and such other affected receiver as may be notified by the Council in writing.

“boundary” includes any window or elevated window of an affected residence.

“contemporaneously” means existing at or occurring in the same period of time (Macquarie Dictionary 3rd rev. ed. 2004).

(Reason: 	To maintain an appropriate level of amenity for adjoining land uses)

# Air Conditioners in Residential Premises	C62

- The use of any air conditioner installed on the premises must comply with the requirements of the Protection of the Environment Operations (Noise Control) Regulations 2017 and State Environmental Planning Policy (Infrastructure) 2007 and must not:

(a)	emit a noise that is audible within a habitable room in any affected residence (regardless of whether any door or window to that room is open);

- before 8.00am and after 10.00pm on any Saturday, Sunday or Public Holiday; or

(ii) 	before 7.00am or after 10.00pm on any other day

  - cause an LAeq(15min) which exceeds the RBL background noise level by more than 5dB when measured at the boundary of any affected residence. The modifying factor adjustments in Section 4 of the EPA Noise Policy for Industry 2017 will be applied.

“affected residence” includes residential premises (including any lot in the strata scheme or another strata scheme), premises for short-term accommodation and hospitals.

“boundary” includes any window or elevated window of an affected residence.

Terms in this condition have the same meaning as in the Noise Guide for Local Government and the Noise Policy for Industry published by the NSW Environment Protection Authority.

(Reason: 	To maintain residential amenity)

# Acoustic Privacy (Residential Apartments)	C65

- Noise levels in sole occupancy units of residential apartments must not exceed the following:

| Location | Maximum |
| --- | --- |
| Habitable Rooms other than Sleeping Areas | 40 LAeq (1hr) |
| Sleeping Areas | 35 LAeq (1hr) |

The “Maximum” limits are to apply in any hour of a 24-hour period with the windows of the sole occupancy unit closed.

“habitable room” has the same meaning as in the National Construction Code.

A floor separating sole occupancy units shall have a weighted standardised impact sound pressure level L’nT,w not more than 55dB when measured in-situ in accordance with AS ISO 140.7-2006 “Field measurements of impact sound insulation of floors" and rated to AS ISO 717.2-2004 “Rating of sound insulation in buildings and of building elements. Part 2: Impact sound insulation.”  This clause shall not apply to the floor of a kitchen, bathroom, toilet or laundry in a residential sole occupancy unit.

Mechanical equipment such as lift plant, air conditioning plant servicing the building and pumps shall not be located immediately adjacent bedrooms.

A statement from an appropriately qualified acoustical consultant eligible for membership of the Association of Australian Acoustic Consultants, certifying that the acoustic mitigation measures outlined above have been satisfied, must be submitted to the Principal Certifier for approval prior to the issue of the relevant Construction Certificate for construction of the podium and tower structures.

(Reason:	To comply with best practice standards for residential acoustic amenity)

# Compliance with Acoustic Report	C68

- The recommendations contained in the acoustic report prepared by Acoustic Logic, dated 16 February 2024, must be implemented during construction and use of the development.

A statement from an appropriately qualified acoustical consultant eligible for membership of the Association of Australian Acoustic Consultants, certifying that the acoustic mitigation measures outlined in the above stated report have been suitably incorporated into the development and that relevant noise criteria have been satisfied, must be submitted to the Principal Certifier for approval prior to the issue of any Construction Certificate.

The Principal Certifier must ensure that the building plans and specifications submitted, referenced on and accompanying the issued Construction Certificate, fully satisfy the requirements of this condition.

(Reason: 	To maintain an appropriate level of amenity for adjoining land uses)

# Noise and Vibration Compliance Certification	C69

- A certificate from an appropriately qualified acoustical consultant eligible for membership of the Association of Australian Acoustic Consultants, certifying that suitable measures have been incorporated into the development and that the noise criteria contained in the conditions herein have been satisfied, must be provided to the Principal Certifier for approval prior to the issue of the relevant Construction Certificate.

The Principal Certifier must ensure that the building plans and specifications submitted, referenced on and accompanying the issued Construction Certificate, fully satisfy the requirements of this condition.

(Reason: 	To maintain an appropriate level of amenity for adjoining land uses)

# Mechanical Exhaust Ventilation	C70

- A statement from an appropriately qualified and practising Mechanical Engineer is required detailing how the exhaust ventilation system will be installed in accordance with AS1668.  The Principal Certifier must ensure that the building plans and specifications submitted, referenced on and accompanying the issued Construction Certificate, fully satisfy the requirements of this condition.

(Reason:	To ensure compliance with acceptable standards for the construction and operation of mechanical plant)

# Construction Noise Management Plan	C71

- A Construction Noise Management Plan must be prepared by an appropriately qualified acoustical consultant eligible for membership of the Association of Australian Acoustic Consultants, and must include the following:

    - Identification of noise affected receivers near to the site.

    - A prediction as to the level of noise impact at noise affected receivers from the use and proposed number of high noise intrusive appliances intended to be operated onsite.

    - Details of work schedules for all construction phases.

    - A statement should also be submitted outlining whether or not predicted noise levels will comply with the noise criteria stated within the Environment Protection Authority’s Construction Noise Guideline.

    - Representative background noise levels should be submitted in accordance with the ICNG.

    - Confirmation of the level of community consultation that is to be undertaken by occupants at noise affected receivers likely to be most affected by site works and the operation of plant/machinery particularly during the demolition and excavation phases.

    - Confirmation of noise monitoring methodology that is to be undertaken during the noise intensive stages of work including details of monitoring to be undertaken at the boundary of any noise affected receiver.

    - What course of action will be undertaken following receipt of a complaint concerning offensive noise.

    - Details of any noise mitigation measures that have been outlined by an acoustic consultant or otherwise that will be deployed on site to reduce noise impacts on the occupants at noise affected receivers.

    - Details of selection criteria for any plant or equipment that is to be used on site, the level of sound mitigation measures to be undertaken in each case and the criteria adopted in their selection taking into account the likely noise impacts on occupants at noise affected receivers and other less intrusive technologies available; and

    - Details of site induction to be carried out for all employees and contractors undertaking work at the site.

“affected receiver” includes residential premises (including any lot in the strata scheme or another strata scheme), premises for short-term accommodation, schools, hospitals, places of worship, commercial premises and parks and such other affected receiver as may be notified by the Council in writing.

“boundary” includes any window or elevated window of an affected residence.

- The Construction Noise Management Plan must be submitted to the Principal Certifier and a copy provided to Council prior to the issue of the relevant Construction Certificate.

(Reason:	To ensure noise generating activities are appropriately managed and nearby sensitive receivers protected)

# Provision of Accessible Paths of Travel	C72

- The building must be designed and constructed to provide access and facilities in accordance with the National Construction Code and Disability (Access to Premises - Buildings) Standards 2010. Plans and specifications complying with this condition must be submitted to the Principal Certifier for approval prior to the issue of the relevant Construction Certificate (for footings, jump steel and basement construction). The Principal Certifier must ensure that the building plans and specifications submitted, referenced on and accompanying the issued Construction Certificate, fully satisfy the requirements of this condition.

Notes:

      - If, in complying with this condition, amendments to the development are required, the design changes must be submitted for the approval of Council prior to a Construction Certificate being issued. Approval of a modification application may be required.

      - It is not within Council’s power to set aside National legislation which requires the upgrade of buildings to meet modern access standards.  Such decisions remain the jurisdiction of the Building Professionals Board Access Advisory Committee who may grant an exemption in certain exceptional circumstances.

      - Information on making an application for an “unjustifiable hardship exemption” under the accessibility standards can be found on the website of the NSW Building Professional Boards at http://www.bpb.nsw.gov.au/page/premises-standards.

(Reason:	To ensure the provision of equitable and dignified access for all people in accordance with disability discrimination legislation and relevant Australian Standards)

# Adaptable Housing 	C76

- The following nominated apartments are to be designed in accordance with the standard adaptable housing AS4299-1995.

- Schedule of adaptable units

UNIT A701

UNIT A702

UNIT A801

UNIT A802

UNIT A901

UNIT A902

UNIT A1001

UNIT A1002

UNIT A1101

UNIT Al102

UNIT A1201

UNIT A1202

UNIT A1301

UNIT A1302

UNIT A1402

UNIT A1502

UNIT A1602

UNIT A1702

UNIT A1802

UNIT A1902

UNIT A2002

UNIT A2l02

UNIT A2202

UNIT A2302

UNIT A2402

UNIT A2502

UNIT A2602

UNIT A2702

UNIT A2802

UNIT A2902

UNIT A3002

UNIT A3l02

UNIT A3202

UNIT A3302

UNIT A3402

UNIT A3502

UNIT A3602

- A report prepared by a suitably qualified consultant must be obtained that demonstrates, to the certifier’s satisfaction, that any adaptable dwellings specified in this condition and the approved plans or documents comply with the provisions of AS 4299 Adaptable Housing Standards.

(Reason:	To ensure equity of access and availability of accommodation in the future for an ageing population)

# Section 7.11 Development Contributions	C80B

- A monetary contribution pursuant to the provisions of Section 7.11 of the Environmental Planning and Assessment Act 1979, in accordance with the North Sydney Council’s Contribution Plan for the public amenities/ services detailed in column A below and, for the amount detailed in column B below, must be paid to Council.

| Open space and recreation facilities: | $1,868,720.97 |
| --- | --- |
| Public domain: | $742,687.69 |
| Active transport: | $42,393.77 |
| Community facilities: | $375,340.16 |
| Plan administration and management: | $45,201.11 |
| Total: | $3,074,343.70 |

Indexation

The monetary contribution required under this consent will be indexed at the time of payment in accordance with quarterly movements in the Consumer Price Index (All Groups Index) for Sydney as published by the Australian Bureau of Statistics.

Timing of Payment

The contribution must be paid to Council prior to issue of any Construction Certificate.

Deferred payments will not be accepted.

A copy of the North Sydney Contribution Plan can be viewed at North Sydney Council’s Customer Service Centre, 200 Miller Street, North Sydney, or downloaded via Council’s website at www.north‌sydney.nsw.gov.au.

(Reason:	To provide for local infrastructure identified in the North Sydney Council Local Contributions Plan 2020)

# Security Deposit/Guarantee Schedule	C81

- All fees and security deposits/ guarantees in accordance with the schedule below must be provided to Council prior to the issue of any Construction Certificate:

| Security Deposit/Guarantee | Amount ($) |
| --- | --- |
| Infrastructure Damage Bond | $25,000.00 |
| Engineering Construction Bond Street tree Bond (on Council Property) | $20,000.00 $180,000.00 |
| TOTAL BONDS | $225,000.00 |

Note:	The following fees applicable

| Fees |  |
| --- | --- |
| Local Infrastructure Contributions: | $3,074,343.70 |
| TOTAL FEES | $3,074,343.70 |

The security required by the above schedule must be provided by way of a deposit with the Council; or other such guarantee that is satisfactory to Council (such as a bank guarantee). Any guarantee provided as security must name North Sydney Council as the nominated beneficiary and must not be subject to an expiry date.

(Reason:	Compliance with the development consent)

# BASIX Certificate 	C82

- Under clause 75 of the Environmental Planning and Assessment Regulation 2021, it is a condition of this development consent that all the commitments listed in BASIX Certificate No. 1341092M_02 for the development are fulfilled. Plans and specifications complying with this condition must be submitted to the Principal Certifier for approval prior to the issue of the relevant Construction Certificate. The Principal Certifier must ensure that the building plans and specifications submitted, referenced on and accompanying the issue of the relevant Construction Certificate (for footings, jump steel and basement construction), fully satisfy the requirements of this condition.

(Reason:	To ensure the proposed development will meet the Government’s requirements for sustainability and statutory requirements)

# Under Awning Lighting	C84

- Under awning lighting must be provided to the Christie Street and Sergeants Lane frontage of the site.  Such lighting is to be designed to P1 standard in accordance with AS/NZS 1158.3.1.  The luminaries must be:

  - weatherproof and vandal-proof;

  - designed in conjunction with Energy Australia so that the system can easily be connected to a public lighting system when available; and

  - the location and type of the said luminaries shall be to the satisfaction of Council’s Director of Engineering and Property Services.

- Certification from a suitable qualified commercial electrician must be obtained to demonstrate compliance with the requirements of this condition and certification must be submitted to the Principal Certifier prior to the issue of the relevant Construction Certificate. The Principal Certifier must ensure that the building plans and specifications submitted fully satisfy the requirements of this condition.

(Reason:	To enhance the amenity and safety of the footpath adjacent to the premises)

# Outdoor Lighting 	C85

- All outdoor lighting must comply with, where relevant AS/NZ1158.3: 1999 Pedestrian Area (Category P) Lighting and AS4282:1997 Control of the Obtrusive Effects of Outdoor lighting. Details demonstrating compliance with these requirements must be submitted to the Principal Certifier for approval prior to the issue of the relevant Construction Certificate. The Principal Certifier must ensure that the building plans and specifications submitted fully satisfy the requirements of this condition.

(Reason:	To maintain the amenity of adjoining land uses)

# Arborist to be Commissioned	C89

- An experienced consulting arborist with minimum qualification of AQF Level 5 must be commissioned to assist the design development and contract documentation for the approved development. The commissioned arborist must oversee construction works on the site for their duration, must ensure all tree protection measures are implemented and maintained at all times during demolition and construction and must undertake regular inspections of works in progress and provide advice to the developer in relation to tree matters.

Written details of the engagement of the experienced arborist must be submitted to the Principal Certifier prior to the issue of any Construction Certificate.

Note:	This condition, and any advice given by the consulting arborist, should not be construed as authorising the carrying of development with/ otherwise than in accordance with the development consent.

(Reason: 	To ensure that all matters relating to trees are resolved and recorded using best practice)

# Remediation 	C91

- Prior to the release of the relevant Construction Certificate the site must be remediated in accordance with:

- an approved Remedial Action Plan; and

- North Sydney Development Control Plan 2013 - Section 14 - Contamination and Hazardous Building Materials; and

- State Environmental Planning Policy (Resilience & Hazards) 2021; and,

- the guidelines in force under the Contaminated Land Management Act.

Within thirty (30) days after the completion of the remediation works, and prior to the issue of any construction certificate, a notice of completion, including validation and/or monitoring report is to be provided to Council.  This notice must be consistent with State Environmental Planning Policy (Resilience & Hazards) 2021.

(Reason:	To ensure the land is suitable for its intended purpose)

# Notification of New Addresses 	C93

- Prior to the issue of the relevant Construction Certificate, an application must be made and written confirmation received from North Sydney Council of the allocated street address (house number) and/ or unit numbers of the completed project.

- A plan for the proposed dwelling and unit numbering must be submitted to Council for approval with the application for new addresses.  Applications for numbering will be considered in accordance with the NSW Geographical Names Board requirements outlined in the document titled ‘NSW Addressing User Manual.’

- The approved numbering will be recorded in Council’s Land and Property Information database and must be clearly displayed at the property at all times.  Council will also notify relevant public authorities and some service providers of the approved addresses (including Australia Post). A list of current authorities and service providers notified by Council will be included in the address approval notice.

- These details will be recorded in Council records and must be displayed at the property in accordance with the provisions of the applicable Australian Standard relating to rural and urban addressing.  A copy of the allocation confirmation must be submitted to the Principal Certifier with the application for the relevant Construction Certificate.

(Reason:	To ensure that Council records are accurate, and that house numbering complies with the requirements of the NSW Geographical Names Board and Council’s Property Addressing Policy

# Charging Facility for Electric Vehicles 	C96

- The building and basement car park are to be designed so that electric vehicle charging points can be installed at a later time within the basement of the building.

Plans and specifications complying with this condition must be submitted to the Principal Certifier for approval prior to the issue of a Construction Certificate for footings, jump steel and basement construction.  The Principal Certifier must ensure that the building plans and specification submitted fully satisfy the requirements of this condition.

(Reason:	To promote sustainability and energy efficiency)

# Design of Christie Street Reserve 	C#

- Prior to the issue of a Construction Certificate for footings, jump steel and basement construction, the applicant must prepare and submit a draft detailed design of the Christie Street Reserve Park for the approval of the Service Unit Manager Development Services, North Sydney Council.

- The following design changes are required:

- The outdoor dining terrace is to be deleted so as not to encroach into the Christie Street Reserve.

- The existing size and relative location of the grassed area should be maintained.

- The plaza located in the north east corner is to be reinstated.

- The playground is to be deleted.

(Reason: To ensure the design of the Christie Street Reserve is fit for purpose)

# Special Infrastructure Contribution

- The development is within the ‘St Leonards and Crows Nest Special Contributions Area’ defined in the Environmental Planning and Assessment (Special Infrastructure Contribution – St Leonards and Crows Nest) Determination 2020 (as in force immediately prior to its repeal on 1 October 2023).

A person must not apply for a construction certificate or occupation certificate (as the case may require, having regard to the Determination) in relation to development the subject of this development consent unless the person provides, with the application:

- If a special infrastructure contribution is required to be made under the Determination:  written evidence from the Department of Planning, Housing and Infrastructure that the special infrastructure contribution for the development (or that part of the development for which the certificate is sought) has been made or that arrangements are in force with respect to the making of the contribution; or

- If a special infrastructure contribution is not required to be made under the Determination: a clearance certificate issued by the Department of Planning, Housing and Infrastructure to that effect.

More information

A request for assessment by the Department of Planning, Housing and Infrastructure of the amount of the contribution that is required under this condition can be made through the NSW planning portal.

(Reason: To impose the condition in accordance with the Environmental Planning and Assessment (special infrastructure contribution – St Leonards and Crows Nest) Direction 2020)

# Sydney Metro

- 1.	Prior to issue of a Construction Certificate

Engineering

1.1	All excavation and construction works are to be undertaken in accordance with the details, methodology, advice, undertakings, measures and recommendations detailed in the following documents:

(a)	Survey (Ref. 8618) Revision B (Sheets 1 and 2) prepared by SDG dated 22 March 2024.

(b)	100 Christie Street - Structural Statement (Ref. 13704 100) prepared by Meinhardt Australia dated 22 April 2024.

(c)	Sydney Metro Tunnel Lining Structural Assessment Report 100 Christie Street, St. Leonards NSW (Ref. 13704-ST-RP-001) Revision 3 prepared by Meinhardt dated 14 November 2024, including but not limited to the following appended documentation:

I.	Appendix A Structural Drawings:

i.	Drawing no. S0100 Revision P3 prepared by Meinhardt dated 22 April 2024.

ii.	Drawing no. S0101 Revision P4 prepared by Meinhardt dated 23 May 2024.

iii.	Drawing no. S0102 Revision P3 prepared by Meinhardt dated 22 April 2024.

iv.	Drawing no. S0103 Revision P4 prepared by Meinhardt dated 23 May 2024.

v.	Drawing no. S0104 Revision P4 prepared by Meinhardt dated 23 May 2024.

vi.	Drawing no. S0105 Revision P5 prepared by Meinhardt dated 15 August 2024.

vii.	Drawing no. S0200 Revision P2 prepared by Meinhardt dated 20 March 2024.

II.	Appendix B Preliminary Finite Element Modelling (FEM) Results-Section A-A (Eastern) (Ref. 34410YCrptFEM1rev1) by JK Geotechnics dated 16 May 2022.

(d)	Numerical Analysis for Proposed Mixed Use Development at 100 Christie Street, St Leonards (Ref. 34410YCrptFEM2rev4) Revision 4 prepared by JK Geotechnics dated 12 November 2024, including but not limited to the following appended documentation:

I.	Appendix A:

i.	Geotechnical Reports (Ref. 34410YCrptrev2) prepared by JK Geotechnics dated 22 May 2024.

ii.	Borehole log (Ref. Ref: E23898.G03_Rev4) prepared by EI Australia dated 22 January 2020.

II.	Appendix B Meinhardt Drawings:

i.	Drawing no. S0100 Revision P3 prepared by Meinhardt dated 22 April 2024.

ii.	Drawing no. S0101 Revision P4 prepared by Meinhardt dated 23 May 2024.

iii.	Drawing no. S0103 Revision P4 prepared by Meinhardt dated 23 May 2024.

iv.	Drawing no. S0104 Revision P4 prepared by Meinhardt dated 23 May 2024.

v.	Drawing no. S0105 Revision P5 prepared by Meinhardt dated 15 August 2024.

vi.	Drawing no. S0200 Revision P2 prepared by Meinhardt dated 20 March 2024.

(e)	Construction Management Plan Revision 2 prepared by Barker Ryan Stewart dated 4 November 2022.

(f)	Drawing no. DA-30-1000 (Sections 1 & 2) Revision B prepared by PTW dated October 2023.

(g)	Drawing no. DA-30-1001 (Ramp Section) Revision B prepared by PTW dated October 2023.

(h)	Drawing no. DA-10-0800 (Level B06 Plan) Revision B prepared by PTW dated October 2023.

(i)	Drawing no. DA-10-0801 (Level B05 Plan) Revision B prepared by PTW dated October 2023.

(j)	Drawing no. DA-10-0802 (Level B04 Plan) Revision B prepared by PTW dated October 2023.

(k)	Drawing no. DA-10-0803 (Level B03 Plan) Revision B prepared by PTW dated October 2023.

(l)	Drawing no. DA-10-0804 (Level B02 Plan) Revision B prepared by PTW dated October 2023.

(m)	Drawing no. DA-10-0900 (Level B01 Plan) Revision B prepared by PTW dated October 2023.

subject to any amendments to those documents required by Sydney Metro in accordance with this consent.

The Certifier must not issue a Construction Certificate for the development until the Certifier has confirmed which documents (including the versions of those documents) apply to the development and the Certifier has confirmed in writing to Sydney Metro that the construction drawings and specifications comply with those documents. The Certifier must not issue a Construction Certificate for the development until written confirmation has been received from Sydney Metro that this condition has been satisfied.

Prior to the commencement of works, the Certifier must provide written verification to Sydney Metro that this condition has been complied with.

Rail Corridor:

1.2	All structures must be designed, constructed and maintained so as to allow for the future operation and demolition of any part of the development without damaging or otherwise interfering with the Sydney Metro – City & Southwest rail corridor or rail operations. Where any part of the development is to be retained because its demolition would damage or otherwise interfere with the Sydney Metro – City & Southwest rail corridor or rail operations, that part of the development must have a minimum design life of 100 years.

Survey and services

1.3	Prior to the issue of a Construction Certificate:

(a)	the Applicant must provide Sydney Metro with an accurate survey of the development and its location relative to the rail corridor boundary and any rail infrastructure. The survey is to be undertaken by a registered surveyor, to the satisfaction of Sydney Metro; and

(b)	a registered surveyor shall peg-out the common property boundary between the development site and the rail corridor and any Sydney Metro easements to ensure that there is no encroachment by the development. A copy of the survey report indicating the location of pegs must be provided to Sydney Metro prior to the commencement of works.

1.4	Prior to the issue of a Construction Certificate, the Applicant must undertake a services search to establish the existence and location of any rail services and provide the results of the search to Sydney Metro. A services search must be based on current and not expired information and include information obtained through the Dial Before You Dig service. Persons performing the service search shall use equipment that will not have any impact on rail services and signalling. Should rail services be identified within the development site, the Applicant must discuss with Sydney Metro whether the services are to be relocated or incorporated within the development site.

Noise & Vibration

1.5	The development must:

(a)	comply with State Environmental Planning Policy (Transport and Infrastructure) 2021 and the NSW Department of Planning & Environment’s document titled “Development Near Rail Corridors and Busy Roads - Interim Guideline” (2008) and the Sydney Metro Underground Corridor Protection Guidelines (available from www.sydneymetro.info.);

(b)	be designed, constructed and maintained so as to avoid damage or other interference which may occur as a result of air-borne noise, ground-borne noise and vibration effects that may emanate from the rail corridor during rail construction and operations; and

(c)	not have any noise or vibration impacts on the rail corridor or rail infrastructure.

1.6	The Applicant must:

(a)	Update the submitted acoustic assessment report 100 Christie St, St Leonards NSW Development Application Acoustic Assessment (Ref. 20211253.1/3105A/R4/PF) Revision 4 prepared by Acoustic Logic dated 31 May 2024 to address the following matters:

i.	assess construction noise and vibration impacts on the Sydney Metro – City & Southwest tunnel during excavation.

ii.	demonstrate Sydney Metro tunnel infrastructure lies outside of the vibration damage minimum safe working distances for proposed construction equipment.

iii.	include a vibration monitoring plan prior to any excavation work.

(b)	incorporate as part of the development all the measures recommended in the acoustic assessment report; and

(c)	not have any noise or vibration impacts on the rail corridor or rail infrastructure.

A copy of the acoustic assessment report is to be provided to the Certifier and Council prior to a Construction Certificate being issued by the Certifier. The Certifier must ensure that the recommendations of the acoustic assessment report are incorporated in the construction drawings and documentation prior to issuing a Construction Certificate for the development.

Electrolysis

1.7	The Applicant must incorporate as part of the development all the measures recommended in the electrolysis assessment report Electrolysis Risk Report at 100 Christie Street, St Leonards NSW 2065 (Ref. W24413/NSW-P100272) Revision 0 prepared by Corrosion Control Engineering dated 29 February 2024. A copy of the electrolysis assessment report is to be provided to the Certifier and Council prior to a Construction Certificate being issued by the Certifier. The Certifier must ensure that the recommendations of the electrolysis assessment report are incorporated in the construction drawings and documentation prior to issuing a Construction Certificate for the development.

Construction

1.8	No work is permitted within the rail corridor, or any easements which benefit Sydney Metro, at any time, unless the prior approval of, or an Agreement with, Sydney Metro has been obtained by the Applicant. The Certifier must not issue a Construction Certificate for the development until written confirmation has been received from Sydney Metro that this condition has been satisfied.

1.9	No rock anchors, rock bolts, ground anchors or rock ties, piles, foundations, rock pillars, transfer structures, basement walls, slabs, columns, beams, cut rock faces, are to be installed in the rail corridor, Sydney Metro property or easements. The Certifier must not issue a Construction Certificate for the development until it has received written confirmation from Sydney Metro that this condition has been satisfied.

1.10	Prior to the issuing of a Construction Certificate, the following information must be submitted to Sydney Metro for review and endorsement:

(a)	Machinery to be used during excavation/construction; and

(b)	Demolition, excavation and construction methodology and staging.

The Certifier must not issue a Construction Certificate for the development until it has received written confirmation from Sydney Metro that this condition has been satisfied.

1.11	Prior to the issue of a Construction Certificate a Risk Assessment/Management Plan and detailed Safe Work Method Statements for the proposed works are to be submitted to Sydney Metro for review and endorsement regarding impacts on the rail corridor. The Certifier must not issue a Construction Certificate for the development until written confirmation has been received from Sydney Metro that this condition has been satisfied.

1.12	A tunnel monitoring plan (including instrumentation and the monitoring regime during excavation and construction phases) is to be submitted to Sydney Metro for review and endorsement prior to the issuing of a Construction Certificate. The Certifier must not issue a Construction Certificate until written confirmation has been received from Sydney Metro that this condition has been satisfied.

1.13	Prior to the issuing of a Construction Certificate, the Applicant must submit to Sydney Metro a plan showing all craneage and other aerial operations for the development and must comply with all Sydney Metro requirements. If required by Sydney Metro, the Applicant must amend the plan showing all craneage and other aerial operations to comply with all Sydney Metro requirements. The Certifier must not issue a Construction Certificate for the development until written confirmation has been received from the Sydney Metro that this condition has been satisfied.

1.14	If required by Sydney Metro, prior to the issue of a Construction Certificate the Applicant is to contact Sydney Metro's Corridor Protection Team to determine the need for public liability insurance cover and the level of insurance required. If insurance cover is deemed necessary, the Applicant must obtain insurance for the sum determined by Sydney Metro and such insurance shall not contain any exclusion in relation to works on or near the rail corridor or rail infrastructure and must be maintained for the period specified by Sydney Metro. Prior to issuing a Construction Certificate for the development, the Certifier must witness written proof of any insurance required by Sydney Metro in accordance with this condition, including the written advice of Sydney Metro to the Applicant regarding the level of insurance required.

Reason: construction of the proposed development presents a risk of potential damage to the Sydney Metro – City & Southwest rail corridor which is not in the public interest. This risk of damage to public infrastructure must be appropriately managed and mitigated.

1.15	If required by Sydney Metro, prior to the issue of a Construction Certificate the Applicant must contact the Sydney Metro Corridor Protection Team to determine the need for the lodgement of a bond or bank guarantee for the duration of the works and the sum of any required bond or bank guarantee. Prior to issuing a Construction Certificate for the development, the Certifier must witness written confirmation from Sydney Metro that the Applicant has lodged any bond or bank guarantee required by this condition.

Reason: construction of the proposed development presents a risk of potential damage to the Sydney Metro – City & Southwest rail corridor which is not in the public interest. This risk of damage to public infrastructure must be appropriately managed and mitigated.

1.16	Prior to the issue of a Construction Certificate, the Applicant must prepare and provide to Sydney Metro for review and endorsement a hydrogeologic assessment report demonstrating that any dewatering during construction will not have any adverse settlement impacts on the rail corridor. The Certifier must not issue a Construction Certificate until this report has been endorsed by Sydney Metro in writing.

Drainage

1.17	The Applicant must ensure that all drainage from the development is adequately disposed of and managed and must ensure that no drainage is discharged into the railway corridor unless prior written approval has been obtained from Sydney Metro. The Certifier must not to issue a Construction Certificate or Occupation Certificate for the development unless this condition has been satisfied.

Documentation

1.18	Copies of any certificates, drawings, approvals or documents endorsed by, given to or issued by Sydney Metro must be submitted to Council for its records prior to the issue of any Construction Certificate.

2	During construction

Supervision

2.1	Unless advised by Sydney Metro in writing, all excavation, shoring and piling works within 25m of the rail corridor are to be supervised by a geotechnical engineer experienced with such excavation projects and who holds current professional indemnity insurance.

Consultation

2.2	The Applicant must ensure that at all times they have a representative (which has been notified to Sydney Metro in writing), who:

(a)	oversees the carrying out of the Applicant’s obligations under the conditions of this consent and in accordance with correspondence issued by Sydney Metro;

(b)	acts as the authorised representative of the Applicant; and

(c)	is available (or has a delegate notified in writing to Sydney Metro that is available) on a 7 day a week basis to liaise with the representative of Sydney Metro as notified to the Applicant.

2.3	Without in any way limiting the operation of any other condition of this consent, the Applicant must, during demolition, excavation and construction works, consult in good faith with Sydney Metro in relation to the carrying out of the development works and must respond or provide documentation as soon as practicable to any queries raised by Sydney Metro in relation to the works.

2.4	Where a condition of consent requires consultation with Sydney Metro, the Applicant shall forward all requests and/or documentation to the relevant Sydney Metro interface team.

Drainage

2.5	The Applicant must ensure that all existing and future drainage works on the development site will be directed into the appropriate local council or approved drainage system.

2.6	The Applicant must ensure that during works no water collects on or near the railway corridor. Should water be allowed to pond adjacent to rail infrastructure facilities and service is interrupted, the Applicant shall be liable for any Sydney Metro expenditure involved with restoring or maintaining alternative services.

Inspections

2.7	If required by Sydney Metro, the Applicant must give Sydney Metro written notice at least 5 business days before any of the following events occur within 25 metres of the rail corridor:

(a)	site investigations;

(b)	foundation, pile and anchor set out;

(c)	set out of any other structures below ground surface level or structures which will transfer any load or bearing;

(d)	foundation, pile and anchor excavation;

(e)	other excavation;

(f)	surveying of foundation, pile and anchor excavation and surveying of as-built excavations;

(g)	other concreting; or

(h)	any other event that Sydney Metro has notified to the Applicant in writing

so that Sydney Metro may inspect the carrying out or completion of those works on the development site.

2.8	If required by Sydney Metro, prior to the commencement of works or at any time during the excavation and construction period deemed necessary by Sydney Metro, a joint inspection of the rail infrastructure and property in the vicinity of the development is to be carried out by representatives from Sydney Metro and the Applicant and a dilapidation survey prepared. The dilapidation survey(s) will establish the extent of any existing damage and enable any deterioration during construction to be observed and rectified at the Applicant’s cost. The submission of a detailed dilapidation report by the Applicant for review and approval by Sydney Metro will be required within 10 days following the undertaking of any joint inspection, unless otherwise notified by Sydney Metro in writing.

3	Prior to the issue of an Occupation Certificate

Noise and Vibration

3.1	Prior to the issue of an Occupation Certificate, an acoustic assessment report must be prepared and submitted to the Certifying Authority, Council and Sydney Metro certifying that the completed development meets the requirements of:

(a)	State Environmental Planning Policy (Transport and Infrastructure) 2021;

(b)	the Department of Planning, Infrastructure and Environment’s Development Assessment Guideline titled “Development Near Rail Corridors and Busy Roads - Interim Guidelines”; and

(c)	any other noise and vibration requirements imposed by this consent.

The acoustic report must demonstrate testing of external and internal noise levels for the completed development and ensure that external noise levels are representative of the typical maximum levels that may occur at the development and internal noise levels meet the required dB(A) levels. Where it is found that internal noise levels are greater than the required dB(A) level, necessary corrective measures must be carried out to ensure that internal noise levels are compliant with the requirements of this consent.

Documentation

3.2	Prior to the issue of an Occupation Certificate, the Applicant is to submit as-built drawings to Sydney Metro and Council. The as-built drawings are to be endorsed by a registered surveyor confirming that there has been no encroachment into the rail corridor or Sydney Metro easements, unless agreed to by Sydney Metro in writing. The Certifier must not issue an Occupation Certificate until written confirmation has been received from Sydney Metro that this condition has been satisfied.

3.3	Copies of any certificates, drawings, approvals or documents endorsed by, given to or issued by Sydney Metro must be submitted to Council for its records prior to the issue of any Occupation Certificate.

Inspections

3.4	If required by Sydney Metro, prior to the issue of an Occupation Certificate, a joint inspection of the rail infrastructure and property in the vicinity of the development is to be carried out by representatives from Sydney Metro and the Applicant and a dilapidation survey prepared. The dilapidation survey will establish the extent of any existing damage and enable any deterioration during operation of the development to be observed. The Certifier is not to issue an Occupation Certificate for the development until written confirmation has been received from Sydney Metro that this condition has been satisfied.

4	General

Inspections

4.1	At any time during the construction of the development, Sydney Metro and persons authorised by those entities may give reasonable notice to the Applicant or the Applicant’s principal contractor that Sydney Metro or persons authorised by that entity seek to:

(a)	inspect the development site and all works and structures that may impact on the rail

corridor, including at specified “hold points” in the construction of the development; and

(b)	attend on-site meetings with the Applicant and its contractors,

to enable Sydney Metro to determine whether the development has been or is being constructed and maintained in accordance with all approved plans and this development consent.

Other

4.2	Any conditions or other requirements imposed by Sydney Metro part of its approval/endorsement of any documents provided by the Applicant to Sydney Metro in accordance with these conditions of consent must also be complied with by the Applicant when implementing any approved/endorsed documents, plans, reports during the construction and operation of the development (as applicable).

4.3	Where a condition of consent requires Sydney Metro endorsement or approval, the Certifier must not to issue a Construction Certificate or Occupancy Certificate, as the case may be, until written confirmation has been received from those entities that the particular condition has been complied with. The issuing of staged Construction Certificates by the Certifier dealing with specific works and compliance conditions can only occur subject to written confirmation from Sydney Metro.

4.4	All reasonable Sydney Metro costs associated with review of plans, designs and legal must be borne by the applicant.

(Reason:	To ensure compliance with the terms of approval of Sydney Metro)

# Transport for NSW (Sydney Trains)

- A1.  Prior to the issuing of a Construction Certificate, the Applicant shall prepare and provide to Sydney Trains for review, comment, and written endorsement the following final version rail specific items in compliance with the relevant AMB Standards (https://www.transport.nsw.gov.au/industry/asset-management-branch):

1.	Geotechnical Report. The Geotechnical Report must be based on actual borehole testing conducted on the site closest to the rail corridor.

2.	Civil, Structural and Shoring Design Reports/Drawings that meet Sydney Trains’ requirements.

3.	Construction methodology with construction details pertaining to structural support during excavation. The Applicant is to be aware that Sydney Trains will not permit any rock anchors/bolts (whether temporary or permanent) within its land or easements.

4.	Cross Sectional Drawings showing the showing the relationship of the proposed development with respect to TAHE land/easements and the operational rail corridor. The drawings must include the rail corridor, sub soil profile, proposed basement excavation and/or structural design of sub ground support, and above- ground building (including balconies). All measurements are to be verified by a Registered Surveyor.

5.	Detailed Survey Plan showing the relationship of the proposed development with respect to TAHE land/easements and the operational rail corridor.

6.	If required by Sydney Trains, an FE analysis which assesses the different stages of loading-unloading of the site and its effect on the rock mass surrounding the rail corridor.

7.	If required by Sydney Trains, a Monitoring Plan.

The Certifier is not to issue the Construction Certificate until written confirmation has been received from Sydney Trains confirming that this condition has been satisfied.

A2. Prior to the issue of a Construction Certificate, the Applicant shall undertake a services search to establish the existence and location of any rail services. Persons performing the service search shall use equipment that will not have any impact on rail services and signalling. Should rail services be identified within the subject development site, the Applicant must discuss with Sydney Trains as to whether these services are to be relocated or incorporated within the development site.

A3. The Applicant shall prepare an acoustic assessment demonstrating how the proposed development will comply with the Department of Planning’s document titled “Development Near Rail Corridors and Busy Roads- Interim Guidelines”. The Applicant must incorporate in the development all the measures recommended in the report. A copy of the report is to be provided to the Certifier and Council prior to the issuing of a Construction Certificate. The Certifier must ensure that the recommendations of the acoustic assessment are incorporated in the construction drawings and documentation prior to the issuing of the relevant Construction Certificate.

A4. Prior to the issue of a Construction Certificate the Applicant is to engage an Electrolysis Expert to prepare a report on the Electrolysis Risk to the development from stray currents. The Applicant must incorporate in the development all the measures recommended in the report to control that risk. A copy of the report is to be provided to the Certifier with the application for a Construction Certificate. The Certifier must ensure that the recommendations of the electrolysis report are incorporated in the construction drawings and documentation prior to the issuing of the relevant Construction Certificate.

A5. Prior to the issuing of a Construction Certificate the Applicant must submit to Sydney Trains a plan showing all craneage and other aerial operations for the development and must comply with all Sydney Trains’ requirements. If required by Sydney Trains, the Applicant must amend the plan showing all craneage and other aerial operations to comply with all Sydney Trains’ requirements. The Certifier is not to issue the Construction Certificate until written confirmation has been received from the Sydney Trains confirming that this condition has been satisfied.

A6. The design, installation and use of lights, signs, and reflective materials, whether permanent or temporary, which are (or from which reflected light might be) visible from the rail corridor must limit glare and reflectivity to the satisfaction of the rail operator. The Certifier is not to issue the Construction Certificate until written confirmation has been received from Sydney Trains confirming that this condition has been satisfied.

A7. Given the possible likelihood of objects being dropped or thrown onto the rail corridor from balconies, windows, and other external features (e.g., roof terraces and external fire escapes) that are within 20 metres of, and face, the rail corridor, the development must have measures installed, to the satisfaction of Sydney Trains (e.g., awning windows, louvres, enclosed balconies, window restrictors etc.) which prevent the throwing of objects onto the rail corridor. The Certifier is not to issue the Construction Certificate until written confirmation has been received from Sydney Trains confirming that this condition has been satisfied.

A8. Prior to the issuing of a Construction Certificate, the following final version rail specific items are to be submitted to Sydney Trains for review, comment, and written endorsement:

- Machinery to be used during excavation/construction.

- Demolition, excavation, and construction methodology and staging.

The Certifier is not to issue the Construction Certificate until it has received written confirmation from Sydney Trains that this condition has been complied with.

A9. The Applicant/Developer shall not at any stage block rail corridor access via Chandos Street Carpark, or commuter access to the station via Sergeant’s Lane, and should make provision for easy and ongoing 24/7 access by rail vehicles, plant, and equipment to support maintenance and emergency activities.

A10. Prior to the issue of an Occupation Certificate (whether an interim or final Occupation Certificate), a report must be prepared and submitted to the Certifying Authority, Council and Sydney Trains certifying that the completed development meets the requirements of State Environmental Planning Policy (Transport and Infrastructure) 2021 and with the Department of Planning and Infrastructure’s Development Assessment Guideline titled “Development Near Rail Corridors and Busy Roads - Interim Guidelines” as set down in the subject condition of this consent. Such a report must include external and internal noise levels to ensure that the external noise levels during the test are representative of the typical maximum levels that may occur at this development, and that internal noise levels meet the required dB(A) levels. Where it is found that internal noise levels are greater than the required dB(A) level, necessary corrective measures must be carried out to ensure that internal noise levels are compliant with the requirements of this consent.

A11. If required by Sydney Trains, prior to the issue of a Construction Certificate a Risk Assessment/Management Plan and detailed Safe Work Method Statements (SWMS) for the proposed works are to be submitted to Sydney Trains for review and comment on the impacts on rail corridor. The Certifier is not to issue the Construction Certificate until written confirmation has been received from Sydney Trains confirming that this condition has been satisfied.

A12. If required by Sydney Trains, prior to the commencement of works or at any time during the excavation and construction period deemed necessary by Sydney Trains, a joint inspection of the rail infrastructure and property in the vicinity of the project is to be carried out by representatives from Sydney Trains and the Applicant. These dilapidation surveys will establish the extent of any existing damage and enable any deterioration during construction to be observed. The submission of a detailed dilapidation report will be required within 10 days following the undertaking of the inspection, unless otherwise notified by Sydney Trains.

A13. If required by Sydney Trains, prior to the issue of the Occupation Certificate, or at any time during the excavation and construction period deemed necessary by Sydney Trains, a joint inspection of the rail infrastructure and property in the vicinity of the project is to be carried out by representatives from Sydney Trains and the Applicant. These dilapidation surveys will establish the extent of any existing damage and enable any deterioration during construction to be observed. The Certifier is not to issue the final Occupation Certificate until written confirmation has been received from Sydney Trains confirming that this condition has been satisfied.

A14. If required, prior to the issue of a Construction Certificate the Applicant is to contact Sydney Trains External Interface Management team to determine the need for public liability insurance cover. If insurance cover is deemed necessary, this insurance must be for a sum as determined by Sydney Trains and shall not contain any exclusion in relation to works on or near the rail corridor and rail infrastructure and must be maintained for the duration specified by Sydney Trains. The Applicant is to contact Sydney Trains External Interface Management team to obtain the level of insurance required for this particular proposal. Prior to issuing the Construction Certificate the Certifier must witness written proof of this insurance in conjunction with Sydney Trains’ written advice to the Applicant on the level of insurance required.

A15. If required, prior to the issue of a Construction Certificate the Applicant is to contact Sydney Trains External Interface Management team to determine the need for the lodgement of a Bond or Bank Guarantee for the duration of the works. The Bond/Bank Guarantee shall be for the sum determined by Sydney Trains. Prior to issuing the Construction Certificate the Certifier must witness written advice from Sydney Trains confirming the lodgement of this Bond/Bank Guarantee.

A16. During all stages of the development the Applicant must take extreme care to prevent any form of pollution entering the rail corridor. Any form of pollution that arises as a consequence of the development activities shall remain the full responsibility of the Applicant.

A17. Excess soil is not allowed to enter, be spread, or stockpiled within the rail corridor (and its easements) and must be adequately managed/disposed of.

A18. The Applicant must ensure that all drainage from the development is adequately disposed of and managed and not allowed to be discharged into the rail corridor unless prior written approval has been obtained from Sydney Trains.

A19. No work is permitted within the rail corridor or any easements which benefit Sydney Trains/TAHE (Transport Asset Holding Entity), at any time, unless the prior approval of, or an Agreement with, Sydney Trains/TAHE (Transport Asset Holding Entity) has been obtained by the Applicant. The Certifier is not to issue the Construction Certificate until written confirmation has been received from Sydney Trains confirming that this condition has been satisfied.

A20. Sydney Trains or Transport for NSW, and persons authorised by those entities for the purpose of this condition, must be permitted to inspect the site of the development and all structures to enable it to consider whether those structures have been or are being constructed and maintained in accordance with the approved plans and the requirements of this consent, on giving reasonable notice to the principal contractor for the development or the owner or occupier of the part of the site to which access is sought.

A21. Where a condition of consent requires Sydney Trains or Transport for NSW endorsement the Certifier is not to issue a Construction Certificate or Occupancy Certificate, as the case may be, until written confirmation has been received from those entities that the particular condition has been complied with. The issuing of staged Construction Certificates dealing with specific works and compliance conditions can be issued subject to written agreement from those entities to which the relevant conditions applies.

A22. Copies of any certificates, drawings, approvals/certification, or documents endorsed by, given to, or issued by Sydney Trains or TAHE (Transport Asset Holding Entity) must be submitted to Council for its records prior to the issuing of the applicable Construction Certificate or Occupation Certificate.

A23. The Applicant must ensure that at all times they have a representative (which has been notified to Sydney Trains in writing), who:

- oversees the carrying out of the Applicant’s obligations under the conditions of this consent and in accordance with correspondence issued by Sydney Trains;

- acts as the authorised representative of the Applicant; and

- is available (or has a delegate notified in writing to Sydney Trains that is available) on a 7 day a week basis to liaise with the representative of Sydney Trains, as notified to the Applicant.

A24. Without in any way limiting the operation of any other condition of this consent, the Applicant must, during demolition, excavation and construction works, consult in good faith with Sydney Trains in relation to the carrying out of the development works and must respond or provide documentation as soon as practicable to any queries raised by Sydney Trains in relation to the works.

A25. Where a condition of consent requires consultation with Sydney Trains, the Applicant shall forward all requests and/or documentation to the relevant Sydney Trains External Interface Management team. In this instance the relevant interface team is North Interface, and they can be contacted via email on North_Interface@transport.nsw.gov.au.

(Reason:	To ensure compliance with the terms of approval of Transport for NSW)

# Airports (Protection of Airspace)

- A.	The building must not exceed a maximum height of 211.4 metres AHD, including all lift over-runs, vents, chimneys, aerials, antennas, lightning rods, any roof top garden plantings, exhaust flues etc.

- B.	The building must be obstacle lit by medium intensity steady red lighting during the hours of darkness and periods of low visibility at the highest point. Obstacle lights are to be arranged as per section 9.31 of the Civil Aviation Safety Regulations 1998 - Part 139 (Aerodromes) Manual of Standards (MOS). Characteristics for medium intensity steady red are stated in section 9.33 of MOS.

- C.	The proponent must ensure obstacle lighting is maintained in serviceable condition and any outage immediately notified to SACL.

D.	The Proponent must ensure the obstacle lighting has remote monitoring capability. For detailed requirements for the monitoring of obstacle lights within the aerodrome's OLS refer to section 9.36 of the MOS. In addition:

•	The proposed obstacle lighting system must incorporate an alarm system that will provide remote monitoring to notify the designated person responsible for the maintenance of the obstacle lighting.

•	The designated person must be available 24 hours per day, 7 days per week.

•	In the event of the obstacle lighting being inoperable, the designated person must immediately contact the Sydney Airport Airfield Operations Supervisor on 0419 278 208 or 02 9667 9824 to advise of the outage.

•	Action must be taken to repair the obstacle lighting within 12 hours of the light not being operational.

•	The contact details of the person responsible for the monitoring of the obstacle lighting must be sent to Sydney Airport prior to commencement of the obstacle lighting becoming operational and must be kept up to date.

•	Once the obstacle lighting is working again, the person responsible for the maintenance of the obstacle lighting must notify the Sydney Airport Airfield Operations Supervisor

E.	Separate approval must be sought under the Regulations for any equipment (e.g. cranes, concrete pumps) required to construct the building. Construction cranes or concrete pumps may be required to operate at a height significantly higher than that of the proposed controlled activity and consequently, may not be approved under the Regulations. Therefore, it is advisable that approval to operate construction equipment (e.g. cranes, concrete pumps) be obtained prior to any commitment to construct.

F.	The proponent must advise Airservices Australia at least three business days prior to the controlled activity commencing by emailing ifp@airservicesaustralia.com and quoting YSSY-CA-106 P3.

G.	Following completion of the building, the Proponent must advise SACL, in writing:

a) that the future owner(s)/manager(s) of the building have been informed of their obligation to maintain the obstacle lighting in accordance with conditions of this approval; and

b) the contact details of the person/position responsible for the maintenance of the obstacle lighting. These details must be reviewed regularly and kept up to date.

G.	On completion of construction of the building, the Proponent must provide SACL with a written report from a certified surveyor on the finished height of the building.

H.	A separate assessment and approval under the Regulations will be required for any further addition to the height of the building (including the installation of antennas) as it will increase the penetration of the OLS.

(Reason:	To ensure compliance with the terms of approval of the Department of infrastructure, Transport, Regional Development, Communications and the Arts)

# Ausgrid

- The substation ventilation openings, including substation duct openings and louvered panels, must be separated from building air intake and exhaust openings, natural ventilation openings and boundaries of adjacent allotments, by separation distances which meet the requirements of all relevant authorities, building regulations, BCA and Australian Standards including AS 1668.2: The use of ventilation and air-conditioning in buildings - Mechanical ventilation in buildings.

In addition to above, Ausgrid requires the substation ventilation openings, including duct openings and louvered panels, to be separated from building ventilation system air intake and exhaust openings, including those on buildings on adjacent allotments, by not less than 6 metres.

Exterior parts of buildings within 3 metres in any direction from substation ventilation openings, including duct openings and louvered panels, must have a fire rating level (FRL) of not less than 180/180/180 where the substation contains oil-filled equipment, or 120/120/120 where there is no oil filled equipment and be constructed of non-combustible material.

The development must comply with both the Reference Levels and the precautionary requirements of the ICNIRP Guidelines for Limiting Exposure to Time-varying Electric and Magnetic Fields (1 HZ – 100 kHZ) (ICNIRP 2010).

Note: For further details on fire segregation requirements refer to Ausgrid's Network Standard 113.

Existing Ausgrid easements, leases and/or right of ways must be maintained at all times to ensure 24 hour access. No temporary or permanent alterations to this property tenure can occur without written approval from Ausgrid.

(Reason:	To ensure consideration be given to the compatibility of proposed development with existing Ausgrid infrastructure, particularly in relation to risks of electrocution, fire risks, Electric & Magnetic Fields (EMFs), noise, visual amenity and other matters that may impact on Ausgrid or the development)

# Plan of Management

- A plan of management for use of the communal open space areas is to be provided to the Principal Certifier prior to the issue of a construction certificate for the façade, fitout and public domain. The plan of management must detail or include:

- hours of use of the communal open space areas, which shall be restricted to between 8am to 10pm;

- provisions that no amplified music to be played;

- measures to ensure that the amenity and safety of persons within the development and in nearby existing and future development is maintained;

locations and type of signage in the building which inform residents and visitors of the requirements of the plan of management.

The approved plan of management:

  - Must be incorporated into the Owners Corporation by-laws in any future Strata subdivision and a sign in the front entry of the building shall be included to ensure the use of this space is monitored and understood by all occupants; and

  - Must be adhered to at all times.

(Reason:  To ensure residential amenity is maintained and noise impacts are minimised)

# Services and Fire Hydrant Enclosure

- Prior to the issue of a Construction Certificate for works above ground slab level, the Certifying Authority is to be provided with plans demonstrating that all Services (Gas meter, water meter & fire hydrant and sprinkler booster valves and the like) are enclosed in a manner that complements the building and in accordance with the requirements of the BCA.

(Reason: To ensure essential services are appropriately screened)

## D.	Prior to the Commencement of any Works (and continuing where indicated)

# Protection of Trees	D2

- All trees that are specifically nominated to be retained by notation on plans or by condition as a requirement of this consent must be maintained and protected during demolition, excavation and construction on the site in accordance with AS4970-2009 (Protection of trees on development sites).

A report containing recommendations, and methods of tree protection prepared by an appropriately qualified person must be provided to the Principal Certifier for approval by an appropriately qualified person prior to commencement of any works on the site. Any recommendations must be undertaken for the duration of works on the site.

Sensitive construction techniques including hand excavation, pier & beam construction & flexible location of piers/footings shall be used within the TPZ of any protected tree.  No roots greater than 40mm shall be cut. No stormwater or any other underground services shall be directed through the TPZ of any protected tree.

(Reason:	To ensure compliance with the requirement to retain significant planting on the site)

# Tree Protection Measures	D#

- The tree protection measures detailed in the approved Tree Protection and Management Plan, and as directed by the project arboriculturist shall be established before work commences.

(Reason:	To ensure that the stability and ongoing viability of trees being retained are not compromised Tree protection measures)

# Project Arborist Engaged	D2

- 	The project arboriculturist shall inspect tree protection measures and certify in writing to the Principal Principal Certifier the measures comply with the approved Tree Protection Plan and as directed by the project arboriculturist before work commences.

- The project arboriculturist shall provide guidance and oversight of tree protection and management to ensure that the stability and ongoing viability of trees being retained is not compromised.

- The project arboriculturist must contact the tree pruning contractor and Council’s Tree Management Officer (giving at least two (2) working days’ notice) to arrange a joint site meeting, prior to commencing any pruning, to determine the exact location and extent of pruning that is permissible, with the tree pruning contractor to comply with any instructions issued by Council, acting reasonably.

- Any pruning must be undertaken by a practicing arborist with a minimum Australian Qualification Framework Level 3 in arboriculture, in accordance with the principles of the Australian Standard AS 4373-2007 ’Pruning of Amenity Trees,' and the NSW Work Cover Code of Practice for the Amenity Tree Industry (1998), as well as any instructions issued on site by Council, acting reasonably.

- The practicing arborist must keep a log of dates and times of when they attended the site, the type of works that were performed, and must form part of the certification required prior to Occupation.

(Reason:	To ensure compliance with the requirement to retain significant planting on the site)

# Protection of Public Trees	D##

- The following tree(s) are required to be protected and retained as part of the development consent in accordance with AS 4970-2009 – Protection of trees on development sites:

| Tree | Location | Protection |
| --- | --- | --- |
| T1-T4 Platanus x acerifolius (to17m) | Council verge in front of 100 Christie Street - (S East) | Trunk, branch and root protection |
| T10-T13 Platanus x acerifolia (to17m) | Council verge in front of 100 Christie Street - Chandos St frontage | Trunk, branch and root protection |
| T14 Platanus x acerifolia (17m) | Council verge in front of 100 Christie Street - Sergeants Lane frontage | Trunk, branch and root protection |

Trunk protection to be installed by first wrapping the stem of the tree in hessian or like material then strapping timber battens over the top. It is recommended that timber battens with the dimensions of length 2000mm, width 75mm and depth 50mm are used. The battens are not to be directly screwed or nailed into the tree.

Plans and specifications complying with this condition must be submitted to the Principal Certifier for approval prior to the issue of any Construction Certificate. The Principal Certifier must ensure that the building plans and specifications submitted, referenced on and accompanying the issued Construction Certificate, fully satisfy the requirements of this condition.

(Reason:	Protection of existing environmental and community assets)

# Temporary Fences and Tree Protection	D3

- All protected trees on-site that are specifically nominated as per Condition C25 to be retained by notation on plans or by condition as a requirement of this consent must be tagged with luminous tape or the like for purposes of identification prior to demolition, excavation or construction works and must remain so for the duration of works on the site.  No materials or builder’s waste are to be stored in the vicinity of the nominated tree/trees at any time.

Appropriate fencing or barricades in accordance with AS4970-2009 (Protection of trees on development sites), not less than the distance shown in the schedule hereunder, must be installed to the satisfaction of the Principal Certifier prior to demolition or commencement of any works and must be maintained for the duration of the works: -

(Reason:	To protect the trees to be retained on the site during construction works)

# Notice of Proposed Work (Remediation Work)	D#

- Notice of proposed work must be given to the Council.

The following additional information must be submitted with the notice to the Council:

a)	Copies of any preliminary investigation, detailed investigation and remediation action plan for the site; and

b)	Contact details for the remediation contractor and any other party responsible for ensuring compliance of remediation work with regulatory requirements.

Note:	30 days’ notice is required for any remediation work.  In the case of work required to be carried out immediately under the terms of a remediation order a minimum of two days’ notice is required)

(Reason:	Protection of the environment, SEPP (Resilience and Hazards) compliance)

# Public Liability Insurance - Works on Public Land	D7

- Any person or contractor undertaking works on public land must take out Public Risk Insurance with a minimum cover of $20 million in relation to the occupation of public land and the undertaking of approved works within Council’s road reserve or public land, as approved by this consent.  The Policy is to note and provide protection/full indemnification for North Sydney Council, as an interested party.  A copy of the Policy must be submitted to Council prior to commencement of any works.  The Policy must be valid for the entire period that the works are being undertaken.

Note:	Applications for hoarding permits, vehicular crossings etc., will require evidence of insurance upon lodgement of the application.

(Reason:	To ensure the community is protected from the cost of any claim for damages arising from works on public land)

# Sydney Water Approvals	D9

- Prior to the commencement of any works, the approved plans must be submitted to Sydney Water to determine whether the development application will affect Sydney Water’s sewer and water mains, stormwater drains and/or easements, and if further requirements need to be met. The Principal Certifier must ensure that Sydney Water has appropriately stamped the plans before the commencement of building works.

Notes:

  - Sydney Water Building Plan Approvals can be obtained from the Sydney Water Tap in™ online service. Building plans must be submitted to the Tap in™ to determine whether the development will affect any Sydney Water sewer or water main, stormwater drains and/or easement, and if further requirements need to be met. For further information visit http:// ‌www.sydney‌water. ‌com.au/tapin/index.htm or call 13 000 TAP IN (1300 082 746) for further information.

(Reason:	To ensure compliance with Sydney Water requirements)

# Asbestos Material Survey	D10

- Prior to the commencement of any works, a report must be prepared by a suitably qualified person in relation to the existing building fabric to be demolished and/or disturbed identifying the presence or otherwise of asbestos contamination and, if asbestos contamination is present, making recommendations as to the work required to safely address the contamination.

Any demolition works or other works identified in the report as having to be carried out must be carried out in accordance with the recommendations of the report and the following:

    - the removal of asbestos must be undertaken by a WorkCover licensed contractor;

    - all removal must be in strict accordance with the requirements of the WorkCover Authority in relation to the removal, handling and disposal of material containing asbestos and any Work Safe Australia requirements.

    - during the removal of any asbestos a sign stating “DANGER ASBESTOS REMOVAL IN PROGRESS” must be erected in a visible position at the boundary of the site; and

    - Waste disposal receipts must be provided to the Principal Certifier as proof of correct disposal of asbestos laden waste.

- The report must be submitted to the Principal Certifier for approval prior to the issue of any Construction Certificate. The Principal Certifier must ensure that the report, and other plans, referenced on and accompanying the issued Construction Certificate, fully satisfy the requirements of this condition.

(Reason:	To ensure the long-term health of workers on site and occupants of the building is not put at risk unnecessarily)

# Commencement of Works’ Notice	D11

- Building work, demolition or excavation in accordance with this development consent must not be commenced until the developer has given at least two days’ notice to North Sydney Council of the person’s intention to commence building work, demolition or excavation in accordance with this development consent.

(Reason:	To ensure appropriate safeguarding measures are in place prior to the commencement of any building work, demolition or excavation)

## E.	During Demolition and Building Work

# Reuse of Sandstone 	E2

- Sandstone blocks (if any) removed from the site are to be either stored for re-use on site or offered to Council in the first instance.

Note:	The provisions of the Heritage Act may also apply to altering any sandstone elements on any site.

- (Reason:	To allow for preservation of cultural resources within the North Sydney Council area)

# Parking Restrictions	E3

- Existing public parking provisions in the vicinity of the site must be maintained at all times during works. The placement of any barriers, traffic cones, obstructions or other device in the road shoulder or kerbside lane is prohibited without the prior written consent of Council. Changes to existing public parking facilities/restrictions must be approved by the North Sydney Local Traffic Committee. The Developer will be held responsible for any breaches of this condition and will incur any fines associated with enforcement by Council regulatory officers.

(Reason:	To ensure that existing kerbside parking provisions are not compromised during works)

# Road Reserve Safety	E4

- All public footways and roadways fronting and adjacent to the site must be maintained in a safe condition at all times during the course of the development works, with no obstructions caused to the said footways and roadways. Construction materials and plant must not be stored in the road reserve without approval of Council.. A safe pedestrian circulation route and a pavement/route free of trip hazards must be maintained at all times on or adjacent to any public access ways fronting the construction site.

- Where public infrastructure is damaged, repair works must be carried out in when and as directed by Council officers (at full Developer cost). Where pedestrian circulation is diverted on to the roadway or verge areas, clear directional signage and protective barricades must be installed in accordance with AS1742-3 (1996) “Traffic Control Devices for Work on Roads.” If pedestrian circulation is not satisfactorily maintained across the site frontage, and action is not taken promptly to rectify the defects, Council may undertake proceedings to stop work.

- (Reason:	Public Safety)

# Temporary Disposal of Stormwater Runoff	E5

- During construction, stormwater runoff must be disposed in a controlled manner that is compatible with the erosion and sediment controls on the site. Immediately upon completion of any impervious areas on the site (including roofs, driveways, paving) and where the final drainage system is incomplete, the necessary temporary drainage systems must be installed to reasonably manage and control runoff as far as the approved point of stormwater discharge. Such ongoing measures must be to the satisfaction of the Principal Certifier.

- (Reason:	Stormwater control during construction)

# Service Adjustments	E6

- Where required, the adjustment or inclusion of any new utility service facilities must be carried out by the person acting on the consent and in accordance with the requirements of the relevant utility authority. These works shall be at no cost to Council. It is the Applicants full responsibility to make contact with the relevant utility authorities to ascertain the impacts of the proposal upon utility services at the appropriate stage of the development (including water, phone, gas and the like). Council accepts no responsibility whatsoever for any matter arising from its approval of this application involving any influence upon utility services provided by another authority.

(Reason:	To ensure the service requirements are met)

# Geotechnical Stability during Works	E7

- A contractor with specialist excavation experience must undertake the excavations for the development and a suitably qualified and consulting geotechnical engineer must oversee the excavation procedure.

- Geotechnical aspects of the development work, namely appropriate excavation method and vibration control, support and retention of excavated faces, and hydrogeological considerations must be undertaken in accordance with the recommendations of the Geotechnical Engineer and all subsequent geotechnical inspections carried out during the excavation and construction phase.

- Approval must be obtained from all affected property owners, including North Sydney Council where rock anchors (both temporary and permanent) are proposed below adjacent private or public property.

(Reason:	Ensure appropriate professional are engaged at appropriate stages during construction)

# Council Inspection of Public Infrastructure Works	E8

- During the works on public infrastructure reverting to Council’s care and control, Council’s development engineer may undertake inspections of the works at the following hold points:

- Vehicular access; and associated road civil works

All works must proceed in accordance with Roads Act 1993 approvals or other permits relating to roads issued by Council. A minimum of 48 hours’ notice must be given to Council to book an inspection. Work must not proceed until the works or activity covered by the inspection is approved.

- (Reason:	To ensure quality of construction joints and connections in the drainage system)

# Progress Survey	E9

- In order to ensure compliance with approved plans, a Survey Certificate, to Australian Height Datum, must be prepared by a Registered Surveyor as follows: -

- at the completion of the first structural floor level indicating the level of that floor and the relationship of the building to the boundaries;

- at the completed height of the building, prior to the placement of concrete inform work, or the laying of roofing materials; and

- at completion, the relationship of the building, and any projections thereto, to the boundaries.

Progress certifications in response to points (a) through (c) must be provided to the Principal Certifier for approval at the time of carrying out relevant progress inspections. In the event that such survey information is not provided or reveals discrepancies between the approved plans and the proposed works, all works, save for works necessary to bring the development into compliance with the approved plans, must cease. Works may only continue upon notification by the Principal Certifier to the Applicant that survey information (included updated survey information following the carrying out of works to comply with the approved plans) complies with this condition.

(Reason:	To ensure compliance with approved plans)

# Dust Emission and Air Quality	E12

- The following must be complied with at all times:

- (a)	Materials must not be burnt on the site.

(b)	Vehicles entering and leaving the site with soil or fill material must be covered.

(c)	Dust suppression measures must be carried out to minimise wind-borne emissions in accordance with the NSW Department of Housing’s 1998 guidelines - Managing Urban Stormwater: Soils and Construction.

(d)	Odour suppression measures must also be carried out where appropriate so as to prevent nuisance occurring at adjoining properties.

(Reason:	To ensure residential amenity is maintained in the immediate vicinity)

# Noise and Vibration	E13

- The works must be undertaken in accordance with the “Interim Construction Noise Guideline” published by the NSW Environment Protection Authority, to ensure excessive levels of noise and vibration do not occur so as to minimise adverse effects experienced on any adjoining land.

(Reason:	To ensure residential amenity is maintained in the immediate vicinity)

# Compliance with Construction Noise Management Plan	E14

- All works conducted on site which form part of this development must be carried out in accordance with the submitted Construction Noise Management Plan submitted with the Construction Certificate and all conditions of consent.

(Reason:	To ensure noise generating activities are appropriately managed and nearby sensitive receivers protected)

# No Work on Public Open Space		E15

- No work can be undertaken within adjoining public lands (i.e., Parks, Reserves, Roads etc) without the prior written consent of Council.  In this regard the developer is to liaise with Council prior to the commencement of any design works or preparation of a Construction and Traffic Management Plan.

(Reason:	Protection of existing public infrastructure and land and to ensure public safety and proper management of public land)

# Applicant's Cost of Work on Council Property	E16

- The applicant or the person, company or other entity that is acting upon this consent, must bear the cost of all works associated with the development that occurs on Council’s property, including the restoration of damaged areas.

(Reason:	To ensure the proper management of public land and funds)

# No Removal of Trees on Public Property	E17

- No trees on public property (footpaths, roads, reserves, etc.) unless specifically approved by this consent shall be removed or damaged during construction including for the erection of any fences, hoardings or other temporary works.

(Reason:	Protection of existing environmental infrastructure and community assets)

# Protection of Trees	E18

- All trees required to be retained, as part of this consent must be protected from any damage during construction works in accordance with AS4970-2009. All recommendations contained within the tree report prepared by Rain Tree Consulting dated 19 December 2022, must be implemented for the duration of the works.

In the event that any tree required to be retained is damaged during works on the site, notice of the damage must be given to Council forthwith.

Notes:

        - If the nominated tree is damaged to a significant degree or removed from the site without prior written approval being obtained from Council, the issuing of fines or legal proceedings may be commenced for failure to comply with the conditions of this consent.

        - An application to modify this consent pursuant to Section 4.55 of the Environmental Planning and Assessment Act 1979 will be required to address the non-compliance with any of the conditions of consent relating to the retention of nominated trees, and Council may require tree replenishment.

(Reason:	Protection of existing environmental infrastructure and community assets)

# Trees to be Removed	E19

- All trees on the site must be protected and retained save for those expressly identified below as being approved for removal:

| Trees that are acceptable to remove | Location | Height |
| --- | --- | --- |
| T5-T8 Platanus X acerifolia | Council verge in front of 100 Christie Street - to south of roundabout | To 14m |
| T9 Platanus X acerifolia | NE corner - 100 Christie Street | 11m x 9m |
| T15 Tristaniopsis laurina | Northern setback - 100 Christie Street | 5m |
| T16 Lagerstroemia indica | Northern setback - 100 Christie Street | 5m |
| T17 5 x Murraya paniculata | Northern setback - 100 Christie Street | 5m |
| T18 3 x Michelia figo | Northern setback - 100 Christie Street | 5m |
| T19 Michelia figo | Northern setback - 100 Christie Street | 5m |
| T20 4 x Murraya paniculata | Northern setback - 100 Christie Street | 5m |

(Reason:	To ensure compliance with the terms of this development consent)

# Special Permits	E21

- Unless otherwise specifically approved in writing by Council, all works, processes, storage of materials, loading and unloading associated with the development must occur entirely on the property.

- The developer, owner or builder may apply for specific permits available from Council’s Customer Service Centre for the undermentioned activities on Council’s property.  In the event that a permit is granted by Council for the carrying out of works, processes, storage of materials, loading and unloading associated with the development on Council's property, the development must be carried out in accordance with the requirements of the permit. A minimum of forty-eight (48) hours’ notice is required for any permit:

1)	On-street mobile plant

E.g., cranes, concrete pumps, cherry-pickers, etc., - restrictions apply to the hours of operation, the area of operation, etc.  Separate permits are required for each occasion and each piece of equipment.  It is the developer's, owner’s and builder’s responsibilities to take whatever steps are necessary to ensure that the use of any equipment does not violate adjoining property owner’s rights.

(Reason:	Proper management of public land)

2)	Hoardings

Permits are required to erect Class A and Class B hoardings.  If an ‘A’ Class hoarding is to alienate a section of Council’s property, that section will require a permit for the occupation of Council’s property.

(Reason:	Proper management of public land)

3)	Storage of building materials and building waste containers (skips) on Council’s property

Permits to utilise Council property for the storage of building materials and building waste containers (skips) are required for each location.  Failure to obtain the relevant permits will result in the building materials or building waste containers (skips) being impounded by Council with no additional notice being given. Storage of building materials and waste containers on open space reserves and parks is prohibited.

(Reason:	Proper management of public land)

4)	Kerbside restrictions, construction zones

Attention is drawn to the existing kerbside restrictions adjacent to the development.  Should alteration of existing kerbside restrictions be required, or the provision of a construction zone, the appropriate application must be made and the fee paid to Council. Alternatives to such restrictions may require referral to Council’s Traffic Committee and may take considerable time to be resolved.  An earlier application is suggested to avoid delays in construction programs.

(Reason:	Proper management of public land)

# Noxious Plants	E22

- All lantana, privet, rubber trees, asthma weed, and other declared noxious plants on the site, must be eradicated before the commencement of landscape works.

(Reason:	To ensure that plants identified as weed species are not allowed to proliferate or interfere with a quality landscaping outcome)

# Construction Hours		E23A

- Construction activities and works approved under this consent must be restricted to within the hours stipulated in the following table:

| Standard Construction Hours |  |  |
| --- | --- | --- |
| Location | Day | Hours |
| C2 Commercial Centre | Monday - Friday | 7.00 am - 7.00 pm |
|  | Saturday | 8.00 am - 1.00 pm |
|  | Sunday, Public holiday | No work permitted |

Construction activities for development approved under this consent must be carried out in accordance with the standard construction hours above, the EPA Noise Policy for Industry 2017 and any Construction Noise Management Plan required under this consent.

In the event of breach to the approved hours of construction Council take may take enforcement action under Part 9 of the EP&A Act 1979 and in accordance with Council’s adopted Compliance and Enforcement Policy.

(Reason:	To ensure that works do not interfere with reasonable amenity expectations of residents and the community)

# Installation and Maintenance of Sediment Control	E25

- Erosion and sediment controls must be installed and maintained at all times in accordance with the Sediment and erosion control plan submitted and approved with the Construction Certificate.

- Erosion and sediment measures must be maintained in accordance with the publication Managing Urban Stormwater: Soils and Construction (4th Edition, Landcom, 2004), commonly referred to as the “Blue Book” and can only be removed when development activities have been completed and the site fully stabilised.

(Reason:	To protect the environment from the effects of sedimentation and erosion from development sites)

# Sediment and Erosion Control Signage	E26

- A durable sign must be erected during building works in a prominent location on site, warning of penalties should appropriate erosion and sedimentation control devices not be maintained. A sign of the type referred to in this condition is available from Council.

(Reason:	To protect the environment from the effects of sedimentation and erosion from development sites)

# Site Amenities and Facilities	E28

- Where work involved in the erection and demolition of a building is being carried out, amenities which satisfy applicable occupational health and safety and construction safety regulations, including any WorkCover Authority requirements, must be provided and maintained at all times.  The type of work-place determines the type of amenities required.

Further information and details can be obtained from the Internet at www.workcover.‌nsw.‌gov.au.

(Reason:	To ensure the health and safety of the community and workers on the site)

# Health and Safety	E29

- All work undertaken must satisfy applicable occupational health and safety and construction safety regulations, including any WorkCover Authority requirements to prepare a health and safety plan.  Site fencing must be installed sufficient to exclude the public from the site.  Safety signs must be erected that warn the public to keep out of the site and provide a contact telephone number for enquiries.

Further information and details regarding occupational health and safety requirements for construction sites can be obtained from the internet at www.workcover.nsw.gov.au.

(Reason:	To ensure the health and safety of the community and workers on the site)

# Prohibition on Use of Pavements	E32

- Building materials must not be placed on Council's footpaths, roadways, parks or grass verges, (unless a permit is obtained from Council beforehand). A suitable sign to this effect must be erected adjacent to the street alignment.

(Reason:	To ensure public safety and amenity on public land)

# Plant and Equipment Kept Within Site	E33

- All plant and equipment used in the undertaking of the development/works, including concrete pumps, wagons, lifts, mobile cranes, hoardings etc, must be situated within the boundaries of the site (unless a permit is obtained from Council beforehand) and so placed that all concrete slurry, water, debris and the like must be discharged onto the building site, and is to be contained within the site boundaries.

Details of Council requirements for permits on public land for standing plant, hoardings, storage of materials and construction zones and the like are available on Council’s website at www.north‌sydney. ‌nsw.gov.au.

(Reason:	To ensure public safety and amenity on public land)

# Waste Disposal		E35

- All records demonstrating the lawful disposal of waste must be retained and kept readily accessible for inspection by regulatory authorities such as North Sydney Council and the Environmental Protection Authority.

(Reason:	To ensure the lawful disposal of construction and demolition waste)

# Asbestos Removal	E36

- All demolition works involving the removal and disposal of asbestos cement must only be undertaken by contractors who hold a current WorkCover Asbestos or “Demolition Licence” and a current WorkCover “Class 2 (Restricted) Asbestos Licence and removal must be carried out in accordance with National Occupational Health and Safety Commission.

(Reason:	To ensure works are carried out in accordance with relevant WorkCover requirements)

# Service Adjustments 	E37

- Where required, the adjustment or inclusion of any new utility service or facilities must be carried out by an appropriate contractor in accordance with the requirements of the relevant utility authority.

- These works shall be at no cost to Council. It is the Applicant’s responsibility to contact the relevant utility authorities to ascertain the impacts of the proposal upon utility services prior to the commencement of any work, including demolition (including water, phone, gas and the like).

- Council accepts no responsibility for any impact on or influence upon utility services provided by another authority.

(Reason:	To ensure the service requirements are met)

## F.	Prescribed Conditions imposed under EP&A Act and Regulations and other relevant Legislation

# National Construction Code	F1

- All building work must be carried out in accordance with the provisions of the National Construction Code.

(Reason:	Prescribed - Statutory)

# Appointment of Principal Certifier (PC)	F3

- Building work, demolition or excavation in accordance with the development consent must not be commenced until the developer has appointed a Principal Certifier for the building work in accordance with the provisions of the EP&A Act and its Regulations.

(Reason:	Statutory: To ensure appropriate safeguarding measures are in place prior to the commencement of any building work, demolition or excavation)

# Construction Certificate	F4

- Building work, demolition or excavation in accordance with the development consent must not be commenced until a Construction Certificate for the relevant part of the building work has been issued in accordance with the provisions of the EP&A Act and its Regulations.

(Reason:	Statutory: To ensure appropriate safeguarding measures are in place prior to the commencement of any building work, demolition or excavation)

# Occupation Certificate	F5

- A person must not commence occupation or use of the whole or any part of a new building (new building includes an altered portion of, or an extension to, an existing building) unless an Occupation Certificate has been issued in relation to the building or part. Only the Principal Certifier appointed for the building work can issue an Occupation Certificate.

(Reason:	Statutory)

# Critical Stage Inspections	F6

- Building work must be inspected by the Principal Certifier on the critical stage occasions prescribed by the EP&A Act and its Regulations, and as directed by the appointed Principal Certifier.

(Reason:	Statutory)

# Commencement of Works’ Notice	F7

- Building work, demolition or excavation in accordance with this development consent must not be commenced until the developer has given at least two days’ notice to North Sydney Council of the person’s intention to commence the erection of the building.

(Reason:	Statutory: To ensure appropriate safeguarding measures are in place prior to the commencement of any building work, demolition or excavation)

# Excavation/Demolition	F8

- 1)	All excavations and backfilling associated with the erection or demolition of a building must be executed safely and in accordance with appropriate professional standards.

2)	All excavations associated with the erection or demolition of a building must be properly guarded and protected to prevent them from being dangerous to life or property.

3)	Demolition work must be undertaken in accordance with the provisions of AS2601- Demolition of Structures.

(Reason:	To ensure that work is undertaken in a professional and responsible manner and protect adjoining property and persons from potential damage)

# Protection of Public Places	F9

- 1)	A hoarding and site fencing must be erected between the work site and adjoining public place.

2)	If necessary, an awning is to be erected, sufficient to prevent any substance from, or in connection with, the work falling into the public place.

3)	The work site must be kept lit between sunset and sunrise if it is likely to be hazardous to persons in the public place.

4)	Any such hoarding, fence or awning is to be removed when the work has been completed.

5)	No access across public reserves or parks is permitted.

Note: 	Prior to the erection of any temporary fence or hoarding over property owned or managed by Council, written approval must be obtained. Any application needs to be accompanied by plans indicating the type of hoarding and its layout. Fees are assessed and will form part of any approval given. These fees must be paid prior to the approval being given. Approval for hoardings will generally only be given in association with approved building works, maintenance or to ensure protection of the public. An application form for a Hoarding Permit can be downloaded from Council’s website.

(Reason:	To ensure public safety and the proper management of public land)

# Site Sign	F10

- 1)	A sign must be erected in a prominent position on the site

a)	stating that unauthorised entry to the work site is prohibited;

b)	showing the name of the principal contractor (or person in charge of the work site), and a telephone number at which that person may be contacted at any time for business purposes and outside working hours; and

c)	showing the name, address and telephone number of the Principal Certifier for the work.

2)	Any such sign must be maintained while to building work or demolition work is being carried out but must be removed when the work has been completed.

(Reason:	Prescribed - Statutory)

## G.	Prior to the Issue of an Occupation Certificate

# Infrastructure Repair and Completion of Works		G1

- Prior to the issue of any Occupation Certificate any and all works relating to the development:

  - in the road reserve must be fully completed; and

  - to repair and make good any damaged public infrastructure caused as a result of any works relating to the development (including damage caused by, but not limited to, delivery vehicles, waste collection, contractors, sub-contractors, concrete vehicles) must be fully repaired;

- to the satisfaction of Council Engineers at no cost to Council. Council’s development engineer must be contacted to arrange inspections of the completed works in the Public Domain.

(Reason:	Maintain quality of Public assets)

# Line Marking	G2

- A certificate prepared by an appropriately qualified and practising Civil Engineer certifying the construction, paving, line marking and signposting of [INSERT] off-street car-parking spaces, together with access driveways, in accordance with the approved development plans, appropriate Australian Standards and industry best practice as appropriate must be submitted to, and approved by, the Principal Certifier prior to issue of any Occupation Certificate.

- (Reason:	To ensure ongoing compliance with this development consent and Australian Standards relating to manoeuvring and access of vehicles)

# Access to Premises 	G3

- Prior to the issue of any Occupation Certificate, a certificate must be prepared an appropriately qualified and practising Civil Engineer certifying that access and facilities for persons with a disability in accordance with the National Construction Code and AS Disability (Access to Premises - buildings) Standards 2010 (Premises Standards) has been provided.  This certificate must be submitted to, and approved by, the Principal Certifier prior to issue of the Occupation Certificate.

(Reason:	Equitable access and facilities for people with a disability)

# Noise Certification 	G4

- Prior to issue of the any Occupation Certificate a certificate from an appropriately qualified acoustical consultant eligible for membership of the Association of Australian Acoustic Consultants is to be submitted to, and approved by, the Principal Certifier certifying that the noise and vibration from use of the development complies with the conditions of consent here-in.

(Reason:	To ensure acoustic amenity)

# Certification - Civil Works	G5

- A)	An appropriately qualified and practising Civil Engineer must certify to the Principal Certifier that the stormwater drainage system is constructed in accordance with this consent and the provisions of the applicable Australian Standard. A copy of the certificate must be submitted to Council (if it is not the Principal Certifier) upon completion of the development works and prior to the issue of an Occupation Certificate.

B)	An appropriately qualified and practicing Civil Engineer must certify to the Principal Certifier that the vehicular crossing and associated works and road works were constructed in accordance with this consent and any approval for works in the road reserve issued by the Council.  A copy of the certificate must be submitted to Council (if it is not the Principal Certifier), upon completion of the development works and prior to the issue of an Occupation Certificate.

(Reason:	Compliance with the Consent)

# Validation for Remediation	G7

- A validation and site monitoring report prepared in accordance with relevant guidelines issued under the Contaminated Land Management Act 1997 must be submitted to the Council within one month of completion of the remediation work, and prior to the issuing of any Occupation Certificate.

(Reason:	To ensure environmental amenity is maintained)

# Waste Collection	G#

- As the waste residential waste collection is unable to be serviced by Council waste vehicles the waste is to be collected by private contractor, the developer is required to advise potential purchasers that they would be paying two (2) x garbage fees, one for the private waste contractor and another for Council’s domestic waste charges. This requirement is to be communicated to prospective purchasers through a s.88B instrument applied to all apartments.

(Reason:	To provide notice to prospective purchasers of the required garbage fees)

# Utility Services 	G12

- All utility services shall be adjusted to the correct levels and/or location/s required by this consent, prior to issue of an occupation certificate. This shall be at no cost to Council.

(Reason:	To ensure compliance with the terms of this consent)

# Notification of New Address Developments 	G19

- Prior to any Occupation Certificate being issued, the person acting upon this consent must comply with the following: -

- Notify Australia Post of the address(es) as issued by Council and the location in plan form of any secondary, internal addresses, in relation to built public roads. Check Australia Post Website (www.auspost.com.au) to find your nearest Australia Post Delivery Facility.

(Reason:	To ensure that Council records are accurate, that house numbering complies with the requirements of Council’s House Numbering Policy and to assist emergency services.)

# Asbestos Clearance Certificate 	G20

- For building works where asbestos based products have been removed or altered, an asbestos clearance certificate signed by an appropriately qualified person (being an Occupational Hygienist or Environmental Consultant) must be submitted to and approved by the Principal Certifier (and a copy forwarded to Council if it is not the Principal Certifier) for the building work prior to the issue of any Occupation Certificate, the asbestos clearance certificate must certify the following: -

  - the building/land is free of asbestos; or

  - the building/land has asbestos that is presently deemed safe.

The certificate must also be accompanied by tipping receipts, which detail that all asbestos waste has been disposed of at an approved asbestos waste disposal depot. If asbestos is retained on site the certificate must identify the type, location, use, condition and amount of such material.

Note:	Further details of licensed asbestos waste disposal facilities can be obtained from www.epa.‌nsw.gov.au.

(Reason:	To ensure that building works involving asbestos based products are safe for occupation and will pose no health risks to occupants)

# Certification of Tree Condition	G21

- Prior to the issue of an Occupation Certificate, a report prepared by an appropriately qualified person (being an arborist or the like) must be submitted to the Principal Certifier, describing the health of the tree(s) specifically nominated below: -

| Tree | Location | Height |
| --- | --- | --- |
| T1-T4 Platanus X acerifolia | Council verge in front of 100 Christie Street-SE | To 17m |
| T10-T13 Platanus X acerifolia | Council verge in front of 100 Christie Street - Chandos Street frontage | To 17m |
| T14 Platanus X acerifolia | Council verge in front of 100 Christie Street -Sergeants Lane frontage | 17m |

The report must detail the condition and health of the nominated tree(s) upon completion of the works and shall certify that the tree(s) has/have not been significantly damaged during the works on the site and has/have reasonable prospects for survival.

(Reason: 	To ensure compliance with the terms of this consent)

# Disposal Information	G24

- Upon completion of works and prior to occupation, a report including the following information must be provided to Council’s Open Space and Environmental Services Department:

(a)	the total tonnage of all waste and excavated material disposed of from the site (including any tipping dockets); and

(b)	the disposal points and methods used.

(Reason:	To ensure appropriate disposal methods are undertaken for auditing and inspection purposes)

# Sydney Water	G26

- A Section 73 Compliance Certificate under the Sydney Water Act 1994 must be obtained.

The final Section 73 Certificate must be submitted to the Principal Certifier prior to release of any linen plan for subdivision or prior to occupation of the development, whichever is the earlier.

The Section 73 Certificate must be submitted to the Principal Certifier prior to the issue of the Strata Certificate. [Delete as appropriate]

Notes:	Application must be made through an authorised Water Servicing Co-ordinator, for details see the Sydney Water web site www.sydneywater.com.au\‌customer\‌urban\index, or telephone 13 20 92.

Following application, a ‘Notice of Requirements’ will be forwarded detailing water and sewer extensions to be built and charges to be paid.  Please make early contact with the Coordinator since building of water/sewer extensions can be time consuming and may impact on other services and building, driveway or landscape design.

- (Reason:	To ensure compliance with the statutory requirements of Sydney Water)

# BASIX Completion Receipt	G27

- In accordance with Section 45 of the Environmental Planning and Assessment (Development Certification and Fire Safety) Regulation 2021, prior to issuing a final occupation certificate the Principal Certifier must provide a BASIX completion receipt.

(Reason:	To ensure compliance with the Regulations)

# Landscaping	G29

- The landscaping shown in the approved landscape plan numbered RPS Australia East, dated 29 November 2023 must be completed prior to the issue of any Occupation Certificate.

(Reason:	To ensure compliance)

# Verification Statement (External Finishes and Materials)	G31

- Prior to the issue of any Occupation Certificate, a verification statement from a qualified designer or architect (preferably the original designer), must be submitted to Council and the Principal Certifier certifying that the external finishes and materials are in accordance with the approved schedule of finishes and materials identified in this consent.

“qualified designer” means a person registered as an architect in accordance with the Architects Act 2003 cf 50(1A) EP&A Regs 2000.

(Reason:	To ensure the design quality and finishes for residential flat development)

# Unpaved Verge	G34

- The unpaved verge area must be constructed or reconstructed and planted with an appropriate species of grass prior to completion of the works at no cost to Council.

(Reason:	To ensure that community assets are presented in accordance with reasonable community expectations)

# Charging Facility for Electric Vehicles to be Provided	G40

- Charging facilities for electric vehicles are to be provided in accordance with the requirements of this consent for each designated parking spot within the building.

- Certification confirming installation of charging facilities required by this condition is to be provided to the Principal Certifier must be submitted with the Final Occupation Certificate.  All costs incurred in achieving compliance with this condition shall be borne by the developer.

(Reason:	To promote sustainability and energy efficiency)

# Height

- Upon completion of the works and prior to the issue of any Occupation Certificate the RL of the development measured at RL 211.40 must be surveyed and certified by an appropriately qualified and practising surveyor as compliant with the maximum approved levels.  This survey and certification must be submitted to the Principal Certifier with the application for an Occupation Certificate and a copy provided to Council (if it is not the Principal Certifier).

(Reason:             To ensure compliance with the terms of this development consent)

# Charging Facility for Electric Vehicles to be provided

- Appropriate provision must be incorporated into the design of car parking areas to allow for the future installation of charging facilities for electric vehicles.

- Certification confirming that that electric vehicle charging points can be installed at a later time within the basement of the building as required by the Charging Facility for Electric Vehicles condition that electric vehicle charging facilities are capable of being installed in parking areas as required by this condition is to be provided to the Principal Certifier with the Final Occupation Certificate. All costs incurred in achieving compliance with this condition shall be borne by the developer.

(Reason: To promote sustainability and energy efficiency)

## Ongoing/Operational Conditions

# First Use of Premise - Further Consent Required	I2

- A separate development application for the fitout and use of 100 Christie Street must be submitted to and approved by Council prior to that fitout or use commencing.

(Reason:	To ensure development consent is obtained prior to uses commencing)

# Noise and Vibration Impact 	I8

- The ongoing use of the premises approved under this consent must comply with all conditions pertaining to noise and vibration specified in this consent.

(Reason:	To ensure compliance with the specified levels of noise and vibration and to maintain the amenity of surrounding land uses)

# Noise and Vibration Impact (Compliance)	I9

- Within 60 days of commencement of operation of the premises further acoustic testing must be undertaken and a report from an appropriately qualified acoustical consultant eligible for membership of the Association of Australian Acoustic Consultants, prepared to demonstrate that the use of the premises complies with the conditions of this consent and/or the Acoustic Report prepared by Acoustic Logic, dated 16 February 2024,

The testing must be carried out when the premises is operating at full capacity. A copy of the report must be submitted to Council within 14 days of its completion.

If the use is found not to comply with the noise conditions, the use must cease immediately until appropriate measures to remedy the breach are implemented to the satisfaction of Council.

(Reason:	To ensure compliance with acceptable noise levels to maintain the amenity of adjoining land uses)

# Loading within Site		I17

- All loading and unloading operations must be carried out wholly within the confines of the site, at all times and must not obstruct other properties or the public way.

(Reason:	To ensure that deliveries can occur safely within the site and does not adversely affect traffic or pedestrian amenity)

# Waste Collection 	I29

- Waste and recyclable material, generated by this premises, must not be collected between the hours of 10.00 pm and 6.00 am on any day.

(Reason:	To ensure the amenity of surrounding properties)

# Maintenance of Structures on Public Land	I41

- The owner of the premises at 100 Christie Street is to maintain the awning approved by this consent and located over Council’s footpath, directly adjacent to the property.  This awning must be maintained at all times to a structurally sound condition in order to provide an acceptable level of public safety.

(Reason: 	To ensure pedestrian and public safety and ensure that structures located on public land for private benefit are maintained to an acceptable standard.

# Maintenance of Approved Landscaping	I43

- The owner of the premises at 100 Christie Street is to maintain the landscaping approved by this consent generally in accordance with approved plans.

- Any replacement plants required shall be advanced in growth and be selected to maintain the anticipated mature height, canopy density and nature of those plant species as originally approved.

- Should it be desired to substitute plants which are not of the same mature height, canopy density and nature (particularly flowering for non-flowering, native for exotic, deciduous for non-deciduous or the reverse of any these) a modification to this consent will be required.

(Reason:	To ensure maintenance of the amenity, solar access and views of adjoining properties)

# Plan of Management

- The approved development and communal open spaces must be operated in accordance with the approved Plan of Management at all times.

(Reason:	Residential amenity, noise impacts)

## J.	Prior To the Issue of Any Subdivision Certificate (Land/ Torrens/ Stratum)

# Sydney Water Compliance Certificate	J4

- A section 73 Compliance Certificate under the Sydney Water Act 1994 must be obtained prior to the release of a subdivision certificate.

The Section 73 Certificate must be submitted to the Principal Certifier or North Sydney Council with the documentation to enable the issue of the Strata Certificate.

Notes:

Application must be made through an authorised Water Servicing Co-ordinator, for details see the Sydney Water web site www.sydneywater.com.au\‌‌customer\urban\‌index, or telephone 13 20 92.

Following application, a ‘Notice of Requirements’ will be forwarded detailing water and sewer extensions to be built and charges to be paid.  Please make early contact with the Coordinator since building of water/sewer extensions can be time consuming and may impact on other services and building, driveway or landscape design.

(Reason:	To ensure compliance with Sydney Water requirements)