SYDNEY SOUTH PLANNING PANEL - ASSESSMENT REPORT

| Panel Reference | 2020 PPSSSH026 |
| --- | --- |
| DA Number | 757/2020 |
| LGA | Canterbury Bankstown Council |
| Proposed Development | Construction of a part 3 and part 4 storey residential flat building for affordable rental housing, basement car parking and associated site works |
| Street Address | 17-21 Pennsylvania Road, Riverwood Lot 376 DP 225388, Lot 377 DP 225388, Lot 378 DP 225388, 379 DP 225388, Lot 380 DP 225388 |
| Applicant/Owner | Applicant: St George Community Housing Owner/s St George Community Housing Ltd |
| Date of DA lodgement | 7 October 2020 Further information submitted on 1 March 2021 and 4 May 2021 |
| Number of Submissions | Two (2) Submissions |
| Recommendation | Approval |
| Regional Development Criteria (Schedule 7 of the SEPP (State and Regional Development) 2011 | Part 4, Clause 20(1) of the SEPP (State and Regional Development) 2011 the application is declared as regionally significant development. Schedule 7, 5(b) includes ‘private infrastructure over $5 billion’. The proposal has a capital investment value of $15,080.864 and therefore falls within this category. |
| List of all relevant s4.15(1)(a) matters | - State Environmental Planning Policy 55 – Contaminated Land (SEPP 55) - State Environmental Planning Policy 65 – Design Quality of Residential Apartment Development (SEPP 65) - State Environmental Planning Policy 2004 (Building Sustainability Index: BASIX) - State Environmental Planning Policy (Vegetation in Non-Rural Areas) 2017 - State Environmental Planning Policy (State and Regional Development) 2011 - Canterbury Local Environmental Plan 2012 (CLEP 2012) - Canterbury Development Control Plan 2012 (CDCP 2012) - Canterbury Development Contributions Plan 2013 (Contributions Plan 2013) |
| List all documents submitted with this report for the Panel’s consideration | - Architectural plans - SEE - Traffic and Parking Report - Landscape Plans - Civil and Stormwater Plans - Waste Management Plan - Arborist report - Detailed Site Investigation - BASIX Certificate and Plans |
| Clause 4.6 requests | Nil |
| Summary of key submissions | - Construction noise and vibration (during school hours) - Construction traffic and parking during pick up and drop off times (of the school) - Privacy impacts on the school from the balconies along the western elevation. - Insufficient parking spaces and impacts on the surrounding road network as a result |
| Report prepared by | Kaitlin McCaffery –Development Assessment Officer |
| Report date | 10 June 2021 |

| Summary of s4.15 matters Have all recommendations in relation to relevant s4.15 matters been summarised in the Executive Summary of the assessment report? | Yes |
| --- | --- |
| Legislative clauses requiring consent authority satisfaction Have relevant clauses in all applicable environmental planning instruments where the consent authority must be satisfied about a particular matter been listed, and relevant recommendations summarized, in the Executive Summary of the assessment report? e.g. Clause 7 of SEPP 55 - Remediation of Land, Clause 4.6(4) of the relevant LEP | Yes |
| Clause 4.6 Exceptions to development standards If a written request for a contravention to a development standard (clause 4.6 of the LEP) has been received, has it been attached to the assessment report? | Not Applicable |
| Special Infrastructure Contributions Does the DA require Special Infrastructure Contributions conditions (S7.24)? Note: Certain DAs in the Western Sydney Growth Areas Special Contributions Area may require specific Special Infrastructure Contributions (SIC) conditions | Not Applicable |
| Conditions Have draft conditions been provided to the applicant for comment? Note: in order to reduce delays in determinations, the Panel prefer that draft conditions, notwithstanding Council’s recommendation, be provided to the applicant to enable any comments to be considered as part of the assessment report | Yes |

- EXECUTIVE SUMMARY REPORT

This matter is reported to the Sydney South Planning Panel as the development application is for Affordable Housing that exceeds a capital investment value of $5 million in accordance with Schedule 7 5(b) of State Environmental Planning Policy (State and Regional Development) 2011.

Development Application No. DA-757/2020 includes the following

- Consolidation of 5 lots;

- Removal of trees;

- Construction of a part 3 and part 4 storey residential flat building, comprising 51 units, under Division 1 Infill Affordable Housing of the State Environmental Planning Policy (Affordable Rental Housing) 2009;

- One level of basement car parking including 24 parking spaces, 6 accessible spaces and 16 bicycle spaces; and

- Associated site works.

the DA has been assessed against the relevant provisions of State Environmental Planning Policy (State and Regional Development) 2011, State Environmental Planning Policy 65, State Environmental Planning Policy No. 55 – Remediation of Land, State Environmental Planning Policy (Building Sustainability Index: BASIX) 2004, State Environmental Planning Policy (Affordable Rental Housing) 2009, Canterbury Local Environmental Plan 2012 and Canterbury Development Control Plan 2012.

- The application was neighbour notified and advertised in the newspaper consistent with the provisions contained in the Canterbury Bankstown Community Participation Plan. The application was initially on exhibition for a period of twenty-one (21) days from 7 October 2020 to 28 October 2020. A total of two (2) submissions were received which are discussed in detail further within the assessment report.

- POLICY IMPACT

The matter being reported has no direct policy implications.

- FINANCIAL IMPACT

The matter being reported has no direct financial implications.

RECOMMENDATION

It is recommended the Sydney South Planning Panel approve DA-757/2020 for the Construction of a part 3 and part 4 storey residential flat building pursuant to Division 1 of the State Environmental Planning Policy (Affordable Rental Housing) 2009 with basement carparking at 17-21 Pennsylvania Road, Riverwood being the subject lots legally described as Lot 376, Lot 377, Lot 378, Lot 379 and Lot 380 in DP 225388 pursuant to Section 4.16(1)(b) of the Environmental Planning and Assessment Act, 1979.

DA-757/2020 ASSESSMENT REPORT

SITE & LOCALITY DESCRIPTION

The subject site is known as 17-21 Pennsylvania Road, RIVERWOOD NSW 2210. The site is legally described as Lot 376, Lot 377, Lot 378, Lot 379 and Lot 380 in DP225388. The site is a regular allotment that is currently zoned R4 High Density Residential.

The site has an area of approximately 2,994m2 and is an irregular shaped site that has a fall of 4 metres to the west towards Union Street. It has a primary street frontage of 62.825m to Pennsylvania Road to the north, a secondary frontage of 37.725m to Hunter Street to the east, a rear frontage 37.705m to Union Street to the west and a side boundary frontage to the south.

The site contains seven mature trees and vegetation. A stormwater easement runs through the property north to south.

Riverwood Public School is located to the west of the site (zoned R3 Medium Density Residential) and adjoins land zoned low density residential to the east and south and high density residential to the north.

it is located within an accessible location, being within 800 metres walking distance of a public entrance of the Riverwood Train Station to the south east of the site.

Subject site/s to Riverwood Station- Google Map, 2021

Figure 1: Aerial of subject site in blue. Source: NearMaps 2021

PROPOSED DEVELOPMENT

The DA proposes the construction of a part 3 and part 4 storey residential flat building to be used for affordable rental housing with a total of 51 units and 24 basement carparking spaces.

The specifics of the development are as follows:

| Floor | Description |
| --- | --- |
| Basement Level 1 | - 24 x car parking spaces - 6 x accessible parking spaces - 11 x bicycle spaces + 5 x visitor bicycle spaces - OSD - Fire hydrant and RWT - Pump room and services - Stairs and lift - Residential storage facilities |
| Ground Floor | Building A: - 4 x one bed units - 4 x two bed units - Stairs and lift - Letter boxes Building B (subfloor): - 2 x two bed units - Residential Storage facilities - Services room - Stairs and lift - Waste storage room Other: - Communal open space - Basement entrance - Substation |
| Level 01 | Building A: - 2 x one bed units - 7 x two bed units - Stairs and lift - services Building B (subfloor): - 4 x one bed units - 4 x two bed units - Stairs and lift - services |
| Level 02 | Building A: - 2 x one bed units - 7 x two bed units - Stairs and lift - services Building B (subfloor): - 4 x one bed units - 4 x two bed units - Stairs and lift - services |
| Level 03 | Building B (subfloor): - 3 x one bed units - 4 x two bed units - Stairs and lift - services |

Statutory Considerations

When determining this application, the relevant matters listed in Section 4.15C of the Environmental Planning and Assessment Act 1979 must be considered. In this regard, the following environmental planning instruments, development control plans, codes and policies are relevant:

- State Environmental Planning Policy (State and Regional Development) 2011

- State Environmental Planning Policy 55 – Contaminated Land (SEPP 55)

- State Environmental Planning Policy (Affordable Rental Housing) 2009

- State Environmental Planning Policy 65 – Design Quality of Residential Apartment Development (SEPP 65)

- State Environmental Planning Policy 2004 (Building Sustainability Index: BASIX)

- Canterbury Local Environmental Plan 2012 (CLEP 2012)

- Canterbury Development Control Plan 2012 (CDCP 2012)

- Canterbury Development Contributions Plan 2013 (Contributions Plan 2013)

SECTION 4.15 ASSESSMENT

The proposed development has been assessed pursuant to section 4.15 of the Environmental Planning and Assessment Act, 1979.

State Environmental Planning Policy (State and Regional Development) 2011

According to SEPP (State and Regional Development) a regional panel may exercise the consent authority functions of Council for the determination of applications included in Schedule 7, 5(b) of the SEPP. Schedule 7, 5(b) includes ‘private infrastructure and community facilities over $5 million’ which includes affordable housing. The proposed capital investment value of $15,080.864 (million) of affordable housing falls within this category. Accordingly, the application is reported to the Sydney South Planning Panel for determination. A Panel Briefing was held on 17 December 2020. The Panel noted several issues at the briefing which mainly related to residential amenity of the proposed development. Specific issues that need further interrogation and resolution include:

- Justification for deviation from the development standards

- Need for solar access schedule (dates/times of day and year/duration) of apartments

- Shortfall in quantum of landscaped area

- ADG compliance issues including:

- Seatbacks between buildings and adjoining properties

- Residential amenity of subfloor area of Building B

- Solar access to primary living areas and public open space

- Apartment sizes

- Proportion, scale, quality and usability of communal open space

Following this briefing, Council wrote to the applicant on 19 December 2020 advising of the issues identified by Council and the SSPP comments.

On 11 January 2021, Council granted a 28 day extension to the applicant to submit amended plans and information.

On 1 March 2021, Council received amended plans and documentation.

On 23 April 2021, Council wrote to the applicant advising the outstanding issues relating to communal open space, setbacks and insufficient information.

Further to the correspondence above, on 28 April 2021, a meeting was held between all parties was held to discuss the outstanding issues.

On 4 May 2021, the applicant provided amended plans, being the subject plans for this report.

Environmental planning instruments [section 4.15(1)(a)(i)]

State Environmental Planning Policy 55 – Contaminated Land (SEPP 55)

Clause 7 of SEPP 55 – Remediation of Land requires Council to consider whether the land is contaminated prior to granting consent to the carrying out of any development on that land. Should the land be contaminated, we must be satisfied that the land is suitable in a contaminated state for the proposed use.  If the land requires remediation to be undertaken to make it suitable for the proposed use, we must be satisfied that the land will be remediated before the land is used for that purpose.

A review of the history of the site shows that the subject site has only been used for residential purposes. A detailed site investigation report has been submitted with the application which was reviewed by Councils’ Environmental Health Officer. The recommendations made within this report form part of the application, as per the conditions of consent.

Given that the site has been used for only residential purposes, it is consistent with State Environmental Planning Policy 55-Remediation of Land.

State Environmental Planning Policy 2004 – (Building Sustainability Index: BASIX)

In accordance with BASIX SEPP, a BASIX Certificate accompanies this application. The Certificate makes a number of energy/resource commitments relating to water, energy and thermal comfort. The relevant commitments indicated on the BASIX Certificate have been shown on the plans in order to satisfy objectives of the SEPP. The BASIX Certificate requirements have been incorporated into conditions of consent.

State Environmental Planning Policy (Vegetation in Non-Rural Areas) 2017

The proposed development seeks approval for the removal of trees (including the street trees). Council’s tree officer has reviewed the application and raised no objection to the removal of the trees (including the street trees), subject to conditions.

State Environmental Planning Policy (Affordable Rental Housing) 2009

The application is for infill affordable housing development lodged pursuant to the provisions of State Environmental Planning Policy (Affordable Rental Housing) 2009. This Policy aims to provide new affordable rental housing and retain and mitigate any loss of existing housing by provision of a consistent planning regime. Specifically, the Policy provides for new affordable rental housing by offering incentives such as expanded zoning permissibility, floor space ratio bonuses and minimum development standards.

The following provisions of the SEPP are relevant to this proposal:

10   Development to which Division applies

- This Division applies to development for the purposes of dual occupancies, multi dwelling housing or residential flat buildings if:

- the development concerned is permitted with consent under another environmental planning instrument, and

- the development is on land that does not contain a heritage item that is identified in an environmental planning instrument, or an interim heritage order or on the State Heritage Register under the Heritage Act 1977.

- Despite subclause (1), this Division does not apply to development on land in the Sydney region unless all or part of the development is within an accessible area.

- Despite subclause (1), this Division does not apply to development on land that is not in the Sydney region unless all or part of the development is within 400 metres walking distance of land within Zone B2 Local Centre or Zone B4 Mixed Use, or within a land use zone that is equivalent to any of those zones.

Permissibility (Clause 10(1))

The proposal for in-fill affordable housing development comprising a residential flat building is permissible in the R4 High Density Residential zone pursuant to Clause 10(1) of ARH SEPP, since a residential flat building is permissible in the zone under Canterbury Local Environmental Plan 2012 (CLEP 2012) and the proposal is not located on land containing a heritage item.

Accessibility (Clause 10(2))

Clause 10(2) of the SEPP also requires that in-fill affordable housing developments in the Sydney Region be located within an ‘accessible area’ which is an area in proximity of certain transport nodes, including being within 800m walking distance to the entrance of a railway station or within 400m walking distance to a bus stop used by a regular bus service as defined by the ARH SEPP.

The site is located 800m, walking distance, (as per google maps) from the entrance of a railway station, being Riverwood Station and therefore constitutes an “accessible area” under the SEPP.  Further to this, the site is within 800mm walking distance from six (6) bus stops. On this basis, the development satisfies Clause 10(2) and may be assessed under the SEPP.

13   Floor space ratios

- This clause applies to development to which this Division applies if the percentage of the gross floor area of the development that is to be used for the purposes of affordable housing is at least 20 per cent

- The maximum floor space ratio for the development to which this clause applies is the existing maximum floor space ratio for any form of residential accommodation permitted on the land on which the development is to occur, plus:

- if the existing maximum floor space ratio is 2.5:1 or less:

- 0.5:1—if the percentage of the gross floor area of the development that is used for affordable housing is 50 per cent or higher, or

- Y:1—if the percentage of the gross floor area of the development that is used for affordable housing is less than 50 per cent,
where:

AH is the percentage of the gross floor area of the development that is used for affordable housing

Y = AH ÷ 100

Therefore, the maximum floor space ratio for this development is defined as the maximum floor space allowable for the subject site (i.e. 0.9:1 as per Clause 4.4(2) of the CLEP 2012) plus a floor space bonus based on the amount of floor space to be dedicated to affordable rental housing.

This application proposes to dedicate 100% of the total GFA as affordable housing, it therefore benefits from the 0.5:1 FSR bonus mentioned in (2)(a)(i) in Clause 13 of the SEPP. This would increase the maximum achievable FSR to 1.4:1.

The development provides a total gross floor area (GFA) of 3817.7m2 representing an FSR of 1.27:1. The proposed FSR is therefore compliant.

Minimum standards that cannot be used to refuse consent (Clause 14)

Clause 14 prescribes minimum standards which cannot be used by Council to refuse consent. The following table is an assessment of the proposal against these standards:

| Control | Requirement | Proposal | Complies |
| --- | --- | --- | --- |
| Site area | 450m2 | 2,994m2 | Yes |
| Landscaped area | Social housing provider 35m2 per unit (51) = 1785m2 in the case of a development application made by a social housing provider—at least 35 square metres of landscaped area per dwelling is provided. Non-social housing providers: 30% of site = 898.1m2 | 881.9m2 | No [see comment 1 below] |
| Deep soil zone | 15% of site (equal to 449m2), 3m minimum dimension Two-thirds located at rear of site if practicable | 628.7m2 Each area has a minimum dimension of 3m Building A has been designed to face Union Street and Building B has been designed to face Hunter Street. Therefore, majority of the deep soil is located within the front, rear and side setbacks and in between the two buildings. | Yes Yes Yes |
| Solar access | Living rooms and private open space areas for a minimum of 70% of dwellings are to receive a minimum of 3 hours direct sunlight between 9am and 3pm in mid-winter | The solar access requirements under the ADG are also relevant to the proposed development. The ADG requires that living rooms and private open space areas for a minimum of 70% of dwellings are to receive a minimum of 2 hours direct sunlight between 9am and 3pm in mid-winter. Both policies are applicable to this application and each policy states that; “In the event of an inconsistency between this Policy and another environmental planning instrument, whether made before or after this Policy, this Policy prevails to the extent of the inconsistency”. On this basis, the proposed development complies with the solar access requirements of part 4A of the ADG which is acceptable. | Yes [see below ADG assessment] |
| Car parking | Social housing provider: 0.4 spacer per 1 bed 0.4 x 19 = 7.6 = 8 0.5 space per 2 bed 0.5 x 32 = 16 Total required = 24 | 24 spaces 6 x accessible. | Yes |
| Dwelling size | 50m2 per 1 bed 70m2 per 2 bed 95m2 per 3+ bed – N/A | As per ADG assessment below. | Yes |

As demonstrated above the proposed development complies with all standards prescribed in Clause 14 of SEPP ARH with the exception of landscaped area which is discussed below:

[1] Landscape Area

Clause 14 of the ARH SEPP is a standard that if met, cannot be used as a reason for refusal. Therefore, Clause 14 is not a mandatory development standard.

Clause 14(c) states:

(1) Site and solar access requirements A consent authority must not refuse consent to development to which this Division applies on any of the following grounds— …

(c) landscaped area

if—

(i) in the case of a development application made by a social housing provider—at least 35 square metres of landscaped area per dwelling is provided, or

(ii) in any other case—at least 30 per cent of the site area is to be landscaped,

Clause 14(c)(i) only applies to social housing providers. However, when applied to larger high-density developments (i.e. the current proposal), it amounts to a significantly higher landscaping requirement than clause 14(c)(ii), which applies to all other developers.  This is demonstrated below in its application for the current proposal, which results in double the requirement by a non-social housing provider for the same proposal (of 51 units):

Social housing providers:

35m2 x 51 units = 1785m2 or 59.6% of the site

Non-social housing providers:

898.2 m2 or 30% of the site

The proposed landscaping provided as demonstrated in the applicant’s Landscape Plans is 881.9m2 landscaped area which equates to 29%. This results in a numerical noncompliance of 903.1m2 or 50.5% variation to the social housing provider control and is the equivalent of a 6.3m2 or 1.8% variation to the non-social housing provider control.

The proposal provides significant communal open space areas which generally satisfy the numerical and design objectives of the ADG (which is assessed in more detail further in this report). As such, notwithstanding the noncompliance with the numerical standard for the provision of landscaped areas, the development provides usable, high quality landscaped spaces which will be readily available for the enjoyment of future residents and contribute to the design of the development. The proposal has also demonstrated a balance in terms of its proportions dedicated to parking, deep soil, landscaping and communal open space.

Currently, the communal open space area has a number of paths and hardstand areas which gives additional access to ground floor units and other areas within the development. To ensure the proposal shows compliance with the non-social housing provider, a condition of consent has been imposed which requires the removal of unnecessary footpaths and hardstand areas outlined in red on the approved plans.

Therefore, the proposed landscaped area is considered to be suitable for the proposed development.

Clause 16A Character of Local Area

Clause 16(A) of the ARH SEPP requires that a consent authority take into consideration whether the design of the development is compatible with the character of the local area. The current planning controls applicable to the subject site and its surrounds allow for a range of development types, including older style residential flat buildings, multi-dwelling, single and two storey dwelling houses.

Project Venture v Pittwater Council (2005, NSWLEC 191) sets out the planning principles for compatibility in the urban environment and expanded upon Fodor v Hornsby Shire Council (2005, NSWLEC 71). In the Project Venture decision, Senior Commissioner (SC) Roseth noted that ‘for a new development to be visually compatible with its context, it should contain, or at least respond to, the essential elements that make up the character of the surrounding urban environment’.  SC Roseth opined that the most important contributor to urban character is the relationship between the built form and surrounding space; “a relationship that is created by building height, setbacks, and landscaping”.

The development is generally consistent with the applicable height, setback and landscaping objectives and will align with the desired future character of the locality. The design ensures that the proposed development is appropriate in terms of scale and bulk. On this basis, the variations are acceptable and further discussion is provided within this report.

The proposed building form and scale is consistent with surrounding development in the vicinity, with the design adopted responding to relevant planning controls and the need to protect the amenity of neighbouring residents.  The proposed development maintains an adequate level of visual privacy and providing good amenity for future occupiers of the building and neighbouring residents.

The design of the proposed development positively contributes to the streetscape

and the surrounding built form. The development has been designed to optimise

internal amenity and minimise impacts to neighbours. Further to this, the proposed roof form, material finishes, and façade design respond to the prevailing residential developments within the locality of the subject site.

The proposed development has been considered under the ARH SEPP and found to respond appropriately to the intent of the Policy and satisfies the requirements of Clause 16(A). The proposed development is compatible with the character of the local area.

Clause 17- Must be used for affordable housing for 10 years

(1)  A consent authority must not consent to development to which this Division applies unless conditions are imposed by the consent authority to the effect that—

(a)  for 10 years from the date of the issue of the occupation certificate—

(i)  the dwellings proposed to be used for the purposes of affordable housing will be used for the purposes of affordable housing, and

(ii)  all accommodation that is used for affordable housing will be managed by a registered community housing provider, and

- a restriction will be registered, before the date of the issue of the occupation certificate, against the title of the property on which development is to be carried out, in accordance with section 88E of the Conveyancing Act 1919, that will ensure that the requirements of paragraph (a) are met.

(2)  Subclause (1) does not apply to development on land owned by the Land and Housing Corporation or to a development application made by, or on behalf of, a public authority.

ARH SEPP 2009, Part 1 (4) defines social housing provider as any of the following:

(a)  the Department of Human Services,

(b)  the Land and Housing Corporation,

(c)  a registered community housing provider,

(d)  the Aboriginal Housing Office,

(e)  a registered Aboriginal housing organisation within the meaning of the Aboriginal Housing Act 1998,

(f)  a local government authority that provides affordable housing,

(g)  a not-for-profit organisation that is a direct provider of rental housing to tenants.

The applicant, St George Community Housing (SGCH), is a registered social and affordable housing provider. The proposal is for 51 units, all dedicated to affordable housing and will be managed by SGCH. Therefore, a condition of consent is imposed requiring that from the date of the issue of any Occupation Certificate, 100% (51 units) of the floor space will be used for affordable housing in accordance with the Clause (1)(a) and (b) above.

Subclause (2) does not apply in this instance the land is not owned by the Land and Housing Corporation and the development application has not been made by or on behalf of a public authority.

State Environmental Planning Policy 65 - Design Quality of Residential Apartment Development (SEPP 65)

This policy applies to residential apartment development and is required to be considered when assessing this application. Residential apartment development is defined under SEPP 65 as development for the purpose of a residential flat building, shop top housing or mixed-use development with a residential accommodation component. The development must consist of the erection of a new building, the conversion of an existing building or the substantial redevelopment or refurbishment of an existing building. The building must also be at least 3 or more storeys and contain at least 4 or more dwellings. Residential apartment development does not include boarding houses or serviced apartments.

SEPP 65 aims to improve the design quality of residential apartment development across NSW and provides an assessment framework, the Apartment Design Guide (ADG), for assessing ‘good design’. Clause 50(1A) of the Environmental Planning and Assessment Regulation 2000 requires the submission of a design verification statement from a qualified designer (registered architect) at lodgement of the development application that addresses the design quality principles contained in SEPP 65 and demonstrates how the objectives in Parts 3 and 4 of the ADG have been achieved. These principles are discussed as follows:

Principle 1: Context and Neighbourhood Character

The development is generally consistent with the applicable height, setback and landscape controls and will align with the desired future character of the locality. The design ensures that the proposed development is appropriate in terms of scale and bulk and responds appropriately to the local context.

Principle 2: Built Form and Scale

The development is generally consistent with Council’s height controls and is below the maximum achievable FSR on the site. The development will align with the desired future character of the locality. The design ensures that the proposed development is appropriate in terms of scale and bulk.

The range of materials significantly contributes to the articulation of the building and reducing the overall bulk and mass of the building.

Principle 3: Density

The density of the proposed development is satisfactory and a reasonable response to the context and built form.

Principle 4: Sustainability

A BASIX Certificate has been submitted to Council with this development application, which details the resource, energy and water efficiency measures that will be incorporated into this proposal.

Principle 5: Landscape

The proposed landscaping and communal open space area is appropriate and is consistent with the controls (subject to conditions). The proposal replaces the canopy trees removed as part of construction with appropriate species and pot sizes as well as providing the required amount of deep soil areas and soft landscaping.

Principle 6: Amenity

The proposed development has been designed to maximise solar access. The proposed units will have considerable internal amenity. Their size and room dimensions meet the minimum standards within the Apartment Design Guide. As such they will provide more than adequate space to meet the needs of future occupants.

Storage is provided within all units with additional storage within the allocated basement car parking spaces, whilst the outdoor private terraces are of sufficient size to meet the recreational needs of future occupants. Lift access has been provided from the basement throughout the building, thereby providing full accessibility for all residents and visitors.

Principle 7: Safety

The applicant has considered Crime Prevention through Environmental Design (CPTED) principles as outlined in CDCP 2012 OR BDCP 2015 in the design of the project. The proposal provides increased activation and passive surveillance of the surrounding streets and private open space areas on the site.  Residential entry and lobby areas are to be secured and well lit.

Principle 8: Housing Diversity and Social Interaction

The proposed design incorporates various dwelling sizes and includes adaptable units promoting diversity, affordability and access to housing choice. The communal open space area is located between Building A and Building B which allows for casual social interactions. This area also allows for a number of recreational activities as a result of the soft landscaped courtyard, seating and BBQ area.

Principle 9: Aesthetics

The proposed use of pattern, texture, form and colour seeks to produce a design aesthetic that reflects the quality of residential accommodation provided. The articulation of the external façades and compliance with the relevant built form standards lessens any perception of bulk, whilst maintaining internal and external amenity. These elements contribute to the desired future character of the locality and enhance the existing surrounding streetscapes.

Apartment Design Guide

Further to the design quality principles discussed above, the proposal has been considered against the various provisions of the Apartment Design Guide in accordance with Clause 28 (2) (c) of SEPP 65.

| Section | Design Criteria | Proposed | Complies |
| --- | --- | --- | --- |
| Part 3 Siting the Development |  |  |  |
| 3C Public Domain Interface | - Avoid long, high blank walls and fences - Direct access from the street to ground floor apartments and windows overlooking the street improve safety and social interaction. - Key components to consider when designing the interface include entries, private terraces or balconies, fence and walls, changes in level, services location and planting. - Safety considerations (real or perceived) and consideration of social interaction opportunities when viewed from the public domain. - Terraces, balconies and courtyard apartments to have direct street level entry where possible; - Changes in levels between ground floor and terraces to balance passive surveillance and privacy; - Provide seating at building entries, letter boxes and private courtyards adjacent the street. - Multiple building entrances to be clearly defined through architectural detailing, changes in materials, plant species and colours; - Concealment opportunities minimized. | The development provides access to both buildings from three street frontages. Ground floor units have POS which have direct access to the street. Apartments have direct view to the street. There is seating at building entries and letter boxes are provided at the street entries. The multiple entries are clearly identifiable. | Yes |
| 3D Communal and Public Open Space | Communal open space has a minimum area equal to 25% of the site. Total site area is 2,994m2, requiring a minimum 748.5m2) Min 6m dimension. | Proposed = 772m2 | Yes |
|  | Developments achieve a minimum of 50% direct sunlight to the principal usable part of the communal open space for a minimum of 2 hours between 9 am and 3 pm on 21 June (mid-winter). | The development receives a minimum of 2 hours to the primary area of COS between building A and B between 10am and 12pm. | Yes |
| 3E Deep Soil Zones | Deep soil zones are to meet the following minimum dimensions: Site Area; Minimum Dimensions; Deep Soil Zone (% of site area). Less than 650m²; -; 7%. 650m² - 1,500m²; 3m. Greater than 1,500m²; 6m. Greater than 1,500m² with significant existing tree cover; 6m. | As per ARH SEPP Assessment | Yes |
| 3F Visual Privacy | Separation between windows and balconies is provided to ensure visual privacy is achieved. Minimum required separation distances from buildings to the side and rear boundaries are as follows: Building Height; Habitable Rooms & Balconies; Non-habitable Rooms. Up to 12m (4 storeys); 6m; 3m. Up to 25m (5-8 storeys); 9m; 4.5m. Note: An increased 3m building separation is required given the land to the west is a different zone (R3) that permits lower density residential. | A 4m setback is provided along the southern boundary Building A and building B provide the combined required setbacks for habitable rooms and balconies. 6m provided between non-habitable windows. Privacy screens are provided on habitable windows and balconies on both Building A and B where direct overlooking occurs between the two buildings. This mitigates privacy impacts and achieves the objectives of this clause. | No [see comment 1 below Yes |
| 3J Bicycle and Car Parking | For development within 800 metres of a railway station the minimum car parking requirement for residents and visitors is the lesser of that set out within the Guide to Traffic Generating Developments or Council requirements as set out in the table below. Otherwise, the CDCP 2012 controls apply. | Noted- as per ARH SEPP assessment above. | Yes |
|  | The car parking needs for a development must be provided off street. | All parking provided within the basement. | Yes |
| 3G Pedestrian Access and Entries | Multiples entries should be provided to activate the street edge. Entry locations relate to the street and subdivision pattern / existing pedestrian network. Building entries should be clearly distinguishable from private entries. Building access areas (lift lobbies, stairwells and hallways) should be clearly visible from public domain and communal spaces. Minimise ground floor and underground level changes along pathways and entries. Steps and ramps integrated into design. Provide way finding maps for large developments. Electronic access and audio/video intercoms required. Provide pedestrian links to streets and destinations with clear sight lines. | Development has entries from Union Street and Pennsylvania Road and entries are clearly identifiable. Achieved. Site slopes from east to west with minimal level changes. Stairs and ramps are adequately integrated into the design Not applicable for this scale of development. Clear sight lines from Pennsylvania Road and Union Street through the communal open space. | Yes Yes Yes N/A Yes |
| Part 4 Designing the Building |  |  |  |
| 4A Solar and Daylight Access | Living rooms and private open spaces of at least 70% of apartments in a building receive a minimum of 2 hours direct sunlight between 9 am and 3 pm at mid-winter. | Units receiving 2 + hours = 37/51 = 72% Units receiving no solar = 3/51 = 5% | Yes [see comment 2 below] |
|  | A maximum of 15% of apartments in a building receive no direct sunlight between 9 am and 3 pm at mid-winter |  |  |
| 4B Natural Ventilation | At least 60% of apartments are naturally cross ventilated in the first nine storeys of the building. Apartment at ten storeys or greater are deemed to be cross ventilated only if any enclosure of the balconies at these levels allows adequate natural ventilation and cannot be fully enclosed. | Yes = 26 apartments = 49% 6 x apartments relying on skylights 32 = 52% No ventilation = 19 | Yes |
|  | Overall depth of a cross-over or cross-through apartment does not exceed 18m, measured glass line to glass line. | Achieved. | Yes |
| 4C Ceiling Heights | Measured from finished floor level to finished ceiling level, minimum ceiling heights are: Minimum Ceiling Height for Apartment and Mixed-Use Buildings. Habitable rooms; 2.7m. Non-habitable; 2.4m. For 2 storey apartments; 2.7m main living area floor 2.4 for second floor, where its area does not exceed 50% of the apartment area. These minimums do not preclude higher ceilings if desired. | 2.7m as per section plans. | Yes |
| 4D Apartment Size and Layout | Apartment are required to have the following minimum internal areas: Apartment Type; Minimum Internal Area. Studio; 35m². 1 bedroom; 50m². 2 bedroom; 70m². 3 bedroom; 90m². The minimum internal areas include only one bathroom. Additional bathrooms increase the minimum internal area by 5m² each. A fourth bedroom and further additional bedrooms increase the minimum internal area by 12m² each. | Each unit meets the minimum requirement. Only 1 and 2 bedroom units proposed with no additional bathrooms. | Yes |
|  | Every habitable room must have a window in an external wall with a total minimum glass area of not less than 10% of the floor area of the room. Daylight and air may not be borrowed from other rooms. | Achieved. | Yes |
|  | In open plan layouts (where the living, dining and kitchen are combined) the maximum habitable room depth is 8m from a window. | Achieved. | Yes |
|  | Master bedrooms have a minimum area of 10m2 and other bedrooms 9m² (excluding wardrobe space). | Achieved. | Yes |
|  | Bedrooms have a minimum dimension of 3m (excluding wardrobe space). | Achieved. | Yes |
|  | Living rooms or combined living/dining rooms have a minimum width of: - 3.6m for studio and 1-bedroom apartments - 4m for 2- and 3-bedroom apartments | Achieved. | Yes |
|  | The width of cross-over or cross-through apartments are at least 4m internally to avoid deep narrow apartment layouts. | Achieved. | Yes |
| 4E Private Open Space and Balconies | All apartments are required to have primary balconies as follows: Dwelling type; Minimum Area; Minimum Depth. Studio apartments; 4m²; -. 1 bedroom apartments; 8m²; 2m. 2 bedroom apartments; 10m²; 2m. 3+ bedroom apartments; 12m²; 2.4m. The minimum balcony depth to be counted as contributing to the balcony area is 1m. | Achieved. | Yes |
|  | For apartments at ground level or on a podium or similar structure, a private open space is provided instead of a balcony. It must have a minimum area of 15m2 and a minimum depth of 3m. | Achieved. | Yes |
| 4F Common Circulation and Spaces | The maximum number of apartments off a circulation core on a single level is eight. | No more than 8 units off one circulation core. | Yes |
| 4G Storage | In addition to storage in kitchens, bathrooms and bedrooms, the following storage is provided: Dwelling type; Storage size volume. Studio apartments; 4m³. 1 bedroom apartments; 6m³. 2 bedroom apartments; 8m³. 3+ bedroom apartments; 10m³. At least 50% of the required storage is to be located within the apartment. | Achieved. | Yes |
| 4H Acoustic Privacy | Adequate building separation is provided within the development and from neighbouring buildings/adjacent uses Noisy areas within buildings including building entries and corridors should be located next to or above each other and quieter areas next to or above quieter areas Rooms with similar noise requirements are grouped together Noise sources such as garage doors, driveways, service areas, plant rooms, building services, mechanical equipment, active communal open spaces and circulation areas should be located at least 3m away from bedrooms | Adequate separation provided and design response provided Entries are located away from bedrooms. Similar rooms grouped together Noise sources have been located away from bedrooms on each floor of the development. | Yes Yes Yes Yes |

As identified in the above table, the proposed development seeks to depart from the following ADG design criteria:

[1] 3F- Visual Privacy

The proposal does not meet the numerical requirements for 6m building separation for habitable rooms and balconies for a height up to 12m (4 stories) to the southern side boundaries. The subject site is burdened by an easement which runs directly through the middle of the site and is a corner allotment which benefits from three street frontages. The design has a primary frontage to and a 6m front setback Union Street and a 6m rear setback to Hunter Street. The northern side elevation, facing Pennsylvania Road has a 4m side setback and the southern side elevation, which is the only boundary to existing residential development has a 4m setback.

Part 3F of the ADG stipulate the following aims for building separation as follows:

- ensure that new development is scaled to support the desired future character with appropriate massing and spaces between buildings;

- assist in providing residential amenity including visual and acoustic privacy, natural ventilation, sunlight and daylight access and outlook;

- provide suitable areas for communal open spaces, deep soil zones and landscaping.

The southern elevation has been deliberately designed to present as a near blank wall, for both Building A and Building B. This elevation is therefore considered to be non-habitable with the exception of windows that are fixed and high sill windows. This elevation would therefore be considered as non-habitable and not contribute to building separation requirements for any future development on the adjoining sites to the south. Therefore, a 4m setback is sufficient in this instance. Further to this, the shadow diagrams submitted with the application clearly show that the reduced setback would not inhibit the adjoining residential properties ability to receive 50% of solar access to their rear open space or primary living area windows.

Overall, the scale and massing of the proposal is appropriate, and the development provides good amenity as it has satisfactorily balanced landscaping, communal open space and deep soil zones across the whole site while adding the bonus floor area to the design. It also provides good amenity to each apartment including visual privacy despite the reduced setbacks, natural ventilation, acoustic privacy and solar access. Given this, whilst the setbacks may not be in line with the ADG, it is considered that the proposed development meets the aims for visual privacy and the proposed development is therefore acceptable.

[3] 4A- Solar Access

This application seeks to provide 51 affordable housing units which allows for a greater gross floor area and therefore, a greater density and bulk can be accommodate site.

The ADG requires that living rooms and private open spaces of at least 70% of apartments (36 apartments out of 51) in a building receive a minimum of 2 hours direct sunlight between 9 am and 3 pm at mid-winter. The ARH SEPP 2009 requires at least 70% of units in a building receive 3 hours of solar access between 9 am and 3 pm at mid-winter. As mentioned earlier within this report, both EPI’s state ‘In the event of an inconsistency between this Policy and another environmental planning instrument, whether made before or after this Policy, this Policy prevails to the extent of the inconsistency’.

Taking the above into consideration, a solar access assessment has been provided for the development.  As demonstrated on the solar access diagram plans prepared by the applicant, 37 out of the 51 or 73% apartments meet the minimum requirements. The dwellings that do not meet the minimum requirements are 5, 6 and 12.  The ADG requires that no more than 15% of the total apartments (maximum of 8 apartments) receive no solar access.

Apartments 7, 13, 14, 15, 26, 27, 28, 30, 33, 34 and 38 receive little to no solar access to the primary living and private open space areas due to the south western orientation of the site.

Based on the above, the proposal is consistent with Part 4A of the ADG.

Canterbury Local Environmental Plan 2012

This site is zoned R4 High Density Residential under CLEP 2012. The controls applicable to this application are discussed below.

Clause 1.2 Aims of Plan

The proposed development is consistent with the relevant aims of the CLEP 2012

Clause 2.3 Zone objectives and Land Use Table

Clause 2.3(2) of CLEP 2012 outline that the consent authority must have regard to the objectives for development in a zone when determining a development application in respect of land within the zone.

The objectives of the R4 High Density Residential Zone are as follows:

- To provide for the housing needs of the community within a high density residential environment.

- To provide a variety of housing types within a high density residential environment.

- To enable other land uses that provide facilities or services to meet the day to day needs of residents.

The proposed development meets the objectives of the R4 zone as it provides for residential housing within a residential flat building. The design comprises a mix of residential types through incorporating one and two bedroom apartments to contribute to the needs of the community.

| Provision/ Standard | Requirement | Proposal | Complies |
| --- | --- | --- | --- |
| Part 2 Permitted or Prohibited Development |  |  |  |
| 2.1-2.3 Zoning | R4 High Density Residential | RFB | Yes |
| 2.7 Demolition requires development consent | The demolition of a building or work may be carried out only with development consent. | Site is currently vacant. Removal of trees proposed. | Yes |
| Part 4 Principal Development Standards |  |  |  |
| 4.3 Height of Buildings | 11.5m | Building A Ride RL 22.50 NGL RL 10.99 = 11.5m Building B Ridge RL 24.360 NGL RL 12.86 = 11.5m | Yes |
| 4.4 Floor Space Ratio | 0.9:1 + ARH SEPP 0.5:1 = 1.4:1 | Lot 1 Ground floor = 603.8m2 First floor = 695m2 Second floor = 695m2 Total = 1993.8m2 Lot 2 Ground floor = 238.9m2 First floor = 544.5m2 Second floor = 544.5m2 Third floor = 496m2 Total = 1823.9m2 Total GFA = 3817.7m2 FSR = 1.27:1 | Yes |
| 5.10 Heritage Conservation | Consent | Not a heritage item, in proximity of a heritage item or in a Heritage Conservation Area (HCA). | Yes |
| Part 6 Local Provisions |  |  |  |
| 6.1 Acid Sulfate Soils | Development consent must not be granted under this clause for the carrying out of works unless an acid sulfate soils management plan has been prepared for the proposed works in accordance with the Acid Sulfate Soils Manual and has been provided to the consent authority. | Class 5. A detailed site investigation has been submitted with the application. Council’s Environmental Health Officer reviewed the report and raised no objections subject to conditions of consent. | Yes |
| 6.2 Earthworks | Before granting consent to development including earthworks, the following must be considered: - drainage patterns and soil stability (b) the likely future use or redevelopment of the land, (c) quality of the fill or the soil to be excavated, or both, (d) effect of development on existing and likely amenity of adjoining properties, (e) the source of any fill material and the destination of any excavated material, (f) the likelihood of disturbing relics, (g) the potential for adverse impacts on, any waterway, drinking water catchment or environmentally sensitive area, (h) appropriate measures proposed to avoid, minimise or mitigate the impacts of the development. | Excavation is being proposed to accommodate 1 level of basement car parking. A detailed site investigation has been submitted with the application. Council’s Environmental Health Officer reviewed the report and raised no objections subject to conditions of consent. | Yes |
| 6.3 Flood Planning | This clause applies to land at or below the flood planning level. Development consent must not be granted to development on land to which this clause applies unless the consent authority is satisfied that the development: (a) is compatible with the flood hazard of the land, and (b) will not significantly adversely affect flood behaviour resulting in detrimental increases in the potential flood affectation of other development or properties, and (c) incorporates appropriate measures to manage risk to life from flood, and (d) will not significantly adversely affect the environment or cause avoidable erosion, siltation, destruction of riparian vegetation or a reduction in the stability of river banks or watercourses, and (e) is not likely to result in unsustainable social and economic costs to the community as a consequence of flooding. | The site is adjacent to a flood site and the site is flood affected in two partial sections on the north and east boundaries. The application has been referred to Councils Development Engineer who has raised no objections subject to conditions of consent. | Yes |
| 6.4 Stormwater Management | Consent must not be granted unless: - Water permeable surfaces are maximized having regard to soil characteristics affecting on-site stormwater infiltration. - Includes on-site detention if practical as an alternative means of water supply. (c) Avoids significant impacts of run-off on adjoining land or the environment or minimises and mitigates impacts. | Site provides OSD and an appropriate stormwater system. The application has been referred to Councils Development Engineer who has raised no objections subject to conditions of consent. | Yes |
| 6.6 Essential Services | Essential services must be available or adequate arrangements have been made to make them available, including: - the supply of water; - the supply of electricity (substation); - the disposal and - management of sewage; - stormwater drainage or on-site conservation; - suitable vehicular access. | Proposal provides appropriate services such as fire hydrants, a substation, pump room, vehicle access, stormwater system etc. Achieved. | Yes |

Proposed Environmental Planning Instruments [section 4.15(1)(a)(ii)]

Draft Consolidated Local Environmental Plan

On 30 June 2020 the Canterbury Bankstown Local Planning Panel endorsed the Planning Proposal (PP_2019_CBANK_005) to proceed to the Department of Planning, Industry and Environment for finalisation and making. The Planning Proposal seeks to produce a single set of planning rules and align the Bankstown LEP 2015 and Canterbury LEP 2012 into a consolidated Local Environmental Plan. The Planning Proposal however does not propose any change to the planning or development provisions relating to this site.

As the Planning Proposal has been exhibited it must be considered under Section 4.15 (1)(a)(ii) of the Environmental Planning and Assessment Act, 1979. The Draft CBLEP also seeks to insert a saving provision “If a development application has been made before the commencement of this Plan in relation to land to which this Plan applies, and the application has not been finally determined before that commencement, the application must be determined as if this Plan had not commenced”.

The proposed development will not impact the Draft CBLEP and is considered consistent with the CBLEP.

Development control plans [section 4.15(1)(a)(iii)]

The following table provides a summary of the development application against the controls contained in Canterbury Development Control Plan 2012.

Canterbury Development Control Plan 2012 (CDCP 2012)

The proposed development has been compared to the requirements of CDCP 2012 as follows:

Part B1 – Transport and Parking

| Standard | Requirement | Proposal | Complies |
| --- | --- | --- | --- |
| B1.3.1- General Parking Rates | RFB- bicycle spaces Residents: 1 per 5 dwellings Visitors: 1 space per 10 dwellings Residents: 51/5 = 10.2 Visitor 51/10 = 5.1 Total required: 11 | Proposed = 11 | Yes |

The application provides car parking spaces in accordance with the ARH SEPP 2009 as per the assessment above in this report. Therefore, the proposal is consistent with Part B1 of Canterbury DCP 2012.

Further, the application was referred to Council’s Development Engineer who raised no objections subject to conditions of consent.

Part B2 – Landscaping and Part B3 – Tree Preservation

The application was referred to Council’s Landscape Architect who raised no objection with the current design, subject to conditions of consent.

Part B4 – Accessible and Adaptable Design

The access report prepared by Morris Goding Access Consulting and the BCA Report prepared by Design Right Consulting were submitted as part of the DA. The report concludes that the design generally complies with the relevant standards. Where the design includes some non-compliances, these matters can be resolved through minor design changes or BCA Performance Solutions at the relevant Construction Certificate stage. On this basis, the design is considered acceptable from an accessible and adaptable design perspective.

Part B5 – Stormwater and Flood Management

The application was referred to Council’s Development Engineer who raised no objection with the current design, subject to conditions of consent.

Part B7 – Crime Prevention and Safety

An assessment of the proposed design against the relevant provisions of Part B7 is provided in the table below:

| Standard | Requirement | Proposal | Complies |
| --- | --- | --- | --- |
| Crime Prevention through Environmental Design | Avoid blind corners | Development provides adequate sight lines and avoids blind corners | Yes |
|  | Provide natural surveillance for communal and public areas. | Development provides adequate sight lines which provide casual surveillance to the communal area and to the public streets. | Yes |
|  | Provide clearly visible entries. | Entries are clearly visible | Yes |
|  | Design the fence to maximise natural surveillance from the street to the building. | Design provides windows, balconies and entries to the street to maximise surveillance. | Yes |
|  | Avoid landscaping that obstructs natural surveillance. | Landscaping does not obstruct views. | Yes |
|  | Ensure buildings are clearly identified by street numbers. | Entries have been designed to be clearly identifiable. | Yes |
|  | Use materials that reduce the opportunity for vandalism. | Imposed via condition of consent. | Yes |
|  | Provide an appropriate level of security for individual dwellings and communal areas through use of intercoms, self closing doors and signage. | Imposed via condition of consent. | Yes |

Part B9 - Waste

The application was referred to Council’s Project Officer – Resource Recovery who raised no objection with the current design, subject to conditions of consent.

C4 - Residential Flat Buildings

An assessment of the proposal against the relevant provisions contained in Part C4 of CDCP 2012 is provided below:

| Standard | Requirement | Proposal | Complies |
| --- | --- | --- | --- |
| C4.2.1.1 - Frontage | 4+ storey building: Min 30m frontage | Pennsylvania Ave Frontage = 62.835m Union Street Frontage = 37.705m | Yes |
| C4.2.1.2 - Isolated Sites | Neighbouring properties are not to be isolated so that the property will be unable to reasonably accommodate coordinated development. | Development will not isolate adjoining properties. | Yes |
|  | Undertake negotiations with neighbouring owners to seek amalgamation and enable coordinated redevelopment. | Not applicable. | N/A |
|  | If adjoining owners do not agree on terms of amalgamation, provide evidence of reasonable offers and demonstrate that the isolated site is capable of reasonable redevelopment. |  |  |
| C4.2.1.3 - Open space and balconies | Section 6A of SEPP 65 states that a DCP cannot be inconsistent with the provisions of the ADG made under that SEPP in relation to balconies and development to which the SEPP relates. An assessment against the minimum balcony provisions within the ADG has been undertaken earlier within this report. Furthermore, an assessment against the communal open space requirements specified within the ADG has also been undertaken earlier within this report. |  |  |
| C4.2.1.4 – Layout and Orientation | Orientate development to maximise solar access and natural lighting. | The corner lot allows the development to maximise solar access and natural lighting from the north, east and west elevations | Yes |
|  | Site the development to avoid casting shadows onto neighbouring dwelling’s primary living area, private open space and solar cells. | The development will overshadow the existing single-story developments to the south. However, this is a high-density zone and the future development will also be high density which will allow greater solar access. Further to this, these adjoining residential properties can receive 3 hours of solar access to their primary living areas and 50% of their POS. | Yes |
|  | Site new development and private open space to avoid existing shadows cast from nearby dwellings. | Achieved. The development is a corner allotment which has frontages that are orientated north, east and west and benefits from no surrounding development which cast significant shadows. The design has placed majority of the windows attached to primary living areas toward these boundaries to benefit from natural sunlight. The main area of POS is provided within the two buildings and is not overshadowed by nearby dwellings. | Yes |
|  | Site a building to take maximum benefit from cross-breezes and prevailing winds. | As per the site analysis plan, the site benefits from the winter breeze to the west and the summer breeze to the east. The apartments have been designed to have windows and openings to these orientations and achieve natural ventilation. | Yes |
| C4.2.2.2 - Height | Basement that projects greater than 1m above ground level comprises a storey | Basement does not project more than 1m above NGL. | Yes |
| C4.2.2.3 - Setbacks | Development, including basement and sub-floor areas fronting a major road must have minimum 9m front setback. | Not a major road. | N/A |
|  | Front = 6m | 6m setback to Union Street. | Yes |
|  | Side: Min 4m | 4m from northern and southern boundaries | Yes [see comment 1 below] |
|  | Rear: Min 6m | 6m to Hunter Street | Yes |
|  | Deep Soil – Setbacks: Front and Rear: Min 5m Side: Min 2m | Achieved. | Yes |
| C4.2.2.4 - Building Depth and C4.2.2.5 - Separation | Section 6A of SEPP 65 states that a DCP cannot be inconsistent with the provisions of the ADG made under that SEPP in relation to balconies and development to which the SEPP relates. An assessment against the minimum building depth and separation provisions within the ADG has been undertaken earlier within this report. |  |  |
| C4.2.2.6 - Floor to Ceiling | Section 6A of SEPP 65 states that a DCP cannot be inconsistent with the provisions of the ADG made under that SEPP in relation to balconies and development to which the SEPP relates. An assessment against the minimum floor to ceiling provisions within the ADG has been undertaken earlier within this report. |  |  |
| Part C4.2.3 – Building Design |  |  |  |
| Contemporary Built Form | New building forms and design features shall not mimic traditional features. | Achieved. | Yes |
|  | Access to upper storeys must not be via external stairs. | No access via external stairs. | Yes |
|  | All dwellings must contain one kitchen and laundry facility. | All dwellings contain a kitchen and laundry. | Yes |
| Building Entries | Entries to residential buildings must be clearly identifiable. | Entries are clearly identifiable. | Yes |
|  | A minimum of one habitable room per dwelling must be oriented towards the streets. | Achieved. | Yes |
|  | Ground level private terraces located within the front setback must be setback at least 1m from the street boundary to accommodate a landscape strip which should remain in communal ownership. | Achieved with the exception one entry ramps and footpaths. | Yes |
| Façade Design | Façade design should reflect the orientation of the site using elements such as sun shading devises etc. | The design appropriately addresses the three street frontages with face north, east and west by providing a roof over proposed balconies for shade. | Yes |
|  | Articulating Façade Panels: Street Elevations: 6m to 8m Side Elevations: 10m to 15m | Union Street frontage, levels 1 and 2 have no articulation in the form of varied setbacks for 22.8m | No [see comment 2 below |
|  | Avoid long flat walls along street frontages – stagger the wall alignment with a step. | Each street frontage and elevation is designed as a series of articulating panels which vary in height. Further to this, the elevations have been broken up from steps in the building up to the top storey. The design incorporates contrasting materials and finishes which respond to each other and the surrounding area. The design reduces the overall bulk and scale of the development. | Yes |
|  | Vary the height of modules so they are not read as a continuous line on any one street between 2 - 4 storeys, step-back to the middle component and again at the top. |  |  |
|  | Incorporate contrasting elements in the facade - use a harmonious range of high quality materials, finishes and detailing. |  |  |
|  | Screen prominent corners with awnings, balconies, terraces or verandas that project at least 1 m from the general wall alignment. |  |  |
|  | For residential flat buildings, layer and step facades in order to avoid building forms that are bland, bulky or over scaled by: (a) Complying with base and upper element setback controls; and (b) Incorporating balconies, staggered alignments for exterior walls and through contrasting design elements. |  |  |
| Pavilions | The top storey of any two-storey dwelling should be designed as a series of connected pavilion elements to minimise scale and bulk. | No two storey dwellings. | N/A |
|  | Facades that exceed 25m in length shall be indented to create the appearance of multiple pavilion elements | None exceed 25m | N/A |
|  | Pavilion elements shall have a depth between 10-15m. | Achieved. | Yes |
|  | Articulate upper storey pavilions with an additional side boundary setback, and identify by separate roofs. | Achieved. | Yes |
|  | Residential flat buildings up to three (3) storeys facades that would be wider than 25m should be indented so that the new building would appear like a cluster of pavilion elements: (a) Width of each pavilion should be between 10-12m (b) Pavilion elements should be separated by courtyards that are less than 6m wide. | Achieved. | Yes |
|  | Residential flat buildings four (4) or more storeys | Not more than 4 storeys | N/A |
| Windows | Windows must be rectangular. | All windows are rectangular. | Yes |
|  | Windows and openings shall be appropriately located and shaded to reduce summer heat load and maximum winter sun. | Achieved as per BASIX commitments | Yes |
| Roof Pitch | Max 10 degrees. | < 10 degrees | Yes |
| C4.2.3.3 - Dwelling Layout and Dwelling Mix | Section 6A of SEPP 65 states that a DCP cannot be inconsistent with the provisions of the ADG made under that SEPP in relation to balconies and development to which the SEPP relates. An assessment against the minimum dwelling layout provisions within the ADG has been undertaken earlier within this report. |  |  |
|  | Min 10% of apartments to be adaptable or accessible | 6 x adaptable units proposed= 11.7% Unit 10, 11, 12, 13, 15 & 16 | Yes |
| C4.2.4.1 - Solar Access and Overshadowing | Section 6A of SEPP 65 states that a DCP cannot be inconsistent with the provisions of the ADG made under that SEPP in relation to balconies and development to which the SEPP relates. An assessment against the solar access provisions within the ADG has been undertaken earlier within this report. |  |  |
|  | Daylight is to be provided to all common circulation areas (including lift wells) that are above ground. | Achieved, where possible. | Yes |
| Solar Access and Overshadowing – Adjoining Development | Development to retain a minimum of 3 hours of sunlight between 8am-4pm on 21 June for existing living areas and 50% of the principal private open space. | The proposal will permit sunlight into at least one living room window and 50% of the POS of neighbouring properties for a minimum of 3 hours in mid-winter. | Yes |
|  | If a neighbouring dwelling currently receives less than 3 hours of sunlight, then the proposed development must not reduce the existing level of solar access to that property | Not applicable as neighbouring properties currently receive a minimum of 3hrs of solar access. | N/A |
|  | Sunlight to solar hot water or photovoltaic systems on adjoining properties must comply with the following: (a) Systems must receive at least 3 hours of direct sunlight between 8.00am and 4.00pm on 21 June. (b) If a system currently receives less than 3 hours sunlight, then proposed development must not reduce the existing level of sunlight. (c) Clothes drying areas on adjoining residential properties must receive a minimum of 3 hours of sunlight on 21 June. | The adjoining residential developments do not have solar panels or hot water systems. N/A The clothes drying areas for the southern adjoining properties receive a minimum 3 hours of solar. | Yes N/A Yes |
| C4.2.4.2 – Acoustic Privacy | Protect sensitive rooms, such as bedrooms, from likely sources of noise such as major roads and neighbouring’ living areas. | No major roads adjoin the site. The bedrooms located along the southern boundary either don’t have windows attached along that boundary or are screened. Further, they are not directly adjacent to the living areas of these dwelling houses. | Yes |
|  | Above ground access to new dwellings must not include communal balconies that would be located immediately next to a bedroom window. | access points to Building A and Building B from the communal area are recessed into the building and located away from bedrooms on the ground floor. | Yes |
|  | Bedroom windows in new dwellings that would be located at or close to ground level are be raised above, or screened from, any shared pedestrian pathway. | Bedrooms located adjacent to the communal opens spaces either have no window which face this area or are screened by planter boxes as a buffer. | Yes |
|  | Screen balconies or windows in living rooms or bedrooms that would face a driveway or basement ramp. | None which face the basement/driveway | Yes |
|  | Address all requirements in ‘Development Near Rail Corridors and Busy Roads (Interim Guideline 2008’) which has been published by the NSW Department of Planning. | The subject site is not located in proximity to a rail line for this control to be applicable. | N/A |
| C4.2.5.1 - Fences | Front fences within the front boundary setback are to be no higher than 1.2m | Achieved. Due to the subject site being a corner allotment with three street frontages, these frontages will have 1.2 high fencing and landscaping to active these facades. | Yes |
|  | Side fences may be 1.8m high to the predominant building line. Forward of the building line, side fences must taper down to the height of the front fence at a height no greater than 1.2m. | Achieved. The southern boundary is proposed to have a 1.8m high fence. | Yes |
|  | On corner sites where the façade of a building presents to two street frontages, fences are to be no higher than 1.2m. | Achieved, as per above. | Yes |
|  | Screen walls around private open spaces shall not be taller than 1.2m, although screens with 50% transparency may be up to 1.8m in height. | The POS areas which face the three street frontages have a 1.2m high fence. | Yes |
| C4.2.5.2 - Building services | Integrate systems, services and utility areas within the design of the whole development. | Majority of services are located in the basement The location of fire hydrant is appropriate, and its design is adequately integrated into the building. Substation is integrated into the design of the front façade and is not considered to be visually intrusive. | Yes |

[1] Setbacks

Part C4.2.2.3, C2 requires a 6m front and rear setback and a 4m side setback for residential flat building developments.

The subject site is a corner allotment which benefits from three street frontages. the design of the development presents to Union Street as a front setback to Building A as well as proving the basement entry. Therefore, the 6m front setback control is applied to this frontage. Building B presents to Hunter Street with a main entry and POS located along this elevation. Therefore, the 6m rear setback control is applied to this frontage.

Further to this, the 6m front and rear setback is applied to these frontages to be in conjunction with the established and desired subdivision and rhyme of the existing developments along both Union and Hunter Street.

Pennsylvania Road is therefore a secondary street frontage and a 4m side setback has been applied in accordance with Canterbury DCP 2012. The design of building A and B adequately address this frontage and contribute to the streetscape. Treating as a secondary street frontage is consistent with the existing residential flat building directly adjacent at 1 Missouri Place.

A 4m side setback has been applied to the southern boundary which adjoins existing residential dwellings.

Based on this, the proposal is consistent with the controls and objectives outlined within Part C4.2.2.3 of CDCP 2012.

[2] Articulation

Part C4.2.3.1 C17, that the width of articulating panels shall be in accordance with the numerical requirements below:

The Union Street façade includes articulation less than every 8m in accordance with the CDCP. The Union Street façade is highly articulated with multiple materials used, a variety of windows incorporated and recessed balconies to provide depth.

The design variation along the Union Street façade creates for a high quality design outcome to clearly identify the entrance to the development.

The use of contrasting materials and finished and recesses in the building, the design satisfies Part C4.2.3.1, O6 states that development should encourage effective articulation of building design to reduce the appearance of scale, enhance visual interest and ensure a diversity of built form.

Based on this, the design is considered to meet the objectives of the numerical control and therefore the variation is worthy of support.

Canterbury Development Contributions Plan 2013 (Contributions Plan 2013)

The Canterbury Development Contributions Plan 2013 applies to the site and requires a contribution of $542,63.98. This is included as a condition of consent.

Planning agreements [section 4.15(1)(a)(iiia)]

There are no planning agreements applicable to the proposed development.

The regulations [section 4.15(1)(a)(iv)]

Based on the above assessments, it is considered that the proposed development is not inconsistent with the provisions of the Environmental Planning and Assessment Regulation, 2000.

The likely impacts of the development [section 4.15(1)(b)]

- Sediment and Erosion Control

The submitted development plans show details of sediment and erosion control measures to be installed as part of the construction of the development.  Standard conditions will be included regarding the installation and maintenance of the sediment and erosion control measures as part of the pre and during construction phase of the development.

- Health, Safety & Amenity during Construction Phase

During the construction of the development, the health and amenity of workers, the public and adjoining properties alike needs consideration under Section 4.15 of the EP&A Act.  Accordingly, all works associated with the development will be restricted to daytime hours to ensure the works will not be a nuisance to adjoining occupiers and property owners (by way of standard condition).

- Referrals

| Referral | Date | Comment |
| --- | --- | --- |
| Dev. Engineer | 7/09/2020 | No issues subject to conditions of consent |
| Waste Management | 7/09/2020 3/03/2021 11/05/2021 | Requested additional information Requested additional information No issues subject to conditions of consent |
| Building Surveyor | 7/09/2020 | No issues subject to conditions of consent |
| Tree management | 7/09/2020 | No issues subject to conditions of consent |
| Environmental Health | 8/09/2020 3/03/2021 22/03/2021 | Requested additional information Previous memo was not addressed No issues subject to conditions of consent |
| Landscape Architect | 9/04/2021 11/05/2021 | Issues raised regarding COS and deep soil Issues raised regarding RL’s of COS and accessibility- to be conditioned. |

As outlined above, the likely impacts of the development have been assessment and it is considered that the proposal is considered to have minimal impacts on the surrounding area.

Suitability of the site [section 4.15(1)(c)]

The proposed development is permissible in the subject site’s current zoning and is consistent with the objectives of the zone as it provides a residential flat building development to accommodate for the housing needs for very low to moderate income households within this local residential environment. The site is suitable for the development providing for the orderly and economic use of the land.

Submissions [section 4.15(1)(d)]

The application was advertised/notified for a period of 21 days and two (2) objections were received during this period, which raises concerns relating to the following:

Objection:	Construction Noise and Vibration. Concerns were raised in regard to the temporary construction and vibration disruptions on the adjoining school. It is suggested that high impact construction be done outside of school hours to reduce the impacts and that the school be notified at least one week prior to works starting.

Comment:	Standard conditions of consent are imposed which restrict the hours of demolition and construction to be between 7.00am and 5.00pm on Monday to Saturday and no construction on Sunday or a public holiday. A condition is also imposed which requires the applicant to notify council and surrounding properties, seven (7) days prior to demolition being undertaken.

Objection:	Construction Traffic and Parking- concerns were raised in regard to the construction works do not impede of the safety of the children and pedestrians.

Comment:	A traffic management plan is required to be submitted to Council for approval prior to construction which gets referred to Council’s Traffic Committee for assessment.  This will ensure any adverse impacts can be mitigated.

Objection:	Privacy (on the adjoining school)- concerns were raised in regard to the privacy impacts on the adjoining school as a result of the balconies and windows along the Union Street elevation.

Comment:	This elevation is setback the required 6m as per Canterbury DCP 2012. Further to this, the proposed design of this elevation provides casual surveillance to Union Street from habitable rooms and therefore, promotes greater visibility to the street in terms of crime prevention measures.

Objection:	Parking- concerns were raised in relation to not enough parking being provided for the proposed development and the effect of this on the current surrounding road system

Comment:	The proposal provides the 24 car spaces as required for social housing provides under State Environmental planning Policy (Affordable Rental Housing) 2009.  Further to this, a Traffic and Parking Assessment Report was submitted with the application which was reviewed by Council’s Traffic Department. They raised no issues subject to conditions of consent.

The public interest [section 4.15(1)(e)]

The public interest is served through the detailed assessment of this application under the Environmental Planning and Assessment Act 1979, Environmental Planning and Assessment Regulation 2000, Environmental Planning Instruments and Development Control Plans. Based on the above assessment, the proposal is in the public interest.

- CONCLUSION

The Development Application has been assessed in accordance with the provisions of Section 4.15 of the Environmental Planning and Assessment Act 1979, Canterbury Local Environmental Plan 2012 and Canterbury Development Control Plan 2012. and all other relevant environmental planning instruments and policies. The proposal does not contravene any development standards and is unlikely to have any significant impacts. Notwithstanding that, the proposal results in a variation to the minimum landscape requirement under the ARH SEPP, visual privacy requirement under the ADG and the articulation control within CDCP 2012, however the variations are not considered to have any significant impacts.

The development is supported under the principle of delivering affordable housing, whilst protecting the amenity for occupants and positively contributes to the streetscape and the local built environment.

The site is suitable for the proposed development and consistent with the objectives of the R4 High Density Residential zone pursuant to Canterbury LEP 2012 by virtue, the proposal is permissible within the zone. On that basis, the application is recommended for approval subject to conditions of consent.

- RECOMMENDATION

It is recommended that development application DA-757/2020 be approved subject to the attached conditions.