Notice of Determination of a Development Application

Environmental Planning and Assessment Act,1979. Section 4.18(1)(a)

# Development Application No. DA-757/2020

St George Community Housing

Attention: Angus Nguyen

38 Humphreys Ln

HURSTVILLE NSW 2220

Date of Determination:

Determination Notice No.:	DA-757/2020

Property:	Lot 378 DP 225388, Lot 379 DP 225388, Lot 376 DP 225388, Lot 380 DP 225388, Lot 377 DP 225388, No. 17-21 Pennsylvania Road, RIVERWOOD NSW  2210

Canterbury-Bankstown Council hereby Consents to the above described land being developed for the following purpose, subject to compliance with the conditions and requirements set out in the attached schedules.

Description of Development:	Construction of a part 3 and part 4 storey residential flat building to be used for affordable rental housing.

Planning Instrument:	Canterbury Local Environmental Plan 2012

Zoning of Property:		R4 High Density Residential

Consent to Operate From:

Consent to Lapse On:

These conditions are imposed taking into account the matters for consideration in determining a Development Application pursuant to Section 4.15 of the Environmental Planning & Assessment Act, 1979 and other relevant Acts and Regulations.

Notes:

- This Determination Notice does not provide consent to commence building or subdivision work. A Construction Certificate must be obtained prior to the commencement of any building work and a Subdivision Works Certificate must be obtained prior to the commencement of any subdivision work. Council can provide certification services relating to the issue of a construction certificate or subdivision works certificate if required by the development consent. Please contact Council for a fee proposal if you require any of these certification services.

- This Determination Notice operates or becomes effective from the endorsed date of Consent.

- If you are dissatisfied with this decision, you may apply for a review of determination pursuant to Section 8.2 of the Environmental Planning and Assessment Act, 1979 or appeal to the Land and Environment Court pursuant to Sections 8.7 and 8.10 of the Environmental Planning and Assessment Act, 1979.  Any application for a review pursuant to Section 8.2 must be received, assessed and determined by Council within 6 months after the date of receipt of this Determination Notice.  It is therefore advisable to lodge the application for review as soon as possible to ensure that assessment is complete within the statutory timeframes. Section 8.10 in the Environmental Planning and Assessment Act 1979 extends this six month period to twelve months for determinations made during, or six months before, the Prescribed Period of 25 March 2020 and 25 March 2022.  You should seek advice from your legal advisor on the time limits for the lodgement of any appeal.

- Sections 9.37 and 9.50 of the Environmental Planning and Assessment Act, 1979 confers the authority to direct any person to comply with the terms and conditions of any Consent and any person failing to comply with such a direction shall be guilty of an offence under that Act.

- This consent will lapse 5 years from the endorsed date of consent unless the use has commenced, or any building works have physically commenced.

- The applicant or any other person entitled to act on this Consent may apply to modify the Development Consent in accordance with Section 4.55 of the Environmental Planning and Assessment Act, 1979.

- Failure to comply with a condition contained within this Development Consent may result in a fine or prosecution by Council.

CONDITIONS OF CONSENT

- The proposal shall comply with the conditions of Development Consent. A Construction Certificate shall not be issued until the plans and specifications meet the required technical standards and the conditions of this Development Consent are satisfied.

- Development shall take place in accordance with Development Application No. DA-757/2020, submitted by St George Community Housing, accompanied by the drawings as listed in the table below, and affixed with Council’s approval stamp, except where otherwise altered by the specific amendments listed hereunder and/or except where amended by the conditions contained in this approval.

| Drawing Title | Drawing No. | Rev. | Dated | Prepared by |
| --- | --- | --- | --- | --- |
| Site Plan | DA104 | 05 | 5/05/2021 | DKO |
| Basement | DA200 | 05 | 5/05/2021 | DKO |
| Ground | DA201 | 07 | 5/05/2021 | DKO |
| Level 1 | DA202 | 05 | 5/05/2021 | DKO |
| Level 2 | DA203 | 05 | 5/05/2021 | DKO |
| Level 3 | DA204 | 05 | 5/05/2021 | DKO |
| Roof Plan | DA205 | 05 | 5/05/2021 | DKO |
| Elevations- Sheet 1 | DA300 | 07 | 5/05/2021 | DKO |
| Elevations- Sheet 2 | DA301 | 06 | 5/05/2021 | DKO |
| Elevations- Sheet 3 | DA302 | 07 | 5/05/2021 | DKO |
| Sections- Sheet 1 | DA303 | 07 | 5/05/2021 | DKO |
| Sections- Sheet 2 | DA304 | 07 | 5/05/2021 | DKO |
| Sections- Sheet 3 | DA305 | 07 | 5/05/2021 | DKO |
| C.O.S | DA406 | 01 | 5/05/2021 | DKO |
| Landscape | DA409 | 05 | 5/05/2021 | DKO |
| Adaptable Unit Layout | DA412 | 05 | 5/05/2021 | DKO |
| Adaptable Unit Layout | DA413 | 02 | 5/05/2021 | DKO |
| Storage Calculation | DA414 | 05 | 5/05/2021 | DKO |
| Ground Floor Fence Plan | DA427 | - | - | DKO |
| First Floor Fence Plan | DA428 | - | - | DKO |
| Landscape Plan | L01 | 7 | 04.05.21 | Inviewdesign |
| Plant Schedule and Detail | L02 | 7 | 04.05.21 | Inviewdesign |

The development plans shall be amended as follows:

- Pedestrian sight lines are to be provided on the ground floor plan, to the satisfying of the Private Certifying Authority, prior to the issue of any Construction Certificate.

- Footpath and kerb ramps are to be constructed along the 3 frontages for the development’s residents at the applicants cost. This is to be shown on any Construction Certificate Plans prior to the issue of any Construction Certificate.

- All concrete paths and hardstand surfaces within the area outlined in red on the approved plans, with the exception of the BBQ area are to be removed and replaced with soft landscaping. This is to be shown on the Construction Certificate prior to the issue of any Construction Certificate.

- The sandstone log seating, nominated on the landscape plan is to be removed, as shown in red on the approved plans.

- Stair/ramp access is to be provided between the lower and higher ground levels along the southern side of the property as shown in red on the plans.

- The concrete area in front of the substation room, along Union Street, is to be removed and replaced with soft, low maintenance and non-invasive landscaping, as shown in red on the approved plans.

- All units (51 units) within the development must be used for the purpose of affordable housing as per the definition of affordable housing under Clause 17 of the ARH SEPP 2009 and be managed by a registered community housing provider.

- A restriction being registered against the title of the property on which development is to be carried out, in accordance with section 88E of the Conveyancing Act 1919, prior to the issue of the occupation certificate requiring that a 100% (51 units) of the floor space within the approved development to be used for the purposes of affordable housing and managed by a social housing provider from the date of issue of the occupation certificate. In this regard, the restriction shall apply to the entire development as affordable housing.

- The National Construction Code Report submitted in support of this application prepared by Design Right Consulting, dated 14 August 2020 and all the recommendations stated within the report, form part of the development consent.

- The access report submitted in support of this application prepared by Morris Goding Access Consulting, titled Access Review- Final, dated 18 August 2020 and all the recommendations stated within the report, form part of the development consent.

- The waste storage room must be provided with smooth and impervious walls and floors and coved at the intersection of the floor and walls. Floor areas must be graded and drained to a floor waste gully connected to the sewer. Waste storage rooms must be well ventilated and proofed against pests. The area or room must be provided with water service hose connectors to enable easy cleaning. Open waste storage areas must be appropriately covered and bunded. The ground must be paved with impervious material and must be graded and drained to a waste water disposal system according to Sydney Water’s requirements. A hose tap connected to a water supply must be provided.

All waste generated on the site is to be stored, handled and disposed of in such a manner as to not create offensive odour, offensive noise or pollution of land and/or water as defined under the Protection of the Environment Operations Act 1997. All waste generated must be removed and disposed of by an authorised waste removal contractor. A copy of the waste removal agreement and receipts must be made available to Council on request.

- The operation of the development must not adversely affect the amenity of the neighbourhood or interfere unreasonably with the comfort or repose of a person who is outside the premises by reason of the emission or discharge of noise, fumes, vapour, odour, steam, soot, ash, dust, waste water, waste products, grit, oil or other harmful products.

- Any lighting of the premises must be installed in accordance with AS/NZS 4282-2019, ‘Control of the obtrusive effects of outdoor lighting’, to avoid annoyance to the occupants of adjoining premises or glare to motorists on nearby roads. Flashing, moving or intermittent lights or signs are prohibited. The intensity, colour or hours of illumination of the lights must be varied at Council’s discretion if Council considers there to be adverse effects on the amenity of the area.

- The Waste Management Plan (WMP), prepared by tmm, rev 4, dated 5 May 2021, and all recommendations within, form part of this consent.

- The Arborist Impact Assessment and Tree Management Plan, prepared by Green Spaces Consultancy, dated 17 August 2020, and all recommendations within, form part of this consent.

- The Operational Plan of Management, prepared by SGCH, and all recommendations within, form part of this consent.

- Any required fire hydrants, boosters and other services must be contained within cabinets using materials and colours from the approved external finishes and shall not impede on the approved landscaped areas.

- All scheduled plant stock shall be pre-ordered, prior to issue of Construction Certificate or 3 months prior to the commence of landscape construction works, whichever occurs sooner, for the supply to the site on time for installation. Written confirmation of the order shall be provided to Council’s Landscape Architect, prior to issue of any Construction Certificate. The order confirmation shall include name, address and contact details of supplier; and expected supply date.

- All the tree supply stocks shall comply with the guidance given in the publication Specifying Trees: a guide to assessment of tree quality by Ross Clark (NATSPEC, 2003).

## CONDITIONS TO BE SATISFIED PRIOR TO THE ISSUE OF A CONSTRUCTION CERTIFICATE

Prior to the release of a Construction Certificate the following conditions MUST be satisfied and nominated fees/contributions/bonds paid:

- A detailed Schedule of Colours and Finishes prepared by a qualified architect or designer is to be approved prior to the issue of a Construction Certificate. This plan is to be generally in accordance with the materials, colours and finishes shown perspective sheets 1-3, on plan no. DA306, DA307 and DA308, Rev 5, Dated 5 May 2021.

- The materials used must reduce the opportunity for vandalism.

- Prior to the issue of a Construction Certificate, the site is to be remediated in accordance with:

- The approved Remedial Action Plan, prepared by JBS&G Australia Pty Ltd, titled St George Community Housing Remedial Action Plan, 17-21 Pennsylvania Road, Riverwood NSW, dated 19 March 2021, Reference 59058/130987 (Rev 2);

- State Environmental Planning Policy No. 55 - Remediation of Land;

- The guidelines in force under the Contamination Land Management Act 1997.

The applicant must engage an appropriately qualified and experienced environmental consultant to supervise all aspects of site remediation and validation.

Any variations to the approved Remediation Action Plan must be submitted to and approved in writing by an NSW EPA Accredited Site Auditor and Council prior to the continuing of such work.

- The Certifying Authority must ensure that any certified plans forming part of the Construction Certificate are not inconsistent with this Development Consent and accompanying plans.

- A detailed landscape plan prepared by a qualified landscape architect or designer is to be approved prior to the issue of a Construction Certificate. The landscape plan is to be prepared in accordance with the relevant DCP and is to show all features, built structures including retaining walls, irrigation, mulch and natural features such as significant gardens, landscaping, trees, natural drainage lines and rock outcrops that occur within 3 metres of the site boundary.  The landscape plan shall consider any stormwater, hydraulic or overland flow design issues and conditions of this consent where relevant. Landscaping shall be installed in accordance with the approved landscape plan.

- The landscape plan shall include the provision for the replacement of all boundary fencing. A new 1.8m fence is to be erected along all side and rear boundaries of the subject allotment at full cost to the developer. The colour of the fence is to complement the development and the fence is to be constructed of lapped and capped timber paling, sheet metal or other suitable material unless the type of material is stipulated in any flood study prepared for the site. The selection of materials and colours of the fence is to be determined in consultation with the adjoining property owners. Fencing forward of the building line shall be no higher than 1m unless otherwise approved by Council.

- Approval in accordance with Council’s Tree Preservation Order (TPO) is granted to lop or remove only the trees identified to be lopped or removed on the approved plans.  Separate approval shall be obtained to prune or remove trees on adjoining properties or other trees located on the site. Failure to comply with Council’s TPO may result in a fine of up to $100,000.

- A soil erosion and sediment control plan must be prepared by a suitably qualified professional, in accordance with Council’s Demolition and Construction Guidelines and Part B5 of Canterbury DCP 2012, and submitted to the certifying authority for approval prior to the issue of a construction certificate.

- The Council Approved building plans, including demolition plans, must be submitted to Sydney Water for assessment. This will determine if the proposed structure(s) would affect any Sydney Water infrastructure or if there are additional requirements.  Building plan approvals can be submitted online via Sydney Water Tap inTM.

Please refer to www.sydneywater.com.au/tapin

For Sydney Water’s Guidelines for building over or next to assets, visit  www.sydneywater.com.au ‘Plumbing, building & developing’ then ‘Building Plan Approvals’ or call 13000 TAPIN.

Prior to release of a construction certificate Sydney Water must issue either a Building Plan Assessment letter which states that your application is approved, or the appropriate plans must be stamped by a Water Servicing Coordinator.

- A Construction Certificate shall not be issued until written proof that all bonds, fees and/or contributions as required by this consent have been paid to the applicable authority.

- A long service levy payment which is 0.35% of the total cost of the work is to be paid to the Building and Construction Industry Long Service Payments Corporation.

- This condition has been levied on the development in accordance with Section 7.11 of the Environmental Planning and Assessment Act 1979 and in accordance with Canterbury Development Contributions Plan 2013, after identifying the likelihood that this development will require or increase the demand on public amenities, public services and public facilities in the area.

The amount of the contribution (as at the date of this consent) has been assessed as $542,623.98.  The amount payable is based on the following components:

| Contribution Element | Contribution |
| --- | --- |
| 2013 |  |
| - Community Facilities | $ 49,080.78 |
| - Open Space and Recreation | $ 479,734.94 |
| - Plan Administration | $ 13,808.26 |

Note:  The contributions payable may be adjusted, at the time of payment, to reflect Consumer Price Index increases (All Groups Index) for Sydney as published by the Australian Bureau of Statistics.

The contribution is to be paid to Council in full prior to the release of the Construction Certificate, (or for a development not involving building work, the contribution is to be paid to Council in full before the commencement of the activity on the site) in accordance with the requirements of the Contributions Plan.

The Development Contributions Plan 2013 may be inspected at Council’s Campsie Customer Service Centre, 137 Beamish Street, Campsie or from Council’s website www.cbcity.nsw.gov.au.  A copy of the Plan may be purchased from Council’s Administration Centre, 137 Beamish Street, Campsie during office hours.

- Finished surface levels of all internal works and at the street boundary, including driveways, landscaping and drainage structures, must be as shown on the approved plans. The levels at the street boundary must be consistent with the Street Boundary Alignment Levels issued by Council.

- Stormwater drainage from the development shall be designed so as to comply with Council’s Canterbury Development Control Plan 2012 Part B5 stormwater guideline requirements and of the BASIX Certificate (where applicable). A final detailed stormwater drainage design shall be prepared by a qualified Professional Civil Engineer in accordance with the above requirements and shall generally be in accordance with the concept stormwater plan rev B dated 13/8/2020 prepared by BONACCI Group. The final plan shall be certified by the design engineer that it complies with Council's Canterbury Development Control Plan 2012 Part B5, the BASIX Certificate and the relevant Australian Standards.

- The pump out drainage system for the access ramp and basement car parking area shall be provided in accordance with Council’s Canterbury Development Control Plan 2012 Part B5. The Engineer must design the Pump out system in accordance with Australian Standards AS3500.3. Engineering details and specifications shall be submitted to the Principal Certifying Authority (PCA) for approval prior to the issue of any Construction Certificate. Engineering details and manufacturers specifications for the pumps, switching system and sump pit shall be submitted to the Principal Certifying Authority (PCA) for approval prior to issue of any Construction Certificate.

- Where Council approved cut or fill exceeds 200mm and stable batter of 1 vertical to 3 horizontal maximum grade cannot be achieved, then a masonry or other proprietary material retaining wall, intended and suitable for that purpose, shall be constructed within the development site. Note, filling of the site needs specific approval from Council.

The retaining wall shall be located so that it will not impede or obstruct the natural flow of stormwater. Retaining walls exceeding 600mm in height shall be designed by a qualified professional Civil/Structural Engineer. Plans and details prepared and signed by the Engineer are to be submitted to the Principal Certifying Authority (PCA) prior to the issue of the Construction Certificate.

All works associated with the construction of the wall, including backfilling and drainage, is to be located wholly within the allotment boundaries.

- If any neighbouring properties or roadway are to be utilised for support, the legal rights of any adjoining properties must be respected including for temporary supports. In this regard the written permission of the affected property owner must be obtained and a copy of the owner’s consent for temporary rock anchors or other material in adjacent lands must be lodged to Canterbury Bankstown Council prior to the issue of a Construction Certificate.

Temporary rock anchors are rock anchors that will be de-stressed and removed during construction. All other rock anchors are permanent rock anchors for the purposes of this Consent.

Council will not permit permanent rock anchors in adjacent private lands unless they are specifically permitted in a Development Consent.

Where temporary anchors are proposed to be used, an Application must be made to Canterbury Bankstown Council for approval under Section 138 of the Roads Act 1993, via a Road Works Permit application. The submission would need to be supported by an engineering report prepared by a suitably qualified Structural Engineer, with supporting details addressing the following issues:

- Demonstrate that any structures within the road reserve are of adequate depth to ensure no adverse impact on existing or potential future service utilities in the road reserve.

- All existing services must be shown on a plan and included on cross sectional details where appropriate.

- Demonstrate how the temporary anchors will be removed and replaced by full support from structures within the subject site by completion of the works.

- The report must be supported by suitable geotechnical investigations to demonstrate the efficacy of all design assumptions.

- The layout of the proposed car parking areas associated with the subject development (including, driveways, grades, turn paths, sight distance, aisle widths, aisle lengths, and parking bay dimensions) shall be in accordance with the Australian Standard AS 2890 parking series.

- An all weather pavement shall be designed to withstand the anticipated wheel loads for all areas subjected to vehicular movements. Internal pavements specification prepared and certified by all qualified professional Civil Engineer to comply with the relevant Australian Standards, shall be submitted to the Principal Certifying Authority (PCA) for approval prior to the issue of a construction certificate.

- The Construction Certificate plans shall include details of the garbage receptacle area. The garbage receptacle area shall not be visible from the street. The garbage receptacle area shall be located within the building or screened from the street by dense landscaping.

- Prior to the issue of any Construction Certificate for this development, the applicant must obtain approval from Council’s Traffic Section for a Site, Pedestrian and Traffic Management Plan. This Plan must address the measures that will be implemented for the protection of adjoining properties, pedestrian safety and traffic management and other requirements as specified below.

A PRIVATE CERTIFIER CANNOT APPROVE YOUR SITE, PEDESTRIAN & TRAFFIC MANAGEMENT PLAN

This plan shall include details of the following:

- Proposed ingress and egress points for vehicles to and from the construction site;

- Proposed protection of pedestrians, adjacent to the constructions site;

- Proposed hoardings, scaffolding and/or fencing to secure the construction site;

- Proposed pedestrian management whilst vehicles are entering/exiting the construction site;

- Proposed measures to be implemented for the protection of all public roads and footway areas surrounding the construction site from building activities, crossings by heavy equipment, plant and materials delivery and static load from cranes, concrete pumps and the like;

- Proposed method of loading and unloading excavation machines, building material, construction materials and waste containers during the construction period;

- Proposed traffic control measures such as advanced warning signs, barricades, warning lights, after hours contact numbers etc, are required to be displayed and shall be in accordance with Council's and the NSW Roads and Traffic Authority's requirements and AS1742.3.

- Proposed method of support of any excavation, adjacent to adjoining buildings or the public road. The proposed method of support is to be certified by a Civil Engineer with National Professional Engineering Registration (NPER) in the construction of civil works.

- Proposed measures to be implemented in order to ensure that no soil/excavated material is transported on wheels or tracks of vehicles or plant and deposited on the public road.

- Proposed measures for protection of the environment including procedures to control environmental impacts of work e.g. sediment control, proper removal, disposal or recycling of waste materials, protection of vegetation and control/prevention of pollution i.e. water, air noise, land pollution.

The approved Site, Pedestrian and Traffic Management Plan is to be implemented prior to the commencement of any works on the construction site. The applicant will be required to pay for inspections by Council Officers in accordance with Council's adopted fees and charges.

In addition an RMS Approval / Road Occupancy Licence will be required for works on Regional or State Roads or within 100m of a traffic facility including roundabouts and traffic signals.

- As any works within, or use of, the footway or public road for construction purposes requires separate Council approval under Section 138 of the Roads Act 1993 and/or Section 68 of the Local Government Act 1993, Council requires that prior to any Construction Certificate for this development being issued, evidence of lodgement of an application for a Works Permit and or a Roadway/Footpath Building Occupation Permit shall be obtained where one or more of the following will occur, within, on or over the public footway or public road:

A PRIVATE CERTIFIER CANNOT ISSUE THESE PERMITS

WORKS REQUIRING A 'WORKS PERMIT'

- Dig up, disturb, or clear the surface of a public footway or public road,

- Remove or interfere with a structure or tree (or any other vegetation) on a public footway or public road,

- Connect a road (whether public or private) to a classified road,

- Undertake footway, paving, vehicular crossing (driveway), landscaping or stormwater drainage works within a public footway or public road,

- Install utilities in, under or over a public road,

- Pump water into a public footway or public road from any land adjoining the public road,

- Erect a structure or carry out a work in, on or over a public road

- Require a work zone on the public road for the unloading and or loading of vehicles

- Pump concrete from within a public road,

- Stand a mobile crane within a public road

- Store waste and recycling containers, skips, bins and/or building materials on any part of the public road.

Assessment of Works Permits (a to e) includes the preparation of footway design levels, vehicular crossing plans, dilapidation reports and issue of a Road Opening Permit.

All proposed works within the public road and footway shall be constructed under the supervision and to the satisfaction of Council. The applicant/developer shall arrange for necessary inspections by Council whilst the work is in progress.

For commercial or multi-unit residential developments within the designated CBD or an urban village area, footway design and construction and street tree supply, installation and tree hole detailing shall be as per the Council master plan for that area. Full width footways are to be supplied and installed at full cost to the developer to specification as supplied by Council. Detailed pavement plan are to be submitted to Council for approval prior to the issue of the Works Permit.

All Council fees applicable, minimum restoration charges and inspection fees shall be paid prior to the assessment of the Work Permit in accordance with Council's adopted fees and charges. Note: Additional fees after approval will be charged where the Work Permit requires occupation of the Road or Footpath i.e. Hoardings, Work Zones etc.

In determining a Works Permit, Council can impose conditions and require inspections by Council Officers.

Part of any approval will require the person or company carrying out the work to carry public liability insurance to a minimum value of ten million dollars. Proof of the policy is to be provided to Council prior to commencing any work approved by the Work Permit including the Road Opening Permit and must remain valid for the duration of the works.

The commencement of any works on public land, including the footway or public road, may incur an on the spot fine of not less than $1100 per day that work continues without a Works Permit and/or a Roadway/Footpath Building Occupation Permit.

All conditions attached to the permit shall be strictly complied with prior to occupation of the development. Works non-conforming to Council's specification (includes quality of workmanship to Council's satisfaction) shall be rectified by the Council at the applicant's expense.

- Prior to the issue of any Construction Certificate for this development, the Principal Certifying Authority must approve a Site Operations Management Plan (SOMP). This Plan must address the measures that will be implemented for the ongoing management of operations on and around the construction site, the protection of adjoining properties, and other requirements as specified below.

This plan shall include details of the following:

- Proposed hoardings, scaffolding and/or fencing to secure the construction site;

- Proposed measures to be implemented, under the separately approved Works Permit issued by Council, for the protection of all public roads and footway areas surrounding the construction site from building activities, crossings by heavy equipment, plant and materials delivery and static load from cranes, concrete pumps and the like;

- Proposed method of support of any excavation, adjacent to adjoining buildings or the public road. The proposed method of support is to be certified by a Civil Engineer with National Professional Engineering Registration (NPER) in the construction of civil works.

- Proposed measures to be implemented in order to ensure that no soil/excavated material is transported on wheels or tracks of vehicles or plant and deposited on the public road.

- Proposed measures for protection of the environment, according to the relevant provisions of the Protection of Environment Operations (POEO) Act, 1997 including procedures to control environmental impacts of work e.g. sediment control, proper removal, disposal or recycling of waste materials, protection of vegetation and control/prevention of pollution i.e. water, air noise, land pollution.

A number of the above matters may require separate approval from Council, particularly those relating to works on or adjacent to Council property. These may be covered by separate conditions of consent contained in this Determination Notice. Appropriate approvals will need to be obtained prior to the approval of this plan.

The approved Site Operations Management Plan is to be implemented prior to the commencement of any works on the site, and an approved copy provided to Council for information. Ongoing compliance with the matters detailed in the SOMP shall be monitored by the appointed Principal Certifying Authority.

- As any A Work Permit shall be applied for and obtained from Council for the following engineering works in front of the site, at the applicant's expense:

- A medium duty VFC at the property boundary.

- Drainage connection to Council's system.

- Concrete footway paving along the site’s entire frontage to Pennsylvania Road, Union Street and Hunter Street.

- Concrete kerb and gutter and all pram-ramps along the site’s entire frontage to Pennsylvania Road, Union Street and Hunter Street.

- Removal of all driveway surfaces, reinstatement of laybacks to kerb and gutter and reshaping of the footway, all associated with redundant VFCs.

- Repair of any damage to the public road including the footway occurring during development works.

- Reinstatement of the footway reserve and adjustment or relocation of existing public utility services to match the footway design levels as proposed on the approved Work Permit. Adjustment or relocation to any public utility services shall be carried out to the requirements of the public utility authority.

Note: As a site survey and design is required to be prepared by Council in order to determine the necessary information, payment for the Work Permit should be made at least twenty one (21) days prior to the information being required and must be approved prior to the issue of the Construction Certificate.

- A vacant land charge form is to accompany any Construction Certificate (CC) application for the removal of all domestic garbage and recycling bins. https://www.cbcity.nsw.gov.au/council/forms/waste-recycling

- A design certificate and detailed plans are to accompany any CC application which demonstrate that the waste storage room has been designed to be constructed in accordance with the following requirements:

- Floors must be constructed of concrete at least 75mm thick and graded and drained to a Sydney Water approved drainage fitting.

- The floors must be finished so that is non-slip and has a smooth and even surface.

- The room is to be integrated within the building, a minimum 2.1m unobstructed room height is required in accordance with the Building Code of Australia;

- The walls must be constructed of solid impervious material.

- The ceilings must be finished with a smooth faced non-absorbent material capable of being cleaned.

- Walls, ceiling and floors must be finished in a light colour.

- Is to be provided with an adequate supply of hot and cold water mixed through a centralised mixing valve with hose cock.

- A self-closing door openable from within the room.

- Must be constructed to prevent the entry of birds and vermin.

- Be provided with adequate light and ventilation. Light source must be through controlled light switches located both outside and inside the room.

- Any doorways must be 2m wide.

Designed to fit:

Building A – 26 units

- 6 x 660L bulk garbage bins

- 5x 660L bulk recycling bins

- 3 x 240L garden organics bins

Building B- 25 Units

- 6 x 660L bulk garbage bins

- 3 x 240L garden organic

- A design certificate and detailed plans are to accompany any CC application which demonstrate that the bin carting route from the waste storage room to nominated collection point has been designed to be constructed in accordance with the following requirements:

- Direct and less than 10 metres,

- Minimum 2m wide hard surface;

- Non-slip, free from obstacles and steps;

- Not within a driveway or carpark, this is considered a conflict point for vehicles and collection staff; and

- A maximum grade of 1:30 (3%);

- Layback installed at the nominated collection point.

- A design certificate and detailed plans are to accompany any CC application which demonstrate that the bulky waste storage room has been designed to be constructed in accordance with the following requirements for both buildings A and B:

- Floors must be constructed of concrete at least 75mm thick and graded and drained to a Sydney Water approved drainage fitting.

- The floors must be finished so that is non-slip and has a smooth and even surface.

- The walls must be constructed of solid impervious material.

- The room is to be integrated within the building, a minimum 2.1m unobstructed room height is required in accordance with the Building Code of Australia;

- The ceilings must be finished with a smooth faced non-absorbent material capable of being cleaned.

- Walls, ceiling and floors must be finished in a light colour.

- Is to be provided with an adequate supply of hot and cold water mixed through a centralised mixing valve with hose cock.

- A self-closing door openable from within the room.

- Must be constructed to prevent the entry of birds and vermin.

- Be provided with adequate light and ventilation. Light source must be through controlled light switches located both outside and inside the room.

- Any doorways must be 2m wide.

- Designed with a minimum floor space of 4m2

- Prior to the issue of a Construction Certificate, a dilapidation survey must be undertaken by a professional engineer as defined by the Building Code of Australia for the adjoining properties at 20 Union Street and 21 Hunter Street and is to detail the physical condition of  all structures (including driveways, retaining walls, and other outdoor structures such as carports, pergolas, awnings, etc), both internally and externally, including such elements as walls, ceilings, roofs, structural members and other similar elements. The dilapidation survey must consider structural as well as hydrological and geotechnical factors likely to arise from the development. It must be submitted to the Principal Certifier and all costs associated with preparing the survey must be borne by the person having the benefit of this Determination Notice. This survey must be provided in hard copy to the relevant adjoining property owners prior to the issue of a Construction Certificate.

### CONDITIONS TO BE SATISFIED PRIOR TO CONSTRUCTION

- All soils and material(s), liquid and solid, to be removed from the site must be analysed and classified by an appropriately qualified and experienced environmental consultant, in accordance with the Protection of the Environment Operations (Waste) Regulation 2014 and related guidelines, in particular the ‘Waste Classification Guidelines’ (NSW EPA, 2014), prior to off-site disposal.

The waste classification report, including the results of testing, must be compiled, or reviewed and approved by an appropriately qualified and certified consultant, and must be submitted to and approved by the Principal Certifying Authority before off-site disposal. A copy of the waste classification report must be submitted to Council prior to issuing of an Occupation Certificate.

All waste material(s) must be disposed of at an appropriately licensed waste facility for the specific waste. Receipts for the disposal of the waste must be submitted to Council prior to issuing of an Occupation Certificate.

All waste must be transported by a contractor licenced to transport the specific waste, and in vehicles capable of carting the waste without spillage and meeting relevant requirements and standards. All loads must be covered prior to vehicles leaving the site.

- The building work in accordance with the development consent must not be commenced until:

  - a construction certificate for the building / subdivision work has been issued by the council or an accredited certifier, and

  - the person having benefit of the development consent has:

    - appointed a principal certifying authority for the building / subdivision work, and

    - notified the principal certifying authority that the person will carry out the building work as an owner-builder, if that is the case, and

  - the person having the benefit of the development consent, if not carrying out the building work as an owner-builder, has:

    - appointed a principal contractor for the building work who must be the holder of a contractor licence if any residential building work is involved, and

    - notified the principal certifying authority of any such appointment, and

    - unless the person is the principal contractor, notified the principal contractor of any critical stage inspections and other inspections that are to be carried out in respect of the building work, and

  - the person having the benefit of the development consent has given at least 2 days' notice to the council of the person's intention to commence the building / subdivision work.

- Existing trees within the vicinity of the construction works or paths of travel for construction vehicles accessing the development that are to be retained shall be protected with temporary fencing of a style non injurious to tree roots, placed 2m from the trunk base of the existing tree to prevent damage during construction, and retained in accordance with Council’s Tree Preservation Order. There is to be no stockpiling of materials within the 2m fenced zone.

- Suitable erosion and sediment control measures shall be erected in accordance with the plans accompanying the Construction Certificate prior to the commencement of construction works and shall be maintained at all times.

- Council warning sign for Soil and Water Management must be displayed on the most prominent point of the site, visible to both the street and site works.  The sign must be displayed throughout the construction period.

- Prior to the commencement of work, the applicant must provide a temporary on-site toilet if access to existing toilets on site is not adequate.

- A section 73 compliance certificate under the Sydney Water Act 1994 must be obtained from Sydney Water Corporation. Make early application for the certificate, as there may be water and sewer pipes to be built and this can take some time. This can also impact on other services and building, driveway or landscape design.

Application must be made through an authorised Water Servicing Coordinator. For help either visit www.sydneywater.com.au > Building and Developing > Developing your Land > Water Servicing Coordinator or telephone 13 20 92.

- Prior to the commencement of work, a fence must be erected around the area of the works, except where an existing 1.8m high boundary fence is in good condition and is capable of securing the area. Any new fencing shall be temporary (such as cyclone wire) and at least 1.8m high. All fencing is to be maintained for the duration of construction to ensure that the work area is secured.

Where the work is located within 3.6m of a public place then a Type A or Type B hoarding must be constructed appropriate to the works proposed. An application for a Work Permit for such hoarding must be submitted to Council for approval prior to the commencement of work.

- A sign shall be displayed on the site indicating the name of the person responsible for the site and a telephone number of which that person can be contacted during and outside normal working hours or when the site is unattended.

- In the case of residential building work for which the Home Building Act 1989 requires there to be a contract of insurance in force in accordance with Part 6 of the Act, that such a contract of insurance is in force before any building work authorised to be carried out by the consent commences.

- Residential building work within the meaning of the Home Building Act 1989 must not be carried out unless the principal certifying authority for the development to which the work relates (not being the council) has given the council written notice of the following information:

        - in the case of work for which a principal certifying is required to be appointed:

          - the name and licence number of the principal contractor, and

          - the name of the insurer by which the work is insured under Part 6 of the Act,

        - in the case of work to be done by an owner-builder:

          - the name of the owner-builder, and

          - If the owner-builder is required to hold an owner-builder permit under that Act, the number of the owner-builder permit.

If arrangements for doing the residential building work are changed while the work is in progress so that the information notified becomes out of date, further work must not be carried out unless the principal certifying authority for the development to which the work relates (not being the council) has given the council written notice of the updated information.

- A sign must be erected in a prominent position on any site on which building work, subdivision work or demolition work is being carried out:

- showing the name, address and telephone number of the principal certifying authority for the work, and

- showing the name of the principal contractor (if any) for any building work and a telephone number on which that person may be contacted outside working hours, and

- stating that unauthorised entry to the work site is prohibited.

Any such sign is to be maintained while the building work, subdivision work or demolition work is being carried out, but must be removed when the work has been completed.

- Approval is granted for the removal of the following trees:

- Any tree/s where the base of the trunk of the tree is located within 3 metres of the external wall of an approved dwelling;

- Any declared noxious plant. The applicant, builder and all contractors are to ensure that all noxious plants are properly identified, controlled and/or removed on this site without injury or death of any protected plants;

- Any tree species listed under clause 3.4 of Canterbury Development Control Plan 2012 Part B3 – Tree Management Order;

- Any of the following tree/s:

| Tree Species | Location |
| --- | --- |
| T7 to T13 | Refer to Section 7.1: Tree Locations (As per Arboricultural Impact Assessment, Date: 17/8/2020) |

All tree removal works must comply with the Amenity Tree Industry – Code of Practice, 1998 (Workcover, NSW) and Guide to Managing Risks of Tree Trimming and Removal Work (Safe Work Australia 2016).

All other vegetation not specifically identified above, and protected by Councils Tree Management Order, is to be retained and protected from construction damage and pruning. The Tree Management Order protects trees over 5m in height.

- Approval is granted for the removal of the following trees:

| Tree Species | Location |
| --- | --- |
| T1,T3,T4,T5,T6 | Refer to Section 7.1: Tree Locations (As per Arboricultural Impact Assessment, Date: 17/8/2020) |

- The tree removal works are subject to the following conditions:

- All tree removal works must be carried out by a qualified arborist - minimum qualification Australian Qualification Framework (AQF) Level 3 or equivalent;

- The tree removal contractor must hold a Public Liability Insurance Certificate of Currency with a minimum indemnity of $20 million, together with a NSW Workers Compensation Insurance Certificate of Currency;

- The tree removal work shall comply with the Amenity Tree Industry – Code of Practice, 1998 (Workcover, NSW) and the Guide to Managing Risks of Tree Trimming and Removal Work (Safe Work Australia 2016);

- The tree stump is to be ground to 300mm below ground level. Investigation to locate underground services shall be the responsibility of the applicant.

- All tree material shall be removed from site, and the nature strip shall be backfilled, compacted and restored to the original level.

- The site must be maintained in a safe condition at all times;

- Appropriate hazard signage to be in place at all times during the tree works.

All other street vegetation not specifically identified above is to be retained and protected from construction damage and pruning.

CONDITIONS TO BE SATISFIED DURING CONSTRUCTION

- Construction may only be carried out between 7.00 am and 5.00 pm on Monday to Saturday and no construction is to be carried out at any time on a Sunday or a public holiday.

- The building work must be carried out in accordance with the requirements of the Building Code of Australia.

- Prior to the ground floor slab being poured, an identification report by a Registered Surveyor must be submitted to the principal certifying authority verifying that the proposed buildings finished ground floor level and siting to the property boundaries conforms to the approved plans.

- All Civil and Hydraulic engineering works on site must be carried out in accordance with Part B5 of Canterbury DCP 2012. All Civil and Hydraulic engineering works associated with Council's assets and infrastructure must be carried out in accordance with Council's Work Permit requirements and to Council's satisfaction.

- All excavations and backfilling must be executed safely and in accordance with the relevant Australian Standards.

- If soil conditions require it, retaining walls or other approved methods of preventing movement of the soil must be provided, and adequate provisions must be made for drainage. Separate approval may be required for retaining walls should they be required.

- If the development involves an excavation that extends below the level of the base of the footings of a building on adjoining land, the person having the benefit of the development consent must, at the person's own expense:

- protect and support the adjoining premises from possible damage from the excavation, and

- where necessary, underpin the adjoining premises to prevent any such damage.

- All boundary fencing behind the building line shall be replaced by a 1.8m high lapped and capped timber or sheet metal fence, or as stipulated in a flood study prepared for the site, or as determined in consultation with the adjoining property owners at the developer's expense. Fencing forward of the building line shall be no higher than 1m unless otherwise approved by Council.

- The stormwater drainage system shall be constructed in accordance with Part B5 of Canterbury DCP 2012 and the engineering plans and details approved by the Principal Certifying Authority (PCA). Should the developer encounter any existing, live, underground stormwater drainage pipes, which carry flow from upstream properties, the developer must maintain the stormwater flow and re-route the stormwater pipes around the subject building or structures at the developer’s expense.

- The wastewater from the car wash bay shall be collected and disposed of, in accordance with the requirements contained in Part B5 of Canterbury DCP 2012.

- Prior to the commencement of work, the builder shall prepare a photographic record of the road reserve which clearly shows its condition prior to works occurring on site. For the entirety of demolition, subdivision or construction works, there shall be no stockpiling of building spoil, materials, or storage of equipment on the public road, including the footway and the road reserve shall be maintained in a safe condition at all times. No work shall be carried out on the public road, including the footway, unless a Work Permit authorised by Council has been obtained.

- A suitably qualified Professional Civil or Structural Engineer shall be engaged by the developer to carry out inspections relating to construction of internal driveways and parking areas. The work shall be carried out in accordance with the approved plans and specifications and certification from the Civil or Structural Engineer is to be provided upon completion.

- Requirements of the approved WMP shall be complied with during all site preparation works, demolition (if proposed) and throughout all construction works.

When implementing the WMP the developer is to ensure:

- The disposal of any demolition and construction waste must be undertaken in accordance with the requirements of the Protection of Environment Operations Act 1997

- All waste on site is to be stored, handled and disposed of in such a manner as to not create air pollution, offensive noise or pollution of land and water as defined by the Protection of Environment Operations Act 1997

- Generation, storage, treatment and disposal of hazardous waste is conducted in accordance with the relevant waste legislation administered by the EPA and relevant Occupational Health and Safety legislation administered by WorkCover NSW

- All waste generated (including excavated materials) which cannot be reused or recycled must be transported to a facility which can lawfully accept it

- Records are required regarding the details and location of the disposal of all demolition and construction waste (including excavated material), description of waste and are to be kept on site as evidences of lawful disposal. Records are to include receipts and weighbridge dockets which verify material types and volumes, time and date of disposal, waste vehicle rego, and confirmation of the waste disposal facility. Records/ details are also to be kept of person removing the waste.

- All materials and resources that are to be stored on site during construction works are contained on the site, The provisions of the Protection of Environment Operations Act 1997 must be complied with when placing/stock piling loose material, disposal of concrete waste or activities which have potential to pollute drains and water courses

- The storage of waste and recycling containers must be within the boundaries of the development site at all times. Public footways and roads must not be used for the storage of any waste and must be kept clear of obstructions during all construction works

- Any excavation works carried out on site should be closely monitored to ensure no signs of potential acid sulfate soil or actual acid sulfate soil are observed. Indicators may include grey to greenish blue clays, unusual gold-yellow mottling or 'rotten egg' odours. If any of these indicators are observed, excavation of the site must be stopped, and Council is to be notified immediately. A suitably qualified environmental consultant must be contracted to further assess the site.

- In the instance works cause the generation of odours or uncovering of unexpected contaminants works are to immediately cease, Council is to be notified and a suitably qualified environmental consultant appointed to further assess the site. The exposed material/excavation is to be evaluated by the supervising environmental consultant and an appropriate response determined in consultation with the applicant, which is agreed to by Council.

Council may also request that an NSW EPA Accredited Site Auditor is involved to assist with the assessment of any unexpected finds, review any contamination information and prepare a Site Audit Report and Site Audit Statement. The applicant must adhere to any additional conditions which may be imposed by the NSW EPA Accredited Site Auditor.

- Any soils to be excavated and disposed of from the site must be analysed and classified by a suitably qualified environmental consultant, in accordance with relevant NSW EPA guidelines including the ‘Waste Classification Guidelines’ (NSW EPA, 2014) prior to off-site disposal.

Any soils to be excavated and reused onsite or offsite must be analysed and classified by a suitably qualified environmental consultant, in accordance with relevant NSW EPA guidelines including the ‘Waste Classification Guidelines’ (NSW EPA, 2014) prior to reuse.

Any waste material for disposal to be transported to an appropriately licensed waste facility by an EPA licensed waste contractor in accordance with relevant NSW EPA guidelines.

- Any fill imported onto the site must be virgin excavated natural material or excavated natural material, classified as such in accordance the ‘Waste Classification Guidelines’ (NSW EPA, 2014) or excavated natural material meeting the requirements of the Excavated Natural Material Exemption (NSW EPA, 2014).

Certificates verifying that imported fill is virgin excavated natural material or excavated natural material must be provided to Council prior to the issue of an Occupation Certificate.

All imported fill must be compatible with the existing soil characteristics of the site.

- If the Duty to Report contamination to the NSW EPA under Section 60 of the Contaminated Land Management Act 1997 is triggered, Council must be notified within seven (7) days of the notification to the NSW EPA.

- All dust emissions being continually suppressed by the installation of an irrigation system to the satisfaction of the appointed environmental consultant supervising the site remediation and validation and in agreement with the Licenced Asbestos Assessor responsible for the on-site air monitoring. The effectiveness of the irrigation system is to be reviewed daily whilst remediation works are being carried out to ensure dust emissions are continually suppressed.

CONDITIONS TO BE SATISFIED PRIOR TO OCCUPATION

- The acoustic report submitted in support of this application prepared by TTM Consulting Pty Ltd, titled Environmental Noise Assessment Report, report number 20SYA0015 R01_2, dated 17 August 2020 and all the recommendations stated within the report, form part of the development consent.

The Principal Certifying Authority shall obtain a report from an appropriately qualified acoustic consultant, not previously involved with the development, stating that the recommendations outlined in the above stated report have been completed and that relevant noise criteria have been satisfied prior to the issue of any Occupation Certificate. A copy of the report is to be submitted to Council prior to the issue of any Occupation Certificate

- Intercom, code or card locks or similar must be installed at main entries to the building to control access.

- The occupation or use of the building must not be commenced unless an occupation certificate has been issued for the building.

- A final Occupation Certificate shall not be issued until all conditions relating to demolition, construction and site works of this development consent are satisfied and Council has issued a Work Permit Compliance Certificate (where applicable).

- Prior to the issue of any Occupation Certificate a design verification from a qualified designer shall be submitted to the Principal Certifying Authority. The design verification is a statement in which the qualified designer verifies that the development has been constructed as shown in the plans and specifications in respect of which the Construction Certificate was issued, having regard to the design quality principles set out in Schedule 1 of SEPP No. 65.

- Twenty-four (24) off street car spaces being provided in accordance with the submitted plans.

Six (6) of the above car parking spaces are to be provided for people with mobility impairment in accordance with AS 2890.1. All car parking spaces shall be allocated and marked according to these requirements.

- Landscaping is to be installed in accordance with the approved landscape plan. All works and methods nominated and materials and plants specified on the approved landscape plan are to be completed prior to the issue of an occupation certificate. The landscaping shall be maintained for the life of the development.

- A suitably qualified Professional Civil Engineer shall certify that the driveways, parking bays, and service areas have been constructed in accordance with the approved plans and specifications. Such Certification shall be submitted prior to the issue of the Occupation Certificate or occupation of the site.

- Lighting must be provided to the entries of the dwellings, driveways and parking areas to promote a high level of safety and security at night and during periods of low light. Lighting provided should be hooded, shielded or directed away from neighbouring dwellings to minimise glare and associated nuisances to residents.

- The premises must be readily identified from the street with the allocated house numbers. Numbering of the development without Council's written approval is not permitted. An official "house numbering" letter will be sent to the applicant indicating the proposed house numbers of the new development. Note: The house numbers of the development are subject to change depending of the type on subdivision that may occur at a later stage.

- The Section 73 compliance certificate under the Sydney Water Act 1994 must be submitted to the principal certifying authority before occupation of the development / release of the plan of subdivision.

- Prior to the issue of any Occupation Certificate (OC), an authorised Council waste officer is to inspect and approve all waste management facilities to ensure they comply with the development approval, Waste Management Plan.  Specifically, the path of travel for all waste, from unit to point of waste collection, waste storage room sizing, access to water and sewer connections, finished materials, access and door way dimensions, truck turntables, and that all waste facilities are fit for purpose.

- Prior to the issue of any OC, the developer is to enter into a formal agreement with Council for the utilisation of Council’s Domestic Waste Collection Service.  This is to include Council being provided an easement for unimpeded access to and from the waste collection locations for council and its contractors to enter and exit for the purpose of waste and recycling collection. The development is also required to indemnify council and its contractors against claims for loss or damage or wear and tear of access roads or to other parts of the building. A positive covenant shall be placed on the property title, such as section 88B certificate.

Note: By entering into an agreement with Council for waste collection, the development will be required to operate in full compliance with Council’s Waste Management collection requirements.

The provision of Council’s waste collection service will not commence until formalisation of the agreement.

- A registered surveyor shall prepare a Work As Executed Plan, and a suitably qualified Hydraulic Engineer shall provide certification of the constructed on-site stormwater detention system.

The Work As Executed information shall be shown in red on a copy of the approved stormwater plan. The Work As Executed plan shall be submitted to the Hydraulic Engineer prior to certification of the on-site stormwater detention system. A copy of the Work As Executed Plan and Hydraulic Engineer's Certification shall be submitted to Council for information prior to issue of the final occupation certificate.

- The developer shall register, on the title of the subject property, a Restriction on the Use of Land and Positive Covenant, in accordance with the standard terms for "Registration of OSD on title" in accordance with the appropriate provisions of the Conveyancing Act.

Note:	The location of the "On-Site Stormwater Detention System" shall be shown on the plan of subdivision where subdivision is proposed. Where subdivision is not proposed the location of the "On-Site Stormwater Detention System" shall be included on an A4 size site plan attached to the Section 88E Instrument and registered on the title prior to the issue of the final occupation certificate. The developer shall submit to Council evidence of the final registration of the Restriction and Positive Covenant on the title of the property.

- A Copy of the Work Permit Compliance Certificate shall be submitted to the PCA Prior to the issue of the Occupation Certificate.

- Prior to the issue of any Occupation Certificate, The Applicant is to fund the installation of “No Parking” signage on waste collection nights on Pennsylvania Road subject to approval from Traffic Committee and concurrence from Council’s Waste Services.

- Prior to the issue of any Occupation Certificate, the Applicant is to fund the relocation of the existing Bus Zone sign along Union Street subject to approval of the Traffic Committee.

- Prior to the issue of any Occupation Certificate, the applicant is to plant the following replacement tree/s on the nature strip forward of the property. The tree/s shall have a container size not less than 75 litres, shall comply with NATSPEC Specifying Trees: a guide to assessment of tree quality (2003) or Australian Standard AS 2303 – 2015 Tree stock for landscape use, and be planted and maintained in accordance with Councils street tree planting specifications Standard Drawing No. S-201:

| Tree Species | Location |
| --- | --- |
| 2 x Tristaniopsis laurina ‘Luscious’ (Luscious Water Gum) | Trees to be planted on Hunter Street as per landscape plan and two additional trees to be planted at 11m centres. |
| 4 x Tristaniopsis laurina ‘Luscious’ (Luscious Water Gum) | Tree to be planted on Union Street as per landscape plan. |
| 6 x Tristaniopsis laurina ‘Luscious’ (Luscious Water Gum) | As per landscape plan 1 tree is to be planted on Pennsylvania Road and 5 additional trees to be planted at 11m centres totalling 6 trees. |

- Investigation to locate underground services shall be the responsibility of the applicant. Should such services be located and there is a reasonable belief that damage may occur to those services by the new plantings, the applicant is to:

- Carry out engineering works to protect those services from damage; or

- Relocate the plantings to a more suitable location following written approval from Canterbury Bankstown Council; or

- Substitute the approved tree species with an alternative species following written approval from Canterbury Bankstown Council.

The trees shall be planted by a qualified landscape contractor with experience in handling advanced sized tree stock, and in accordance with the tree delivery, planting preparation – general, planting, mulching and staking specifications included in Standard Drawing No. S-201.

Once the trees have been planted, a tree protection fence located at a 2.0 metre radius from the trunk of each tree shall be installed to protect the trees during the demolition and construction phases.  The fences shall be constructed of chain wire mesh 1.80 metres high supported by steel posts, shall not be removed or altered, and are to remain in place for the duration of the site works.

During the construction phase the trees shall be watered and maintained in accordance with the tree establishment and maintenance requirements included in Standard Drawing No. S-201.

The Applicant shall contact Council to book an inspection by the Tree Management Officer of the completed tree planting once the tree protection fence has been installed, and again once the works have been completed prior to the issue of an0 occupation certificate. Inspections must be booked at least 5 working days prior to being required.

- Prior to the release of the Occupation Certificate or occupation of the Building, the site shall be consolidated into one allotment and the plan of consolidation shall be lodged and registered with the Land and Property Information NSW.

ON-GOING USE

- The use of the premises and the operation of plant and equipment must not give rise to the transmission of a vibration nuisance or damage to other premises as defined in the ‘Assessing Vibration: A Technical Guideline’ (NSW Department of Environment and Conservation, 2006).

- The ongoing management section of the WMP are to be included in the by-laws of the strata property.  This will ensure that the approved WMP is fully implemented and followed by residents and property managers.

- The development must operate in full compliance with Council’s Waste Management collection requirements

- The nominated kerbside collection point is to be utilised to facilitate the collection of waste and recycling bins for the development. All mobile garbage bins that are left kerbside for collection must be taken back within the property boundary on the same day of service.

- The nominated collect and return collection point is to be utilised to facilitate the collection of waste and recycling bins for the development.

- Contracts (or agreements) with cleaners, building managers and tenants must clearly outline the waste management and collection system and must clearly identify everyone’s role and responsibility. This is to include:

- Responsibility for cleaning and maintaining waste storage bins and containers

- Responsibility for cleaning and maintaining waste storage room

- Responsibility for the transfer of bins to the nominated collection point

- Method of communication to new tenants and residents concerning the developments waste management system.

- Cleaning up and management of bulky waste

- Responsibility for maintaining the compost bin or wormfarm

Where the development incorporates strata title subdivision, the by-laws are to clearly set out the management responsibilities for the developments waste and recycling system.

- No waste storage bins are to be located or placed outside the approved waste storage room at any time except for collection purposes.

- Signage can be provided by Council that clearly identifies which bins (and containers) are to be used for general waste and recycling and what materials can be placed in each bin. The signs provided must be maintained by the site manager.

- The landscaping must be maintained for the longevity of the development.

- Appropriate lighting is to be provided and maintained around the communal open space and BBQ area.

SCHEDULE A: ADVICE TO APPLICANTS

Inspection of building works shall be undertaken as determined by the PCA. If Canterbury-Bankstown Council has been nominated as the PCA then details of inspection type and number required will be determined prior to the issue of a construction certificate.

Where a combined development consent is issued for demolition of buildings and construction of new work, a Construction Certificate must be obtained for the work, including demolition.

Also, before you dig, call “Dial before you Dig” on 1100 (listen to the prompts) or facsimile 1300 652 077 (with your street no./name, side of street and distance to nearest cross street) for underground utility services information for any excavation areas.

For further information regarding this notice please contact Kaitlin McCaffery in Development on 9707 9060.