ATTACHMENT 1 – CONDITIONS OF APPROVAL

Council has imposed the following conditions under the relevant planning instruments and policies.

#### Approved Plans

- Development the subject of this determination notice must be carried out strictly in accordance with the following approved plans/reports marked as follows, except where modified by the undermentioned conditions.

| Plan Name | Plan Number | Date | Issue | Prepared By |
| --- | --- | --- | --- | --- |
| Location and Site Plan | DA0100 MA0100 | 27/11/2019 17/08/2020 | - | FJMT |
| Demolition Site Plan | DA0101 MA0101 | 27/11/2019 17/08/2020 | - | FJMT |
| Engineering Cover Sheet | RBG-XX-XXDR- ST-00000 RBG-XX-XX-DR-ST-00005 | 01/11/2019 11/09/2020 | P2 P3 | Robert Bird Group |
| Shoring General Arrangement Plan Option 1 | RBG-XX-XX-DR- ST-01110 | 01/11/2019 | P1 | Robert Bird Group |
| Shoring General Arrangement Plan Option 2 | RBG-XX-XX-DR- ST-01122 | 01/11/2019 | P2 | Robert Bird Group |
| Shoring General Arrangement Plan Stage 1 | RBG-XX_XX-DR-ST-01511 | 11/09/2020 | P3 | Robert Bird Group |
| Shoring Loading Plan | RBG-XX-XX-DR- ST-01150 RBG-XX-XX-DR-ST-01550 | 01/11/201911/09/2020 | P1 P3 | Robert Bird Group |
| Shoring sections Sheet 1 | RBG-XX-XX-DR- ST-01321 RBG-XX-XX-DR-ST-01721 | 01/11/201911/09/2020 | P1 P3 | Robert Bird Group |
| Shoring Survey Plan | RBG-XX-XX-DR- ST-01010 RBG-XX-XX-DR-ST-01500 | 01/11/201911/09/2020 | P1 P3 | Robert Bird Group |
| Shoring Wall Elevations Sheet 1 | RBG-XX-XX-DR- ST-01211 RBG-XX-XX-DR-ST-01611 | 01/11/201911/09/2020 | P1 P3 | Robert Bird Group |
| Shoring Wall Elevations Sheet 2 | RBG-XX-XX-DR- ST-01212 RBG-XX-XX-DR-ST-01612 | 01/11/201911/09/2020 | P2 P3 | Robert Bird Group |
| Typical Shoring Details Sheet 1 | RBG-XX-XX-DR- ST-01311 RBG-XX-XX-DR-ST--01711 | 01/11/201911/09/2020 | P1 P3 | Robert Bird Group |
| Typical Shoring Details Sheet 2 | RBG-XX-XX-DR- ST-01312 RBG-XX-XX-DR-ST--01712 | 01/11/201911/09/2020 | P1 P3 | Robert Bird Group |
| Typical Shoring Details Sheet 3 | RBG-XX-XX-DR- ST-01313 RBG-XX-XX-DR-ST—01713 | 01/11/201911/09/2020 | P1 P3 | Robert Bird Group |
| Survey Plan (pages 1-4) | 201512 | 27/06/2019 | 1 | Veris Australia Pty Ltd |

| Report name | Date | Reference | Prepared by |
| --- | --- | --- | --- |
| Arboricultural Development Impact Assessment Report | 22 November 2019 | N/A | Birds Tree Consultancy |
| Construction Management Plan | 30 March 2020 1 September 2020 | 43144-1 | Wood and Grieve Engineers |
| Construction Noise and Vibration Management Plan | 8 April 2020 16 September 2020 | 43144-1 | Wood and Grieve Engineers |
| Contamination, Ecological and Flood Report | 29 November 2019 | AWE200116 | Cardno |
| Destructive Hazardous Building Report | November 2019 | 60760 | Prensa |
| Geotechnical and Environmental Investigation Report | 28/11/2019 9 September 2020 | 19125312-001-R- Rev5 2 | Golder |
| Geotechnical and Environmental Investigation Cover Letter | 11 September 2020 | 19125312-006-L-Rev0 | Golder |
| Heritage Impact Statement | 10 December 2019 | N/A | NBRS Architecture Heritage |
| Addendum to Heritage Impact Statement | 9 September 2020 | N/A | NBRS Architecture Heritage |
| Historical Archaeological Assessment | November 2019 | 20190408 | Extent |
| Historical Archaeological Assessment Cover Letter | 08 September 2020 | N/A | Extent |
| Aboriginal Heritage Due Diligence Assessment | 10 September 2020 | N/A | Extent |
| Geotechnical and Environmental Investigation Report | 28 November 2019 | 19125312-001-R- Rev2 | Golder |
| Preliminary Geotechnical Assessment | 28 November 2019 | 19125312-002-L-Rev1 | Golder |
| Preliminary Site Investigation | April 2019 | 85594.02 | Douglas Partners |
| Structural Notes | 1 November 2019 11 September 2020 | RBG-XX-XX-DR-ST- 00001 RBG-XX-XX-DR-ST- 00010 | Robert Bird Group |
| Structural Report | 11 December 2019 11 September 2020 | C G | Robert Bird Group |
| Waste Management Plan | 27 December 2019 | MP - 09 Waste Management Plan – 02 | DECC |

#### Approval under Water Management Act 2000

- The development consent holder must apply to WaterNSW and the Natural Resources Access Regulator for the relevant approvals under the Water Management Act 2000 before the commencement of any work or activity.

#### WaterNSW General Terms of Approval

- All General Terms of Approval (GTAs) dated 5 May 2020 and issued by the WaterNSW shall be complied with prior, during, and at the completion of works, unless alternative arrangements to the terms of the GTAs have been agreed with WaterNSW and written evidence of this has been submitted to the certifier prior to the issue of the relevant Construction Certificate. A copy of the GTAs are attached to this decision notice. Note: the GTAs do not constitute approval under the Water Management Act 2000.

#### Natural Resources Access Regulator General Terms of Approval

- All General Terms of Approval (GTAs) dated 17 December 2020 and issued by the Natural Resources Access Regulator shall be complied with prior, during, and at the completion of works, unless alternative arrangements to the terms of the GTAs have been agreed with the Natural Resources Access Regulator and written evidence of this has been submitted to the certifier prior to the issue of the relevant Construction Certificate. A copy of the GTAs are attached to this decision notice.

#### Works at no cost to Council

- All roadworks, drainage works and dedications, required to effect the consented development shall be undertaken at no cost to Liverpool City Council.

#### Compliance with the Environmental Planning and Assessment Act 1979 and Environmental Planning & Assessment Regulation 2000

- The requirements and provisions of the Environmental Planning and Assessment Act 1979 and Environmental Planning & Assessment Regulation 2000, must be fully complied with at all times.

Failure to comply with these legislative requirements is an offence and may result in the commencement of legal proceedings, issuing of ‘on-the-spot’ penalty infringements or service of a notice and order by Council.

#### National Construction Code

- All aspects of construction shall comply with the applicable Performance Requirements of the National Construction Code. Compliance with the Performance Requirements can only be achieved by:

  - Complying with Deemed to Satisfy Provisions; or

  - Formulating an Alternative Solution, which complies with the Performance Requirements or is shown to be at least equivalent to the Deemed to Satisfy Provision, or a combination of (a) and (b).

#### Tree Removal

- Any works or activities shall adhere to the recommendations outlined in the Arboricultural Development Impact Assessment Report prepared by Birds Tree Consultancy dated 22 November 2019.

## PRIOR TO ISSUE OF A CONSTRUCTION CERTIFICATE

#### The following conditions are to be complied with or addressed prior to issue of the relevant Construction Certificate by the Principal Certifying Authority:

Long Service Levy

- Long Service Levy payment is applicable on building work having a value of $25,000 or more, at the rate of 0.35% of the cost of the works. The required Long Service Levy payment, under the Building and Construction Industry Long Service Payments Act 1986, is to be forwarded to the Long Service Levy Corporation or the Council, prior to the issuing of a Construction Certificate, in accordance with Section 6.8 of the Environmental Planning & Assessment Act 1979.

#### Banned Products

- No building products that are banned, or products that are subject to a ban if used in a particular way under the Building Products (Safety) Act 2017 are to be used in the construction of the development.

#### Construction Traffic Management Plan

- Prior to the issue of any Construction Certificate, a Construction Traffic Management Plan (CTMP) prepared by an accredited practitioner is to be submitted to Council’s Traffic and Transport Section for review. Works shall not commence until the CTMP has been endorsed by Council’s Traffic and Transport Section. The CTMP shall include but is not to be limited to the following:

  - Haulage routes and times to minimise impacts on the adjoining road network;

  - A breakdown of the truck movements that will enter and exit the site during the morning and afternoon peak times needs to be provided;

  - Access to the site is to be restricted to left-in only via Terminus Street;

  - Construction vehicles are to use the construction site access on Terminus Street between 9:30am and 2:30pm only to reduce impacts on the classified road network during the AM and PM peak times;

  - A swept path diagram of the largest construction vehicle to be used on the site showing left in / left out arrangement and the path created by the vehicles at both the Scott Street and Terminus Street gates;

  - Temporary road closures and / or road occupancy permit applications and associated traffic management and control plans (if any); and

  - Adequate parking for the construction staff to be provided on-site.

- Prior to the commencement of works, the approved Construction Management Plan is to be updated to the satisfaction of Council to address the management of layover of trucks in the Liverpool area awaiting accommodation on site to ensure that they do not cause adverse impacts, the use of on the street parking spaces and loading zone in Macquarie Street by contractor’s vehicles, preservation of visibility and access to adjacent business, and the incorporation of suitable artworks or graphics on site hoardings facing Scott Street.

#### Section 138 Roads Act Approval

- Prior to the issue of a Construction Certificate, a Section 138 Roads Act application/s, including payment of fees, shall be lodged with Liverpool City Council, as the Roads Authority for any works required in a public road. These works may include but are not limited to any road occupancy or road closures.

#### Construction Pedestrian Traffic Management Plan

- A Construction Pedestrian Traffic Management Plan (CPTMP) detailing construction vehicle routes, number of trucks, hours of operation, access arrangements and traffic control should be submitted to Council for approval prior to the issue of a Construction Certificate.

#### Retaining Walls on Boundary

- All retaining walls shall be of masonry construction and must be wholly within the property boundary, including footings and agricultural drainage lines. Construction of retaining walls or associated drainage works along common boundaries shall not compromise the structural integrity of any existing structures.

Where a retaining wall exceeds 600mm in height, the wall shall be designed by a practicing structural engineer and a construction certificate must be obtained prior to commencement of works on the retaining wall.

#### S138 Roads Act – Roadworks requiring approval of civil drawings

- Prior to the issue of a Construction Certificate for building or subdivision works the Certifying Authority shall ensure that a S138 Roads Act application, including the payment of application and inspection fees, has been lodged with Liverpool City Council (being the Roads Authority under the Roads Act), for provision of Rock Anchors in Scott Street and Terminus Street.

Engineering plans are to be prepared in accordance with the development consent, Liverpool City Council’s Design Guidelines and Construction Specification for Civil Works, Austroad Guidelines and best engineering practice.

Note: Where Liverpool City Council is the Certifying Authority for the development the Roads Act approval for the above works may be issued concurrently with the Construction Certificate.

#### No loading on easements

- Prior to the issue of a Construction Certificate the Certifying Authority shall ensure that the foundations of proposed structures adjoining the drainage and/ or services easement have been designed clear of the zone of influence.

#### Performance bond

- Prior to the issue of any Construction Certificate, a performance bond is to be lodged with Liverpool City Council for an amount to be confirmed at time of payment.

The value of the bond shall be determined and administered in accordance with Liverpool City Council’s Bond Policy.

Note: Contact Council’s Land Development Section for further information relating to bond requirements.

#### Dilapidation Report

- Prior to the Commencement of Works a dilapidation report of all infrastructure fronting  the development in Scott Street and Terminus Street is to be submitted to Liverpool City Council. The report is to include, but not limited to, the road pavement, kerb and gutter, footpath, services and street trees and is to extend 10m either side of the development.

#### Dilapidation Report Private Property (Excavations)

- A full dilapidation survey and report on the visible and structural condition of all neighbouring structures within the ‘zone of influence’ of the required excavations must be submitted to the Certifying Authority for approval prior to the issue of any Construction Certificate. The zone of influence is to be defined as the horizontal distance from the edge of the excavation face to twice the excavation depth.

The dilapidation report and survey is to be prepared by a consulting structural/geotechnical engineer agreed to by both the applicant and the owner of any affected adjoining property.

All costs incurred in achieving compliance with this condition shall be borne by the person entitled to act on this Consent.

In the event that access for undertaking the dilapidation survey is denied by an adjoining owner, the applicant MUST DEMONSTRATE, in writing, to the satisfaction of Council that all reasonable steps have been taken to obtain access and advise the affected property owner of the reason for the survey and that these steps have failed. Written concurrence must be obtained from Council in such circumstances.

Note: This documentation is for record keeping purposes only, and may be used by the developer or affected property owner to assist in any action required to resolve any dispute over damage to adjoining properties arising from the works. It is in the applicant’s and adjoining owner’s interest for it to be as full and detailed as possible.

#### Recommendations of Acoustic Report

- The recommendations provided in the approved acoustic report titled Construction Noise & Vibration Management Plan (Ref: 43144-1, Revision 004) prepared by Wood & Grieve Engineers now part of Stantec, dated 16 September 2020 shall be implemented and incorporated.

The construction methodology and plans accompanying the Construction Certificate application shall be assessed and certified in writing by a suitably qualified acoustic consultant to verify conformance with the requirements of the aforementioned acoustic report. The written certification from the suitably qualified acoustic consultant shall be submitted to and approved by the Principal Certifying Authority (PCA) prior to issue of the Construction Certificate.

Note: ‘Suitably qualified acoustic consultant’ means a consultant who possesses the qualifications to render them eligible for membership of the Australian Acoustical Society or employed by an Association of Australasian Acoustical Consultants (AAAC) member firm.

#### Excavation Environmental Management Plan (EEMP)

- Prior to issue of a construction certificate, an Excavation Environmental Management  Plan (EEMP) for the development must be provided to the Principal Certifying Authority for approval. The environmental site management measures must remain in place and be maintained throughout the period of the development. The EEMP must address all environmental aspects of the development’s construction phases, and include (where relevant), but not be limited to, the following:

- Asbestos Management Plan;

- Project Contact Information;

- Site Security Details;

- Timing and Sequencing Information;

- Site Soil Management Plan

- Groundwater Monitoring and Management Plan;

- Dust Control Plan;

- Air Monitoring;

- Health and Safety Plan;

- Waste Management Plan;

- Incident management Contingency;

- Unexpected Finds Protocol; and

- Construction Noise and Vibration Assessment and Management Plan.

- The Construction Noise and Vibration Assessment and Management Plan is to be a site-specific plan prepared by a suitably qualified acoustic consultant and shall be consistent with the ‘Interim Construction Noise Guideline’ published by the Department of Environment and Climate Change NSW (DECC 2009/265) dated July 2009 and include, but not necessarily be limited to the following information:

- Identification of nearby residences and other noise sensitive land uses;

- Assessment of expected noise impacts;

- Detailed examination of feasible and reasonable work practices that will be implemented to minimise noise impacts;

- Strategies to promptly deal with and address noise complaints;

- Details of performance evaluating procedures (for example, noise monitoring or checking work practices and equipment);

- Methods for receiving and responding to complaints about construction noise;

- Procedures for notifying nearby residents of forthcoming works that are likely to produce noise impacts; and

- Reference to relevant licence and consent conditions.

The EEMP must take into consideration the recommendations provided in the relevant approved Reports, including the Noise and Vibration Management Plan, Waste Management Plan and the Geotechnical and Environmental Investigation Report.

The EEMP must be kept on site for the duration of the works and must be made available to Liverpool City Council Officers upon request.

## PRIOR TO WORKS COMMENCING

#### The following conditions are to be complied with or addressed prior to works commencing on the subject site/s:

Site Development Work

- Site development work in the form of excavation, underpinning or shoring works must not take place, until such time as a CC has been issued.

#### Commencement of Building Work

- Building work shall not commence prior to the issue of a Construction Certificate. Building work as defined under Section 1.4 of the EP&A Act means any physical activity involved in the erection of a building and includes but is not limited to, the placement of any site shed/s or builders facilities, site grading, retaining walls, excavation, cutting trenches, installing formwork and steel reinforcement or, placing of plumbing lines.

- Prior to the commencement of any building works, the following requirements must be complied with:

  - Construction Certificate must be obtained from the Council or an accredited certifier, in accordance with the provisions of the Environmental Planning & Assessment Act 1979.

  - Where a Construction Certificate is obtained from an accredited certifier, the applicant shall advise Council of the name, address and contact number of the Accredited Certifier, in accordance with Section 6.6 of the Act.

  - A copy of the Construction Certificate, the approved development consent plans and consent conditions must be kept on the site at all times and be made available to the Council officers and all building contractors for assessment.

  - A principal certifier must be appointed to carry out the necessary building inspections and to issue an occupation certificate; and

  - The principal certifier must advise Council of the intended date to commence work which is the subject of this consent by completing a notice of commencement of building works or subdivision works form, available from Council’s Customer Service Centre. A minimum period of two (2) working days’ notice must be given.

#### Identification Survey Report

- The building and external walls are not to proceed past ground floor/reinforcing steel level until such time as the PCA has been supplied with an identification survey report prepared by a registered surveyor certifying that the floor levels and external wall locations to be constructed, comply with the approved plans, finished floor levels and setbacks to boundary/boundaries. The slab shall not be poured, nor works continue, until the PCA has advised the builder/developer that the floor level and external wall setback details shown

on the submitted survey are satisfactory. In the event that Council is not the principal certifier, a copy of the survey shall be provided to Council within three (3) working days.

- On placement of the concrete, works again shall not continue until the PCA has issued a certificate stating that the condition of the approval has been complied with and that the slab has been poured at the approved levels.

#### Excavation

- In the event the development involves an excavation that extends below the level of the base of the footings of a building, structure or work (including any structure or work within a road or rail corridor) on adjoining land, the person having the benefit of the development consent must, at the person’s own expense:

  - Protect and support the building, structure or work from possible damage from the excavation, and

  - where necessary, underpin the building, structure or work to prevent any such damage.

  - a and b above does not apply if the person having the benefit of the development consent owns the adjoining land or the owner of the adjoining land has given consent in writing to that condition not applying.

  - Retaining walls or other approved methods necessary to prevent the movement of excavated or filled ground, together with associated subsoil drainage and surface stormwater drainage measures, shall be designed strictly in accordance with the manufacturers details or by a practising structural engineer.

#### Craning or Hoarding

- If the work is likely to cause pedestrian or vehicular traffic in a public area to be obstructed or rendered inconvenient; or if craning of materials is to occur across a public or road reserve area, a separate Road Occupancy Certificate and/or Hoarding approval must be obtained from Liverpool City Council prior to undertaking the works.

#### Sediment and Erosion Control

- Adequate soil and sediment control measures shall be installed and maintained. Furthermore, suitable site practices shall be adopted to ensure that only clean and unpolluted waters are permitted to enter Council’s stormwater drainage system during construction/demolition. Measures must include, as a minimum:

- Siltation fencing;

- Protection of the public stormwater system; and

- Site entry construction to prevent vehicles that enter and leave the site from tracking loose material onto the adjoining public place.

- Prior to commencement of works sediment and erosion control measures shall be installed in accordance with the approved Construction Certificate and to ensure compliance with the Protection of the Environment Operations Act 1997 and Landcom’s publication “Managing Urban Stormwater – Soils and Construction (2004)” – also known

as “The Blue Book”.

The erosion and sediment control measures shall remain in place and be maintained until all disturbed areas have been rehabilitated and stabilised.

- All easements over the site must be extinguished and services removed or relocated to the satisfaction of the relevant authorities.

#### Dilapidation Report

- A dilapidation report including the Former Memorial School of Arts is to be completed and provided to Council prior to commencement of works. The dilapidation reports is to outline the condition of the building and clearly document any existing cracks or other identified damage.

#### Archaeological Testing

- Prior to commencement of excavation works, archaeological testing is to be undertaken in accordance with the Historical Archaeological Assessment prepared by Extent Heritage dated November 2019. Copies of all documentation submitted to Heritage NSW for an archaeological testing permit under Heritage Act 1977 and prepared after the completion of testing are to be provided to Liverpool City Council.

#### Waste Classification and Disposal of Contaminated Soil and Material

- All soils and material(s), liquid and solid, to be removed from the site must be analysed and classified by an appropriately qualified and certified consultant, in accordance with the Protection of the Environment Operations (Waste) Regulation 2014 and related guidelines, in particular the NSW EPA Waste Classification Guidelines, prior to off-site disposal.

All Waste material(s) must be disposed of at an appropriately licensed waste facility for the specific waste. Receipts for the disposal of the waste must be submitted to the Principal Certifying Authority within 30 days of the waste being disposed of.

All waste must be transported by a contractor licenced to transport the specific waste, and in vehicles capable of carting the waste without spillage, and meeting relevant requirements and standards. All loads must be covered prior to vehicles leaving the site.

#### Construction vehicle swept paths

- The swept path of the longest construction vehicle (19m semi articulated vehicle) entering the subject site via Terminus Street, as well as manoeuvrability through the site, shall be in accordance with AUSTROADS. In this regard, a plan shall be submitted to Council for approval, which shows the proposed development complies with this requirement.

#### Plans to be submitted to Transport for NSW

- Detailed design plans and hydraulic calculations of any changes to the stormwater drainage system are to be submitted to TfNSW for approval, prior to the commencement of any works. Please send all documentation to development.sydney@rms.nsw.gov.au.

A plan checking fee will be payable and a performance bond may be required before TfNSW approval is issued.

- The developer is to submit design drawings and documents relating to the excavation of the site and support structures to TfNSW for assessment, in accordance with Technical Direction GTD2012/001.

The developer is to submit all documentation at least six (6) weeks prior to commencement of construction and is to meet the full cost of the assessment by TfNSW. Please send all documentation to development.sydney@rms.nsw.gov.au.

If it is necessary to excavate below the level of the base of the footings of the adjoining roadways, the person acting on the consent shall ensure that the owner/s of the roadway is/are given at least seven (7) day notice of the intention to excavate below the base of the footings. The notice is to include complete details of the work.

#### Road Occupancy License

- A Road Occupancy Licence (ROL) should be obtained from Transport Management Centre (TMC) for any works that may impact on traffic flows on Terminus Street during construction activities. A ROL can be obtained through https://myrta.com/oplinc2/pages/security/oplincLogin.jsf.

- Prior to any works commencing, a Road Occupancy Permit (ROC) is to be obtained from Council’s Traffic and Transport Section for any works or activites that may impact on traffic flow of the local road network during early works construction activities. An ROC application can be submitted online.

If a works zone is required, an application must be made to Council’s Traffic and Transport Section for approval. The application is to indicate the exact location required and the applicable fee is to be included. If parking restrictions are in place, an application to have the restrictions moved, will need to be made.

#### Demolition Works

- Prior to the commencement of any works on the land, a detailed demolition work plan designed in accordance with the Australian Standard AS 2601-2001 – The Demolition of Structures, prepared by a suitably qualified person with suitable expertise or experience, shall be submitted to and approved by Council and shall include the identification of any hazardous materials, method of demolition, precautions to be employed to minimise any dust nuisance and the disposal methods for hazardous materials.

- Prior to commencement of any works on the land, the demolition Contractor(s) licence details must be provided to Council.

- The handling or removal of any asbestos product from the building/site must be carried out by a NSW Work Cover licensed contractor irrespective of the size or nature of the works. Under no circumstances shall any asbestos on site be handled or removed by a non- licensed person. The licensed contractor shall carry out all works in accordance with NSW Work Cover requirements.

- All demolition work is to be carried out in accordance with the requirements of AS 2601. Demolition is to be carried out strictly in accordance with the approved procedures and work plan.

#### Demolition Inspections

- The following inspections are required to be undertaken by Council in relation to approved demolition works:

- immediately prior to the commencement of the demolition or handling of any building or structure that contains asbestos. The applicant shall also notify the occupants of the adjoining premises and Workcover NSW prior to the commencement of any works. Please note that demolition works are not permitted to commence on site until such time as a satisfactory inspection result is obtained from Council, and;

- immediately following completion of the demolition. Please note that proof of appropriate disposal of demolition materials (including asbestos) may be required at this time in accordance with the approved Waste Management Plan.

To book an inspection with Council, please call 1300 362 170.

#### Hours of Construction Work and Deliveries

- Construction work/civil work/demolition work, including the delivery of materials, is only permitted on the site between the hours of 7:00am to 6:00pm Monday to Friday and 8:00am to 1:00pm Saturday. No work will be permitted on Sundays or Public Holidays, unless otherwise approved by Council.

#### Security Fence

- A temporary security fence to WorkCover Authority requirements is to be provided to the property during the course of construction. Note. Fencing is not to be located on Council’s reserve area.

#### Site Facilities

- Adequate refuse disposal methods and builders storage facilities shall be installed on the site. Builders’ wastes, materials or sheds are not to be placed on any property other than that which this approval relates to.

#### Site Notice Board

- A sign must be erected in a prominent position on the premises on which work is to be carried out. The sign is to be maintained during work, and removed at the completion of work. The sign must state:

- The name of the principal contractor for the work and a telephone number on which that person may be contacted outside working hours; and

- Unauthorised entry to the premises is prohibited.

#### Toilet Facilities

- Toilet facilities must be available or provided at the work site and must be maintained until the works are completed at a ratio of one toilet plus one additional toilet for every 20 persons employed at the site. Each toilet must:

  - be a standard flushing toilet connected to a public sewer, or

  - have an on-site effluent disposal system approved under the Local Government Act 1993, or

  - be a temporary chemical closet approved under the Local Government Act 1993.

#### Dewatering

- All General Terms of Approval (GTAs) dated 17 December 2020 and issued by the NRAR shall be complied with prior, during, and at the completion of works, unless alternative arrangements to the terms of the GTAs have been agreed with NRAR and written evidence of this has been submitted to the certifier prior to the issue of the relevant Construction Certificate. A copy of the GTAs are Attachment 2 to this decision notice.

## DURING WORKS

#### The following conditions are to be complied with or addressed during construction: Erosion Control – Measures

- Erosion and sediment control measures shall remain in place and be maintained until all disturbed areas have been rehabilitated and stabilised.

#### Major Filling/ Earthworks

- All earthworks shall be undertaken in accordance with AS 3798 and Liverpool City Council’s Design Guidelines and Construction Specification for Civil Works.

The level of testing shall be determined by the Geotechnical Testing Authority/ Superintendent in consultation with the Principal Certifying Authority.

#### Vibration Monitoring

- The Former Memorial School of Arts is to be monitored for impacts of vibration during excavation and shoring operations. Where vibration levels exceed maximum allowed, works are to cease until an engineer has inspected the building for potential damage, reviewed the scope of works and devised an approach to minimise impacts of further vibration.

#### Discovery of Artefacts

- Any artefacts of moderate to high significance recovered from the site area are to be deposited at the Liverpool Regional Museum for inclusion in the Liverpool City Heritage Collection for potential interpretation on the site at the completion of the Civic Place development.

#### Aboriginal Relics/Artefacts

- If any Aboriginal relics/artefacts are uncovered during the course of any construction works including demolition, work is to cease immediately. Government agencies shall be contacted and no further work shall be undertaken until relevant assessments/approvals/ salvage excavation has been undertaken and permission is given by the relevant authorities to re commence works.

#### Removal of Dangerous and/ or hazardous waste

- All dangerous and/or hazardous material shall be removed by a suitably qualified and experienced contractor licensed by SafeWork NSW. The removal of such material shall be carried out in accordance with the requirements of SafeWork NSW and the material shall be transported and disposed of in accordance with NSW Environment Protection Authority requirements.

#### Contamination

- The development, including all civil works and demolition, must comply with the requirements of the Contaminated Land Management Act, 1997, State Environmental Planning Policy No. 55 – Remediation of Land, and Managing Land Contamination – Planning Guidelines (Planning NSW/EPA 1998).

#### Unidentified Contamination

- Any new information which comes to light during demolition or works which has the potential to alter previous conclusions about site contamination and remediation must be immediately notified to Council and the Principal Certifying Authority in writing.

A Section 4.55 Application under the EP&A Act shall be made for any proposed works outside the scope of the approved development consent.

#### Imported fill material

- Filling material must be limited to the following:

  - Virgin excavated natural material (VENM)

  - Excavated natural material (ENM) certified as such in accordance with Protection of the Environment Operations (Waste) Regulation 2014; and/or

  - Material subject to a Waste Exemption under Clause 91 and 92 Protection of the Environment Operations (Waste) Regulation 2014 and recognised by the NSW Environment Protection Authority as being “fit for purpose” with respect to the development subject of this application.

Certificates proving that the material imported is ENM or VENM must be provided to the Principal Certifying Authority prior to filling. Certificates are to be provided to Council officers if and when requested.

Fill imported on to the site must be compatible with the existing soil characteristic for site drainage purposes.

#### Record keeping of imported fill

- The following records of accepted waste derived fill material must be submitted to the Principal Certifying Authority at the completion of earth works

  - the course (including the address and owner of the source site), nature and quantity of all incoming loads including the date, the name of the carrier, and the vehicle registration,

  - Documentation confirming the results of the waste classification assessment carried out on the fill material used in the development, and

  - the results of any chemical testing undertaken on fill material.

#### Air Quality – Dust Screens

- Dust screens shall be erected and maintained in good repair around the perimeter of the subject land during land clearing, demolition, and construction works.

#### Air Quality – Stabilisation

- Where operations involve excavation, filling or grading of land, or removal of vegetation, including ground cover, dust is to be suppressed by regular watering until such time as the soil is stabilised to prevent airborne dust transport. Where wind velocity exceeds five knots the Principal Certifying Authority may direct that such work is not to proceed.

#### Air Quality – Vehicle Movement

- All vehicles involved in the delivery, demolition or construction process departing from the property shall have their loads fully covered before entering the public roadway.

#### Water Quality

- All topsoil, sand, aggregate, spoil or any other material shall be stored clear of any drainage line, easement, water body, stormwater drain, footpath, kerb or road surface and there shall be measures in place in accordance with the approved erosion and sediment control plan.

#### Pollution Control – Truck Movements

- The loading and unloading of all vehicles associated with the development must be undertaken within the property boundary of the premises subject to this consent.

Measures must be implemented to prevent tracking of sediment by vehicles onto roads. Vehicle loads must be covered when entering and exiting the site with material.

#### Excavation Environmental Management Plan (EEMP)

- The approved EEMP shall be implemented, adhered to and maintained at all times during the construction period.

#### Asbestos Clearance Certificate

- An Asbestos Clearance Certificate is to be provided to confirm that all materials have been removed and lawfully disposed of in compliance with NSW EPA and Safework NSW requirements.

#### Construction Vehicle Access

- Construction vehicles are to use the construction site access on Terminus Street between 9:30am and 2:30pm only to reduce impacts on the classified road network during the AM and PM peak times.

- All demolition and construction vehicles are to be contained wholly within the site and vehicles must enter the site before stopping. A construction zone will not be permitted on Terminus Street.

- The access from Terminus Street shall be restricted to left-in only.

#### Traffic Management

- Conditions of the Road Occupancy Licence (ROL) and Road Occupancy Permit (ROC) shall be complied with for any works that may impact on traffic flows on Terminus Street and on the local road network during early works construction activities.

- Notice must be given to Council’s Traffic and Transport Section of any interruption to pedestrian or vehicular traffic within the road reserve, caused by the construction of this development. A Traffic Control Plan, prepared by an accredited practitioner must be submitted for approval, 48 hours to prior to implementation. This includes temporary closures for delivery of materials, concrete pours etc.

- The Council endorsed CTMP is to be implemented during the early works construction activities at all times.

- Applications must be made to Council’s Transport Planning section for any road closures. The applicant is to include a Traffic Control Plan, prepared by a suitably qualified person, which is to include the date and times of closures and any other relevant information.

## PRIOR TO ISSUE OF ANY OCCUPATION CERTIFICATE

#### The following conditions are to be complied with or addressed prior to issue of either an Interim or Final Occupation Certificate by the Principal Certifying Authority:

Certificates

- The premises must not be utilised until an Occupation Certificate is issued by the principal certifier.

#### Works as executed

- Prior to the issue of an Occupation Certificate, works-as-executed drawings and compliance documentation shall be submitted to the Principal Certifying Authority in accordance with Liverpool City Council’s Design Guidelines and Construction Specification for Civil Works.

An original set of works-as-executed drawings and copies of compliance documentation shall also be submitted to Liverpool City Council with notification of the issue of the Occupation Certificate where Council is not the Principal Certifying Authority.

#### Rectification of Damage

- Prior to the issue of an Occupation Certificate, any damage to Council infrastructure not identified in the dilapidation report, as a result of the development shall be rectified at no cost to Liverpool City Council.

Any rectification works within Scott Street and Terminus Street will require a Roads Act application. The application is to be submitted and approved by Liverpool City Council prior to such works commencing.

#### Dilapidation Report

- Any rectification works required by Council regarding the condition of Council infrastructure shall be undertaken, at full cost to the developer.

## ADVISORY

- Section 8.2, 8.3, 8.4 & 8.5 allows Council to reconsider your proposal. Should you wish to have the matter reconsidered you should make an application under that section with the appropriate fee.

- Under Section 8.7 & 8.10 of the Act applicants who are dissatisfied with the outcome of a consent authority have a right of appeal to the Land and Environment Court. This right must be exercised within twelve (12) months from the date of this notice. The Court's Office is situated at Level 1, 225 Macquarie Street, Sydney (Telephone 9228 8388), and the appropriate form of appeal is available from the Clerk of your Local Court.

- In accordance with Section 4.53 of the Environmental Planning and Assessment Act 1979, unless otherwise stated by a condition of this consent, this consent will lapse unless the development is commenced within five years of the date of this notice.

- To confirm the date upon which this consent becomes effective, refer to Section 4.20 of the Environmental Planning and Assessment Act, 1979. Generally the consent becomes effective from the determination date shown on the front of this notice. However if unsure applicants should rely on their own enquiries.

- To confirm the likelihood of consent lapsing, refer to Section 4.53 of the Act. Generally consent lapses if the development is not commenced within five years of the date of approval. However if a lesser period is stated in the conditions of consent, the lesser period applies. If unsure applicants should rely on their own enquiries.

- The approval of this application does not imply or infer compliance with the Disability Discrimination Act and that the developer should investigate their liability under the Act.

- The requirements of all authorities including the Environmental Protection Authority and the Work Cover Authority shall be met in regards to the operation of the building.

- “DIAL BEFORE YOU DIG”

Underground assets may exist in the area that is subject to your application. In the interest of health and safety and in order to protect damage to third party assets please contact Dial before you dig at www.1100.com.au or telephone 1100 before excavating or erecting structures (This is the law in NSW). If alterations are required to the configuration, size, form or design of the development upon contact the Dial before You Dig service, an amendment to the development consent (or a new development application) may be necessary. Individuals owe asset owners a duty of care that must be observed when working in the vicinity of plant or assets. It is the individual’s responsibility to anticipate and request the nominal location of plant or assets on the relevant property via contacting the Dial before you dig service in advance of any construction or planning activities.

- TELECOMMUNICATIONS ACT 1997 (COMMONWEALTH)

Telstra (and its authorised contractors) are the only companies that are permitted to conduct works on Telstra’s network and assets. Any person interfering with a facility or installation owned by Telstra is committing an offence under the Criminal Code Act 1995 (Cth) and is liable for prosecution. Furthermore, damage to Telstra’s infrastructure may result in interruption to the provision of essential services and significant costs. If you are aware of any works or proposed works which may affect or impact on Telstra’s assets in any way, you are required to contact: Telstra’s Network Integrity Team on Phone Number 1800 810 443.

- The Liverpool City Council Local Government area soils and ground water may be subject to varying levels of Salinity. Whilst Council may require applicants to obtain Salinity reports relating to some developments, no assessment may be made by Council in that regard. Soil and ground water salinity levels can change over time due to varying factors. It is recommended that all applicants make their own independent inquiries as to appropriate protection against the current and future potential affect of Salinity to ensure the ongoing structural integrity of any work undertaken. Liverpool City Council will not accept any liability for damage occurring to any construction of any type affected by soil and or ground water Salinity.

- Care shall be taken by the applicant and the applicant’s agents to prevent any damage to adjoining properties. The applicant or applicant’s agents may be liable to pay compensation to any adjoining owner if, due to construction works, damage is caused to such an adjoining property.

- The cost of any necessary adjustments to utility mains and services shall be borne by the applicant.

Should you have any queries please contact Boris Santana on the phone number shown at the top of this page.

## ATTACHMENT 1 – WaterNSW General Terms of Approval

## ATTACHMENT  2 – Natural Resources Access Regulator General Terms of Approval