ATTACHMENT 2 - Recommended Modifications to Conditions of Consent

Development Consent DA-616/2016 is amended as follows (amendments to conditions are underlined and italicised):

- STAGED APPROVAL of Development Consent No.616/2016 is amended to read as follows:

STAGED APPROVAL

The conditions referenced in the below table apply to each stage of the development as identified.

| Stage | Development works | Part Reference | Condition Reference |
| --- | --- | --- | --- |
| 1 | Demolition of the eastern most dwelling, shed and pool onsite, removal of all vegetation and remediation of the site; construction of temporary demountable buildings (classrooms / sanitary facilities / canteen) and conversion of the retained dwelling into an administration building; all car-parking and vehicular access and road construction. | A, B, C, D, E, F & G | All conditions except; 39, 48a, 74 |
| 1A | Construction of a two (2) storey primary school building. | A, B, C, D, E, F & G | All conditions except; 7, 8, 19, 20, 22, 25, 28-36, 38, 39, 41, 48a, 61-62, 75, 99-101, 110, 112, 117, 118, 120 |
| 2 | Construction of a two (2) storey secondary school building. | A, B, C, D, E, F & G | All conditions except; 7, 8, 19, 20, 22, 25, 28-36, 38, 39, 41, 48a, 61-62, 75, 99-101, 110, 112, 117, 118, 120 |
| 3 | Demolition of the temporary demountable buildings (classrooms / sanitary facilities / canteen) and Construction of an assembly hall/gym. | A, B, C, D, E, F & G | All conditions except; 7, 8, 19, 20, 22, 25, 28-36, 38, 39, 41, 61-62, 75, 99-101, 110-112, 117, 118, 120 |
| 4 | Demolition of the administration building and the construction of a new two (2) storey administration building and construction of the play-court, and associated paving. | A, B, C, D, E, F & G | All conditions except; 7, 8, 19, 20, 22, 25, 28-36, 38, 41, 48a, 62, 99-101, 110-112, 117, 118, 120 |

- Condition 1 of Development Consent No. DA-616/2016 is amended to read as follows:

Approved Plans

1.	Development the subject of this determination notice must be carried out strictly in accordance with the following approved plans/reports, except where modified by the undermentioned conditions.

| Plan Name | Plan Number | Date | Rev. | Prepared By |
| --- | --- | --- | --- | --- |
| Site Analysis Plan | 14.09 / DA01A | 20-09-2017 | --- | A. Chandrasan |
| Site Plan | 14.09 / DA02A | 20-09-2017 | --- | A. Chandrasan |
| Roof Plan | 14.09 / DA03A | 20-09-2017 | --- | A. Chandrasan |
| Stage 1 - Site Plan | 14.09 / DA04A | 20-09-2017 | --- | A. Chandrasan |
| Stage 1A - Site Plan | 14.09 / DA05A | 20-09-2017 | --- | A. Chandrasan |
| Stage 2 - Site Plan | 14.09 / DA06A | 20-09-2017 | --- | A. Chandrasan |
| Stage 3 - Site Plan | 14.09 / DA07A | 20-09-2017 | --- | A. Chandrasan |
| Stage 4 - Site Plan | 14.09 / DA08A | 20-09-2017 | --- | A. Chandrasan |
| Primary Ground Floor Plan | 14.09 / DA08A | 20-09-2017 | --- | A. Chandrasan |
| Primary First Floor Plan | 14.09 / DA09A | 20-09-2017 | --- | A. Chandrasan |
| Primary Section & Elevations | 14.09 / DA010A | 20-09-2017 | --- | A. Chandrasan |
| Primary Elevations | 14.09 / DA011A | 20-09-2017 | --- | A. Chandrasan |
| High Ground Floor Plan | 14.09 / DA12A | 20-09-2017 | --- | A. Chandrasan |
| High First Floor Plan | 14.09 / DA13A | 20-09-2017 | --- | A. Chandrasan |
| High Section & Elevations | 14.09 / DA014A | 20-09-2017 | --- | A. Chandrasan |
| High Elevations | 14.09 / DA015A | 20-09-2017 | --- | A. Chandrasan |
| Assembly / Gym Plan, Section & Elevations | 14.09 / DA016A | 20-09-2017 | --- | A. Chandrasan |
| Administration Building Floor Plans | 14.09 / DA017A | 20-09-2017 | --- | A. Chandrasan |
| Administration Building Section & Elevations | 14.09 / DA018A | 20-09-2017 | --- | A. Chandrasan |
| Temporary Demountable Building Floor & Roof Plans / Elevations / Sections / Perspective | MS-200597-B1 001/100/101/120/ 125/151/152 | 27.03.2020 | --- | Modular Building Systems |
| Streetscape Elevations | 14.09 / DA019A | 20-09-2017 | --- | A. Chandrasan |
| Temporary Administration Building Floor Plans | 14.09 / DA020A | 20-09-2017 | --- | A. Chandrasan |
| Demolition Plan | 14.09 / DA021A | 20-09-2017 | --- | A. Chandrasan |
| Cut & Fill | 14.09 / DA025A | 20-09-2017 | --- | A. Chandrasan |
| Landscape Plan | 1330.L.01 to L.07 | 05.04.16 | A | A. Chandrasan |

| Report Name | Date | Reference | Prepared By |
| --- | --- | --- | --- |
| Aboriginal Archaeological Due Diligence Assessment | 25th March 2016 | --- | Kayandel Archaeological Services |
| Access Report | 24-May-16 | Revision C | Ergon Consulting |
| Arborist Report | September 2015 | --- | Stuart Pittendrigh |
| Architect Design Statement | --- | --- | Chandrasan Architect |
| BCA Compliance Report | 23.05.16 | REV 02 | AED Group |
| Contamination Site Investigation – Phase 1 | 24th November 2015 | --- | Alliance Geotechnical |
| Contamination Site Investigation – Phase 2 | 22nd December 2015 | --- | Alliance Geotechnical |
| Remediation Action Plan | 2nd August 2017 | 2122-ER-1-5 | Alliance Geotechnical |
| Noise Management Plan | 5 March 2016 | R160222R0 | Rodney Stevens Acoustics |
| Noise Management Plan (Supplementary Report) | 4 July 2017 | R160222R2 | Rodney Stevens Acoustics |
| Plan of Management | October 5th 2017 | --- | Al Mabarrat Benevolent Society |
| Waste Management Plan | --- | --- | --- |

- Condition 21 of Development Consent No. DA-616/2016 is amended to read as follows:

Stormwater Concept Plan

21.	A stormwater drainage system shall be provided generally in accordance with the concept plans lodged for development approval, prepared by Indesco, reference 6286-C, revision C, dated 18.9.17, and as per concept plans prepared by Gemstrux Consulting Engineers, reference number G20050, revision 02, dated 02.03.2020, for the temporary demountable buildings included on site by DA-616/2016/A.

The proposed development and stormwater drainage system shall be designed to ensure that stormwater runoff from upstream properties is conveyed through the site without adverse impact on the development or adjoining properties.

Engineering plans and supporting calculations for the stormwater drainage system are to be prepared by a suitably qualified engineer and shall accompany the application for a Construction Certificate.  The plan shall indicate the method of disposal of all stormwater and must include rainwater tanks, existing ground levels, finish surface levels and sizes of all pipes.

Prior to the issue of a Construction Certificate the Certifying Authority shall ensure that the stormwater drainage system has been designed in accordance with Liverpool City Council’s Design Guidelines and Construction Specification for Civil Works.

- Condition 48a is to be added to Development Consent No. DA-263/2018 as follows:

48a.  Prior to the issue of a Construction Certificate for Stage 3 works, a Demolition Plan and Waste Management Plan for the removal of the temporary demountable buildings is to be submitted Council and is to be approved by the Certifying Authority to ensure the appropriate measures are undertaken on-site consistent with the conditions of consent relating to the demolition of structures.

- Condition 53 of Development Consent No. DA-616/2016 is amended to read as follows:

53.	Prior to the commencement of any building works for the permanent building structures, a construction certificate must be obtained from the Council or an accredited certifier, in accordance with the provisions of the Environmental Planning & Assessment Act 1979 and Environmental Planning & Assessment Regulation 2000.

Prior to the commencement of any building works for the temporary demountable building structures, an amended construction certificate for Stage 1 works must be obtained from the Council or an accredited certifier, in accordance with the provisions of the Environmental Planning & Assessment Act 1979 and Environmental Planning & Assessment Regulation 2000.

A copy of the construction certificate, the approved plans and development consent conditions must be kept on the site at all times and be made available to the Council officers and all building contractors for assessment.

- Condition 126 of Development Consent No. DA-616/2016 is amended to read as follows:

126.   	The maximum capacity of the educational establishment is limited to 800 students and 45 staff (including teaching and support staff).

All other conditions of Development Consent No. DA-616/2016 remain unchanged.