APPENDIX 1

CONDITIONS

(1)	The development shall be undertaken in accordance with the Statement of Environmental Effects and stamped approved plans detailed as follows except where modified by any of the following conditions:

Title/Plan:	Dubbo Solar Fam General Arrangement Overview Sheet 1

Drawing No:	10120-G-GAD-02-1

Dated:	2021.02.22

Revision:	C

Title/Plan:	Dubbo Solar Fam General Arrangement Overview Sheet 2

Drawing No:	10120-G-GAD-02-2

Dated:	2021.02.22

Revision:	C

Title/Plan:	Dubbo Solar Fam General Arrangement System Detail

Drawing No:	10120-G-GAD-03-1

Dated:	2021.02.22

Revision:	C

Title/Plan:	Dubbo Solar Farm Site Elevation Detail

Drawing No:	10120-G-DET-01-1

Dated:	04.01.2021

Revision:	A

Title/Plan:	Dubbo Solar Farm Security Fence Detail Typical (as amended in red)

Drawing No:	10120-C-DET-02-1

Dated:	04.01.2021

Revision:	A

Title/Plan:	Dubbo Solar Farm Shed Detail Typical

Drawing No:	10120-C-DET-05-1

Dated:	04.01.2021

Revision:	A

Title/Plan:	Dubbo Solar Farm PV Mounting System Detail

Drawing No:	10120-E-DET-01-1

Dated:	01.02.2021

Revision:	B

Title/Plan:	Dubbo Solar Farm Power Conversion Station Detail Sheet 1

Drawing No:	10120-E-DET-02-1

Dated:	04.01.2021

Revision:	A

Title/Plan:	Dubbo Solar Farm Power Conversion Station Detail Sheet 2

Drawing No:	10120-E-DET-02-2

Dated:	04.01.2021

Revision:	A

{Reason: To ensure that the development is undertaken in accordance with that assessed}

(2)	The applicant/proponent shall comply with the ‘General Terms of Approval’, DOC22/324518, dated 28 April 2022 from Heritage NSW (copy attached).

{Reason:  To ensure compliance with Section 90 of the National Parks and Wildlife Act 1974 and Section 4.8 of the Environmental Planning and Assessment Act, 1979}

(3)	The right of carriageway through the adjoining allotment to the south (Lot 211, 20L Sheraton Road) must only be utilised only for vehicular access to/from the development site. Unless consent has been provided from the property owner no physical works shall be undertaken within the confines of Lot 211, 20L Sheraton Road.

{Reason: To ensure the development is undertaken as assessed}

(4)	In association with the construction phase of the development the Applicant shall comply with the following:

- The Applicant/proponent shall at its own expense, prior to work commencing, engage suitably experienced contractor/s to carry out an inspection of the adjoining allotments to the east (28R Wellington Road & 4R Lidscomb Road) and prepare and submit to Council a ‘dilapidation report’ documenting the current condition of all buildings on each allotment; and

  - The applicant must give the owners of the ‘adjoining premises, at least fourteen (14) days written notice of the need for his representative/contractor to inspect the premises in order to prepare the ‘dilapidation report’ required above, before construction work begins; and

  - Should an owner of an adjoining premises refuse access or fail to respond within the aforementioned timeframe, the contractor may proceed with the construction works without further notice; and

  - Within fourteen (14) days of the completion of the construction work, the contractor who carried out the initial inspection and prepared the ‘dilapidation report’ shall carry out a re-inspection of each adjoining premises (if a report was prepared) to determine any changes in the condition of the premises that may be attributed to the construction work undertaken.

{Reason: To ensure any detrimental impact during construction of the solar farm on adjoining properties is able to be identified and rectified}

(5)	Prior to the issue of the relevant Occupation Certificate, all landscaping and associated infrastructure as detailed in the approved document (Titled: Visual Analysis and Landscape Concept, dated July 2021 – Version No. 2) shall be established and maintained to at least the standard specified on the plans.

Such landscaping shall be maintained for the life of the development in accordance with such plans.

{Reason:  To maintain and improve the aesthetic quality of the development}

(6)	Heavy vehicles accessing the site during the construction/decommissioning period shall not be undertaken in the vicinity of schools adjoining Sheraton Road during student drop off and pick up times (i.e. 8:30 am to 9:00 am and 3:00 pm to 3:30 pm gazetted school days).

{Reason: To protect and preserve the amenity of the surrounding locality}

(7)	Perimeter chain link fencing shall not exceed 2m in height.

{Reason: To minimise any adverse visual impacts and integrate with the adjoining solar farm}

(8)	A decommissioning plan is to be submitted to Council for review and approval no later than 12 months prior to the proposed cessation of the operation.

{Reason: To ensure the land will be rehabilitated to a suitable state for agricultural production}

(9)	Within twelve (12) months of the cessation of operations, the site must be rehabilitated to its condition prior to the commencement of construction, to the satisfaction of Council. All solar panels and associated infrastructure shall be removed from the site, unless otherwise agreed to by Council. All materials are to be disposed of in an approved waste/recycling facility.

{Reason: To ensure the solar farm is decommissioned and the site rehabilitated once operations cease}

(10)	Prior to the issue of any Construction Certificate, an Emergency Management Plan (including bushfire emergency management) shall be submitted to and approved by Council. This plan shall also include (but not limited to) emergency management procedures associated with fire risk as a consequence of the built features of the development (i.e. solar panels, electrical wiring etc.). Such Plan shall then be kept at the front entrance of the solar farm development for the entirety of its operation.

{Reason: To ensure First Responders and Emergency Services are aware of potential emergencies, consequences, required actions, written procedures and resources available}

(11)	An internal access road linking to the existing access road shall be constructed and designed to a standard suitable for the proposed traffic loadings. Details of construction shall be provided to Dubbo Regional Council for approval prior to this work commencing.

All road works (located only within confines of Lot 2101) shall be completed prior to the issue of the Construction Certificate.

{Reason:  To provide a satisfactory means of entry/exit to the proposed development}

(12)	A site rubbish enclosure shall be provided on the site for the period of the proposed construction works.

{Reason: Council requirement to prevent environmental damage by wind-blown litter}

(13)	Prior to issue of any Construction Certificate, an Erosion and Sedimentation Control Plan is required to be submitted to and approved by Council’s Environmental Compliance Branch. The approved Plan shall then be implemented onsite prior to any site disturbance works being commenced and shall remain, in a maintained condition, until all site works are completed.

{Reason: Implementation of Council policy to reduce sediment pollution}

(14)	A single stabilised vehicular access shall be provided to the construction site in accordance with the design described in the attachment titled ‘Stabilised Site Access’ to Council's advisory document Fact Sheet No. 6 - Erosion and Sediment Control.

{Reason: Implementation of Council policy to reduce sediment pollution}

(15)	In the event of any Aboriginal archaeological material (not the subject of condition 2 above) being discovered during earthmoving/construction works, all work in that area shall cease immediately and the Department of Planning, Industry and Environment notified of the discovery as soon as practicable.  Work shall only recommence upon the authorisation of the DPIE.

{Reason:  Council and statutory requirement to protect Aboriginal heritage}

(16)	Noise from the development (LAeq) shall not exceed the background (LA90) by more than 5dB(A) at any time including any allowance for impulsiveness and tonal characteristics when measured at the most affected residence.

{Reason: Council requirement to prevent the generation of a noise nuisance}

(17)	Construction work shall only be carried out within the following time:

Monday to Friday:		7 am to 6 pm

Saturday:		8 am to 1 pm

Sunday and public holidays:		No construction work permitted

{Reason: Council requirement to reduce the likelihood of noise nuisance}

(18)	All solid waste from construction and operation of the proposed development shall be assessed, classified and disposed of in accordance with the NSW Environment Protection Authority’s Waste Classification Guidelines. Whilst recycling and reuse are preferable to landfill disposal, all disposal options (including recycling and reuse) must be undertaken with lawful authority as required under the Protection of the Environment Operations Act, 1997.

{Reason: Council requirement to require compliance with the POEO Act, 1997}

(19)	Should any contaminated, scheduled, hazardous or asbestos material be discovered before or during construction works, the applicant and contractor shall ensure the appropriate regulatory authority (e.g. Department of Planning, Industry and Environment (DPIE), WorkCover Authority, Council, Fire and Rescue NSW etc) is notified, and that such material is contained, encapsulated, sealed, handled or otherwise disposed of to the requirements of such Authority.

Note:  Such materials cannot be disposed of to landfill unless the facility is specifically licensed by the Environment Protection Authority (EPA) to receive that type of waste.

{Reason:  Council requirement to prevent the contamination of the environment}

(20)	All noise mitigation measures outlined in the submitted Noise Assessment Report prepared by Muller Acoustic Consulting (Document No – MAC201186-08RP1, dated 9 February 2021) must be adhered to at all times.

{Reason: Council requirement to ensure neighbourhood amenity is preserved}

(21)	The requirements of the submitted Waste Management Plan (Titled: Waste Management Plan, dated March 2021) shall be adhered to at all times.

{Reason:  Legislative requirement under the Protection of the Environment Act, 1997, to prevent contamination of the environment}

(22)	Prior to any Construction Certificate being issued or the commencement of any construction works a construction environmental management plan (CEMP) shall be submitted to and approved by Council.

{Reason:  Legislative requirement under the Protection of the Environment Act, 1997, to prevent contamination of the environment}

(23)	No vehicles larger than a ‘Semi Trailer’ 19.0 m in length (utilising the Austroads design templates) are permitted to access the subject land and development proposal.

Prior to issue of the Construction Certificate, turning paths shall be submitted to and approved by Council showing a semi-trailer entering and exiting the site in a forward direction.

{Reason: The internal manoeuvrability and access to the subject land and proposed development will only facilitate semi-trailer 19.0 m in length or vehicles of lesser dimensions at this location}

(24)	Any alteration/damage to the vehicular entrance/s, road or road shoulder including utility services, shall be repaired/restored at full cost to the Developer and in accordance with Council's adopted AUS-SPEC #1 Development Specification Series - Construction Standards.

{Reason: Implementation of Council Policy}

(25)	All vehicles must enter and exit the subject land and proposed development in a forward direction. No reversing of vehicles onto the public roadway system will be permitted.

{Reason: To provide safety for the travelling public utilising the public roadways}

(26)	All loading and unloading of goods related to the development proposal shall be carried out within the confines of the allotment's boundary. Under no circumstances will the loading, or unloading, of goods on the public roadway system be permitted.

{Reason: Requirement of Council so as not to create adverse traffic conditions}

(27)	A detailed Traffic Management Report is to be submitted to Council prior to any construction works commencing.

{Reason:  Implementation of Council policy}

(28)	A Dilapidation Report for Wheelers Lane, Myall Street and Sheraton Road is required to be submitted to Council’s Infrastructure Strategy and Design Branch prior to any construction works commencing. An additional Dilapidation Report is required following completion of the construction works, noting that any damage to Wheelers Lane, Myall Street and Sheraton Road will require rectification at the applicants cost.

{Reason:  Implementation of Council policy in acknowledgement of the submitted Traffic Impact Statement}

(29)	Prior to any construction works commencing a maintenance schedule is required to be submitted to Council’s Infrastructure Strategy and Design Branch for Wheelers Lane, Myall Street and Sheraton Road to allow for increase wear along the edges of the sealed pavement due to the increased passage of heavy vehicles.

{Reason:  Implementation of Council policy}

(30)	The person having the benefit of this Development Consent, if not carrying out the work as an owner-builder, must unless that person is the principal contractor, ensure that the principal contractor has been notified of the critical stage inspections and any other inspections that are specified by the appointed Principal Certifier (PC) to be carried out.

Note:  The ‘principal contractor’ is the person responsible for the overall coordination and control of the carrying out of the building work.

{Reason:  Statutory requirement imposed by the EP&A Act 1979}

(31)	Prior to works commencing, the Applicant shall ensure that a sign is erected on the work site in a prominent position at the front of the property showing:

- The name, address and telephone number of the Principal Certifier (PC) for the work;

- The name of the principal contractor for the building work and a telephone number on which that person may be contacted outside of working hours; and

- Stating that unauthorised entry to the work site is prohibited.

Such sign must be maintained on the site during the course of the building work and not be removed until the work has been completed.

{Reason:  Statutory condition imposed by clause 98A of the EP&A Regulation 2000}

(32)	All excavations associated with the erection of the building and installation of associated services must be properly guarded and protected to prevent them from being dangerous to life or property. Excavations undertaken across or in a public place must be kept adequately guarded and/or enclosed and lit between sunset and sunrise, if left open or otherwise in a condition likely to be hazardous to persons in the public place.

{Reason:  Council requirement for protection of public}

(33)	All building work must be carried out in accordance with the provisions of the Building Code of Australia.

{Reason:  Prescribed statutory condition under EP&A Act}

(34)	The storage shed’s roof water shall be discharged at least 3 metres clear of the building without detriment to any adjoining properties or structures.

{Reason:  To ensure appropriate drainage disposal without adverse impact}

(35)	An Asset Protection Zone (APZ) of minimum width of 10 metres shall be provided around the outside perimeter of the PV modules and associated building infrastructure.  The APZ shall be provided and maintained in accordance with the requirements of the “Planning for Bush Fire Protection 2019” guidelines for the life of the subject development.

Such APZ may be implemented as ‘managed land’ where by the required minimum width of 10 metres is provided as one or a combination of the following:

- The existing grassland vegetation is maintained in a low fuel condition by regularly mowing to achieve a nominal height no greater than 100 mm; and/or

- Gravel paved access roadway.

The APZ applicable to each structure shall be established prior to the issue of that building’s Occupation Certificate(s).

{Reason:  Council requirement in consideration of the Planning for Bush Fire Protection 2019 guidelines to assist in the protection of the development’s infrastructure from grassland fires}

(36)	The Developer must have approved by Council’s Infrastructure Strategy and Design Branch prior to the issue of any Construction Certificate, full and detailed hydraulic design calculations and drawings of the proposed development's stormwater drainage system.

In addition, stormwater shall not be discharged from the onsite detention basin directly into the adjoining Right of Carriageway potentially impacting its built form and traffic movements.

{Reason:  To achieve a satisfactory standard of stormwater disposal from the proposed development}

NOTES

(1)	A separate application is required to be submitted to either Council or a registered certifier to obtain a Construction Certificate to permit the erection of the proposed structures.

(2)	The proposed structures shall not be occupied or used until the appointed Principal Certifier (PC) has first issued an Occupation Certificate.

(3)	If Council is engaged to act as the Principal Certifier for the Construction Certificate application for the solar PV panel modules and storage shed the following shall be included with such application:

- All structural details including specifications and design drawings and statement(s)/certificate(s) by the design engineer stipulating the Australian Standards that the module support structure and footing design complies with, including its design wind load parameters.

(4)	Offensive noise as defined under the Protection of the Environment Operations Act, 1997 shall not be emitted from the proposed development.

Air impurities as defined under the Protection of the Environment Operations Act, 1997 shall not be released or emitted into the atmosphere in a manner which is prejudicial to the health and safety of occupants, the surrounding inhabitants or the environment.

(5) 	The development shall be carried out in accordance with Essential Energy’s correspondence dated 21 May 2021 (copy attached).

(6) 	Your attention is drawn to Council’s ‘Planning Agreement Policy for Solar and Wind Energy Farms’ dated 28 April 2021 and its applicability to this development. Please contact Council’s Manager Growth Planning to discuss further.